This document contains instructions for the one-time Compliance Certification (WP56), which is required for many Industrial Wastewater Holding Tanks (IWHTs) under 314 CMR 18.00. The instructions are intended to help you to determine the applicability of the regulation to any tank you own or operate, and to guide you through the certification process with specific construction, operation, and record-keeping requirements.

# Table of Contents Page #

1. [What is the Compliance Certification Program? 1](#_TOC_250008)
2. [Do I Have to Certify? 2](#_TOC_250007)
   1. [Does 314 CMR 18.00 Apply to Me? 2](#_TOC_250006)
   2. [Do I Have to Submit the Compliance Certification? 3](#_TOC_250005)
3. [How do I Complete the Compliance Certification? 4](#_TOC_250004)
   1. Facility Information 4

A-I. Certification Information 5

* 1. Industrial Wastewater and Holding Tank Information 5

B-I. Compliance Information 6

Section 1: General 6

Section 2: Above-Ground Holding Tank 7

Section 3: In-Ground Holding Tank 8

Section 4: Record Keeping 9

* 1. Certification Statement 9

1. [How do I Complete the Return to Compliance Plan? 10](#_TOC_250003)
2. [How do I Submit through ePlace 10](#_TOC_250002)
3. [Completeness Checklist 11](#_TOC_250001)

Wp56ins.doc Rev. 4/21

# What is the Compliance Certification Program?

Effective November 15, 2002, all owners/operators of industrial wastewater holding tanks (IWHTs), mobile tanks, and containers are required to comply with Volume 314 of the Code of Massachusetts Regulation, Section 18.00 (314 CMR 18.00).

The purpose of this regulation is to protect public health, safety, and the environment by establishing specific construction and operation standards, record-keeping requirements, and decommissioning procedures for these industrial wastewater storage vessels. In addition to these standards, this regulation replaces the previous IWHT Plan Approval requirement (DEP reference numbers IW-29 and WP-56) with a one-time IWHT Compliance Certification requirement (reference number WP56). This Certification requirement does not apply to mobile tanks and containers.

The Compliance Certification requires you to provide general information about your facility and to answer a series of specific compliance questions. Before completing it, you will need to inspect your IWHT and review your operation and maintenance procedures. You are also required to sign a statement that certifies to DEP that all of the information you are submitting is true, accurate, and complete.

If you identify compliance problems that cannot be corrected before your submittal deadline, you must file a Return to Compliance Plan (RTC) for each of the problems along with your Compliance Certification. The RTC requires you to explain the problem, list the correction actions to be taken, and provide an anticipated return to compliance date. DEP may follow up with additional questions or an on-site inspection, if necessary.

This package includes the following documents:

* + Compliance Certification Form
  + Compliance Certification Instructions with step-by-step guidance
  + Return to Compliance Plan
  + Information about Submitting through ePlace

MassDEP BRP WP56 – Compliance Certification forms and instructions are available from the MassDEP website <https://www.mass.gov/how-to/wp-56-industrial-wastewater-holding-tank-compliance-certification> in two file formats: Microsoft Word and Adobe Acrobat PDF.

Complete the form in either format and submit it electronically (please do not mail) to MassDEP through ePLACE (more information below). You are required to pay a certification fee of $140 at the time you submit your Compliance Certification through ePlace. This replaces the former Plan Approval fee of $350.

If you have questions, or need additional information about 314 CMR 18.00 or the Compliance Certification, please contact:

* + DEP Bureau of Water Resources at 617-556-1168 or (617-556-1036).

You may obtain an official copy of 314 CMR 18.00 from the Office of the Secretary of State, or download from the DEP Web site at <http://www.mass.gov/dep>or request a hard copy from DEP.

# Do I Have to Certify?

Holding tanks, mobile tanks, and containers are common in industrial settings and may be regulated by other programs depending upon the specific situation. The IWHT Compliance Certification replaces the previous DEP IWHT Plan Approval only. Before you file, it is important to determine if 314 CMR 18.00 applies to you and whether you qualify for certain exemptions.

# Does 314 CMR 18.00 Apply to Me?

The regulation applies to holding tanks, mobile tanks, and containers that meet **all three** of the following criteria:

# The vessel is used exclusively to accumulate or store industrial wastewater

generated on-site or off-site.

*For example, if you use your holding tank, mobile tank, or container within a production process or within a wastewater treatment system, then this regulation does not apply to you.*

# -and-

* 1. The industrial wastewater in the vessel will be **transported directly to an off-site facility for recycling, treatment, or disposal**.

*For example, if your holding tank, mobile tank, or container is used to transfer industrial wastewater within or between your production process (es) or treatment system(s), then this regulation does not apply to you.*

# -and-

* 1. The wastewater accumulated or stored in the vessel is **non-hazardous, non-domestic industrial wastewater**.

*For example, if the industrial wastewater in the holding tank, mobile tank, or container is hazardous industrial wastewater or domestic wastewater, then this regulation does not apply to you.*

Please note that under criteria 1 and 2 above, 314 CMR 18.00 does not apply to tanks that are used to hold wastewater before it is discharged to a municipal sewer system. Such tanks may be regulated through industrial wastewater discharge permits and plan approvals under 314 CMR 7.00 and 12.00.

If your holding tank, mobile tank, or container does not meet all three of the applicability criteria above, you may **stop here** because 314 CMR 18.00 does not apply to you.

Even if you meet all three of the applicability criteria, you may still qualify for an exemption from 314 CMR

* 1. if you meet any **one** of the following exemption conditions:
     1. You are a dry cleaner, photo processor, or printer regulated under the DEP Environmental Results Program (ERP);
     2. Your holding tank, mobile tank, or container is used for a waste site cleanup project (for example, addressing contaminated soils) that is regulated under 310 CMR 40.00 at your facility;
     3. The holding tanks or containers in your facility meet the standards in the Massachusetts Hazardous Waste Regulations (310 CMR 30.000), **and** the industrial wastewater is shipped to a licensed Treatment, Storage and Disposal Facility (TSDF); or
     4. Your holding tank, mobile tank, or container is used for non-contact cooling water, or heating or cooling condensate only.

If you are unsure whether you qualify for any of the above four exemptions, call DEP for assistance. If you meet any of the above four exemption conditions, you may **stop here** because 314 CMR 18.00 does not apply to you.

# Do I Have to Submit the Compliance Certification?

If you meet all three of the applicability criteria **and** do not qualify for any of the four exemptions, you are required to comply with applicable construction and operation standards under 314 CMR 18.00 and to submit a one-time Compliance Certification to DEP for each of your IWHTs, unless:

* 1. Your existing IWHT was approved by DEP under the previous IWHT plan approval program and issued a IW-01, IW-28, IW-29, or WP-56 permit; or
  2. Your existing IWHT has already been approved by DEP under the Compliance Certification program (WP56).

If you have more than one IWHT, you need to check the regulatory applicability for each tank and submit a Compliance Certification for each if required.

Even if your IWHT has previously been approved by DEP and therefore exempt from the Compliance Certification requirement, you must still comply with the construction and operation standards established by 314 CMR 18.00. You should periodically inspect your IWHT, review operation procedures, perform maintenance, and keep records of these activities. Using the Certification form as a compliance checklist is a good idea even if you are not required to submit one.

# How do I Complete the Compliance Certification?

The following *Explanation and Instruction Table* is designed to guide you through each part of the Compliance Certification by section and number. You will notice that some items, such as “Facility Name” and “Telephone Number,” are omitted because they are self-explanatory.

# Explanation and Instruction Table

|  |  |  |
| --- | --- | --- |
| **No.** | **Term** | **Explanation and Instruction** |
| **A. Facility Information** | | |
| b. | Facility SIC Code | Your facility’s Standard Industrial Classification (SIC) code is a four-digit number used to describe business operations. A list of SIC codes is available from:   * U.S. Occupation Safety and Health Administration (OSHA), <https://www.osha.gov/data/sic-search> * Mass Division of Occupational Safety, 617-969-7177   If your facility involves multiple types of operations, you may have more than one SIC code. In that case, you should provide the primary SIC codes that are related to your industrial wastewater. |
| c. | DEP Assigned Facility ID | If your facility has a permit from DEP, you should have a DEP Assigned Facility ID, which can be retrieved from the first page of the permit. If your facility has never held a DEP permit, you may leave this space blank and DEP will assign a Facility ID for you during the review process. |
| d. | Facility Site Address | This is the physical location of the facility equipped with an IWHT. Example: A company filing from headquarters in New York for a franchise in Boston where the IWHT is physically located should provide the Boston address here, not the headquarters address in New York. |
| e. | Secondary Unit | Your location may need to be identified by more than a street number. Example: Your facility is located in an industrial park at 10 Washington Street, which has ten buildings, and your company is located in building #5. In this example, your Facility Site Address is 10 Washington St. and your Secondary Unit is Building #5. |
| i. | Facility Mailing Address | This is the address where the person responsible for signing the Compliance Certification can be reached through mail if it is different from the facility site address. Example: A company filing from headquarters in New York for a franchise in Boston where the IWHT is physically located should provide the New York headquarters address here, not the Boston facility address. |

|  |  |  |
| --- | --- | --- |
| **No.** | **Term** | **Explanation and Instruction** |
| p. | Federal Employer Identification Number (FEIN or EIN) | This is a nine-digit number assigned by the U.S. Internal Revenue Service (IRS) to identify business taxpaying entities. Your company’s FEIN (or EIN) can be retrieved from your most recent federal tax forms. |
| **A-I. Certification Information** | | |
| a. | Contact Person | This is the person who is actively in charge of IWHT operation. The Contact Person could be the IWHT owner, plant manager, or IWHT operator. |
| e. | Owner | This is the person who is legally responsible for the IWHT. An owner is usually the person who has legal or equitable ownership of the IWHT, but can also be the person who has effective control over the IWHT, such as an administrator, lessee, or executor. |
| i. | General Business Description | You may use general terms to describe your business, such as automobile maintenance, electroplating, or food processing. |
| **B. Industrial Wastewater and Holding Tank Information** | | |
| 1. | Major Sources | These are the sources that generate most of the wastewater that enters the IWHT. Check all sources that may apply. If your wastewater stream cannot be categorized under (a) through (d), check "Other(s)" [box (e)]  and describe that wastewater stream in the line provided. |
| 1-a. | Process Wastewater | This is wastewater generated from production processes. |
| 1-b. | Equipment Cleaning Wastewater | This is wastewater generated from equipment cleaning processes, including vehicle wash water in non-commercial vehicle washing facilities. |
| 1-c. | Spent Concentrate Solution | This is a solution that contains high concentrations of non-hazardous chemicals, such as certain aqueous cleaners, or non-petroleum based oil and grease. |
| 2. | Major Pollutants | These are regulated pollutants contained in wastewater streams, such as heavy metals or oil and grease. Check all pollutants that may apply. If there is any pollutant that is not listed under (a) through (k), check "Other(s)" [box (l)] and specify that pollutant in the line provided. |
| 3. | Holding Tank ID | If you have only one tank in your facility, the Tank ID may not be necessary. However, if you have more than one tank in your facility, you need to assign a Tank ID for each one for proper identification (e.g., T-1 or T-203). Since you are required to submit a Compliance Certification and keep records for each IWHT in your facility, consistent use of Tank IDs is important. |

|  |  |  |
| --- | --- | --- |
| **No.** | **Term** | **Explanation and Instruction** |
| 4. | Holding Tank Installation Date | This is the date when installation was completed. If the actual installation date is unknown, you may estimate it to the best of your knowledge. |
| 5. | Tank Type | Tank type refers to either above ground or in-ground. Above ground tanks are constructed and positioned completely on or above the plane of the adjacent surrounding surface. In-ground tanks are constructed and positioned partially or completely below the plane of the adjacent surrounding surface. You need to indicate which type of tank you own/operate. |
| 6. | Tank Construction Material | Check the appropriate box to indicate the material used to make your IWHT. If the IWHT is made of fiberglass, for example, check box (c). If your tank material is not listed under (a) through (d), check "Other(s)" [box (e)] and specify that material in the line provided. |
| **B-I. Compliance Information** | | |
| Section 1: General | | |
| 101 | Septic system, leaching field, or cesspool | This refers to the sanitary waste disposal system regulated under 310 CMR 15.00. Under DEP regulations, any discharge of industrial wastewater to a septic system, leaching field, or cesspool is prohibited. If you are currently discharging into one of these systems, you must cease the discharge and complete a Return to Compliance Plan. |
| 102 | Surface water or groundwater discharge permit | For any discharge of wastewater to surface water or ground, including storm drains, you are required to obtain a discharge permit under DEP regulations 314 CMR 3.00 or 5.00. If you are currently discharging without a permit, you must cease the discharge and complete a Return to Compliance Plan. In the Return to Compliance Plan you may choose  to apply for a discharge permit from DEP or to use an IWHT. |

|  |  |  |
| --- | --- | --- |
| **No.** | **Term** | **Explanation and Instruction** |
| 103 | Feasibility of discharging industrial wastewater to a municipal sewer system | Under 314 CMR 18.05(1), facilities may not be allowed to use an IWHT prior to shipping their industrial wastewater off-site for treatment or disposal (excluding recycling), if the discharge of the industrial wastewater to a municipal sewer system is, or becomes, feasible (except under certain conditions). Discharging industrial wastewater to a municipal sewer system is feasible when your facility:   1. Has an existing connection to the sewer collection system and the industrial wastewater discharge can be hydraulically accepted by both the sewer collection system and local wastewater treatment plant; or 2. Meets all of the following conditions:    1. An existing sewer line abuts the facility boundaries;    2. The discharge of the industrial wastewater can be hydraulically accepted by both the sewer collection system and local wastewater treatment plant; and    3. The distance from any building generating industrial wastewater to the closest sewer connection manhole is 250 feet or less.   Note that tanks used for discharging to sewer systems are not regulated as IWHTs under 314 CMR 18.00. Rather, they are regulated through the Industrial Wastewater Discharge Permit and Plan Approval under 314 CMR 7.00 and 12.00. Please contact DEP for assistance. |
| 104 | Zone I or Zone A drinking water supply area | Contact your local water supply board or DEP to determine whether your facility is located within the Zone I or Zone A of a drinking water supply area. If it is, you may be required to comply with more stringent standards. You may not be allowed to use an IWHT under the Drinking Water Regulation 310 CMR 22.00. You may also need to comply with additional requirements from your local water supply board. To find out these additional restrictions or requirements that may apply to you, please contact DEP and your local water supply board for assistance. |
| Section 2: Above-Ground Holding Tank | | |
| 201 | Tanks constructed or lined with material compatible with industrial wastewater. | Compatible in this context means that the tank or tank liner is suitable for mixing or contacting the wastewater stored in the IWHT without causing containment corrosion, degradation, or an undesirable chemical reaction. If you have questions about compatibility, check with your tank supplier or contractor. |
| 202 | Remotely filled or automatically filled | These are IWHT filling operations that happen either out of the operator's sight (e.g., the IWHT is in the basement or a room away from the main business operation) or out of the operator's control (e.g., an automatic discharge into an IWHT from production processes). In these cases, an alarm system is necessary to prevent overflows and spills. |

|  |  |  |
| --- | --- | --- |
| **No.** | **Term** | **Explanation and Instruction** |
| 202a | Appropriate audio and light alarm system | This is an alarm system that activates both a sound signal (such as a ring or a horn) and a visual indicator (such as a red light) in a staffed location to inform the operator that the IWHT is filled to 75% of its tank capacity. When a computerized continuous monitoring system is in use, beeper and flash icon signals from a computer are adequate for  this requirement. |
| 203 | Appropriate spill containment for above-ground holding tanks | This refers to a containment structure located in a secured area over an impervious surface with access for visual inspection. The spill containment structure must have a capacity of 110% of the largest  single tank or 10% of the total possible volume of all holding tanks, whichever is greater. |
| 205 | Fabricated on site | This means that the tank was constructed or built at the facility (e.g., a large concrete tank). Pre-fabricated tanks, such as plastic tanks, are  not fabricated on site. |
| 205a | Engineering plans | These are the holding tank design and construction documents, including design and construction specifications and engineering drawings. |
| Section 3: In-Ground Holding Tank | | |
| 301 | Tanks constructed or lined with material compatible with industrial wastewater. | Compatible in this context means the tank or tank liner is suitable for mixing or contacting the wastewater stored in the IWHT without causing containment corrosion, degradation, or an undesirable chemical reaction. If you have questions about compatibility, check with your tank supplier or contractor. |
| 302 | Average daily flow | This is equal to the maximum weekly flow divided by the number of working days per week, or the monthly flow divided by the number of working days per month. |
| 303 | Appropriate audio and light alarm system | This is an alarm system that activates both a sound signal (such as a ring or a horn) and a visual indicator (such as a red light) in a staffed location to inform the operator that the IWHT is filled to 75% of its tank capacity. When a computerized continuous monitoring system is in use, beeper and flash icon signals from a computer are adequate for this requirement. |
| 305a | Engineering plans | These are the holding tank design and construction documents, including design and construction specifications and engineering drawings. |

|  |  |  |
| --- | --- | --- |
| **No.** | **Term** | **Explanation and Instruction** |
| 305b | Integrity assessment | This refers to an engineering evaluation prepared by a Massachusetts Registered Professional Engineer through specific inspection processes. The in-ground IWHT integrity assessment needs to indicate the condition of the tank and how actual or potential problems, if any (such as leaks, cracks, corrosion, erosion, or uplift), should be properly managed. If the integrity assessment indicates any actual or potential deficiencies, then you must either take all necessary steps to correct them or decommission the tank. |
| 307 | An appropriate secondary containment | This refers to techniques used to contain spills from a holding tank and prevent a release to the environment. The secondary containment may include one of the following:   1. An impervious liner; 2. A vault; or 3. A double-walled tank.   The appropriate secondary containment structure also needs to provide space and access (including access through mechanical or electrical detection devices) to detect leakage from the holding tank and remove it from the secondary containment. |
| Section 4: Record Keeping | | |
| 401 | Construction and installation records | At a minimum, these records need to include:   1. Engineering plans, if applicable; 2. Specifications for pre-fabricated holding tanks (if any); and 3. All applicable permits from approving authorities. |
| 402 | Operating records | At a minimum, these records need to include:   1. Name of the holding tank operator; 2. Date of wastewater shipment; 3. Volume and description of industrial wastewater from each source, both on-site and off-site (if any); 4. Name and address of the receiving facility and a document from that facility verifying the shipment; and 5. Name and vehicle registration number of the hauler. |
| **C. Certification Statement** | | |
|  | What is the certification statement? | This statement attests that the person signing the form has reviewed the submittal, believes the submitted information is true, and will make sure that management systems are in place to keep the facility in compliance with environmental protection requirements. The person signing the form must be authorized to do so on behalf of the facility and understands that there may be serious consequences for submitting false information to DEP. |

|  |  |  |
| --- | --- | --- |
| **No.** | **Term** | **Explanation and Instruction** |
|  | Who can sign the certification statement? | Only a responsible official. Persons eligible to sign the statement are listed below the space for the signature. The person who signs the form must also print or type his/her name and title on the appropriate lines, date the form, and check the applicable title. You must hold one of the listed titles to legally sign the form. |

# How do I Complete the Return to Compliance Plan?

If you identify compliance problems that cannot be corrected before your submittal deadline, you must file a Return to Compliance Plan (RTC) for each of the problems (please make extra copies of RTC if necessary). The RTC requires you to specify the compliance question number associated with the problem, explain the problem, list the correction actions to be taken, and provide an anticipated return to compliance date. DEP may follow up with additional questions or an on-site inspection.

# How do I Submit through ePlace?

# ePLACE is located here: <https://eplace.eea.mass.gov/citizenaccess>

Additional visual instructions to assist in submitting your compliance certification are available at: <https://www.mass.gov/how-to/wp-56-industrial-wastewater-holding-tank-compliance-certification>

# 

* Log into the ePLACE Portal at: https://eplace.eea.mass.gov/citizenaccess and create an account.
* Once logged in, click on the large blue button on the right, “File an Online Application”.
* Read and agree to the disclaimer. Click “Continue”.

# To find this application, click on “Apply for DEP Authorization – Water Pollution Wastewater (WP)”, and check “WP56” and click “Continue Application”.

# Follow instructions on each screen and click “Continue Application” to move to the next step. The WP56 compliance certification and supporting forms are to be completed in MS Word or Acrobat Adobe PDF and attached in the Documents section.

# Note that you can return to an application provided you select “Save and Return Later”. Once you submit an application you can no longer upload documents without approval from MassDEP personnel.

# At the end of the application steps, the ePLACE system will take you directly to a screen where you can pay the fee, if applicable. Complete payment information in ePLACE.

# Once an application has been submitted, you will receive an email that will provide you the record number.

* From the “My Records” button, you will be able to view the status of your application through the review and approval processes.

**Important Contacts**

* For technical assistance regarding online filing, contact the ePLACE Help Desk Team at (844) 733-7522 or ePLACE\_helpdesk@mass.gov.
* To see a copy of your application after submittal, also see: <https://eeaonline.eea.state.ma.us/EEA/PublicApp>.

# Completeness Checklist

Complete the checklist below to ensure that you take all of the required steps in submitting your IWHT Compliance Certification Form to DEP.

* Have you read, understood, and completed the Compliance Certification form, providing answers to all (except for those you were directed to skip) *compliance questions?*
* Have you completed the Return to Compliance Plan form(s) (if applicable)?
* Did you consult the instructions and contact DEP for assistance when you needed clarification or additional information?
* Have you logged into the ePLACE Portal at: https://eplace.eea.mass.gov/citizenaccess and created an account, and followed the instructions to attach your forms and pay the $140 fee?