NOTICE: PORTABLE TOILETS

Please be aware that providing portable toilet(s) to members of the public at any building or facility – including but not limited to courts, rinks, playgrounds, fairgrounds, beaches, piers, docks, parks, picnic areas, campsites, amusement facilities, and so on – triggers the requirement for accessible portable toilet(s) per 521 CMR Section 30.1.2:

30.1.2 	Portable Toilets: For single user portable toilets clustered at a single location, at least 5% but not less than one accessible toilet unit shall be installed at each cluster.  Accessible units shall be identified by the International Symbol of Accessibility.

The requirement is applicable to portable toilets provided at permanent buildings and facilities as well as at venues that are temporary in nature, e.g. fairs, roving carnivals, and holiday events.