| Report Instructions: Annual Compliance Emissions Summary |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BASIC INFORMATION |  |  |  |  |  |
| report DESCRIPTION | This report summarizes the results of the stack tests for Particulate Matter, Cadmium, Lead, Hydrogen Chloride, Dioxins/Furans, Fugitive Ash and Opacity conducted during the previous calendar year. Stack tests are required every nine months for these parameters and pollutants. Most annual reports will summarize the results of one stack test, however, two stack test results will be summarized in some annual reports. Data from mercury stack testing and continuous monitoring systems that measure other pollutants/parameters are contained in other reports. |  |  |  |  |
| REGULATORY CITATION | This report satisfies the requirements of 310 CMR 7.08(2)(i)1b.,d., and g. |  |  |  |  |
| REPORTING FREQUENCY | Annual report |  |  |  |  |
| Due DATE | February 15th following the calendar year that the data covers. A report submitted by February 15th must include results of all tests completed between January 1st and November 17th of the previous calendar year. Any test completed after November 17th that is not included in the February 15th report, must be submitted as an updated report, in hard copy and electronically within 90 days of the completed stack test. Upon receipt, the most recent stack test results will be posted on the web site for the year of actual testing. |  |  |  |  |
| facility information |  |  |  |  |  |
| Facility |  | Enter the name of the facility. |  |  |  |
| SSEIS number |  | Enter the SSEIS identification number for the facility. |  |  |  |
|  |  | Facility |  |  | SSEIS identification number |
|  |  | SEMASS |  |  | 120/1 |
|  |  | Wheelabrator-N Andover |  |  | 121/261 |
|  |  | Wheelabrator-Millbury |  |  | 118/419 |
|  |  | Covanta |  |  | 121/7 |
|  |  | Wheelabrator-Saugus |  |  | 119/7654 |
| MWC Unit Number |  | The number the facility has assigned to the Municipal Waste Combustion Unit(s) included in the report. |  |  |  |
| Reporting Period |  | Enter the calendar year covered by the report. For example, enter ”2001” for the report submitted on February 15, 2002 covering calendar year 2001 |  |  |  |
| TYPE OF Particulate Matter Control Device |  | Indicate the type of particulate matter control device being used for this MWC unit. Use the following codes FF - fabric filter ESP – electrostatic precipitator COHPAC – combination electrostatic precipitator and fabric filter. |  |  |  |
| DO you use FaHrenheit OR CELsIUS for thermocouple calibration and measurements |  | Enter F if Fahrenheit is used Enter C if Celsius is used |  |  |  |
| Do you intend to conduct Dioxin/Furan compliance testing on a reduced schedule during the following year pursuant to 7.08(2)(g)1.b? |  | Enter no or yes as appropriate |  |  |  |
|  |  | COMPLIANCE TESTING DATA |  |  |  |
| COMPLIANCE TEST Date MM/DD/YYYY |  | The first day on which testing was conducted is reported. For example, if testing was conducted from June 10, 2001 until June 15, 2001. Enter 06/10/2001 for the first day of testing. |  |  |  |
| Pollutant/ PARAMETER |  | List each pollutant or parameter that must be reported on a separate row. |  |  |  |
| Units |  | List the applicable units for each pollutant/parameter limit. |  |  |  |
| Limit |  | Enter the numerical value of each pollutant or parameter limit. With the following exceptions, the emissions limits for each parameter or pollutant can be found in the Facility’s Emission Control Plan. |  |  |  |
|  |  | Parameter |  | Limit |  |
|  |  | Unit Load, PMCDT |  | Enter 0 for not applicable since the average values for these parameters measured during the dioxin/furan compliance test will be used to establish the operating limits for these parameters until the next dioxin/furan compliance test. |  |
|  |  | Carbon Feedrate |  | If the Department had approved the carbon feedrate optimization plan for the facility at the time of the compliance test, enter the approved optimization feedrate in this field. Otherwise enter 0 for not applicable. |  |
| Concentration/Value |  | Enter the average concentration/value for the pollutant/parameter measured during the compliance test. |  |  |  |