|  | Massachusetts Department of Environmental Protection Bureau of Resource Protection - Title 5 Permitting Installation of Alternative Systems BRP WP 57 Approval of Installation of Recirculating Sand Filter (RSF) or Approved Equivalent Technology BRP WP 64b Approval of Installation of an Alternative System for Piloting BRP WP 64c Approval of Installation of an Alternative System for Remedial Use Instructions and Supporting Materials |
| --- | --- |

Table of Contents

- introduction

- permit fact sheet

- completeness checklist

Introduction

MassDEP Permit Applications, as well as Instructions & Support Materials, are available for download from the MassDEP Web site at mass.gov/dep in two file formats: Microsoft Word™ and Adobe Acrobat PDF™. Either format allows documents to be printed.

Instructions & Support Materials files in Microsoft Word™ format contain a series of documents that provide guidance on how to prepare a permit application. Although we recommend that you print out the entire package, you may choose to print specific documents by selecting the appropriate page numbers for printing.

Permit Applications in Microsoft Word™ format must be downloaded separately. Users with Microsoft Word™97 or later may complete these forms electronically.

Permitting packages in Adobe Acrobat PDF™ format combine Permit Applications and Instructions & Support Materials in a single document. Adobe Acrobat PDF™ files may only be viewed and printed without alteration. Permit Applications in this format may not be completed electronically.

1. What is the purpose of these approvals?

The purpose of these approvals, except tight tank approval, is to ensure that alternative Title 5 systems, which have substitute or alternative components for one or more elements of a conventional septic system, can provide the same or a higher degree of environmental and public health protection as a conventional system.

- BRP WP 57 establishes an approval process for MassDEP review of proposed installation of Recirculating Sand Filters (RSFs) where nitrogen reduction is required by 310 CMR 15.214 to serve new construction or proposed installation of RSFs for remedial use to serve facilities with design flows of 2,000 gallons per day or greater.

- BRP WP 64b establishes an approval process for MassDEP review of alternative systems proposed for piloting on a specific site.  Piloting is intended to demonstrate that the technology proposed is likely to provide a level of environmental protection at least equal to that of a system designed and built in accordance with Title 5.

- BRP WP 64c establishes an approval process for MassDEP review of alternative systems proposed for remedial use on a specific site.  A Remedial Use approval is intended to demonstrate that the alternative system is likely to improve conditions at an existing facility served by a failed, failing or nonconforming system.

2. Who must apply?

For BRP WP 57:

Any individual, business or organization desiring to install a recirculating sand filter in accordance with 310 CMR 15.202, 310 CMR 15.214, and the Department’s Approval for Remedial Use for RSFs.

For BRP WP 64b:

Any individual, business or organization desiring to install an alternative system for piloting, in accordance with 310 CMR 15.003 and 310 CMR 15.285.

For BRP WP 64c:

Any individual, business or organization desiring to install an alternative system for Remedial Use that is required to obtain prior MassDEP approval, in accordance with 310 CMR 15.003 and 310 CMR 15.284.

Note: If these categories do not apply to you, please be advised these are not the only categories for discharges to the ground. Please consult regulations 310 CMR 4.00 and the Department of Environmental Protection Regulations (314 CMR 5.00-6.00) to determine whether another category may apply to you.

3. What other requirements should be considered when applying for these approvals?

- Applicants must obtain approval from the local approving authority prior to submitting an application to MassDEP, and include a copy of the approval in their application to MassDEP.

- Any proposed variances must be included in the application, including any approval from a local approving authority, or separate variance application under BRP WP 59b or 59c that will be necessary.

Note:  These additional requirements are intended to serve as a guide to the applicant.  They do not necessarily include all additional requirements.

4. What is the application fee?

For BRP WP 57, 64b and 64c the application fee is $525.

5. What is the Primary Permit Location? What is the Reserve Copy Location?

Primary Permit Locations:

For BRP WP 57:

Department of Environmental Protection (two copies)

__________* Regional Office

Title 5 Permitting Program

For BRP WP 64b:

Department of Environmental Protection (two copies)

Title 5 Permitting Program

1 Winter Street

Boston, MA  02108

For BRP WP 64c:

Department of Environmental Protection (two copies)

__________* Regional Office

Title 5 Permitting Program

*Find your region:  https://www.mass.gov/service-details/massdep-regional-offices-by-community

There is no Reserve Copy Location for this variance.

6.	Where can I get a copy of the timelines?

The timelines are available on the MassDEP Website:

https://www.mass.gov/guides/massdep-permitting-assistance#fees-timelines

7. What is the annual compliance fee?

There is no compliance fee for this category.

8. How long are these approvals valid?

The system must be built within three years of the date of issuance of the Disposal System Construction Permit. Provided that the system is installed within three years, the BRP WP 57, BRP WP 64 b, and BRP WP 64 c approvals remain valid as long as the system and facility served remain unchanged.  The Department may issue a written one-year extension.  Only one extension may be granted.

9. How can I avoid the most common mistakes made in applying for these approvals?

a.	Review the application for completeness to be sure all questions are answered correctly.

b. 	Make sure two copies of plans and specifications are complete and signed and stamped by a Massachusetts 	Registered Sanitarian or Professional Engineer, whichever is appropriate.

c. 	Submit fee and a copy of the MassDEP Transmittal Form to: Department of Environmental Protection,

P. O. Box 4062, Boston, MA 02211.

10. What are the regulations that apply to variances? Where can I get copies?

These regulations include, but are not limited to:

- Timely Action Schedule and Fee Provisions, 310 CMR 4.00.

- Title 5 Regulations, 310 CMR 15.000;

- Sections 15.202 and 15.214 BRP WP 57

- Sections 15.280 – 15.289, BRP WP 64b

- Sections 15.280 – 15.289, BRP WP 64c

These may be purchased at:

State House Bookstore 				State Bookstore

Room 116 					436 Dwight Street, Room 102

Boston, MA 02133 				Springfield, MA 01103

617-727-2834 					413-784-1376

The MassDEP Transmittal Form is completed: http://www.mass.gov/eea/agencies/massdep/service/approvals/transmittal-form-for-payment.html For BRP WP64 applications, ensure that the permit code suffix “b” or “c” is entered on the form.

Complete the Title 5 Permit Application Form.  Provide all specified information and attachments, including:

Identification of the type of MassDEP approval being sought:

- RSF or approved equivalent technology (BRP WP 57), or

- Alternative: Pilot Use (BRP WP 64b), or

- Alternative: Remedial Use (BRP WP 64c)

Name, address, telephone, and fax number and e-mail of applicant.

Identification of legal ownership for the facility.

Address of the facility.

Name, company, address, and fax number, e-mail, and registration number of designer.

Applicant’s signature, date, and name of preparer.

System Information including:

System description.

Alternative design standards.

Two sets of plans and specifications signed and stamped by a MA registered Professional Engineer or Sanitarian, as appropriate.

Written approval from the local approving authority.

Data demonstrating that equivalent environmental protection is achievable.

Documentation identifying the system failure (BRP WP 64c only).

Sampling and monitoring plan (BRP WP 64b only).

Provisions of Title 5 for which a variance is sought and local approving authority approval of variances.

To submit the application package:

Checklist items have been completed.

For BRP WP 64b, send one copy of the application along with one copy of the MassDEP Transmittal Form  	to:

Department of Environmental Protection

Title 5 Program

One Winter Street, 5th floor

Boston, MA 02108

For BRP WP 57 and 64c, send two copies of the application along with one copy of the MassDEP 	Transmittal Form to:

Department of Environmental Protection

Title 5 Program

_________* Regional Office

* Find your region https://www.mass.gov/service-details/massdep-regional-offices-by-community

Send fee of $525 in the form of a check or money order made payable to Commonwealth of 	Massachusetts, along with one copy of the MassDEP Transmittal Form to:

Department of Environmental Protection

P.O. Box 4062

Boston, MA 02211