#### Table of Contents

- introduction

- permit fact sheet

- completeness checklist

Introduction

MassDEP Instructions & Support Materials are available for download from the MassDEP Web site at www.mass.gov/dep in two file formats: Microsoft Word and Adobe Acrobat PDF. Either format allows documents to be printed.

Instructions & Support Materials provide guidance on how to prepare a permit application.

The supporting documents for these permit applications, and the fee payment (if applicable) must now be submitted through the ePLACE Portal. See ePLACE step-by-step instructions on the mass.gov page for this application.

1. What is the purpose of these approvals?

These approvals serve to protect the health and welfare of the public through the control of any product or operation that comes into contact with public drinking water. These products and operations must be controlled to prevent contaminants from leaking into the drinking water as well as to ensure that the products and operations work as designed. Apply in category BRP WS 11 if no field test is required (minor new technology approval). Apply in category BRP WS 12 if a field test is required (major new technology approval). Regulatory authority for these approvals is stated in 310 CMR 22.04(8), of the Drinking Water Regulations.

2. Who must apply?

Public water suppliers, manufacturers, or their representatives must apply if they want approval to use a product or operation that will come into contact with a public water supply. These products include, but are not limited to, drinking water additives, filtration devices, coatings, pipes, tanks, vending machines, and backflow prevention devices.

3. What other requirements should be considered when applying for these approvals?

If water suppliers or their representatives apply for one of these approvals as part of a facility modification it may also be necessary for them to apply for other MassDEP water treatment permits, e.g. BRP WS 21, 22, 23, 24 or 25.

Note: These additional requirements are intended to serve as a guide to the applicant. It does not necessarily include all additional requirements.

4. What is the application fee?

BRP WS 11 (minor new technology approval, no field test required).....................$2,265

BRP WS 12 (major new technology approval, field test required). The application fee is negotiated in accordance with 310 CMR 4.05.

5.	Where should the application be sent?

The application must be submitted through ePLACE, located here: https://eplace.eea.mass.gov/citizenaccess

Additional visual ePLACE step-by-step instructions to assist in submitting your application are available at: https://www.mass.gov/how-to/ws-11-12-minor-major-technology-approval

- Log into the ePLACE Portal at: https://eplace.eea.mass.gov/citizenaccess and create an account.

- Once logged in, click on the large blue button on the right, “File an Online Application”.

- Read and agree to the disclaimer. Click “Continue”.

- To find this application, click on “Apply for DEP Authorization – Drinking Water (DW)”, and check on WS 11/12, and click “Continue Application”.

- Follow instructions on each screen and click “Continue Application” to move to the next step. The WS 11/12 supporting forms are to be attached in the Documents section.

- Note that you can return to an application provided you select “Save and Return Later”. Once you submit an application you can no longer upload documents without approval from MassDEP personnel.

- At the end of the application steps, the ePLACE system will take you directly to a screen where you can pay the fee, if applicable. Complete payment information in ePLACE.

- Once an application has been submitted, you will receive an email that will provide you the record number.

- From the “My Records” button, you will be able to view the status of your application through the review and approval processes.

Important Contacts

- For technical assistance regarding online filing, contact the ePLACE Help Desk Team at (844) 733-7522 or ePLACE_helpdesk@mass.gov.

- To see a copy of your application after submittal, also see: https://eeaonline.eea.state.ma.us/EEA/PublicApp.

6.	Where can I get a copy of the timelines?

The timelines are available on the MassDEP Website: https://www.mass.gov/lists/massdep-fees-timelines

7. What is the annual compliance fee?

There is no annual compliance fee for either of these approvals.

8. How long are these approvals in effect?

These approvals are in effect as long as the applicant remains in compliance with appropriate laws and regulations and MassDEP determines that the product or operations continue to protect the public health and welfare.

9. How can I avoid the most common mistakes made in applying for these approvals?

a.	Review the instructions and Application Completeness Checklist for this application package.

b.	Submit the documents required for this application and pay fee (if applicable) through ePLACE, https://eplace.eea.mass.gov/citizenaccess.

10. What are the regulations that apply to these approvals?		Where can I get copies?

These regulations include, but are not limited to:

a. Drinking Water Regulations, 310 CMR 22.00.

b. Timely Action and Fee Provisions, 310 CMR 4.00.

c. Administrative Penalty Regulations, 310 CMR 5.00.

These may be purchased at:

State House Bookstore						State House West Bookstore

Room 116								436 Dwight Street

Boston, MA 02133							Springfield, MA 01103

617-727-2834							413-784-1376

For WS 11, upload the following documents (as applicable) to ePLACE:

Included in the application package are:

A cover letter explaining the request.

Plans and Specifications.

In addition to the above, the following require additional submittals:

For Water Vending Machines:

Massachusetts Plumbing Board Approval.

Schematic.

Maintenance and Cleaning Specifications.

For Other New Technology Approvals such as drinking water additives, pipes, tanks, etc.:

Third party or National Code approval such as AWWA, NSI or EPA.

For WS 12, upload the following documents to ePLACE:

Included in the application package are:

A cover letter explaining the request.

Plans and Specifications.

To submit the application package:

Submit the application and documents listed above through ePLACE,

https://eplace.eea.mass.gov/citizenaccess

For WS 11, Pay fee: $2,265 (if applicable)

For WS 12, Pay the application fee negotiated in accordance with 310 CMR 4.05.

You can pay online in ePLACE or pay by mail in the form of a check or money order made payable to Commonwealth of Massachusetts (please follow email instructions provided to you once your application is submitted).