| Report Instructions: Corrective Action for Insufficient Data Capture |  |  |  |  |
| --- | --- | --- | --- | --- |
| BASIC INFORMATION |  |  |  |  |
| REPORT DESCRIPTION | This report describes each instance in which the monthly or quarterly Continuous Monitoring System data for the parameters/pollutants for any municipal waste combustor unit at the facility was insufficient. |  |  |  |
| REGULATORY CITATION | This report satisfies the requirements of 310 CMR 7.08 (2)(i)1.c |  |  |  |
| REPORTing FREQUENCY | Annual report |  |  |  |
| DUE DATE | February 15th following the calendar year that the data covers. |  |  |  |
| FACILITY INFORMATION |  |  |  |  |

| Facility | Enter the name of the facility |
| --- | --- |

| SSEIS Number | Enter the SSEIS identification number for the facility. |
| --- | --- |

|  | Facility | SSEIS identification number |
| --- | --- | --- |
|  | SEMASS | 120/1 |
|  | Wheelabrator-N Andover | 121/261 |
|  | Wheelabrator-Millbury | 118/419 |
|  | Covanta | 121/7 |
|  | Wheelabrator-Saugus | 119/7654 |

| Reporting Period | Enter the calendar year covered by the report. For example, enter “2001” for a report that covers calendar year 2001. |
| --- | --- |

| MONITORING DATA |  |
| --- | --- |
| Entering the Data | Enter the requested information in the appropriate spaces as indicated below. Complete one line for each associated period that valid data was not captured. Periods during daily calibrations are not considered to be missing data provided valid data was captured for two data points, in two different quadrants within the hour, to constitute a valid hour of data. This time field includes downtime when no data or invalid data was collected (e.g. failed RATA). |
| MWC Unit | The number the facility has assigned to the municipal waste combustion unit at which the data insufficiency occurred |
| Pollutant/ Parameter | The pollutant/parameter for which data capture was insufficient. SO2 - sulfur dioxide NOx – nitrogen oxides CO - carbon monoxide PMCDT – particulate matter control device inlet temperature UL – unit load. |
| Start Date MM/DD/YYyy | The date on which the data capture failure started, reported as MM/DD/YYYY For example: January 2, 2003 is reported as 01/02/2003. |
| Finish Date MM/DD/YYyy | The date the data capture failure ended. |
| Start Time HH:MM | The time the data capture failure started, using military time. For example: 1:15 pm is expressed as 13:15 |
| Finish Time HH:MM | The time the data capture failure ended |
| Corrective Actions Taken | Briefly describe what was done to eliminate the problem, including using other monitoring systems, parametric monitoring or reference methods i.e. method 7 or 19 for NOx when required. |