| Report Instructions: Exclusion of Data |  |  |
| --- | --- | --- |

| BASIC INFORMATION |  |  |
| --- | --- | --- |
| report description | This report explains each instance during the reporting year in which continuous monitoring data for the listed pollutants/parameters at any of the facility’s municipal combustor units was excluded from the calculations of the average levels of the pollutants/parameters that are continuously monitored. |  |
| REGULATORY CITATION | This report satisfies the requirements of 310 CMR 7.08(2)(i)1.b.,1.d., and 1.g. |  |
| REPORTING FREQUENCY | This is an annual report |  |
| DuE DATE | February 15th following the calendar year that the data covers. |  |
| facility information |  |  |

| Facility | Enter the name of the facility |
| --- | --- |

| SSEIS Number | Enter the SSEIS identification number for the facility. |
| --- | --- |

|  | Facility | SSEIS identification number |
| --- | --- | --- |
|  | SEMASS | 120/1 |
|  | Wheelabrator-N Andover | 121/261 |
|  | Wheelabrator-Millbury | 118/419 |
|  | Covanta | 121/7 |
|  | Wheelabrator-Saugus | 119/7654 |

| Reporting Period | Enter the calendar year covered by the report. For example, 2001 would be entered for a report that covers calendar year 2000 |
| --- | --- |

| monitoring data |  |  |  |
| --- | --- | --- | --- |
| Entering the Data | Enter the requested information in the appropriate spaces as indicated below. Complete one line for each data exclusion event. If sufficient data was gathered (see definition of valid hour in appendix A) during the averaging period to constitute a valid hour of data, it is not necessary to list that hour. |  |  |
| MWC Unit | The designated number for the municipal waste combustor unit(s) at which the data exclusion event occurred |  |  |
| Pollutant/ Parameter | The pollutant/parameter for which data was excluded in this data exclusion event. Pick the applicable abbreviation from the pull down menu using the following abbreviations: |  |  |
|  | Abbreviation | Pollutant/Parameter |  |
|  | SO2 | Sulfur Dioxide |  |
|  | NOx | Nitrogen oxides |  |
|  | CO | Carbon monoxide |  |
|  | PMCDT | particulate matter control device inlet temperature |  |
|  | UL | unit load |  |
| Start Date MM/DD/YYYY | The date on which the data exclusion event started, reported in MM/DD/YYYY format For example: report January, 2 2003 as 01/02/2003 |  |  |
| Finish Date MM/DD/YYYY | The date on which the data exclusion event ended |  |  |
| Start Time HH:MM | The time the data exclusion event started using military time For example: express 1:15 pm as 13:15 |  |  |
| Finish Time HH:MM | The time the data exclusion event ended |  |  |
| Reason for Excluding DATA | Briefly explain the reason why the data was excluded from the average concentration or parameter calculation with a specific explanation why the data was excluded. |  |  |