**Table of Contents**

* introduction
* guidance
* permit application fact sheet
* completeness checklist

**Introduction**

MassDEP *Permit Applications*, as well as *Instructions & Support Materials*, are available for download from the MassDEP website at [mass.gov/dep](https://www.mass.gov/dep) in two file formats: Microsoft Word and Adobe Acrobat PDF.

*Instructions & Support Materials* provide guidance on how to prepare a permit application.

These *Permit Applications*, supporting documents, and the fee payment (if applicable) must now be submitted through the [ePLACE Portal](https://eplace.eea.mass.gov/citizenaccess/Default.aspx). See ePLACE step-by-step instructions on the mass.gov page for this application.

*The initial Notice of Intent to seek coverage under a General Groundwater Discharge Permit for which a treatment system is proposed or for which an existing treatment system is to be modified must include a description of the project with design criteria for the treatment facility.*

*The formal submission of the engineering report and engineering plans & specifications for the proposed wastewater treatment facility to the MassDEP shall not be required until 90 days prior to the startup of the facility. The engineering report and plans & specifications shall be* ***stamped and signed*** *by a Massachusetts Registered Professional Engineer.*

*A Certification Statement for the engineering report, plans & specifications and Hydrogeologic Report is required to be submitted with the permit application.*

**Engineering Report Requirements**

*The engineering report (to be submitted 90 days prior to the startup of the facility) shall include, at a minimum, the following items:*

a. a general description of the facility (condominium, office park, laundromat, municipal system, etc.);

b. a description of the number of employees and/or residents, bedrooms, apartments, elderly housing units, shifts and days of operation per week;

c a listing of raw materials used, such as but not limited to, chemicals, cleaning products, petroleum products, etc;

d. a description of the sources of water supply including quantity and quality requirements;

e. an identification of the sources of all sanitary and industrial wastes streams together with the quantity of flow and waste stream characteristics, including seasonal flow fluctuations, if any. In accordance with 310 CMR 30.302, a determination of whether any industrial waste stream is a hazardous waste stream shall be made for each industrial waste stream;

f. a description of any by-product recovery systems;

g. a listing and description of wastewater treatment studies performed;

h. a description of liquid waste flow control measures;

i. a description of any existing wastewater treatment system, including all design parameters;

j a description of reclaimed water opportunities

k. a description of any anticipated new processes;

l. a description of the proposed effluent quality;

m. a listing and evaluation of wastewater treatment alternatives capable of meeting applicable effluent quality;

n. a narrative description of the recommended plan for a wastewater treatment facility, based upon the preceding evaluation, with detailed design criteria, including flows and loads, number and size of unit processes and appurtenant facilities, unit loading, and a preliminary layout;

o. a hydraulic profile in graphic form, on a sheet no larger than 11 inches by 17 inches, including the final effluent disposal area with water surface elevations at average, peak, and low flow conditions;

p. a flow schematic, on a sheet no larger than 11 inches by 17 inches, including return lines, chemical feed lines, and sampling points;

q. a description of redundancy requirements;

r. a discussion whether this is the initial phase of a larger project and, if so, how the design will future phases;

s. a description of odor control provisions, as necessary;

t. a description of safety provisions;

u. a description and location of all chemicals stored, including spill containment provisions;

v. an implementation schedule for the recommended plan;

w. treatability and pilot study data on the ability of the proposed treatment system to treat the proposed discharge and meet applicable federal, state, and local requirements;

x. an examination of the potential impact of any proposed discharge on municipal and private water supply wells, or POTW's, or surface water, whichever is applicable.

The engineering plans and specifications of a proposed wastewater treatment facility (not to be submitted until 90 days prior to the startup of the facility) shall include, at a minimum, the following:

a. materials of construction and specifications for all wastewater treatment system components;

b. materials of construction and specifications for all wastewater collection system components;

c. specifications for all instrumentation and alarms;

d. a site plan and general plant layout;

e. plan views and profile views, including dimensions showing existing and proposed piping and processing units related to wastewater collection, treatment, and disposal.

**1. What is the purpose of these permits?**

This Notice of Intent to seek either new or renewed coverage under a General Discharge Permit is required for small wastewater treatment facilities designed to receive 50,000 gallons per day or less of sewage; or, carwash wastewater; or, commercial coin operated laundromat wastewater pursuant to 314 CMR 5.03 and 314 CMR 5.13(1). These permits serve to protect the public health, welfare, and the environment through the control of these discharges onto or into the ground.

Statutory authority for this permit is stated in MGL Chapter 21 Section 43. Regulatory authority for these permits is stated in 314 CMR 5.00.

1. **Who must apply?**

* **BRP WP 80** General Permit coverage or renewal of General Permit coverage for carwash or commercial coin operated laundromats.
* **BRP WP 81** General Permit coverage or renewal of General Permit coverage for small sewage treatment facilities designed to receive 50,000 gallons per day or less.

If these categories do not apply to you, please be advised there are other permit categories for discharges to the ground:

* **BRP WP 79** Any person (individual, business or organization) who proposes a treatment system to treat sanitary sewage in excess of 10,000 gallon per day to the ground.

**Please note:** There may be limited instances where site constraints would require a discharge of less than 10,000 gallons per day of sanitary sewage to obtain a groundwater discharge permit.

* **BRP WP 85** Any person (individual, business or organization) who proposes a treatment system to treat wastewater from a commercial coin operated laundromat, a carwash or other type of discharge to the ground not specified by another groundwater discharge category.

If these categories do not apply to you, please be advised these are not the only permit categories. Please consult regulations 310 CMR 4.00, 310 CMR 15.000, and 314 CMR 5.00 to determine whether another category may apply to you.

**3. What other requirements should be considered when seeking coverage for a General Permit?**

**a. What prerequisites should be considered before seeking coverage for a General Permit?**

Permits of this type may require MEPA review. Please carefully examine 301 CMR 11.00, the MEPA Regulations, to determine if your project exceeds the MEPA review thresholds, or for more information contact the MEPA Unit of the Executive Office of Environmental Affairs (100 Cambridge Street, Suite 900, Boston, MA 02114; (617-626-1020). MassDEP cannot complete technical review of the notice of intent until the MEPA process has been concluded. MEPA filings should be uploaded along with your application submission in the Documents section in ePLACE.

1. **What concurrent applications are related to these permits?**
   * The local Board of Health may have regulations which apply.
   * Application for operator certification/facility rating in accordance with 257 CMR 2.00 is required.

**Note:** These additional requirements are intended to serve as a guide to the applicant. They do not necessarily include all additional requirements.

1. **Where should the Notice of Intent be sent?**

The Notice must be submitted throughePLACE, located here: <https://eplace.eea.mass.gov/citizenaccess>

      Additional visual ePLACE step-by-step instructions to assist in submitting your compliance certification are available at: <https://www.mass.gov/how-to/wp-80-81-general-groundwater-discharge-permit-coverage>

* Log into the ePLACE Portal at: <https://eplace.eea.mass.gov/citizenaccess> and create an account.
* Once logged in, click on the large blue button on the right, “File an Online Application”.
* Read and agree to the disclaimer. Click “Continue”.
* To find this application, click on “Apply for DEP Authorization – Water Pollution Wastewater (WP)”, and check on WP 80 or WP 81, and click “Continue Application”.
* Follow instructions on each screen and click “Continue Application” to move to the next step. The WP 80 or WP 81 application and supporting forms are to be completed in MS Word or Acrobat Adobe PDF and attached in the Documents section.
* Note that you can return to an application provided you select “Save and Return Later”. Once you submit an application you can no longer upload documents without approval from MassDEP personnel.
* At the end of the application steps, the ePLACE system will take you directly to a screen where you can pay the fee, if applicable. Complete payment information in ePLACE.
* Once an application has been submitted, you will receive an email that will provide you the record number.
* From the “My Records” button, you will be able to view the status of your application through the review and approval processes.

**Important Contacts**

* For technical assistance regarding online filing, contact the ePLACE Help Desk Team at (844) 733-7522 or ePLACE\_helpdesk@mass.gov.
* To see a copy of your application after submittal, also see: <https://eeaonline.eea.state.ma.us/EEA/PublicApp>.

**5. What is the Notice of Intent fee?**

BRP WP 80 General Permit for Specified Discharges ............................................................$745

BRP WP 81 General permit for Small Wastewater Treatment Facilities..................................$755

**6.** **Where can I get a copy of the timelines?**

The timelines are available on the MassDEP Website: <https://www.mass.gov/lists/massdep-fees-timelines>

**7. What is the annual compliance assurance fee?**

Once coverage under the General Permit is granted, the permittee will be responsible for paying an Annual Compliance Assurance Fee (ACF) as required by 310 CMR 4.00. Current Annual Compliance Fees can be found on the MassDEP Website at <https://www.mass.gov/lists/massdep-fees-timelines>. Please be advised, failure to make timely payment of an ACF may result in the revocation of this permit and the denial of any other pending permit application that you have filed with MassDEP.  In addition, if you owe any past due ACF for any MassDEP permit, this permit application may be denied under M.G.L. c. 21A, sec.18.

**8. How long are these permits in effect?**

The General Permits shall be effective for a fixed term, which will not exceed 5 years. The Department may issue a permit for a lesser duration.

Coverage under a General Permit is subject to renewal 180 days **prior to** the expiration date of the General Permit regardless of the date the coverage was granted.

**9. How can I avoid the most common mistakes made in applying for these permits?**

a. Answer all questions on the Notice of Intent form and indicate "not applicable" (N/A) where appropriate.

b. The Notice of Intent for BRP WP 80 and BRP WP 81 must include:

1. A project description and design criteria for the proposed wastewater treatment facilities (not required for renewals if no change proposed to the project)
2. Certification Statement for the engineering report, plans & specifications, and the hydrogeologic report (not required for renewals if no change proposed to the project). <https://www.mass.gov/lists/wastewater-permits-and-reporting-forms>
   * 1. A groundwater monitoring well plan.
     2. A complete and signed Applicant Certification for General Permits (Section D. of the Notice of Intent form for Groundwater Discharge General Permits).
3. Submit the application and documents and pay fee throughePLACE, <https://eplace.eea.mass.gov/citizenaccess>

**10. What are the regulations that apply to these permits? Where can I get copies?**

These regulations include, but are not limited to:

a. Groundwater Discharge Regulations, 314 CMR 5.00.

b. Timely Action and Fee Provisions, 310 CMR 4.00.

c. Administrative Penalty Regulations, 310 CMR 5.00.

These may be purchased at:

**State House Bookstore State House West Bookstore**

**Room 116 436 Dwight Street**

**Boston, MA 02133 Springfield, MA 01103**

**617-727-2834 413-784-1376**

*To avoid delays in the application review process, please include the following items with the application:*

The Notice of Intent Form to seek coverage under a General Permit properly filled out and signed by the applicant.

Project description and design criteria are included with Notice of Intent (not required for renewals if no change proposed to the project)

.

Certification Statement for the engineering report, plans & specifications, and the hydrogeologic report (not required for renewals if no change proposed to the project). <https://www.mass.gov/lists/wastewater-permits-and-reporting-forms>

Groundwater Monitoring Well Plan (not required for renewals if no change proposed to the project).

Section D., Applicant Certification for General Permits, in the Notice of Intent form has been completed and signed.

*To submit the Notice of Intent package:*

Submit the application and documents listed above throughePLACE, <https://eplace.eea.mass.gov/citizenaccess>

Pay fee of:

$745 for BRP WP 80 or $755 for BRP WP 81:

You can pay online in ePLACE or pay by mail in the form of a check or money order made payable to *Commonwealth of Massachusett*s (please follow email instructions provided to you once your application is submitted).

*Please be advised, upon issuance of this permit, you will be responsible for paying the Annual Compliance Assurance Fee (ACF) as required by 310 CMR 4.00.  Failure to make timely payment of an ACF may result in the revocation of this permit and the denial of any other pending permit application that you have filed with MassDEP.  In addition, if you owe any past due ACF for any MassDEP permit, this permit application may be denied under M.G.L. c. 21A, sec.18.*