The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781 828-8046

Facsimile: 781 828-7703

Nicholas.Gale@state.ma.us

DEVAL L. PATRICK GOVERNOR JOHN W. POLANOWICZ SECRETARY CHERYL BARTLETT, RN COMMISSIONER

May 27, 2014

Lisa Mitchell, Superintendent

OCCC Kitchen Core Services

1 Administration Road

Bridgewater, MA 02324

Re: Facility Inspection - OCCC Kitchen Core Services, Bridgewater

Dear Superintendent Mitchell:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical   or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the OCCC Kitchen Core Services on May 15, 2014 accompanied by Bill Pappas, EHSO, Lieutenant     Ed Costa, and Sergeant Robert Travers. Violations noted during the inspection are listed below including 8 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Loading Dock

Trap Office

No Violations Noted

Main Kitchen

Hallway

No Violations Noted

Swill Room

No Violations Noted

Director’s Office

No Violations Noted

Cooler # 9

No Violations Noted

Cart Storage Room

FC 4-903.11(B)(1)*	Protection of Clean Items, Storing: Pots and pans not stored in the inverted/self-draining position

Handwash Sink (near Cart Storage Room)

No Violations Noted

Grease Hood Area

No Violations Noted

Diet Kitchen

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Office # 155

No Violations Noted

Office # 157

No Violations Noted

Office # 158

No Violations Noted

Kettle Area

No Violations Noted

Oven Area

No Violations Noted

Bakery Area

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested greater 	than recommended concentration

Tool Crib

No Violations Noted

Cooler # 1

No Violations Noted

Cooler # 3

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, box of cookies not appropriately covered

Hobart Refrigerator # 1294

No Violations Noted

Freezer # 1

FC 6-501.11			Maintenance and Operation; Repairing: Facility not in good repair, light out

Cooler # 2

No Violations Noted

Ice Machines

No Violations Noted

Dry Storage

No Violations Noted

Inmate Bathroom

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, pipe insulation damaged

Utensil Closet

No Violations Noted

New Pot Room

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens not installed in exterior windows

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, 3-bay sink faucet loose

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall fan dusty

Market Area

Cooler # 4

No Violations Noted

Cooler # 5

No Violations Noted

Freezer # 2

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, exposed wires on ceiling fan system

Cooler # 6

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, boxes of fruit and vegetables not covered

Cooler # 7

No Violations Noted

Inmate Bathroom

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, sink faucet leaking

Toxic/Caustic Closet

No Violations Noted

Receiving Office

No Violations Noted

Warehouse

Warehouse Storage Office

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets dirty

Staff Bathroom

No Violations Noted

Double Door Freezer

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice buildup on walls

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor uneven

Single Door Freezer

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice buildup on ceiling

Bakery

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

Bathroom # 1

No Violations Noted

Three-Compartment Sink and Mechanical Warewashing Area

No Violations Noted

Records # 127

No Violations Noted

Bathroom # 2

No Violations Noted

Cooler # 12

No Violations Noted

Storage Room # 121

No Violations Noted

Freezer

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice buildup on ceiling

Pot Area

Main Area

No Violations Noted

Inmate Bathroom

No Violations Noted

Inmate Dining Area

Dining Room

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, exposed wires and missing outlet plate on wall

Traulsen Double Door Warmer

No Violations Noted

Traulsen Refrigerator

No Violations Noted

Food Service Line

No Violations Noted

Kitchen Area

No Violations Noted

Handwash Sink

No Violations Noted

Mechanical Warewashing Machine

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, warewashing machine out-of-order

Hallway

Slop Sink Room # 111

No Violations Noted

Male Bathroom # 112

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

Inmate Bathroom # 114

FC 5-205.15(B)*		Plumbing System, Operations and Maintenance: Plumbing system not maintained in 				good repair, faucet leaking

Female Bathroom # 115

No Violations Noted

Toxic and Caustic Storage Room # 118

No Violations Noted

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

John Economides, Deputy Director

Bill Pappas, EHSO

Eric Badger, CHO, Health Agent, Bridgewater Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea Cabral, Secretary, EOPS