# NON-TRANSIENT NON-COMMUNITY

# CONSUMER NOTICE OF TAP WATER RESULTS – TEMPLATE

# Lead and Copper Compliance Sampling Program

# INSTRUCTIONS PAGE

A Public Water System (PWS) must provide the tap water monitoring results for lead and copper to all persons served by the sampling sites that are part of the PWS's monitoring program.  These results will help occupants determine what actions they can take to reduce their exposure to lead in drinking water.

The following actions are required even if the PWS does not exceed the action level for lead:

- A PWS is required to provide the notification to the consumer within 30 days of when the system receives the results from the laboratory.

- A PWS shall include an explanation of the health effects of lead, steps consumers can take to reduce exposure to lead in drinking water, contact information for the PWS, the maximum contaminant level goals (MCLG) and the action level for lead, with the definitions for these two terms.

- A PWS must send the consumer notices by mail or other MassDEP approved methods (e.g., Non-Transient Non-Community water systems can post the results on a bulletin board in the tested facility to allow users to review the information).

- A PWS must submit a copy of the notification and a certification that the system met the delivery requirements to MassDEP within 90 days from the end of the monitoring period.

- A PWS shall provide a consumer notice of lead and copper tap water monitoring results to the persons served at the sites (taps) that are tested.

The following is a template Consumer Notice for use by NTNC systems and is generally designed for posting.  This template has been adapted from the EPA document Implementing the Lead Public Education Provision of the LCR:  A Guide for Non-Transient Non-Community Water Systems (EPA 816-R-08-008, June 2008).

# Although this template has been set up for reporting results for up to five different sampling locations, you may add additional rows to the existing table using the “Tab key” to report more than five (5) lead and copper sample results.  Please call your regional office if you require technical assistance.

Attention: The bolded language in this TEMPLATE letter is mandatory, which requires that it be included in this letter exactly as written. In addition, please remember that all records are required to be maintained for 12 years. An electronic copy of this form is located on the MassDEP website at https://www.mass.gov/lists/lead-and-copper-forms-and-templates#lead-and-copper-rule-(lcr)-forms-and-templates- (LCR Compliance Sampling Program – NTNC Results).

# NOTICE OF TAP WATER RESULTS

# LEAD AND COPPER COMPLIANCE SAMPLING PROGRAM

| PWS Name: __________________________ |  |
| --- | --- |
| PWS ID: _____________________________ |  |

Date:  _______________

Dear Consumer:

As you may know, [insert name of your facility] is also a public water system (PWS) responsible for providing drinking water that meets state and federal standards. This notice reports the lead and copper results from the samples collected at this facility on [insert date(s) samples collected].

---------------------------------------------------------------------------------------------------------------------------------------------------------

[Select between the two following options.  Check the box that applies and delete the option not selected:]

A total of [insert # of samples] were taken and the following table provides information on the tap location and the water sample result represented in parts per million (ppm):

| Building Sampling Location | Lead (ppm) | This result is above the Lead Action Level | Copper (ppm) | This result is above the Copper Action Level |
| --- | --- | --- | --- | --- |

A total of [insert #] samples were taken and compliance is based on the 90th percentile for all of these samples.  See the attached analytical report for the lead and copper results for each location that was sampled.  The 90th percentile lead and copper levels in your water system are as follows:

LEAD: _______ parts per million (ppm). This result is  above/  below the Lead Action Level of 0.015 mg/l.

COPPER: _______ parts per million (ppm). This result is  above/  below the Copper Action Level of 1.3 mg/l.

---------------------------------------------------------------------------------------------------------------------------------------------------------

What Does This Mean?

The United States Environmental Protection Agency (EPA) and the Massachusetts Department of Environmental Protection (MassDEP) set the Lead Action Level for lead in drinking water at 0.015 ppm (or miligrams per liter (mg/l)) and the Copper Action Level at 1.3 ppm (or milligrams per liter (mg/l)). Because lead may pose serious health risks, the EPA and MassDEP also set a Maximum Contaminant Level Goal (MCLG) for lead of zero. The MCLG for copper is 1.3 mg/l.

There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula-fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks. More information on lead in drinking water and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at: https://www.epa.gov/ground-water-and-drinking-water/basic-information-about-lead-drinking-water.

We recommend the following tips to keep any potential lead and copper out of the water you drink:

- Most importantly – Flushing your water is the simplest way to reduce exposure to lead. When your water has been sitting for several hours, flush the tap until the water feels cold before use.

- Use only cold, fresh water for drinking, cooking, and preparing baby formula.  Run the water for at least 1 minute or until after it turns cold.

- Do not boil the water to remove lead or copper.

For more information on lead in drinking water visit:

- https://www.mass.gov/guides/is-there-lead-in-my-tap-water

- https://www.mass.gov/lead-in-drinking-water

For more information on copper in drinking water visit:

- https://www.mass.gov/service-details/copper-and-your-health

MDPH Lead and Copper in Drinking Water FAQ and Quick Facts:

- https://www.mass.gov/service-details/sources-of-lead-besides-lead-paint

- Lead in Drinking Water FAQ (https://www.mass.gov/media/1571266/)

- Copper in Drinking Water FAQ (https://www.mass.gov/service-details/copper-and-your-health)

CDC: https://www.cdc.gov/lead-prevention/about/?CDC_AAref_Val=https://www.cdc.gov/nceh/lead/default.htm

USEPA: https://www.epa.gov/ground-water-and-drinking-water/basic-information-about-lead-drinking-water

If you have any questions regarding lead or copper in drinking water or your lead or copper sampling results, please feel free to contact: [insert: PWS Contact at PWS Phone Number.]

Sincerely,

# Signature: _____________________________________

The Action Level is the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

The Maximum Contaminant Level Goal (MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.