The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-8046

Facsimile:  (781) 828-7703

mikel.beacham@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

January 25, 2010

# Pamela MacEachern, Deputy Superintendent

# Massachusetts Alcohol and Substance Abuse Center

# 2 Administration Road

# Bridgewater, MA 02324

Re: Facility Inspection

Dear Deputy Superintendent MacEachern:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Massachusetts Alcohol and Substance Abuse Center on January 11, 2010 accompanied by Mike DeCosta, Environmental Health and Safety Officer. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Administration Building

Roll Call Room

FC 4-601.11(A)			Equipment: Microwave dirty

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, handwash sink leaking

Male Officers Locker Room

105 CMR 451.350	Structural Maintenance: Wall damaged

Female Officers Locker Room

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Records Office

No Violations Noted

Food Service

Kitchen

FC 4-501.11(B)	Maintenance and Operation, Equipment: Gasket on Victory refrigerator damaged

FC 5-205.11			Using a Handwashing Facility: Handwash sink not accessible

FC 4-903.11(B)(2)		Protection of Clean Items, Storing: Pots and pans not inverted

FC 6-501.11			Repairing: Floor grate under serving line damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Gasket on Traulsen refrigerator damaged

Dining Area

No Violations Noted

Intake

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Shower Room 1

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Shower Room 2

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.123	Maintenance: Vent dirty

Property Room

No Violations Noted

X-Ray Room

No Violations Noted

Laundry

No Violations Noted

A Barracks

A1 Barracks

Sleeping Area

105 CMR 451.101		Blankets: Blankets ripped on beds #5B & 10B

105 CMR 451.103	Mattresses: Mattress damaged on beds # 13B, 14B & 15B

Laundry

105 CMR 451.350*		Structural Maintenance:	Ceiling damaged

Inmate Bathroom

105 CMR 451.130		Plumbing: Sink # 2 clogged

105 CMR 451.123	Maintenance: Marlite dirty in shower area

A2 Barracks (Closed)

Sleeping Area

105 CMR 451.350		Structural Maintenance:	Ceiling damaged

105 CMR 451.101		Blankets: Blankets ripped on bed # 18A

105 CMR 451.103	Mattresses: Mattress damaged on beds # 16B, 17B, 18B, 20B, 23B, 24B, 26B, 29A, 29B & 31B

Laundry

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Window sill damaged

B Barracks  (Closed)

B1 Barracks

Sleeping Area

105 CMR 451.103		Mattresses: Mattress damaged on bed # 11B

105 CMR 451.101		Blankets: Blankets ripped on bed # 3A

Laundry

No Violations Noted

Inmate Bathroom

105 CMR 451.123		Maintenance: Shower handle damaged in shower # 4

B2 Barracks

Sleeping Area

105 CMR 451.350		Structural Maintenance:	Wall damaged near water fountain

Laundry

No Violations Noted

Inmate Bathroom

105 CMR 451.123		Maintenance: Partition between toilets damaged

105 CMR 451.123		Maintenance: Marlite dirty in shower area

105 CMR 451.123		Maintenance: Vent dirty

C Barracks

C1 Barracks (Recreation unit, no sleeping area)

Main Area

105 CMR 451.350		Structural Maintenance:	Window sills damaged

Laundry

105 CMR 451.350		Structural Maintenance: Door knob loose

Inmate Bathroom

No Violations Noted

C2 Barracks

Sleeping Area

105 CMR 451.350		Structural Maintenance: Ceiling tiles damaged

105 CMR 451.101		Blankets: Blankets ripped on bed # 5B

105 CMR 451.103		Mattresses: Mattress damaged on beds # 1B & 14B

Laundry

No Violations Noted

Inmate Bathroom

105 CMR 451.130*		Plumbing: Urinal 1 does not work

105 CMR 451.123		Maintenance: Window sill damaged

D Barracks

D1 Barracks

Sleeping Area

105 CMR 451.350		Structural Maintenance: Ceiling vent near bed # 28 damaged

105 CMR 451.103		Mattresses: Mattress damaged on beds # 6, 7, & 10

105 CMR 451.103		Mattresses: Mattress damaged in cell # 3

Laundry

No Violations Noted

Inmate Bathroom

105 CMR 451.123		Maintenance: Shower handle loose on shower # 4

105 CMR 451.130*		Plumbing: Sink # 2 does not work properly

Nursing Station

105 CMR 451.126	Hot Water: Hot water temperature 89ºF

D2 Barracks

Sleeping Area

105 CMR 451.103		Mattresses: Mattress damaged on beds # 17, 21, 23, 25, 28, 37, 35 & 46

Laundry

No Violations Noted

Inmate Bathroom

No Violations Noted

Observations and Recommendations:

- New mattresses have been ordered due to the number damaged

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 working days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Mikel Beacham

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Harold W. Clarke, Commissioner, DOC

Mike DeCosta, Environmental Health Officer

Bridgewater Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Kevin M. Burke, Executive Office of Public Safety