The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-828-7703



MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

CHARLES D. BAKER

Governor

KARYN E. POLITO

Lieutenant Governor

June 29, 2016

Katherine Chmiel, Superintendent

Massachusetts Alcohol and Substance Abuse Center

2 Administration Road

Bridgewater, MA 02324

Re: Facility Inspection – Massachusetts Alcohol and Substance Abuse Center, Bridgewater

Dear Superintendent Chmiel:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; 105 CMR 520.000 Labeling; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Massachusetts Alcohol and Substance Abuse Center on June 17, 2016 accompanied by

Don Oliver, Maintenance. Violations noted during the inspection are listed below including 19 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**Control Center**

*Lobby*

No Violations Noted

*Bathroom*

No Violations Noted

*Slop Sink*

No Violations Noted

*Kitchenette*

No Violations Noted

**Administration Building # 5**

*Lobby*

No Violations Noted

*Female Bathroom # 102*

No Violations Noted

*Male Bathroom # 143*

No Violations Noted

*Male Officer’s Locker Room # 114*

No Violations Noted

*Female Officer’s Locker Room # 115*

No Violations Noted

*Roll Call Room # 117*

No Violations Noted

*Slop Sink # 121*

No Violations Noted

*Classrooms*

No Violations Noted

*Room # 128*

No Violations Noted

*Room # 108*

No Violations Noted

**Food Service Area # 6**

*Kitchen*

No Violations Noted

*Food Storage # 150*

FC 4-601.11(c)\* Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, cooler gaskets dirty

*Dining Area*

No Violations Noted

*Administrative Assistant Office*

No Violations Noted

**Intake # 6**

*Toxic/Caustic Cabinet*

No Violations Noted

*Inmate Bathroom # 151*

No Violations Noted

*Slop Sink Room # 152*

No Violations Noted

*Urinalysis Room # 153*

Unable to Inspect – Locked

*Staff Bathroom # 154*

105 CMR 451.123 Maintenance: Wall vent dusty

*Biohazard Storage Room # 155*

Unable to Inspect – Locked

*Laundry Cage*

105 CMR 451.353 Interior Maintenance: Debris behind washer units

*Medication Room # 161*

No Violations Noted

*X-Ray Room # 165*

Unable to Inspect – Locked

*Dentist Office # 162 and 164*

Unable to Inspect – Locked

*Shower Room # 167*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower

*Shake Room # 168*

No Violations Noted

*Room # 169*

No Violations Noted

*Property Room # 170*

No Violations Noted

*Property Room # 171*

No Violations Noted

*Doctor’s Office # 172*

No Violations Noted

**A Barracks**

**A1 Barracks**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Officer’s Station # 186*

No Violations Noted

*Officer’s Bathroom # 185*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Counselor’s Office # 188*

No Violations Noted

*Sleeping Area*

No Violations Noted

*Laundry*

No Violations Noted

*Inmate Bathroom* Unable to Inspect Showers – Occupied

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

**A2 Barracks**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Janitor’s Closet*

No Violations Noted

*Sleeping Area*

105 CMR 451.353 Interior Maintenance: One ceiling vent not secure

*Inmate Bathroom*

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

105 CMR 451.123\* Maintenance: Showerhead leaking

105 CMR 451.123 Maintenance: Floor epoxy damaged

105 CMR 451.123 Maintenance: Wall dirty under soap dispenser

**B Barracks**

**B1 Barracks**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Officer’s Station # 201*

No Violations Noted

*Officer’s Bathroom # 201A*

No Violations Noted

*Toxic and Caustic Storage Room # 203*

No Violations Noted

*Sleeping Area*

105 CMR 451.102 Pillows and Linens: Pillow damaged

*Inmate Bathroom*

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

**B2 Barracks**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Sleeping Area*

No Violations Noted

*Slop Sink Room # 200*

No Violations Noted

*Inmate Bathroom*

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

**C Barracks**

**C Recreational Area**

No Violations Noted

*Officer’s Station # 218*

No Violations Noted

*Officer’s Bathroom # 218A*

No Violations Noted

*Recreational Office # 216*

No Violations Noted

*Workout Area*

No Violations Noted

*Laundry*

No Violations Noted

*Inmate Bathroom*

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

**C1 Barracks**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Janitor’s Closet Room # 215*

No Violations Noted

*Sleeping Area*

No Violations Noted

*Inmate Bathroom*

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

105 CMR 451.123 Maintenance: Epoxy damaged near baseboard in shower area

105 CMR 451.123 Maintenance: Ceiling vent dusty

**D Barracks**

**D1 Barracks**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Officer’s Station*

No Violations Noted

*Storage Closet*

No Violations Noted

*Sleeping Area*

No Violations Noted

*Medical Cells*

No Violations Noted

*Inmate Bathroom*

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

*Nurse’s Station # 231*

No Violations Noted

*Nurse’s Bathroom*

No Violations Noted

*Exam Room # 233*

No Violations Noted

**D2 Barracks**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Doctor’s Office*

No Violations Noted

*Sleeping Area*

No Violations Noted

*Slop Sink Room # 230*

No Violations Noted

*Inmate Bathroom*

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

105 CMR 451.123 Maintenance: Floor damaged outside showers

**Observations and Recommendations**

1. The inmate population was 179 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “[1999 Food Code](http://www.cfsan.fda.gov/%7Edms/fc99-toc.html)”.

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “General Food Regulations” click “105 CMR 520.000: Labeling.”

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc: Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Timothy Miley, Director of Government Affairs

Marylou Sudders, Secretary, Executive Office of Health and Human Services

Thomas Turco, Commissioner, DOC

Michael DeCosta, EHSO/FSO

Eric J. Badger, CHO, Health Agent, Bridgewater Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Daniel Bennett, Secretary, EOPSS

Jennifer Gaffney, Director, Policy Development and Compliance Unit