The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-828-7703

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

February 4, 2019

Pamela MacEachern, Superintendent

MASAC in Plymouth

Myles Standish State Forest

Plymouth, MA 02360		(electronic copy)

Re: Facility Inspection – MASAC in Plymouth, Carver

Dear Superintendent MacEachern:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and          105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the MASAC in Plymouth on January 18, 2019 accompanied        Dave Dufresne, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 42 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Intake Trailer

105 CMR 451.109*	Toilet and Handwash Facilities: Toilet and handwash facilities not adequately and 	conveniently located

105 CMR 451.353*	Interior Maintenance: Floor surface not easily cleanable, plywood material

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, interior of refrigerator damaged

Central Control

Lobby

No Violations Noted

Operations Area

No Violations Noted

Break Room

No Violations Noted

Search Bathroom

105 CMR 451.123	Maintenance: Baseboard damaged

Staff Bathroom

No Violations Noted

Medication Room

No Violations Noted

Medical Office

No Violations Noted

Medical Treatment Room

105 CMR 451.109*	Toilet and Handwash Facilities: Toilet and handwash facilities not adequately and 	conveniently located

Lieutenant’s Office

No Violations Noted

A Dorm

Hallway

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Staff Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave dirty

Day Room 1

105 CMR 451.353	Interior Maintenance: Baseboard damaged

Day Room 2

No Violations Noted

Bathroom Area

105 CMR 451.123*	Maintenance: Ventilation fan dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, slop sink leaking

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, backflow preventer damaged at slop sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 8 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at sink # 9

105 CMR 451.123	Maintenance: Floor tiles damaged around floor drain near toilets

105 CMR 451.123	Maintenance: Multiple light shields damaged in toilet area

105 CMR 451.123	Maintenance: Wall covering damaged near slop sink

105 CMR 451.123	Maintenance: Floor dirty around slop sink

105 CMR 451.123	Maintenance: Toilet seat missing in stall # 8

105 CMR 451.123	Maintenance: Ceiling surface damaged above urinal

Shower Area

105 CMR 451.123*	Maintenance: Wall tile damaged in shower # 1 and 5

105 CMR 451.123*	Maintenance: Curtain missing in shower # 2, 6, and 8

105 CMR 451.123	Maintenance: Curtain missing in shower # 1, 3, and 7

105 CMR 451.123*	Maintenance: Ceiling vents dusty in shower area

105 CMR 451.123*	Maintenance: Floor drain not secured in shower # 5

105 CMR 451.123	Maintenance: Floor tiles damaged outside shower 3, 4, and 5

105 CMR 451.123	Maintenance: Floor dirty in shower # 4, 5, and 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 5 leaking

Toxic/Caustic Closet

105 CMR 451.353*	Interior Maintenance: Radiator damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Bunks

105 CMR 451.320*	Cell Size: Inadequate floor space, all cells double bunked

105 CMR 451.103	Mattresses: Mattress damaged in cell # 116

105 CMR 451.353	Interior Maintenance: Radiator damaged in cell # 117

105 CMR 451.353	Interior Maintenance: Wall surface damaged in cell # 141

B Dorm

Break Room

No Violations Noted

Hallway

No Violations Noted

Toxic/Caustic Room

105 CMR 451.353	Interior Maintenance: Wet mops in buckets

Bathroom Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink # 1 out-of-order

105 CMR 451.123*	Maintenance: Toilet seat missing in stall # 5

105 CMR 451.123	Maintenance: Toilet seat missing in stall # 4

105 CMR 451.123	Maintenance: Ceiling surface damaged above stall # 5

Shower Area

105 CMR 451.123*	Maintenance: Mold on ceiling in shower # 6

105 CMR 451.123	Maintenance: Wall tiles damaged in shower # 6

105 CMR 451.123	Maintenance: Ceiling surface damaged in shower area

105 CMR 451.123	Maintenance: Curtain missing in shower # 1, 4, and 6

105 CMR 451.123	Maintenance: Drain flies observed in shower area

Bunks	No Inmates Housed in Cell # 201-225 – Maintenance

105 CMR 451.320*	Cell Size: Inadequate floor space, all cells double bunked

C Dorm

105 CMR 451.353	Interior Maintenance: Ceiling surfaced cracked in main area

West Wing

Hallway

No Violations Noted

Staff Male Bathroom
	No Violations Noted

Staff Female Bathroom

No Violations Noted

Laundry Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Floor drain clogged

105 CMR 451.353	Interior Maintenance: Floor drain cover missing

Inmate Bathroom

105 CMR 451.123*	Maintenance: Door missing from handicapped stall

105 CMR 451.123	Maintenance: Wet mop stored in slop sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sinks

105 CMR 451.123	Maintenance: Ceiling surface damaged above toilets

Showers

105 CMR 451.123*	Maintenance: Ceiling paint peeling in shower area

105 CMR 451.123*	Maintenance: Mold on ceiling above all showers

105 CMR 451.123*	Maintenance: Floor drain missing in shower # 1, 3, and 7

105 CMR 451.123	Maintenance: Floor drain missing in shower # 8

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 4, 5, and 6 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1 leaking

105 CMR 451.123	Maintenance: Wall tiles damaged in shower # 9

105 CMR 451.123	Maintenance: Light shields damaged in shower area

105 CMR 451.123	Maintenance: Wall surface damaged outside shower area near windows

105 CMR 451.123	Maintenance: Light out outside showers

Bathroom Toxic/Caustic Closet

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space, all cells double bunked

North Hallway

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in hallway

Holding Cells # 327-330

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 330

Break Room # 332

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with                   105 CMR 590.000, interior of toaster oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with                   105 CMR 590.000, interior of microwave dirty

105 CMR 451.353	Interior Maintenance: Wall surface damaged

Blood Lab/Admissions

No Violations Noted

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Watch Cells # 1-4

No Violations Noted

HSU

Medication Room

105 CMR 451.109*	Toilet and Handwash Facilities: Toilet and handwash facilities not adequately and 	conveniently located

Nursing Station

No Violations Noted

Medical Records

No Violations Noted

Director of Nursing Office

No Violations Noted

Lab/Exam Room (Intake)

No Violations Noted

Lab/Exam Room (Discharge)

No Violations Noted

Ward Room

105 CMR 451.353	Interior Maintenance: Wall surface damaged near entrance

Doctor’s Office

No Violations Noted

Shower Room (Handicapped)

105 CMR 451.123	Maintenance: Shower room generally dirty

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Ward Bathroom # 1

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Ward Bathroom # 2

No Violations Noted

Classification Area

Superintendent’s Office

No Violations Noted

Deputy Superintendent’s Office

No Violations Noted

Food Service

Dining Room

No Violations Noted

Inmate Bathroom

No Violations Noted

Visitor’s Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Kitchen

Stove Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wires exposed due to missing panel cover on stove

Kettles

No Violations Noted

Toxic/Caustic Room

No Violations Noted

Toxic/Caustic Area

No Violations Noted

Officer’s Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles

water-stained

Walk-In Refrigerator

No Violations Noted

Walk-In Freezer

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up on the ceiling

Dry Storage

No Violations Noted

Handwash Sink (near Dry Storage)

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, sink leaking

2-Compartment Sink Area

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, left sink leaking

3-Compartment Sink Area

No Violations Noted

Dishwasher Machine Area

FC 6-403.11(B)*	Location and Placement; Employee Accommodations: No locker room area 	designated for employees, rubber boots and aprons stored with clean equipment

FC 4-901.11(A)	Protection of Clean Items, Drying: Clean and sanitized equipment and trays not allowed to air dry fully

Exterior Buildings

Morton Building

Main Area

No Violations Noted

Freezer # 1

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up on walls, floor, and ceiling

Freezer # 2

No Violations Noted

Bunk House # 25

Sleeping Area

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

Bathroom

105 CMR 451.123	Maintenance: Mold on ceiling above shower

Office

No Violations Noted

Bunk House # 24

Sleeping Area

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

Bathroom

105 CMR 451.123*	Maintenance: Ceiling surface damaged

105 CMR 451.123	Maintenance: Wet mop stored in bucket

Shower Room

105 CMR 451.123	Maintenance: Ceiling surface damaged

105 CMR 451.123	Maintenance: Ceiling surface water-stained

Day Room

No Violations Noted

Barbershop

No Violations Noted

Counselor Building

105 CMR 451.109*	Toilet and Handwash Facilities: Toilet and handwash facilities not adequately and 	conveniently located

105 CMR 451.353*	Interior Maintenance: Light shields missing

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Floor tiles damaged at the entrance

Laundry

No Violations Noted

Library

No Violations Noted

Weight Room

105 CMR 451.350*	Structural Maintenance: Doors not rodent and weather-tight

105 CMR 451.353	Interior Maintenance: Temporary floor surface not easily cleanable

Classroom Building

Large Classroom

No Violations Noted

East Classroom

No Violations Noted

Central Classroom

No Violations Noted

West Classroom

No Violations Noted

Fire and Safety Building

105 CMR 451.353	Interior Maintenance: Floor surface not easily cleanable

Bathroom # 1

No Violations Noted

Bathroom # 2

No Violations Noted

Office Area

No Violations Noted

EHSO Office

No Violations Noted

Observations and Recommendations

- The inmate population was 133 at the time of inspection.

- At the time of inspection, the Department recommended installing a floor covering that is more durable and easily cleanable in the Intake Trailer and in the Fire and Safety Building.

- The Medical Exam Room near Central Control, the HSU Medication Room, and the Intake Trailer do not have convenient handwashing facilities. Please provide a policy which states how the institution will ensure the health and safety of inmates and staff working inside these areas.

- The Counseling Building does not have convenient handwashing facilities for staff stationed in the building. Please provide a policy which states how the institution will ensure the health and safety of inmates and staff working inside this exterior building.

- The Counseling Building does not have convenient toilet facilities for staff stationed in the building.

The Department observed two, locked portable toilets outside the Counseling Building which can only be accessed by Staff with a key. Please provide a policy which states how often the portable toilets are serviced and cleaned. Please also provide a policy which indicates an alternative, convenient toilet and handwashing facility for the Counseling Building during months which temperatures are too cold for safe, outdoor bathroom usage.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale														Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Dave Dufresne, EHSO								(electronic copy)

Michelle Roberts, MA, CHO, Health Director, Plymouth Health Department	(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate