The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Acting Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700

Fax: 781-828-7703

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

July 8, 2021

Lisa Whelan, Superintendent

MASAC in Plymouth

Myles Standish State Forest

Plymouth, MA 02360		(electronic copy)

Re: Facility Inspection – MASAC in Plymouth

Dear Superintendent Whelan:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the MASAC in Plymouth on June 22, 2021 accompanied by Adam Lattanzio, Environmental Health and Safety Officer; and Kenneth Finn, Core Compliance Officer. Violations noted during the inspection are listed below including 31 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Nicholas Gale

Environmental Analyst, CSP, BEH

cc: 	Margret R. Cooke, Acting Commissioner, DPH

Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 		(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 		(electronic copy)

Adam Lattanzio, EHSO  								(electronic copy)

Michelle Roberts, MA, CHO, Health Director, Plymouth Health Department		(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Exterior Trailer – Main Entrance

105 CMR 451.109*	Toilet and Handwash Facilities: Toilet and handwash facilities not adequately and 	conveniently located

105 CMR 451.353*	Interior Maintenance: Floor surface not easily cleanable, plywood material

Central Control

Lobby

No Violations Noted

Control

No Violations Noted

Operations Area

No Violations Noted

Break Room

No Violations Noted

Staff Bathroom

No Violations Noted

Search Bathroom

105 CMR 451.123	Maintenance: Wall damaged

Medication Room

No Violations Noted

Medical Office

105 CMR 451.353*	Interior Maintenance: Radiator damaged

Medical Treatment Room

105 CMR 451.109*	Toilet and Handwash Facilities: Toilet and handwash facilities not adequately and 	conveniently located

Lieutenant’s Office

Unable to Inspect – Locked

A Dorm

Hallway

No Violations Noted

Patient Snack Room

105 CMR 451.353	Interior Maintenance: Radiator damaged

Staff Break Room

No Violations Noted

Meeting Room # 125

105 CMR 451.353*	Interior Maintenance: Radiator damaged

Storage Room # 126

105 CMR 451.353*	Interior Maintenance: Radiator damaged

Day Room 1

105 CMR 451.353*	Interior Maintenance: Radiator damaged

Day Room 2

105 CMR 451.353*	Interior Maintenance: Radiator damaged

Bathroom Area

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at any handwash sinks

105 CMR 451.123	Maintenance: Ceiling paint damaged above toilet stalls

105 CMR 451.123	Maintenance: Standing water near slop sink

105 CMR 451.123	Maintenance: Floor dirty throughout

Shower Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 continuously running

Toxic/Caustic Closet

105 CMR 451.353*	Interior Maintenance: Radiator damaged

Patient Rooms

105 CMR 451.320*	Cell Size: Inadequate floor space, all rooms double-bunked

105 CMR 451.141	Screens: Window screens not tight-fitting in all rooms

105 CMR 451.353*	Interior Maintenance: Radiator damaged in room # 111, 112, 120, 123, 127, 139, and 140

105 CMR 451.353	Interior Maintenance: Ceiling light damaged in room # 137

B Dorm

Patient Snack Room

No Violations Noted

Hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Meeting Room # 201

105 CMR 451.353*	Interior Maintenance: Radiator damaged

Storage Room # 202

105 CMR 451.353	Interior Maintenance: Radiator damaged

Day Room # 249

105 CMR 451.353*	Interior Maintenance: Radiator damaged

Toxic/Caustic Room

No Violations Noted

Bathroom Area

105 CMR 451.110(A)		Hygiene Supplies at Toilet and Handwash Sink: Two electric hand dryers out-of-order

105 CMR 451.123	Maintenance: Vent fan out-of-order

105 CMR 451.123	Maintenance: Two toilets clogged

105 CMR 451.123	Maintenance: Multiple lights out

Shower Area

105 CMR 451.123	Maintenance: Drain flies observed in all showers

105 CMR 451.123	Maintenance: Light out outside of showers

Patient Rooms

105 CMR 451.320*	Cell Size: Inadequate floor space, all rooms double-bunked

105 CMR 451.141	Screens: Window screens not tight-fitting in all rooms

105 CMR 451.353	Interior Maintenance: Radiators damaged in all rooms

105 CMR 451.141	Screens: Screen missing from window in several rooms

C Dorm

West Wing

Hallway

No Violations Noted

Staff Male Bathroom
105 CMR 451.123	Maintenance: Ceiling vent dusty

Staff Female Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Inmate Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sinks

105 CMR 451.123*	Maintenance: Sink countertop damaged

105 CMR 451.123*	Maintenance: Multiple toilet stall partitions rusted

105 CMR 451.123	Maintenance: Light out above urinals

105 CMR 451.123	Maintenance: Floor tiles damaged

105 CMR 451.123	Maintenance: Wall tiles damaged under rear sinks

105 CMR 451.123	Maintenance: Wall tiles damaged above front sinks

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at front sink # 4

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at front sink # 1

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1340F at front sink # 2

Showers

105 CMR 451.123*	Maintenance: Blue substance coating floor in all showers

105 CMR 451.123	Maintenance: Mold on ceiling in shower # 6

105 CMR 451.123	Maintenance: Floor drain cover not attached in handicapped shower

Patient Rooms

105 CMR 451.320*	Cell Size: Inadequate floor space, all rooms double-bunked

105 CMR 451.141*	Screens: Window screens not tight-fitting in all rooms

105 CMR 451.141	Screens: Window screen damaged in room # 303, 319, and 320

105 CMR 451.353	Interior Maintenance: Wall surface damaged in room # 301, 316, and 317

105 CMR 451.353	Interior Maintenance: Ceiling surface damaged in room # 320

105 CMR 451.353	Interior Maintenance: Light fixture not secured to the ceiling in room # 321

105 CMR 451.353	Interior Maintenance: Wall left unfinished in room # 321

North Hallway

Supply Closet

No Violations Noted

Observation Room # 327, 329, and 330

No Violations Noted

Chemical Storage # 328

No Violations Noted

Break Room # 332

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Blood Lab/Admissions

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1390F

Booking Office

No Violations Noted

Body Scanning Room # 334

No Violations Noted

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Watch Rooms # 1-4

No Violations Noted

HSU

Medication Room

105 CMR 451.109*	Toilet and Handwash Facilities: Toilet and handwash facilities not adequately and 	conveniently located

105 CMR 480.500(B)*          	Procedures; Records; Record-Keeping Log: Generator did not maintain a record-keeping log for waste sent off-site for treatment, missing entry

105 CMR 480.500(B)(2)	Procedures; Records; Record-Keeping Log: Missing the printed name and signature of the person responsible for shipping the waste

Nursing Station

No Violations Noted

Medical Records

No Violations Noted

Director of Nursing Office

No Violations Noted

Lab/Exam Room (Intake)

No Violations Noted

Lab/Exam Room (Discharge)

No Violations Noted

Ward Room

Doctor’s Office

No Violations Noted

Shower Room (Handicapped)

Unable to Inspect – In Use

Ward Bathroom # 1

105 CMR 451.110(A)		Hygiene Supplies at Toilet and Handwash Sink: Electric hand dryer out-of-order

Ward Bathroom # 2

No Violations Noted

M.A.T. Area

Waiting Area

No Violations Noted

Medication Distribution Room

No Violations Noted

# Food Service

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

Dining Room	Used as a Class Room/Programs Space

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Floor generally dirty

Visitor’s Bathroom

No Violations Noted

Kitchen

Toxic/Caustic Room

No Violations Noted

Toxic/Caustic Area

No Violations Noted

Officer’s Room

No Violations Noted

Stove Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty behind stove

Kettles

No Violations Noted

Oven Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, interior of oven dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, Traulsen refrigerator gaskets damaged

Walk-In Refrigerator

No Violations Noted

Walk-In Freezer

No Violations Noted

Dry Storage

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, light out

Central Common Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, interior of microwave oven damaged

Handwash Sink (near Dry Storage)

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1400F

2-Compartment Sink Area

No Violations Noted

3-Compartment Sink Area

No Violations Noted

Dishwasher Machine Area

FC 6-301.14	Numbers and Capacity; Handwashing Sinks: No handwashing signage located at handwashing sink

FC 5-205.11(A)	Plumbing System; Operations and Maintenance: Handwashing sink not accessiblePf, blocked

Exterior Buildings

Morton Building

Main Area

No Violations Noted

Freezer # 1

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, exterior thermometer not working properly

Freezer # 2	Not Used as a Freezer – Used as Storage Unit

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair refrigerator gaskets dirty

Bunk House # 25	Converting to Office Space – Closed, Under Construction

Large Office Space

No Violations Noted

Bathroom

No Violations Noted

Small Office Space

No Violations Noted

Bunk House # 24

Office Cubicles

No Violations Noted

Bathroom # 1

No Violations Noted

Bathroom # 2

105 CMR 451.123	Maintenance: Ceiling vent dusty

Counselor Building # 17

105 CMR 451.109*	Toilet and Handwash Facilities: Toilet and handwash facilities not adequately and 	conveniently located

105 CMR 451.353	Interior Maintenance: Light shield missing in closet

Laundry

105 CMR 451.141	Screens: Window screen damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, large pipe leaking against back wall

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Library

No Violations Noted

Weight Room	Closed – Preparing for Demolition

No Violations Noted

Classroom Building # 23

Record Storage

105 CMR 451.350	Structural Maintenance: Exterior door not rodent and weathertight

Large Classroom

105 CMR 451.350	Structural Maintenance: Exterior door encasing rotted

East Classroom

No Violations Noted

Central Classroom

No Violations Noted

West Classroom

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

105 CMR 451.350	Structural Maintenance: Large door not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Light shields missing

Pondside Building

Bathroom # 1

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1390F

Bathroom # 2

No Violations Noted

Office Area

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in rear office space

EHSO Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Navigator Building

Kitchenette

No Violations Noted

Offices

No Violations Noted

Staff Bathroom

No Violations Noted

Observations and Recommendations

- The patient population was 130 at the time of inspection.

- At the time of inspection, the CSP recommended installing a floor covering that is more durable and easily cleanable in the Exterior Trailer near the main entrance.

- The Medical Exam Room near Central Control, the HSU Medication Room, and the Exterior Trailer near the main entrance do not have convenient handwashing facilities. Please provide a policy which states how the institution will ensure the health and safety of inmates and staff working inside these areas.

- The Counseling Building does not have convenient and permanent handwashing facilities for staff stationed in the building. The CSP observed temporary handwash stations located outside the building next to the portable toilets. The CSP remains concerned with the lack of appropriate handwashing facilities. Please provide a policy which states how the institution will maintain these temporary handwashing stations, and provide a timeline for permanent handwashing facilities to be constructed.

- The Counseling Building does not have convenient toilet facilities for staff stationed in the building.

The CSP observed 2 portable toilets outside the Counseling Building which can only be accessed by staff. The CSP remains concerned with the lack of appropriate toilet facilities. Please provide a policy which states how often the portable toilets are serviced and cleaned, as well as a policy which indicates an alternative, convenient toilet facility for the Counseling Building during months which temperatures do not permit the usage of outdoor bathrooms usage. In addition, please provide a timeline for permanent toilet facilities to be constructed.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale														Environmental Analyst, CSP, BEH