## Foam Locations
Massachusetts AR-AFFF Foam Response Capabilities (Source: Massachusetts Department of Environmental Protection, May 2013)
Foam Trailers
Location | Ownership | Fire District | HSAC Region | MassDEP Region | Unit Type1 | Type of Foam Concentrate | Amount of Foam Concentrate2 | Onboard tank, tote, or buckets | Stockpile (not on trailer)
Mashpee | Muni | 1 | SERAC | SERO 4 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Nantucket | Muni | 1 | SERAC | SERO 4 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Tisbury | Muni | 1 | SERAC | SERO 4 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Sandwich | Muni | 1 | SERAC | SERO 4 | AFT | AR-AFFF 1% - 3% | 1000 |  | 0
Kingston | Muni | 2 | SERAC | SERO 4 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Wareham | Muni | 2 | SERAC | SERO 4 | AFT | FireAde ??? | 500 |  | 0
Hingham | Muni | 2 | SERAC | SERO 4 | AFT | FireAde ??? | 500 |  | 0
Raynham | Muni | 2 | SERAC | SERO 4 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
New Bedford | Muni | 3 | SERAC | SERO 4 | AFT | AR-AFFF 1% - 3% | 600 |  | 0
Somerset | Muni | 3 | SERAC | SERO 4 | AFT | AR-AFFF 1% - 3% | 600 |  | 0
Plainville | Muni | 4 | SERAC | SERO 4 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Needham | Muni | 4 | SERAC | SERO 4 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Randolph | Muni | 4 | SERAC | SERO 4 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Danvers | Muni | 5 | NERAC | NERO 3 | AFT | AR-AFFF 3% - 6% UC | 500 |  | 0
Salem | Muni | 5 | NERAC | NERO 3 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Ayer | Muni | 6 | CMHSAC | CERO 2 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Grafton | Muni | 7 | CMHSAC | CERO 2 | AFT | AR-AFFF 1% - 3% | 325 | Tote | 0
Upton | Muni | 7 | CMHSAC | CERO 2 | AFT | AR-AFFF 1% - 3% | 650 | Tote | 0
Worcester | Muni | 7 & 8 | CMHSAC | CERO 2 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Ashburnham | Muni | 8 | CMHSAC | CERO 2 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Holden | Muni | 8 | CMHSAC | CERO 2 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Orange | Muni | 9 | WERAC | WERO 1 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Longmeadow | Muni | 11 | WERAC | WERO 1 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Palmer (Monsanto) | Industry | 11 | WERAC | WERO 1 | AFT | AR-AFFF 3% - 6% UC | 1000 |  | 0
Pittsfield | Muni | 12 | WERAC | WERO 1 | AFT | AR-AFFF 1% - 3% | 500 |  | 0
Chelsea | Muni | 13 | NERAC | NERO 3 | AFT | AR-AFFF 3% - 6% UC | 500 |  | 0
Revere | Muni | 13 | NERAC | NERO 3 | AFT | AR-AFFF 3% - 6% UC | 500 |  | 0
Somerville | Muni | 13 | NERAC | NERO 3 | AFT | AR-AFFF 3% - 6% UC | 500 |  | 0
North Andover | Muni | 15 | NERAC | NERO 3 | AFT | AR-AFFF 3% - 6% UC | 500 |  | 0
Fire Engines equipped and capable to deliver Class B foam >= 1,000 gpm (Adequate?)
Location | Ownership | Fire District | HSAC Region | MassDEP Region | Trailer Type | Type of Foam Concentrate | Amount of Foam Concentrate | Onboard tank, tote, or buckets | Stockpile (not on engine)
Aircraft Fire Equipment - AR-AFFF
Location | Ownership | Fire District | HSAC Region | MassDEP Region | Unit Type1 | Type of Foam Concentrate | Amount of Foam Concentrate2 | Onboard tank, tote, or buckets | Stockpile (not on truck)
Logan Airport 1 | MassPort | 13 | NERAC | NERO 3 | Engine 5 | AFFF 3% | 220 | Onboard tank
Logan Airport 2 | MassPort | 13 | NERAC | NERO 3 | FT | AFFF 3% | 750 | Onboard tank
Logan Airport | MassPort | 13 | NERAC | WERO 3 |  | AFFF 3% | 770 | Drum (14) | Yes
Aircraft Fire Equipment - NOT AR-AFFF
Location | Ownership | Fire District | HSAC Region | MassDEP Region | Unit Type1 | Type of Foam Concentrate | Amount of Foam Concentrate2 | Onboard tank, tote, or buckets | Stockpile (not on truck)
MMR Otis AFB | Military | 1 | SERAC | SERO 4 | FT | AFFF 3%
Worcester Airport | MassPort | 7 & 8 | CRHSAC | CERO 2 | ?? | AFFF 3%
Westover AFB | Military | 11 | WERAC | WERO 1 | FT | AFFF 3%
Logan Airport 1 | MassPort | 13 | NERAC | NERO 3 | AFT | AFFF 3%
Logan Airport 2 | MassPort | 13 | NERAC | NERO 3 | AFT | AFFF 3%
Hanscom AFB | Military | 14 | WERAC | WERO 1 | FT | AFFF 3%
Stockpiles of AR-AFFF
Location | Ownership | Fire District | HSAC Region | MassDEP Region | Unit Type1 | Type of Foam Concentrate | Amount of Foam Concentrate2 | Tote or buckets (Forklift?) | Already on a truck?
FT&S Tyngsboro | Vendor | All |  |  | Tender | AR-AFFF 1% - 3% | 550 | Tank | Yes
FT&S Tyngsboro | Vendor | All |  |  | Box truck | AR-AFFF 1% - 3% | 450 | Drum (8) | Yes
FT&S Tyngsboro | Vendor | All |  |  | Facility | AR-AFFF 1% - 3% | 1000 | Drum (20) | No
FT&S Springfield | Vendor | All |  |  | Box truck
FT&S Springfield | Vendor | All |  |  | Facility
Palmer (Monsanto) | Industry | 11 | WERAC | WERO 1 |  | AR-AFFF 3% - 6% UC
Braintree (CITGO 1) | Industry | 13 | NERAC | NERO 3 |  | AR-AFFF 3% - 6% UC
Braintree (CITGO 2) | Industry | 13 | NERAC | NERO 3 |  | AR-AFFF 3% - 6% UC
Braintree (CITGO 2) | Industry | 13 | NERAC | NERO 3 |  | AR-AFFF 3% - 6% UC
Notes:
1. | AFT = Attack Foam Trailer (includes foam monitor); FT = Foam Trailer (no monitor)
2. | Amount in gallons
F

## Foam Needs
AR-AFFF Needs for Ethanol Fires (Source: Massachusetts Department of Environmental Protection, May 2013)
Area of spill (sq. ft.) | Volume of Spill (gallons for a 6-in. deep pool) | Polar Solvent "Rule of Thumb" | Finished Foam Needed (GPM) | Per Minute |  | Per 15 Minute (NFPA 11)
|  |  |  | Gallons of 3% Foam | Gallons of 97% Water | 15 Minutes of finished foam | Water needed for 15 min
100 | 7 | 20% | 20 | 0.6 | 19.4 | 9 | 291
200 | 13 | 20% | 40 | 1.2 | 38.8 | 18 | 582
300 | 20 | 20% | 60 | 1.8 | 58.2 | 27 | 873
400 | 27 | 20% | 80 | 2.4 | 77.6 | 36 | 1164
500 | 33 | 20% | 100 | 3 | 97 | 45 | 1455
600 | 40 | 20% | 120 | 3.6 | 116.4 | 54 | 1746
700 | 47 | 20% | 140 | 4.2 | 135.8 | 63 | 2037
800 | 53 | 20% | 160 | 4.8 | 155.2 | 72 | 2328
900 | 60 | 20% | 180 | 5.4 | 174.6 | 81 | 2619
1000 | 70 | 20% | 200 | 6 | 194 | 90 | 2910
1200 | 80 | 20% | 240 | 7.2 | 232.8 | 108 | 3492
1400 | 90 | 20% | 280 | 8.4 | 271.6 | 126 | 4074
1600 | 110 | 20% | 320 | 9.6 | 310.4 | 144 | 4656
1800 | 120 | 20% | 360 | 10.8 | 349.2 | 162 | 5238
2000 | 130 | 20% | 400 | 12 | 388 | 180 | 5820
2200 | 150 | 20% | 440 | 13.2 | 426.8 | 198 | 6402
2400 | 160 | 20% | 480 | 14.4 | 465.6 | 216 | 6984
2600 | 170 | 20% | 520 | 15.6 | 504.4 | 234 | 7566
2800 | 190 | 20% | 560 | 16.8 | 543.2 | 252 | 8148
3000 | 200 | 20% | 600 | 18 | 582 | 270 | 8730
3200 | 210 | 20% | 640 | 19.2 | 620.8 | 288 | 9312
3400 | 230 | 20% | 680 | 20.4 | 659.6 | 306 | 9894
3600 | 240 | 20% | 720 | 21.6 | 698.4 | 324 | 10476
3800 | 250 | 20% | 760 | 22.8 | 737.2 | 342 | 11058
4000 | 270 | 20% | 800 | 24 | 776 | 360 | 11640
4200 | 280 | 20% | 840 | 6 | 814.8 | 90 | 12222
4400 | 290 | 20% | 880 | 26.4 | 853.6 | 396 | 12804
4600 | 310 | 20% | 920 | 27.6 | 892.4 | 414 | 13386
4800 | 320 | 20% | 960 | 28.8 | 931.2 | 432 | 13968
5000 | 330 | 20% | 1000 | 30 | 970 | 450 | 14550
5200 | 350 | 20% | 1040 | 31.2 | 1008.8 | 468 | 15132
5400 | 360 | 20% | 1080 | 32.4 | 1047.6 | 486 | 15714
5600 | 370 | 20% | 1120 | 33.6 | 1086.4 | 504 | 16296
5800 | 390 | 20% | 1160 | 34.8 | 1125.2 | 522 | 16878
6000 | 400 | 20% | 1200 | 36 | 1164 | 540 | 17460
o Establish your water and foam supply on scene before beginning application
o Foam does not work if material is too hot, so cool the target before applying foam, as needed
o Do not plunge the foam into the material
o Do not wash the foam off the target with water
o Check the effectiveness of the foam with an LEL meter
o Capacity of railroad tank cars is 24,000 to 32,000 gallons and an "empty" tank car may have a residue amount of up to 7% of the tank car's capacity (i.e., 1,680 to 2,240 gallons)

## Area of the Spill
Area of the spill (Source: Massachusetts Department of Environmental Protection, May 2013)
Ft | 1 | 2 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50
1 | 1 | 2 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50
2 | 2 | 4 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
5 | 5 | 10 | 25 | 50 | 75 | 100 | 125 | 150 | 175 | 200 | 225 | 250
10 | 10 | 40 | 50 | 100 | 150 | 200 | 250 | 300 | 350 | 400 | 450 | 500
15 | 15 | 60 | 75 | 150 | 225 | 300 | 375 | 450 | 525 | 600 | 675 | 750
20 | 20 | 40 | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000
25 | 25 | 50 | 125 | 250 | 375 | 500 | 625 | 750 | 875 | 1000 | 1125 | 1250
30 | 30 | 60 | 150 | 300 | 450 | 600 | 750 | 900 | 1050 | 1200 | 1350 | 1500
35 | 35 | 70 | 175 | 350 | 525 | 700 | 875 | 1050 | 1225 | 1400 | 1575 | 1750
40 | 40 | 80 | 200 | 400 | 600 | 800 | 1000 | 1200 | 1400 | 1600 | 1800 | 2000
45 | 45 | 90 | 225 | 450 | 675 | 900 | 1125 | 1350 | 1575 | 1800 | 2025 | 2250
50 | 50 | 100 | 250 | 500 | 750 | 1000 | 1250 | 1500 | 1750 | 2000 | 2250 | 2500
Example
Gasoline MC406/DOT306 Trailer - 48' x 8.5' = 408 sq. ft. - Use 50' x 10' = 500 sq. ft.