# Chapter 3

# Checklist for Redevelopment Projects

Standard 7: A redevelopment project is required to meet the following Stormwater Management Standards only to the maximum extent practicable: Standard 2, Standard 3, and the pretreatment and structural stormwater best management practice requirements of Standards 4, 5, and 6.  Existing stormwater discharges shall comply with Standard 1 only to the maximum extent practicable.  A redevelopment project shall also comply with all other requirements of the Stormwater Management Standards and improve existing conditions.

##### Redevelopment is defined to include

- Maintenance and improvement of existing roadways, including widening less than a single lane, adding shoulders, correcting substandard intersections, improving existing drainage systems, and repaving;

- Development rehabilitation, expansion and phased projects on previously developed sites, provided the redevelopment results in no net increase in impervious area; and

- Remedial projects specifically designed to provide improved stormwater management, such as projects to separate storm drains and sanitary sewers, and stormwater retrofit projects.

Components of redevelopment projects that include development of previously undeveloped sites do not meet this definition. The portion of the project located in a previously developed area must meet Standard 7, but project components within undeveloped areas must meet all the Standards.

MassDEP recognizes that site constraints often make it difficult to comply with all the Standards at a redevelopment site. These constraints are as follows:

Lack of space.  Because of the presence of existing structures, on-site subsurface sewage disposal systems, stormwater best management practices, and water bodies and wetlands, and easements, the space available for the installation of additional stormwater BMPs may be quite limited.  On many suites it may be difficult or impossible to use space-intensive BMPs such as wet detention basins.

Soils:  The presence of bedrock or clay can limit the effectiveness of infiltration or detention BMPs.  Often soils at redevelopment sites have been compacted by buildings and heavy traffic, impairing their ability to infiltrate stormwater into the ground.

Underground utilities. The presence of underground utilities including gas and water mains, sewer pipes and electric cable conduits can greatly reduce the amount of land available for BMPs.

This chapter provides specific guidance and checklists to ensure that the applicant has met his/her obligations under Standard 7. Because it may be difficult for a redevelopment project to comply with all the Stormwater Management Standards, Standard 7 provides that a redevelopment project is required to comply with the following Standards only “to the maximum extent practicable”: Standard 2, Standard 3, and the pretreatment and structural stormwater best management practice requirements of Standards 4, 5, and 6. Existing outfalls shall be brought into compliance with Standard 1 only to the maximum extent practicable.

As set forth in Standard 7, the phrase “to the maximum extent practicable” means that:

- Proponents of redevelopment projects have made all reasonable efforts to meet the requirements of Standards 2 and 3 and the pretreatment and structural stormwater best management practices requirements of Standards 4, 5, and 6 and to bring existing outfalls into compliance with Standard 1.

- They have made a complete evaluation of possible stormwater management measures, including environmentally sensitive site design that minimizes land disturbance and impervious surfaces, low impact development techniques and structural stormwater BMPs; and

- If not in full compliance with Standard 1 for existing outfalls, Standards 2 and 3 and the pretreatment and structural stormwater best management practice requirements of Standards 4, 5, and 6, they are implementing the highest practicable level of stormwater management.

Generally, an alternative is practicable if it can be implemented within the site being redeveloped, taking into consideration cost, land area requirements, soils and other site constraints. However, offsite alternatives may also be practicable. Proponents must document the evaluation of practicable alternatives with sufficient information to support the conclusions of the analysis.

At the same time, stormwater runoff from redevelopment projects must be properly managed. To this end, Standard 7 provides that redevelopment projects shall comply with all other requirements of the Stormwater Management Standards, including, without limitation, the pollution prevention requirements of Standards 4, 5, and 6, the erosion and sedimentation control requirements of Standard 8, the operation and maintenance requirements of Standard 9, and the prohibition of illicit discharge set forth in Standard 10. Proponents must also improve existing conditions.

Proponents of redevelopment projects shall document their compliance with these requirements. To assist proponents and reviewers in determining whether a redevelopment project complies with Standard 7, MassDEP has prepared the following redevelopment checklist.

[Proponents of MassHighway redevelopment projects and Conservation Commissions reviewing such projects may follow the guidelines for redevelopment provided in the MassHighway Stormwater Handbook for Highways and Bridges (May 2004 or latest version) in lieu of the guidance set forth in this chapter.  The MassHighway Stormwater Handbook was developed by the Massachusetts Highway Department and issued by joint correspondence of May 7, 2004 by MassHighway and MassDEP. It provides detailed guidance on the evaluation and implementation of stormwater management practices for MassHighway road and bridge redevelopment projects, including a methodology for screening and selecting Best Management Practices (BMPs). Proponents and reviewers of other public roadway redevelopment projects may find useful information in the MassHighway Stormwater Handbook.]

Redevelopment Checklist

Existing Conditions

- On-site: For all redevelopment projects, proponents should document existing conditions, including a description of extent of impervious surfaces, soil types, existing land uses with higher potential pollutant loads, and current onsite stormwater management practices.

- Watershed: Proponents should determine whether the project is located in a watershed or subwatershed, where flooding, low streamflow or poor water quality is an issue.

The Project

Is the project a redevelopment project?

- Maintenance and improvement of existing roadways

- Development of rehabilitation, expansion or phased project on redeveloped site, or

- Remedial stormwater project

For non-roadway projects, is any portion of the project outside the definition of redevelopment?

- Development of previously undeveloped area

- Increase in impervious surface

If a component of the project is not a redevelopment project, the proponent shall use the checklist set forth below to document that at a minimum the proposed stormwater management system fully meets each Standard for that component. The proponent shall also document that the proposed stormwater management system meets the requirements of Standard 7 for the remainder of the project.

The Stormwater Management Standards

The redevelopment checklist reviews compliance with each of the Stormwater Management Standards in order.

Standard 1: (Untreated discharges)

No new stormwater conveyances (e.g., outfalls) may discharge untreated stormwater directly to or cause erosion in wetlands or waters of the Commonwealth.

Same rule applies for new developments and redevelopments.

Full compliance with Standard 1 is required for new outfalls.

- What BMPs are proposed to ensure that all new discharges associated with the discharge are adequately treated?

- What BMPs are proposed to ensure that no new discharges cause erosion in wetlands or waters of the Commonwealth?

- Will the proposed discharge comply with all applicable requirements of the Massachusetts Clean Waters Act and the regulations promulgated thereunder at 314 CMR 3.00, 314 CMR 4.00 and 314 CMR 5.00?

Existing outfalls shall be brought into compliance with Standard 1 to the maximum extent practicable.

- Are there any existing discharges associated with the redevelopment project for which new treatment could be provided?

- If so, the proponent shall specify the stormwater BMP retrofit measures that have been considered to ensure that the discharges are adequately treated and indicate the reasons for adopting or rejecting those measures. (See Section entitled “Retrofit of Existing BMPs”.)

- What BMPs have been considered to prevent erosion from existing stormwater discharges?

Standard 2: (Peak rate control and flood prevention)

Stormwater management systems must be designed so that post-development peak discharge rates do not exceed pre-development peak discharge rates. This Standard may be waived for land subject to coastal storm flowage.

Full compliance for any component that is not a redevelopment

Compliance to the Maximum Extent Practicable:

- Does the redevelopment design meet Standard 2, comparing post-development to pre-development conditions?

- If not, the applicant shall document an analysis of alternative approaches for meeting the Standard.  (See Menu of Strategies to Reduce Runoff and Peak Flows and/or Increase Recharge Menu included at the end of this chapter.)

Improvement of existing conditions:

- Does the project reduce the volume and/or rate of runoff to less than current estimated conditions? Has the applicant considered all the alternatives for reducing the volume and/or rate of runoff from the site?  (See Menu.)

- Is the project located within a watershed subject to damage by flooding during the 2-year or 10-year 24-hour storm event? If so, does the project design provide for attenuation of the 2-year and 10-year 24-hour storm event to less than current estimated conditions?  Have measures been implemented to reduce the volume of runoff from the site resulting from the 2 year or 10 year 24 hour storm event? (See Menu.)

- Is the project located adjacent to a water body or watercourse subject to adverse impacts from flooding during the 100-year 24-hour storm event? If so, are portions of the site available to increase flood storage adjacent to existing Bordering Land Subject to Flooding (BLSF)?

- Have measures been implemented to attenuate peak rates of discharge during the 100-year 24-hour storm event to less than the peak rates under current estimated conditions? Have measures been implemented to reduce the volume of runoff from the site resulting from the 100-year 24-hour storm event?   (See Menu.)

Standard 3: (Recharge to Ground water)

Loss of annual recharge to ground water shall be eliminated or minimized through the use of infiltration measures, including environmentally sensitive site design, low impact development techniques, best management practices, and good operation and maintenance. At a minimum, the annual recharge from the post-development site shall approximate the annual recharge from the pre-development conditions based on soil type.  This Standard is met when the stormwater management system is designed to infiltrate the required recharge volume as determined in accordance with the Massachusettss Stormwater Handbook.

Full compliance for any component that is not a redevelopment

Compliance to the Maximum Extent Practicable:

- Does the redevelopment design meet Standard 3, comparing post-development to pre-development conditions?

- If not, the applicant shall document an analysis of alternative approaches for meeting the Standard?

- What soil types are present on the site? Is the site is comprised solely of C and D soils and bedrock at the land surface?

- Does the project include sites where recharge is proposed at or adjacent to an area classified as contaminated, sites where contamination has been capped in place, sites that have an Activity and Use Limitation (AUL) that precludes inducing runoff to the groundwater, pursuant to MGL Chapter 21E and the Massachusetts Contingency Plan 310 CMR 40.0000; sites that are the location of a solid waste landfill as defined in 310 CMR 19.000; or sites where groundwater from the recharge location flows directly toward a solid waste landfill or 21E site?

- Is the stormwater runoff from a land use with a higher potential pollutant load?

- Is the discharge to the ground located within the Zone II or Interim Wellhead Protection Area of a public water supply?

- Does the site have an infiltration rate greater than 2.4 inches per hour?

Improvements to Existing Conditions:

- Does the project increase the required recharge volume over existing (developed) conditions? If so, can the project be redesigned to reduce the required recharge volume by decreasing impervious surfaces (make building higher, put parking under the building, narrower roads, sidewalks on only one side of street, etc.) or using low impact development techniques such as porous pavement?

- Is the project located within a basin or sub-basin that has been categorized as under high or medium stress by the Massachusetts Water Resources Commission, or where there is other evidence that there are rivers and streams experiencing low flow problems?  If so, have measures been considered to replace the natural recharge lost as a result of the prior development? (See Menu.)

- Has the applicant evaluated measures for reducing site runoff?  (See Menu.)

Standard 4: (80% TSS Removal)

Stormwater management systems must be designed to remove 80% of the average annual post-construction load of Total Suspended Solids (TSS).  This standard is met when:

a. Suitable practices for source control and pollution prevention are identified in a long-term pollution prevention plan and thereafter are implemented and maintained;

b. Stormwater BMPs are sized to capture the required water quality volume determined in accordance with the Massachusetts Stormwater Handbook; and

c. Pretreatment is provided in accordance with the Massachusetts Stormwater Handbook.

Full compliance for any component that is not a redevelopment

Full compliance with the long-term pollution plan requirement for new developments and redevelopments.

- Has the proponent developed a long-term pollution plan that fully meets the requirements of Standard 4?

- Does the pollution prevention plan include the following source control measures?

  - Street sweeping

  - Proper management of snow, salt, sand and other deicing chemicals

  - Proper management of fertilizers, herbicides and pesticides

  - Stabilization of existing eroding surfaces

Compliance to the Maximum Extent Practicable for the other requirements:

- Does the redevelopment design provide for treatment of all runoff from existing (as well as new) impervious areas to achieve 80% TSS removal?  If 80% TSS removal is not achieved, has the stormwater management system been designed to remove TSS to the maximum extent practicable?

- Have the proposed stormwater BMPs been properly sized to capture the prescribed runoff volume?

  - One inch rule applies for discharge

    - within a Zone II or Interim Wellhead Protection Area,

    - near or to another critical area,

    - from a land use with a higher potential pollutant load

    - to the ground where the infiltration rate is greater than 2.4 inches per hour

    - Has adequate pretreatment been proposed?

  - 44% TSS Removal Pretreatment Requirement applies if:

    - Stormwater runoff is from a land use with a higher potential pollutant load

    - Stormwater is discharged

    - To the ground within the Zone II or Interim Wellhead Protection Area of a Public Water Supply

    - To the ground with an infiltration rate greater than 2.4 inches per hour

    - Near or to an Outstanding Resource Water, Special Resource Water, Cold-Water Fishery, Shellfish Growing Area, or Bathing Beach.

- If the stormwater BMPs do not meet all the requirements set forth above, the applicant shall document an analysis of alternative approaches for meeting the these requirements.  (See Section on Retrofitting Existing BMPs (the “Retrofit Section”).

Improvements to Existing Conditions:

- Have measures been provided to achieve at least partial compliance with the TSS removal standard?

- Have any of the best management practices in the Retrofit Section been considered?

- Have any of the following pollution prevention measures been considered?

  - Reduction or elimination of winter sanding, where safe and prudent to do so

  - Tighter controls over the application of fertilizers, herbicides, and pesticides

  - Landscaping that reduces the need for fertilizer, herbicides and pesticides

  - High frequency sweeping of paved surfaces using vacuum sweepers

  - Improved catch basin cleaning

  - Waterfowl control programs

- Are there any discharges (new or existing) to impaired waters?  If so, see TMDL section.

Standard 5 (Higher Potential Pollutant Loads (HPPL)

For land uses with higher potential pollutant loads, source control and pollution prevention shall be implemented in accordance with the Massachusetts Stormwater Handbook to eliminate or reduce the discharge of stormwater runoff from such land uses to the maximum extent practicable.  If through source control and/or pollution prevention, all land uses with higher potential pollutant loads cannot be completely protected from exposure to rain, snow, snow melt and stormwater runoff, the proponent shall use the specific stormwater BMPs determined by the Department to be suitable for such use as provided in the Massachusetts Stormwater Handbook.  Stormwater discharges from land uses with higher potential pollutant loads shall also comply with the requirements of the Massachusetts Clean Waters Act, M.G.L. c. 21, §§ 26-53, and the regulations promulgated thereunder at 314 CMR 3.00, 314 CMR 4.00 and 314 CMR 5.00.

Full compliance for any component that is not a redevelopment.

Full compliance with pollution prevention requirements for new developments and redevelopments.

Pollution Prevention

- Has the proponent considered any of the following operational source control measures?

  - Formation of a pollution prevention team,

  - Good housekeeping practices,

  - Preventive maintenance procedures,

  - Spill prevention and clean up,

  - Employee training, and

  - Regular inspection of pollutant sources.

- Has the proponent considered implementation of any of the following operational changes to reduce the quantity of pollutants on site?

  - Process changes,

  - Raw material changes,

  - Product changes, or

  - Recycling.

- Has the proponent considered making capital improvements to protect the land uses with higher potential pollutant loads from exposure to rain, snow, snow melt, and stormwater runoff?

  - Enclosing and/or covering pollutant sources (e.g. placing pollutant sources within a building or other enclosure, placing a roof over storage and working areas, placing tarps under pollutant source)

  - Installing a containment system with an emergency shutoff to contain spills?

  - Physically segregating the pollutant source to prevent run-on of uncontaminated stormwater?

Treatment

- If applicable, compliance with the treatment and pretreatment requirements of Standard 5 only to the Maximum Extent Practicable by directing the stormwater runoff from land uses with higher potential pollutant loads to appropriate stormwater BMPs?

  - Are the BMPs selected capable of removing the pollutants associated with the higher potential pollutant load land (“LUHPPL”) use?

  - Is the land use likely to generate stormwater with high concentrations of oil and grease?  If so has an oil grit separator, sand filter, filtering bioretention area  or equivalent been proposed for pretreatment?

Improvement of Existing Conditions.

- If the redevelopment converts a site from a non-LUHPPL use to a LUHPPL use, the applicant shall document how the stormwater BMPs shall be modified or replaced to come into compliance with Standard 5.

- What specific measures have been considered to offset the anticipated impacts of land uses with higher potential pollutant loads?

- If the redevelopment proposal is a brownfield project, the applicant shall demonstrate how the stormwater management measures have been designed to prevent mobilization or remobilization of soil and groundwater contamination.  (See Brownfield section)

Other Requirements

- Does the discharge comply with all applicable requirements of the Massachusetts Clean Waters Act, 314 CMR 3.00, 314 CMR 4.00 and 314 CMR 5.00?

Standard 6 (Critical Areas)

Stormwater discharges to a Zone II or Interim Wellhead Protection Area of a public water supply and stormwater discharges near or any other critical area require the use of the specific source control and pollution prevention measures and the specific stormwater best management practices determined by the Department to be suitable for managing discharges to such area, as provided in the Massachusetts Stormwater Handbook.  A discharge is near a critical area if there is a strong likelihood of a significant impact occurring to said area, taking into account site-specific factors. Stormwater discharges to Outstanding Resource Waters or Special Resource Waters shall be set back from the receiving water and receive the highest and best practical method of treatment. A “stormwater discharge,” as defined in 314 CMR 3.04(2)(a)1. or (b), to an Outstanding Resource Water or Special Resource Water shall comply with 314 CMR 3.00 and 314 CMR 4.00.  Stormwater discharges to a Zone I or Zone A are prohibited unless essential to the operation of the public water supply.

Full compliance for component of project that is not a redevelopment

Full compliance with pollution prevention requirements for new developments and redevelopments.

If applicable, compliance to the Maximum Extent Practicable with the pretreatment and treatment requirements of Standard 6:

- Does the redevelopment project utilize the pretreatment, treatment and infiltration BMPs approved for discharges near or to critical areas?

- If the redevelopment project does not comply with Standard 6, the applicant shall document an analysis of alternative measures for meeting Standard 6. (See Section on Specific Redevelopment Projects.)

Improvements to Existing Conditions:

- Have measures to protect critical areas been considered, including additional pollution prevention measures and structural and non-structural BMPs?

Other Requirements

- Does the discharge comply with the Massachusetts Clean Waters Act, 314 CMR 3.00, 314 CMR 4.00, and 314 CMR 5.00?

Standard 8: (Erosion, Sediment Control)

A plan to control construction-related impacts, including erosion sedimentation and other pollutant sources during construction and land disturbance activities (construction period erosion, sedimentation, and pollution prevention plan), must be developed and implemented.

All redevelopment projects shall fully comply with Standard 8.

- Has the proponent submitted a construction period erosion, sedimentation and pollution prevention plan that meets the requirements of Standard 8?

Standard 9: (Operation and Maintenance)

A long-term operation and maintenance plan must be developed and implemented to ensure that stormwater management systems function as designed.

All redevelopment projects shall fully comply with Standard 9.

- Has the proponent submitted a long-term Operation and Maintenance plan that meets the requirements of Standard 9?

Standard 10 (Illicit Discharges)

All illicit discharges to the stormwater management system are prohibited.

All redevelopment projects shall fully comply with Standard 10.

- Are there any known or suspected illicit discharges to the stormwater management system at the redevelopment project site?

- Has an illicit connection detection program been implemented using visual screening, dye or smoke testing?

- Have an Illicit Discharge Compliance Statement and associated site map been submitted verifying that there are no illicit discharges to the stormwater management system at the site?

Improvements to Existing Conditions:

- Once all illicit discharges are removed, has the proponent implemented any measures to prevent additional illicit discharges?

### Figure 5-1

Menu of Strategies to Reduce Runoff or Peak Flows and/or Increase Recharge

- Rehabilitate the soils

- Plant trees and other vegetation

- Install a green roof

- Maximize naturally vegetated areas

- Reduce impervious surfaces

- Disconnect roof runoff from direct discharge to the drainage system

- Disconnect other existing paved areas from direct discharge to the drainage system, allowing controlled flow over pervious areas or through BMPs providing at least partial recharge

- Install porous pavement and/or other recharge measures (where sustainable and maintainable for promoting infiltration)

- Apply LID techniques for runoff reduction

- Install additional structural BMPs that are appropriate for redevelopment sites including infiltration trenches, subsurface structures, oil-grit separators, proprietary BMPs

- Retrofit existing BMPs

Retrofitting Existing BMPs

Many BMPs can be effectively retrofitted depending on site conditions and the water quantity or quality objectives trying to be achieved. The objective of stormwater retrofitting is to remedy problems associated with, and improve water quality mitigation functions of, older, poorly designed, or poorly maintained stormwater management systems. Prior to the development of the stormwater standards, site drainage design did not require stormwater detention for controlling post-development peak flows. As a result, drainage, flooding, and erosion problems can be common in many older developed areas of the state. Furthermore, a majority of the dry detention basins throughout the state have been designed to control peak flows, without regard to water quality mitigation. Therefore, many existing dry detention basins provide only minimal water quality benefit. Incorporating stormwater retrofits into existing developed sites or into redevelopment projects can reduce the adverse impacts of uncontrolled stormwater runoff.

Bioretention Area Retrofits - can be used as a stormwater retrofit, by modifying existing landscaped areas, or if a parking lot is being resurfaced. In highly urban watersheds, they are one of the few practical retrofit options.

Catch Basin Retrofits or Reconstruction - Older catch basins without sumps can be replaced with catch basins having four foot-deep sumps. Sumps provide storage volume for coarse sediments, assuming that accumulated sediment is removed on a regular basis. Hooded outlets, which are covers over the catch basin outlets that extend below the standing water line, can also be used to trap litter and other floatable materials. Leaching catch basins can be installed adjacent to deep sump catch basins to achieve 80% TSS removal. Be aware, however, that many products are being touted as catch basin inserts, but the effectiveness of these devices can vary significantly.

Dry Detention Basin Retrofits - Traditional dry detention basins can be modified to become extended dry detention basins, wet basins, or constructed stormwater wetlands for enhanced pollutant removal. This is one of the most commonly and easily implemented retrofits, since it typically requires little or no additional land area, capitalizes on an existing facility for which there is already some resident acceptance of stormwater management, and involves minimal impacts to environmental resources (Claytor, Center for Watershed Protection, 2000).

There are numerous retrofit options that will enhance the removal of pollutants in detention basins:

- Excavate the basin bottom to create more permanent pool storage.

- Raise the basin embankment to obtain additional storage for extended detention.

- Modify the outfall structure to create a two-stage release to better control small storms while not significantly compromising flood control detention for large storms.

- Increase the flow path from inflow to outflow and eliminate short-circuiting by using baffles, earthen berms or micro-pond topography to increase residence time.

- Incorporate stilling basins at inlets and outlets.

- Regrade the basin bottom to create a wetland area near the basin outlet or revegetate parts of the basin bottom with wetland vegetation to enhance pollutant removal, reduce mowing, and improve aesthetics.

- Create a wetland shelf along the perimeter of a wet basin to improve shoreline stabilization, enhance pollutant filtering, and enhance aesthetic and habitat functions.

- Create a low maintenance “no-mow” wildflower ecosystem in the drier portions of the basin.

- Provide a high flow bypass to avoid resuspension of captured sediments/pollutants during high flows.

- Eliminate low-flow bypasses.

Drainage Channel Retrofits - Existing channelized streams and drainage conveyances such as drainage channels can be modified to reduce flow velocities and enhance pollutant removal. Weir walls or riprap check dams placed across a channel create opportunities for ponding, infiltration, and establishment of wetland vegetation upstream of the retrofit. In-stream retrofit practices include stream bank stabilization of eroded areas and placement of habitat improvement structures (i.e., flow deflectors, boulders, pools/riffles, and low-flow channels) in natural streams and along stream banks. In-stream retrofits may require an evaluation of potential flooding and floodplain impacts resulting from altered channel conveyance, as well as requirements for local, state, or federal approval for work in wetlands and watercourses.

Parking Lots and Roadways- Parking lots offer ideal opportunities for a wide range of stormwater retrofits:

- Incorporate bioretention areas into parking lot islands and landscaped areas; tree planter boxes can be converted into functional bioretention areas, rain gardens, or treebox filters to reduce and treat stormwater runoff.

- Remove curbing and add slotted curb stops. Curbs along the edges of parking lots can sometimes be removed or slotted to re-route runoff to vegetated filter strips, water quality swales, grass channels, or bioretention facilities. The capacity of existing swales may need to be evaluated and expanded as part of this retrofit option.

- Incorporate new treatment practices such as bioretention areas, sand filters, and constructed stormwater wetlands at the edges of parking lots.

- In overflow parking or other low-traffic areas, asphalt can be replaced with porous pavement.

Sand Filter Retrofits - are suitable where space is limited, because they consume little surface space and have few site restrictions. Since sand filters cannot treat large drainage areas, retrofitting many small individual sites may be the only option. This option may be expensive.

Storm Drain Outfalls - New stormwater treatment practices can be constructed at the outfalls of existing drainage systems. The new stormwater treatment practices are commonly designed as off-line devices to treat the first flush volume and bypass larger storms. Water quality swales, bioretention areas, sand filters, constructed stormwater wetlands, and wet basins are commonly used for this type of retrofit. Other stormwater treatment practices may also be used if there is enough space for construction and maintenance.

#### Specific Redevelopment Projects

Redevelopment projects present unique challenges for controlling stormwater. It is possible that site constraints may prevent a redevelopment project from complying with one or more of the Stormwater Management Standards.  Even if a redevelopment project cannot meet all of the Standards, there may be ample opportunity to improve existing site conditions depending on the other water quality or quantity issues in the watershed. The following special considerations provide unique opportunities for identifying how existing conditions may be improved:

- Groundwater Recharge Areas - Redevelopment projects located within these areas (Zone II, Interim Wellhead Protection Areas (IWPA), aquifer protection districts, etc.) should place a high priority on ground water recharge BMPs.

- Disconnecting Rooftop Runoff – In some instances, building roof drains connected to the stormwater drainage system can be disconnected and re-directed to vegetated filter strips, bioretention facilities, or infiltration structures (dry wells or infiltration trenches).

- Use of Porous Paving Materials - Existing impermeable pavement in overflow parking or other low-traffic areas can sometimes be replaced with alternative permeable materials such as modular concrete paving blocks, modular concrete or plastic lattice, or cast-in-place concrete grids. Site-specific factors including traffic volumes, soil permeability, maintenance, sediment loads, and land use must be carefully considered prior to selection.

- Cold-Water Fisheries - Redevelopment projects adjacent to these areas should place a high priority on mitigating potential thermal impacts.  Techniques to consider include:

- Maintain Time of Concentration - Time of concentration (Tc) is based on the flow path and length, ground cover, slope and channel shape. When development occurs, Tc is often shortened due to the impervious area, causing greater flows to occur over a shorter period of time.  Increasing the Tc will help to reduce the thermal impact of stormwater runoff from warm surface areas. Options to consider include:

  - Increasing the length of the runoff flow path

  - Increasing the surface roughness of the flow path

  - Detaining flows on site

  - Minimizing land disturbance

  - Creating flatter slopes.

- Disconnecting impervious areas – Breaking up large impervious expanses with vegetated zones will reduce the potential temperature increases of stormwater flowing across hot pavement.

.

- Brownfield Redevelopment – Redeveloping urban and non-urban brownfield sites (which in Massachusetts includes most “disposal sites” under the Massachusetts Contingency Plan [MCP]) are a Commonwealth priority, with ramifications for urban sprawl as well as the remediation of historically contaminated properties. Proponents of brownfield redevelopment projects should evaluate BMPs that will prevent the significant uncontrolled mobilization or remobilization of soil or ground water contamination.  BMP considerations at these sites should consider such factors as:

- The location of stormwater infiltration units with respect to contaminated areas

- Ground water mounding effects on the rate and direction of migration of ground water contaminants

- The location of outfalls

- Water quality BMPs.

- Runoff to Impaired Water Bodies – If MassDEP has issued a Total Maximum Daily Load (TMDL) that establishes a waste load allocation for stormwater discharge and/or a TMDL Implementation Plan that identifies remedies aimed at reducing the amount of pollutants from stormwater discharges, proponents may be required to install stormwater BMPs that are consistent with the TMDL.

- Runoff to Areas of Localized Flooding – Project proponents must also understand the potential impacts of stormwater runoff in areas prone to localized flooding.  When completing the checklist, proponents should consider the capacity of the receiving water and/or storm drainage system.  When evaluating discharges to areas subject to localized flooding, the proponent should evaluate the ability to maintain and/or improve existing site cover and reduce runoff volume.

The MassHighway Handbook published in 2004 must be revised to make it consistent with this Handbook.

A mounding analysis is needed if a site falls within this category.  See Volume 3.

Additional information on retrofitting stormwater BMPs can be found in the Urban Stormwater Retrofit Practices Manual.  See http://www.cwp.org/Downloads/ELC_USRM3app.pdf.