The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center

Northampton, MA  01060

Telephone: 413-586-7525

Fax: 413-784-1037 TTY: (800)-769-9991

peter.wheeler@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, M.D. SECRETARY JOHN AUERBACH COMMISSIONER

February 15, 2012

Michael Corsini, Superintendent

Massachusetts Treatment Center

30 Administration Road

Bridgewater, MA 02324

Re: Facility Inspection

Dear Superintendent Corsini:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Massachusetts Treatment Center  on February 14, 2012 accompanied by Greg Alves, Environmental Health and Safety Officer. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Front Lobby

Waiting Area

No Violations Noted

Men’s Bathroom

No Violations Noted

Women’s Bathroom

No Violations Noted

Control Area

Roll Call Room

No Violations Noted

Men’s Locker Room

105 CMR 451.350	Structural Maintenance: Damaged Counter

Women’s Locker Room

No Violations Noted

Booking

No Violations Noted

Visiting Room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.350	Structural Maintenance: Rug damaged

Fire Safety Room

No Violations Noted

Central Laundry

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, emergency exit lights not working

Archives

No Violations Noted

A1 Unit

Officer’s Trap

No Violations Note

Main Area

105 CMR 451.350	Structural Maintenance: Carpet damaged

105 CMR 451.350	Structural Maintenance: Tile damaged by cell # AG 8 and AG 14

105 CMR 451.126	Hot Water: Hot water temperature 1130F at hand wash sink

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Shower floor not sealed

105 CMR 451.126	Hot Water: Hot water temperature 990F at shower # AG 13

A2 Unit

Main Area

105 CMR 451.350	Structural Maintenance: Floor damaged by cell # 12

Cells

105 CMR 451.350	Structural Maintenance: Floor damages in cell # 11 and 28

105 CMR 451.350	Structural Maintenance: Door frame damaged in cell # 27

Showers

105 CMR 451.123	Maintenance: Shower # AM 35 out of order

105 CMR 451.123	Maintenance: Shower floor not sealed

Health Service Unit

Biohazard Room

No Violations Noted

Main Area

105 CMR 451.350	Structural Maintenance: Ceiling tile missing

Break Room

105 CMR 451.350	Structural Maintenance: Damaged counter

Nurse Practitioner’s Office

No Violations Noted

Medical Records Room

No Violations Noted

Men’s Bathroom

Not Inspected, In Use

Women’s Room

No Violations Noted

Staff Bathroom

No Violations Noted

Trauma Room

105 CMR 451.353	Interior Maintenance: Damaged examination table

105 CMR 451.353	Interior Maintenance: Oxygen tank not secured

Therapy Suite

105 CMR 451.353	Interior Maintenance: Carpet dirty

105 CMR 451.350	Structural Maintenance: Missing ceiling tiles

B1 Unit

Officer’s Trap

No Violations Note

Main Area

105 CMR 451.350*	Structural Maintenance: Damaged carpet

105 CMR 451.350	Structural Maintenance: Damaged cove molding by cell # 14

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Shower floor not sealed

B2 Unit

Main Area

105 CMR 451.350	Structural Maintenance: Damaged carpet

105 CMR 451.353	Interior Maintenance: Missing ground plug on fan

Cells

105 CMR 451.350	Structural Maintenance: Damaged cove molding in cell # 14

Showers

105 CMR 451.123	Maintenance: Shower floor not sealed

Maintenance Corridor

Mechanical Room

105 CMR 451.353	Interior Maintenance: Floor dirty

Staff Bathroom

No Violations Noted

Canteen Room

105 CMR 451.353	Interior Maintenance: Floor dirty

Barber Shop

No Violations Noted

Food Service

Dining Area

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, missing ceiling tile

Kitchen

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, damaged cove molding

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, damaged office FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls/Ceiling covering not easily cleanable

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, damaged ceiling tile

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ripped door screen on walk-in cooler # 6

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in walk-in cooler # 6 dusty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, damaged door on loading dock

Dry Storage

No Violations Noted

Toxic/Caustic

No Violations Noted

Inmate Bathroom

No Violations Noted

Swill Room

No Violations Noted

Staff Food Service

Dining Area

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, missing ceiling tile

Kitchen

No Violations Noted

Storage Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, damaged gasket on cooler door

Gym

Main Area

105 CMR 451.350*	Structural Maintenance: Missing/damaged ceiling tiles

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

Men’s Staff Bathroom

No Violations Noted

Women’s Staff Bathroom

No Violations Noted

C1 Unit

Officers Trap

105 CMR 451.350*	Structural Maintenance: Damaged ceiling

105 CMR 451.350	Structural Maintenance: Exposed electrical wires

Main Area

105 CMR 451.350	Structural Maintenance: Damaged carpet

105 CMR 451.350	Structural Maintenance: Damaged ceiling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hand-wash sink drains slowly

Cells

105 CMR 451.350	Structural Maintenance: Damaged floor in cell # 16

Showers

105 CMR 451.123	Maintenance: Shower floor not sealed

105 CMR 451.123	Maintenance: Damaged cove molding in shower # CG-12

C2 Unit

Main Area

105 CMR 451.350	Structural Maintenance: Damaged carpet

105 CMR 451.350	Structural Maintenance: Damaged ceiling

105 CMR 451.350	Structural Maintenance: Exposed electrical wires on ceiling

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Cells

No Violations Noted

Showers

No Violations Noted

D1 Unit

Officers Trap

105 CMR 451.350*	Structural Maintenance: Damaged ceiling

Main Area

105 CMR 451.350	Structural Maintenance: Damaged carpet

105 CMR 451.350	Structural Maintenance: Damaged window by cell # 1

105 CMR 451.353	Interior Maintenance: Missing ground plug on fan

105 CMR 451.350	Structural Maintenance: Missing cove molding in hallway

Cells

105 CMR 451.350	Structural Maintenance: Damaged floor tile in cell # 2

Showers

105 CMR 451.123	Maintenance: Shower floor not sealed

D2 Unit

Main Area

105 CMR 451.350	Structural Maintenance: Damaged carpet

105 CMR 451.350	Structural Maintenance: Damaged ceiling

105 CMR 451.350	Structural Maintenance: Missing cove molding

Cells

105 CMR 451.350	Structural Maintenance: Missing cove molding in cell # 12

Showers

105 CMR 451.123	Maintenance: Shower floor not sealed

MODULAR UNITS

South 1

Medication Room

No Violations Noted

Old Laundry Area

No Violations Noted

Back Room

No Violations Noted

Day Room

105 CMR 451.353	Interior Maintenance: Damaged table

Staff Bathroom

No Violations Noted

Conference Room

No Violations Noted

Dorms

105 CMR 451.350	Structural Maintenance: Damaged walls in room # 103, 104 and 105

East Bathroom

105 CMR 451.123	Maintenance: Urinal out of order

105 CMR 451.123	Maintenance: Damaged shower

105 CMR 451.123	Maintenance: Damaged Wall

West Bathroom

105 CMR 451.123	Maintenance: Two toilets out of order

105 CMR 451.123	Maintenance: Damaged shower

105 CMR 451.123	Maintenance: Damaged Wall

105 CMR 451.123	Maintenance: Damaged floor

South 2

Old Laundry Area

No Violations Noted

Back Room

No Violations Noted

Day Room

105 CMR 451.353	Interior Maintenance: Damaged table

105 CMR 451.350	Structural Maintenance: Walls not easily cleanable

Staff Bathroom

No Violations Noted

Conference Room

No Violations Noted

Dorms

No Violations Noted

East Bathroom

105 CMR 451.123	Maintenance: Damaged shower

105 CMR 451.123*	Maintenance: Damaged Wall

105 CMR 451.123	Maintenance: Handwash sink out of order

West Bathroom

No Violations Noted

North 1

Old Laundry Area

No Violations Noted

Back Room

No Violations Noted

Day Room

105 CMR 451.353	Interior Maintenance: Damaged table

Staff Bathroom

105 CMR 451.123	Maintenance: Damaged wall

105 CMR 451.123	Maintenance: Damaged floor tile

Conference Room

105 CMR 451.353	Interior Maintenance: Damaged table

Dorms

105 CMR 451.350	Structural Maintenance: Damaged wall in room # 159

East Bathroom

105 CMR 451.123	Maintenance: Damaged shower

105 CMR 451.123*	Maintenance: Damaged Wall

West Bathroom

105 CMR 451.123	Maintenance: Damaged shower

105 CMR 451.123	Maintenance: Damaged air vent

105 CMR 451.123	Maintenance: Urinal out-of-order

North 2

Old Laundry Area

105 CMR 451.350	Structural Maintenance: Damaged floor

Back Room

No Violations Noted

Day Room

105 CMR 451.353	Interior Maintenance: Damaged table

Staff Bathroom

No Violations Noted

Conference Room

No Violations Noted

Dorms

105 CMR 451.350	Structural Maintenance: Damaged wall in room # 254

East Bathroom

105 CMR 451.123	Maintenance: Damaged shower

West Bathroom

105 CMR 451.123	Maintenance: Damaged wall

105 CMR 451.123	Maintenance: Damaged counter

105 CMR 451.123	Maintenance: Ripped handicap seat in shower

ADMINISTRATION AREA

Main Area

No Violations Noted

Men’s Bathroom

No Violations Noted

Women’s Bathroom

No Violations Noted

Minimum Privilege Area

Cells

105 CMR 451.350*	Structural Maintenance: Broken window in cell # 4

Hallway

No Violations Noted

Officers Trap

105 CMR 451.350	Structural Maintenance: Damaged ceiling tiles

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of Microwave oven dirty

Learning Area

Hallway

No Violations Noted

Library

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

Not Inspected, In Use

Industry Operations

Wood Shop

105 CMR 451.353	Interior Maintenance: Missing ground plug on drill press # TCAV0357

Print Shop

No Violations Noted

Art Room

No Violations Noted

Community Transition House

Exterior

105 CMR 451.350	Structural Maintenance: Missing/damaged roof shingles

105 CMR 451.350	Structural Maintenance: Damaged screen on porch

Officers Area

105 CMR 451.353	Interior Maintenance: Dirty carpet

Common Room

No Violations Noted

Storage Room

105 CMR 451.353	Interior Maintenance: Missing ground plug on fan

Kitchen

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, Floor/wall under sink is rotted

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light above sink not operable

First Floor Staff Bathroom

105 CMR 451.350	Structural Maintenance: Ceiling not easily cleanable

105 CMR 451.123	Maintenance: Toilet out of order

105 CMR 451.123	Maintenance: No hot water at hand sink

Second FloorInmate Bathroom

No Violations Noted

Second Floor Hallway

No Violations Noted

Bedrooms

105 CMR 451.350	Structural Maintenance: Holes in ceiling

105 CMR 451.350	Structural Maintenance: Ceiling not easily cleanable

Basement Area

Recreation

105 CMR 451.353	Interior Maintenance: Two ripped weight bench seats

105 CMR 451.353	Interior Maintenance: Ripped floor mat

Observations and Recommendations

- The inmate population was 615 at the time of inspection

- A large amount of combustible materials was notices near the laundry area

- Recommend all biohazards stored on plastic pallets

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Peter Wheeler

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Greg Alves, EHSO

Bridgewater Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS