

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

250 Washington Street

Boston, MA 02180-4619

Telephone: 617-624-5758/Facsimile: 617-624-5777

TTY: 617-624-5286

Jonathan.Brown2@state.ma.us

|  |
| --- |
| DEVAL L. PATRICK  GOVERNOR  JOHN W. POLANOWICZ  SECRETARY  CHERYL BARTLETT, RN  COMMISSIONER |

October 9, 2014

Steven O’Brien, Superintendent

Massachusetts Treatment Center

30 Administration Road

Bridgewater, MA 02324

Re: Facility Inspection – Massachusetts Treatment Center, Bridgewater

Dear Superintendent O’Brien:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; 105 CMR 520.000 Labeling; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Massachusetts Treatment Center on September 4 and 5, 2014 accompanied by Daniel Quinn, Director of Engineering, Paul Gordon, EHSO, Ryan Michaud and Amy Riordan, Community Sanitation Program. Violations noted during the inspection are listed below including 35 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**Front Lobby**

*Waiting Area*

105 CMR 451.353 Interior Maintenance: Water damage on ceiling near women’s bathroom

*Men’s Bathroom*

105 CMR 451.123 Maintenance: Ceiling vent dusty

*Women’s Bathroom*

105 CMR 451.123 Maintenance: Ceiling vent dusty

105 CMR 451.123 Maintenance: Roll of paper towels stuffed in access panel

**Control Area**

*Control Room A2-40*

105 CMR 451.353 Interior Maintenance: Ceiling tiles missing

105 CMR 451.353 Interior Maintenance: Air duct vent missing

*Control Room Bathroom*

105 CMR 451.110(A) Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink 105 CMR 451.123 Maintenance: Ceiling vent dusty

*Central Tower*

105 CMR 451.126 Hot Water: Hot water temperature recorded at 102oF

105 CMR 451.124 Water Supply: Insufficient water supply in quantity and pressure

105 CMR 451.353 Interior Maintenance: Window pane cracked

105 CMR 451.353 Interior Maintenance: Window latch broken

105 CMR 451.350 Structural Maintenance: Roof leaking

*Roll Call Room*

105 CMR 451.353 Interior Maintenance: Light shield missing

*Men’s Locker Room*

105 CMR 451.123 Maintenance: Light shield missing

*Women’s Locker Room*

No Violations Noted

*Booking*

No Violations Noted

*Investigations AI-27*

105 CMR 451.353 Interior Maintenance: Light fixture blocked

*Utility Closet*

No Violations Noted

*Inmate Bathroom*

105 CMR 451.123 Maintenance: Ceiling vent dusty

*Visiting Room*

FC 4-501.11(B) Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, freezer gasket damaged

520.119(F)(2) Food, Open Date Labeling: Food in vending machine had an expired sell-by date

*Toxic Caustic Closet*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, faucet leaking

*Fire Safety Room*

No Violations Noted

*Central Laundry*

FC 4-903.11(A)(2) Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils not stored with handles up

*Archives*

No Violations Noted

**A Unit**

*Officer’s Trap*

No Violations Noted

**A1 Unit**

*Utility Closet*

No Violations Noted

*Main Area*

105 CMR 451.353\* Interior Maintenance: Dryer not vented to the exterior

*2nd Floor Showers*

105 CMR 451.123 Maintenance: Soap scum on floor in left side shower

105 CMR 451.123 Maintenance: Soap scum on floor in right side shower

105 CMR 451.123 Maintenance: Ceiling vent dirty in right side shower

105 CMR 451.130 Hot Water: Shower water temperature 800F in right side shower

*1st Floor Showers*

105 CMR 451.123 Maintenance: Soap scum on floor in left side shower

105 CMR 451.123 Maintenance: Soap scum on floor in right side shower

*Cells*

105 CMR 451.353 Interior Maintenance: Floor not maintained in good repair, floor damaged in

cell # AM-12

**A2 Unit**

*Main Area*

105 CMR 451.350\* Structural Maintenance: Floor not easily cleanable, floor cracked

105 CMR 451.353\* Interior Maintenance: Dryer not vented to the exterior

*Classroom # A1-8*

No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Ceiling damaged, paint peeling in shower # AM-35

105 CMR 451.123\* Maintenance: Door frame rusted in shower # AG-36

105 CMR 451.123 Maintenance: Soap scum on floor in shower # AM-35, AM-36, and AG-36

*Cells*

105 CMR 451.353 Interior Maintenance: Wall paint peeling in cell # AM-34

105 CMR 451.353 Interior Maintenance: Door frame rusted in cell # AG-37

*Utility Closet*

105 CMR 451.353 Interior Maintenance: Unlabeled chemical bottle

**Health Service Unit**

*Staff Bathroom*

No Violations Noted

*Administrative Assistant Room # AI-36*

No Violations Noted

*Biohazard Room # A1-23*

105 CMR 451.353 Interior Maintenance: Ceiling tiles missing

*Main Area*

No Violations Noted

*Break Room # A1-65*

FC 4-903.11(A)(2)\* Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils not stored handles up

FC 4-601.11(A) Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior of freezer dirty

*Nurse Practitioner’s Office*

105 CMR 480.500(2) Procedures; Records; Record-Keeping Log: Inadequate medical waste record keeping

*Medical Records Room*

No Violations Noted

*Medication Room # A1-35*

No Violations Noted

*X-Ray Room # A1-46*

No Violations Noted

*Dentist’s Office A1-37*

No Violations Noted

*Patient Bathroom # A1-69*

No Violations Noted

*Exam Room*

No Violations Noted

*Utility Closet*

No Violations Noted

*Exam Room # A1-49*

No Violations Noted

*Officer’s Area*

No Violations Noted

*Men’s Bathroom*

No Violations Noted

*Women’s Bathroom*

No Violations Noted

*Staff Bathroom*

No Violations Noted

**Therapy Suite**

No Violations Noted

*Utility Closet*

No Violations Noted

*Men’s Bathroom*

No Violations Noted

*Women’s Bathroom*

105 CMR 451.123 Maintenance: Ceiling vent dusty

**B Unit**

*Officer’s Trap*

FC 4-501.11(A)\* Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, refrigerator door handle broken

*Officer’s Trap Bathroom*

105 CMR 451.123 Maintenance: Ceiling vent dusty

**B1 Unit**

*Utility Closet*

105 CMR 451.353 Interior Maintenance: Chemicals stored in sink

*Main Area*

105 CMR 451.350\* Structural Maintenance: Window broken near washer/dryer unit

105 CMR 451.353\* Interior Maintenance: Dryer not vented to the exterior

105 CMR 451.141\* Screens: Screen damaged near washer/dryer unit

*Showers*

105 CMR 451.123\* Maintenance: Floor damaged around drain in shower # BG-13

105 CMR 451.123 Maintenance: Soap scum on floor in shower # BM-12

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # BG-13

105 CMR 451.123 Maintenance: Soap scum on floor in shower # BG-12

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # BG-12

*Cells*

No Violations Noted

**B2 Unit**

*Main Area*

105 CMR 451.353\* Interior Maintenance: Dryer not vented to the exterior

*Showers*

105 CMR 451.123 Maintenance: Soap scum on floor in shower # BM-35 and BM-36

105 CMR 451.123 Maintenance: Soap scum on floor in shower # BG-35 and BG-36

*Cells*

105 CMR 451.350\* Structural Maintenance: Ceiling not easily cleanable, ceiling damaged in cell # BM-37

105 CMR 451.350 Structural Maintenance: Ceiling not easily cleanable, ceiling damaged in cell # BM-39 and BM-40

*Utility Closet # B1-11*

105 CMR 451.344 Illumination in Habitable Areas: Light not functioning properly, light out

*Utility Closet # BG-50*

105 CMR 451.353 Interior Maintenance: Door paint peeling

**Maintenance Corridor**

*Maintenance Workshop*

FC 3-305.11(A)(2) Food Storage: Used paint brush stored above food in refrigerator

*Bulk Storage # EI-59*

No Violations Noted

*Staff Bathroom*

105 CMR 451.123 Maintenance: Debris on floor

*Store Room # B1-75*

105 CMR 451.350\* Structural Maintenance: Ceiling not easily cleanable, ceiling damaged

*Flammable Storage*

No Violations Noted

*Tool Crib Room # B1-74*

No Violations Noted

*Canteen Room*

No Violations Noted

*Barber Shop*

No Violations Noted

**Food Service**

*South-Side Dining Area*

105 CMR 451.353 Interior Maintenance: Floor molding missing near tray return area

*North-Side Dining Area*

105 CMR 451.353 Interior Maintenance: Ceiling tiles missing

**Kitchen**

*3-Bay Sink Area*

FC 4-501.114(A) Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than recommended concentration, no sanitizer in use

FC 2-102.11(B)(16) Demonstration: Food worker not trained properly on proper sanitization methods

*Rinse/Dishwashing Area*

FC 4-901.11(A) Protection of Clean Items, Drying: Clean and sanitized trays not allowed to air dry fully, wet trays stacked on top of each other

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not properly cleaned, fan dusty

FC 7-101.11 Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled properly, original manufactures label missing

*Serving Area*

FC 6-501.111(B) Maintenance and Operations; Pest Control: Flies observed in serving area

*Cooler # 6/Freezer Unit*

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not properly cleaned, ice build-up on freezer wall

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not properly cleaned, ice patches on freezer floor

*Dry Storage*

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not properly cleaned, storage cabinet dirty

FC 3-304.12(A) Preventing Contamination from Utensils: Service utensils handle stored below the food and container line, cup stored in cereal

FC 3-202-15 Package Integrity: Bag of grits was compromised

*Recycling Area*

FC 6-202.15(A)(2) Design, Construction, and Installation; Functionality: Outer door not weather and vermin tight

*Toxic/Caustic*

105 CMR 451.353 Interior Maintenance: Ceiling fan dusty

105 CMR 451.353 Interior Maintenance: Ceiling paint peeling

105 CMR 451.353 Interior Maintenance: Unlabeled chemical bottle

*Inmate Bathroom*

No Violations Noted

*Swill Room*

FC 4-501.11(B)\* Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, cooler gaskets damaged

**Staff Food Service**

*Dining Area*

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not properly cleaned, ceiling vent dusty

*Kitchen*

FC 5-501.113(A)\* Refuse, Recyclables, and Returnables: Trash receptacles not kept covered

*Prep Area*

FC 4-602.11(E)(4)(b) Cleaning of Equipment and Utensils, Frequency: Mold growth observed on interior surfaces of ice machine

*Storage Area*

FC 3-302.11(A)(4) Preventing Food and Ingredient Contamination: Preventing cross contamination, food not appropriately covered

FC 3-304.12(A) Preventing Contamination from Utensils: Service utensils handle stored below the food and container line, scoop stored in food container

**Gym**

*Main Area*

105 CMR 451.350\* Structural Maintenance: Ceiling not maintained in good repair, ceiling leaking

105 CMR 451.353\* Interior Maintenance: Gym equipment padding damaged

105 CMR 451.353\* Interior Maintenance: Floor not maintained in good repair, floor damaged by gym equipment

*Men’s Staff Bathroom*

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, shower out-of-order

*Women’s Staff Bathroom*

105 CMR 451.123 Maintenance: Ceiling vent dusty

*Inmate Bathroom*

105 CMR 451.110(A) Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

*Utility Room*

105 CMR 451.353\* Interior Maintenance: Floor not maintained in good repair, ceiling damaged

*Office*

FC 4-501.11(B)\* Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gasket dirty

**C Unit**

*Officer’s Trap*

FC 4-602.12(B) Cleaning of Equipment and Utensils; Frequency: Interior of toaster oven dirty

**C1 Unit**

*Main Area*

105 CMR 451.353 Interior Maintenance: Dryer not vented to the exterior

105 CMR 451.353 Interior Maintenance: Left side stair tread damaged

*Showers*

105 CMR 451.123 Maintenance: Soap scum on floor in shower # CM-12 and CM-13

105 CMR 451.123 Maintenance: Ceiling paint peeling in shower # CM-12

105 CMR 451.123 Maintenance: Soap scum on floor in shower # CG-12 and CG-13

*Cells*

105 CMR 451.353\* Interior Maintenance: Floor not maintained in good repair, floor damaged in

cell # CG-11

**C2 Unit**

*Main Area*

105 CMR 451.350\* Structural Maintenance: Ceiling not easily cleanable, ceiling damaged

105 CMR 451.353 Interior Maintenance: Screen damaged near room # CG-46

*Utility Closet*

No Violations Noted

*Showers*

105 CMR 451.123 Maintenance: Soap scum on floor in shower # CM-35

105 CMR 451.123 Maintenance: Soap scum on floor in shower # CG-35

*Shower # CM-36*

Unable to Inspect – In Use

*Shower # CG-36*

Unable to Inspect –Out-of-Order

*Cells*

105 CMR 451.353 Interior Maintenance: Floor tile damaged in cell # CG-40

105 CMR 451.353 Interior Maintenance: Wall damaged in cell # CG-23

**D Unit**

*Officer’s Trap*

105 CMR 451.353 Interior Maintenance: Counter top damaged

**D1 Unit**

*Main Area*

105 CMR 451.350\* Structural Maintenance: Ceiling not easily cleanable, ceiling damaged

*Showers*

105 CMR 451.123 Maintenance: Soap scum on floor in shower # DM-12 and DM-13

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # DM-12 and DM-13

*Cells*

No Violations Noted

*Utility Closet*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

**D2 Unit**

*Main Area*

105 CMR 451.110(A) Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

*Showers*

105 CMR 451.123 Maintenance: Soap scum on floor in shower # DM-36

105 CMR 451.123 Maintenance: Soap scum on floor in shower # DG-35 and DG-36

105 CMR 451.123 Maintenance: Wall paint peeling in shower # DG-35 and DG-36

105 CMR 451.123 Maintenance: Wall tile damaged in shower # DG-35

*Cells*

105 CMR 451.353 Interior Maintenance: Wall vent dusty in cell # DM-28

**MODULAR UNITS**

**South 1**

*Medication Room*

Unable to Inspect - Locked

*Exam Room*

Unable to Inspect - Locked

*Back Room*

No Violations Noted

*Day Room*

105 CMR 451.353\* Interior Maintenance: Table damaged

*Staff Bathroom*

No Violations Noted

*Offices*

FC 3-501.16(B) Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator temperature recorded at 560F

*Staff Breakroom*

FC 4-602.12(B) Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(B) Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gasket damaged

*Dorms*

No Violations Noted

*Utility Closet*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, slop sink drain cover missing

105 CMR 451.353 Interior Maintenance: Ceiling damaged

**East Bathroom**

Unable to Inspect – Under Construction

**West Bathroom**

*Bathroom*

No Violations Noted

*Showers*

105 CMR 451.123 Maintenance: Soap scum on floor in shower # 5

**South 2**

*Old Laundry Area*

No Violations Noted

*Back Room*

No Violations Noted

*Day Room*

105 CMR 451.353\* Interior Maintenance: Table damaged

*Staff Bathroom*

No Violations Noted

*Break Room*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

FC 4-602.12(B) Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

*Utility Closet*

105 CMR 451.350\* Structural Maintenance: Floor not easily cleanable, floor damaged

105 CMR 451.350\* Structural Maintenance: Wall not easily cleanable, wall damaged

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Dorms*

No Violations Noted

**East Bathroom**

*Bathroom*

No Violations Noted

*Showers*

No Violations Noted

**West Bathroom**

*Bathroom*

No Violations Noted

*Showers*

105 CMR 451.123 Maintenance: Mold like substance in shower # 1

105 CMR 451.123 Maintenance: Shower curtain damaged in shower # 1-5

**North 1**

*Old Laundry Area*

No Violations Noted

*Back Room*

No Violations Noted

*Day Room*

105 CMR 451.353\* Interior Maintenance: Table damaged

*Office 179*

FC 4-204.112(A) Design and Construction, Functionality: No functioning thermometer in refrigerator

*Staff Bathroom*

Unable to Inspect - Occupied

*Conference Room*

No Violations Noted

*Utility Closet*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*Dorms*

105 CMR 451.353 Interior Maintenance: Paint peeling from structural wall in dorm # 154 and 161

**East Bathroom**

*Bathroom*

105 CMR 451.123\* Maintenance: Wall not easily cleanable, paint peeling

105 CMR 451.123\* Maintenance: Partitions rusted

*Showers*

105 CMR 451.123\* Maintenance: Ceiling dirty

105 CMR 451.123 Maintenance: Ceiling not maintained in good repair, ceiling leaking in shower area

105 CMR 451.123 Maintenance: Shower wall damaged in shower # 2

105 CMR 451.123 Maintenance: Shower curtain damaged in shower # 3

**West Bathroom**

*Bathroom*

105 CMR 451.123\* Maintenance: Partitions rusted

105 CMR 451.123 Maintenance: Wall damaged near urinal # 1

*Showers*

No Violations Noted

**North 2**

*Old Laundry Area*

No Violations Noted

*Back Room*

No Violations Noted

*Day Room*

No Violations Noted

*Staff Bathroom*

Unable to Inspect - Occupied

*Conference Room*

No Violations Noted

*Dorms*

105 CMR 451.353 Interior Maintenance: Wall cracked along window seam in dorm # 262

105 CMR 451.353 Interior Maintenance: Wall paint peeling in dorm # 260

*Utility Closet*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, slop sink drain cover missing

105 CMR 451.353 Interior Maintenance: Wall damaged

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

105 CMR 451.353 Interior Maintenance: Ceiling damaged

105 CMR 451.353 Interior Maintenance: Standing water in bucket

105 CMR 451.353 Interior Maintenance: Floor damaged

**East Bathroom**

*Bathroom*

No Violations Noted

*Showers*

105 CMR 451.123 Maintenance: Drain cover missing in shower # 2

105 CMR 451.123 Maintenance: Mold like substance observed in shower # 2, 3, and 4

*Shower # 1*

Unable to Inspect - Out-of-Order

**West Bathroom**

*Bathroom*

No Violations Noted

*Shower*

105 CMR 451.123 Maintenance: Flies observed in shower # 1

105 CMR 451.123 Maintenance: Shower curtain damaged in shower # 2, 3, and 5

**ADMINISTRATION AREA**

*Main Area*

105 CMR 451.353 Interior Maintenance: Ceiling tiles damaged

105 CMR 451.353 Interior Maintenance: Water bubbler broken

105 CMR 451.353 Interior Maintenance: Water bubbler drain clogged

*Handicapped Bathroom*

105 CMR 451.123 Maintenance: Ceiling tile damaged

*Men’s Bathroom*

No Violations Noted

*Women’s Bathroom*

No Violations Noted

**Minimum Privilege Area**

*Cells*

No Violations Noted

*Hallway*

No Violations Noted

*Utility Closet*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*Officer’s Trap*

FC 4-602.12(B)\* Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

*Showers*

105 CMR 451.123 Maintenance: Soap scum on floor in shower # AZ-22

105 CMR 451.123 Maintenance: Wall paint peeling in shower # AZ-22

**Learning Area**

*Hallway*

105 CMR 451.353 Interior Maintenance: Ceiling tile missing

*Library*

No Violations Noted

*Men’s Bathroom*

105 CMR 451.123 Maintenance: Ceiling water damaged

*Female Bathroom*

105 CMR 451.123 Maintenance: Ceiling water damaged

*Utility Closet*

105 CMR 451.331 Radiators and Heating Pipes: Pipes not properly insulated, insulation damaged

105 CMR 451.350 Structural Maintenance: Ceiling damaged, hole in ceiling

*Toxic/Caustic Closet*

No Violations Noted

*Inmate Bathroom*

105 CMR 451.110(A) Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

**Industry Operations**

*Print Shop*

No Violations Noted

*Art Room*

No Violations Noted

**Wood Shop**

*Assembly Room*

105 CMR 451.110(A) Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

*Utility Closet*

No Violations Noted

*Inmate Bathroom*

No Violations Noted

*Staff Bathroom*

105 CMR 451.123 Maintenance: Ceiling vent dusty

**COMMUNITY TRANSITION HOUSE**

**1st Floor**

*Kitchen*

FC 5-205.15(B) Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, leak under sink

FC 5-205.15(B) Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet leaking

FC 5-205.15(B) Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, sink handles leaking

*Living Area*

No Violations Noted

*Bathroom*

Unable to Inspect - Shower Not in Use

**2nd Floor**

*Bathroom*

No Violations Noted

*Bedrooms*

No Violations Noted

**Observations and Recommendations**

1. The inmate population was 555 at the time of inspection.
2. The Department recommends a phone be installed in the Dentist’s Office to aid the staff in foreign language interpretation.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “[1999 Food Code](http://www.cfsan.fda.gov/%7Edms/fc99-toc.html)”.

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “General Food Regulations” click “105 CMR 520.000: Labeling.”

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Jonathan Brown

Environmental Health Inspector, CSP, BEH

cc: Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Carol Higgins O’Brien, Commissioner, DOC

Jim Robinson, EHSO

Eric J. Badger, CHO, Health Agent, Bridgewater Health Department

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea Cabral, Secretary, EOPS