The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-828-7703

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

June 19, 2019

Douglas DeMoura, Superintendent

MCI Cedar Junction

P.O. Box 100

South Walpole, MA 02071	(electronic copy)

Re: Facility Inspection - MCI Cedar Junction, Walpole

Dear Superintendent DeMoura:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the           MCI Cedar Junction on May 21, 22, and 23, 2019 accompanied by Steven Bonilla, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 188 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Tower 1

105 CMR 451.353*	Interior Maintenance: Floor tile damaged

105 CMR 451.353*	Interior Maintenance: Wires exposed at the open junction box at the bottom of the staircase

105 CMR 451.350	Structural Maintenance: Window does not function properly, window propped open

105 CMR 451.353	Interior Maintenance: Wet mop hanging over staircase

Tower 2

Unable to Inspect – No Longer In Use

Tower 3

105 CMR 451.353*	Interior Maintenance: Window sill damaged, paint damaged

105 CMR 451.350*		Structural Maintenance: Wall damaged at bottom of staircase

105 CMR 451.353*	Interior Maintenance: Wall surface damaged behind door and covered with duct tape

105 CMR 451.353*	Interior Maintenance: Mold on wall at the top of the staircase

105 CMR 451.353	Interior Maintenance: Chair surface damaged

105 CMR 451.353	Interior Maintenance: Floor generally dirty at the bottom of staircase

105 CMR 451.353	Interior Maintenance: Ceiling surface damaged at the top of staircase

Tower 4

Unable to Inspect – No Longer In Use

Tower 5

105 CMR 451.350*	Structural Maintenance: Wall damaged at the bottom of staircase

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Tower 6

Unable to Inspect – No Longer In Use

Tower 7

Unable to Inspect – No Longer In Use

Tower 8

Unable to Inspect – Locked

P Tower

105 CMR 451.353*	Interior Maintenance: Dirty sponge observed at handwash sink

GARAGE

Break Room

No Violations Noted

Bathroom

No Violations Noted

VEHICLE TRAP

No Violations Noted

Trap Bathroom

No Violations Noted

TRAINING BUILDING

Bathroom

No Violations Noted

Break Room

No Violations Noted

OUTER CONTROL

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of toaster oven damaged

Bathroom (inside control)

105 CMR 451.123	Maintenance: Wet mop stored in bucket

Vending Area

No Violations Noted

Female Visitor Bathroom

No Violations Noted

Male Visitor Bathroom

No Violations Noted

Handicapped Bathroom

No Violations Noted

Utility Closet

No Violations Noted

Female Staff Bathroom

No Violations Noted

Conference Room

No Violations Noted

Conference Room Break Area

No Violations Noted

Policy Office

No Violations Noted

Paralegal Office

No Violations Noted

Superintendent’s Investigators Office/Paralegal

No Violations Noted

Parole Office

No Violations Noted

Treasurer’s Office

No Violations Noted

Male Staff Bathroom (outside Male Locker Room)

105 CMR 451.123*	Maintenance: Wall vents dusty

105 CMR 451.123	Maintenance: Wet mop stored on floor in shower # 3

Male Locker Room

105 CMR 451.353*	Interior Maintenance: Wall vents dusty

105 CMR 451.353*	Interior Maintenance: Multiple lockers damaged

105 CMR 451.353	Interior Maintenance: Debris and trash on top of lockers

Biohazard Closet

No Violations Noted

Hallway (at the top of staircase near Biohazard Closet)

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight, exterior door propped open

Female Locker Room

105 CMR 451.123*	Maintenance: Wall surface damaged left of vanity

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water out-of-order at sink # 2

VISITING

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight, exterior door propped open

Non-Contact Visits

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Contact Visits

105 CMR 451.353	Interior Maintenance: Ceiling surface cracked and stained

Records Room

No Violations Noted

Staff Bathroom (inside Records Room)

No Violations Noted

INNER PERIMETER SECURITY (IPS)

Main Area

No Violations Noted

Break Area

No Violations Noted

Bathroom

No Violations Noted

INNER CONTROL

Control Room

105 CMR 451.353*	Interior Maintenance: Mold observed on ventilation duct

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave dirty

Bathroom

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

Sally Port

No Violations Noted

# FOOD SERVICE

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

Staff Kitchen

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of rodents, rodent droppings observed

FC 3-501.17(A) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Refrigerated time/temperature control for safety food prepared on site not clearly marked indicating the date or day by which the food shall be consumed or discardedPf, tuna not properly labeled or dated

Staff Dining Room

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Rodent droppings observed

Dining Area

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling not easily cleanable, paint damaged

FC 6-501.14(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Ventilation system dirty, wall vents dusty

Inmate Bathroom

105 CMR 451.123*	Maintenance: Window broken on door

Dry Storage, Non-Food

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling leaking

FC 3-305.11(A)(3)	Preventing Contamination from the Premises; Food Storage: Food not stores at least 6" off the ground

Serving Area

FC 6-501.14(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Ventilation system dirty, ceiling vents dusty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, standing cooling fan dusty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, trash and debris behind Traulsen cooler

FC 5-205.15	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repairP, steam warmers leaking below serving counter

Oven and Kettle Area

FC 6-501.114(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Non-functional equipment not repaired or removed from premises, 3 ovens out-of-order

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of rodents, rodent droppings observed near ovens

Prep Area

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, Traulsen warmer does not close properly

FC 5-205.15	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repairP, left faucet leaking when running at 3-compartment sink

FC 5-205.11(B)	Plumbing System; Operations and Maintenance: Handwashing sink used for an unapproved purposePf, dirty utensils stored in handwash sink

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, wall fan dusty

Cooler # 4

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall surfaces separating

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of rodents, rodent droppings observed

FC 3-501.17(A) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Refrigerated time/temperature control for safety food prepared on site not clearly marked indicating the date or day by which the food shall be consumed or discardedPf, tuna not properly labeled or dated

Dishwashing Area

FC 4-901.11(A)*	Protection of Clean Items, Drying: Clean and sanitized equipment not allowed to air dry fully

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, wash compartment leaking in 3-compartment sink

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

Bakery

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily cleanable, paint damaged

Diet Cooler

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator door does not close properly

Diet Freezer

No Violations Noted

Staff Office

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ice buildup in freezer

Dry Storage

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall and ceiling dirty

FC 6-501.111*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of rodents, rodent droppings observed on floor

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of rodents, rodent droppings observed in cereal boxes

Tool Crib

No Violations Noted

Dishwasher Machine Area

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling not easily cleanable, paint damaged

FC 6-301.20*	Numbers and Capacity; Handwashing Facilities: No waste receptacle provided for disposable towels

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, mold on ceiling

Back Room

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling not easily cleanable, paint damaged outside refrigerator and freezer box units

Walk-In Refrigerator, Box # 1

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of rodents, rodent observed

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, debris on floor

FC 3-202.15	Sources, Specifications; Specifications for Receiving: Food packages not in good conditionPf

Walk-In Freezer, Box # 2

Unable to Inspect – Closed for Maintenance

Walk-In Freezer, Box # 3

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, interior sealing tape coming off

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, excessive moisture on ceiling

FC 3-202.15	Sources, Specifications; Specifications for Receiving: Food packages not in good conditionPf

Chemical Room

No Violations Noted

Loading Dock

Exterior

No Violations Noted

Office

No Violations Noted

Fire Hose Room

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling surface damaged around pipe

105 CMR 451.123*	Maintenance: Paper towels missing

Store House

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Rodent droppings observed throughout

Compressor Room

No Violations Noted

Walk-In Freezer

No Violations Noted

Walk-In Refrigerator

No Violations Noted

Office # 1

No Violations Noted

Office # 2

No Violations Noted

CHEMICAL ROOM

No Violations Noted

MAINTENANCE

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Break Room

No Violations Noted

Office Break Room

No Violations Noted

HSU

Nurse Practitioner # 1

No Violations Noted

Stock Room

No Violations Noted

Dentist # 2

No Violations Noted

Triage # 3

No Violations Noted

Janitor’s Closet

No Violations Noted

Officer’s Station

No Violations Noted

Inmate Bathroom

No Violations Noted

Administration Area

No Violations Noted

Medication Room

105 CMR 451.353	Interior Maintenance: Ceiling surface damaged

Medical Office # 4

No Violations Noted

Medical Office # 5

105 CMR 451.353*	Interior Maintenance: Exam table surface damaged

Office # 6 - Lab

No Violations Noted

Mental Health Office # 7

No Violations Noted

Dark Room

No Violations Noted

Break Room

No Violations Noted

Break Room Bathroom

No Violations Noted

X-Ray and Optometry # 8

No Violations Noted

HSU Cell Block

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Curtain dirty

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Floor paint damaged outside shower

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 9

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 1 and 4

105 CMR 451.353	Interior Maintenance: Floor paint damaged in all cells

NEW MAN SECTION

Cells

No Violations Noted

Storage Room C

No Violations Noted

Room L

No Violations Noted

Medical Room

No Violations Noted

Changing Area

No Violations Noted

Handwash Sink

No Violations Noted

Cleaning Closet

No Violations Noted

Clothing/Break Room

No Violations Noted

PROPERTY

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of toaster oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Chemical Supply Closet

No Violations Noted

Property Storage

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Bathroom Corridor

Male Bathroom

105 CMR 451.123	Maintenance: Debris on floor

Female Bathroom

No Violations Noted

UNIT MANAGEMENT

Unit Team Offices

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged outside offices on platform

Supply Closet

No Violations Noted

Re-entry Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, refrigerator does not function properly

Programs

Deputy/Captain’s Office

No Violations Noted

ICE Office

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink continuously running

DOS OFFICE

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

Operations Office

Break Room

No Violations Noted

Bathroom

No Violations Noted

AUDITORIUM

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.353*	Interior Maintenance: Ceiling tiles damaged above seats

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged above stage

Backroom - Left

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Backroom - Right

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water out-of-order

105 CMR 451.123	Maintenance: Ceiling surface damaged

GYM

Weight Room

No Violations Noted

Bathroom

No Violations Noted

Slop Sink

No Violations Noted

Chemical Storage

No Violations Noted

Lower Gym

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

BARBER SHOP

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight, large door at the end of the hallway propped open

EAST WING

CPO’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

Classification Room

No Violations Noted

Male Bathroom

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123*	Maintenance: Door missing at toilet stall

Female Bathroom

No Violations Noted

Slop Sink Room

No Violations Noted

Chemical Storage

No Violations Noted

D Board

Small Break Room

No Violations Noted

Grievance Office

No Violations Noted

Mental Health Offices

No Violations Noted

Gallery

105 CMR 451.350	Structural Maintenance: Ceiling leaking

Bathroom

No Violations Noted

Cleaning Storage Area

No Violations Noted

Break Area

No Violations Noted

CHAPEL

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight, large door in hallway missing weather-strip

Recreation Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

LIBRARY

Librarian’s Office

No Violations Noted

Muslim Prayer Room

105 CMR 451.353	Interior Maintenance: Mold on ceiling

Bathroom

No Violations Noted

Mop Closet

No Violations Noted

Library

105 CMR 451.350*	Structural Maintenance: Exit door not rodent and weathertight

Storage Room (back room)

105 CMR 451.360	Protective Measures: Rodent droppings observed

10 BLOCK

2nd Floor

Law Library

No Violations Noted

Exam Room

No Violations Noted

Bathroom

No Violations Noted

Visiting Area - Visitors

No Violations Noted

Visiting Area – Inmates

105 CMR 451.353	Interior Maintenance: Baseboard damaged outside visiting area

Left Side	Closed – No Inmates

Hallway

No Violations Noted

Shower

105 CMR 451.123*	Maintenance: Bench damaged

105 CMR 451.123	Maintenance: Soap scum on curtain

Slop Sink

No Violations Noted

Storage

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in all cells

Right Side	Closed – No Inmates

105 CMR 451.353	Interior Maintenance: Mold on ceiling

Shower

105 CMR 451.123	Maintenance: Soap scum on walls

Mop Closet

No Violations Noted

Storage

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in all cells

1st Floor

Bathroom

No Violations Noted

Small Break Area

No Violations Noted

Office # 1

No Violations Noted

Office (Near Bathroom)

No Violations Noted

Visitor’s Room

No Violations Noted

Left Side

105 CMR 451.350	Structural Maintenance: Main door near Officer’s area not rodent and weathertight

Shower

105 CMR 451.123	Maintenance: Soap scum on curtain

Storage

No Violations Noted

Mop Sink

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in all cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 1

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 4

Right Side

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in hallway

Shower

105 CMR 451.123*	Maintenance: Mold on ceiling

105 CMR 451.123	Maintenance: Soap scum on curtain

Mop Sink

No Violations Noted

Storage

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 26, 27, and 28

105 CMR 451.353*	Interior Maintenance: Wall vent clogged in all cells

A1 BLOCK

Main Area

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

3rd Floor

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in gallery hallway

Slop Sink

No Violations Noted

Shower

105 CMR 451.123	Maintenance: Wall vent dusty

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 50, 54, and 60

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 56

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 51, 55, 58, and 69

105 CMR 451.353*	Interior Maintenance: Ceiling dirty in cell # 49

2nd Floor

Slop Sink

No Violations Noted

Shower

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123*	Maintenance: Mold on walls

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 25

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 38

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 30

105 CMR 451.353*	Interior Maintenance: Ceiling dirty in cell # 40

105 CMR 451.103	Mattresses: Mattress damaged in cell # 27 and 40

1st Floor

Day Room

105 CMR 451.353*	Interior Maintenance: Ceiling stained

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Mold on ceiling

Slop Sink

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Shower

No Violations Noted

Mop Closet

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 5 and 11

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 20 and 21

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 4

105 CMR 451.103	Mattresses: Mattress damaged in cell # 16

A2 BLOCK

Main Area

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Soap scum on curtain

Slop Sink

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 49

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 53

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 62

2nd Floor

Shower

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Wall vent dusty

Slop Sink

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 38, 41, 42, and 45

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 40

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 46

1st Floor

Day Room

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Mold on ceiling

105 CMR 451.353*	Interior Maintenance: Ceiling stained

Shower

No Violations Noted

Mop Closet

No Violations Noted

Slop Sink

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 18 and 21

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 7 and 18

A3 BLOCK

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Wall vent dusty

Slop Sink

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 49

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 54 and 56

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 64

105 CMR 451.103	Mattresses: Mattress damaged in cell # 68

2nd Floor

Shower

105 CMR 451.123	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Mold on ceiling

Slop Sink

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 25 and 30

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 40

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 32, 36, 38, 42, and 43

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 33, 34, 37, 44, and 46

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 38 and 41

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 25 and 36

1st Floor

Day Room

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Mold on ceiling

Shower

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Mold on ceiling

Mop Closet

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Slop Sink

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 9 and 24

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 11

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 2

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 3, 13, 14, and 22

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 4, 5, 12, 16, and 20

1 BLOCK 			Unable to Inspect – Safety Concerns

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

No Violations Noted

Slop Sink

No Violations Noted

Cells

No Violations Noted

2nd Floor

Shower

No Violations Noted

Slop Sink

No Violations Noted

Cells

No Violations Noted

1st Floor

Shower

No Violations Noted

Slop Sink

No Violations Noted

Storage

No Violations Noted

Cells

No Violations Noted

2 BLOCK

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in all cells

105 CMR 451.353	Interior Maintenance: Walls dirty near gallery windows

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Wall stained

105 CMR 451.123*	Maintenance: Wall vent dusty

Slop Sink

105 CMR 451.353	Interior Maintenance: Wall vent dusty

105 CMR 451.353	Interior Maintenance: Debris in sink

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 34, 42, and 45

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 38 and 39

2nd Floor

Shower

105 CMR 451.123	Maintenance: Mold on wall

105 CMR 451.123	Maintenance: Debris on floor

105 CMR 451.123	Maintenance: Wall surface damaged

Slop Sink

No Violations Noted

Cells

No Violations Noted

1st Floor

Shower

105 CMR 451.123*	Maintenance: Mold on ceiling and walls

105 CMR 451.123	Maintenance: Mold in grout

105 CMR 451.123	Maintenance: Walls stained

Storage Area

No Violations Noted

Slop Sink

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 8 and 9

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 6 and 7

105 CMR 451.353*	Interior Maintenance: Wall dirty in cell # 13

105 CMR 451.353*	Interior Maintenance: Ceiling surface damaged in cell # 13

3 BLOCK

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in all cells

105 CMR 451.353*	Interior Maintenance: Wall dirty near gallery windows

105 CMR 451.353	Interior Maintenance: Ceiling dirty around ceiling vents

3rd Floor

Shower

Unable to Inspect – In Use

Slop Sink

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 40 and 42

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 43

105 CMR 451.103	Mattresses: Mattress damaged in cell # 38

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Mold in grout

105 CMR 451.123	Maintenance: Debris on floor

Slop Sink

No Violations Noted

Storage

Unable to Inspect – Locked

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 17

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 29

1st Floor

Shower

Unable to Inspect – In Use

Slop Sink

No Violations Noted

Storage

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 3, 11, and 14

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 1

105 CMR 451.103	Mattresses: Mattress damaged in cell # 1

4 BLOCK

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in main area

105 CMR 451.353	Interior Maintenance: Ceiling dirty around ceiling vents

3rd Floor

Shower

Unable to Inspect – In Use

Slop Sink

No Violations Noted

Cells

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 31, 42, and 44

105 CMR 451.103	Mattresses: Mattress damaged in cell # 34, 37, 38, 39, 41, and 45

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 34

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Walls stained

105 CMR 451.123*	Maintenance: Soap scum on curtain

Slop Sink

No Violations Noted

Cells

105 CMR 451.353*		Interior Maintenance: Wall paint damaged in cell # 19, 23, and 26

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 19

1st Floor

Shower

105 CMR 451.123*	Maintenance: Floor tiles damaged

105 CMR 451.123	Maintenance: Walls stained

105 CMR 451.123	Maintenance: Soap scum on curtain

Storage Area

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Slop Sink

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 3

5 BLOCK

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in all cells

3rd Floor

Shower

105 CMR 451.123	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Soap scum on curtain

Slop Sink

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 44

2nd Floor

Shower

No Violations Noted

Storage

No Violations Noted

Slop Sink

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 20

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 21

1st Floor

Shower

No Violations Noted

Storage Area

No Violations Noted

Slop Sink

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 4

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 6

6 BLOCK

105 CMR 451.353	Interior Maintenance: Wall vent dusty in all cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in main area

3rd Floor

Shower

105 CMR 451.123	Maintenance: Mold on walls

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on curtain

105 CMR 451.123	Maintenance: Walls stained

105 CMR 451.123	Maintenance: Debris on floor

Slop Sink

No Violations Noted

Cells

No Violations Noted

2nd Floor

Shower

105 CMR 451.123	Maintenance: Wall stained

105 CMR 451.123	Maintenance: Mold on ceiling

105 CMR 451.123	Maintenance: Debris on floor

Storage

Unable to Inspect – Locked

Slop Sink

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 24

105 CMR 451.103	Mattresses: Mattress damaged in cell # 18

1st Floor

Shower

No Violations Noted

Storage Area

No Violations Noted

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored on floor

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 10

7 BLOCK

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in all cells

105 CMR 451.353*	Interior Maintenance: Wall dirty near gallery windows

105 CMR 451.353	Interior Maintenance: Ceiling dirty nears ceiling vents

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on curtain

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 37

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on curtain

105 CMR 451.123*	Maintenance: Mold on wall and ceiling

Slop Sink

105 CMR 451.353*	Interior Maintenance: Mold on ceiling

Storage

Unable to Inspect – Locked

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 18 and 26

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 16

1st Floor

Shower

105 CMR 451.123*	Maintenance: Wall surface damaged

105 CMR 451.123*	Maintenance: Mold on ceiling

105 CMR 451.123*	Maintenance: Soap scum on curtain

105 CMR 451.123	Maintenance: Wall stained

Storage Area

No Violations Noted

Slop Sink

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

8 BLOCK

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in main area

105 CMR 451.353*	Interior Maintenance: Ceiling dirty near ceiling vents

105 CMR 451.353*	Interior Maintenance: Wall dirty near gallery windows

3rd Floor

Shower

105 CMR 451.123	Maintenance: Mold in corner molding

105 CMR 451.123	Maintenance: Ceiling dirty

Slop Sink

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 34

2nd Floor

Shower

105 CMR 451.123	Maintenance: Walls dirty

105 CMR 451.123	Maintenance: Walls stained

105 CMR 451.123	Maintenance: Ceiling dirty

Slop Sink

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 19, 21, 23, 27, and 29

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls and floor

105 CMR 451.123	Maintenance: Soap scum on curtain

Storage Area

No Violations Noted

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling surface damaged

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 2 and 5

105 CMR 451.353*	Interior Maintenance: Wall surface damaged in cell # 1, 7, 9, and 10

9 BLOCK – BMU

Nurse’s Station

Unable to Inspect – In Use

Staff Break Area

No Violations Noted

Bathroom

No Violations Noted

Office Area

No Violations Noted

Right Side

Shower

105 CMR 451.123	Maintenance: Wall dirty

Slop Sink Room

No Violations Noted

Storage

No Violations Noted

Cells

No Violations Noted

Group Room

No Violations Noted

Game Room

No Violations Noted

Visit Room

No Violations Noted

One-on-One Room

No Violations Noted

Bathroom (back)

No Violations Noted

Exit Door

No Violations Noted

Mental Health Office

No Violations Noted

Bathroom (in office)

105 CMR 451.360	Protective Measures: Rodent droppings observed

Left Side

Shower

No Violations Noted

Storage

No Violations Noted

Mop Closet

No Violations Noted

Cells

No Violations Noted

2nd Floor	Closed – No Inmates Housed

Right Side

105 CMR 451.353*	Interior Maintenance: Ceiling surface damaged in hallway

105 CMR 451.353*	Interior Maintenance: Mold on ceiling in hallway

Shower

No Violations Noted

Storage

No Violations Noted

Slop Sink

No Violations Noted

Cells

No Violations Noted

Left Side

Visits

No Violations Noted

Shower

No Violations Noted

Storage

No Violations Noted

Slop Sink

No Violations Noted

Cells

No Violations Noted

ORIENTATION	Closed – No Inmates Housed

Control

No Violations Noted

Bathroom

No Violations Noted

1st Floor

Common Area

No Violations Noted

Mop Room

No Violations Noted

Showers

No Violations Noted

Cells

No Violations Noted

2nd Floor

Showers

No Violations Noted

Storage Closet

No Violations Noted

Cells

No Violations Noted

INDUSTRIES

Office

No Violations Noted

Laundry

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Store House

105 CMR 451.360	Protective Measures: Rodent droppings observed

105 CMR 451.350	Structural Maintenance: Large garage door not rodent and weathertight

Bathroom

No Violations Noted

Overflow Area

No Violations Noted

Office

No Violations Noted

Recycling Area

No Violations Noted

Plate Shop

105 CMR 451.344*	Illumination in Habitable Areas: Lights not functioning properly, multiple lights outs

105 CMR 451.350*	Structural Maintenance: Garage door not rodent and weathertight

Break Room

105 CMR 451.360	Protective Measures: Rodent droppings observed

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

School

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

105 CMR 451.141*	Screens: Screens missing in windows

Hallway

No Violations Noted

Office

No Violations Noted

Copy Room

No Violations Noted

DDU

Outer Control

No Violations Noted

Bathroom (Inside control room)

105 CMR 451.123*	Maintenance: Floor tiles damaged

Tool Closet (Inside control room)

No Violations Noted

Loading Dock Area

No Violations Noted

Chemical Closet

No Violations Noted

Storage Closet

No Violations Noted

Tool Closet

No Violations Noted

Visits

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Contact Visits

No Violations Noted

Non-Contact Visits

No Violations Noted

Staff Corridor

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Emergency Response Room

No Violations Noted

Muster Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with                105 CMR 590.000, hot water temperature recorded at 1350F at hand wash sink

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with                105 CMR 590.000, interior of toaster oven dirty

Inmate Hallway

Strip Cell

No Violations Noted

Barbershop

No Violations Noted

Mattress Storage

No Violations Noted

Pantry

No Violations Noted

Administration Area

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Conference Room

No Violations Noted

SAU Office

No Violations Noted

Captain’s Office

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Janitor’s Closet

No Violations Noted

New Spectrum Room

No Violations Noted

Inner Control

Bathroom

No Violations Noted

C2				Closed – No Inmates Housed

Janitor’s Closet

No Violations Noted

Showers

No Violations Noted

Cells

No Violations Noted

C1	Closed – No Inmates Housed

Janitor’s Closet

No Violations Noted

Showers

No Violations Noted

Cells

No Violations Noted

B2

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Floor paint damaged outside showers

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1

Cells

No Violations Noted

B1

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1

105 CMR 451.123	Maintenance: Soap scum on the floor in shower # 1

Cells

No Violations Noted

A2

Lieutenant’s Office

No Violations Noted

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 1 and 2

Cells

No Violations Noted

A1

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1200F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower handle leaks when turned on in shower # 1

Cells

No Violations Noted

C4

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 1 and 2

Cells

No Violations Noted

C3

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on wall in shower # 1

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 1

Cells

No Violations Noted

B4

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Standing water in shower # 2

Cells

No Violations Noted

B3

Janitor’s Closet

No Violations Noted

Showers

No Violations Noted

Cells

No Violations Noted

A4

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Standing water outside showers

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1 and 2

Cells

No Violations Noted

A3

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1 and 2

105 CMR 451.123	Maintenance: Standing water in shower # 2

Cells

No Violations Noted

Triage

No Violations Noted

Medical Records

No Violations Noted

Dentist

No Violations Noted

D-Wing

Cells

105 CMR 451.341*	Natural Light in Cell: Natural light not visible from cells

Shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

105 CMR 451.123	Maintenance: Ceiling vent dusty

Property Office

105 CMR 451.353	Interior Maintenance: Ceiling vent making loud noise

Observations and Recommendations

- The Inmate population was 723 at the time of inspection.

- At the time of inspection:

  - Tower # 2, 4, 6, and 7 were no longer in use;

  - Cell Block # 1 was closed for a security search and was not inspected; and

  - The Orientation Unit was not fully inspected as the unit was closed due to poor living conditions and no inmates were housed. The CSP remains concerned with the existing health and safety issues and any future occupancy until the unit meets all health and safety standards pursuant to 105 CMR 451.000 and other relevant standards.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale														Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Steven Bonilla, EHSO  								(electronic copy)

Robin L. Chappell, MS, RS, Health Director, Walpole Board of Health  		(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate