The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street

West Boylston, MA 01583

Telephone: 508-792-7880, ext. 2322

Facsimile: 508-792-7706

TTY: 508-835-9796

Amy.M.Riordan@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

May 5, 2011

Peter Pepe, Superintendent

M.C.I. Cedar Junction

P.O. Box 100

South Walpole, MA 02071

Re: Facility Inspection

Dear Superintendent Pepe:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of MCI Cedar Junction on April 20, 21 and 22, 2011 accompanied by Mike Delanoyde, CO1, and Brad Gilman, EHSO. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

PERIMETER TOWERS

P Tower

105 CMR 451.350	Structural Maintenance: Windows broken

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Tower 1

105 CMR 451.350*	Structural Maintenance: Ceiling leaks

FC 4-204.112(A)*		Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.350	Structural Maintenance: Exterior stairs damaged

105 CMR 451.141	Screens: Screens missing from windows

Tower 2

105 CMR 451.350*	Structural Maintenance: Ceiling leaks

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.123	Maintenance: Sink is generally dirty

105 CMR 451.141	Screens: Screens damaged

Tower 3

105 CMR 451.350	Structural Maintenance: Ceiling leaks

105 CMR 451.350	Structural Maintenance: Window cracked

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Tower 4

105 CMR 451.350	Structural Maintenance: Windows cracked

105 CMR 451.350	Structural Maintenance: Ceiling leaks

105 CMR 451.350	Structural Maintenance: Floor damaged

Tower 5

105 CMR 451.350*	Structural Maintenance: Ceiling leaks

105 CMR 451.350*	Structural Maintenance: Exterior stairs damaged

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Floor damaged

Tower 6

105 CMR 451.350*	Structural Maintenance: Ceiling leaks

105 CMR 451.350*	Structural Maintenance: Exterior stairs damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.141	Screens: Screen damaged

Tower 7

105 CMR 451.350*	Structural Maintenance: Ceiling leaking/damaged

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Tower 8

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.353*	Interior Maintenance: Heater damaged

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350	Structural Maintenance: Ceiling leaks

105 CMR 451.350	Structural Maintenance: Window cracked

105 CMR 451.350	Structural Maintenance: Baseboard damaged

105 CMR 451.353	Interior Maintenance: Cabinet under sink doesn’t close properly

OUTER CONTROL

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

Bathroom (inside control)

No Violations Noted

Vending Area

FC 4-601.11(c)		Cleaning of Equipment and Utensils, Objective: Vending machine drawer dirty

Female Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 840F

105 CMR 451.123*	Maintenance: Lock does not properly secure the door on the stall

Male Bathroom

105 CMR 451.123*	Maintenance: Damaged tiles

Handicapped Bathroom

No Violations Noted

Male Locker Room

105 CMR 451.123	Maintenance: Sink damaged

Female Locker Room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles in hall to female locker room damaged and water stained

105 CMR 451.350*	Structural Maintenance: Wall unfinished near sink in corner

105 CMR 451.123*	Maintenance: Shower tiles damaged

Female Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 710F

Superintendent’s Investigators Office/Paralegal

No Violations Noted

VISITING ROOM

Non-Contact Visits

105 CMR 451.350	Structural Maintenance: Windows broken

105 CMR 451.141	Screens: Screen damaged

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1370F

Contact Visits

No Violations Noted

INNER CONTROL

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained

Bathroom

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.123	Maintenance: Standing water left in bucket

FOOD SERVICE

Dining Area

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

Inmate Bathroom

No Violations Noted

Serving Area

FC 5-205.11(B)*	Plumbing System, Operations and Maintenance: Handwashing sink used for an	unapproved purpose, dishes in handwash sink

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution lower than 	the manufacturers recommended concentration

Kettle Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice machine leaking

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, a lot of debris behind the ice machine

Tray Room

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, sink behind dishwasher leaking

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged under dishwasher

Bakery

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on diet cooler

FC 4-202.15	Design and Construction, Can Openers: Cutting or piercing parts of can opener dirty, debris left on opener

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, food carts are dirty

Pot Room

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, walls dirty under sink

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, a lot of standing water left on the floor

Dry Storage

No Violations Noted

Paper Products

FC 6-202.15(A)(2)	Design, Construction, and Installation; Functionality: Windows not weathertight and structurally sound, windows cracked

Prep Area

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, 3 bay sink leaking

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, fan dirty

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall damaged

Tool Crib

No Violations Noted

Back Room

105 CMR 451.350*	Structural Maintenance: Windows cracked

Box 1

No Violations Noted

Box 2

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up

Box 3

FC 6-501.11*	Maintenance and Operation; Repairing: Equipment not in good repair, ice on floor and ceiling

Box 4

No Violations Noted

Chemical Room

No Violations Noted

Loading Dock

FC 6-202.15(A)(2)	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Exterior

FC 5-501.116(B)	Refuse, Recyclables, and Returnables: Trash receptacles not cleaned after use, pig swill buckets

Office

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

Fire Hose Room

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

Staff Bathroom

No Violations Noted

Store House

Office

No Violations Noted

Dry Goods

105 CMR 451.350*	Structural Maintenance: Windows cracked

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Annex

FC 3-304.12(A)*	Preventing Contamination from Utensils: Service utensils handle stored below the food and container line, scoop stored in sugar and other spices

Staff Kitchen

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, steamer leaking

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, warmer dirty

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Cups not stored in the inverted position

FC 4-602.13	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces dirty, 	exterior of the warmer very dirty

Dining Room

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles missing

CHEMICAL ROOM

No Violations Noted

RECORDS

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

HSU

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1350F

Triage

No Violations Noted

Med Room

105 CMR 451.350	Structural Maintenance: Ceiling leaks over sink

Administration Area

No Violations Noted

Supply Closet

No Violations Noted

Dark Room

No Violations Noted

Break Room

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Dentist

No Violations Noted

Cell #3

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked

NEW MAN SECTION

Cell C

105 CMR 451.353	Interior Maintenance: Food left in cell

Cell F

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Handwash Sink

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.350	Structural Maintenance: Wall damaged

Clothing/Break Room

105 CMR 451.353	Interior Maintenance: Dryer not vented to the exterior

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

PROPERTY

105 CMR 451.350	Structural Maintenance: Ceiling leaks when it rains

Male Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks

105 CMR 451.123	Maintenance: Floor paint peeling

Female Bathroom

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Office

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Supply Closet

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Property Storage

105 CMR 451.350	Structural Maintenance: Ceiling damaged in the corner near the air conditioner

UNIT MANAGEMENT

Offices

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Programs

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.123	Maintenance: Holes in wall near plumbing

AUDITORIUM

105 CMR 451.350*	Structural Maintenance: Damaged and missing ceiling tiles

105 CMR 451.350*	Structural Maintenance: Some ceiling tiles water stained

105 CMR 451.350	Structural Maintenance: Ceiling damaged above stage

Bathroom

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, cold water constantly running

105 CMR 451.353	Interior Maintenance: Uncovered junction box

DOS OFFICE

FC 4-102.11(B)(2)*		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination

Bathroom

No Violations Noted

GYM

105 CMR 451.350	Structural Maintenance: Wall damaged in the corridor

Bathroom

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123*	Maintenance: Handwash sink dirty

105 CMR 451.123*	Maintenance: Light not functioning properly

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Chemical Storage

No Violations Noted

Lower Gym

105 CMR 451.350	Structural Maintenance: Wall paint peeling

BARBER SHOP

105 CMR 451.353	Interior Maintenance: Outlet not secured to wall

Handwash Sink

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.353	Interior Maintenance: Sink stopper broken

CENTRAL CORRIDOR

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Male Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Baseboard damaged

Female Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

LIBRARY

105 CMR 451.350	Structural Maintenance: Walls leak in storage area

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water doesn’t work

Mop Closet

105 CMR 451.353	Interior Maintenance: Missing drain cover on sink

1 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.130*	Water: Shower water temperature 1170F

105 CMR 451.123	Maintenance: Ceiling vent dusty

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #44

105 CMR 451.353	Interior Maintenance: Switch cover not secure in cell #33

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks when it’s turned on

Cells

No Violations Noted

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Floor damaged

Storage Area

No Violations Noted

Slop Sink

No Violations Noted

Cells

No Violations Noted

2 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged by light in cell #43

105 CMR 451.353*	Interior Maintenance: Electrical outlet not secured to the wall in cell #36, 37 & 38

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

Slop Sink

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell #19 and 24

105 CMR 451.350	Structural Maintenance: Wall damaged near light

105 CMR 451.353	Interior Maintenance: Electrical outlet not secure to the wall in #19 and 26

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

Storage Area

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No handwash soap available

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks

105 CMR 451.350	Structural Maintenance: Wet mop stored in bucket

Cells

105 CMR 451.350	Structural Maintenance: Paint peeling in cell #5

3 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Walls dirty

Slop Sink

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Wall paint peeling in cell #34

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking

105 CMR 451.123	Maintenance: Walls dirty

Slop Sink

105 CMR 451.350	Structural Maintenance: Floor paint peeling

Cells

105 CMR 451.350*	Structural Maintenance: Wall damagec in cell #21

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to wall in cell #18 and 20

Storage

105 CMR 451.350	Structural Maintenance: Wall damagec

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.353	Interior Maintenance: Light cover loose

Storage Area

No Violations Noted

Slop Sink

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Paint peeling

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell #11

4 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaks

105 CMR 451.123	Maintenance: Tile damagec

Slop Sink

105 CMR 451.350	Structural Maintenance: Floor paint peeling

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.353	Interior Maintenance: Missing electrical cover in cell #41

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Damaged tiles

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower leaks

105 CMR 451.123	Maintenance: Paint peeling

Slop Sink

105 CMR 451.350	Structural Maintenance: Floor paint peeling

Cells

No Violations Noted

Storage

105 CMR 451.353	Interior Maintenance: Light doesn’t work

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Damaged tiles

Storage Area

No Violations Noted

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks

105 CMR 451.350	Structural Maintenance: Floor paint peeling

Cells

105 CMR 451.350	Structural Maintenance: Paint peeling in cell #3

5 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.353*	Interior Maintenance: Toilet paper on block walls

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Missing shower head

105 CMR 451.123	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Floor paint peeling

Slop Sink

105 CMR 451.350	Structural Maintenance: Floor paint peeling

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell #36 and 37

105 CMR 451.103	Mattresses: Mattress damaged in cell #41

105 CMR 451.350	Structural Maintenance: Wall damage at light in cell #34

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Walls dirty

Slop Sink

105 CMR 451.350	Structural Maintenance: Floor paint peeling

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell #24

105 CMR 451.103	Mattresses: Mattress damagec in cell #22

105 CMR 451.353	Interior Maintenance: Electrical outlet not secure to the wall in cell #20, 22 and 28

Storage

105 CMR 451.350	Structural Maintenance: Wall paint peeling

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Walls dirty

Storage Area

105 CMR 451.353	Interior Maintenance: Mop stored against the wall

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks when it’s turned on

Cells

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell #2, 7, 9 and 11

6 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.353*	Interior Maintenance: Toilet paper on block walls

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell #31, 39 and 40

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Floor damaged

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks when turned on

105 CMR 451.353	Interior Maintenance: Missing backflow cover

105 CMR 451.350	Structural Maintenance: Paint peeling

Storage

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Wall damagec in cell #22

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell #19 and 20

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

Storage Area

No Violations Noted

Slop Sink

105 CMR 451.350	Structural Maintenance: Floor paint peeling

Cells

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell #2, 5, 7, 13 & 14

7 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Walls dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

Cells

105 CMR 451.353*	Interior Maintenance: Electrical outlet not secured to the wall in cell #33, 39 and 43

105 CMR 451.350*	Structural Maintenance: Wall damagec in cell #31

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Slop Sink

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell #22

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell #24

Storage

No Violations Noted

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower leaks

105 CMR 451.123*	Maintenance: Mold on walls

105 CMR 451.123	Maintenance: Wall damagec

Storage Area

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Slop Sink

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell #6, 9 & 12

BLOCK 8

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320	Cell Size: Inadequate floor space in cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Walls dirty

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks when turned on

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #35

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell #31 and 38

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell #37

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Missing shower head

105 CMR 451.123	Maintenance: Floor damaged

Slop Sink

105 CMR 451.350	Structural Maintenance: Floor paint peeling

Cells

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell #21 & 25

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Missing shower head

105 CMR 451.123	Maintenance: Floor damaged

Storage Area

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks when turned on

Cells

105 CMR 451.350	Structural Maintenance: Ceiling leaks in cell #2

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell #1, 2, 3 & 10

9 BLOCK – BMU

Staff Area

No Violations Noted

Bathroom

No Violations Noted

Office Area

105 CMR 451.350	Structural Maintenance: Paint peeling under window

Right Side

Shower

105 CMR 451.123	Maintenance: Missing shower head

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Floor damaged

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Missing drain cover to sink

Storage

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Cells

No Violations Noted

Group Room

No Violations Noted

Game Room

105 CMR 451.353	Interior Maintenance: Uncovered junction box

Bathroom (back)

No Violations Noted

Exit Door

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Office

No Violations Noted

Bathroom (in office)

105 CMR 451.123	Maintenance: Sink dirty

105 CMR 451.123	Maintenance: Missing light cover

One on One Room

No Violations Noted

Left Side

Cells

No Violations Noted

Storage

105 CMR 451.353	Interior Maintenance: Uncovered junction box

Mop Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Sink drain cover missing

Shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Missing shower head

105 CMR 451.123	Maintenance: Floor damaged

2nd Floor

Right Side – not in use

Left Side

Cells

No Violations Noted

Visits

No Violations Noted

10 BLOCK

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

2nd Floor

Bathroom

No Violations Noted

Left Side

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Tile damaged

Visiting Area - Visitors

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Missing junction box

Visiting Area – Inmates

105 CMR 451.350	Structural Maintenance: Tile damaged

Law Library

No Violations Noted

Storage

No Violations Noted

Mop Room

105 CMR 451.353	Interior Maintenance: Mop stored on floor

Right Side

105 CMR 451.350	Structural Maintenance: Windows broken

Shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Tile damaged

Mop Closet

No Violations Noted

Storage

105 CMR 451.350	Structural Maintenance: Paint peeling

1st Floor

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

Left Side

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Peeling paint

Officers Office

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing

Storage

No Violations Noted

Mop Sink

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Right Side

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in cell #21 and 22

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Mop Sink

No Violations Noted

Storage

No Violations Noted

A1 BLOCK

3rd Floor

Slop Sink

105 CMR 451.350	Structural Maintenance: Floor damaged

Cells

105 CMR 451.350*	Structural Maintenance: Wall paint peeling in cell #66

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in cell #63 & 69

105 CMR 451.350	Structural Maintenance: Wall damaged in cell #65

105 CMR 451.102	Pillows and Linens: Linens damaged in cell #56 and 58

105 CMR 451.350*	Structural Maintenance: Ceiling leaking in cell #66 & 68

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Peeling paint

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Ceiling damaged

2nd Floor

Slop Sink

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in cell #38

105 CMR 451.350	Structural Maintenance: Wall blistering in cell #41

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in cell #39

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell #33

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Missing shower dial

105 CMR 451.123	Maintenance: Ceiling damaged

1st Floor

Day Room

105 CMR 451.350	Structural Maintenance: Ceiling damaged/rusted

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell #18, 23 & 24

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Peeling paint

105 CMR 451.123	Maintenance: Floor damaged

Mop Closet

No Violations Noted

A2 BLOCK

105 CMR 451.353*	Interior Maintenance: Vents blocked in cells

3rd Floor

Cells

105 CMR 451.350	Structural Maintenance: Walls leaking in cell #62, 67 and 69

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in cell #51

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell #54

105 CMR 451.350	Structural Maintenance: Wall damaged in cell #58, 61, 64, 65, 72

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell #62, 66, 68 and 70

Showers

105 CMR 451.123	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Walls unfinished

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

2nd Floor

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell #37, 46, 47 and 48

105 CMR 451.350	Structural Maintenance: Paint peeling in cell #25, 26, 33, 34, 35 & 38

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Unfinished wall

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

1st Floor

Day Room

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #23

105 CMR 451.350	Structural Maintenance: paint peeling in cell #15, 18 and 23

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

Mop Closet

105 CMR 451.353	Interior Maintenance: Mop stored against the wall

105 CMR 451.350	Structural Maintenance: Wall damaged

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing drain cover

A3 BLOCK

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

3rd Floor

Cells

105 CMR 451.350	Structural Maintenance: Window shattered in cell #66

105 CMR 451.350	Structural Maintenance: Window cracked in cell #64

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling in cell #62

Showers

In Use/Unable to Inspect

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaks when it’s on

2nd Floor

Cells

105 CMR 451.350*	Structural Maintenance: Paint peeling in cell #35, 37, 38 and 44

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Ceiling damaged

Slop Sink

105 CMR 451.353	Interior Maintenance: Light not working

1st Floor

Day Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Cells

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell #19

105 CMR 451.350	Structural Maintenance: Paint peeling in cell #2, 10 and 23

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Vent dusty

Mop Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Slop Sink

No Violations Noted

ORIENTATION

105 CMR 451.353*	Interior Maintenance: Missing junction box in cells

105 CMR 451.350	Structural Maintenance: Floor damaged at entry

Control

105 CMR 451.350*	Structural Maintenance: Wall damaged

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Bathroom

No Violations Noted

1st Floor

Mop Room

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Window damaged

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Shower dial loose in handicapped shower

Cells

105 CMR 451.350	Structural Maintenance: Paint peeling in cell #111

105 CMR 451.103	Mattresses: Mattress damage in cell #113

105 CMR 451.353	Interior Maintenance: Missing electrical cover in cell #112

2nd Floor

Cells

105 CMR 451.350	Structural Maintenance: Paint peeling in cell #209, 221, 231, 232 and 233

105 CMR 451.350	Structural Maintenance: Window cracked in cell #202, 212 and 218

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.350	Structural Maintenance: Water leaking from ceiling

Mop Room

105 CMR 451.350	Structural Maintenance: Paint peeling

INDUSTRIES

Office

No Violations Noted

Laundry

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Store House

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Bathroom

No Violations Noted

Plate Shop

Break Room

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-102.11(B)(2)*		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination, uncovered plastic utensils

FC 3-305.11(A)(3)		Preventing Contamination from Premises: Food stored in an inappropriate location, 				food product stored less than 6 inches from the floor, cups stored on the floor

Inmate Bathroom

105 CMR 451.123*	Maintenance: 1 toilet out of order

Staff Bathroom

No Violations Noted

School

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Baseboard damage

Staff Bathroom

No Violations Noted

Hallway

105 CMR 451.350	Structural Maintenance: Windows cracked

105 CMR 451.350	Structural Maintenance: Window leaks

Office

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

DDU

Outer Control

Bathroom (inside control)

105 CMR 451.123*	Maintenance: Unfinished wall

105 CMR 451.353*	Interior Maintenance: Vent dusty

Loading Dock Area

FC 5-501.110*	Refuse, Recyclables, and Returnables; Operations and Maintenance: Refuse storage not inaccessible to insects and rodents, litter and debris scattered around dumpster area

Tool Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Laundry Room

No Violations Noted

Chemical Closet

No Violations Noted

Visits

Female Bathroom

105 CMR 451.353*	Interior Maintenance: Drain files observed

Male Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Staff Corridor

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Emergency Response Room

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

Break Room

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-601.11(c)*		Cleaning of Equipment and Utensils, Objective: Vending machine drawer dirty

FC 6-501.12*	Cleaning, Frequency and Restrictions: Facility not kept clean, debris behind the vending machines

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, microwave broken

FC 6-201.11*			Floors, Walls and Ceilings: Floor not easily cleanable, floor damaged by sink

FC 6-501.11	Maintenance and Operation; Repairing: Equipment not in good repair, sink damaged   underneath

FC 6-501.11	Maintenance and Operation; Repairing: Equipment not in good repair, lights not working properly

Administration Area

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Conference Room

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 500F

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-904.13(A)			Protection of Clean Items, Handling: Tableware not protected from contamination, not 				stored in the inverted position

C2

105 CMR 451.360	Protective Measures: Ants observed outside cell #144

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Missing drain cover

Showers

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Peeling paint

105 CMR 451.123	Maintenance: Wall damaged

C1

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Drain cover loose

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Peeling paint

105 CMR 451.123*	Maintenance: Wall damaged

B2

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Missing drain cover

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Wall damaged

B1

105 CMR 451.360	Protective Measures: Ants observed outside cell #102

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Floor drain cover missing

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123*	Maintenance: Wall damaged

A2

Janitor’s Closet

Unable to Inspect

Showers

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Wall damaged

A1

105 CMR 451.360	Protective Measures: Ants observed in cell #172

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain clogged

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Ceiling damaged

C4

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain clogged

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.130*	Hot Water: Shower water temperature 1250F

105 CMR 451.123	Maintenance: Paint peeling

C3

105 CMR 451.103	Mattresses: Mattress damage in cell #222

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain clogged

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Vents dusty

B4

105 CMR 451.102	Pillows and Linens: Insufficient pillow and linens available for inmates in cell #213

105 CMR 451.103	Mattresses: Mattress damage in cell #219

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain clogged

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Vents dusty

B3

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Missing drain cover

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.130*	Hot Water: Shower water temperature 1300F

A4

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Hole in wall

A3

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Missing drain cover

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Peeling paint

Triage

No Violations Noted

Dentist

No Violations Noted

D-Wing

No Violations Noted

Observations and Recommendations

- The inmate population was 777 at the time of inspection

- Access road along the perimeter between tower 2 and 4 is badly damaged, the Department recommends this be re-paved

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Riordan

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Acting Commissioner, DOC

Brad Gilman, EHSO

Walpole Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS