The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-695-7447

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

December 19, 2019

Michael Rodrigues, Superintendent

MCI Concord

965 Elm Street

P.O. Box 9106

Concord, MA 01742		(electronic copy)

Re: Facility Inspection – MCI Concord

Dear Superintendent Rodrigues:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of MCI Concord on December 11 and 12, 2019 accompanied by Robert Montalvo,

Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 93 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Amy Medeiros

Environmental Health Inspector, CSP, BEH

cc: 	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   					(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Robert Montalvo, EHSO  							(electronic copy)

Susan G. Rask, RS, Health Director, Concord Board of Health			(electronic copy)

Clerk, Massachusetts House of Representatives				(electronic copy)

Clerk, Massachusetts Senate						(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

A BUILDING

Lobby

No Violations Noted

Janitor’s Closet

No Violations Noted

Female Bathroom

105 CMR 451.123	Maintenance: Ceiling light out

Male Bathroom

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, urinal out-of-order

Administration Area

Male Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink leaking

Female Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, bubbler out-of-order outside bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water handle leaking at handwash sink # 2

105 CMR 451.126	Hot Water: Hot water temperature recorded at 910F

Offices

No Violations Noted

Coffee Station

No Violations Noted

Trap Area

No Violations Noted

Holding Tank

Cell A

No Violations Noted

Cell B

No Violations Noted

B BUILDING

Hallway (on Right)

Front Visitor’s Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Slop Sink Closet

105 CMR 451.353*		Interior Maintenance: Light shield missing

Staff Bathroom

No Violations Noted

Training Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

Computer Room

No Violations Noted

Visiting Room

No Violations Noted

Back Room (on Right)

No Violations Noted

Treasurer’s Office Area

No Violations Noted

Inmate Bathroom (Urinalysis Bathroom)

No Violations Noted

Treasurer’s Bathroom

No Violations Noted

Treasurer’s Kitchenette

No Violations Noted

I.P.S.

Unable to Inspect – Locked

B Corridor

Vending Machines

No Violations Noted

Inmate Bathroom

No Violations Noted

Slop Sink Closet

No Violations Noted

Male Staff Bathroom

Unable to Inspect – In Use

Female Staff Bathroom

No Violations Noted

Offices

No Violations Noted

B Building Control

No Violations Noted

Control Bathroom

No Violations Noted

Records (2nd floor)

105 CMR 451.123	Maintenance: Light out in Male Bathroom

C BUILDING

Unable to Inspect – Closed

RHU

Property

No Violations Noted

Search Room # C1-3

No Violations Noted

Search Room # C1-4

No Violations Noted

Cell Extraction Room # C1-6

No Violations Noted

Lieutenant Office # C1-7

No Violations Noted

Sergeant Office # C1-8

No Violations Noted

Property # C1-9

No Violations Noted

Medical Exam Room # C1-10

No Violations Noted

Staff Bathroom # C1-11

No Violations Noted

Slop Sink Room # C1-62

No Violations Noted

Control

No Violations Noted

Bathroom # C1-21B

No Violations Noted

First Tier

Showers

105 CMR 451.123*		Maintenance: Soap scum on floor in shower # C1-24 and C1-26

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # C1-24

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # C1-61

105 CMR 451.123		Maintenance: Soap scum on floor in shower # C1-61

105 CMR 451.123		Maintenance: Soap scum on walls in shower # C1-61

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # C1-28, C1-35, and C1-36

105 CMR 451.353	Interior Maintenance: Paint damaged on heater in cell # C1-40

Staff Break Room # C1-22

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, utensils left uncovered

Law Library # C1-23

No Violations Noted

Recreational Decks

No Violations Noted

Second Tier

Slop Sink Room # C2-62

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Light out in shower # C2-60

105 CMR 451.123	Maintenance: Floor paint damaged in shower # C2-25

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # C2-55

Interview Room # C2-22

No Violations Noted

Law Library # C2-23

No Violations Noted

Recreational Deck

No Violations Noted

D BUILDING

Control Area

No Violations Noted

Food Service Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface rough throughout kitchen

Storage Area

No Violations Noted

Mop Room

No Violations Noted

Chemical Closet

No Violations Noted

Milk Cooler # 2

No Violations Noted

Leftovers Cooler

No Violations Noted

Produce # 3

No Violations Noted

Vegetable Freezer & Paper Closet

No Violations Noted

Office

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Tool Storage Room (outside Inmate Bathroom)

No Violations Noted

Freezer # 6

No Violations Noted

Refrigerator # 5

No Violations Noted

Ice Machine

No Violations Noted

Bakery Storage

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tile damaged

Halal Freezer

No Violations Noted

Kosher Freezer

No Violations Noted

Pots & Pans Room

No Violations Noted

Reach-In Warmers

No Violations Noted

South Side

Kettles & Ovens Hood Area

No Violations Noted

Handwash Sink

No Violations Noted

Tray Prep

No Violations Noted

Traulsen Cooler

No Violations Noted

Old Food Service Line

No Violations Noted

Food Warmers

No Violations Noted

South Side Dining Room

Unable to Inspect – No Longer Used

North Side

Hoods

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, hood ventilation system was not working

Handwash Sink

No Violations Noted

Tray Prep Tables

No Violations Noted

Food Service Line

No Violations Noted

Food Warmers

No Violations Noted

Mechanical Warewashing Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged throughout room

North Side Dining Room

No Violations Noted

E BUILDING

Unable to Inspect – Closed

H BUILDING

Basement

H-1 Area

Unable to Inspect – No Longer Used

Workout Room

No Violations Noted

Inmate Bathroom

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, leak underneath handwash sink

105 CMR 451.126		Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink

105 CMR 451.123	Maintenance: Floor dirty

Computer Rooms

No Violations Noted

Staff Bathroom

No Violations Noted

First Floor

Control

No Violations Noted

Control Bathroom

No Violations Noted

Gym

105 CMR 451.344*	Illumination in Habitable Areas: Lights not functioning properly, several lights out

Recreational Office

No Violations Noted

Mop Closet (in Gym)

105 CMR 451.353	Interior Maintenance: Mop stored upside down

CO Office

No Violations Noted

Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water handle leaking at handwash sink

Inmate Bathroom

105 CMR 451.123	Maintenance: Toilet # 1 out-of-order

105 CMR 451.123	Maintenance: Grout missing between floor tiles in stall # 1

Slop Sink Room

No Violations Noted

Barber Shop

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

105 CMR 451.353	Interior Maintenance: Light shield not secured to ceiling

Barber Shop Closet

No Violations Noted

Library

No Violations Noted

Library Office

No Violations Noted

Library Bathroom

No Violations Noted

Canteen

Unable to Inspect – Locked

Storage

Unable to Inspect – Locked

Second Floor

Inmate Bathroom

105 CMR 451.126*		Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 2

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water bubbler near Female Staff Bathroom out-of-order

Slop Sink Room

No Violations Noted

Inmate Bathroom

Unable to Inspect – No Longer Used

Classrooms

Rooms

Unable to Inspect – In Use

Law Library

105 CMR 451.141*		Screens: Screens missing

I BUILDING

Control

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Handwash Sink Area

No Violations Noted

Staff Bathroom

No Violations Noted

Side Office

Unable to Inspect – Locked

Storage

No Violations Noted

Back Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1020F

Back Inmate Bathroom

No Violations Noted

Back Storage Area

Unable to Inspect – Locked

Paint Shop Inmate Bathroom

No Violations Noted

Tool Control Officer’s Bathroom

Unable to Inspect – Locked

Director of Engineering Office

No Violations Noted

Director of Engineering Bathroom

No Violations Noted

Back Staff Bathroom

No Violations Noted

J BUILDING

J Control Corridor

Female Staff Bathroom

105 CMR 451.126*		Water Supply: Discolored water observed at handwash sink

Male Staff Bathroom

105 CMR 451.123	Maintenance: Wall damaged above sink

Janitor’s Closet

No Violations Noted

Building J Control

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Control Bathroom

105 CMR 451.123*	Maintenance: Floor dirty

Staff Kitchen & Dining Room

Kitchen Area

Inmate Bathroom

No Violations Noted

Pantry

No Violations Noted

Kettle Room

No Violations Noted

2-Compartment Sink

No Violations Noted

Handwash Sink

No Violations Noted

Dishwashing Area

No Violations Noted

3-Compartment Sink

No Violations Noted

Food Service Line

No Violations Noted

Beverage Air Refrigerator

No Violations Noted

Ice Machine

No Violations Noted

Back Hallway

No Violations Noted

Staff Bathroom

No Violations Noted

Refrigerators and Freezer Units

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets dirty

Baking and Prep Room

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

Walk-in Refrigerator

No Violations Noted

Outside-Dry Storage

No Violations Noted

Dining Room

No Violations Noted

Janitor’s Closet

No Violations Noted

Second Floor

Phase II Mental Health

Disciplinary Office

Unable to Inspect – In Use

Inmate Bathroom-Waiting Area

No Violations Noted

Staff Bathroom (across from Waiting Area)

105 CMR 451.124		Water Supply: No cold water supplied to handwash sink

Janitor’s Closet

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

Staff Bathroom (next to Janitor’s Closet)

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

105 CMR 451.126	Hot Water: Hot water temperature recorded at 580F

Office/Break Area

No Violations Noted

Interview Rooms

No Violations Noted

Offices

No Violations Noted

Classrooms

No Violations Noted

Phase II Classification (through secured door)

Staff Break Room

No Violations Noted

Female Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 950F at handwash sink

Janitor’s Closet

No Violations Noted

Male Staff Bathroom

No Violations Noted

Conference Room

No Violations Noted

Offices

No Violations Noted

Female Staff Bathroom

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Janitor’s Closet

No Violations Noted

Male Staff Bathroom

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

J Housing Units

Unit J1

105 CMR 451.321*		Cell Size: Inadequate floor space in cells

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling dirty by wall vent

Slop Sink

No Violations Noted

Staff Bathroom

No Violations Noted

CPO Office

No Violations Noted

Staff Office

No Violations Noted

First Tier

Cells

No Violations Noted

Showers

Unable to Inspect – In Use

Second Tier

Cells

No Violations Noted

Showers			(Unable to Inspect Shower # 1 – In Use)

105 CMR 451.123		Maintenance: Caulking damaged in shower # 2

105 CMR 451.123*		Maintenance: Floor tiles damaged in shower # 2

Third Tier

Cells

No Violations Noted

Showers

105 CMR 451.123*		Maintenance: Floor tiles damaged in shower # 1

105 CMR 451.123*	Maintenance: Wall board damaged in shower # 1

105 CMR 451.123		Maintenance: Caulking damaged in shower # 1 and 2

105 CMR 451.123		Maintenance: Floor tiles damaged in shower # 2

Unit J2

105 CMR 451.321*		Cell Size: Inadequate floor space in cells

Common Area

No Violations Noted

Staff Bathroom

105 CMR 451.123*		Maintenance: Floor paint damaged

CPO Office

No Violations Noted

Slop Sink Closet

No Violations Noted

First Tier

Cells

105 CMR 451.330	Room Temperature: Room temperature 600F in cell # 5

Showers

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1

105 CMR 451.123	Maintenance: Paint damaged on door frame in shower # 1

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 2

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, shower # 2 was leaking

105 CMR 451.123	Maintenance: Bars of soap on floor in shower # 2

Second Tier

Cells

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged in cell # 21 and 27

105 CMR 451.353		Interior Maintenance: Ceiling paint damaged in cell # 25 and 26

Showers

105 CMR 451.123*		Maintenance: Floor tiles damaged in shower # 1

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1

105 CMR 451.123	Maintenance: Floor damaged in shower # 2

105 CMR 451.123	Maintenance: Paint damaged above entrance in shower # 2

Storage Closet

No Violations Noted

Third Tier

No Violations Noted

Cells

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged in cell # 43

Showers

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 1

105 CMR 451.123	Maintenance: Bars of soap on floor in shower # 1

Slop Sink Closet

Unable to Inspect – No Longer Used

Storage Closet

Unable to Inspect – No Longer Used

Office

No Violations Noted

Unit J3

105 CMR 451.321*		Cell Size: Inadequate floor space in cells

Common Area

105 CMR 451.344	Illumination in Habitable Areas: Lights not functioning properly, light out

Staff Bathroom

105 CMR 451.123*		Maintenance: Floor paint damaged

105 CMR 451.123*		Maintenance: Unlabeled chemical bottles

CPO Office

Unable to Inspect – Locked

Slop Sink Closet

No Violations Noted

First Tier

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 8

Showers

105 CMR 451.123*		Maintenance: Floor paint damaged in shower # 1 and 3

105 CMR 451.123	Maintenance: Shower floor damaged in shower # 1

105 CMR 451.123		Maintenance: Soap scum observed on shower curtain in shower # 2

Second Tier

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 25

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 22

Showers			(Unable to Inspect Shower # 3 – In Use)

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 1 and 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 was leaking

Third Tier

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Floor epoxy damaged in shower # 1

105 CMR 451.123	Maintenance: Door frame rusted in shower # 1 and 2

Slop Sink Closet

Unable to Inspect – Locked

Storage Closet

Unable to Inspect – No Longer Used

Office

No Violations Noted

Hallway outside J4 Unit

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Unit J4

105 CMR 451.321*		Cell Size: Inadequate floor space in cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling dirty by wall vent near cell # 30

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking at slop sink

Staff Bathroom

No Violations Noted

CPO Office

No Violations Noted

Staff Office

No Violations Noted

First Tier

Cells

No Violations Noted

Showers			(Unable to Inspect Shower # 2 – Under Construction)

105 CMR 451.123*		Maintenance: Floor tiles damaged in shower # 1

105 CMR 451.123*	Maintenance: Wall board damaged in shower # 1

Slop Sink

No Violations Noted

Second Tier

Cells

No Violations Noted

Showers

Unable to Inspect – Under Construction

Third Tier

Cells

No Violations Noted

Showers

Unable to Inspect – Under Construction

Slop Sink Closet

Unable to Inspect – No Longer Used

Storage Closet

Unable to Inspect – No Longer Used

J5 Unit

105 CMR 451.321*		Cell Size: Inadequate floor space in cells

Common Area

105 CMR 451.353*		Interior Maintenance: Ceiling dirty by wall vent near cell # 45

Staff Bathroom

105 CMR 451.123	Maintenance: Floor paint damaged

CPO Office

No Violations Noted

First Tier

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Wall board damaged in shower # 1

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 2

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, shower # 2 was leaking

Slop Sink Closet

No Violations Noted

Second Tier

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 30

Showers

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1 was leaking

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

Third Tier

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 1

Slop Sink

Unable to Inspect – No Longer Used

Storage Closet

Unable to Inspect – No Longer Used

Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

J6 Unit

105 CMR 451.321*		Cell Size: Inadequate floor space in cells

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, bubbler outside unit out-of-order

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling dirty by wall vent near cell # 31

Staff Bathroom

105 CMR 451.123	Maintenance: Floor paint damaged

CPO Office

Unable to Inspect – Locked

Staff Office

No Violations Noted

Slop Sink Closet

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, drain cover missing

First Tier

Cells

No Violations Noted

Showers

105 CMR 451.123*		Maintenance: Floor damaged in shower # 1

105 CMR 451.123	Maintenance: Band aids and razor on floor in shower # 1

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 2

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower # 2

105 CMR 451.123	Maintenance: Trash on floor in shower # 2

105 CMR 451.123	Maintenance: Paint damaged on door frame in shower # 3

105 CMR 451.123	Maintenance: Floor drain covered in lint buildup in shower # 3

Second Tier

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Caulking was damaged in shower # 1

105 CMR 451.123	Maintenance: Floor tile damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2 and 3

Third Tier

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Caulking was moldy in shower # 1

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 was leaking

Slop Sink Closet

Unable to Inspect – No Longer Used

Storage

Unable to Inspect – No Longer Used

Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

J7 Unit

Orientation Rooms

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash       sink # 1

Neads Training Room

No Violations Noted

Health Service Unit

Female Staff Breakroom # C-121

No Violations Noted

Staff Break Room # C-119A

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, utensils left uncovered

Back Storage # C-120A

No Violations Noted

Exam Room # C-118A

No Violations Noted

Medical Director’s Office # C-117A

No Violations Noted

Office # C-116A

Unable to Inspect – Locked

Phlebotomy Room # C-114A

Unable to Inspect – Locked

Psychiatrist Office # C-113A

No Violations Noted

Nurse Practitioner’s Office # C-112A

No Violations Noted

Trauma Room # C-111A (Waste Log)

No Violations Noted

Exam Room/Biohazard Room # C-110A

No Violations Noted

Bathroom # C-107

No Violations Noted

Records # 109

No Violations Noted

Optometry Room # C-108A

No Violations Noted

Holding Cell # 102-104

105 CMR 451.124		Water Supply: No cold water supplied to handwash sink in cell # 103

Dental Exam Room # C-129 and C-130

No Violations Noted

X-Ray Room # C-127

No Violations Noted

Med Room # C-122

Unable to Inspect – No Longer Used

Med Room # C-124 & C-125B

No Violations Noted

Exam Room # C-126

Unable to Inspect – In Use

Medical Record Supervisor Room # 132

No Violations Noted

Slop Sink # 133

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, drain cover missing

Medical Unit Cells

Cell # 102-112

105 CMR 451.123	Maintenance: Wall vent covered with toilet paper in cell # 105

Shower Unit

105 CMR 451.123	Maintenance: Bench rusted in shower

Nurse’s Control Area

No Violations Noted

K BUILDING

Staff Bathroom # C-101

No Violations Noted

Inmate Bathroom # C-102

105 CMR 451.123*	Maintenance: Entrance door damaged

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Protestant Chapel

105 CMR 451.350	Structural Maintenance: Ceiling windows leaking

Catholic Chapel

No Violations Noted

Islamic Chapel

105 CMR 451.350*		Structural Maintenance: Ceiling windows leaking

Security Staff Rooms

No Violations Noted

Storage Rooms

No Violations Noted

L BUILDING

Inmate Processing Common Area

No Violations Noted

Property

No Violations Noted

Clothing Room

No Violations Noted

Offices

No Violations Noted

Staff Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Clothing Issue Room

No Violations Noted

Search Chair Room

No Violations Noted

Booking

No Violations Noted

Processing

No Violations Noted

Inmate Bathroom

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, handwash sink # 2 out-of-order

Laundry/Storage

No Violations Noted

Upstairs Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, utensils left uncovered

Upstairs Office Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, cold water handle stuck at handwash sink

Dorms

Offices

No Violations Noted

Offices L1-3

Female Bathroom # L1-4

No Violations Noted

Male Bathroom # L1-5

No Violations Noted

Office # L1-7

No Violations Noted

Dorm Control

No Violations Noted

Control Bathroom

No Violations Noted

Dorm L1

105 CMR 451.330	Room Temperature: Room temperature 650F at bunks near exterior wall

105 CMR 451.350	Structural Maintenance: Windows not weathertight, cold air was coming in

Common Area

105 CMR 451.124*	Water Supply: Insufficient water supply in quantity and pressure at water bubbler

Janitor’s Closet # L1-15

No Violations Noted

Storage # L1-11

No Violations Noted

Bathroom # L1-14

105 CMR 451.123*		Maintenance: Floor paint damaged

105 CMR 451.126*		Hot Water: Hot water temperature recorded at 1380F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water handle was leaking at handwash sink # 1

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, toilet # 4 was continuously running

Shower Room # L1-13 A & B

105 CMR 451.123	Maintenance: Ceiling paint damaged throughout

105 CMR 451.123	Maintenance: Floor damaged in shower # 1-10

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 1-10

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1-9

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, face plate damaged in shower # 1

105 CMR 451.123	Maintenance: Ceiling water damaged and in shower # 1 and 7

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower handle missing in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 4 was leaking

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 1, 5, 6, 7, and 8

Bathroom # L1-12

105 CMR 451.123	Maintenance: Floor paint damaged

Dorm L2

Common Area

No Violations Noted

Bathroom # L1-22

105 CMR 451.123*	Maintenance: Floor epoxy damaged throughout

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Handwash sink counter damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1350F

Shower Room # L1-23 A & B

105 CMR 451.123	Maintenance: Ceiling paint damaged throughout Shower Room

105 CMR 451.123	Maintenance: Floor paint damaged outside showers

105 CMR 451.123	Maintenance: Ceiling water damaged in shower # 1

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure in shower # 2 and 8

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 4 was leaking

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 1, 3, 4, 5, 6, 7, 8, 9, and 10

105 CMR 451.123	Maintenance: Floor damaged in shower # 1, 3, 4, 5, 6, 7, 8, 9, and 10

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, 3, 4, 5, 8, and 9

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 10

Bathroom # L1-24

105 CMR 451.123*	Maintenance: Ceiling water damaged

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 4 was not flushing properly

Janitor’s Closet # L1-21

No Violations Noted

Laundry Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, washers leaking

Staff Office

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Modular Units

Unable to Inspect – Closed

OUTSIDE FACILITY

Store House

Box # 1 – Walk-In Freezer

Unable to Inspect – Not Used

Box #2 – Walk-In Refrigerator

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, wall damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall tile damaged

Box # 3

Unable to Inspect – Not Used

Inmate Break Room

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, light out

Chemical Storage Room # 4

FC 4-903-11(A)(2)	Protection of Clean Items, Storing: Single-Use Items not stored in an area where they are protected from contamination, stored uncovered above chemicals

Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water handle leaking

105 CMR 451.353	Interior Maintenance: Wet mop stored in slop sink

Male Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Door handle missing

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water handle leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water handle leaking

Freezer # 5 – Storage

Unable to Inspect – Not Used

Cooler # 6 – Storage

Unable to Inspect – Not Used

Walk-in Refrigerator # 7

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall tile damaged

Freezer (in Walk-in Refrigerator # 7)

No Violations Noted

Staff Office

No Violations Noted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink

105 CMR 451.123*	Maintenance: Handwash sink dirty

Break Area (by Staff Office)

No Violations Noted

Recycling Area

105 CMR 451.141*	Screens: Screen damaged

Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 910F

105 CMR 451.123	Maintenance: Wall vent dusty

4-Compartment Sink

No Violations Noted

2nd Floor

Dry Goods Storage Room

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.350*	Structural Maintenance: Skylight leaking

Slop Sink Room

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

VEHICLE TRAP

Control Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Staff Bathroom

105 CMR 451.123*	Maintenance: Light out

TOWERS

Tower # 1

Unable to Inspect – Closed

Tower # 2

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.353*	Interior Maintenance: Wall left unfinished

105 CMR 451.353*	Interior Maintenance: Wall damaged around outlet

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                    105 CMR 590.000, exterior of refrigerator damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1010F

Tower # 3

105 CMR 451.350*	Structural Maintenance: Soffit damaged on outside of tower

Tower # 4

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.353*	Interior Maintenance: Outlet cover broken

Tower # 5

Unable to Inspect – Closed

Tower # 6

No Violations Noted

Observations and Recommendations

- The inmate population was 603 at the time of inspection.

- At the time of inspection, the showers in J4 Unit were being re-grouted, it was stated by staff that the showers would be operational again the same day.

- Building C, Building E, and the Training Building outside of the facility are no longer used and was not inspected by the CSP.

- The CSP recommends numbering all showers throughout the institution. This will assist the CSP and Department of Correction employees to better recognize where issues exist.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Medeiros														Environmental Health Inspector, CSP, BEH