The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-695-7447

CHARLES D. BAKER

Governor

KARYN E. POLITO

Lieutenant Governor

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Commissioner

Tel: 617-624-6000

www.mass.gov/dph

April 8, 2022

Joann Lynds, Superintendent

MCI Concord

965 Elm Street

P.O. Box 9106

Concord, MA 01742		(electronic copy)

Re: Facility Inspection – MCI Concord

Dear Superintendent Lynds:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the MCI Concord on March 16 & 17, 2022 accompanied by Sergeant Robert Montalvo, Environmental Health and Safety Officer; Joel Martin, Fire Safety Officer; and Officer Craig Lefrancois. Violations noted during the inspection are listed below including 140 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Amy Medeiros

Environmental Health Inspector, CSP, BEH

cc: 	Margret R. Cooke, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Terrence Reidy, Secretary, EOPSS						(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 		(electronic copy)

Robert Montalvo, EHSO  							(electronic copy)

Joel Martin, FSO								(electronic copy)

Susan G. Rask, RS, Health Director, Concord Board of Health 			(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

A BUILDING

Lobby

No Violations Noted

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Child Care Room

No Violations Noted

Locker Room

No Violations Noted

Locker Room Bathroom

105 CMR 451.123	Maintenance: Mold on ceiling

Locker Room Janitor Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Control

105 CMR 451.353	Interior Maintenance: Ceiling water damaged outside control

Administration Area

Male Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Female Bathroom

No Violations Noted

Offices

No Violations Noted

Conference Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Trap Area

No Violations Noted

Holding Tank

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in cell # 1

105 CMR 451.353*	Interior Maintenance: Handwash sink basin rusted in cell # 2

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty in cell # 2

B BUILDING

Hallway

Front Visitor’s Bathroom

No Violations Noted

Slop Sink Closet

No Violations Noted

Staff Bathroom

No Violations Noted

Training Rooms

No Violations Noted

Visiting Room

No Violations Noted

Back Room (on Right)

No Violations Noted

Young Father’s Visiting Room

No Violations Noted

Bathroom

Unable to Inspect – Under Construction

Inmate Bathroom (Urinalysis Bathroom)

No Violations Noted

I.P.S.

No Violations Noted

B Corridor

Vending Machines

No Violations Noted

Inmate Bathroom

No Violations Noted

Slop Sink Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Male Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water handle leaking at handwash sink # 2

Female Staff Bathroom

No Violations Noted

Offices

No Violations Noted

B Building Control

No Violations Noted

Control Bathroom

No Violations Noted

Treasurer Offices (2nd floor)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventor leaking at slop sink

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

C BUILDING

Control

No Violations Noted

Slop Sink Closet

No Violations Noted

Bathroom

No Violations Noted

First Floor

Slop Sink

No Violations Noted

Dayroom

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Window broken in cell # 11 and 12

Showers

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 1

Second Floor

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Wall vent blocked in shower # 1

105 CMR 451.123	Maintenance: Wall board separating from wall in shower # 1

105 CMR 451.123	Maintenance: Baseboard tile damaged in shower # 2

Basement

Male Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F at handwash sink

Female Bathroom

No Violations Noted

Art Room

No Violations Noted

Laundry Room

No Violations Noted

Kitchen

No Violations Noted

Slop Sink Closet

No Violations Noted

Meditation Room

No Violations Noted

Game Room

No Violations Noted

RHU

Property

No Violations Noted

Search Room # C1-3

No Violations Noted

Search Room # C1-4

No Violations Noted

Cell Extraction Room # C1-6

No Violations Noted

Lieutenant Office # C1-7

No Violations Noted

Sergeant Office # C1-8

No Violations Noted

Property # C1-9

No Violations Noted

Medical Exam Room # C1-10

No Violations Noted

Staff Bathroom # C1-11

No Violations Noted

Slop Sink Room # C1-62

No Violations Noted

Control

No Violations Noted

Bathroom # C1-21B

No Violations Noted

First Tier

Showers

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # C1-24, C1-25, and C1-26

105 CMR 451.123	Maintenance: Light out in shower # C1-26

105 CMR 451.123	Maintenance: Ceiling dirty in shower # C1-61

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 53

Staff Break Room # C1-22

No Violations Noted

Law Library # C1-23

No Violations Noted

Recreational Decks

No Violations Noted

Second Tier

Slop Sink Room # C2-62

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, drain cover missing

Showers

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # C2-25 and C2-26

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # C2-25

105 CMR 451.123*	Maintenance: Door paint damaged in shower # C2-60

Cells

No Violations Noted

Interview Room # C2-22

No Violations Noted

Law Library # C2-23

No Violations Noted

Recreational Deck

No Violations Noted

D BUILDING

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Control Area

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling leaking above Control near food preparation areas

Food Service Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface rough throughout kitchen

Storage Area

No Violations Noted

Mop Room

No Violations Noted

Chemical Closet

No Violations Noted

Bread Cooler # 1

No Violations Noted

Milk Cooler # 2

No Violations Noted

Produce # 3

No Violations Noted

2-Compartment Sink

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration in sanitizer bucket

Vegetable Freezer & Paper Closet

No Violations Noted

Office

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Tool Storage Room (outside Inmate Bathroom)

No Violations Noted

Freezer # 6

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, excessive ice build-up on floor and ceiling

Refrigerator # 5

No Violations Noted

Ice Machine

No Violations Noted

Bakery Storage

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tile damaged

Pots & Pans Room

No Violations Noted

South Side

Special Diets Warmer

No Violations Noted

Kettles & Ovens Hood Area

No Violations Noted

Handwash Sink

No Violations Noted

Tray Prep

No Violations Noted

Old Food Service Line

No Violations Noted

Food Warmers

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair warmer gaskets damaged

South Side Dining Room

No Violations Noted

Mechanical Warewashing Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged throughout room

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, warewash machine out-of-order

North Side

Hoods

No Violations Noted

Handwash Sink

No Violations Noted

Prep Tables

No Violations Noted

Food Service Line

No Violations Noted

Food Warmers

No Violations Noted

North Side Dining Room

No Violations Noted

E BUILDING

Unable to Inspect – Closed

H BUILDING

Basement

H-1 Area

Unable to Inspect – Not Used

Workout Room

No Violations Noted

Inmate Bathroom

105 CMR 451.126*	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 2

Computer Rooms

No Violations Noted

Staff Bathroom

No Violations Noted

First Floor

Control

No Violations Noted

Control Bathroom

No Violations Noted

Gym

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

105 CMR 451.350	Structural Maintenance: Floor buckled and splitting with severe water damage

Recreational Office

No Violations Noted

Mop Closet (in Gym)

Unable to Inspect – Locked

CO Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, microwave oven damaged

Slop Sink Room

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 1 out-of-order

105 CMR 451.123	Maintenance: Floor dirty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Slop sink dirty

Barber Shop

No Violations Noted

Barber Shop Closet

No Violations Noted

Library

No Violations Noted

Library Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Library Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

Canteen

No Violations Noted

Storage

Unable to Inspect – Locked

Second Floor

Inmate Bathroom

No Violations Noted

Slop Sink Room

No Violations Noted

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water bubbler near Female Staff Bathroom out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water handle leaking at handwash sink

Inmate Bathroom

Unable to Inspect – Not Used

Classrooms

Rooms

No Violations Noted

Law Library

105 CMR 451.141*		Screens: Screens missing

I BUILDING

Control

No Violations Noted

Handwash Sink Area

No Violations Noted

Staff Bathroom

No Violations Noted

Side Office

Unable to Inspect – Locked

Storage

No Violations Noted

Back Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 780F at handwash sink

Back Inmate Bathroom

No Violations Noted

Back Storage Area

No Violations Noted

Legal Storage

105 CMR 451.353*	Interior Maintenance: Air conditioning unit not functioning properly

105 CMR 451.353*	Interior Maintenance: Underground steam pipe causing excessive room temperature of 133°F

Paint Shop Inmate Bathroom

No Violations Noted

Tool Control Officer’s Bathroom

No Violations Noted

Director of Engineering Office

No Violations Noted

Director of Engineering Bathroom

No Violations Noted

J BUILDING

J Control Corridor

Female Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1400F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 2 clogged

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 1 and 2

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Wall damaged above sink

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

Janitor’s Closet

No Violations Noted

Building J Control

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, tray on water bubbler dirty

105 CMR 451.353	Interior Maintenance: Ceiling tiles loose

Control Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1490F at handwash sink

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

105 CMR 451.123	Maintenance: Floor and walls dirty

Staff Kitchen & Dining Room

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Kitchen Area

Inmate Bathroom

No Violations Noted

Pantry

No Violations Noted

Kettle Room

No Violations Noted

2-Compartment Sink

No Violations Noted

Handwash Sink

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1470F

Dishwashing Area

No Violations Noted

3-Compartment Sink

No Violations Noted

Food Service Line

No Violations Noted

Beverage Air Refrigerator

No Violations Noted

Ice Machine

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Accumulation of soil/mold observed on interior surfaces of ice machine

Back Hallway

No Violations Noted

Staff Bathroom

No Violations Noted

Refrigerators and Freezer Units

No Violations Noted

Office

No Violations Noted

Baking and Prep Room

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

Walk-in Refrigerator

No Violations Noted

Outside-Dry Storage

No Violations Noted

Dining Room

No Violations Noted

Janitor’s Closet

No Violations Noted

Second Floor

Phase II Mental Health

Disciplinary Office

Unable to Inspect – Locked

Inmate Bathroom-Waiting Area

Unable to Inspect – In Use

Staff Bathroom (across from Waiting Area)

Unable to Inspect – In Use

Janitor’s Closet

No Violations Noted

Staff Bathroom (next to Janitor’s Closet)

105 CMR 451.123*	Maintenance: Ceiling damaged

Parole Office/Break Area

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1500F at handwash sink

105 CMR 451.353	Interior Maintenance: Handwash sink dirty

Interview Rooms

No Violations Noted

Offices

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty in Mental Health Office

Classrooms

No Violations Noted

Phase II Classification (through secured door)

Staff Break Room

No Violations Noted

Female Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Male Staff Bathroom

No Violations Noted

Conference Room

No Violations Noted

Offices

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty in Records Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty in Assignment Sergeant Office

Female Staff Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, toilet paper stored within 18 inches of ceiling

Male Staff Bathroom

No Violations Noted

J Housing Units

Unit J1

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

Common Area

Slop Sink

No Violations Noted

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1430F at handwash sink

CPO Office

Unable to Inspect – Locked

CO Office

No Violations Noted

First Tier

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 8

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 7

Showers

105 CMR 451.123	Maintenance: Wallboard damaged in shower # 1

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 1

105 CMR 451.123*	Maintenance: Floor tile damaged in shower # 2

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

Second Tier

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 15

Showers

105 CMR 451.123		Maintenance: Caulking damaged in shower # 3

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 3 and 4

105 CMR 451.123*		Maintenance: Caulking damaged in shower # 4

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 4

Third Tier

Cells

No Violations Noted

Showers

105 CMR 451.123		Maintenance: Caulking damaged in shower # 5

105 CMR 451.123	Maintenance: Wall board separating from wall in shower # 5 and 6

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 5 and 6

105 CMR 451.123*		Maintenance: Wall board damaged in shower # 6

105 CMR 451.123*		Maintenance: Caulking damaged in shower # 6

105 CMR 451.123*		Maintenance: Floor tiles damaged in shower # 6

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, shower # 6 leaking

J South Hallway

Staff Bathroom

Unable to Inspect – In Use

Unit J2

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

Common Area

No Violations Noted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1330F

CPO Office

No Violations Noted

Slop Sink Closet

No Violations Noted

First Tier

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 12

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 2

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 9 and 10

Showers

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 2

105 CMR 451.123	Maintenance: Wall board damaged in shower # 2

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 3

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 1, 2, and 3

Second Tier

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged on tier outside of cell # 16

Cells

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged in cell # 24

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged on tier outside of cell # 22 and 25

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 20

Showers

105 CMR 451.123	Maintenance: Ceiling water damaged above showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain clogged in shower # 4

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 4 and 5

105 CMR 451.123*	Maintenance: White substance above doorway and on threshold to shower # 5

105 CMR 451.123*	Maintenance: Floor damaged in shower # 5

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 6

Storage Closet

No Violations Noted

Third Tier

No Violations Noted

Cells

105 CMR 451.353		Interior Maintenance: Ceiling paint damaged in cell # 32

Showers

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 7

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 7 and 8

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 7 and 8

105 CMR 451.123	Maintenance: Floor cracked and damaged in shower # 8

Slop Sink Closet

Unable to Inspect – Not Used

Storage Closet

Unable to Inspect – Not Used

Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage in compliance with

105 CMR 590.000, refrigerator temperature recorded at 500F

Unit J3

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

Common Area

105 CMR 451.360	Protective Measures: Bird observed

Staff Bathroom

105 CMR 451.123*		Maintenance: Floor paint damaged

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1340F

CPO Office

No Violations Noted

Slop Sink Closet

No Violations Noted

First Tier

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 1, 2, 4, and 10

Showers

105 CMR 451.123	Maintenance: Floor damaged in shower # 1

105 CMR 451.123*		Maintenance: Soap scum on curtain in shower # 2

105 CMR 451.123	Maintenance: Vent rusted in shower # 2

105 CMR 451.123	Maintenance: Shower # 2 leaking

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 3

Second Tier

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 20 and 25

Showers

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 4

105 CMR 451.123*	Maintenance: Caulking moldy in shower # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 5 leaking

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 6

105 CMR 451.123		Maintenance: Soap scum on curtain in shower # 4, 5, and 6

Third Tier

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 37

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 36 and 41

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 36

Showers

105 CMR 451.123*	Maintenance: Floor epoxy damaged in shower # 7

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 8

105 CMR 451.123	Maintenance: Soap scum on walls and floors in shower # 7 and 8

Slop Sink Closet

No Violations Noted

Storage Closet

No Violations Noted

Office

Unable to Inspect – Locked

Hallway outside J4 Unit

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Unit J4

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

105 CMR 451.350*	Structural Maintenance: Window cracked at entrance

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling dirty by wall vent near cell # 30

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing at slop sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventor leaking at slop sink

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling damaged

CPO Office

Unable to Inspect – Locked

Staff Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

First Tier

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 6

Showers

105 CMR 451.123	Maintenance: Caulking damaged in shower # 1

105 CMR 451.123*	Maintenance: Wall board damaged in shower # 1

105 CMR 451.123*		Maintenance: Floor tiles damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Caulking damaged in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 2

105 CMR 451.123	Maintenance: Door frame rusted in shower # 2

105 CMR 451.123	Maintenance: Wall board separating from wall in shower # 2

Slop Sink

No Violations Noted

Second Tier

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Wall board damaged in shower # 3

105 CMR 451.123	Maintenance: Wall board damaged in shower # 4

105 CMR 451.123	Maintenance: Wall board separating from wall in shower # 3 and 4

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 3 and 4

Third Tier

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 5

105 CMR 451.123	Maintenance: Wall board separating from wall in shower # 5

105 CMR 451.123*	Maintenance: Wall board damaged in shower # 5 and 6

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 5 and 6

105 CMR 451.123	Maintenance: Walls dirty in shower # 6

Slop Sink Closet

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, drain cover missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventor leaking

Storage Closet

Unable to Inspect – Not Used

J5 Unit

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

Common Area

105 CMR 451.353*		Interior Maintenance: Ceiling dirty by wall vent near cell # 45

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

CPO Office

Unable to Inspect – Locked

First Tier

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 1

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1

105 CMR 451.123	Maintenance: Caulking moldy in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 2

105 CMR 451.123	Maintenance: Caulking damaged in shower # 2

105 CMR 451.123	Maintenance: Door frame rusted in shower # 2

105 CMR 451.123	Maintenance: Paint damaged in shower # 3

Slop Sink Closet

No Violations Noted

Second Tier

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 26

Showers

105 CMR 451.123	Maintenance: Railing rusted and water damaged outside showers

105 CMR 451.123*	Maintenance: Pooling water on floor outside all showers, leaking down from 3rd tier showers

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 4

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 5

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 4 and 6

Third Tier

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 32

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 34 and 39

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 42

Showers

105 CMR 451.123*	Maintenance: Floor epoxy deteriorated in shower # 7

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 7

105 CMR 451.123	Maintenance: Floor waterlogged and leaking down to 2nd tier in

shower # 7 and 8

105 CMR 451.123	Maintenance: Caulking moldy in shower # 8

105 CMR 451.123	Maintenance: Caulking damaged in shower # 8

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 8

Slop Sink

No Violations Noted

Storage Closet

No Violations Noted

Office

Unable to Inspect – Locked

Hallway

Staff Bathroom

No Violations Noted

J6 Unit

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling dirty by wall vent near cell # 31

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123	Maintenance: Wall paint damaged

CPO Office

Unable to Inspect – Locked

Staff Office

No Violations Noted

Slop Sink Closet

No Violations Noted

First Tier

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 4

Showers

105 CMR 451.123*		Maintenance: Floor damaged in shower # 1

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 2 and 3

105 CMR 451.123	Maintenance: Caulking damaged in shower # 2

105 CMR 451.123*	Maintenance: Debris in wall vent in shower # 2

105 CMR 451.123	Maintenance: Door frame rusted in shower # 2

105 CMR 451.123*	Maintenance: Caulking damaged in shower # 3

105 CMR 451.123*	Maintenance: Paint damaged on door frame in shower # 3

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 1, 2, and 3

Second Tier

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 16

105 CMR 451.353		Interior Maintenance: Wall vent blocked in cell # 24

Showers

105 CMR 451.123	Maintenance: Ceiling water damaged outside showers

105 CMR 451.123	Maintenance: Caulking moldy in shower # 4

105 CMR 451.123	Maintenance: Caulking damaged in shower # 4

105 CMR 451.123	Maintenance: Door frame rusted in shower # 5 and 6

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 5 and 6

105 CMR 451.123*	Maintenance: Floor tile damaged in shower # 6

Third Tier

Cells

105 CMR 451.350	Structural Maintenance: Ceiling leaking and water damaged in cell # 35 and 36

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 35 and 40

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 36

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 36

Showers

105 CMR 451.123*	Maintenance: Caulking was moldy in shower # 7

105 CMR 451.123	Maintenance: Wall board separating from wall in shower # 7

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 7 and 8

105 CMR 451.123	Maintenance: Door frame rusted in shower # 7 and 8

105 CMR 451.123	Maintenance: Caulking damaged in shower # 7 and 8

105 CMR 451.123	Maintenance: Floor tile damaged in shower # 7 and 8

105 CMR 451.123	Maintenance: Caulking was moldy in shower # 8

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 8 leaking

Slop Sink Closet

Unable to Inspect – Not Used

Storage

Unable to Inspect – Not Used

Office

Unable to Inspect – Locked

J7 Unit

Orientation Rooms

No Violations Noted

Neads Training Room

Unable to Inspect – Not Used

Health Service Unit

Female Staff Breakroom # C-121

No Violations Noted

Staff Break Room # C-119A

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1550F at handwash sink

Back Storage # C-120A

No Violations Noted

Exam Room # C-118A

No Violations Noted

Medical Director’s Office # C-117A

No Violations Noted

Office # C-116A

Unable to Inspect – Locked

Phlebotomy Room # C-114A

Unable to Inspect – Locked

Psychiatrist Office # C-113A

Unable to Inspect – Locked

Nurse Practitioner’s Office # C-112A

Unable to Inspect – Locked

Trauma Room # C-111A (Waste Log)

No Violations Noted

Exam Room/Biohazard Room # C-110A

No Violations Noted

Bathroom # C-107

No Violations Noted

Records # 109

105 CMR 451.353	Interior Maintenance: Hole in ceiling

Optometry Room # C-108A

Unable to Inspect – Locked

Holding Cell # 102-104

No Violations Noted

Dental Exam Room # C-129 and C-130

105 CMR 451.353	Interior Maintenance: Wall damaged above sink in room # C-129

X-Ray Room # C-127

No Violations Noted

Med Room # C-122

Unable to Inspect – Not Used

Med Room # C-124 & C-125B

No Violations Noted

Exam Room # C-126

No Violations Noted

Medical Record Supervisor Room # 132

No Violations Noted

Slop Sink # 133

No Violations Noted

Medical Unit Cells

Cell # 102-112

105 CMR 451.360	Protective Measures: Ants observed

Shower Unit

No Violations Noted

Nurse’s Control Area

No Violations Noted

K BUILDING

Staff Bathroom # C-101

No Violations Noted

Inmate Bathroom # C-102

105 CMR 451.123*	Maintenance: Entrance door damaged

Janitor’s Closet

No Violations Noted

Protestant Chapel

105 CMR 451.350*	Structural Maintenance: Ceiling windows leaking

105 CMR 451.353*	Interior Maintenance: Wall water damaged under ceiling windows

Catholic Chapel

105 CMR 451.350*	Structural Maintenance: Ceiling windows leaking

105 CMR 451.353*	Interior Maintenance: Wall water damaged under ceiling windows

Islamic Chapel

105 CMR 451.350*		Structural Maintenance: Ceiling windows leaking

105 CMR 451.353*	Interior Maintenance: Wall water damaged under ceiling windows

Security Staff Rooms

No Violations Noted

Storage Rooms

No Violations Noted

L BUILDING

Inmate Processing Common Area

No Violations Noted

Property

No Violations Noted

Clothing Room

No Violations Noted

Offices

No Violations Noted

Staff Break Room

No Violations Noted

Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1500F at handwash sink

Clothing Issue Room

No Violations Noted

Search Chair Room

No Violations Noted

Booking

No Violations Noted

Processing

No Violations Noted

Inmate Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink # 2 out-of-order

Laundry/Storage

No Violations Noted

Upstairs Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Upstairs Office Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 500F at handwash sink

Dorms

Offices L1-3

Unable to Inspect – Closed

Dorm Control

Unable to Inspect – Closed

Dorm L1

Unable to Inspect – Closed

Dorm L2

Unable to Inspect – Closed

Laundry Area

105 CMR 451.353	Interior Maintenance: Dryer # 1, 2, and 3 out-of-order

105 CMR 451.353	Interior Maintenance: Door broken on dryer # 4

105 CMR 451.353	Interior Maintenance: Dryer # 5 not working properly

105 CMR 451.353	Interior Maintenance: Laundry soap and cleaners leaking from tubing

105 CMR 451.353	Interior Maintenance: Secondary containers for laundry soap dirty

Staff Office

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1500F at handwash sink

2nd Floor

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.353	Interior Maintenance: Standing water on floor

Modular Units

Unable to Inspect – Closed

OUTSIDE FACILITY

Store House

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Box # 1 – Walk-In Freezer

Unable to Inspect – Not Used

Box #2 – Water & Milk Refrigerator

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, wall damaged

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall tile damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, walk in refrigerator out-of-order

Box # 3 – Storage

Unable to Inspect – Not Used

Inmate Break Room

No Violations Noted

Chemical Storage Room # 4

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, light out

Slop Sink Room

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, hot water handle leaking

Male Bathroom

No Violations Noted

Freezer # 5 – Storage

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling damaged and deteriorating

Cooler # 6 – Storage

Unable to Inspect – Not Used

Walk-in Refrigerator # 7

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall tile damaged

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall sheet metal damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, walk in refrigerator out-of-order

Freezer (in Walk-in Refrigerator # 7)

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, out-of-order

Freezer # 8

No Violations Noted

Staff Office

No Violations Noted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F at handwash sink

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water handle leaking at handwash sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, excessive water pressure at handwash sink

Break Area (by Staff Office)

No Violations Noted

Recycling Area

105 CMR 451.141*	Screens: Screen damaged

Inmate Bathroom

No Violations Noted

4-Compartment Sink

No Violations Noted

2nd Floor

Dry Goods Storage Room

105 CMR 451.350*	Structural Maintenance: Ceiling leaking throughout storage room

105 CMR 451.353	Interior Maintenance: Large buckets of standing water throughout room

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.350*	Structural Maintenance: Skylights leaking

Slop Sink Room

No Violations Noted

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty

VEHICLE TRAP

Control Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Staff Bathroom

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

TOWERS

Tower # 1

Unable to Inspect – Closed

Tower # 2

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.353	Interior Maintenance: Air conditioning unit damaged and missing cover

105 CMR 451.350	Structural Maintenance: Ceiling leaking from old spot light post

Tower # 3

105 CMR 451.350*	Structural Maintenance: Soffit damaged on outside of tower

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F at handwash sink

Tower # 4

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.353*	Interior Maintenance: Cover to air conditioning unit missing

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.350	Structural Maintenance: Soffit damaged on outside of tower

Tower # 5

Unable to Inspect – Closed

Tower # 6

105 CMR 451.350*	Structural Maintenance: Windows broken

105 CMR 451.353	Interior Maintenance: Entrance door stuck and difficult to open

Observations and Recommendations

- The inmate population was 430 at the time of inspection.

- An underground steam pipe is causing the room temperature in Legal Storage of the I Building to be extremely high. The CSP, is concerned for the health and safety of staff and inmates who need to access the materials in this area and strongly recommended relocating Legal Storage and keeping this area out-of-use.

- Dorm L1 and L2 were not in use and no inmates were housed in this area due to an underground water pipe leak. The CSP recommended a thorough cleaning of Dorm L1 and L2 before staff and inmates are moved back into the dorms.

- Throughout the facility, bathrooms and shower areas were observed to be deteriorating and causing unsanitary conditions. The CSP is concerned with the increased risk of disease transmission with the high number of inmates being exposed to such unsanitary conditions. The CSP recommends developing a plan to reconstruct showers with smooth and easily cleanable surfaces as well as developing a higher frequency shower cleaning policy.

- Throughout the institution the roofs were observed to be in poor condition. In many buildings the roofs were continuously leaking causing severe water damage inside of the buildings.

- At the time of inspection, the warewash machine was out-of-order. As an interim measure, the facility had switched to Styrofoam trays and disposable utensils. The kitchen staff stated a service call had been placed.

- Building E and the Training Building outside of the facility are no longer used and was not inspected by the CSP.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Medeiros														Environmental Health Inspector, CSP, BEH