The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

180 Beaman Street, West Boylston, MA 01583

Phone: 508-792-7880 Fax: 508-792-7706

TTY: 508-835-9796

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

May 29, 2019

Michael Rodrigues, Superintendent

MCI Concord

965 Elm Street

P.O. Box 9106

Concord, MA 01742	(electronic copy)

Re: Facility Inspection - MCI Concord

Dear Superintendent Rodrigues:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of MCI Concord on May 15 and 16, 2019 accompanied by Christopher Ward, Fire Safety Officer. Violations noted during the inspection are listed below including 103 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

A BUILDING

Lobby

No Violations Noted

Janitor’s Closet

Unable to Inspect – Locked

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Administration Area

Male Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

Female Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, bubbler out-of-order outside bathroom

Offices

No Violations Noted

Coffee Station

No Violations Noted

Trap Area

No Violations Noted

Holding Tank

Cell A

No Violations Noted

Cell B

No Violations Noted

B BUILDING

Hallway (on Right)

Front Visitor’s Bathroom

No Violations Noted

Slop Sink Closet

105 CMR 451.353*		Interior Maintenance: Light shield missing

Staff Bathroom

No Violations Noted

Training Room

No Violations Noted

Computer Room

No Violations Noted

Visiting Room

No Violations Noted

Back Room (on Right)

No Violations Noted

Treasurer’s Office Area

No Violations Noted

Inmate Bathroom (Urinalysis Bathroom)

No Violations Noted

Treasurer’s Bathroom

No Violations Noted

Treasurer’s Kitchenette

No Violations Noted

I.P.S.

No Violations Noted

B Corridor

Vending Machines

No Violations Noted

Inmate Bathroom

No Violations Noted

Slop Sink Closet

No Violations Noted

Male Staff Bathroom

Unable to Inspect – In Use

Female Staff Bathroom

No Violations Noted

Offices

No Violations Noted

B Building Control

No Violations Noted

Control Bathroom

No Violations Noted

Records (2nd floor)

No Violations Noted

C BUILDING

Unable to Inspect – Closed

SMU

SMU Property

No Violations Noted

Search Room # C1-3

No Violations Noted

Search Room # C1-4

No Violations Noted

Cell Extraction Room # C1-6

No Violations Noted

Lieutenant Office # C1-7

No Violations Noted

Sergeant Office # C1-8

No Violations Noted

Property # C1-9

No Violations Noted

Medical Exam Room # C1-10

No Violations Noted

Staff Bathroom # C1-11

No Violations Noted

Slop Sink Room # C1-62

No Violations Noted

Control

No Violations Noted

Bathroom # C1-21B

No Violations Noted

First Tier

Showers

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # C1-24, C1-25, and C1-26

105 CMR 451.123		Maintenance: Soap scum on floor in shower # C1-24, C1-25, and C1-26

105 CMR 451.123		Maintenance: Ceiling vent dusty in shower # C1-61

Cells

105 CMR 451.103		Mattresses: Mattress damaged in cell # C1-36 and C1-45

Staff Break Room # C1-22

No Violations Noted

Law Library # C1-23

No Violations Noted

Recreational Decks

No Violations Noted

Second Tier

Slop Sink Room # C2-62

No Violations Noted

Showers

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # C2-25, C2-26, and C2-60

105 CMR 451.123		Maintenance: Soap scum on floor in shower # C2-25 and C2-26

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # C2-60 and C2-61

105 CMR 451.123	Maintenance: Soap scum on walls in shower # C2-61

Cells

105 CMR 451.103		Mattresses: Mattress damaged in cell # C2-51

105 CMR 451.102	Pillows and Linens: Pillow damaged in cell # C2-35

Interview Room # C2-22

No Violations Noted

Law Library # C2-23

No Violations Noted

Recreational Deck

No Violations Noted

D BUILDING

Control Area

No Violations Noted

Food Service Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface rough throughout kitchen

Storage Area

No Violations Noted

Mop Room

No Violations Noted

Milk Cooler

No Violations Noted

Prep & Leftovers Cooler

No Violations Noted

Produce Freezer

No Violations Noted

Vegetable Freezer & Paper Closet

No Violations Noted

Office

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Tool Storage Room (outside Inmate Bathroom)

No Violations Noted

Freezer (# 6)

No Violations Noted

Refrigerator (# 5)

No Violations Noted

Ice machine

No Violations Noted

Bakery Storage

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tile damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, True refrigerator gaskets damaged

Halal Freezer

No Violations Noted

Kosher Freezer

No Violations Noted

Pots & Pans Room

No Violations Noted

Reach-In Warmers

No Violations Noted

South Side

Kettles & Ovens Hood Area

No Violations Noted

Handwash Sink

No Violations Noted

Tray Prep

No Violations Noted

Traulsen Cooler

No Violations Noted

Old Food Service Line

No Violations Noted

Food Warmers

No Violations Noted

South Side Dining Room

Unable to Inspect – No Longer Used

North Side

Hoods

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, light out under hood

Handwash Sink

No Violations Noted

Tray Prep Tables

No Violations Noted

Food Service Line

FC 3-501.16(A)(1)*	Limitation of Growth of Organisms, Temperature and Time Control: Time/Temperature control for safety food not held at the proper hot holding temperature, pasta temperature recorded at 115°F

Food Warmers

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, hot holding unit not maintaining proper hot holding temperatures

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets do not create a tight seal on hot holding unit near warewash room

FC 3-501.16(A)(1)	Limitation of Growth of Organisms, Temperature and Time Control: Time/Temperature control for safety food not held at the proper hot holding temperature, pasta temperature recorded at 105°F

Mechanical Warewashing Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged throughout room

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the mechanical warewashing machine

North Side Dining Room

FC 6-501.11*			Maintenance and Operation; Repairing: Facility not in good repair, ceiling leaking

E BUILDING

Unable to Inspect – Closed

H BUILDING

Basement

H-1 Area

Unable to Inspect – No Longer Used

Workout Room

No Violations Noted

Inmate Bathroom

Unable to Inspect – In Use

Computer Rooms

No Violations Noted

Staff Bathroom

No Violations Noted

First Floor

Control

No Violations Noted

Control Bathroom

No Violations Noted

Gym

105 CMR 451.344	Illumination in Habitable Areas: Lights not functioning properly, several lights out

Recreational Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Mop Closet (in Gym)

Unable to Inspect – Locked

CO Office

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Slop Sink Room

No Violations Noted

Barber Shop

No Violations Noted

Barber Shop Closet

No Violations Noted

Library

No Violations Noted

Library Office

Unable to Inspect – Locked

Library Bathroom

No Violations Noted

Canteen

Unable to Inspect – Locked

Storage

Unable to Inspect – Locked

Second Floor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water bubbler near Female Staff Bathroom out-of-order

Inmate Bathroom

105 CMR 451.126		Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 2

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, toilet # 2 out-of-order

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 1 and 3

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water in bucket

Inmate Bathroom

Unable to Inspect – No Longer Used

Classrooms

Rooms

Unable to Inspect – In Use

Law Library

105 CMR 451.141*		Screens: Screens missing

I BUILDING

Control

No Violations Noted

Handwash Sink Area

No Violations Noted

Staff Bathroom

No Violations Noted

Side Office

No Violations Noted

Storage

No Violations Noted

Back Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 980F

Back Inmate Bathroom

No Violations Noted

Back Storage Area

105 CMR 451.350*	Structural Maintenance: Back door not rodent and weathertight

Paint Shop Inmate Bathroom

Unable to Inspect – No Longer Used

Tool Control Officer’s Bathroom

No Violations Noted

Director of Engineering Office

Unable to Inspect – Locked

Director of Engineering Bathroom

Unable to Inspect – Locked

Back Staff Bathroom

No Violations Noted

J BUILDING

J Control Corridor

Female Staff Bathroom

105 CMR 451.126		Water Supply: Discolored water observed at handwash sink

Male Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Building J Control

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, refrigerator temperature recorded at 460F

Control Bathroom

105 CMR 451.123	Maintenance: Floor dirty

Staff Kitchen & Dining Room

Kitchen Area

Inmate Bathroom

No Violations Noted

Pantry

No Violations Noted

Kettle Room

No Violations Noted

2-Compartment Sink

No Violations Noted

Handwash Sink

No Violations Noted

Dishwashing Area

No Violations Noted

3-Compartment Sink

No Violations Noted

Food Service Line

FC 3-501.16(A)(1)*	Limitation of Growth of Organisms, Temperature and Time Control: Time/Temperature control for safety food not held at the proper hot holding temperature, meatball sub temperature recorded at 111°F

Beverage Air Refrigerator

No Violations Noted

Ice Machine

No Violations Noted

Back Hallway

No Violations Noted

Staff Bathroom

No Violations Noted

Refrigerators and Freezer Units

No Violations Noted

Baking and Prep Room

No Violations Noted

Walk-in Refrigerator

No Violations Noted

Outside-Dry Storage

No Violations Noted

Dining Room

No Violations Noted

Janitor’s Closet

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, drain cover not secured to slop sink

Second Floor

Phase II Mental Health

Disciplinary Office

Unable to Inspect – Locked

Inmate Bathroom-Waiting Area

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, sink leaking

Staff Bathroom (across from Waiting Area)

Unable to Inspect – Not Used

Janitor’s Closet

No Violations Noted

Staff Bathroom (next to Janitor’s Closet)

105 CMR 451.123	Maintenance: Ceiling damaged

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Office/Break Area

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in Parole Office refrigerator

Interview Rooms

No Violations Noted

Offices

No Violations Noted

Classrooms

No Violations Noted

Phase II Classification (through secured door)

Staff Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, refrigerator temperature recorded at 470F

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, utensils left uncovered

Female Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 970F at handwash sink

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Male Staff Bathroom

No Violations Noted

Conference Room

No Violations Noted

Offices

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged in Mail Room

Female Staff Bathroom

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Janitor’s Closet

No Violations Noted

Male Staff Bathroom

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Slop Sink Room

No Violations Noted

J Housing Units

Unit J1

105 CMR 451.321*		Cell Size: Inadequate floor space in cells

Common Area

No Violations Noted

Slop Sink

No Violations Noted

Staff Bathroom

Unable to Inspect – In Use

CPO Office

No Violations Noted

Staff Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

First Tier

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Floor tile damaged in shower # 1

Second Tier

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 14

Showers

105 CMR 451.123*		Maintenance: Floor tiles damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Wall board damaged in shower # 1

Third Tier

Cells

No Violations Noted

Showers			(Unable to Inspect Shower # 2 – In Use)

105 CMR 451.123		Maintenance: Floor tiles damaged in shower # 1

105 CMR 451.123	Maintenance: Wall board damaged in shower # 1

Unit J2

105 CMR 451.321*		Cell Size: Inadequate floor space in cells

Common Area

No Violations Noted

Staff Bathroom

105 CMR 451.123*		Maintenance: Floor paint damaged

105 CMR 451.126*		Hot Water: Hot water temperature recorded at 1010F

CPO Office

No Violations Noted

Slop Sink Closet

No Violations Noted

First Tier

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 3

Second Tier

Cells

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged in cell # 21, 22, and 27

105 CMR 451.353		Interior Maintenance: Ceiling paint damaged in cell # 24

Showers			(Unable to Inspect Shower # 2 and 3 – In Use)

105 CMR 451.123		Maintenance: Floor tiles damaged in shower # 1

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 1

Storage Closet

No Violations Noted

Third Tier

No Violations Noted

Cells

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged in cell # 43

105 CMR 451.353		Interior Maintenance: Ceiling paint damaged in cell # 44

Showers

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 1 and 2

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 1

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 2

Slop Sink Closet

Unable to Inspect – No Longer Used

Storage Closet

Unable to Inspect – No Longer Used

Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Unit J3

105 CMR 451.321*		Cell Size: Inadequate floor space in cells

Common Area

105 CMR 451.344	Illumination in Habitable Areas: Lights not functioning properly, several lights out

Staff Bathroom

105 CMR 451.126*		Hot Water: Hot water temperature recorded at 1010F

105 CMR 451.123*		Maintenance: Floor paint damaged

105 CMR 451.123*		Maintenance: Unlabeled chemical bottles

CPO Office

Unable to Inspect – Locked

Slop Sink Closet

No Violations Noted

First Tier

Cells

No Violations Noted

Showers

105 CMR 451.123*		Maintenance: Floor paint damaged in shower # 1 and 3

105 CMR 451.123*		Maintenance: Soap scum observed on shower curtain in shower # 1 and 3

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, shower # 2 leaking

Second Tier

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 25

Showers			(Unable to Inspect Shower # 2 – In Use)

105 CMR 451.123		Maintenance: Soap scum observed on shower curtain in shower # 3

105 CMR 451.123	Maintenance: Light out in shower # 3

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 3

Third Tier

Cells

No Violations Noted

Showers			(Unable to Inspect Shower # 2 – Under Construction)

105 CMR 451.123*	Maintenance: Floor epoxy damaged in shower # 1

105 CMR 451.123	Maintenance: Gum on ceiling in shower # 1

Slop Sink Closet

Unable to Inspect – Locked

Storage Closet

Unable to Inspect – No Longer Used

Office

No Violations Noted

Hallway outside J4 Unit

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Unit J4

105 CMR 451.321*		Cell Size: Inadequate floor space in cells

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling dirty by wall vent near cell # 30

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F

CPO Office

No Violations Noted

Staff Office

No Violations Noted

First Tier

Cells

No Violations Noted

Showers

105 CMR 451.123		Maintenance: Floor tiles damaged in shower # 1

105 CMR 451.123	Maintenance: Wall board damaged in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123*		Maintenance: Floor tiles damaged in shower # 2

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 1 and 2

Slop Sink

No Violations Noted

Second Tier

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 1 and 2

105 CMR 451.123*		Maintenance: Floor tiles damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1 and 2

105 CMR 451.123*		Maintenance: Wall board damaged in shower # 1

105 CMR 451.123		Maintenance: Wall board damaged in shower # 2

Third Tier

Cells

No Violations Noted

Showers

Unable to Inspect – Not Used

Slop Sink Closet

No Violations Noted

Storage Closet

Unable to Inspect – No Longer Used

J5 Unit

105 CMR 451.321*		Cell Size: Inadequate floor space in cells

Common Area

105 CMR 451.353*		Interior Maintenance: Ceiling dirty by wall vent near cell # 45

Staff Bathroom

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, handwash sink slow to drain

CPO Office

No Violations Noted

First Tier

Cells

No Violations Noted

Showers			(Unable to Inspect Shower # 1 – In Use)

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 2

Slop Sink Closet

No Violations Noted

Second Tier

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 3

Third Tier

Cells

No Violations Noted

Showers

Unable to Inspect – In Use

Slop Sink

Unable to Inspect – No Longer Used

Storage Closet

Unable to Inspect – No Longer Used

J6 Unit

105 CMR 451.321*		Cell Size: Inadequate floor space in cells

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, bubbler outside unit out-of-order

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling dirty by wall vent near cell # 31

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1350F at handwash sink

CPO Office

Unable to Inspect – Locked

Staff Office

No Violations Noted

Slop Sink Closet

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, drain cover missing

First Tier

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 15

Showers

105 CMR 451.123*		Maintenance: Floor damaged in shower # 1

105 CMR 451.123	Maintenance: Shower curtain stapled in shower # 1

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 1 and 2

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 2

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 3

Second Tier

Cells

No Violations Noted

Showers			(Unable to Inspect Shower # 1 – In Use)

No Violations Noted

Third Tier

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 1 and 2

105 CMR 451.123	Maintenance: Wall vent cover missing in shower # 2

Slop Sink Closet

Unable to Inspect – No Longer Used

Storage

Unable to Inspect – No Longer Used

Office

No Violations Noted

J7 Unit

Orientation Rooms

No Violations Noted

Health Service Unit

Female Staff Breakroom # C-121

No Violations Noted

Staff Break Room # C-119A

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, utensils left uncovered

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, cold water handle leaking

Back Storage # C-120A

No Violations Noted

Exam Room # C-118A

No Violations Noted

Medical Director’s Office # C-117A

No Violations Noted

Office # C-116A

No Violations Noted

Phlebotomy Room # C-114A

No Violations Noted

Psychiatrist Office # C-113A

No Violations Noted

Nurse Practitioner’s Office # C-112A

No Violations Noted

Trauma Room # C-111A (Waste Log)

No Violations Noted

Exam Room/Biohazard Room # C-110A

No Violations Noted

Bathroom # C-107

No Violations Noted

Records # 109

No Violations Noted

Optometry Room # C-108A

No Violations Noted

Dental Exam Room # C-129 and C-130

No Violations Noted

X-Ray Room # C-127

No Violations Noted

Med Room # C-122

Unable to Inspect – No Longer Used

Med Room # C-124 & C-125B

No Violations Noted

Exam Room # C-126

No Violations Noted

Holding Cell # 102-104

No Violations Noted

Medical Record Supervisor Room # 132

No Violations Noted

Slop Sink # 133

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, drain cover missing

Medical Unit Cells

Cell # 102-112

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink in cell # 102 and 103

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no hot water push button at handwash sink in cell # 103

Shower Unit

No Violations Noted

Nurse’s Control Area

No Violations Noted

K BUILDING

Staff Bathroom # C-101

No Violations Noted

Inmate Bathroom # C-102

105 CMR 451.123*	Maintenance: Entrance door damaged

Janitor’s Closet

No Violations Noted

Protestant Chapel

No Violations Noted

Catholic Chapel

No Violations Noted

Islamic Chapel

105 CMR 451.350*		Structural Maintenance: Ceiling windows leaking

Security Staff Rooms

No Violations Noted

Storage Rooms

No Violations Noted

L BUILDING

Inmate Processing Common Area

No Violations Noted

Property

No Violations Noted

Clothing Room

No Violations Noted

Offices

No Violations Noted

Staff Break Room

No Violations Noted

Staff Bathroom

105 CMR 451.126*		Hot Water: Hot water temperature recorded at 1550F

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Clothing Issue Room

No Violations Noted

Search Chair Room

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Booking

No Violations Noted

Processing

No Violations Noted

Inmate Bathroom

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, handwash sink # 2 out-of-order

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, urinal # 1 out-of-order

Laundry/Storage

No Violations Noted

Upstairs Office

No Violations Noted

Upstairs Office Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, cold water handle stuck at handwash sink

Dorms

Old Laundry Room

No Violations Noted

Office

No Violations Noted

Offices L1-3

Female Bathroom # L1-4

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1380F

Male Bathroom # L1-5

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Office # L1-7

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, refrigerator gasket dirty

Dorm Control

105 CMR 451.353*	Interior Maintenance: Ceiling vent not working

Control Bathroom

No Violations Noted

Dorm L1

Common Area

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at water bubbler

Janitor’s Closet # L1-15

No Violations Noted

Storage # L1-11

No Violations Noted

Bathroom # L1-14

105 CMR 451.123*		Maintenance: Floor paint damaged

105 CMR 451.126*		Hot Water: Hot water temperature recorded at 1320F

Shower Room # L1-13 A & B

Unable to Inspect – In Use

Bathroom # L1-12

Unable to Inspect – In Use

Dorm L2

Common Area

No Violations Noted

Bathroom # L1-22

105 CMR 451.123*	Maintenance: Floor epoxy damaged throughout

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water handle leaking at handwash sink # 2

Shower Room # L1-23 A & B

Unable to Inspect – In Use

Bathroom # L1-24

105 CMR 451.123*	Maintenance: Ceiling water damaged

105 CMR 451.123*	Maintenance: Unfinished wood on ceiling

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 3 out-of-order

Janitor’s Closet # L1-21

No Violations Noted

Laundry Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, washers leaking

Staff Office

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Modular Units

Unable to Inspect – Closed

OUTSIDE FACILITY

Store House

105 CMR 451.350*	Structural Maintenance: Exterior stairs damaged near loading dock

Box # 1 – Walk-In Freezer

No Violations Noted

Box #2 – Walk-In Refrigerator

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, wall damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall tile damaged

Box # 3

No Violations Noted

Inmate Break Room

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, light out

Chemical Storage Room # 4

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Standing water in mop bucket

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Male Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Door handle missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water handle leaking

Freezer # 5 – Storage

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, walls damaged

Cooler # 6 – Storage

105 CMR 451.353	Interior Maintenance: Walls damaged

Walk-in Refrigerator # 7

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall tile damaged

Freezer (in Walk-in Refrigerator # 7)

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice buildup in freezer causing door not to close

Staff Office

No Violations Noted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink

105 CMR 451.123	Maintenance: Handwash sink dirty

Break Area (by Staff Office)

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Recycling Area

105 CMR 451.141*	Screens: Screen damaged

Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 890F

105 CMR 451.123	Maintenance: Wall vent dusty

4-Compartment Sink

No Violations Noted

2nd Floor

Dry Goods Storage Room

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.350	Structural Maintenance: Skylight leaking

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Bathroom

No Violations Noted

VEHICLE TRAP

Control Area

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Light out

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water handle loose at handwash sink

TOWERS

Tower # 1

Unable to Inspect – Closed

Tower # 2

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.353*	Interior Maintenance: Wall left unfinished

105 CMR 451.353*	Interior Maintenance: Wall damaged around outlet

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                    105 CMR 590.000, exterior of refrigerator damaged

Tower # 3

105 CMR 451.350*	Structural Maintenance: Soffit damaged on outside of tower

Tower # 4

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.353*	Interior Maintenance: Outlet cover broken

Tower # 5

Unable to Inspect – Closed

Tower # 6

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

Observations and Recommendations

- The inmate population was 618 at the time of inspection.

- Building C, Building E, and the Training Building outside of the facility are no longer used and was not inspected by the CSP.

- The CSP recommended numbering all showers throughout the institution. This will assist the CSP and Department of Correction employees to better recognize where issues exist.

- During the kitchen inspection, the warewash machine did not reach the appropriate temperature to properly sanitize dishes. As an interim measure, Food Service staff members were observed using Styrofoam trays for serving and stated the warewash machine would be serviced.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Medeiros														Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Christopher Ward, FSO  							(electronic copy)

Susan G. Rask, RS, Health Director, Concord Board of Health			(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate