The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Climate and Environmental Health

Community Sanitation Program

67 Forest Street

Marlborough, MA 01752

Phone: 857-507-7205

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

Tel: 617-624-6000

www.mass.gov/dph

MAURA T. HEALEY

Governor

KIMBERLEY DRISCOLL

Lieutenant Governor

November 16, 2023

Dean Gray, Superintendent

MCI Concord

965 Elm Street

P.O. Box 9106

Concord, MA 01742		(electronic copy)

Re: Facility Inspection – MCI Concord

Dear Superintendent Gray:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of MCI Concord on October 30 and 31, and November 1, 2023 accompanied by Officer Joel Martin, Fire and Safety Officer; Officer William Greene, Environmental Health and Safety Officer; and Kevin Smith, Director of Facilities Maintenance. Violations noted during the inspection are listed below including 117 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Amy Medeiros

Environmental Health Inspector, CSP, BCEH

cc: 	Robert Goldstein, MD, PhD, Commissioner, DPH

Nalina Narain, Director, BCEH

Steven Hughes, Director, CSP, BCEH

Kathleen E. Walsh, Secretary, Executive Office of Health and Human Services	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Terrence Reidy, Secretary, EOPSS						(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 		(electronic copy)

William Greene, EHSO								(electronic copy)

Joel Martin, FSO								(electronic copy)

Melanie Dineen, Health Director, Concord Board of Health 			(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

A BUILDING

Lobby

No Violations Noted

Female Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet out-of-order

Male Bathroom

Unable to Inspect – In Use

Janitor’s Closet

No Violations Noted

Child Care Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

Locker Room

No Violations Noted

Locker Room Bathroom

No Violations Noted

Locker Room Janitor Closet

No Violations Noted

Control

No Violations Noted

Control Bathroom

No Violations Noted

Administration Area

Male Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Female Bathroom

No Violations Noted

Offices

No Violations Noted

Conference Room

No Violations Noted

Trap Area

No Violations Noted

Holding Tank

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink slow to drain

in cell # 2

105 CMR 451.124	Water Supply: Excessive water supply in quantity and pressure at handwash sink in      cell # 2

B BUILDING

Hallway

Front Visitor’s Bathroom

No Violations Noted

Slop Sink Closet

No Violations Noted

Staff Bathroom

No Violations Noted

Training Rooms

No Violations Noted

Visiting Room

105 CMR 451.124	Water Supply: Excessive water supply in quantity and pressure drinking fountain

Back Room (on Right)

No Violations Noted

Young Father’s Visiting Room

No Violations Noted

Bathroom

Unable to Inspect – Not Used

Inmate Bathroom (Urinalysis Bathroom)

No Violations Noted

I.P.S.

No Violations Noted

B Corridor

Inmate Bathroom

No Violations Noted

Slop Sink Closet

No Violations Noted

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Offices

No Violations Noted

B Building Control

Control Bathroom

105 CMR 451.123	Maintenance: Handwash sink dirty

Treasurer Offices (2nd Floor)

Offices

No Violations Noted

Male Bathroom

No Violations Noted

Slop Sink

No Violations Noted

Female Bathroom

No Violations Noted

C BUILDING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

Control

No Violations Noted

Slop Sink Closet

No Violations Noted

Bathroom

No Violations Noted

First Floor

Slop Sink

No Violations Noted

Day Room

No Violations Noted

Barber Shop

105 CMR 451.353	Interior Maintenance: Wall damaged

Cells

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty in cell # 21

Showers

105 CMR 451.123*	Maintenance: Wall paint damaged above door in shower # 1

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1230F in shower # 1

Second Floor

Slop Sink

No Violations Noted

Control Bathroom

No Violations Noted

Day Room

No Violations Noted

Office

Unable to Inspect – Locked

Cells

105 CMR 451.353	Interior Maintenance: Floor rusted in cell # 29 and 31

Showers

105 CMR 451.123	Maintenance: Grout deteriorated in shower # 2

Basement

Staff Bathroom

Unable to Inspect – In Use

Inmate Bathroom

No Violations Noted

Gym

No Violations Noted

Art Room

No Violations Noted

Laundry Room

No Violations Noted

Kitchen

No Violations Noted

Meditation Room

No Violations Noted

Game Room

No Violations Noted

BAU

Property

No Violations Noted

Search Room # C1-3

No Violations Noted

Search Room # C1-4

No Violations Noted

Cell Extraction Room # C1-6

No Violations Noted

Lieutenant Office # C1-7

No Violations Noted

Sergeant Office # C1-8

No Violations Noted

Property # C1-9

No Violations Noted

Medical Exam Room # C1-10

No Violations Noted

Staff Bathroom # C1-11

No Violations Noted

Slop Sink Room # C1-62

No Violations Noted

Control

No Violations Noted

Bathroom # C1-21B

No Violations Noted

First Tier

Showers

105 CMR 451.123*	Maintenance: Floor damaged in shower # C1-26 and C1-60

105 CMR 451.123	Maintenance: Floor damaged in shower # C1-24 and C1-61

105 CMR 451.123*	Maintenance: Door paint damaged in shower # C1-24, C1-25, C1-26, and C1-61

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in North Side cells

Staff Break Room # C1-22

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Law Library # C1-23

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Recreational Decks

No Violations Noted

Second Tier

105 CMR 451.350	Structural Maintenance: Window broken in Control near C2-22

Slop Sink Room # C2-62

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink clogged

Showers

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # C2-24, C2-25, and C2-26

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # C2-25, C2-26, C2-60, and C2-61

105 CMR 451.123	Maintenance: Floor paint damaged in shower # C2-24 and C2-62

105 CMR 451.123*	Maintenance: Door paint damaged in shower # C2-24, C2-25, C2-26, C2-60, and C2-61

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 2-41

105 CMR 451.353*	Interior Maintenance: Ceiling leaking outside cell # 2-40

105 CMR 451.103		Mattresses: Mattress damaged in cell # 2-49

Interview Room # C2-22

No Violations Noted

Law Library # C2-23

No Violations Noted

Offices

No Violations Noted

Recreational Deck

No Violations Noted

D BUILDING

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Control Area

No Violations Noted

Food Service Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface rough throughout kitchen

Chemical Closet

No Violations Noted

Mop Room

No Violations Noted

Bread Cooler # 1

No Violations Noted

Milk Cooler # 2

No Violations Noted

Produce Cooler # 3

No Violations Noted

2-Compartment Sink

No Violations Noted

Vegetable Freezer & Paper Closet

No Violations Noted

Office

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Tool Storage Room (outside Inmate Bathroom)

No Violations Noted

Dry Storage

FC 3-304.11 (A) 	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Food in contact with dirty equipment/utensilsP, salt container dirty

Freezer # 6

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, excessive ice build-up on floor

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to ice, build-up on boxes of food

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets damaged

Refrigerator # 5

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling leaking next to Refrigerator # 5

Ice Machine

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Accumulation of soil/mold observed on interior surfaces of ice machine

Bakery Storage

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tile damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets dirty

Kosher Freezer

No Violations Noted

Pots & Pans Room

No Violations Noted

Reach-in-Coolers

No Violations Noted

South Side

Special Diets

No Violations Noted

Kettles & Ovens Hood Area

No Violations Noted

Handwash Sink

No Violations Noted

Tray Prep

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration in bucket

Old Food Service Line

No Violations Noted

Food Warmers

FC 3-501.16(A)(1) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Time/temperature control for safety food not held at 135°F or aboveP, potatoes temperature recorded at 124°F

FC 3-501.16(A)(1) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Time/temperature control for safety food not held at 135°F or aboveP, fish patties temperature recorded at 104°F

Dining Room

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens missing from windows

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling leaking

Mechanical Warewashing Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged throughout room

FC 4-501.112(A)*	Maintenance and Operation; Equipment: Excessive hot water temperature in the mechanical warewash machinePf, rinse cycle recorded at 202°F

North Side

Hoods

No Violations Noted

Handwash Sink

No Violations Noted

Prep Tables

No Violations Noted

Food Service Line

No Violations Noted

Food Warmers

No Violations Noted

Dining Room

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens missing from windows

E BUILDING

Unable to Inspect – Closed

H BUILDING

105 CMR 451.384*	Certificate of Use and Occupancy: No current certificate of use and occupancy

Basement

H-1 Area

Unable to Inspect – Not Used

Workout Room

No Violations Noted

Inmate Bathroom (in Workout Room)

No Violations Noted

Computer Rooms

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

First Floor

No Violations Noted

Gym

No Violations Noted

Gym Control & Bathroom	Unable to Inspect Shower – Not Used

No Violations Noted

Mop Closet (in Gym)

Unable to Inspect – Locked

CO Office

No Violations Noted

Slop Sink Room

Unable to Inspect – Locked

Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water handle leaking at handwash sink

Inmate Bathroom

105 CMR 451.123	Maintenance: Standing water observed on floor

Slop Sink

No Violations Noted

Barber Shop

No Violations Noted

Barber Shop Closet

No Violations Noted

Library

No Violations Noted

Library Office

No Violations Noted

Library Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink out-of-order

Canteen

105 CMR 451.123*	Maintenance: Wood wall unfinished in Bathroom

Storage

Unable to Inspect – Locked

Second Floor

Inmate Bathroom

No Violations Noted

Slop Sink Room

No Violations Noted

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Inmate Bathroom

Unable to Inspect – Not Used

Classrooms

105 CMR 451.141	Screens: Screens missing in all classrooms

Law Library

No Violations Noted

I BUILDING

Control

No Violations Noted

Legal Storage

No Violations Noted

Handwash Sink Area

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Side Office

No Violations Noted

Storage Area

No Violations Noted

Back Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 820F at handwash sink

Back Inmate Bathroom

No Violations Noted

Back Storage Area

No Violations Noted

Former Legal Storage (Unoccupied)

105 CMR 451.350	Structural Maintenance: Ceiling leaking above large sliding door

Paint Shop Inmate Bathroom

No Violations Noted

Tool Control Officer’s Bathroom

No Violations Noted

Maintenance Office

No Violations Noted

Director of Engineering Office

No Violations Noted

Break Room

No Violations Noted

Director of Engineering Bathroom

No Violations Noted

Weld Shop

No Violations Noted

Plumbing Department

No Violations Noted

Electrical Shop

No Violations Noted

Tool Crib

No Violations Noted

J BUILDING

J Control Corridor

105 CMR 451.350*	Structural Maintenance: Window broken in hallway door

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

105 CMR 451.123	Maintenance: Wall damaged behind handwash sink # 1

Janitor’s Closet

No Violations Noted

Building J Control

105 CMR 451.350	Structural Maintenance: Window broken

Control Bathroom

Unable to Inspect – In Use

Staff Kitchen & Dining Room

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Kitchen Area

Unable to Inspect – Closed

Back Hallway

Unable to Inspect – Closed

Baking and Prep Room

Unable to Inspect – Closed

Outside-Dry Storage

Unable to Inspect – Closed

Dining Room

Unable to Inspect – Closed

Second Floor

Phase II Mental Health

Disciplinary Office

No Violations Noted

Inmate Bathroom-Waiting Area

No Violations Noted

Staff Bathroom (across from Waiting Area)

No Violations Noted

Janitor’s Closet

No Violations Noted

Staff Bathroom (next to Janitor’s Closet)

No Violations Noted

Breakroom

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

Parole Office/Break Area

No Violations Noted

Interview Rooms

No Violations Noted

Offices

No Violations Noted

Classrooms

No Violations Noted

Phase II Classification

Staff Break Room

No Violations Noted

Female Staff Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wall damaged outside Janitor’s Closet

Male Staff Bathroom

No Violations Noted

Offices

No Violations Noted

Female Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Male Staff Bathroom

No Violations Noted

Conference Room

105 CMR 451.353	Interior Maintenance: Ceiling tile water damaged outside Conference Room

J Housing Units

105 CMR 451.353	Interior Maintenance: Ceiling water damaged outside Unit J1

Unit J1

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling dirty by wall vent near cell # 30

Slop Sink

No Violations Noted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 980F at handwash sink

Office

No Violations Noted

CO Office

No Violations Noted

First Tier

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 17

Showers

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower # 1

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 2

105 CMR 451.123*	Maintenance: Wall epoxy damaged in shower # 2

Second Tier

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Floor epoxy damaged in shower # 3 and 4

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 3 and 4

Third Tier

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 24

Showers

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower # 5

105 CMR 451.123*	Maintenance: Floor epoxy damaged in shower # 6

Closet

Unable to Inspect – Locked

J South Hallway

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

Unit J2

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

Common Area

No Violations Noted

Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink slow to drain

105 CMR 451.123*	Maintenance: Floor paint damaged

CPO Office

No Violations Noted

Slop Sink Closet

No Violations Noted

First Tier

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 2 and 8

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 10, 12, and 13

Showers

105 CMR 451.123	Maintenance: Wall epoxy damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Hole around shower head in shower # 3

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1, 2, and 3

Second Tier

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 17, 20, 24, 25, and 26

Showers

105 CMR 451.123	Maintenance: Door frame rusted in shower # 4

105 CMR 451.123	Maintenance: Wall epoxy damaged in shower # 5

105 CMR 451.123*	Maintenance: Soap scum and mold on curtain in shower # 5

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 5

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 6

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower # 4, 5, and 6

Storage Closet

No Violations Noted

Third Tier

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 41, 43, and 44

Showers

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower # 7 and 8

105 CMR 451.123	Maintenance: Debris in vent in shower # 7 and 8

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 7 and 8

Slop Sink Closet

Unable to Inspect – Locked

Storage Closet

Unable to Inspect – Locked

Office

Unable to Inspect – Locked

Unit J3

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

Common Area

No Violations Noted

Staff Bathroom

105 CMR 451.123*		Maintenance: Floor paint damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F at handwash sink

CPO Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, utensils uncovered

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

Slop Sink Closet

No Violations Noted

First Tier

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 3, 6, and 8

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 1, 2, 5, and 7

Showers 			Unable to Inspect Shower # 3 – Not Used

105 CMR 451.123*	Maintenance: Floor damaged in shower # 1

105 CMR 451.123	Maintenance: Floor damaged in shower # 2

105 CMR 451.123*		Maintenance: Soap scum and mold on curtain in shower # 1 and 2

Second Tier

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 21 and 24

Showers

105 CMR 451.123	Maintenance: Soap scum and mold on curtain in shower # 4 and 5

105 CMR 451.123	Maintenance: Wall epoxy damaged in shower # 5

105 CMR 451.123	Maintenance: Curtain missing in shower # 6

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower # 4, 5, and 6

Third Tier

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 32 and 34

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 35

Showers

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower # 7 and 8

Slop Sink Closet

Unable to Inspect – Locked

Storage Closet

Unable to Inspect – Locked

Office

Unable to Inspect – Locked

Hallway

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged outside Unit J4

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing outside Unit J4

Unit J4 - SAU

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling dirty by wall vent near cell # 30

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

CPO Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator # 2

Staff Office

Unable to Inspect – Locked

First Tier

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Holes in wall and ceiling in shower # 1 and 2

Slop Sink

No Violations Noted

Second Tier

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 3 and 4

Third Tier

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 26

Showers

105 CMR 451.123	Maintenance: Wall damaged in shower # 5

Slop Sink Closet

Unable to Inspect – Locked

Storage Closet

Unable to Inspect – Locked

J5 Unit

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

Common Area

No Violations Noted

Staff Bathroom

No Violations Noted

CPO Office

105 CMR 451.330	Room Temperature: Room temperature 810F

Slop Sink Closet

No Violations Noted

First Tier

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 2, 3, 5, 9, and 10

Showers

105 CMR 451.123	Maintenance: Excessive condensation on ceiling in shower # 1

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Wall epoxy damaged in shower # 2 and 3

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1, 2, and 3

Second Tier

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 17

Showers

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 4 and 6

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 4 and 6

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 5

Storage Closet

Unable to Inspect – Locked

Third Tier

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 32 and 39

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 33, 37, and 43

Showers

105 CMR 451.123*	Maintenance: Floor epoxy damaged in shower # 7

105 CMR 451.123	Maintenance: Wall epoxy damaged in shower # 7

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 7 and 8

105 CMR 451.123*	Maintenance: Floor tile damaged in shower # 8

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 8

Slop Sink

Unable to Inspect – Locked

Storage Closet

Unable to Inspect – Locked

Office

Unable to Inspect – Locked

Hallway

Staff Bathroom

Unable to Inspect – Locked

J6 Unit

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling dirty by wall vent near cell # 31

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, 1 light out

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

CPO Office

No Violations Noted

Staff Office

No Violations Noted

Slop Sink Closet

No Violations Noted

First Tier

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 1 and 7

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 13

Showers

105 CMR 451.123*		Maintenance: Floor damaged in shower # 1

105 CMR 451.123	Maintenance: Wall epoxy damaged in shower # 1

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 2 and 3

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 2 and 3

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1, 2, and 3

Second Tier

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 16

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 25

Showers

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 4

105 CMR 451.123*	Maintenance: Floor tile damaged in shower # 4 and 6

105 CMR 451.123	Maintenance: Excessive condensation on ceiling in shower # 4 and 6

105 CMR 451.123	Maintenance: Soap scum and mold on curtain in shower # 4 and 5

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 6

Third Tier

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Floor tile damaged in shower # 7 and 8

105 CMR 451.123	Maintenance: Soap scum and mold on curtain in shower # 7 and 8

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 8 leaking

Slop Sink Closet

Unable to Inspect – Not Used

Storage

Unable to Inspect – Not Used

Office

Unable to Inspect – Locked

J7 Unit

Orientation Rooms

No Violations Noted

CO Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Inmate Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sinks

Neads Training Room

No Violations Noted

Health Service Unit

Female Staff Bathroom # C-121

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Staff Break Room # C-119A

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with                105 CMR 590.000, utensils uncovered

Back Storage # C-120A

No Violations Noted

Exam Room # C-118A

Unable to Inspect – In Use

Medical Director’s Office # C-117A

No Violations Noted

Office # C-116A

Unable to Inspect – Locked

Phlebotomy Room # C-114A

No Violations Noted

Psychiatrist Office # C-113A

No Violations Noted

Nurse Practitioner’s Office # C-112A

No Violations Noted

Trauma Room # C-111A (Waste Log)

105 CMR 480.425(A)*	Tracking Medical or Biological Waste for Treatment: Generator did not confirm the shipment was received by the treatment facility within 30 days on an approved tracking form

Exam Room/Biohazard Room # C-110A

No Violations Noted

Bathroom # C-107

No Violations Noted

Records # 109A

No Violations Noted

Janitor’s Closet # 133

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, hot water not working at slop sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking at slop sink

Optometry Room # C-108A

Unable to Inspect – Locked

Holding Cell # 102-104

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 102

Dental Exam Room # C-129 and C-130

105 CMR 451.353	Interior Maintenance: Stool damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in # C-130

X-Ray Room # C-127

No Violations Noted

Med Room # C-122

Unable to Inspect – Not Used

Med Room # C-124 & C-125B

Unable to Inspect – Locked

Exam Room # C-126

No Violations Noted

Medical Record Supervisor Room # 132

No Violations Noted

Slop Sink # 133

Unable to Inspect – Locked

Medical Unit Cells

Cell # 102-112

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 108, 109, 110, and 112

105 CMR 451.353	Interior Maintenance: Seat damaged at desk in cell # 107

Shower Unit

105 CMR 451.123	Maintenance: Ceiling vent dusty

Nurse’s Control Area

No Violations Noted

K BUILDING

Staff Bathroom # C-101

Unable to Inspect – Closed

Inmate Bathroom # C-102

Unable to Inspect – Closed

Security Staff Rooms

Unable to Inspect – Closed

Janitor’s Closet

Unable to Inspect – Closed

Protestant Chapel

Unable to Inspect – Closed

Catholic Chapel

Unable to Inspect – Closed

Islamic Chapel

Unable to Inspect – Closed

Sacristy Room

Unable to Inspect – Closed

L BUILDING

105 CMR 451.384*	Certificate of Use and Occupancy: No current certificate of use and occupancy

Booking

Inmate Processing Common Area

No Violations Noted

Property

No Violations Noted

Clothing

No Violations Noted

Offices

No Violations Noted

Staff Break Room

No Violations Noted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1370F at handwash sink

Clothing Issue Room

No Violations Noted

Search Chair Room/Break Room

No Violations Noted

Booking Room

No Violations Noted

Processing Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, utensils uncovered

105 CMR 451.350*	Structural Maintenance: Exterior door by Processing Room not rodent and weathertight

Inmate Bathroom

105 CMR 451.130	Plumbing: No backflow preventer at handwash sink # 2

Laundry/Storage

No Violations Noted

Upstairs Office

No Violations Noted

Upstairs Office Bathroom

No Violations Noted

L1 and L2 Dorms

Unable to Inspect – Closed

Laundry

105 CMR 451.353*	Interior Maintenance: Gas meter alarm continuously beeping

Staff Office

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

2nd Floor

No Violations Noted

Modular Units

Unable to Inspect – Closed

OUTSIDE FACILITY

Store House

105 CMR 451.384*	Certificate of Use and Occupancy: No current certificate of use and occupancy

Box # 1 – Storage

No Violations Noted

Box #2 – Water & Milk Refrigerator

No Violations Noted

Box # 3 – Storage

No Violations Noted

Inmate Break Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 730F at 2-compartment sink

Chemical Storage Room # 4

No Violations Noted

Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water handle leaking

Inmate Bathroom

No Violations Noted

Freezer # 5 – Storage

No Violations Noted

Cooler # 6 – Storage

No Violations Noted

Walk-in Refrigerator # 7 – Storage

No Violations Noted

Freezer (in Walk-in Refrigerator # 7)

No Violations Noted

Freezer # 8

No Violations Noted

Staff Office

No Violations Noted

Staff Bathroom

Unable to Inspect – Not Used

Break Area (by Staff Office)

No Violations Noted

Recycling Area

No Violations Noted

Inmate Bathroom

No Violations Noted

4-Compartment Sink

No Violations Noted

2nd Floor

Dry Goods Storage Room

105 CMR 451.350*	Structural Maintenance: Ceiling leaking throughout storage room

105 CMR 451.353*	Interior Maintenance: Large buckets of standing water throughout room

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.350*	Structural Maintenance: Skylights actively leaking

Slop Sink Room

No Violations Noted

Bathroom

No Violations Noted

VEHICLE TRAP

Control Area

No Violations Noted

Staff Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water handle leaking at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water handle not secured to handwash sink

TOWERS

Tower # 1

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.350*	Structural Maintenance: Soffit damaged outside tower

105 CMR 451.350*	Structural Maintenance: Unfinished exposed wood damaged on exterior of tower

Tower # 2

105 CMR 451.350*	Structural Maintenance: Soffit damaged outside tower

105 CMR 451.350*	Structural Maintenance: Unfinished exposed wood on exterior of tower

Tower # 3

105 CMR 451.350*	Structural Maintenance: Soffit damaged outside of tower

105 CMR 451.350*	Structural Maintenance: Unfinished exposed wood damaged on exterior of tower

Tower # 4

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged and leaking

105 CMR 451.350*	Structural Maintenance: Soffit damaged outside of tower

105 CMR 451.350*	Structural Maintenance: Unfinished exposed wood on exterior of tower

105 CMR 451.353	Interior Maintenance: Grab rail not secured at top of ladder

Tower # 5

105 CMR 451.124*		Water Supply: Discolored water observed at handwash sink

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1000F at handwash sink

105 CMR 451.350*	Structural Maintenance: Three windows broken

105 CMR 451.350*	Structural Maintenance: Unable to open 1 window

Tower # 6

105 CMR 451.350	Structural Maintenance: Unable to open 1 window

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.350	Structural Maintenance: Door and door frame not rodent and weathertight

Observations and Recommendations

- The inmate population was 380 at the time of inspection.

- The CSP observed the Certificate of Occupancy for the H Building, L Building, and the Storehouse had expired on October 24, 2022. The regulation 105 CMR 451.384, requires each facility to have a current certificate of use and occupancy issued by the local building commissioner or inspector of buildings. The Department has become aware that the facility does not have a valid Certificate of Occupancy from the State Building Inspector due to the severity of previously cited violations related to leaking roofs in the H Building, L Building, and the Storehouse. The CSP has received previous plans of correction from your facility outlining your intent and progress in repairing the violations, while some violations have been remedied some remain uncorrected. The Department is concerned for the health and safety of both inmates and staff in the areas where these violations have not yet been corrected. The CSP requests a copy of the current Certificate of Occupancy for these buildings once received.

- At the time of inspection, the Staff Kitchen, Staff Dining Room, Dorm L1, Dorm L2, and K Building were closed and not in use at the time of inspection.

- The CSP recommends maintaining all written policies and procedures for compliance with 105 CMR 480.000 in the medical waste binder for increased ease of access.

- The hot water temperature range for handwash sinks is 110°F-130°F and 100°F-112°F for showers.

- Building E and the Training Building outside of the facility are no longer used and were not inspected by the CSP.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Mederios														Environmental Health Inspector, CSP, BCEH