The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781 828-7910

Facsimile: 781 828-7703

Marian.Robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR JOHN W. POLANOWICZ SECRETARY CHERYL BARTLETT, RN COMMISSIONER

June 28, 2013

Michael A. Thompson, Superintendent

MCI Concord

965 Elm Street

P.O. Box 9106

Concord, MA 01742

Re: Facility Inspection – MCI Concord

Dear Superintendent Thompson:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of MCI Concord on May 28, June 5 and 6, 2013 accompanied by Sergeant George Frascarelli, FS/EHSO and Maurice Campbell, FS/EHSO. Violations noted during the inspection are listed below:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Building A

Lobby

No Violations Noted

Women’s Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Light shield missing

105 CMR 451.123	Maintenance: Grout dirty between wall tiles

Men’s Bathroom

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Floor tiles damaged

Administration Area

Women’s Bathroom

105 CMR 451.123	Maintenance: Light shield missing in bathroom area

105 CMR 451.123	Maintenance: Light shield loose in locker room area

Men’s Room

No Violations Noted

Janitor’s Closet

No Violations Noted

Water Fountain

No Violations Noted

Coffee Station

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Coffee maker dirty

Trap Break Room

105 CMR 451.350*	Structural Maintenance: Window damaged

Holding Tank

Cell A

No Violations Noted

Cell B

No Violations Noted

Building B

Hallway

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Visitor’s Bathrooms

Front Visitor’s Bathroom

No Violations Noted

Slop Sink Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Back Visitor’s Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Break Room

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, window broken

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, window panel missing

Weight Room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged

Visiting Room

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Vending machine drawer dirty

Back Room

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Treasurer’s Office Area

Inmate Bathroom (Urinalysis Bathroom)

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Treasurer’s Bathroom

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123*	Maintenance: Light shield missing

Treasurer’s Kitchenette

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator handle broken

B Corridor

Inmate Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.123*	Maintenance: Unfilled holes in tiles

105 CMR 451.123*	Maintenance: Tiles damaged

Vending Machines

No Violations Noted

B Corridor Slop Sink Room

No Violations Noted

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Wall vent rusted

B Building Control

No Violations Noted

B Control Bathroom

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123*	Maintenance: Wall tiles damaged

B Control Kitchenette

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

C Building

C Building Housing Unit-First Floor

Control

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

Staff Bathroom

No Violations Noted

Storage Room

105 CMR 451.350	Structural Maintenance: Wall damaged

Housing Unit

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged outside of cell # 4 and 5

105 CMR 451.119	Bathing Facilities: Inadequate shower to inmate ratio, 2 showers for 28 inmates

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Standing water in bucket

Shower # 1

105 CMR 451.123*	Maintenance: Wall damaged near controls

105 CMR 451.123*	Maintenance: Vent rusted

105 CMR 451.123	Maintenance: Water observed on ceiling, not properly ventilated

105 CMR 451.123	Maintenance: Shower head leaking

105 CMR 451.123	Maintenance: Ceiling paint damaged

Shower # 2

105 CMR 451.123*	Maintenance: Shower head leaking

105 CMR 451.123	Maintenance: Floor tile damaged

105 CMR 451.123	Maintenance: Vent fan screen damaged

105 CMR 451.123	Maintenance: Ceiling paint damaged

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 7 and 9

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 6

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 4

TV Room

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Windows filled with debris

C Building Housing Unit-Second Floor

Control

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

105 CMR 451.350*	Structural Maintenance: Ceiling unfinished, left in a work-person like fashion

105 CMR 451.353	Interior Maintenance: Light shield damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

105 CMR 451.123	Maintenance: Ceiling vent rusted

Housing Unit

Common Area

105 CMR 451.119	Bathing Facilities: Inadequate shower to inmate ratio, 2 showers for 47 inmates

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Vent not secure

105 CMR 451.353	Interior Maintenance: Standing water in bucket

Shower # 1

105 CMR 451.123*	Maintenance: Shower pipe chaser loose

105 CMR 451.123*	Maintenance: Shower pipe chaser missing

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Wall vent rusted

105 CMR 451.123	Maintenance: Ceiling dirty

Shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Soap scum on shower curtain

105 CMR 451.123*	Maintenance: Shield on water control loose

105 CMR 451.123	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Water observed on ceiling, shower not properly ventilated

Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 47

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 35 and 49

TV Room

No Violations Noted

Classroom

Unable to Inspect - Locked

CRA Program Basement

Stairway

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Floor tiles missing

Inmate Bathroom

Unable to Inspect – Not in Use

Staff Bathroom

105 CMR 451.350	Structural Maintenance: Hole in wall

Break Room

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

Classrooms

Classroom 1

No Violations Noted

Classroom 2

105 CMR 451.350*	Structural Maintenance: Floor tile damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

SMU-First Floor

Hallway

No Violations Noted

Search Room C1-3

105 CMR 451.353*	Interior Maintenance: Wall vent dirty

Search Room C1-4

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Property C1-9

No Violations Noted

Medical Exam Room C1-10

No Violations Noted

Staff Bathroom C1-11

105 CMR 451.123*	Maintenance: Wall vent dirty

Slop Sink Room C1-62

105 CMR 451.130*	Plumbing: Backflow preventer cap loose on slop sink

105 CMR 451.353*	Interior Maintenance: Wall vent dirty

105 CMR 451.350*	Structural Maintenance: Water damaged ceiling

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink leaking

Control

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # C1-60 and C1-61

105 CMR 451.123	Maintenance: Door paint damaged in shower # C1-24, C1-25, C1-26, and C1-60

105 CMR 451.123	Maintenance: Vent dirty in shower # C1-24, C1-25, and C1-26

Cells

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 1-33, 1-35, 1-50

Staff Break Room C1-22

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of toaster oven dirty

Law Library C1-23

No Violations Noted

Recreational Decks

No Violations Noted

SMU-Second Floor

Slop Sink Room C2-62

105 CMR 451.353*	Interior Maintenance: Standing water in mop bucket

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.353*	Interior Maintenance: Missing drain cover in slop sink

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # C2-24, C2-25, and C2-26

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # C2-60

105 CMR 451.123	Maintenance: Door paint damaged in shower # C2-25 and C2-26

105 CMR 451.123	Maintenance: Wall tile damaged in shower # C2-61

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 2-46

105 CMR 451.353*	Interior Maintenance: Light fixture blocked by paper in cell # 2-38

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 2-28

Room C2-22

105 CMR 451.353	Interior Maintenance: Floor wax residue leftover on floor

Law Library C2-23

No Violations Noted

Recreational Deck

No Violations Noted

Building D

Exterior

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Red exterior door not weather 	and vermin tight

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged near walk-in milk cooler

Food Service Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor grout 	damaged in between pots and pans room and dry storage room

Barrel Wash Room

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, slop sink drain cover not secure

Walk-In Milk Cooler

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, spilled milk on floor

Prep and Leftover Cooler

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Produce Cooler

No Violations Noted

Tool Storage Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, heater cover not 	secured properly

Freezer

No Violations Noted

Ice Machine

No Violations Noted

Staff Office

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, window panel broken

Staff Bathroom

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall vent rusted

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, heater cover not 	secured properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, window air conditioning unit missing front cover

B Tool Room # 2

No Violations Noted

Inmate Bathroom

Unable to Inspect – Occupied

Bakery/Dry Storage Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles not 	installed properly

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, vent cover missing

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, heater cover not 	secured properly

Walk-in Freezers

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice build-up observed in walk-in freezer unit # 2

Freezer and Refrigerator Units

No Violations Noted

Pots and Pans Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent fan dirty

FC 4-904.13(A)*	Protection of Clean Items, Handling: Mixing bowl not stored in the inverted position

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Pans and bowls not stored in the inverted position

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, water observed on floor

3 Compartment Sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, drain handles under sink not working properly, held up by buckets

FC 6-501.14*	Maintenance and Operation; Cleaning: Ventilation systems, vent fan dusty

South Side

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, heater cover not 	secured properly

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged near 	dining room entrance

Kettles and Ovens Hood Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged under ovens

Handwash Sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, handwash sink not working

Tray Prep

No Violations Noted

Traulsen Cooler

No Violations Noted

Old Food Service Line

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Styrofoam plates not stored in the inverted position

Food Warmers

No Violations Noted

South Side Dinning Room

FC 6-202.15(A)(2)	Design, Construction, and Installation; Functionality: Exterior door not weather and vermin tight

North Side

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall fan dirty

Hoods

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, grill not working properly

Handwash Sink

No Violations Noted

Tray Prep Tables

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, cold water not working at sink

Old Food Service Line

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution low than 	the manufacturers recommended concentration

North Side Dinning Room

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, trash and debris in windows

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall tiles damaged

Mechanical Warewashing Room

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, pipes leaking under sink

Building E

105 CMR 451.350	Structural Maintenance: Ceiling damaged at entrance of building

West Side

Stairway

No Violations Noted

West Down Control

Staff Bathroom

105 CMR 451.123	Maintenance: Pipe insulation damaged

105 CMR 451.123	Maintenance: Window broken

105 CMR 451.123	Maintenance: Wall heater not secure

West Down Low

Hallway

No Violations Noted

Showers

Unable to Inspect - Occupied

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 112, 118, 124, and 125

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

Phone Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

West Down High

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Vent cover damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Showers

Unable to Inspect - Occupied

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 131 and 134

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 129 and 151

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

105 CMR 451.350	Structural Maintenance: Window broken

West Up Control

No Violations Noted

Control Closet

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Heater cover not secured properly

West Up Low

Hallway

105 CMR 451.350	Structural Maintenance: Wall damaged outside shower

Showers

105 CMR 451.121(A)*	Privacy: No privacy partition between shower heads

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation in shower area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling outside shower unit dirty and paint damaged

105 CMR 451.123	Maintenance: Insects observed in shower

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 221

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 205 and 220

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with debris

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior of hot water pot dirty

Phone Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with debris

105 CMR 451.353*	Interior Maintenance: Window panels missing

105 CMR 451.350*	Structural Maintenance: Wall damaged, hole in wall

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Wall tile damaged

West Up High

Hallway

105 CMR 451.353	Interior Maintenance: Wall heater broken and not secure

Slop Sink Room

105 CMR 451.350*	Structural Maintenance: Wall damaged, wall rusted

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Light out

Showers

Unable to Inspect - Occupied

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 229

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 220 and 228

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with debris

East Side

Stairway

105 CMR 451.353*	Interior Maintenance: Window sill filled with debris

East Down Control

105 CMR 451.353*	Interior Maintenance: Counter top and drawer covers damaged and no longer easily 	cleanable

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Ceiling paint damaged

East Down Low

Hallway

No Violations Noted

Showers

Unable to Inspect - Occupied

Cells

No Violations Noted

Day Room

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Window sills filled with debris

Phone Room

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Window sills filled with debris

East Down High

Hallway

No Violations Noted

Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet not secured properly

105 CMR 451.353*	Interior Maintenance: Ceiling rusted

Showers

Unable to Inspect - Occupied

Cells

105 CMR 451.353	Interior Maintenance: Debris in window in cell # 350

105 CMR 451.350	Structural Maintenance: Window panel missing in cell # 338, 339, 342, 344, and 345

105 CMR 451.353	Interior Maintenance: Wall damaged and rusted in cell # 338

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with debris

CPO Office

Unable to Inspect - Occupied

East Up Control

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Window sill dirty

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Wall door panel missing

105 CMR 451.123	Maintenance: Wall heater broken and not secure

East Up Low

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Showers

Unable to Inspect - Occupied

Cells

105 CMR 451.350	Structural Maintenance: Window panel missing in cell # 409

105 CMR 451.350	Structural Maintenance: Window panels loose in cell # 414

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 422

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with debris

Phone Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with debris

105 CMR 451.350	Structural Maintenance: Window panels missing

East Up High

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Standing water in bucket

Showers

105 CMR 451.121(A)	Privacy: No privacy partition between showers

105 CMR 451.123	Maintenance: Vent rusted

Cells

105 CMR 451.350*	Structural Maintenance: Window panel out in cell # 449

105 CMR 451.350	Structural Maintenance: Window panel out in cell # 441

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with debris

Building H

Basement

H-1 Overflow Housing Unit

Unable to Inspect – Not In Use

Workout Room

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

105 CMR 451.353	Interior Maintenance: Ceiling heat insulation damaged

105 CMR 451.353	Interior Maintenance: Light shields missing throughout room

Inmate Bathroom

105 CMR 451.123	Maintenance: Two lights out

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Walls dirty

Stairway

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

First Floor

Hallway

No Violations Noted

Gym Staff Bathroom

Unable to Inspect - Occupied

Shower

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling vent dirty

Gym

105 CMR 451.353	Interior Maintenance: Walls dirty

105 CMR 451.353	Interior Maintenance: Grated vent dusty

105 CMR 451.353	Interior Maintenance: Grated vent damaged

Mop Closet

No Violations Noted

Recreational Office
105 CMR 451.353*	Interior Maintenance: Ceiling tile damaged

Barber Shop Closet

105 CMR 451.353	Interior Maintenance: Light shield missing

Office

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

Inmate Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123	Maintenance: Urinal leaking

105 CMR 451.123	Maintenance: Wall cracked

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Slop sink damaged

Barber Shop

105 CMR 451.353*	Interior Maintenance: Ceiling panels not installed properly

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in storage area

Library

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Library Bathroom

No Violations Noted

Second Floor

Hallway

105 CMR 451.353	Interior Maintenance: Light shields water stained

Inmate Bathroom

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Toilet # 2 not working

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

105 CMR 451.123	Maintenance: Light shield broken

Slop Sink Room

No Violations Noted

Inmate Bathroom

Unable to Inspect – No Longer Used

Building I

Common Area

No Violations Noted

Front Staff Office

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

Front Staff Bathroom

No Violations Noted

Front Inmate Bathroom

No Violations Noted

Side Office

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

Storage

No Violations Noted

Back Staff Bathroom

No Violations Noted

Back Inmate Bathroom

No Violations Noted

Paint Shop Trap and Bathroom

No Violations Noted

Paint Shop Inmate Bathroom

No Violations Noted

Tool Control Officer’s Bathroom

Unable to Inspect - Locked

Director of Engineering Office

No Violations Noted

Director of Engineering Bathroom

No Violations Noted

Building J

Hallways

No Violations Noted

J Control Corridor

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

105 CMR 451.123	Maintenance: Light out above toilet

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

J Building Control

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent rusted

105 CMR 451.123	Maintenance: Ceiling vent dusty

Staff Kitchen and Dinning Room

Outside-Dry Storage

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, exterior door dragging on the ground

Back Hallway

No Violations Noted

Refrigerators and Freezer Units

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on Traulsen refrigerator unit # 4

Staff Bathroom

No Violations Noted

Baking and Prep Room

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, vent fans dusty

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, dry goods containers lids damaged and not closing properly

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, dry goods containers covered with plastic

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

Refrigerator

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans dusty

Kitchen Area

Inmate Bathroom

No Violations Noted

Pantry

FC 4-102.11(B)(2)*	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, plastic utensil boxes left uncovered

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor paint 	damaged

FC 4-903.11(B)(1)*	Protection of Clean Items, Storing: Pots and bowls not stored in the inverted position

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

Kettle Room

No Violations Noted

2-Compartment Sink

FC 2-401.11*	Hygienic Practices Food Contamination Prevention: Food service personnel drinking 	in an inappropriate area

Dish Washing Area

No Violations Noted

Food Service Line

No Violations Noted

Refrigerator

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator units damaged

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

Ice Machine

No Violations Noted

Dinning Room

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution lower than 	the manufacturers recommended concentration

Janitor’s Closet

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

Second Floor

Phase II Classification

Inmate Bathroom

No Violations Noted

Staff Bathroom 1

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Janitor’s Closet

No Violations Noted

Staff Bathroom 2

105 CMR 451.123*	Maintenance: Ceiling damaged

Inmate Bathroom-Waiting Area

105 CMR 451.123*	Maintenance: Unfinished wood shelves not easily cleanable

Water Fountain

No Violations Noted

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Unfilled holes in wall

Janitor’s Closet

No Violations Noted

Offices

No Violations Noted

Classrooms

No Violations Noted

Staff Dinning Room

No Violations Noted

J Housing Units

105 CMR 451.322*	Cell Size: Inadequate floor space in all cells

Unit J1

Common Areas

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gaskets dirty

105 CMR 451.353	Interior Maintenance: Ceiling vent missing

Slop Sink Room (1st Tier)

No Violations Noted

Slop Sink Room (3rd Tier)

105 CMR 451.353	Interior Maintenance: Vent dusty

Cells

No Violations Noted

1st Tier Showers	Shower # 2 – Used as storage

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1

2nd Tier Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall cover damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Shower head missing in shower # 1

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 2

105 CMR 451.123	Maintenance: Ceiling damaged in shower # 1

3rd Tier Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in both showers stalls

105 CMR 451.123	Maintenance: Wall paneling damaged in both shower stalls

105 CMR 451.123	Maintenance: Floor tile damaged in shower # 1

Unit J2

Common Area

105 CMR 451.353*	Interior Maintenance: Water stains on wall near cell # 45

Staff Bathroom

No Violations Noted

Slop Sink Room (1st Tier)

105 CMR 451.350*	Structural Maintenance: Wall damaged, unfilled holes in wall

105 CMR 451.353*	Interior Maintenance: Standing water in mop bucket

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink slowly draining

Slop Sink Room (3rd Tier)

No Violations Noted

Cells

No Violations Noted

1st Tier Showers	Unable to Inspect Shower # 1 - Occupied

105 CMR 451.123*	Maintenance: Soap scum on shower curtain in shower stall # 3

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 2

105 CMR 451.123	Maintenance: Vent rusted in shower # 3

105 CMR 451.123	Maintenance: Debris in vent in shower # 3

2nd Tier Showers	Unable to Inspect Shower # 1 - Occupied

105 CMR 451.123*	Maintenance: Unfilled holes in wall paneling in shower stall # 3

105 CMR 451.123*	Maintenance: Soap scum on shower curtain in shower # 3

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 2

105 CMR 451.123	Maintenance: Debris in vent in shower # 2

105 CMR 451.123*	Maintenance: Debris in vent in shower # 3

105 CMR 451.123	Maintenance: Vent rusted in shower # 3

3rd Tier Showers

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 2

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 2

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 1

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 2

105 CMR 451.123	Maintenance: Vent rusted in shower # 1

105 CMR 451.123	Maintenance: Debris in vent in shower # 1

3rd Tier Storage

Unable to Inspect – Locked and No Longer Used

Unit J3

Common Area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Light out in front of staff bathroom

Staff Bathroom

No Violations Noted

Slop Sink Room (1st Tier)

No Violations Noted

Slop Sink Room (3rd Tier)

Unable to Inspect – Locked and No Longer Used

Water Fountain

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 3, 8, 12, 13, and 38

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 1, 2, 16, 17, 20, 22, and 25

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 32, 34, and 40

1st Tier Showers

105 CMR 451.123*	Maintenance: Debris in vent in shower # 2

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 3

105 CMR 451.123	Maintenance: Soap scum on shower curtains in all showers

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123	Maintenance: Light out in shower # 1

2nd Tier Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 3

105 CMR 451.123*	Maintenance: Light fixture damaged in shower stall # 2

105 CMR 451.123	Maintenance: Light out in shower # 1

105 CMR 451.123	Maintenance: Shower head leaking in shower # 2

105 CMR 451.123	Maintenance: Soap scum on shower curtains in all showers

105 CMR 451.123	Maintenance: Floor tiles damaged and missing in shower # 3

3rd Tier Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 1

105 CMR 451.123	Maintenance: Soap scum on shower curtains in shower # 1 and 2

105 CMR 451.123	Maintenance: Floor tiles damaged and missing in shower # 2

105 CMR 451.123	Maintenance: Wall vent rusted in shower # 2

Unit J4

Not Inspected – Not In Use

Unit J5

Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near phones

Staff Bathroom

105 CMR 451.123	Maintenance: Floor damaged

Slop Sink Room (1st Tier)

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, slop sink leaking

Slop Sink Room (3rd Tier)

Unable to Inspect – Locked and No Longer Used

Staff Room (3rd Tier)

Unable to Inspect – Locked and No Longer Used

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 2

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 3

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 8 and 13

1st Tier Showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1300F

105 CMR 451.123*	Maintenance: Floor tiles damaged and missing in shower # 1

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 3

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 3

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 3

105 CMR 451.123	Maintenance: Wall vent rusted in shower # 1

2nd Tier Showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1300F

105 CMR 451.123*	Maintenance: Trash in vent in shower stall # 3

105 CMR 451.123	Maintenance: Trash in vent in shower stall # 2

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 2

105 CMR 451.123	Maintenance: Soap scum on shower curtains in all showers

105 CMR 451.123	Maintenance: Wall paneling damaged in shower # 1

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 1 and 3

3rd Tier Showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1300F

105 CMR 451.123*	Maintenance: Debris in vent in all showers

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 1

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 1

105 CMR 451.123	Maintenance: Soap scum on floors in all showers

105 CMR 451.123	Maintenance: Soap scum on shower curtains all showers

Unit J6

Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near phones

Staff Bathroom

No Violations Noted

Slop Sink Room (1st Tier)

105 CMR 451.353*	Interior Maintenance: Unfilled holes in wall

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Possible mold growth on wall

105 CMR 451.353	Interior Maintenance: Standing water in bucket

Slop Sink Room (3rd Tier)

Unable to Inspect – Locked and Not Longer Used

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 5 and 14

1st Tier Showers	Unable to Inspect Shower # 1 – Occupied

105 CMR 451.123*	Maintenance: Tier 2 shower leaking causing ceiling damaged outside of showers on Tier 1

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123*	Maintenance: Wall paneling damaged in shower # 3

2nd Tier Showers

105 CMR 451.123*	Maintenance: Ceiling paint damaged outside shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

3rd Tier Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower stall # 1

Dorm J7

Not Inspected – Not In Use

Health Service Unit

105 CMR 451.350	Structural Maintenance: Ceiling in front of ramp near medline window damaged and leaking

Hallway

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty throughout Health Service Unit

Med Room C119A

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

Med Room C120A

105 CMR 451.353	Interior Maintenance: CO2 tanks not secure

105 CMR 451.344	Illumination in Habitable Areas: One light out

Women Staff Bathroom C121

Unable to Inspect – Occupied

Med Room C122

No Violations Noted

Med Room C124

No Violations Noted

Med Room C125B

No Violations Noted

Med Room C126

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Nurses’ Control Area

105 CMR 451.344	Illumination in Habitable Areas: Two lights out

Waiting Rooms 102 to 104

105 CMR 451.353	Interior Maintenance: Wall vents dusty in waiting room # 103 and 104

Medical Unit Cells

Cell # 102

No Violations Noted

Cell # 103

No Violations Noted

Cell # 104

No Violations Noted

Cell # 106

No Violations Noted

Janitor’s Closet

No Violations Noted

Cell # 108

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

105 CMR 451.353	Interior Maintenance: Wall vent dirty

Cell # 110

105 CMR 451.353	Interior Maintenance: Ceiling dirty

Cell # 112

No Violations Noted

Shower Unit

105 CMR 451.123*	Maintenance: Bench rusted

Janitor’s Closet # 133

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Men’s Room C107A

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Optometry Room C 108A

105 CMR 451.353	Interior Maintenance: Light shield missing

Slop Sink Room C109A

No Violations Noted

Water Fountain

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, water fountain damaged and not working

Room C110A

No Violations Noted

Trauma Room 2 C111A

105 CMR 480.400(C)	Shipping Papers: Copy of shipping papers not kept with record-keeping log sheet

Nurse Practitioners Office C112A

No Violations Noted

Psychiatrist Office C113A

No Violations Noted

Phlebotomy Room C114A

No Violations Noted

Exam Room C116A

No Violations Noted

Exam Room C117A

No Violations Noted

Exam Room C118A

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, mislabeled hot/cold faucets

Staff Break Room C119A

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

Back Storage C120A

105 CMR 451.353*	Interior Maintenance: Oxygen tanks not secure

Exam Room C126

No Violations Noted

X-Ray Room C 127

Unable to Inspect – Occupied

Dental Exam Room C129 and C130

No Violations Noted

Building K

Staff Bathroom C-101

No Violations Noted

Inmate Bathroom C-102

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water in bucket

Protestant Chapel

No Violations Noted

Catholic Chapel

No Violations Noted

Islamic Chapel

No Violations Noted

Muslim Chapel

105 CMR 451.353	Interior Maintenance: Wall vents taped over

Security Staff Room

No Violations Noted

Storage Room

No Violations Noted

Building L

Inmate Processing Common Area

No Violations Noted

Office

105 CMR 451.353*	Interior Maintenance: Vent dirty

Staff Break Room

No Violations Noted

Bathroom

No Violations Noted

Search Chair Room

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in either refrigerator

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

Inmate Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Laundry/Storage

No Violations Noted

Dorms

Laundry Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Buffer Storage Room

No Violations Noted

Dorm Control

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	refrigerator gaskets dirty

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

L1 Dorm

Common Area

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.344	Illumination in Habitable Areas: One light out

Bathroom L1-14

105 CMR 451.123	Maintenance: Wall vent dirty

Shower Room L1-13 A&B

105 CMR 451.123*	Maintenance: Shower head leaking in shower # 2

105 CMR 451.123	Maintenance: Shower head leaking in shower # 1, 3, and 5

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3, 4, 5, 6, 7, 9, and 10

105 CMR 451.123	Maintenance: Soap scum on floors in shower # 3, 4, 5, 6, 7, 9, and 10

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 4

105 CMR 451.123*	Maintenance: Debris in wall vents in shower # 7 and 8

105 CMR 451.123	Maintenance: Debris in wall vents in shower # 6, 9, and 10

Bathroom L1-12

105 CMR 451.123*	Maintenance: Wall vent dirty

Dorm L2

Common Area

105 CMR 451.350*	Structural Maintenance: Unfilled holes in wall under microwave

Bathroom L1-22

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially hazardous food not held at the proper cold holding temperature, milk stored in sink

Shower Room L2-23 A&B

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Soap scum on floors in all showers

105 CMR 451.123	Maintenance: Soap scum on shower curtains in shower # 1, 3, 4, 7, 9, and 10

105 CMR 451.123*	Maintenance: Debris in the wall vents in all showers

105 CMR 451.123	Maintenance: Floor damaged in shower # 1

105 CMR 451.123*	Maintenance: Shower curtain missing in shower # 6

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 2, 5, and 8

Bathroom L2-24

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Wall vent dusty

Janitor’s Closet L1-21

105 CMR 451.123*	Maintenance: Drain cover missing in slop sink

105 CMR 451.123*	Maintenance: Vent dirty

L1-3 Offices

Women’s Bathroom L1-4

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Men’s Bathroom L1-5

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Dorm L3

Not Inspected – Closed

Laundry Area

No Violations Noted

Staff Office

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures not easily cleanable, toilet paint damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink not working

Modular Units

Lobby Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Control Area

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor tile damaged

A Side

Recreational Area

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.344*	Illumination in Habitable Areas: One light out

Bathroom

105 CMR 451.123*	Maintenance: Floor damaged

Laundry Area

No Violations Noted

Shower Room

105 CMR 451.123	Maintenance: Baseboard damaged outside of showers

105 CMR 451.123	Maintenance: Floor damaged in handicapped shower # 1

A Dorm Rooms

1A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.344	Illumination in Habitable Areas: One light out

2A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

3A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.344	Illumination in Habitable Areas: Two lights out

4A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.344	Illumination in Habitable Areas: Three lights out

5A

105 CMR 451.344*	Illumination in Habitable Areas: Three lights out

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

6A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

7A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.344	Illumination in Habitable Areas: One light out

8A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.344	Illumination in Habitable Areas: One light out

9A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.344	Illumination in Habitable Areas: One light out

10A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

B Side

Recreational Area

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Mop Closets 103B

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Splash guards damaged near sinks

Laundry Area

No Violations Noted

Shower Room

105 CMR 451.123	Maintenance: Vent dusty outside of showers

105 CMR 451.123	Maintenance: Baseboard damaged out of showers

B Dorm Rooms

1B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.344	Illumination in Habitable Areas: Two lights out

2B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

3B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

4B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.344	Illumination in Habitable Areas: Three lights out

5B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.344	Illumination in Habitable Areas: Two lights out

6B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged
105 CMR 451.344	Illumination in Habitable Areas: Two lights out

7B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

8B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.344	Illumination in Habitable Areas: One light out

9B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.344	Illumination in Habitable Areas: Two lights out

10B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.344	Illumination in Habitable Areas: One light out

Outside Facility

Store House

Box 1 – Walk-in Freezer

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice build-up observed on ceiling

Box 2 – Walk-in Refrigerator

No Violations Noted

Box 3

Unable to Inspect – Locked

Inmate Break Room

No Violations Noted

Chemical Storage Room # 4

No Violations Noted

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

Men’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 740F

Freezer 5

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, freezer not working

Cooler 6	Used for storage at the time of inspection

No Violations Noted

Cooler 7	Used for storage at the time of inspection

105 CMR 451.353*	Interior Maintenance: Baseboard damaged

Staff Office

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.350*	Structural Maintenance: Water damaged ceiling tiles

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall vent dirty

105 CMR 451.123*	Maintenance: Wet mop left in bucket

105 CMR 451.123*	Maintenance: Floor drain damaged and loose

105 CMR 451.123*	Maintenance: Window broken

105 CMR 451.123*	Maintenance: Several window panels missing

4-Bay Sink

105 CMR 451.360	Protective Measures: Drain flies observed around sink

Dry Goods Storage Room-2nd Floor

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Slop Sink Room

No Violations Noted

Bathroom

No Violations Noted

Towers

Tower # 1

105 CMR 451.350*	Structural Maintenance: Soffits on outside of tower damaged

Tower # 2

105 CMR 451.350*	Structural Maintenance: Soffits on outside of tower damaged

105 CMR 451.350*	Structural Maintenance: Siding missing and falling off on outside of tower

105 CMR 451.350*	Structural Maintenance: Wall damaged behind refrigerator

105 CMR 451.350	Structural Maintenance: Floor window cracked

105 CMR 451.141*	Screens: Three screens missing

105 CMR 451.353*	Interior Maintenance: Phone jack outlet damaged

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator unit damaged

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	refrigerator gaskets dirty

Tower # 3

105 CMR 451.350*	Structural Maintenance: Siding missing and falling off on outside of tower

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Floor window cracked

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	refrigerator gaskets dirty

105 CMR 451.141	Screens: Two screens missing

Tower # 4

105 CMR 451.350*	Structural Maintenance: Soffits on outside of tower damaged

105 CMR 451.350*	Structural Maintenance: Siding missing and falling off on outside of tower

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.141	Screens: One screen missing

Tower # 5

105 CMR 451.350*	Structural Maintenance: Soffits on outside of tower damaged

105 CMR 451.350*	Structural Maintenance: Siding missing and falling off on outside of tower

105 CMR 451.141*	Screens: Five screens missing

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.350*	Structural Maintenance: Hole in ceiling

105 CMR 451.350*	Structural Maintenance: Gaps in windows

105 CMR 451.353*	Interior Maintenance: Phone jack outlet damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged, hole in wall

105 CMR 451.350*	Structural Maintenance: Wall damaged around top of window

Tower # 6

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.350	Structural Maintenance: Walls damaged

105 CMR 451.141*	Screens: Two screens missing

105 CMR 451.141	Screens: Several screens damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink faucet leaking

105 CMR 451.353	Interior Maintenance: Heater broken and not working

Observations and Recommendations

- The inmate population was 456 at the time of inspection.

- The Training Building outside of the facility was not inspected due to being closed and no longer used.

- It appeared that attempts had been made to renovate showers throughout the facility.

- The Department recommends that the freezers and refrigerators be labeled on the units for easier identification throughout the Food Service Area in Building D.

- The Mechanical Warewashing Room in the Food Service Area in Building D was under renovation but still in use. The mechanical warewash machine was in the process of being replaced and the facility was using Styrofoam cups and plates.

- A new freezer in Cooler # 7 was in the process of being installed in the Store House.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, EOHHS

Luis S. Spencer, Commissioner, DOC

George Frascarelli, FS/EHSO

Maurice Campbell, FS/EHSO

Susan G. Rask, Health Director, Concord Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, Secretary, EOPS