The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Climate and Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 857-507-7205

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

Tel: 617-624-6000

www.mass.gov/dph

MAURA T. HEALEY

Governor

KIMBERLEY DRISCOLL

Lieutenant Governor

December 22, 2023

Kristie Marchand, Superintendent

MCI Framingham

99 Loring Drive

P.O. Box 9007

Framingham, MA 01704		(electronic copy)

Re: Facility Inspection – MCI Framingham

Dear Superintendent Marchand:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of MCI Framingham on December 7 and 8, 2023 accompanied by Michael Beland, Environmental Health and Safety Officer and Anthony Montonari, Director of Engineering. Violations noted during the inspection are listed below including 48 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Amy Medeiros

Environmental Health Inspector, CSP, BCEH

cc: 	Robert Goldstein, MD, PhD, Commissioner, DPH

Nalina Narain, Director, BCEH

Steven Hughes, Director, CSP, BCEH

Kathleen E. Walsh, Secretary, Executive Office of Health and Human Services 		(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Terrence Reidy, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 		(electronic copy)

Michael Beland, EHSO  								(electronic copy)

Bill Murphy, Director, Framingham Department of Public Health 			(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Lobby

Male Bathroom # C141A

No Violations Noted

Female Bathroom # C133A

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet seat loose

Janitor’s Closet

No Violations Noted

Armory/Lock Shop

Unable to Inspect – Locked

Processing

Unable to Inspect – Locked

Officer’s Area

Muster Room # C111A

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator dirty

Orientation Room

No Violations Noted

Staff Gym

No Violations Noted

Male Locker Room # 124A

No Violations Noted

Female Locker Room # 125A

No Violations Noted

Mail Room # 116A

Unable to Inspect – Locked

Tool Control # 127A

Unable to Inspect – Locked

Office # C119A

Unable to Inspect – Locked

Computer Room

Unable to Inspect – Locked

Lower Control

No Violations Noted

Inner Control

105 CMR 451.353*	Interior Maintenance: Ceiling tile water damaged

Janitor’s Closet

No Violations Noted

Bathroom

No Violations Noted

Admissions

105 CMR 451.350	Structural Maintenance: One skylight leaking

105 CMR 451.353	Interior Maintenance: Ceiling water damaged

Bathroom # 103A (outside of Admissions)

No Violations Noted

Storage Room # C104A

No Violations Noted

Property # C106A

No Violations Noted

Staff Bathroom # 106A

No Violations Noted

Fingerprint Room # C148A

Unable to Inspect – Locked

Storage Room # 107A

Unable to Inspect – Locked

Mental Health # 108A

Unable to Inspect – Locked

Medical Room # 109A

No Violations Noted

Holding Cell # 105A

No Violations Noted

Inmate Shower # 110A

No Violations Noted

Inmate Shower # 111A

105 CMR 451.123*	Maintenance: Floor paint damaged

Room # 136A

No Violations Noted

Control Room # 112A

No Violations Noted

Search Room # 115A and 116A

No Violations Noted

Holding Cells

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at handwash sink in Group Holding Cell

Officer’s Room # C108A

No Violations Noted

Visiting Area

Janitor’s Closet # 139A

No Violations Noted

Attorney Rooms

No Violations Noted

Inmate Bathroom # C138A

No Violations Noted

Common Area

No Violations Noted

Female Bathroom # C143A

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123	Maintenance: Soap dispenser broken

Male Bathroom # C142A

No Violations Noted

Visitation Play Area # 133A

No Violations Noted

Search Room #129A

Unable to Inspect – Locked

Smith Food Service # 173

Unable to Inspect – Not Used

Smith Hallway

Old Smith Dining Hall Room # 172-1

No Violations Noted

Officer’s Room # C174

No Violations Noted

Office # C136

Unable to Inspect – Locked

Old Smith Clinic

No Violations Noted

Staff Bathroom # C131

No Violations Noted

Janitor’s Closet # C102

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Room # C158

No Violations Noted

Staff Bathroom # C154

No Violations Noted

Multi-Purpose Room # 1

No Violations Noted

Multi-Purpose Room # 2

No Violations Noted

Multi-Purpose Room # 3

No Violations Noted

ATU East

Trap

Chemical Closet # C129

Unable to Inspect – Locked

Day Room # C130

No Violations Noted

Medical Equipment Storage Room

Unable to Inspect – Locked

Office # C125

Unable to Inspect – Locked

Cell Block

Common Area

No Violations Noted

Unit Sergeant’s Office # 123

Unable to Inspect – Locked

CO’s Office # C124

No Violations Noted

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers		Unable to Inspect Shower # 3 – In Use

105 CMR 451.123	Maintenance: Bathtub out-of-order

Upper Level Janitor’s Closet

No Violations Noted

Upper Level Showers

No Violations Noted

Cells

No Violations Noted

ATU West

Trap

Day Room

No Violations Noted

CPO’s Office

No Violations Noted

Cell Block

Common Area

105 CMR 451.353	Interior Maintenance: Counter water damaged behind sink in kitchenette area

Storage Room

No Violations Noted

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123	Maintenance: Drain flies observed in shower # 1, 2, and 3
105 CMR 451.123	Maintenance: Mold on caulking in shower # 1 and 2

Upper Level Janitor’s Closet

No Violations Noted

Upper Level Showers 		Unable to Inspect Shower # 3 – In Use

105 CMR 451.123	Maintenance: Drain flies observed in shower # 1
105 CMR 451.123	Maintenance: Mold on caulking in shower # 1 and 2

105 CMR 451.123	Maintenance: Ceiling vent rusted in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water control leaking in shower # 2

Cells

No Violations Noted

SAU

Trap

CPO’s Office # 157

Unable to Inspect – Locked

Storage Room # C155

Unable to Inspect – Locked

Day Room # C153

Unable to Inspect – Locked

Cell Block

Common Area

No Violations Noted

Break Room # C161

Unable to Inspect – Locked

Lower Level Janitor’s Closet

Unable to Inspect – Locked

Lower Level Showers

105 CMR 451.123	Maintenance: Mold on caulking in shower # 2 and 3

Upper Level Janitor’s Closet

Unable to Inspect – Locked

Storage Room # 265

Unable to Inspect – Locked

Upper Level Showers

105 CMR 451.123	Maintenance: Mold on caulking in shower # 1 and 2

Cells

No Violations Noted

BAU

Trap

Search Room # 108

Unable to Inspect – Locked

Attorney’s Interview Room # C105

Unable to Inspect – Locked

Office # 106

No Violations Noted

Room # 109

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.353	Interior Maintenance: Baseboard damaged

Cell Block

105 CMR 451.353*	Interior Maintenance: Ceiling left unfinished

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

Storage Room

No Violations Noted

Officer’s Office

No Violations Noted

Medical Room

Unable to Inspect – Locked

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers 		Unable to Inspect Shower # 114 – Not Used

105 CMR 451.123	Maintenance: Mold on caulking in shower # 112

105 CMR 451.123*	Maintenance: Caulking damaged in shower # 112 and 113

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 112 and 113

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 112 and 113

Upper Level Janitor’s Closet

No Violations Noted

Upper Level Showers

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 206

105 CMR 451.123*	Maintenance: Door rusted in shower # 206

105 CMR 451.123*	Maintenance: Door frame rusted and paint damaged in shower # 206 and 207

105 CMR 451.123*	Maintenance: Caulking damaged in shower # 207

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 207

105 CMR 451.123	Maintenance: Light flickering in shower # 207

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 700F in shower # 206

105 CMR 451.123	Maintenance: Door frame damaged in shower # 208

105 CMR 451.123	Maintenance: Mold on caulking in shower # 206, 207, and 208

Storage Room # 226

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 109, 111, 113, and 115

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 106

2nd FLOOR OFFICE AREA

Female Bathroom # C210A

No Violations Noted

Male Bathroom # C211A

No Violations Noted

Janitor’s Closet # C237A

No Violations Noted

Offices

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged in Office # 213

Break Room # C218A

No Violations Noted

EHSO Office (Blood Bourne Pathogen Training)

No Violations Noted

HSU BUILDING

Barton (2nd Floor)

RTU # 1

No Violations Noted

Medical # 3

105 CMR 451.350	Structural Maintenance: Window broken

Optometry Office # 5

Unable to Inspect – Locked

Catch the Hope Office # 2

No Violations Noted

CPO’s Office # 6

No Violations Noted

Clinician’s Office & Bathroom # 7

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1420F at handwash sink

Janitor’s Closet

No Violations Noted

Day Room

No Violations Noted

Kitchenette

105 CMR 451.353	Interior Maintenance: Counter damaged behind sink

Officer’s Station

No Violations Noted

T.V. Room

No Violations Noted

Cells

No Violations Noted

Storage Closet (end of Hallway)

Unable to Inspect – Not Used

Storage Closet (with Slop Sink)

Unable to Inspect – Not Used

Meeting Room

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Floor tiles damaged and missing outside showers

105 CMR 451.123*	Maintenance: Floor tiles missing in shower # 1

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1270F in shower # 1

105 CMR 451.123*	Maintenance: Caulking damaged in shower # 2

105 CMR 451.123*	Maintenance: Mold on caulking in shower # 2

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 3

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 2

105 CMR 451.123	Maintenance: Grout deteriorated on floor in shower # 2 and 3

1st Floor

Medical Records

No Violations Noted

Break Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F at handwash sink

Office

Unable to Inspect – Locked

Pharmacy & Bathroom

Unable to Inspect – Locked

Supply Room # 12

No Violations Noted

Supply Room Bathroom

No Violations Noted

Health Services Administration (Medical Waste Log)

No Violations Noted

Infirmary

CO’s Office

No Violations Noted

CO’s Office Bathroom

No Violations Noted

Biohazard Storage Room

No Violations Noted

Mental Health Interview Room/Search Room

105 CMR 451.353	Interior Maintenance: Hole in floor

Shower Room

105 CMR 451.123	Maintenance: Grout deteriorated in shower # 1

Doctor’s Office

No Violations Noted

Nurse’s Station

Unable to Inspect – Locked

Medical Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm rooms

Storage Room (end of hall)

Unable to Inspect – Not Used

Slop Sink/Storage (end of hall)

Unable to Inspect – Not Used

Clinical Area

Treatment Room # 10

105 CMR 205.103(A)	Examinations to be Conducted in Privacy: Handwash sink not equipped with non-hand operable controls, winged handles not positioned to prevent the use of hands at handwash sink

RN Clinic # 11

No Violations Noted

Treatment Room # 9

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Treatment Room # 8

No Violations Noted

Lab # 7

No Violations Noted

Treatment Room # 6

No Violations Noted

Trauma Room # 4

No Violations Noted

Dental Room # 2

No Violations Noted

X-Ray Room # 1

No Violations Noted

Waiting Area

No Violations Noted

Staff Bathroom # 3

No Violations Noted

Inmate Bathroom # 5

No Violations Noted

COTTAGES

Unable to Inspect the Town Line and Pioneer Buildings – Closed

Laurel Building

Control

No Violations Noted

Control Bathroom

No Violations Noted

Common Area

No Violations Noted

Kitchen Area

No Violations Noted

Refrigerator Room

No Violations Noted

Handicapped Bathroom (A)

No Violations Noted

Slop Sink Room (A)

No Violations Noted

Shower Room (A & B)

105 CMR 451.130	Hot Water: Water temperature recorded at 1300F in tub

105 CMR 451.123*	Maintenance: Baseboard damaged in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Grout deteriorated and moldy in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower # 1, 2, and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain not secured outside showers

105 CMR 451.123	Maintenance: Baseboard damaged outside showers

105 CMR 451.123	Maintenance: Light shield damaged outside showers

Utility Closet (A)

No Violations Noted

Cells (A)

No Violations Noted

Cells (B)

No Violations Noted

Shower Room (B & C)

105 CMR 451.123	Maintenance: Plastic covering on bench in handicapped shower

105 CMR 451.123	Maintenance: Grout deteriorated and moldy in shower # 1

105 CMR 451.123*	Maintenance: Grout deteriorated and moldy in shower # 2 and 3

105 CMR 451.123	Maintenance: Ceiling tiles damaged throughout

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Curtain damaged in shower # 3

105 CMR 451.123	Maintenance: Mold on shower curtain in shower # 3

105 CMR 451.123	Maintenance: Floor dirty in shower # 2 and 3

Utility Closet (C)

No Violations Noted

Caustic Closet (C)

No Violations Noted

Cells (C)

No Violations Noted

Algon Building

Control

No Violations Noted

Control Bathroom

No Violations Noted

Common Area

No Violations Noted

Kitchen Area

No Violations Noted

Refrigerator Room

No Violations Noted

Handicapped Bathroom (A)

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

Slop Sink Room (A)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain cover not secured

Shower Room (A & B)

105 CMR 451.123	Maintenance: Floor damaged outside showers

105 CMR 451.123	Maintenance: Floor damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Mold on grout in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 1, 2, and 3

Utility Closet (A)

No Violations Noted

Cells (A)

No Violations Noted

Cells (B)

No Violations Noted

Shower Room (B & C)

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on floor and walls in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Mold on grout in shower # 1, 2, and 3

Utility Closet (C)

No Violations Noted

Caustic Closet (C)

No Violations Noted

CPO Office (C)

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Cells (C)

No Violations Noted

MODULAR BUIDING

Unable to Inspect - Closed

BREWSTER 1 and 2

Unable to Inspect - Closed

OLD ADMINISTRATION BUILDING

Lobby

Janitor’s Closet # A101 & A103

No Violations Noted

Closet # A105

Unable to Inspect – Locked

Garden Tool Crib # A107

Unable to Inspect – Locked

Storage Closet # A108

No Violations Noted

Work Office Tool Crib # A106

Unable to Inspect – Locked

Storage Closet # A102

Unable to Inspect – Locked

Storage Closet # A104

Unable to Inspect – Locked

Officer’s Room # A110

No Violations Noted

Peer Support # A109

No Violations Noted

A Corridor

Offices

No Violations Noted

Fire Equipment Room and Bathroom # A111

No Violations Noted

NEADS Program Room # A114

No Violations Noted

Pre-Release Office & Bathroom (New Horizons) # A116 & A118

No Violations Noted

Inmate Bathroom # A120

No Violations Noted

B Corridor

Classroom # B122

No Violations Noted

Recreational Area & Weight Room # B115

No Violations Noted

Staff Bathroom # B117

Unable to Inspect – In Use

Slop Sink

No Violations Noted

Gym # B119

105 CMR 451.353	Interior Maintenance: Floor damaged

Offices

No Violations Noted

Operations # B125, B127, & B129

105 CMR 451.353	Interior Maintenance: Wall water damaged in # B129

Operations Bathroom (in # B129)

No Violations Noted

Chapel # B134

No Violations Noted

C Corridor

Inner Perimeter Security

No Violations Noted

Staff Bathroom

No Violations Noted

Room # C135

No Violations Noted

Culinary Arts

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Office

No Violations Noted

Staff Dining Room

No Violations Noted

Kitchen

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, freezer out-of-order

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair; salad refrigerator gaskets damaged

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

Dry Storage Room

No Violations Noted

Main Serving Room

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Inmate Dining Room

105 CMR 451.353*	Interior Maintenance: Floor damaged outside Inmate Dining Room entrance

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling tile damaged

Refrigerators

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets dirty

Serving Line

FC 4-903.11(B)(2) 	Protection of Clean Items; Storing: Equipment and Utensils not stored covered or inverted; serving trays not stored inverted

Mechanical Warewashing Room

No Violations Noted

Store Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, radiator leaking steam near desk

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1010F at handwash sink

D Corridor

Cosmetology # D141, D143, & D145

Unable to Inspect – Under Construction

Cosmetology Bathroom

Unable to Inspect – Locked

Classrooms

No Violations Noted

Offices

No Violations Noted

Staff Bathroom # 176

No Violations Noted

Psychology Corridor

Unable to Inspect – Under Construction

2nd FLOOR

South

105 CMR 451.353*	Interior Maintenance: Floor tile cracked and damaged in hallway

CO’s Office

105 CMR 451.353	Interior Maintenance: Floor damaged

Shower Room # 1

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2

Cells

No Violations Noted

Room # 203 with Bathroom

No Violations Noted

Shower Room # 2 		Unable to Inspect Shower # 2 – Not Used

105 CMR 451.123*	Maintenance: Soap scum on walls, floor, and door in shower # 1

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 1

Multi-Purpose Room

No Violations Noted

Inmate Day Room

No Violations Noted

Staff Bathroom # 202

No Violations Noted

Administration Office # 209

No Violations Noted

Mental Health # 208A

No Violations Noted

Break Room # 207

No Violations Noted

Program Room # 204

No Violations Noted

Special Housing Office # 206

No Violations Noted

Program 2 # 205

No Violations Noted

Parole

Parole Bathroom

No Violations Noted

Parole Offices # 9-16

No Violations Noted

Kitchenette # 210

No Violations Noted

Office # 209

No Violations Noted

Education

Classrooms

Unable to Inspect – Under Construction

Staff Bathroom # 218

Unable to Inspect – Under Construction

Janitor’s Closet # 221

No Violations Noted

Young Mothers # 222

Unable to Inspect – Under Construction

Industries # 224

105 CMR 451.353	Interior Maintenance: Floor damaged in shipping and receiving back room

Staff Industries Bathroom

No Violations Noted

Inmate Industries Bathroom

105 CMR 451.123*	Maintenance: Wall dirty behind sink

Offices/Break Room # 223

No Violations Noted

Bathroom # 212

No Violations Noted

Classrooms A-F

No Violations Noted

Law Library # 226

No Violations Noted

Library # 228

No Violations Noted

Offices

No Violations Noted

Staff Bathroom # 231

105 CMR 451.126	Hot Water: Hot water temperature recorded at 680F at handwash sink

3rd FLOOR

Chapel

105 CMR 451.141	Screens: Screen missing

BASEMENT

Laundry Area

105 CMR 451.353*	Interior Maintenance: Standing water on floor near washing machines

105 CMR 451.350	Structural Maintenance: Exterior door leading into laundry not rodent and weathertight

Property

No Violations Noted

Bathroom (in Property)

105 CMR 451.353*	Interior Maintenance: Ceiling tiles loose outside bathroom

Central Kitchen

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

Officer’s Area

Inmate’s Bathroom

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Soap dispenser broken

Outside Dumpster Area

No Violations Noted

Kitchen Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, 1 exterior wall fan dusty

Handwash Sink

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1060F at handwash sink

3-Compartment Sink

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

Dumb Waiters

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, dumbwaiters out-of-order

Prep Area

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 1 oven unit out-of-order

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair; low quantity and pressure at sink in prep table

Broom Storage Area

FC 6-201.11*	Design, Construction, and Installation; Cleanability: Floor not smooth and easily cleanable, floor damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, standing water on floor

Slop Bucket Refrigerator

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wood on wall damaged and moldy

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, gap between wall and sloped baseboard

Dry/Baking Storage

No Violations Noted

Refrigerator # 5

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ramp damaged and not secured to floor

Freezer # 6

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ramp damaged and not secured to floor

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, door handle broken on interior of freezer

2-Compartment Sinks

No Violations Noted

Pots and Pans Back Room Storage Area

FC 6-501.114(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Non-functional equipment not repaired or removed from premises; large ice machine out-of-order

Back Hallway

Paper Goods Closet

FC 4-903.11(A)(3)	Protection of Clean Items, Storing: Single-Use Items not stored at least 6 inches above the floor; cups stored on floor

Water Storage

Unable to Inspect – Locked

Walk-In Freezer

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, excessive ice build-up around door

Walk-In Refrigerator

No Violations Noted

Back Door Area (by Cooling Units)

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged outside Walk-In Freezer and Refrigerator

Dry Storage Room

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

Food Manager’s Office

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets damaged

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

Spice Closet

No Violations Noted

Food Closet

No Violations Noted

Food Manager’s Bathroom

105 CMR 451.123	Maintenance: Floor paint damaged

Closet (near Bathroom)

No Violations Noted

POWER PLANT BUILDING # 3

105 CMR 451.350	Structural Maintenance: Stairs at entrance damaged and deteriorated

105 CMR 451.350	Structural Maintenance: Ramp structurally unsound and not secured to platform on exterior of building

105 CMR 451.350	Structural Maintenance: Ramp missing railings on exterior of building

Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1020F at handwash sink

105 CMR 451.123	Maintenance: Wet mop stored in bucket

Break Room

No Violations Noted

Tunnel

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, pipe leaking water

MAINTENANCE BUILDING # 4

Main Area

No Violations Noted

Director of Engineering’s Office & Bathroom

105 CMR 451.123	Maintenance: Ceiling leaking in bathroom

105 CMR 451.123	Maintenance: Ceiling tiles water damaged in bathroom

Tool Crib

No Violations Noted

Paint Room

Unable to Inspect – Locked

Office

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Break Room

No Violations Noted

Vehicle Trap

105 CMR 451.123	Maintenance: Ceiling damaged in bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 720F at handwash sink

Observations and Recommendations

- The inmate population was 221 at the time of inspection.

- The Smith Food Service area was not in use at the time of inspection.

- At the time of inspection, the Modular Building, Brewster 1 and 2, Town Line Building, Pioneer Building, and SAU were unoccupied and not in use.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Medeiros														Environmental Health Inspector, CSP, BCEH