The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-695-7447

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

February 14, 2020

Kristie Ladouceur, Superintendent

MCI Framingham

99 Loring Drive

P.O. Box 9007

Framingham, MA 01704

Re: Facility Inspection – MCI Framingham

Dear Superintendent Ladouceur:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and          105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of                 MCI Framingham on January 30 and 31, 2020 accompanied by Michael Beland, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 116 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Amy Medeiros

Environmental Health Inspector, CSP, BEH

cc: 	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Timothy Gotovich, Acting Director, Policy Development and Compliance Unit 	(electronic copy)

Michael Beland, EHSO  							(electronic copy)

Sam Wong, PhD, REHS/RS, Director, Framingham Health Department   		(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Lobby

Male Bathroom # C141A

No Violations Noted

Female Bathroom # C133A

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, toilet not flushing properly

Janitor’s Closet

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, missing drain cover

Armory/Lock Shop

Unable to Inspect – Locked

Processing

Unable to Inspect – Locked

Officer’s Area

Muster Room # C111A

No Violations Noted

Orientation Room

No Violations Noted

Staff Gym

No Violations Noted

Male Locker Room # 124A

105 CMR 451.353	Interior Maintenance: Wires exposed on wall by entrance

Female Locker Room #125A

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, bubbler out-of-order outside locker rooms

Mail Room # 116A

Unable to Inspect – Locked

Tool Control # 127A

Unable to Inspect – Locked

Office # C119A

No Violations Noted

Lower Control

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Inner Control

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Janitor’s Closet

No Violations Noted

Bathroom

No Violations Noted

Admissions

Bathroom # 103A (outside of Admissions)

105 CMR 451.123	Maintenance: Handwash sink dirty

Storage Room # C104A

105 CMR 451.353	Interior Maintenance: Light shield not secure

Property # C106A

105 CMR 451.353*	Interior Maintenance: Light shield not secure

Staff Bathroom # 106A

No Violations Noted

Finger Print Room # C148A

No Violations Noted

Storage Room # 107A

No Violations Noted

Mental Health # 108A

No Violations Noted

Medical Room # 109A

105 CMR 480.500(A)(3)*	Procedures; Records; Record-Keeping Log: Medications stored in the refrigerator with food

Holding Cell # 105A

No Violations Noted

Inmate Shower # 110A

105 CMR 451.123	Maintenance: Floor paint damaged

Inmate Shower # 111A

No Violations Noted

Room # 136A

105 CMR 451.353	Interior Maintenance: Window fan dusty

Control Room # 112A

No Violations Noted

Search Room # 115A and 116A

No Violations Noted

Holding Cells # 117A and 118A

No Violations Noted

Holding Cell # 119A

No Violations Noted

Holding Cell # 120A

No Violations Noted

Officer’s Room # C108A

No Violations Noted

Visiting Area

Common Area

No Violations Noted

Attorney Rooms

No Violations Noted

Inmate Bathroom # C138A

No Violations Noted

Janitor’s Closet # 139A

No Violations Noted

Female Bathroom # C143A

No Violations Noted

Male Bathroom # C142A

No Violations Noted

Visitation Play Area # 133A

No Violations Noted

Smith Food Service

Unable to Inspect – Not Used

Smith Hallway

Officer’s Room # C174

No Violations Noted

Office # C136

Unable to Inspect – Locked

Smith Clinic

Unable to Inspect – Locked

Staff Bathroom # C131

No Violations Noted

Janitor’s Closet # C102

No Violations Noted

Staff Bathroom # C154

No Violations Noted

Multi-Purpose Room # 1

No Violations Noted

Multi-Purpose Room # 2

No Violations Noted

Multi-Purpose Room # 3

No Violations Noted

Room # C158

No Violations Noted

ATU East

Trap

Chemical Closet # C129

No Violations Noted

Day Room # C130

No Violations Noted

Med Storage

No Violations Noted

Office # C125

No Violations Noted

Cell Block

Common Area

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, 1 light out

Unit Sergeant # 123

Unable to Inspect - Locked

CO’s Office # C124

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123*	Maintenance: Bench paint damaged in shower # 114

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 114, 115, and 116

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 115 and 116

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 115 and 116

105 CMR 451.123*	Maintenance: Shower door rusted in shower # 116

105 CMR 451.123*	Maintenance: Access panel rusted in shower # 115 and 116

105 CMR 451.123*	Maintenance: Ceiling vent rusted in shower # 116

105 CMR 451.123	Maintenance: Soap wrappers on floor in shower # 116

Upper Level Janitor’s Closet

No Violations Noted

Upper Level Showers

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 210

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 211

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 212

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 210 and 212

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 210, 211, and 212

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 210, 211, and 212

105 CMR 451.123*	Maintenance: Door rusted in shower # 210, 211, and 212

105 CMR 451.123*	Maintenance: Ceiling vent rusted in shower # 210, 211, and 212

105 CMR 451.123*	Maintenance: Ceiling damaged in shower # 212

Cells

No Violations Noted

ATU West

Trap

Storage Room # C133

Unable to Inspect – Locked

Day Room

No Violations Noted

Storage Room

No Violations Noted

CPO’s Office

Unable to Inspect – Locked

Cell Block

Common Area

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, 1 light out

CPO’s Office # C141

No Violations Noted

Storage Room # C142

No Violations Noted

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123	Maintenance: Door rusted in shower # 145

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 145 and 146

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 145 and 146

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 145 and 146

105 CMR 451.123*	Maintenance: Ceiling vent rusted in shower # 146

105 CMR 451.123*	Maintenance: Tub dirty in shower # 147

105 CMR 451.123*	Maintenance: Bench paint damaged in shower # 147

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 147

Upper Level Janitor’s Closet # C227

No Violations Noted

Upper Level Showers

105 CMR 451.123*	Maintenance: Ceiling vent rusted in shower # 224, 225, and 226

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 224 and 225

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 226

105 CMR 451.123*	Maintenance: Light not secure in shower # 225

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 225

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 226

Cells

No Violations Noted

New Line

Trap

CPO’s Office # 157

Unable to Inspect – Locked

Storage Room # C155

Unable to Inspect – Locked

Day Room # C153

No Violations Noted

Cell Block

Break Room # C161

No Violations Noted

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers		Unable to Inspect Shower # 149 – In Use

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 150

105 CMR 451.123	Maintenance: Paint damaged on light in shower # 150

105 CMR 451.123*	Maintenance: Bench paint damaged in shower # 151

Upper Level Janitor’s Closet

No Violations Noted

Storage Room # 265

No Violations Noted

Upper Level Showers

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 228 and 229

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 228 and 230

105 CMR 451.123	Maintenance: Door frame rusted in shower # 229

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 228 and 230

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 229

105 CMR 451.123	Maintenance: Ceiling vent rusted in shower # 228, 229, and 230

Cells

No Violations Noted

CCU

Trap

Search Room # 108

No Violations Noted

Attorney’s Interview Room # C105

Unable to Inspect – Locked

Office # 106

No Violations Noted

Room # 109

No Violations Noted

Cell Block

105 CMR 451.353*	Interior Maintenance: Ceiling left unfinished

Inmate Break Room/Storage Room

No Violations Noted

Officer’s Office

No Violations Noted

Medical Room & Staff Bathroom

No Violations Noted

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123*	Maintenance: Caulking moldy in shower # 112

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 113

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 113

105 CMR 451.123*	Maintenance: Bench paint damaged in shower # 114

105 CMR 451.123*	Maintenance: Soap scum on tub in shower # 114

Upper Level Janitor’s Closet

No Violations Noted

Upper Level Showers

105 CMR 451.123*	Maintenance: Caulking moldy in shower # 206

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 207

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 206, 207, and 208

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 206, 207, and 208

105 CMR 451.130	Hot Water: Shower water temperature recorded at 880F

Storage Room # 226

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 106

2nd FLOOR OFFICE AREA

Female Bathroom # C210A

No Violations Noted

Male Bathroom # C211A

No Violations Noted

Janitor’s Closet # C237A

No Violations Noted

Room # 205A

105 CMR 451.353*	Interior Maintenance: Junction box missing face plate on the wall

Room # 208A

105 CMR 451.353*	Interior Maintenance: Ceiling tiles loose

105 CMR 451.353	Interior Maintenance: Junction box missing face plate on the wall

Room # 207A

No Violations Noted

Records Area

No Violations Noted

Break Room # C218A

No Violations Noted

Deputy of Re-entry

No Violations Noted

HSU BUILDING

2nd Floor

RTU

Unable to Inspect – In Use

Medical

Unable to Inspect – In Use

Optometry Office

No Violations Noted

Catch the Hope Office

Unable to Inspect – In Use

CPO’s Office

No Violations Noted

RTU (2nd Office)

Unable to Inspect – In Use

Catch the Hope (2nd Office)

No Violations Noted

Bathroom (in Catch the Hope Office)

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Standing water in mop bucket

Day Room

No Violations Noted

Kitchen

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Officer’s Station

No Violations Noted

T.V. Room

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Hole in wall by toilet in cell # 218

Storage Closet (end of Hallway)

No Violations Noted

Storage Closet (with Slop Sink)

Unable to Inspect – Locked

Meeting Room

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Tub dirty

105 CMR 451.123	Maintenance: Ventilation in shower room not working

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123	Maintenance: Wall board not secured in shower # 3

105 CMR 451.123	Maintenance: Floor tiles missing in shower # 3

105 CMR 451.130	Hot Water: Shower water temperature recorded at 880F

1st Floor

Medical Records

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Break Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Office (Medical Waste Log)

No Violations Noted

Pharmacy

Unable to Inspect – Locked

Pharmacy Bathroom

Unable to Inspect – Locked

Supply Room # 12

No Violations Noted

Supply Room Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F at handwash sink

Health Services Administration

No Violations Noted

Infirmary

CO’s Office

105 CMR 451.353*	Interior Maintenance: Floor tile surface damaged

CO’s Office Bathroom

No Violations Noted

Biohazard Room

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

Mental Health Interview Room/Search Room

No Violations Noted

Shower Room

105 CMR 451.123*	Maintenance: Floor tiles damaged outside of showers

105 CMR 451.123	Maintenance: Light shield damaged

105 CMR 451.123	Maintenance: Unfinished wood on wall above tub

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 1

105 CMR 451.123	Maintenance: Floor tiles missing in shower # 1

105 CMR 451.123*	Maintenance: Wall vent damaged in shower # 3

105 CMR 451.123	Maintenance: Soap scum on door in shower # 3

Doctor’s Office

No Violations Noted

Nurse’s Station

No Violations Noted

Medical Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm rooms

Storage Room (end of hall)

No Violations Noted

Slop Sink/Storage (end of hall)

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, cold water not working at slop sink

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, drain cover not secured at slop sink

Clinical Area

Treatment Room # 10

No Violations Noted

RN Clinic # 11

No Violations Noted

Treatment Room # 9

Unable to Inspect – In Use

Treatment Room # 8

No Violations Noted

Lab # 7

No Violations Noted

Treatment Room # 6

No Violations Noted

Trauma Room # 4

No Violations Noted

Dental Room # 2

No Violations Noted

X-Ray Room # 1

No Violations Noted

Waiting Area

No Violations Noted

Staff Bathroom # 3

No Violations Noted

Inmate Bathroom # 5

No Violations Noted

COTTAGES

(Unable to Inspect the Algon, Town Line, and Pioneer Buildings – Closed)

Laurel Building

Control

No Violations Noted

Control Bathroom

105 CMR 451.123	Maintenance: Vent covered

Common Area

No Violations Noted

Kitchen Area

No Violations Noted

Refrigerator Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in 1 refrigerator

Staff Bathroom (A)

No Violations Noted

Slop Sink Room (A)

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

Shower Room A&B

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 2 and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

Cells (A)

No Violations Noted

Cells (B)

No Violations Noted

Shower Room B&C

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 1

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, shower # 2 leaking

105 CMR 451.130	Hot Water: Shower water temperature recorded at 800F

Utility Closet (C)

No Violations Noted

Caustic Closet (C)

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, chemicals stored above bottled water

Cells (C)

No Violations Noted

MODULAR BUIDING

Unable to Inspect - Closed

BREWSTER 1 & 2

Unable to Inspect - Closed

OLD ADMINISTRATION BUILDING

Lobby

Janitor’s Closet # A101 & A103

No Violations Noted

Closet # A105

Unable to Inspect – Locked

Garden Tool Crib # A107

Unable to Inspect – Locked

Storage Closet # A108

Unable to Inspect – Locked

Work Office Tool Crib # A106

Unable to Inspect – Locked

Storage Closet # A102

Unable to Inspect – Locked

Storage Closet # A104

Unable to Inspect – Locked

Officer’s Room # A110

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Peer Support # A109

No Violations Noted

A Corridor

Entrance

No Violations Noted

Office # A112

No Violations Noted

Fire Equipment Room and Bathroom # A111

No Violations Noted

NEADS Program Room # A114

No Violations Noted

Pre-Release Office & Bathroom (New Horizons) # A116 & A118

No Violations Noted

Inmate Bathroom # A120

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 720F at handwash sink

B Corridor

Recreational Area & Weight Room # B115

No Violations Noted

Staff Bathroom # B117

105 CMR 451.126	Hot Water: Hot water temperature recorded at 820F at handwash sink

Slop Sink

No Violations Noted

Gym # B119

No Violations Noted

Room # B126

No Violations Noted

Room # B128

No Violations Noted

Room # B121

No Violations Noted

Room # B130

No Violations Noted

Room # B123

No Violations Noted

Offices # 114-1 & 114-3 (in # B124)

Unable to Inspect Tool Control Office # 114-3 – Locked

No Violations Noted

Operations # B125, B127 & B129

No Violations Noted

Operations Bathroom (in # B129)

No Violations Noted

Chapel # B134

No Violations Noted

C Corridor

Inner Perimeter Security

No Violations Noted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 840F at handwash sink

Culinary Arts

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Kitchen

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets damaged on 1 refrigerator

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, gaskets damaged on 2 freezers

FC 4-903.11(B)(2)*	Protection of Clean Items; Storing: Equipment and utensils not stored covered or inverted

FC 5-205.11(A)*	Plumbing System; Operations and Maintenance: Handwashing sink not accessiblePf, handwash sink blocked by cart

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed under storage racks

FC 6-305.11(B)	Numbers and Capacities; Dressing Area and Lockers: No area provided for the orderly storage of employee personal belongings, coat and hat stored on food crates

FC 3-304.12(B)	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Utensil handle not stored above the food in the container, scoops stored in flour and cake mix containers

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

Staff Dining Room

No Violations Noted

Dry Storage Room

FC 6-501.111*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects

FC 6-501.112*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Trapped insects/cockroaches not removed from premises at a frequency that prevents their accumulation

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of rodents, dead mouse observed

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

FC 6-501.112	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Trapped rodent not removed from premises at frequency that prevents their decomposition

FC 6-305.11(B)	Numbers and Capacities; Dressing Area and Lockers: No area provided for the orderly storage of employee personal belongings, coats stored on table

Main Serving Room

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Inmate Dining Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall fans dusty

FC 4-202.11(A)(1)*                    Design and Construction, Cleanability: Food contact surface damaged, several table tops damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed on window sills

Janitor’s Closet

No Violations Noted

True Refrigerator

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets damaged

Serving Line

No Violations Noted

Mechanical Warewashing Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall fan dusty

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the mechanical warewashing machinePf, wash, rinse and sanitize steps were not meeting temperature requirements according to the affixed data plate

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, warewashing machine conveyor belt was not moving trays properly

Store Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in 1 refrigerator

Bathroom

No Violations Noted

D Corridor

Cosmetology # D141, D143, & D145

Unable to Inspect - Locked

Cosmetology Bathroom

Unable to Inspect - Locked

Room # D156

No Violations Noted

Classroom # D158

No Violations Noted

Classroom # D147

No Violations Noted

Office # D149

No Violations Noted

Office # D162

No Violations Noted

Office # D151

Unable to Inspect - Locked

Room # D164

No Violations Noted

Office # D153

No Violations Noted

Office # D166

No Violations Noted

Office # D155

No Violations Noted

Office # D168

No Violations Noted

Office # D170

No Violations Noted

Office # D172

No Violations Noted

Office # D159

No Violations Noted

Classroom # D163

No Violations Noted

Staff Bathroom # D176

No Violations Noted

Waiting Room # D178

No Violations Noted

Office # D165

No Violations Noted

Psychology Corridor

Hallway

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Bathroom # D169

No Violations Noted

Offices

No Violations Noted

2nd FLOOR

Intensive Treatment Unit

CO’s Office

No Violations Noted

Shower Room # 1

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scup on walls in shower # 1 and 2

Cells

105 CMR 451.353	Interior Maintenance: Light shield broken in cell # 15

Nurse’s Station # 203

No Violations Noted

Nurse’s Bathroom

No Violations Noted

Shower Room # 2 	Unable to Inspect Shower # 2 – Not Used

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower

105 CMR 451.123*	Maintenance: Soap scum on door in shower

Multi-Purpose Room

No Violations Noted

Inmate Day Room

No Violations Noted

Staff Bathroom # 202

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 860F at handwash sink

Administration Office # 209

No Violations Noted

Mental Health # 208A

No Violations Noted

Break Room # 207

No Violations Noted

Program Room # 204

105 CMR 451.353*	Interior Maintenance: Ceiling tiles loose

Special Housing Office # 206

105 CMR 451.353*	Interior Maintenance: Ceiling tiles loose

Program 2 # 205

105 CMR 451.353*	Interior Maintenance: Ceiling tiles loose

Parole

Parole Hallway # 218

No Violations Noted

Parole Bathroom

No Violations Noted

Parole Offices # 9-16

No Violations Noted

Kitchenette # 210

No Violations Noted

Education

Classroom # 215-5

No Violations Noted

Classroom # 215-4

No Violations Noted

Classroom # 212

No Violations Noted

Computer Room # 215-8

No Violations Noted

Classroom # 216

No Violations Noted

Staff Bathroom # 218

No Violations Noted

Janitor’s Closet # 221

No Violations Noted

Building and Trades # 222

No Violations Noted

Bathroom (in # 222)

No Violations Noted

Storage (in # 222)

No Violations Noted

Industries # 224

No Violations Noted

Staff Industries Bathroom

No Violations Noted

Inmate Industries Bathroom

No Violations Noted

Bubbler (outside of Bathroom)

No Violations Noted

Offices/Break Room # 223

No Violations Noted

Bathroom # 212

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Classrooms A-F

No Violations Noted

Law Library # 226

No Violations Noted

Library # 228

105 CMR 451.353	Interior Maintenance: Ceiling water damaged

Office # 225

No Violations Noted

Office # 232

No Violations Noted

Office # 206

No Violations Noted

Classroom # 201

No Violations Noted

Staff Bathroom # 231

105 CMR 451.123*	Maintenance: Wall fan not working

3rd FLOOR

Chapel

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Closet (Right of Alter)

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

BASEMENT

Hallway

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: Standing water behind washing machines

105 CMR 451.353	Interior Maintenance: One washing machine out-of-order

Property

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Bathroom (in Property)

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing outside bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

Central Kitchen

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

Dry Storage Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

Food Manager’s Office

FC 3-304.12(B)*	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Utensil handle not stored above the food in the container, spoon stored in coffee container

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets damaged

Spice Closet

No Violations Noted

Food Closet

FC 3-305.11(A)(3)	Preventing Contamination from the Premises; Food Storage: Food not stores at least 6" off the ground, coffee stored on ground

Food Manager’s Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper

Closet (near Bathroom)

Unable to Inspect – Locked

Freezer Unit

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, interior of door damaged

Refrigerator Unit

No Violations Noted

Back Door Area (by Cooling Units)

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

Paper Goods Closet

No Violations Noted

Water Storage (in Hallway)

Unable to Inspect – Locked

Pots and Pans Back Room Storage Area

FC 6-501.11*			Maintenance and Operation; Repairing: Facility not in good repair, floor paint 						damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

2-Compartment Sink

No Violations Noted

3-Compartment Sink

No Violations Noted

Dumb Waiters

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, food debris observed inside and underneath both dumb waiters

Prep Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, 1 light out under hood

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 1 kettle out-of-order

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 1 oven unit out-of-order

FC 6-501.111*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, dead cockroachs observed on floor

FC 4-202.16	Design and Construction; Cleanability: Nonfood-contact surface not free of unnecessary crevices, cockroaches entering kitchen through crevice around kettle floor basin

2-Compartment Sink/Handwash Sink

No Violations Noted

Refrigerator Unit # 5

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

Freezer Unit # 6

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice buildup on ceiling

Dry/Baking Storage

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint damaged

FC 6-501.111*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, insects/cockroach observed

FC 3-302.11(A)(4)	Preventing Contamination after Receiving; Preventing Food and Ingredient Contamination: Food not appropriately covered, corn starch was in an uncovered container

Broom Storage Area

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall paint damaged

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, ceiling paint damaged

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, standing water on floor

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings and dead cockroaches observed

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects/cockroaches

Slop Bucket Refrigerator

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, walk-in refrigerator door dragging on floor

FC 5-501.116(B)	Refuse, Recyclables, and Returnables; Facilities on the Premises: Soiled receptacles not cleaned after use, excessive buildup of soil observed on slop buckets

Back Area – Officer’s Area

No Violations Noted

Inmate’s Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

Staff Bathroom

No Violations Noted

Dumpster

No Violations Noted

POWER PLANT BUILDING # 3

Bathroom

No Violations Noted

Break Room

No Violations Noted

MAINTENANCE BUILDING # 4

Main Area

No Violations Noted

Director of Engineering’s Office

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Bathroom in Office

No Violations Noted

Tool Crib

No Violations Noted

Paint Room

No Violations Noted

Inmate Break Room

105 CMR 451.353*	Interior Maintenance: Floor dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, interior of refrigerator dirty

Inmate Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Staff Bathroom

No Violations Noted

Break Room

No Violations Noted

Vehicle Trap

105 CMR 451.126	Hot Water: Hot water temperature recorded at 900F at handwash sink

105 CMR 451.123	Maintenance: Ceiling vent dusty in bathroom

Observations and Recommendations

- The inmate population was 237 at the time of inspection.

- The Smith Food Service area had been taken off-line in August 2019 and was not in use at the time of inspection.

- The Modular Building, Brewster 1 and 2, Algon Building, Town Line Building, and Pioneer Building were empty and not in use at the time of inspection.

- The CSP is concerned with the chronic rodent and insect issue in the food service areas and recommended increasing all pest control methods to twice a week and ensuring that all sticky traps are replaced more frequently. It was stated during the inspection that insects are coming into the Central Kitchen through a crevice around the kettle basin; the CSP strongly recommends blocking this crevice to decrease the presence of insects. The CSP also recommended a higher frequency deep cleaning policy which includes cleaning under all storage shelves and equipment in food service areas.

- At the time of inspection, the warewash machine did not reach the appropriate temperature to properly sanitize dishes. As an interim measure, the CSP recommended switching to Styrofoam or manually sanitize dishes after they have been washed in the warewash machine. The kitchen staff stated a service call would be placed.

- During the inspection of the Clinical Area, the Department observed an expired certificate from the Radiation Control Program in X-Ray Room # 1. The CSP recommends contacting the Radiation Control Program for an updated certificate and posting it in a conspicuous place.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Medeiros														Environmental Health Inspector, CSP, BEH