The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

180 Beaman Street, West Boylston, MA 01583

Phone: 508-792-7880 Fax: 508-792-7706

TTY: 508-835-9796

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

June 28, 2019

Allison Hallett, Superintendent

MCI Framingham

P.O. Box 9007

99 Loring Drive

Framingham, MA 01704	(electronic copy)

Re: Facility Inspection – MCI Framingham

Dear Superintendent Hallett:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of                 MCI Framingham on June 17 and 18, 2019 accompanied by Mike Beland, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 107 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Male Bathroom # C141A

No Violations Noted

Female Bathroom # C133A

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet not flushing properly

Janitor’s Closet

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, missing drain cover

Armory/Lock Shop

Unable to Inspect – Locked

Processing

Unable to Inspect – Locked

Officer’s Area

Muster Room # C111A

No Violations Noted

Orientation Room

No Violations Noted

Staff Gym

No Violations Noted

Male Locker Room # 124A

No Violations Noted

Female Locker Room #125A

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, bubbler out-of-order outside locker rooms

Mail Room # 116A

Unable to Inspect – Locked

Tool Control # 127A

Unable to Inspect – Locked

Office # C119A

No Violations Noted

Lower Control

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Inner Control

No Violations Noted

Janitor’s Closet

No Violations Noted

Bathroom

No Violations Noted

Admissions

Bathroom # 103A (outside of Admissions)

No Violations Noted

Storage Room # C104A

No Violations Noted

Property # C106A

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

105 CMR 451.353	Interior Maintenance: Light shield not secure

Staff Bathroom # 106A

No Violations Noted

Finger Print Room # C148A

No Violations Noted

Storage Room # 107A

No Violations Noted

Mental Health # 108A

No Violations Noted

Medical Room # 109A

105 CMR 480.500(A)(3)*	Procedures; Records; Record-Keeping Log: Medications stored in the refrigerator with food

Holding Cell # 105A

No Violations Noted

Inmate Shower # 110A

No Violations Noted

Inmate Shower # 111A

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, cold water broken at handwash sink

105 CMR 451.124*	Water Supply: Insufficient hot water supply in quantity and pressure at handwash sink

Room # 136A

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, floor drain cover missing

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Control Room # 112A

No Violations Noted

Search Room # 115A and 116A

No Violations Noted

Holding Cells # 117A and 118A

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 118A

Holding Cell # 119A

No Violations Noted

Holding Cell # 120A

No Violations Noted

Officer’s Room # C108A

No Violations Noted

Visiting Area

Common Area

No Violations Noted

Attorney Rooms

No Violations Noted

Inmate Bathroom # C138A

105 CMR 451.123	Maintenance: Walls dirty

Janitor’s Closet # 139A

No Violations Noted

Female Bathroom # C143A

No Violations Noted

Male Bathroom # C142A

No Violations Noted

Visitation Play Area # 133A

No Violations Noted

Smith Food Service

Kitchen

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, fan dusty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty under counter near the warewash machine

FC 2-301.14	Hands and Arms: Food employees not washing hands prior to engaging in food preparationP

FC 4-501.15	Maintenance and Operation; Equipment: Warewashing machine not operating in accordance with manufacturer's instructions, chlorine sanitizer was not dispensing

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, warewash machine operating without properly sanitizing

FC 6-501.114(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Non-functional equipment not repaired or removed from premises, warmer broken

Dining Room # 172

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall vent dusty

Smith Hallway

Officer’s Room # C174

No Violations Noted

Office # C136

No Violations Noted

Smith Clinic

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Staff Bathroom # C131

No Violations Noted

Janitor’s Closet # C102

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Staff Bathroom # C154

No Violations Noted

Multi-Purpose Room # 1

Unable to Inspect – In Use

Multi-Purpose Room # 2

Unable to Inspect – In Use

Multi-Purpose Room # 3

Unable to Inspect – In Use

Room # C158

No Violations Noted

ATU East

Trap

Chemical Closet # C129

No Violations Noted

Day Room # C130

No Violations Noted

Med Storage

No Violations Noted

Office # C125

No Violations Noted

Cell Block

Common Area

No Violations Noted

Unit Sergeant # 123

Unable to Inspect - Locked

CO Office # C124

No Violations Noted

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123*	Maintenance: Bench paint damaged in shower # 114

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 114

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 115 and 116

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 115 and 116

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 115 and 116

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 115 and 116

105 CMR 451.123*	Maintenance: Shower door rusted in shower # 115 and 116

105 CMR 451.123	Maintenance: Access panel rusted in shower # 115 and 116

105 CMR 451.123*	Maintenance: Ceiling vent rusted in shower # 116

Upper Level Janitor’s Closet

No Violations Noted

Upper Level Showers

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 210 and 212

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 210, 211, and 212

105 CMR 451.123*	Maintenance: Door rusted in shower # 210, 211, and 212

105 CMR 451.123	Maintenance: Ceiling vent rusted in shower # 210, 211, and 212

105 CMR 451.123*	Maintenance: Ceiling damaged in shower # 212

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 130

ATU West

Trap

Storage Room # C133

Unable to Inspect – Locked

Day Room

105 CMR 451.353*	Interior Maintenance: Table damaged

Storage Room

No Violations Noted

CPO Office

No Violations Noted

Cell Block

Common Area

No Violations Noted

CPO Office # C141

No Violations Noted

Storage Room # C142

No Violations Noted

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123	Maintenance: Shower curtain damaged in shower # 145

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 145 and 146

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 145 and 146

105 CMR 451.123*	Maintenance: Ceiling vent rusted in shower # 146

105 CMR 451.123*	Maintenance: Tub dirty in shower # 147

105 CMR 451.123	Maintenance: Bench paint damaged in shower # 147

Upper Level Janitor’s Closet # C227

No Violations Noted

Upper Level Showers

105 CMR 451.123*	Maintenance: Ceiling vent rusted and broken in shower # 224, 225, and 226

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 224 and 225

105 CMR 451.123	Maintenance: Light not secure in shower # 225

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 226

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 900F

Cells

No Violations Noted

New Line

Trap

CPO Office # 157

No Violations Noted

Storage Room # C155

No Violations Noted

Day Room # C153

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Cell Block

Break Room # C161

No Violations Noted

Lower Level Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Lower Level Showers		(Unable to Inspect Shower # 149 – In Use)

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 150

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 151

105 CMR 451.123	Maintenance: Bench paint damaged in shower # 151

Upper Level Janitor’s Closet

No Violations Noted

Storage Room # 265

No Violations Noted

Upper Level Showers		(Unable to Inspect Shower # 229 – In Use)

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 228 and 230

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 228 and 230

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 228 and 230

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 149

CCU

Trap

Search Room # 108

No Violations Noted

Attorney’s Interview Room # C105

No Violations Noted

Office # 106

No Violations Noted

Room # 109

No Violations Noted

Cell Block

105 CMR 451.353*	Interior Maintenance: Ceiling left unfinished

Inmate Break Room/Storage Room

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Officer’s Office

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, 2 lights out

Medical Room & Staff Bathroom

No Violations Noted

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123	Maintenance: Caulking moldy in shower # 112

105 CMR 451.123	Maintenance: Door frame rusted in shower # 113

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 113

105 CMR 451.123*	Maintenance: Bench paint damaged in shower # 114

105 CMR 451.123*	Maintenance: Soap scum in tub in shower # 114

Upper Level Janitor’s Closet

No Violations Noted

Upper Level Showers

105 CMR 451.123	Maintenance: Caulking moldy in shower # 206

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 206, 207, and 208

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 207 and 208

Storage Room # 226

No Violations Noted

Cells

No Violations Noted

2nd FLOOR OFFICE AREA

Female Bathroom # C210A

No Violations Noted

Male Bathroom # C211A

No Violations Noted

Janitor’s Closet # C237A

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Room # 205A

105 CMR 451.353*	Interior Maintenance: Junction box missing face plate on the wall

Room # 208A

105 CMR 451.353	Interior Maintenance: Ceiling tiles loose

Room # 207A

No Violations Noted

Records Area

No Violations Noted

Break Room # C218A

No Violations Noted

Deputy of Re-entry

No Violations Noted

HSU BUILDING

2nd Floor

RTU

Unable to Inspect – Locked

Medical

No Violations Noted

Optometry Office

No Violations Noted

Catch the Hope Office

No Violations Noted

CPO Office

No Violations Noted

RTU (2nd Office)

No Violations Noted

Catch the Hope (2nd Office)

No Violations Noted

Bathroom (in Catch the Hope Office)

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Day Room

No Violations Noted

Kitchen

No Violations Noted

Officer’s Station

No Violations Noted

T.V. Room

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Hole in wall by toilet in cell # 218

Storage Closet (end of Hallway)

No Violations Noted

Storage Closet (with Slop Sink)

Unable to Inspect – Not Used

Meeting Room

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Tub dirty

1st Floor

Medical Records

No Violations Noted

Break Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator dirty

Office (Medical Waste Log)

No Violations Noted

Pharmacy

Unable to Inspect – Locked

Pharmacy Bathroom

Unable to Inspect – Locked

Supply Room # 12

No Violations Noted

Supply Room Bathroom

No Violations Noted

Health Services Administration

No Violations Noted

Infirmary

CO’s Office

105 CMR 451.353*	Interior Maintenance: Floor tile surface damaged

CO’s Office Bathroom

No Violations Noted

Biohazard Room

105 CMR 451.353	Interior Maintenance: Ceiling water damaged

Mental Health Interview Room/Search Room

Unable to Inspect – In Use

Shower Room

105 CMR 451.123	Maintenance: Shower curtain damaged in shower # 1

105 CMR 451.123*	Maintenance: Wall vent damaged in shower # 3

105 CMR 451.123	Maintenance: Floor tiles damaged outside of showers

Doctor’s Office

No Violations Noted

Storage Room (end of hall)

No Violations Noted

Nurse’s Station

105 CMR 480.500(A)(3)	Procedures; Records; Record-Keeping Log: Medication stored in the refrigerator with food

Medical Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm rooms

Clinical Area

Treatment Room # 10

No Violations Noted

RN Clinic # 11

No Violations Noted

Treatment Room # 9

Unable to Inspect – In Use

Treatment Room # 8

No Violations Noted

Lab # 7

No Violations Noted

Treatment Room # 6

No Violations Noted

Trauma Room # 4

No Violations Noted

Dental Room # 2

No Violations Noted

X-Ray Room # 1

No Violations Noted

Waiting Area

No Violations Noted

Staff Bathroom # 3

No Violations Noted

Inmate Bathroom # 5

Unable to Inspect – In Use

COTTAGES

Unable to Inspect - Closed

MODULAR BUIDING

Office

No Violations Noted

Bathroom (in Office)

105 CMR 451.123	Maintenance: Outlet not secured to wall by sink

Common Area

No Violations Noted

Office (Back Area)

Unable to Inspect – Locked

Kitchenette

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Floor water damaged

Showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 5

105 CMR 451.123*	Maintenance: Ceiling rusted in handicapped shower

105 CMR 451.123	Maintenance: Standing water observed outside showers

Slop Sink Area

105 CMR 451.353*	Interior Maintenance: Floor damaged near sink

105 CMR 451.353	Interior Maintenance: Floor water damaged

Bathroom

105 CMR 451.114*	Shared Toilet and Handwashing Facilities: Inadequate number of toilets per inmate population

105 CMR 451.123*	Maintenance: Floor damaged at entrance

105 CMR 451.123*	Maintenance: Floor severely damaged

105 CMR 451.123	Maintenance: Floor water damaged by flooded toilet

105 CMR 451.123	Maintenance: Sink counter dirty

BREWSTER BUILDING

Brewster 1

Common Area

No Violations Noted

CO Office

No Violations Noted

Bathroom (in Office)

No Violations Noted

Slop Sink

No Violations Noted

Kitchenette

No Violations Noted

CPO Office

No Violations Noted

First Step Office

Unable to Inspect - Locked

Janitor’s Closet

No Violations Noted

Utility Room

Unable to Inspect - Locked

Sprinkler Room

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Rooms

105 CMR 451.101	Blankets: Blanket damaged in room # 6 at bed # 6

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in room # 7 and 8

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 960F

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink # 4

Showers

105 CMR 451.123*	Maintenance: Caulking moldy outside shower # 1-8

105 CMR 451.123	Maintenance: Shower wall damaged in shower # 3 and 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 5 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 8

105 CMR 451.123*	Maintenance: Standing water observed outside showers

105 CMR 451.123	Maintenance: Light out

Brewster 2

Common Area

No Violations Noted

CO Office

No Violations Noted

CO Bathroom

No Violations Noted

First Step

Unable to Inspect - Locked

CPO Office

No Violations Noted

Sergeant’s Office

Unable to Inspect - Locked

Slop Sink Room

No Violations Noted

Kitchenette Area

No Violations Noted

Rooms

105 CMR 451.353	Interior Maintenance: Floor damaged in room # 6 and 8

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out in room # 2  and 5

Showers

105 CMR 451.123	Maintenance: Wall vent not working

105 CMR 451.123	Maintenance: Shower wall damaged in shower # 2, 3, 4, 5, 6, 7, and 9

Bathroom

Unable to Inspect – In Use

Mop Closet Room

No Violations Noted

Razor Storage Room

No Violations Noted

OLD ADMINISTRATION BUILDING

Lobby

Entry Way

No Violations Noted

Janitor’s Closet # 122-5 & 122-6

No Violations Noted

Closet # 122-7

Unable to Inspect – Locked

Garden Tool Crib # 122-8

Unable to Inspect – Locked

Storage Room # 122-3

Unable to Inspect – Locked

Work Office Tool Crib # 122-2

Unable to Inspect – Locked

Officer’s Room # 121

No Violations Noted

Peer Support # 124

No Violations Noted

A Corridor

Entrance

No Violations Noted

Office # 120

No Violations Noted

Fire Equipment Room and Bathroom # 119

No Violations Noted

NEADS Program Room

No Violations Noted

Pre-Release Office & Bathroom (New Horizons)

No Violations Noted

Inmate Bathroom # 117

105 CMR 451.126	Hot Water: Hot water temperature recorded at 730F at handwash sink

B Corridor

Recreational Area # 115

No Violations Noted

Inmate Weight Room # 118

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, 2 lights out

Staff Bathroom # 114

No Violations Noted

Slop Sink

No Violations Noted

Gym # 112

No Violations Noted

Meeting Room

No Violations Noted

Office # 109

No Violations Noted

Office # 108

Unable to Inspect – Locked

Operations # 102

No Violations Noted

Bathroom (in Operations # 102)

105 CMR 451.123*	Maintenance: Wall vent dusty

Chapel # 104

No Violations Noted

Administrative Captain’s Office	# 107

Unable to Inspect – Locked

Classroom # 110

No Violations Noted

Classroom # 111

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Disciplinary Office # 113

Unable to Inspect – Under Construction

Office # 114-1

No Violations Noted

Tool Control Office # 114-3

Unable to Inspect – Locked

Classroom # 116

No Violations Noted

C Corridor

Inner Perimeter Security

No Violations Noted

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 900F

Culinary Arts

Kitchen

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets damaged on 2 refrigerators

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets dirty on 2 refrigerators

FC 4-903.11(B)(2) 	Protection of Clean Items; Storing: Equipment and utensils not stored covered or inverted

Staff Dining Room

No Violations Noted

Dry Storage Room

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects

FC 6-501.112	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Trapped insects not removed from premises at a frequency that prevents their accumulation

Main Serving Room

Inmate Dining Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall fans dusty

FC 4-202.11(A)(1)*                    Design and Construction, Cleanability: Food contact surface damaged, several table tops damaged

Janitor’s Closet

No Violations Noted

True Refrigerator

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets damaged

Serving Line

FC 3-501.16(A)(1) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Time/temperature control for safety food not held at 135°F or above, cooked cauliflower 128°F at serving line P

FC 3-501.16(A)(1) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Time/temperature control for safety food not held at 135°F or above, cooked cauliflower received from Central Kitchen recorded at 110°F P

FC 3-501.16(A)(1) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Time/temperature control for safety food not held at 135°F or above, cooked rice 120°F at serving lineP

Mechanical Warewashing Room

No Violations Noted

Store Room

No Violations Noted

Bathroom

No Violations Noted

D Corridor

Cosmetology # 130

Unable to Inspect - Locked

Cosmetology Bathroom

Unable to Inspect - Locked

Classroom # 131

Unable to Inspect – Under Construction

Office # 134

No Violations Noted

Office # 135

No Violations Noted

Office # 136

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, 3 lights out

Office # 136-1

No Violations Noted

Protestant Chaplain’s Office # 137

No Violations Noted

Office # 138

No Violations Noted

Catholic Chaplain’s Office # 139

No Violations Noted

Office # 140

No Violations Noted

NEADS Office # 141

No Violations Noted

Office # 142

No Violations Noted

Office # 143

No Violations Noted

Office # 144

No Violations Noted

Office # 145

No Violations Noted

Family Service Office # 146

No Violations Noted

Office # 147-1

Unable to Inspect - Locked

Staff Bathroom # 147

No Violations Noted

Waiting Room

No Violations Noted

Office # 149

No Violations Noted

Psychology Corridor

Hallway

105 CMR 451.353	Interior Maintenance: Wall damaged at end of hallway

Bathroom # 12

No Violations Noted

Offices

No Violations Noted

2nd FLOOR

Intensive Treatment Unit

CO’s Office

No Violations Noted

Shower Room # 1

105 CMR 451.123*	Maintenance: Wall board damaged in shower # 1

Cells

No Violations Noted

Nurse’s Station # 203

No Violations Noted

Nurse’s Bathroom

No Violations Noted

Shower Room # 2 	(Unable to Inspect Shower # 2 – Not Used)

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower

105 CMR 451.123*	Maintenance: Soap scum on door in shower

Multi-Purpose Room

No Violations Noted

Inmate Day Room

No Violations Noted

Staff Bathroom # 202

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 870F

Administration Office # 209

Unable to Inspect – Locked

Mental Health # 208

No Violations Noted

Break Room # 207

No Violations Noted

Program Room # 204

105 CMR 451.353	Interior Maintenance: Ceiling tiles loose

Special Housing Office

105 CMR 451.353	Interior Maintenance: Ceiling tiles loose

Program 2 # 205

105 CMR 451.353	Interior Maintenance: Ceiling tiles loose

Parole

Parole Hallway # 218

No Violations Noted

Parole Bathroom

No Violations Noted

Parole Offices # 9-16

No Violations Noted

Kitchenette

No Violations Noted

Education

Classroom # 215-5

No Violations Noted

Classroom # 215-4

No Violations Noted

Classroom # 215-3

No Violations Noted

Computer Room # 215-8

No Violations Noted

Classroom # 215-2

No Violations Noted

Staff Bathroom # 215-9

No Violations Noted

Janitor’s Closet # 216

No Violations Noted

Building and Trades # 214

No Violations Noted

Bathroom (in # 214)

No Violations Noted

Storage (in # 214)

No Violations Noted

Industries # 213

No Violations Noted

Staff Industries Bathroom

No Violations Noted

Inmate Industries Bathroom

No Violations Noted

Bubbler (outside of Bathroom)

No Violations Noted

Offices/Break Room # 212A

No Violations Noted

Bathroom # 212

Unable to Inspect – Locked

Classrooms A-F

No Violations Noted

Law Library # 211

No Violations Noted

Library # 209-210

105 CMR 451.353	Interior Maintenance: Ceiling water damaged

Office # 208

No Violations Noted

Office # 207

No Violations Noted

Office # 206

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed

Classroom # 201

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall fan not working

3rd FLOOR

Chapel

No Violations Noted

Closet (Right of Alter)

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

BASEMENT

Hallway

No Violations Noted

Laundry Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover not secured in front of dryers

Property

No Violations Noted

Bathroom (in Property)

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing outside bathroom

105 CMR 451.123	Maintenance: Ceiling tiles loose

Central Kitchen

Dry Storage Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of rodents

FC 6-501.112	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Trapped rodent not removed from premises at frequency that prevents their decomposition

Food Manager’s Office

No Violations Noted

Spice Closet

FC 3-304.12(B)*	Preventing Contamination from Utensils: Service utensils handle stored below the food and container line, cups stored in several products

Food Manager’s Bathroom

No Violations Noted

Closet

No Violations Noted

Freezer Unit

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, interior of door damaged

Refrigerator Unit

FC 3-501.18(A)(3) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Refrigerated time/temperature control for safety food prepared on site or by a food processing plant was marked with a date or day the exceeds a temperature and time combination and was not discarded, pudding not discarded P

Back Door Area (by Cooling Units)

No Violations Noted

Paper Goods Closet

No Violations Noted

Water Storage (in Hallway)

Unable to Inspect – Locked

Pots and Pans Back Room Storage Area

FC 6-501.11*			Maintenance and Operation; Repairing: Facility not in good repair, floor paint 						damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed throughout

2-Compartment Sink

FC 3-304.12(B)*	Preventing Contamination from Utensils: Service utensils handle stored below the food and container line, cup stored in food product

Prep Area

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, 3 lights out under hood

Refrigerator Unit # 5

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets dirty

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ramp into refrigerator damaged not allowing refrigerator door to be tight fitting

Freezer Unit # 6

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice buildup on ceiling and floor

Dry/Baking Storage

FC 3-305.11(A)(1)*	Preventing Contamination from Premises: Food storage containers dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, heated tray transport unit not working

Broom Storage Area

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall paint damaged

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, ceiling paint damaged

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, dirty standing water on floor

FC 6-501.16	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Wet mop stored in bucket

Slop Bucket Refrigerator

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, walk-in refrigerator door dragging on floor

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, refrigeration unit not functioning

Back Area – Officer’s Area

No Violations Noted

Inmate’s Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123*	Maintenance: Wall paint damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Floor paint damaged

Dumpster

No Violations Noted

POWER PLANT BUILDING # 3

Bathroom

No Violations Noted

Break Room

No Violations Noted

MAINTENANCE BUILDING # 4

Main Area

No Violations Noted

Director of Engineering’s Office

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

Bathroom in Office

No Violations Noted

Tool Crib

Unable to Inspect – Locked

Paint Room

No Violations Noted

Inmate Break Room

105 CMR 451.353*	Interior Maintenance: Floor dirty

105 CMR 451.353	Interior Maintenance: Window broken

Inmate Bathroom

No Violations Noted

Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water faucet loose

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of refrigerator dirty

Vehicle Trap

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of refrigerator dirty

Observations and Recommendations

- The inmate population was 437 at the time of inspection.

- Food was cooked in the Central Kitchen then distributed to the Main Serving Room via a dumbwaiter before being distributed at the serving line. At the time of inspection, a temperature was taken of cooked food as it came off the dumbwaiter and was found to be lower than the required hot holding temperature. The serving line in the Main Serving Room also had improper hot holding temperatures at the time of inspection. The food code requires time/temperature control for safety food to be held and served at the proper hot holding temperatures. The CSP recommends training kitchen staff to keep foods at the proper hot and cold holding temperatures when it is transported and distributed at the serving line.

- The warewash machine was not dispensing sanitizer in the Smith Kitchen; kitchen staff switched to Styrofoam trays and stated a service call would be placed.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Medeiros, MPH													Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Michael Beland, EHSO  							(electronic copy)

Sam Wong, PhD, REHS/RS, Director, Framingham Health Department   		(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate