The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 857-507-7205

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

Tel: 617-624-6000

www.mass.gov/dph

MAURA T. HEALEY

Governor

KIMBERLEY DRISCOLL

Lieutenant Governor

May 25, 2023

Kristie Marchand, Superintendent

MCI Framingham

99 Loring Drive

P.O. Box 9007

Framingham, MA 01704			(electronic copy)

Re: Facility Inspection – MCI Framingham

Dear Superintendent Marchand:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of MCI Framingham on May 15 & 16, 2023 accompanied by Michael Beland, Environmental Health and Safety Officer and Anthony Montonari, Director of Engineering. Violations noted during the inspection are listed below including 40 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Amy Medeiros

Environmental Health Inspector, CSP, BEH

cc: 	Robert Goldstein, MD, PhD, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Kathleen E. Walsh, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Terrance Reidy, Secretary, EOPSS						(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 		(electronic copy)

Michael Beland, EHSO  							(electronic copy)

Alexandra DePalo, Director, Framingham Department of Public Health 		(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Lobby

Male Bathroom # C141A

No Violations Noted

Female Bathroom # C133A

No Violations Noted

Janitor’s Closet

No Violations Noted

Armory/Lock Shop

Unable to Inspect – Locked

Processing

Unable to Inspect – Locked

Officer’s Area

Muster Room # C111A

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with            105 CMR 590.000, refrigerator gasket damaged

Orientation Room

Unable to Inspect – In Use

Staff Gym

No Violations Noted

Male Locker Room # 124A

No Violations Noted

Female Locker Room # 125A

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet not secured on handwash sink # 2

Mail Room # 116A

No Violations Noted

Tool Control # 127A

No Violations Noted

Office # C119A

No Violations Noted

Computer Room

No Violations Noted

Lower Control

No Violations Noted

Inner Control

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

Janitor’s Closet

No Violations Noted

Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1380F at handwash sink

Admissions

Bathroom # 103A (outside of Admissions)

No Violations Noted

Storage Room # C104A

No Violations Noted

Property # C106A

No Violations Noted

Staff Bathroom # 106A

No Violations Noted

Finger Print Room # C148A

No Violations Noted

Storage Room # 107A

No Violations Noted

Mental Health # 108A

No Violations Noted

Medical Room # 109A

No Violations Noted

Holding Cell # 105A

No Violations Noted

Inmate Shower # 110A

105 CMR 451.123*	Maintenance: Floor paint damaged

Inmate Shower # 111A

105 CMR 451.123*	Maintenance: Floor paint damaged

Room # 136A

No Violations Noted

Control Room # 112A

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with            105 CMR 590.000, excessive ice build-up in freezer

Search Room # 115A and 116A

No Violations Noted

Holding Cells

No Violations Noted

Officer’s Room # C108A

No Violations Noted

Visiting Area

Janitor’s Closet # 139A

No Violations Noted

Attorney Rooms

No Violations Noted

Inmate Bathroom # C138A

No Violations Noted

Common Area

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with            105 CMR 590.000, ice cream vending machine out-of-order

Female Bathroom # C143A

No Violations Noted

Male Bathroom # C142A

No Violations Noted

Visitation Play Area # 133A

No Violations Noted

Search Room #129A

Unable to Inspect – Locked

Smith Food Service # 173

Unable to Inspect – Not Used

Smith Hallway

Old Smith Dining Hall Room # 172-1

No Violations Noted

Officer’s Room # C174

No Violations Noted

Office # C136

Unable to Inspect – Locked

Old Smith Clinic

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Staff Bathroom # C131

No Violations Noted

Janitor’s Closet # C102

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing on slop sink

Staff Bathroom # C154

No Violations Noted

Multi-Purpose Room # 1

No Violations Noted

Multi-Purpose Room # 2

No Violations Noted

Multi-Purpose Room # 3

Unable to Inspect – Locked

Room # C158

No Violations Noted

ATU East

Trap

Chemical Closet # C129

Unable to Inspect – Locked

Day Room # C130

No Violations Noted

Medical Equipment Storage Room

Unable to Inspect – Locked

Office # C125

No Violations Noted

Cell Block

Common Area

No Violations Noted

Unit Sergeant’s Office # 123

Unable to Inspect – Locked

CO’s Office # C124

No Violations Noted

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 115 and 116

105 CMR 451.123	Maintenance: Door rusted in shower # 115 and 116

105 CMR 451.123	Maintenance: Door frame rusted and paint damaged in shower # 115 and 116

105 CMR 451.123	Maintenance: Dead drain flies on ceiling in shower # 116

Upper Level Janitor’s Closet

No Violations Noted

Upper Level Showers

105 CMR 451.123	Maintenance: Caulking moldy in shower # 211

105 CMR 451.123	Maintenance: Window broken in shower # 212

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 212

105 CMR 451.123	Maintenance: Floor and paint damaged in shower # 210, 211, and 212

105 CMR 451.123	Maintenance: Door frame rusted and paint damaged in shower # 210, 211, and 212

105 CMR 451.123	Maintenance: Door rusted and paint damaged in shower # 210, 211, and 212

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 118, 120, 121, 123, and 128

ATU West

Unable to Inspect – Under Construction

New Line

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged in hallway outside New Line

Trap

CPO’s Office # 157

No Violations Noted

Storage Room # C155

Unable to Inspect – Locked

Day Room # C153

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

Cell Block

Break Room # C161

No Violations Noted

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123*	Maintenance: Door rusted and paint damaged in shower # 149

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 149

105 CMR 451.123*	Maintenance: Door frame rusted and paint damaged in shower # 149

105 CMR 451.123	Maintenance: Door rusted and paint damaged in shower # 150

105 CMR 451.123	Maintenance: Door frame rusted and paint damaged in shower # 150

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 150

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 150

105 CMR 451.123	Maintenance: Caulking damaged in shower # 150

105 CMR 451.123*	Maintenance: Door window broken in shower # 151

Upper Level Janitor’s Closet

No Violations Noted

Storage Room # 265

No Violations Noted

Upper Level Showers

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 228

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 228 and 229

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 229 and 230

105 CMR 451.123*	Maintenance: Door rusted and paint damaged in shower # 229 and 230

105 CMR 451.123	Maintenance: Caulking damaged in shower # 229 and 230

105 CMR 451.123*	Maintenance: Ceiling dirty in shower # 230

105 CMR 451.123*	Maintenance: Door frame rusted and paint damaged in shower # 230

Cells

105 CMR 451.353		Interior Maintenance: Ceiling paint damaged in cell # 149 and 160

North

Trap

Search Room # 108

Unable to Inspect – Locked

Attorney’s Interview Room # C105

Unable to Inspect – Locked

Office # 106

Unable to Inspect – Locked

Room # 109

Unable to Inspect – Locked

Cell Block

105 CMR 451.353	Interior Maintenance: Ceiling left unfinished

105 CMR 451.353	Interior Maintenance: Ceiling damaged

Storage Room

No Violations Noted

Officer’s Office

No Violations Noted

Medical Room

Unable to Inspect – Locked

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers 		Unable to Inspect Shower # 114 – Not Used

105 CMR 451.123	Maintenance: Caulking damaged in shower # 112 and 113

Upper Level Janitor’s Closet

No Violations Noted

Upper Level Showers

105 CMR 451.123	Maintenance: Door rusted in shower # 206

105 CMR 451.123	Maintenance: Door frame rusted and paint damaged in shower # 206 and 207

105 CMR 451.123	Maintenance: Caulking damaged in shower # 206 and 207

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 207

105 CMR 451.130	Hot Water: Shower water temperature recorded at 890F in shower # 206

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure in shower # 206

Storage Room # 226

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 103, 109, 111, 113, and 115

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 106

2nd FLOOR OFFICE AREA

Female Bathroom # C210A

No Violations Noted

Male Bathroom # C211A

No Violations Noted

Janitor’s Closet # C237A

No Violations Noted

Room # 205A

No Violations Noted

Room # 208A

Unable to Inspect – Locked

Room # 207A

No Violations Noted

Records Area

No Violations Noted

Break Room # C218A

No Violations Noted

Deputy of Re-Entry

No Violations Noted

EHSO Office

No Violations Noted

HSU BUILDING

2nd Floor

RTU

Unable to Inspect – Locked

Medical

No Violations Noted

Optometry Office

Unable to Inspect – Locked

Catch the Hope Office

No Violations Noted

CPO’s Office

No Violations Noted

Clinician’s Office & Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Day Room

No Violations Noted

Kitchenette

105 CMR 451.353	Interior Maintenance: Caulking dirty behind sink

Officer’s Station

No Violations Noted

T.V. Room

No Violations Noted

Cells

No Violations Noted

Storage Closet (end of Hallway)

No Violations Noted

Storage Closet (with Slop Sink)

Unable to Inspect – Not Used

Meeting Room

Unable to Inspect – In Use

Showers

105 CMR 451.123*	Maintenance: Floor tiles missing in shower # 1

105 CMR 451.123*	Maintenance: Caulking damaged in shower # 2

105 CMR 451.123	Maintenance: Caulking moldy in shower # 2

105 CMR 451.123	Maintenance: Floor damaged in shower # 3

1st Floor

Medical Records

No Violations Noted

Break Room

No Violations Noted

Office

Unable to Inspect – Locked

Pharmacy & Bathroom

Unable to Inspect – Locked

Supply Room # 12

No Violations Noted

Supply Room Bathroom

No Violations Noted

Health Services Administration (Medical Waste Log)

105 CMR 480.500(A)(4)*	Procedures; Records; Record-Keeping Log: Generator had no written documentation of emergency contact information

Infirmary

CO’s Office

No Violations Noted

CO’s Office Bathroom

No Violations Noted

Biohazard Storage Room

105 CMR 480.100(A)(2)	Storage: Primary container was not secured to prevent leakage/loss, full biohazard bag not stored in a manner to prevent leakage and/or loss of contents

105 CMR 480.100(B)	Storage Area: Absorbent flooring in storage area, full biohazard bag stored on wooden pallet

105 CMR 480.300(B)	Packaging, Labeling, and Shipping: Waste to be sent off-site for treatment was not placed in a secondary container in compliance with 480.300(A), full biohazard bag not stored in secondary container

Mental Health Interview Room/Search Room

No Violations Noted

Shower Room			Unable to Inspect Tub and Shower # 1 and 2 – Not Used

No Violations Noted

Doctor’s Office

Unable to Inspect – In Use

Nurse’s Station

No Violations Noted

Medical Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm rooms

Storage Room (end of hall)

No Violations Noted

Slop Sink/Storage (end of hall)

No Violations Noted

Clinical Area

Treatment Room # 10

No Violations Noted

RN Clinic # 11

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Treatment Room # 9

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Treatment Room # 8

No Violations Noted

Lab # 7

No Violations Noted

Treatment Room # 6

No Violations Noted

Trauma Room # 4

No Violations Noted

Dental Room # 2

Unable to Inspect – Locked

X-Ray Room # 1

No Violations Noted

Waiting Area

No Violations Noted

Staff Bathroom # 3

No Violations Noted

Inmate Bathroom # 5

No Violations Noted

COTTAGES

Unable to Inspect the Algon, Town Line, and Pioneer Buildings – Closed

Laurel Building

Control

No Violations Noted

Control Bathroom

No Violations Noted

Common Area

No Violations Noted

Kitchen Area

No Violations Noted

Refrigerator Room

No Violations Noted

Handicapped Bathroom (A)

No Violations Noted

Slop Sink Room (A)

No Violations Noted

Shower Room (A & B)

105 CMR 451.123	Maintenance: Baseboard damaged in shower # 1

105 CMR 451.123*	Maintenance: Baseboard damaged in shower # 2 and 3

105 CMR 451.123*	Maintenance: Caulking damaged and moldy in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Excessive condensation observed in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Wall vent dusty in shower # 1, 2, and 3

Utility Closet (A)

No Violations Noted

Cells (A)

No Violations Noted

Cells (B)

No Violations Noted

Shower Room (B & C)		Unable to Inspect Shower # 1 – Under Construction

105 CMR 451.123	Maintenance: Grout damaged and moldy in shower # 2 and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123	Maintenance: Shower vent not working in shower # 2 and 3

Utility Closet (C)

No Violations Noted

Caustic Closet (C)

No Violations Noted

Cells (C)

No Violations Noted

MODULAR BUIDING

Unable to Inspect - Closed

BREWSTER 1 and 2

Unable to Inspect - Closed

OLD ADMINISTRATION BUILDING

Lobby

Janitor’s Closet # A101 & A103

No Violations Noted

Closet # A105

Unable to Inspect – Locked

Garden Tool Crib # A107

Unable to Inspect – Locked

Storage Closet # A108

No Violations Noted

Work Office Tool Crib # A106

Unable to Inspect – Locked

Storage Closet # A102

Unable to Inspect – Locked

Storage Closet # A104

Unable to Inspect – Locked

Officer’s Room # A110

No Violations Noted

Peer Support # A109

No Violations Noted

A Corridor

Entrance

No Violations Noted

Offices

No Violations Noted

Fire Equipment Room and Bathroom # A111

No Violations Noted

NEADS Program Room # A114

No Violations Noted

Pre-Release Office & Bathroom (New Horizons) # A116 & A118

No Violations Noted

Inmate Bathroom # A120

No Violations Noted

B Corridor

Classroom # B122

No Violations Noted

Recreational Area & Weight Room # B115

No Violations Noted

Staff Bathroom # B117

No Violations Noted

Slop Sink

No Violations Noted

Gym # B119

105 CMR 451.353	Interior Maintenance: Floor damaged

Offices

No Violations Noted

Operations # B125, B127, & B129

No Violations Noted

Operations Bathroom (in # B129)

No Violations Noted

Chapel # B134

No Violations Noted

C Corridor

Inner Perimeter Security

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Staff Bathroom

No Violations Noted

Room # C135

No Violations Noted

Culinary Arts

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Office

105 CMR 590.011(C)(3)	Additional Requirements: Food Allergy Awareness Training, food protection manager not certified in allergen awareness training

Staff Dining Room

No Violations Noted

Kitchen

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, freezer out-of-order

Dry Storage Room

No Violations Noted

Main Serving Room

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Inmate Dining Room

105 CMR 451.353	Interior Maintenance: Floor damaged outside Inmate Dining Room entrance

Janitor’s Closet

No Violations Noted

Refrigerators

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets dirty

Serving Line

FC 6-301.14	Numbers and Capacity; Handwashing Sinks: No handwashing signage located at handwashing sink

FC 5-501.16(C)	Refuse, Recyclables, and Returnables; Facilities on the Premises: No trash provided at handwash sink

Mechanical Warewashing Room

FC 4-501.112(A)(2)*	Maintenance and Operation, Equipment: Inadequate water temperature in the mechanical warewashing machinePf, rinse cycle was not meeting temperature requirement according to the affixed data plate

Store Room

No Violations Noted

Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 830F at handwash sink

D Corridor

Cosmetology # D141, D143, & D145

Unable to Inspect – Under Construction

Cosmetology Bathroom

Unable to Inspect – Locked

Classrooms

No Violations Noted

Offices

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with      105 CMR 590.000, interior of microwave oven dirty in Office # 159

Staff Bathroom # 176

No Violations Noted

Psychology Corridor

Hallway

No Violations Noted

Bathroom # D169

No Violations Noted

Offices				Unable to Inspect Office # 11 – Under Construction

105 CMR 451.353*	Interior Maintenance: Ceiling severely damaged in Office # 2

2nd FLOOR

Intensive Treatment Unit

105 CMR 451.353*	Interior Maintenance: Floor tile cracked and damaged in hallway

CO’s Office

No Violations Noted

Shower Room # 1

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 2

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 15

Nurse’s Station # 203

No Violations Noted

Nurse’s Bathroom

No Violations Noted

Shower Room # 2 		Unable to Inspect Shower # 2 – Not Used

105 CMR 451.123	Maintenance: Soap scum on walls, floor, and door in shower # 1

Multi-Purpose Room

No Violations Noted

Inmate Day Room

No Violations Noted

Staff Bathroom # 202

No Violations Noted

Administration Office # 209

No Violations Noted

Mental Health # 208A

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with            105 CMR 590.000, refrigerator dirty

Break Room # 207

No Violations Noted

Program Room # 204

105 CMR 451.353*	Interior Maintenance: Ceiling tile loose

Special Housing Office # 206

No Violations Noted

Program 2 # 205

105 CMR 451.353*	Interior Maintenance: Ceiling tile loose

Parole

Parole Bathroom

No Violations Noted

Parole Offices # 9-16

No Violations Noted

Kitchenette # 210

No Violations Noted

Office # 209

No Violations Noted

Education

Classrooms

Unable to Inspect – Under Construction

Staff Bathroom # 218

Unable to Inspect – Under Construction

Janitor’s Closet # 221

No Violations Noted

Young Mothers # 222

Unable to Inspect – Under Construction

Bathroom (in # 222)

Unable to Inspect – Under Construction

Storage (in # 222)

Unable to Inspect – Under Construction

Industries # 224

No Violations Noted

Staff Industries Bathroom

No Violations Noted

Inmate Industries Bathroom

105 CMR 451.123	Maintenance: Wall dirty behind sink

Offices/Break Room # 223

No Violations Noted

Bathroom # 212

No Violations Noted

Classrooms A-F

No Violations Noted

Law Library # 226

No Violations Noted

Library # 228

No Violations Noted

Offices

No Violations Noted

Staff Bathroom # 231

No Violations Noted

3rd FLOOR

Chapel

No Violations Noted

BASEMENT

Laundry Area

105 CMR 451.353	Interior Maintenance: Standing water on floor near washing machines

Property

No Violations Noted

Bathroom (in Property)

105 CMR 451.353	Interior Maintenance: Ceiling tiles loose outside bathroom

Central Kitchen

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

Officer’s Area

Inmate’s Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Outside Dumpster Area

No Violations Noted

Kitchen Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, 1 exterior wall fan dusty

Handwash Sink

FC 5-205.11(B)*	Plumbing System; Operations and Maintenance: Handwashing sink used for an unapproved purposePf, bucket in handwash sink

3-Compartment Sink

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, pipes leaking under sink

Dumb Waiters

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, dumbwaiters out-of-order

Prep Area

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 1 oven unit out-of-order

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

Broom Storage Area

FC 6-201.11*	Design, Construction, and Installation; Cleanability: Floor not smooth and easily cleanable, floor damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, standing water on floor

Slop Bucket Refrigerator

No Violations Noted

Dry/Baking Storage

No Violations Noted

Refrigerator Unit # 5

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Freezer Unit # 6

No Violations Noted

2-Compartment Sinks

No Violations Noted

Pots and Pans Back Room Storage Area

No Violations Noted

Back Hallway

Paper Goods Closet

No Violations Noted

Water Storage

Unable to Inspect – Locked

Walk-In Freezer

No Violations Noted

Walk-In Refrigerator

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, walls dirty in refrigerator

Back Door Area (by Cooling Units)

No Violations Noted

Dry Storage Room

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, walls dirty

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged

Food Manager’s Office

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets damaged

105 CMR 590.011(C)(3)	Additional Requirements: Food Allergy Awareness Training, food protection manager not certified in allergen awareness training

Spice Closet

No Violations Noted

Food Closet

No Violations Noted

Food Manager’s Bathroom

No Violations Noted

Closet (near Bathroom)

No Violations Noted

POWER PLANT BUILDING # 3

Bathroom

No Violations Noted

Break Room

No Violations Noted

MAINTENANCE BUILDING # 4

Main Area

No Violations Noted

Director of Engineering’s Office & Bathroom

No Violations Noted

Tool Crib

No Violations Noted

Paint Room

Unable to Inspect – Locked

Office

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Break Room

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.350	Structural Maintenance: Exterior door not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Exterior door rusted

Vehicle Trap

No Violations Noted

Observations and Recommendations

- The inmate population was 198 at the time of inspection.

- The Smith Food Service area was not in use at the time of inspection.

- The ATU West, Modular Building, Brewster 1 and 2, Algon Building, Town Line Building, and Pioneer Building were unoccupied and not in use at the time of inspection.

- At the time of inspection, the mechanical warewashing machine was not operating in accordance with the manufacturer’s data plate for the rinse cycle. Facility staff stated that all utensils and cookware would be washed and rinsed in the 3-compartment sink and then sanitized in the mechanical warewashing machine until the machine could be repaired. It was also stated that Styrofoam would be used for serving meals until the warewash machine could be repaired.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Medeiros													Environmental Health Inspector, CSP, BEH