The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Phone: 617-356-5387

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

Tel: 617-624-6000

www.mass.gov/dph

MAURA T. HEALEY

Governor

KIMBERLEY DRISCOLL

Lieutenant Governor

May 11, 2023

Nelson Alves, Superintendent

MCI Norfolk

2 Clark Street

Norfolk, MA 02056		(electronic copy)

Re: Facility Inspection – MCI Norfolk

Dear Superintendent Alves:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of MCI Norfolk on April 25, 26, 27, and May 1, 2023 accompanied by Sergeant Michael Berksza, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 421 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc:	Robert Goldstein, MD, PhD, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Kathleen E. Walsh, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC						(electronic copy)

Terrence Reidy, Secretary, EOPSS						(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit		(electronic copy)

Sergeant Michael Berksza, EHSO						(electronic copy)

Betsy Fijol, Executive Assistant, Norfolk Board of Health			(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Tower # 2

105 CMR 451.353*	Interior Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.353	Interior Maintenance: Ceiling damaged

Tower # 1

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

Tower # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water faucet leaking

105 CMR 451.353	Interior Maintenance: Light out in stairwell

Tower # 3

105 CMR 451.350*	Structural Maintenance: Hole in ceiling above toilet

Tower # 5

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.350*	Structural Maintenance: Windows unable to open and close properly

VEHICLE TRAP

Bathroom

No Violations Noted

POWER PLANT

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

Office

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent blocked

105 CMR 451.123	Maintenance: Window screen damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at right side handwash sink

Break Area

No Violations Noted

GATE HOUSE

3rd Floor

105 CMR 451.353*	Interior Maintenance: Ceiling tiles loose in hallway

105 CMR 451.353*	Interior Maintenance: Floor surface damaged in hallway

Staff Bathroom # 301

No Violations Noted

Locker Rooms # 302-304

105 CMR 451.353*	Interior Maintenance: Floor damaged in locker room # 302, 303 and 304

Bunk Room # 305

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Office # 306

Unable to Inspect – Locked

Locker Room # 307

105 CMR 451.353*	Interior Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Tool Room # 308

Unable to Inspect – Locked

2nd Floor

Hallway

No Violations Noted

Room # 212

Unable to Inspect – Locked

Offices

No Violations Noted

Training Office

Unable to Inspect – In Use

Room # 201

Unable to Inspect – Locked

Female Bathroom

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, slop sink leaking

Disciplinary Unit

No Violations Noted

Support Staff Room

No Violations Noted

1st Floor

Entrance

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Male Bathroom

105 CMR 451.123*	Maintenance: Partition rusted

Female Bathroom

105 CMR 451.123*	Maintenance: Wall tiles damaged next to window

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water controls leaking at handwash sink # 1 and 2

Visitor Processing

No Violations Noted

Locksmith Room

No Violations Noted

Control

105 CMR 451.350*	Structural Maintenance: Windows cracked

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

Staff Bathroom

No Violations Noted

Break Area

105 CMR 451.350*	Structural Maintenance: Windows cracked

Cell

105 CMR 451.353	Interior Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Bathroom (in holding area)

105 CMR 451.123	Maintenance: Wall paint damaged

Basement

105 CMR 451.353*	Interior Maintenance: Area generally dirty

105 CMR 451.353*	Interior Maintenance: Mold observed on wall

105 CMR 451.353	Interior Maintenance: Floor surface damaged

Bathroom

105 CMR 451.123*	Maintenance: Window cracked

105 CMR 451.123		Maintenance: Standing water observed on floor

Trap

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Window cracked

VISITOR’S BUILDING

Staff Break Area

No Violations Noted

Search Room

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

Attorney Office’s

No Violations Noted

Main Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles damaged and missing

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with                105 CMR 590.000, vending machine out-of-order

Inmate Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Mop Room # 102

No Violations Noted

Closet A

No Violations Noted

Closet B

No Violations Noted

B.A.U. – (Formerly R.H.U.)

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Unable to Inspect – Closed

2nd Floor

Staff Offices

No Violations Noted

Supply Closet

No Violations Noted

Medical Room

No Violations Noted

Large Bathroom

No Violations Noted

Staff Bathrooms

No Violations Noted

Shower

Unable to Inspect – Closed

Cells

Unable to Inspect – Closed

Staff Break Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Storage Room (inside Staff Break Area)

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

BAU Property

No Violations Noted

Holding Cell

No Violations Noted

1st Floor

Ice Machine

No Violations Noted

Visiting Cages

No Violations Noted

Storage Room

No Violations Noted

Indoor Recreation Room

105 CMR 451.353	Interior Maintenance: Office chair upholstery damaged

Holding Cell

105 CMR 451.353	Interior Maintenance: Wall surface damaged

Boss Chair Room

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Shower

105 CMR 451.123*		Maintenance: Soap scum on floor in shower # 1 and 2

105 CMR 451.123*		Maintenance: Floor surface damaged outside shower # 1 and 2

105 CMR 451.123*		Maintenance: Wall surface damaged outside shower # 1 and 2

105 CMR 451.123*	Maintenance: Ceiling rusted in shower # 1

Cells

105 CMR 451.353*	Interior Maintenance: Floor damaged in cell # 102, 103, 106, 107, 110, 111, 113, 125, 126, 129, 130, and 131

105 CMR 451.353	Interior Maintenance: Floor damaged in cell # 128

105 CMR 451.353*		Interior Maintenance: Wall paint damaged in cell # 121

105 CMR 451.353		Interior Maintenance: Wall paint damaged in cell # 117 and 125

105 CMR 451.103	Mattresses: Mattress damaged in cell # 108, 116, and 119

ADMINISTRATION OFFICES

3rd Floor

Hallway

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Female Bathroom

No Violations Noted

Offices

No Violations Noted

IPS

No Violations Noted

2nd Floor

Female Bathroom # 205

No Violations Noted

Utility Closet # 210

No Violations Noted

Male Bathroom # 212

No Violations Noted

Room # 202

No Violations Noted

Break Room # 203

No Violations Noted

Offices

No Violations Noted

Conference Room

No Violations Noted

1st Floor

Female Bathroom # 103

No Violations Noted

Male Bathroom # 102

No Violations Noted

Deputy’s Office # 101

No Violations Noted

Office # 105

No Violations Noted

Captain’s Office

No Violations Noted

Room # 106

No Violations Noted

Holding Cell # 107

No Violations Noted

Utility Closet (in Holding Cell)

No Violations Noted

Custodian # 109

No Violations Noted

Superintendent’s Office

No Violations Noted

Room # 111

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight

H.S.U.

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

4th Floor

Storage

No Violations Noted

3rd Floor

Slop Sink # 301

No Violations Noted

Records # 303

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Bathroom (in Records)

No Violations Noted

Hallway

No Violations Noted

Break Room # 308

No Violations Noted

Offices

No Violations Noted

Room # 313

No Violations Noted

Room # 314

No Violations Noted

Holding Cell # 315

No Violations Noted

Room # 318

No Violations Noted

Bathroom # 321

No Violations Noted

Janitor’s Closet # 320

No Violations Noted

2nd Floor

Back Cells

No Violations Noted

Shower # 220

No Violations Noted

Medical Storage # 204

No Violations Noted

Storage Room # 205

105 CMR 451.353	Interior Maintenance: Wall surface damaged

Room # 206

No Violations Noted

Toxic/Caustic Closet # 207

No Violations Noted

Break Room # 208

No Violations Noted

Room # 209

No Violations Noted

Room # 210 (Medical Waste Log Book)

No Violations Noted

Room # 211

No Violations Noted

ADL Unit

Treatment Room # 218

105 CMR 451.126	Hot Water: Hot water temperature 100°F at handwash sink

Laundry Room # 217

No Violations Noted

Bathroom # 216

105 CMR 451.123*	Maintenance: Floor surface damaged

Break Area

No Violations Noted

Bathroom # 216(A) (in Break Area)

No Violations Noted

Shower # 212

Unable to Inspect – In Use

Bathroom # 213

105 CMR 451.123	Maintenance: Exhaust fan dusty

Nurse’s Station # 214

No Violations Noted

Medication Room # 214A

No Violations Noted

Ward # 215

105 CMR 451.353*	Interior Maintenance: Ceiling tiles damaged

Solarium

105 CMR 451.350	Structural Maintenance: Window cracked

1st Floor

Health Service Administration # 103

No Violations Noted

Exam Room # 104

105 CMR 451.350*	Structural Maintenance: Window cracked

Utility Closet # 125

No Violations Noted

Room # 106

No Violations Noted

Insulin Cages (A-K and L-Z)

No Violations Noted

Room # 109

No Violations Noted

Nurse’s Station # 116

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, no backflow preventer at

handwash sink

Break Room # 119

No Violations Noted

Dental # 117

No Violations Noted

Exam Room # 123

No Violations Noted

Staff Bathroom # 124

No Violations Noted

Office # 121

No Violations Noted

Office # 122

No Violations Noted

Treatment Rooms

No Violations Noted

Officer’s Station

No Violations Noted

Basement

Booking # B-05A

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Window cracked

Holding Cells

No Violations Noted

Boss Chair Room

No Violations Noted

Bathroom # B-03A

No Violations Noted

X-Ray Room # B-04

No Violations Noted

Storage Closet (inside X-Ray Room)

105 CMR 451.353*	Interior Maintenance: Light shield missing

Slop Sink # B-06

No Violations Noted

CULINARY ARTS

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Hallway

Office

No Violations Noted

Turbo Freezer

No Violations Noted

Traulsen Refrigerator

No Violations Noted

Beverage Air Refrigerator

No Violations Noted

Storage # B-07

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty, possible mold/mildew

Staff Bathroom # B-01

No Violations Noted

Inmate Bathroom # B-08

No Violations Noted

Storage # B-09

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures –

Methods: Facility not in good repair, wall damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged on True Refrigerator

Supplies # B-10

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty, possible mold/mildew

Slop Sink # B-11

No Violations Noted

Beverage Room # B-12

No Violation Noted

Spice Room

No Violations Noted

Dining Room

No Violations Noted

Kitchen

105 CMR 451.126		Hot Water: Hot water temperature recorded at 100°F at handwash sink

MAIN KITCHEN

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling paint damaged in skylight area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged throughout

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water control loose at handwash sink # 2

105 CMR 451.123	Maintenance: Slop sink dirty

Chemical Closet

No Violations Noted

Fish Oven Area

No Violations Noted

Director’s Office

No Violations Noted

Dry Storage

No Violations Noted

Spice Room

No Violations Noted

Traulsen Freezer

No Violations Noted

Diet Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged on True Refrigerator

Dish Room

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Windows not weathertight and structurally sound, windows cracked

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested lower than recommended concentration in 3-compartment sink

FC 4-901.11(A)	Protection of Clean Items; Drying: Cleaned, sanitized equipment and utensils not allowed to fully air dry, stainless steel pans stacked wet

Break Area

No Violations Noted

Warming Units

No Violations Noted

Kettle Area

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged

Convection Ovens

No Violations Noted

Handwash Sink

No Violations Noted

Baking Area

No Violations Noted

Staff Office

No Violations Noted

Storage Room (in Staff Office)

No Violations Noted

Staff Bathroom

No Violations Noted

Tool Closet

No Violations Noted

Prep Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty, possible mold/mildew

Ice Machine

No Violations Noted

Produce Cooler # 1

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged

Cart Box # 2

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, cooler gaskets damaged

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, bottom of door damaged

Mop Closet

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, standing water observed on floor

Supply

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Exterior door not

tight-fitting near entrance to kitchen

1st Floor

Butcher Shop

No Violations Noted

Freezer (inside Butcher Shop)

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling surface damaged

Office

No Violations Noted

Loading Dock

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Exterior door not

tight-fitting

Inmate Bathroom

No Violations Noted

Back Hallway

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, pipe insulation damaged in hallway

Egg Room (Cooler # 2)

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

Milk Cooler # 1

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling surface damaged

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, light shield dirty

Freezer # 1

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, door threshold damaged

Freezer # 2

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, door threshold damaged

Back Storage

No Violations Noted

Freezers (in Back Storage)

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, excessive ice build-up on wall and ceiling in Freezer # R-027

Dry Storage (in Back Storage)

No Violations Noted

Compressor Room

No Violations Noted

2nd Floor

Office

No Violations Noted

Chemical Room (behind Office)

No Violations Noted

East Side Storage

No Violations Noted

Bathroom

No Violations Noted

West Side

No Violations Noted

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Ceiling water damaged

East Side

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353	Interior Maintenance: Ceiling dirty

105 CMR 451.353	Interior Maintenance: Ceiling water damaged

West Side

105 CMR 451.350*	Structural Maintenance: Exterior doors not rodent and weathertight

SOUTH YARD

Supervisor’s Office

No Violations Noted

Nursing Office

No Violations Noted

Common Area

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Storage Area (previously Dorm A)

Unable to Inspect – Locked

Provider Offices

No Violations Noted

Phlebotomy Lab

Unable to Inspect – Locked

Dining Hall

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

O.I.C. BUILDING

2nd Floor

Educational Office # 201

No Violations Noted

Classrooms

No Violations Noted

Janitor’s Closet # 211

No Violations Noted

Janitor’s Closet # 209

Unable to Inspect – Locked

Teacher’s Room # 204A

No Violations Noted

Male Bathroom (in Teacher’s Room)

No Violations Noted

Female Bathroom (in Teacher’s Room)

Unable to Inspect – In Use

1st Floor

105 CMR 451.350*	Structural Maintenance: Exterior side doors not rodent and weathertight

Break Room # 101D

No Violations Noted

Staff Bathroom (inside Break Area, Room # 101D)

No Violations Noted

Director of Treatment Office

No Violations Noted

Captel Office # 109

No Violations Noted

Law Library

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Library

No Violations Noted

Supply Closet (in Library)

Unable to Inspect – Locked

Property

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Janitor’s Closet

No Violations Noted

Inmate Bathroom # 105

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Floor paint damaged

Urine Room # 106

No Violations Noted

Room # 107

No Violations Noted

Staff Bathroom # 108

No Violations Noted

VOC EDUCATION BUILDING

2nd Floor

Inmate Bathroom

No Violations Noted

Room # 201

No Violations Noted

Room # 202

No Violations Noted

Room # 204

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Room # 205

No Violations Noted

Room # 206

No Violations Noted

Room # 208

No Violations Noted

Room # 209

No Violations Noted

Room # 210

105 CMR 451.141*	Screens: Screens missing

EHSO Office

No Violations Noted

Room # 212

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

1st Floor

Hallway

No Violations Noted

Staff Bathroom

No Violations Noted

Room # 103

No Violations Noted

Room # 110

No Violations Noted

Room # 111

No Violations Noted

Inmate Bathroom # 101

No Violations Noted

Inmate Bathroom Area

No Violations Noted

Barber Shop

105 CMR 451.353	Interior Maintenance: Chair upholstery damaged

Basement

Laundry

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Bathroom

105 CMR 451.123*	Maintenance: Pipe insulation damaged

105 CMR 451.123	Maintenance: Water fountain leaking

Office

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Windows cracked

Storage Room

No Violations Noted

MAINTENANCE BUILDING

3rd Floor

105 CMR 451.350*	Structural Maintenance: Windows broken throughout

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, pipes leaking

105 CMR 451.353	Interior Maintenance: Standing water observed on floor

Storage

No Violations Noted

Plumbing Office

No Violations Noted

Paint Shop

No Violations Noted

Electrical Office

No Violations Noted

Staff Room

No Violations Noted

Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Bathroom

No Violations Noted

2nd Floor

Director of Engineering’s Office

No Violations Noted

Office

No Violations Noted

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Break Room

No Violations Noted

Carpentry Shop

No Violations Noted

1st Floor

105 CMR 451.350*	Structural Maintenance: Back door not rodent and weathertight

Plumbing Shop

No Violations Noted

Tool Crib

No Violations Noted

Staff Area

No Violations Noted

Electrical Shop

No Violations Noted

Welding Shop

No Violations Noted

CANTEEN

105 CMR 451.350*	Structural Maintenance: Back door not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Front door not rodent and weathertight

Staff Office

No Violations Noted

Staff Bathroom

No Violations Noted

Chemical Closet

No Violations Noted

Main Area

No Violations Noted

Inmate Bathroom

No Violations Noted

Freezers

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, gaskets damaged on freezer # 5

2nd Floor

No Violations Noted

C.S.D. BUILDING

Foyer

No Violations Noted

Foyer Office

No Violations Noted

Inmate Clerk Office

No Violations Noted

Council Room

105 CMR 451.141*	Screens: Screen damaged

Auditorium

105 CMR 451.350*	Structural Maintenance: Ceiling water stained and damaged

Auditorium Foyer

No Violations Noted

Chemical Closet # 100A

Unable to Inspect – Locked

Chapel

No Violations Noted

Chapel Instrument Room

No Violations Noted

Inmate Bathroom # 100B

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water control damaged at handwash sink

Basement – Religious Corridor

Office # 1

No Violations Noted

Office # 2

No Violations Noted

Bathroom CSD – 08A (in Office # 2)

105 CMR 451.123	Maintenance: Floor paint damaged

Staff Bathroom CSD – 06

No Violations Noted

Janitor’s Closet CSD – 05

No Violations Noted

Muslim Office CSD – 01A

No Violations Noted

Storage Room CSD – 01B (in Muslim Office)

No Violations Noted

CSDB – 02

No Violations Noted

CSDB – 03

No Violations Noted

CSDB – 03A (inside CSDB – 03)

No Violations Noted

CSDB - 04

No Violations Noted

Utility Cage

No Violations Noted

Inmate Bathroom (next to Battle Room)

Unable to Inspect – Not Used

Battle Rooms

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated in Battle Room # 1

INDUSTRIES BUILDING

3rd Floor

Hallway

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

Janitor’s Closet (West Side)

No Violations Noted

Janitor’s Closet (East Side)

No Violations Noted

Storage Area

Bathroom (in Storage Area)

No Violations Noted

Office

No Violations Noted

Bindery Shop

No Violations Noted

Bathroom

No Violations Noted

Upholstery Shop

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single-use plastic utensils left uncovered and open to contamination

Staff Bathroom

No Violations Noted

Inmate Bathroom (near Tool Crib)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, right side faucet leaking at

3-compartment sink

Office

No Violations Noted

2nd Floor

Metal 2 (Storage)

No Violations Noted

Office

105 CMR 451.350	Structural Maintenance: Window cracked on door

Janitor’s Closet (Hallway)

No Violations Noted

Inmate Bathroom

No Violations Noted

Welding Shop

No Violations Noted

Inmate Bathroom (near Paint Booths)

No Violations Noted

South End – Clothing

Office

105 CMR 451.350*	Structural Maintenance: Window cracked

Inmate Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

North End

Staff Bathroom

No Violations Noted

Office

No Violations Noted

Inmate Bathroom

No Violations Noted

1st Floor

Offices

No Violations Noted

Chemical Closet (in Hallway)

No Violations Noted

Mop Closet (in Hallway)

No Violations Noted

Maintenance Department

No Violations Noted

Staff Break Area

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

Unable to Inspect – In Use

Office

No Violations Noted

Janitorial Shop

No Violations Noted

Office

No Violations Noted

Plate Shop

No Violations Noted

Bathroom

No Violations Noted

Metal 1

Inmate Bathroom

No Violations Noted

Office

No Violations Noted

Shipping Area

No Violations Noted

GYM

Basketball Court

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Handball Court

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

Weight Room

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Raised platform damaged

Game Room

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

Female Staff Bathroom

No Violations Noted

Toxic Closet

No Violations Noted

Male Staff Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Staff Break Room

No Violations Noted

Inmate Bathroom

No Violations Noted

Music Room

105 CMR 451.353*	Interior Maintenance: Carpet damaged

Control

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.350*	Structural Maintenance: Window cracked

PROBATION UNITS (Future S.S.U.)

Unable to Inspect – Under Construction

UNIT 1-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Bathroom

105 CMR 451.123*	Maintenance: Door frame rusted at entrance

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Slop Sink

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Window cracked on door to cell # 315

Fire Exit Room # 305

No Violations Noted

2nd floor

Hallway

No Violations Noted

Slop Sink

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Ceiling surface damaged

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Wall dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Wall surface damaged

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 218

Fire Exit Room # 205

No Violations Noted

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor surface unfinished in shower

105 CMR 451.123*	Maintenance: Shower threshold damaged

Slop Sink

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 106

Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface left unfinished

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, hot water tank rusted

Dining Area

No Violations Noted

Bathroom (between Cell # 106 & 107)

105 CMR 451.123*	Maintenance: Shower threshold damaged

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Door frame rusted

Basement

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at utility sink

UNIT 1-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Bathroom

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain cover missing

Slop Sink

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 321

2nd Floor

Hallway

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 206, 213, and 223

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 221

Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Rear Fire Exit door not rodent and weathertight

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 1

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water control leaking at

slop sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Cells

No Violations Noted

Kitchen

No Violations Noted

Dining Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, refrigerator gaskets damaged

Sergeant’s Office

No Violations Noted

CPO’s Office

No Violations Noted

Bathroom (In CPO’s Office)

No Violations Noted

Basement

No Violations Noted

UNIT 1-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

Slop Sink

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 304

105 CMR 451.353	Interior Maintenance: Wall surface left unfinished in cell # 319

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 319

2nd Floor

Hallway

105 CMR 451.353*	Interior Maintenance: Vents dusty at end of hallway

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1 and 2

105 CMR 451.123	Maintenance: Wall surface damaged near handwash sinks

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water faucet leaking at handwash sink # 2

Slop Sink

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 222

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.123*	Maintenance: Floor paint damaged around toilet

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

105 CMR 451.123	Maintenance: Ceiling water damaged

105 CMR 451.123	Maintenance: Ceiling leaking

Slop Sink

No Violations Noted

Cells

No Violations Noted

Bathroom (between Cell # 106 & 107)

105 CMR 451.123*	Maintenance: Floor surface damaged in shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Walls dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Wall paint damaged

Kitchen

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, entrance doorknob damaged

Dining Area

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling water damaged

Basement

No Violations Noted

UNIT 2-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor surface damaged throughout

105 CMR 451.123*	Maintenance: Floor surface unfinished in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 305

105 CMR 451.353	Interior Maintenance: Hole in ceiling in cell # 305

Fire Exit Room # 307

No Violations Noted

Fire Exit Room # 319

No Violations Noted

2nd Floor

Hallway

105 CMR 451.141	Screens: Screen damaged at end of hallway

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall surface damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Walls dirty in shower # 1 and 2

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Cells

No Violations Noted

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

Cells

No Violations Noted

Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface left unfinished

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

Dining Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, exhaust fan dusty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets dirty

Office

No Violations Noted

Sergeant’s Office

No Violations Noted

Bathroom (In Sergeant’s & CPO’s Office)

No Violations Noted

Basement

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.353	Interior Maintenance: Ceiling water damaged

105 CMR 451.353	Interior Maintenance: Standing water observed on floor

UNIT 2-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

Unable to Inspect – In Use

Cells

No Violations Noted

Fire Exit Room # 319

No Violations Noted

Slop Sink

No Violations Noted

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1, 2, and 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover not secured in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 1

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 211

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

105 CMR 451.123*	Maintenance: Floor surface left unfinished in shower

105 CMR 451.123*	Maintenance: Floor surface damaged throughout

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 107

Kitchen

No Violations Noted

Dining Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, exhaust fan dusty

Bathroom (between cell # 106 & 107)

105 CMR 451.123*	Maintenance: Wall paint damaged in shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

105 CMR 451.123*	Maintenance: Floor surface left unfinished in shower

105 CMR 451.123	Maintenance: Wall surface damaged around radiator

Basement

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353	Interior Maintenance: Standing water observed on floor

UNIT 2-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1 and 2

Cells

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 309

Fire Exit Room # 318

No Violations Noted

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor cracked in shower # 2

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1

105 CMR 451.123*	Maintenance: Caulking moldy in shower # 1 and 2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 1

105 CMR 451.123	Maintenance: Pipe insulation damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover not secured in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover not secured outside showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 1

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 220

Fire Exit Room # 206

105 CMR 451.353*	Interior Maintenance: Door frame damaged

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water control leaking at           handwash sink

Cells

No Violations Noted

Kitchen

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, window frame paint damaged

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, exhaust fan dirty

Dining Area

FC 6-501.12(A)	Maintenance and Operation, Cleaning: Facility not cleaned properly, wall

fan dusty

Bathroom (between Cell # 106 & 107)

105 CMR 451.123	Maintenance: Shower floor damaged

Basement

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

UNIT 3-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance Ceiling dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Threshold damaged outside all showers

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling left unfinished in cell # 314

105 CMR 451.103	Mattresses: Mattress damaged in cell # 307, 310, and 324

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor surface left unfinished in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Floor cracked in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Caulking dirty in shower # 2, possible mold/mildew

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123	Maintenance: Caulking dirty in shower # 1, possible mold/mildew

Cells

105 CMR 451.353*		Interior Maintenance: Wall paint damaged in cell # 217

105 CMR 451.353		Interior Maintenance: Ceiling paint damaged in cell # 203

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor surface rough in shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

Cells

No Violations Noted

Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface left unfinished

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, exhaust fan dusty

Dining Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, exhaust fan dusty

Bathroom (between Cell # 106 & 107)

105 CMR 451.123*	Maintenance: Floor surface left unfinished in shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Basement

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

UNIT 3-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 2

Slop Sink

105 CMR 451.353	Interior Maintenance: Door frame rotted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 311, 313, and 315

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Wall surface damaged above showers

Slop Sink

No Violations Noted

Cells

No Violations Noted

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Ceiling paint damaged

Slop Sink

No Violations Noted

Cells

No Violations Noted

Kitchen

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a s	state of good repair, hot water tank rusted

Dining Area

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not in good repair, ceiling paint damaged

CPO’s Office

No Violations Noted

Sergeant’s Office

105 CMR 451.353	Interior Maintenance: Ceiling surface damaged

Basement

No Violations Noted

UNIT 3-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 315

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Walls dirty, possible mold/mildew

Cells

No Violations Noted

1st Floor

Housemen Bathroom

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Hole in ceiling in cell # 102

Kitchen

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a s	state of good repair, hot water tank rusted

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed on shelving

Dining Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a s	state of good repair, refrigerator gaskets damaged

Bathroom (between Cell # 106 & 107)

105 CMR 451.123*	Maintenance: Floor surface left unfinished in shower

Basement

No Violations Noted

UNIT 4-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Walls dirty, possible mold/mildew

Slop Sink

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 319

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Wall surface damaged behind handwash sinks

105 CMR 451.123	Maintenance: Water pipes rusted

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Walls dirty, possible mold/mildew

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal running continuously

Slop Sink

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 214

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Shower threshold damaged

105 CMR 451.123*	Maintenance: Floor surface left unfinished in shower

Slop Sink

No Violations Noted

Cells

No Violations Noted

Kitchen

No Violations Noted

Dining Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, exhaust fan dusty

Bathroom (between Cell # 106 & 107)

105 CMR 451.123*	Maintenance: Shower threshold damaged

105 CMR 451.123	Maintenance: Shower floor damaged

Basement

No Violations Noted

UNIT 4-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Bottom of door frame rotted in shower # 2

Slop Sink

No Violations Noted

Cells

No Violations Noted

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall dirty above showers, possible mold/mildew

105 CMR 451.123	Maintenance: Base rotted in shower # 1

105 CMR 451.123	Maintenance: Wall surface damaged near toilets

105 CMR 451.123	Maintenance: Frame rotted on handwash sink # 1 and 2

Slop Sink

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 203

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

No Violations Noted

Slop Sink

No Violations Noted

Cells

No Violations Noted

Kitchen

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, warming unit dirty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, exhaust fan dusty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, hot water tank rusted

FC 4-501.15(A)	Maintenance and Operation; Equipment: Warewashing machine not operating in accordance with manufacturer's instructions, warewashing machine leaking water from bottom

Dining Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

CPO’s Office # 1

No Violations Noted

CPO’s Office # 2

No Violations Noted

Sergeant’s Office

No Violations Noted

Bathroom (In Sergeant’s & CPO’s Office)

No Violations Noted

Basement

No Violations Noted

UNIT 4-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, microwave door push button broken

3rd Floor

Hallway

No Violations Noted

Bathroom with Shower

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Walls dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Window hinge damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 2 damaged

Bathroom # 305

105 CMR 451.123	Maintenance: Wall surface rotted around handwash sink

Cells

105 CMR 451.350	Structural Maintenance: Window cracked on door to cell # 312

Slop Sink

No Violations Noted

Fire Room # 319

105 CMR 451.353*	Interior Maintenance: Bottom of door frame rotted

105 CMR 451.353	Interior Maintenance: Door rotted

2nd Floor

Hallway

No Violations Noted

Bathroom (with Shower)

105 CMR 451.123	Maintenance: Floor surface damaged

Cells

105 CMR 451.353	Interior Maintenance: Window latch damaged in cell # 202

105 CMR 451.353	Interior Maintenance: Light out in cell # 202

Slop Sink

No Violations Noted

Bathroom # 207

No Violations Noted

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor surface damaged in shower

Slop Sink

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Cells

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 108

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 108, possible mold/mildew

105 CMR 451.353	Interior Maintenance: Wall surface damaged in cell # 108

Kitchen

No Violations Noted

Dining Area

No Violations Noted

Bathroom (between Cell # 106 & 107)

105 CMR 451.123*	Maintenance: Shower threshold damaged

105 CMR 451.123*	Maintenance: Floor surface damaged in shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Door frame rotted

105 CMR 451.123	Maintenance: Exhaust fan dusty

105 CMR 451.123	Maintenance: Access panel above shower rusted

Basement

No Violations Noted

UNIT 6-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Stair treads damaged at entrance

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

Unable to Inspect – In Use

Slop Sink

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 318

Fire Exit Room

105 CMR 451.350*	Structural Maintenance: Window cracked

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

Slop Sink

No Violations Noted

Cells

No Violations Noted

Fire Exit Room

No Violations Noted

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor surface damaged

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # 102

105 CMR 451.353	Interior Maintenance: Ceiling surface damaged in cell # 106

Bathroom (between cell # 105 & 106)

105 CMR 451.123*	Maintenance: Wall paint damaged in shower

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Kitchen

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, exhaust fan dusty

Dining Area

No Violations Noted

Basement

105 CMR 451.353*		Interior Maintenance: Floor paint damaged

UNIT 6-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

No Violations Noted

Cells

No Violations Noted

Slop Sink

No Violations Noted

2nd Floor

Hallway

No Violations Noted

Bathroom

Unable to Inspect – In Use

Slop Sink

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Exterior window cracked in cell # 214

Fire Exit Room

No Violations Noted

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

No Violations Noted

Cells

No Violations Noted

Bathroom (between cell # 105 & 106)

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking in shower

105 CMR 451.123*	Maintenance: Floor surface left unfinished in shower

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Kitchen

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, exhaust fan dusty

Dining Area

No Violations Noted

Basement

No Violations Noted

UNIT 6-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Stair treads damaged at entrance

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom	Unable to Inspect Shower # 2 – In Use

105 CMR 451.123	Maintenance: Floor surface damaged in shower # 1

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain damaged

outside showers

Cells

No Violations Noted

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Ceiling surface damaged

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 2

Cells

No Violations Noted

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall paint damaged in shower

Cells

No Violations Noted

Kitchen

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, pipes leaking under handwash sink

Dining Area

No Violations Noted

CPO’s Office # 103

No Violations Noted

Bathroom (in Sergeant’s & CPO’s Office)

No Violations Noted

Sergeant’s Office

No Violations Noted

Basement

No Violations Noted

UNIT 7-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 1 and 2

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, slop sink leaking

from underneath

105 CMR 451.353	Interior Maintenance: Wall surface damaged

Cells

No Violations Noted

Fire Exit Room

No Violations Noted

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Shower frame damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Floor surface left unfinished in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 2

Slop Sink

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 207

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor surface rough in shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

105 CMR 451.123	Maintenance: Ceiling surface damaged

Slop Sink

No Violations Noted

Cells

No Violations Noted

Kitchen

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, wall fan dusty

Dining Area

No Violations Noted

Bathroom (between Cell # 106 & 107)

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor surface left unfinished in shower

Library

No Violations Noted

Basement

No Violations Noted

UNIT 7-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

3rd Floor

Hallway

105 CMR 451.353*	Interior Maintenance: Vents dusty at end of hallway

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1

105 CMR 451.123*	Maintenance: Wall damaged in toilet stall # 2

105 CMR 451.123	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Floor surface damaged

Slop Sink

No Violations Noted

Cells

105 CMR 451.141	Screens: Screen damaged in cell # 317

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 316

2nd Floor

Hallway

105 CMR 451.353*	Interior Maintenance: Vents dusty at end of hallway

Bathroom

105 CMR 451.123*	Maintenance: Mold observed on floor in shower # 1 and 2

105 CMR 451.123*	Maintenance: Mold observed on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Wall damaged in toilet stall # 1

105 CMR 451.123	Maintenance: Screen missing on exhaust fan

105 CMR 451.123	Maintenance: Wall surface damaged above showers

105 CMR 451.123	Maintenance: Door frame rusted

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 218

105 CMR 451.141*	Screens: Screen damaged in cell # 219, 222, and 223

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor surface left unfinished in shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Wall paint damaged

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Cells

No Violations Noted

Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface left unfinished

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, exhaust fan dusty

FC 6-501.114(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Non-functional equipment not repaired or removed from premises, griddle out-of-order

Dining Area

No Violations Noted

Office # 107

No Violations Noted

Office # 106

No Violations Noted

Bathroom (between Office # 106 & 107)

No Violations Noted

Sergeant’s Office # 105

No Violations Noted

Basement

No Violations Noted

UNIT 7-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Entrance door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Bathroom

No Violations Noted

Slop Sink

No Violations Noted

Cells

105 CMR 451.141	Screens: Screen damaged in cell # 308 and 322

2nd Floor

Hallway

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Bathroom

105 CMR 451.123*	Maintenance: Pipes rusted and not properly insulated

105 CMR 451.123	Maintenance: Mirror frame damaged

Slop Sink

105 CMR 451.353	Interior Maintenance: Slop sink rusted

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Cells

No Violations Noted

1st Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.123*	Maintenance: Soap scum on wall in shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

Slop Sink

No Violations Noted

Cells

No Violations Noted

Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

FC 4-101.16*	Materials for Construction and Repair; Multiuse: Sponges used on cleaned, sanitized, or in use food contact surfaces, green sponge pad observed

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, wall fan dusty

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, hot water control leaking at sprayer sink

Dining Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, handle damaged on freezer chest

Bathroom (between Cell # 108 & 109)

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Shower floor damaged

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Basement

No Violations Noted

UNIT 8-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Ceiling leaking at entrance

105 CMR 451.353	Interior Maintenance: Standing water observed on floor at entrance

2nd Tier

Showers # 4-6

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 6

105 CMR 451.123*	Maintenance: Floor surface left unfinished in shower # 4, 5, and 6

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 4, 5, and 6

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 4 and 6

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking in shower # 4

105 CMR 451.123*	Maintenance: Baseboard paint damaged in shower # 4, 5, and 6

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # 203

105 CMR 451.103		Mattresses: Mattress damaged in cell # 212 and 216

Slop Sink Room

No Violations Noted

1st Tier

CPO’s Office

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Floor surface damaged in cell # 110

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 106

105 CMR 451.103	Mattresses: Mattress damaged in cell # 104, 107, and 114

Toxic/Caustic Room

105 CMR 451.353*	Interior Maintenance: Floor left unfinished

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover not secured

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Showers # 1-3

105 CMR 451.123*	Maintenance: Floor surface left unfinished in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1, 2, and 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, old piping not capped off appropriately in shower # 3

Kitchenette

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, cold water faucet leaking at handwash sink # 2 and 3

Unit 8-1/8-2 Kitchen & Staff Area

Staff Bathroom

No Violations Noted

Office

No Violations Noted

Staff Break Area

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, one light out

Kitchen

FC 5-202.12(A)	Plumbing System; Design, Construction and Installation: Insufficient hot water temperature at handwashing sinkPf, temperature recorded at 140°F on 8-2 Side

FC 6-301.12	Numbers and Capacity; Handwashing Sinks: No hand drying method available at handwashing sinkPf on 8-2 Side

FC 4-101.16	Materials for Construction and Repair; Multiuse: Sponges used on cleaned, sanitized, or in use food contact surfaces, green sponge pad observed

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

UNIT 8-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained by skylight

105 CMR 451.353*	Interior Maintenance: Floor left unfinished outside showers

105 CMR 451.353	Interior Maintenance: Wall dirty outside 1st and 2nd floor showers, possible mold/mildew

2nd Tier

Showers # 4-6

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 4, 5, and 6

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 4 and 6

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 6

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 6

105 CMR 451.123*	Maintenance: Floor damaged around drain in shower # 4, 5, and 6

105 CMR 451.123*	Maintenance: Baseboard damaged in shower # 4

105 CMR 451.123*	Maintenance: Floor surface left unfinished in shower # 5 and 6

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water control leaking in shower # 4

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 6, possible mold/mildew

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

in shower # 5

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 211

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 207

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing

105 CMR 451.353	Interior Maintenance: Wet mop stored on floor

Storage Closet

No Violations Noted

1st Tier

CPO’s Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, excessive ice build-up in freezer

Showers (# 1-3)

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 1, 2, and 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, old piping not capped off appropriately in shower # 1

105 CMR 451.123*	Maintenance: Floor surface left unfinished in shower # 1, 2, and 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water control leaking

in shower # 3

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 1

Toxic/Caustic Room

105 CMR 451.353	Interior Maintenance: Ceiling surface damaged

Kitchenette

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, cold water faucet leaking at handwash sink # 1

Slop Sink Room

No Violations Noted

Cells				Unable to Inspect cell # 112 – Offline

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # 102

Observations and Recommendations

- The inmate population was 1,033 at the time of inspection.

- The CSP observed a high number of floor surfaces left unfinished with exposed porous concrete in showers throughout the institution. Shower floors throughout the facility shall be constructed with non-absorbent surfaces and kept in repair as required in 105 CMR 451.122 Shower Floors and

105 CMR 451.123 Maintenance. The CSP also recommended these surfaces be easily cleanable.

- At the time of inspection, the Probation Units were closed and under construction for the anticipated Special Services Unit (S.S.U.).

- The CSP recommends numbering all showers throughout the institution. This will assist the CSP and Department of Correction employees to better recognize where issues exist.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH