The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street

West Boylston, MA 01583

Telephone: 508-792-7880, ext. 2322

Facsimile: 508-792-7706

TTY: 508-835-9796

Amy.M.Riordan@state.ma.us

DEVAL L. PATRICK GOVERNOR JOHN W. POLANOWICZ SECRETARY CHERYL BARTLETT, RN COMMISSIONER

December 2, 2013

Gary Roden, Superintendent

MCI Norfolk

2 Clark Street

P.O. Box 43

Norfolk, MA 02056

Re: Facility Inspection – MCI Norfolk

Dear Superintendent Roden:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of MCI Norfolk on November 4, 5, 6 and 7, 2013 accompanied by Mike Berksza, EHSO. Violations noted during the inspection are listed below:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

TOWERS

5 Tower

105 CMR 451.350*	Structural Maintenance: Ceiling damaged at plumbing stack

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

FC 4-602.12(B)	*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

4 Tower

105 CMR 451.350*	Structural Maintenance: Ceiling damaged at plumbing stack

105 CMR 451.350*	Structural Maintenance: Wall damaged at sink

105 CMR 451.350*	Structural Maintenance: Hole in ceiling

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1010F

3 Tower

105 CMR 451.350*	Structural Maintenance: Ceiling damaged at plumbing stack

105 CMR 451.350*	Structural Maintenance: Wall damaged behind toilet

2 Tower

105 CMR 451.350*	Structural Maintenance: Ceiling damaged at plumbing stack

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Junction box uncovered at entrance

1 Tower

105 CMR 451.350*	Structural Maintenance: Ceiling damaged at plumbing stack

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1050F

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

GATE HOUSE

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Ceiling tiles dirty

105 CMR 451.350	Structural Maintenance: Windows cracked

Female Bathroom

105 CMR 451.123	Maintenance: Soap dispenser broken

Male Bathroom

105 CMR 451.123	Maintenance: Ceiling paint flaking

3rd Floor

Bathroom

105 CMR 451.350*	Structural Maintenance: Ceiling paint flaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks

Hallway

105 CMR 451.350*	Structural Maintenance: Wall paint flaking

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

Room 303

105 CMR 451.350	Structural Maintenance: Wall damaged

Room 304

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

2nd Floor

Disciplinary Office

105 CMR 451.350*	Structural Maintenance: Wall damaged under window

105 CMR 451.350*	Structural Maintenance: Wall damaged in copy room

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Women’s Room

105 CMR 451.123*	Maintenance: Ceiling paint peeling

Training Office

No Violations Noted

1st Floor

105 CMR 451.350*	Structural Maintenance: Windows cracked

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Men’s Room

105 CMR 451.123	Maintenance: Ceiling damaged

Women’s Room

No Violations Noted

Inmate Transportation

105 CMR 451.351*	Handrails: Baluster not provided on both sides of stairs

Control

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Bathroom

105 CMR 451.123	Maintenance: Wall paint peeling

TRAP

No Violations Noted

VISITOR’S BUILDING

Visitor’s Area

No Violations Noted

Staff Breakroom

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Plates not stored in the inverted position

Visitor’s Bathroom

105 CMR 451.353*	Interior Maintenance: Baseboard heat cover damaged

Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Baseboard heat cover missing

S.M.U.

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Control

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.126	Hot Water: Hot water temperature recorded at 760F

Hallway

105 CMR 451.353*	Interior Maintenance: Radiator rusty at both ends of hallway

Storage Room

No Violations Noted

Insulin Cage Room

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F

Cells

No Violations Noted

Back Hallway

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

2nd Floor

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Staff Breakroom

105 CMR 451.350*	Structural Maintenance: Windows damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*		Interior Maintenance: Missing ceiling tiles

105 CMR 451.353*		Interior Maintenance: Missing ventilation covers

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)		Protection of Clean Items, Storing: Single-service items not protected from 					contamination, items left uncovered

Supply Closet

105 CMR 451.353*	Interior Maintenance: Missing light shields

Hallway

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Water bubbler broken

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

Medical Room

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.353*	Interior Maintenance: Window paint peeling

Large Bathroom

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.123	Maintenance: Missing stopper at faucet

Small Bathroom

No Violations Noted

Shower

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.123	Maintenance: Floor paint peeling

Cells

No Violations Noted

Insulin Cage Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Holding Cell

No Violations Noted

1st Floor

Shower

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Damaged wall tiles

105 CMR 451.123*	Maintenance: Missing floor drain cover

105 CMR 451.123	Maintenance: Wall paint peeling

Cells

No Violations Noted

Storage Room

No Violations Noted

Laundry Room

No Violations Noted

Lunch Room

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.141*	Screens: Screen damaged

Strip Area

105 CMR 451.350	Structural Maintenance: Windows cracked

Visits

No Violations Noted

Hallway

105 CMR 451.350*	Structural Maintenance: Window panes broken and missing

ADMINISTRATION OFFICES

3rd Floor

Women’s Room

105 CMR 451.350*	Structural Maintenance: Window panes cracked

IPS

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Room 300

No Violations Noted

2nd Floor

Women’s Room

No Violations Noted

Men’s Room

No Violations Noted

Utility Closet #210

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Break Room

No Violations Noted

Room 202

No Violations Noted

Room 208

No Violations Noted

1st Floor

Women’s Room

No Violations Noted

Men’s Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F

Room 101

No Violations Noted

Room 105

No Violations Noted

Room 106

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 560F

Room 109

No Violations Noted

Holding Cell

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Break Area

No Violations Noted

Utility Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Supply (In Hall)

No Violations Noted

Deputy’s Office

No Violations Noted

Side Entrance

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Captain’s Office

105 CMR 451.350*	Structural Maintenance: Wall damaged

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

H.S.U.

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

4th Floor

105 CMR 451.350*	Structural Maintenance: Windows panes cracked

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Wall damaged

3rd Floor

Records Room

No Violations Noted

Room 303 (Bathroom)

No Violations Noted

Hallway

No Violations Noted

Room 308

No Violations Noted

Bathroom 321

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123	Maintenance: Wall paint peeling

Room 320

105 CMR 451.353	Interior Maintenance: Water stored in bucket

105 CMR 451.353	Interior Maintenance: Missing light shields

Room 315

No Violations Noted

2nd Floor

Room 210

No Violations Noted

Room 220A

No Violations Noted

Room 220B

No Violations Noted

Room 219

105 CMR 451.353*	Interior Maintenance: Missing light shields

Room 206

No Violations Noted

Room 205

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Room 204

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.353*	Interior Maintenance: Wall paint peeling

Back Cells

No Violations Noted

Bathroom 213

No Violations Noted

Laundry Room

105 CMR 451.353*	Interior Maintenance: Radiator rusty

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Hall Sink

No Violations Noted

Room 212 Shower

105 CMR 451.130	Hot Water: Shower water temperature recorded at 940F

105 CMR 451.123	Maintenance: Standing water on the floor

Staff Bathroom 216A

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Ward

105 CMR 451.350*	Structural Maintenance: Window panes cracked

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than 	recommended concentration in microwave area

1st Floor

Room 125

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Missing light shield

Room 106

No Violations Noted

Room 124 (Bathroom)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks

105 CMR 451.126	Hot Water: Hot water temperature recorded at 800F

Insulin Room

No Violations Noted

Room 117 (Dentist’s Office)

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Hallway

No Violations Noted

Room 119

105 CMR 451.353*	Interior Maintenance: Missing light shields

Room 116

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 530F

Room 113

105 CMR 451.353*		Interior Maintenance: Floor tiles damaged

Room 111 (NP Office Bathroom)

No Violations Noted

NP Office

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Basement

B-05 A - Booking

No Violations Noted

Holding Area

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Waiting Room

No Violations Noted

B-02

No Violations Noted

B-05

No Violations Noted

B-06

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Light shields missing

B-07

No Violations Noted

X-Ray

No Violations Noted

B-03(A) Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, air gap missing from faucet

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Staff Bathroom (In Booking)

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Dark Room

105 CMR 451.353*	Interior Maintenance: Chemicals stored on the ground

CULINARY ARTS

Hallway

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in hall dusty

Traulsen Freezer

FC 3-302.11(A)(1)(b)	Preventing Food and Ingredient Contamination: Preventing cross contamination,	ready-to-eat foods not appropriately separated from raw foods

Beverage Air Freezer

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged

Inmate’s Bathroom (B-08)

105 CMR 451.353*	Interior Maintenance: Missing light shields

Staff Bathroom (B-01)

No Violations Noted

Dry Goods

FC 4-501.12	Maintenance and Operation, Equipment: Cutting surfaces damaged and no longer 	easily cleanable

B-09

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

B-10

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, louvers don’t open completely

B-11

No Violations Noted

B-12

No Violations Noted

Kitchen

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, ice machine leaks

FC 5-202.13*	Plumbing System, Design: Air gap between (inlet) pipe and flood rim, air gap less than twice the diameter of the pipe for the ice machine

FC 6-301.14	Numbers and Capacity; Handwashing Facilities: No handwashing signage located at handwashing sink

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Wall covering not easily cleanable, wall damaged at 3 bay sink

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily cleanable, wall damaged under sink in dish room

Dining Room

No Violations Noted

Slop Sink in Hall

No Violations Noted

MAIN KITCHEN

Spice Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

Dry Storage

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, all spice bins are littered with debris and old food product

FC 3-304.12(A)*	Preventing Contamination from Utensils: Service utensils handle stored below the food and container line

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens not installed in exterior windows, screen missing from window with fan

Chemical Closet

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Floor damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, rusted partition at toilet

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink damaged

Dish Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed on window sill

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged near 3 bay sink

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall damaged

FC 4-602.13*	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces dirty, 	storage surfaces dirty

FC 4-901.11(A)	Protection of Clean Items, Drying: Clean and sanitized trays not allowed to air dry fully

FC 4-701.10	Sanitization of Equipment and Utensils, Objective: Food contact surfaces, utensils, pots and pans, trays, are not being properly sanitized; they are not left in contact with the sanitizer for the correct amount of time

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, cover coating the ventilation system damaged

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, sink leaking

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall paint peeling

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, a lot of standing water on the floor

Diet Kitchen

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	details, food debris left in steam table

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, Hallal warmer damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on Hallal warmer

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans dusty

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not 	repaired or removed from premises, Blodgett warmers broken

Break Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

Officer’s Station

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not 	repaired or removed from premises, freezer is broken

Staff Bathroom (Inside Officer’s Station)

105 CMR 451.123*		Maintenance: Wall damaged

105 CMR 451.353		Interior Maintenance: Louvers don’t open completely

Kettle Area

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, paint peeling

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Walls and ceiling covering not easily cleanable, skylight wall paint peeling

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, window sills dirty

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, kettle faucets leak

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, a lot of standing water on the floor

Baking Area

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucets leak

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1440F

Prep Area

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Mold growth observed on interior	surfaces of ice machine

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet leaking at the potato peeler

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens not installed in exterior windows where the fan is located

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily cleanable, paint peeling

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, a lot of standing water on the floor near the ice machine

Cooler 1 (Carts)

No Violations Noted

Cooler 2 (Produce)

No Violations Noted

Hallway

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Mop Closet

105 CMR 451.353	Interior Maintenance: Floor damaged

Butcher Shop

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not 	repaired or removed from premises, freezer broken

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged

SUPPLY

Office

No Violations Noted

Loading Dock

105 CMR 451.350*	Structural Maintenance: Windows damaged

Bathroom

105 CMR 451.123	Maintenance: Floor paint peeling

Egg Room (Cooler 2)

No Violations Noted

Cooler 1

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall damaged

Freezer 1

No Violations Noted

Freezer 2

No Violations Noted

2nd Floor

Office

No Violations Noted

East Side

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Bathroom

No Violations Noted

3rd Floor

Bathroom

No Violations Noted

East Side

105 CMR 451.350*	Structural Maintenance: Ceiling cracking

105 CMR 451.350*	Structural Maintenance: Window panes cracked

West Side

105 CMR 451.350*	Structural Maintenance: Wall damaged

SOUTH YARD HOUSING UNIT

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Office

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Soap dispenser broken

105 CMR 451.123	Maintenance: Ceiling fan dusty

Inmate Bathroom

105 CMR 451.123	Maintenance: Missing drain cover at urinal

T. V. Room

No Violations Noted

Supply Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Dining Area

No Violations Noted

O.I.C. BUILDING

2nd Floor

Men’s Room

No Violations Noted

Women’s Room

No Violations Noted

Teacher’s Room

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-101.16			Materials for Construction and Repair; Multiuse: Sponges used in kitchen

Hallway

No Violations Noted

Room 211

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Room 209 (Supply)

Unable to Inspect – Locked

Room 202 and 203

105 CMR 451.353*	Interior Maintenance: Ceiling tiles damaged

1st Floor

Back Door

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Staff Bathroom (Across From Inmate Bathroom)

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.353*	Interior Maintenance: Missing light shield

Inmate Bathroom

105 CMR 451.123*	Maintenance: Two sinks broken

Janitor’s Closet

No Violations Noted

Officer’s Break Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, freezer and refrigerator gaskets damaged

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior top portion of coffee maker is dirty

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-102.11(B)(2)	Materials for Construction and Repair; Multiuse: Unused single-service article not protected against contamination, uncovered utensils

Staff Bathroom (Inside Break Area, Room 101D)

No Violations Noted

Library

No Violations Noted

Law Library

105 CMR 451.353*	Interior Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Window damaged

Supply Closet

Unable to Inspect – No Access

VOC EDUCATION BUILDING

2nd Floor

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Drain in urinal not secured

EHSO Office

No Violations Noted

Room 207

No Violations Noted

Room 202

No Violations Noted

Room 213

No Violations Noted

1st Floor

Staff Bathroom

105 CMR 451.121(B)*	Privacy: Separate toilet facilities not provided for male and female staff

105 CMR 451.123*	Maintenance: Drain cover missing at urinal

Inmate Bathroom

No Violations Noted

Hallway

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Inmate Bathroom Area

No Violations Noted

Barber Shop

No Violations Noted

Hallway

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Basement

Laundry

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Bathroom

No Violations Noted

MAINTENANCE BUILDING

3rd Floor Storage

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Office

Unable to Inspect – No Access

Bathroom

No Violations Noted

2nd Floor

Male Staff Bathroom

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Female Staff Bathroom

No Violations Noted

Office

No Violations Noted

Carpentry Shop

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

1st Floor

105 CMR 451.350*	Structural Maintenance: Main door not rodent and weathertight

105 CMR 451.123	Maintenance: Floor damaged at urinal

CANTEEN

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Kitchenette

No Violations Noted

Main Area

105 CMR 451.350*	Structural Maintenance: Doors not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water damaged

Inmate Bathroom

No Violations Noted

Freezers

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Missing light shields

C.S.D. BUILDING

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

Council Room

105 CMR 451.350	Structural Maintenance: Roof leaks

Auditorium

105 CMR 451.353*	Interior Maintenance: Ceiling water stained and damaged

105 CMR 451.350*	Structural Maintenance: Ceiling leaks

Chemical Closet

No Violations Noted

CSD-08 (Staff Bathroom)

105 CMR 451.130*	Plumbing: No backflow preventer on slop sink

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.353*	Interior Maintenance: Missing light shields

Room 104

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Muslim Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Foyer Chapel Instrument Room

105 CMR 451.350	Structural Maintenance: Window missing

Inmate Bathroom 100B

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Slop Sink

No Violations Noted

CSD 06 (Staff Bathroom)

105 CMR 451.123	Maintenance: Floor paint peeling

Inmate Bathroom (Battle Room)

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

Battle Room

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Utility Cage

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Urine Room

105 CMR 451.353*	Interior Maintenance: Wall paint peeling

105 CMR 451.353*	Interior Maintenance: Missing light shield

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Window leaks

105 CMR 451.350*	Structural Maintenance: Window sill damaged

INDUSTRIES BUILDING

3rd Floor

Binder Shop

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Office

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Wall fan dusty

Staff Bathroom

No Violations Noted

Upholstery Shop

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Wall fan dusty

East Stairway

No Violations Noted

2nd Floor

Metal 2

Office

No Violations Noted

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose

Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, bubbler broken

Clothing Shop

Office

No Violations Noted

Inmate Bathroom (South)

105 CMR 451.123	Maintenance: Wall fan dusty

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1380F

Office (North Side)

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Inmate Bathroom (North)

105 CMR 451.123	Maintenance: Wall fan dusty

1st Floor

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Missing light shield

Office

No Violations Noted

Mattress Room

No Violations Noted

Staff Bathroom

No Violations Noted

Janitorial Shop

105 CMR 451.350*	Structural Maintenance: Windows broken

Metal 1

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Inmate Bathroom (In Metal 1)

No Violations Noted

Office (In Metal 1)

No Violations Noted

Chemical Room

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

Break Room

No Violations Noted

Janitor’s Closet

No Violations Noted

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

GYM
105 CMR 451.350*	Structural Maintenance: Doors not rodent and weathertight

Basketball Court

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

Handball Court

No Violations Noted

Weight Room

105 CMR 451.353*	Interior Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Debris behind the gate

105 CMR 451.350*	Structural Maintenance: Ceiling leaks

Toxic Closet

No Violations Noted

Game Room

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damage

105 CMR 451.350*	Structural Maintenance: Ceiling leaks

Women’s Staff Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Men’s Staff Bathroom

No Violations Noted

Staff Breakroom

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no cold water at sink # 3

Visitor’s Showers

105 CMR 451.121(A)*	Privacy: No privacy partition between showers

105 CMR 451.123*	Maintenance: Ceiling ventilation grille dusty

Music Room

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Control

105 CMR 451.353	Interior Maintenance: Ceiling tiles are water damaged

PROBATION UNIT

105 CMR 451.320*	Cell Size: Inadequate floor space

Control

No Violations Noted

Probation 1

Cleaning Supply Case

No Violations Noted

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no hot water

Dorm Area

105 CMR 451.102	Pillows and Linens: Sheets ripped at bed # 6

Bathroom

105 CMR 451.123*	Maintenance: Partitions rusted at toilets

105 CMR 451.123*	Maintenance: Flush buttons rusted at urinals

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no hot water at sink # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no cold water at sink # 1 and 7

105 CMR 451.123	Maintenance: Standing water observed on the floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, exhaust louver not opening properly

105 CMR 451.123*	Maintenance: Shower # 2 and 7 damaged

105 CMR 451.123*	Maintenance: Ventilation grille and fan dusty

105 CMR 451.123	Maintenance: Shower walls damaged at partitions

105 CMR 451.123	Maintenance: Shower # 2 out-of-order

Kitchen Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Probation 2

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

Cleaning Supply Case

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no hot water

Dorm Area

No Violations Noted

Shower

Unable to Inspect – In Use

Bathroom

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, exhaust fan dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 8 clogged

Kitchen Area

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

UNIT 1-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

Unable to Inspect - Under Renovations

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.353	Interior Maintenance: Ceiling ventilation grille dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover in sink

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ventilation grille blocked in cell # 322

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 313, 316, 319 and 320

Hallway

105 CMR 451.353	Interior Maintenance: Hall ventilation grille dusty

2nd Floor

Bathroom

Unable to Inspect  - In Use

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light shields

Cells

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 210

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 212 and 216

105 CMR 451.350	Structural Maintenance: Ceiling leaking in cell # 218

Hallway

105 CMR 451.353	Interior Maintenance: Hall ventilation grille dusty

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.123*	Maintenance: Window ventilation fan dusty

105 CMR 451.123	Maintenance: Ceiling paint peeling

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

Cells

No Violations Noted

Kitchen

FC 6-101.11(A)(1)*	Materials for Construction and Repairs: Surface not easily cleanable, wall behind heater damaged

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled food containers, spices unlabeled

Dining Area

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator temperature recorded at 490F

105 CMR 451.350	Structural Maintenance: Window panes cracked

Basement

105 CMR 451.353*	Interior Maintenance: Missing light shields

UNIT 1-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ventilation grille dusty

105 CMR 451.123	Maintenance: Ventilation grille painted over

105 CMR 451.360	Protective Measures: Ants observed at sink

105 CMR 451.123	Maintenance: Sink rusted

105 CMR 451.123	Maintenance: Mold on ceiling

105 CMR 451.123*	Maintenance: Soap dispenser broken

Slop Sink

105 CMR 451.353*	Interior Maintenance: Missing light

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

105 CMR 451.350	Structural Maintenance: Wall damaged

Cells

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 308

105 CMR 451.353	Interior Maintenance: Wall bubbling in cell # 321

Hallway

105 CMR 451.353	Interior Maintenance: Hall ventilation grille dusty

105 CMR 451.350	Structural Maintenance: Ceiling damaged

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ventilation fan dusty

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.123*	Maintenance: Wall damaged at door

105 CMR 451.123*	Maintenance: Shower floor damaged

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.353	Interior Maintenance: Missing light switch

Hallway

105 CMR 451.353	Interior Maintenance: Hall ventilation grille dusty

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 212 and 213

105 CMR 451.350	Structural Maintenance: Window panes cracked in cell # 215

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 209 and 223

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ventilation fan dusty

105 CMR 451.117*	Toilet Fixtures: Urinal stained

Slop Sink

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Cells

No Violations Noted

Kitchen

FC 6-201.11			Floors, Walls and Ceilings: Walls not easily cleanable, wall damaged

FC 7-102.11(A)*	Poisonous or Toxic Materials; Storage: Poisonous and toxic materials not properly 	stored, chemicals stored with food

FC 4-301.12(D)(2)(c)	Numbers and Capacity, Equipment: Dishes not being sanitized after warewashing

Dining Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, louvers don’t open completely

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

Basement

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

UNIT 1-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Wall ventilation fan dusty

Slop Sink

105 CMR 451.353	Interior Maintenance: Floor damaged

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 321

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 320

Hallway

105 CMR 451.353	Interior Maintenance: Hall ventilation grille dusty

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123	Maintenance: Wall ventilation fan dusty

Cells

No Violations Noted

Hallway

105 CMR 451.353	Interior Maintenance: Hall ventilation grille dusty

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Wall ventilation fan dusty

105 CMR 451.123	Maintenance: Floor paint peeling in showers

Slop Sink

No Violations Noted

Cells

No Violations Noted

Kitchen

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

Dining Area

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, louvers don’t open completely

Basement

No Violations Noted

UNIT 2-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 324

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Shower walls paint peeling

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, louvers don’t open completely

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 201

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 205 and 221

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall paint flaking in shower

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, louvers don’t open completely

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink missing drain cover

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

CPO Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 102

Kitchen

FC 6-201.11*	Floors, Walls and Ceilings: Walls not easily cleanable, paint peeling

FC 6-201.11*	Floors, Walls and Ceilings: Floor not easily cleanable, tiles damaged

FC 3-304.14(B)(2)		Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

Dining Area

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

Sergeant’s Office

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 500F

Basement

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, pipe leaking

UNIT 2-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall paint peeling

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1000F

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 312 and 315

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover in sink

Cells

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in cell # 215

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 211, 221 and 224

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123*	Maintenance: Wall paint peeling

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.353*	Interior Maintenance: Missing light shields

Cells

No Violations Noted

Rec Room

No Violations Noted

Kitchen

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

Dining Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, louvers don’t open completely

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Missing light shield in utility closet

105 CMR 451.353*	Interior Maintenance: Dryer vent stuffed with a rag

UNIT 2-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling in shower

105 CMR 451.123*	Maintenance: Shower walls cracked

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink missing a drain cover

Cells

No Violations Noted

2nd Floor

Bathroom

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, missing drain cover in sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower missing plumbing fixture

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 204 and 207

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 208

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 219 and 220

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Missing shower curtain

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover in shower

Cells

No Violations Noted

Kitchen

FC 6-201.11	Floors, Walls and Ceilings: Walls not easily cleanable, wall paint peeling

FC 6-201.11	Floors, Walls and Ceilings: Floor not easily cleanable, floor damaged

Dining Area

FC 4-602.13* 	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces damaged, counter tops not secured

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Floor damaged

UNIT 3-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Cells

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 313

Hallway

105 CMR 451.353	Interior Maintenance: Hall ventilation grille dusty

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Wall ventilation grille dusty

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Ceiling paint peeling

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.123	Maintenance: Missing light cover

Hallway

105 CMR 451.353	Interior Maintenance: Hall ventilation grille dusty

Cells

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 204

105 CMR 451.353	Interior Maintenance: Floor damaged under toilet in cell # 212

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.353*	Interior Maintenance: Missing light shields

Cells

No Violations Noted

Kitchen

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

105 CMR 451.350*	Structural Maintenance: Window panes cracked

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, louvers don’t open completely

Dining Area

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

UNIT 3-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.123*	Maintenance: Wall damaged behind heater

105 CMR 451.130	Hot Water: Shower water temperature recorded at 880F

Slop Sink

105 CMR 451.353*	Interior Maintenance: Missing light shield

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling in cell # 321

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, louver doesn’t close completely

105 CMR 451.123*	Maintenance: Shower paint peeling

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing

Cells

No Violations Noted

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Wall paint peeling

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Cells

No Violations Noted

Kitchen

No Violations Noted

Dining Area

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Basement

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Outlets covered with tape

UNIT 3-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

Unable to Inspect - In Use

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 320

Hallway

105 CMR 451.353*	Interior Maintenance: Hall ventilation grille dusty

2nd Floor

North Fire Exit

105 CMR 451.353*	Interior Maintenance: Slop sink removed, using shower

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall ventilation grille dusty

105 CMR 451.123	Maintenance: Wall paint peeling

Cells

105 CMR 451.102	Pillows and Linens: Linens damaged in cell # 211

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 220

Hallway

105 CMR 451.353*	Interior Maintenance: Hall ventilation grille dusty

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Floor paint peeling

105 CMR 451.123	Maintenance: Wall ventilation fan dusty

Cells

No Violations Noted

Kitchen

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No paper towels available at the handwashing sink

Dining Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, louvers don’t open completely

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Basement

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water doesn’t work

UNIT 4-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Floor paint peeling

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1180F

105 CMR 451.123	Maintenance: Wall ventilation fan dusty

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, missing drain cover

105 CMR 451.353*	Interior Maintenance: Missing light shield

Cells

No Violations Noted

Hallway

105 CMR 451.353	Interior Maintenance: Hall ventilation grille dusty

2nd Floor

Bathroom

105 CMR 451.123	Maintenance: Floor paint peeling

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Wall ventilation fan dusty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Missing light shield

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

Cells

105 CMR 451.353	Interior Maintenance: Wall paint peeling cell # 208

Hallway

105 CMR 451.353	Interior Maintenance: Hall ventilation grille dusty

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Shower floors cracked

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, missing drain cover

Cells

No Violations Noted

Kitchen

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, louvers don’t open and close completely

FC 6-201.11			Floors, Walls and Ceilings: Walls not easily cleanable, wall paint peeling

Dining Area

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Window panes cracked

105 CMR 451.353	Interior Maintenance: Floor paint peeling

105 CMR 451.353	Interior Maintenance: Missing light shields in chemical closet

UNIT 4-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Area around the sink is not easily cleanable, rusted

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, missing drain cover

Slop Sink

105 CMR 451.353	Interior Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Missing light shield

Cells

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 319, 321 and 322

Hallway

105 CMR 451.353	Interior Maintenance: Hall ventilation grille dusty

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.350*	Structural Maintenance: Fire door rusted

105 CMR 451.123*	Maintenance: Unfinished floor

105 CMR 451.123*	Maintenance: Shower curtains dirty

105 CMR 451.123*	Maintenance: Door rusted and damaged

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123*	Maintenance: Ceiling paint peeling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 2nd sink loose

105 CMR 451.123	Maintenance: Missing shower curtains

105 CMR 451.123	Maintenance: Wall ventilation fan doesn’t work

105 CMR 451.123	Maintenance: Wall ventilation fan dusty

105 CMR 451.123	Maintenance: Wall paint peeling

Slop Sink

105 CMR 451.353*	Interior Maintenance: Missing light shield

105 CMR 451.353*	Interior Maintenance: Wall damaged

Hallway

105 CMR 451.353*	Interior Maintenance: Hall ventilation grille dusty

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

Cells

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 213 and 222

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling in cell # 220

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Shower floor cracked

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, louver doesn’t open properly

105 CMR 451.123	Maintenance: Wall ventilation fan dusty

105 CMR 451.123	Maintenance: Soap dispenser broken

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 105

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 105

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling in cell # 105

Slop Sink

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

CPO Office

No Violations Noted

Sergeant’s Office

No Violations Noted

Kitchen

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Windows not weather tight and 	structurally sound, cracked window panes

FC 6-201.11*			Floors, Walls and Ceilings: Walls not easily cleanable, wall paint peeling under sink

Dining Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, freezer gaskets moldy

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.350*	Structural Maintenance: Windows cracked

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

UNIT 4-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom w/Shower

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.123	Maintenance: Sinks damaged

105 CMR 451.123	Maintenance: Wall ventilation fan dusty

Bathroom

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

Cells

105 CMR 451.350*	Structural Maintenance: Window panes cracked in cell # 308

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling in cell # 302 and 316

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling in cell # 315

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 311

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light shields

Hallway

105 CMR 451.353*	Interior Maintenance: Hall ventilation grille dusty

2nd Floor

Bathroom w/Shower

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, missing drain cover in shower

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

Cells

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 220

Slop Sink

105 CMR 451.353*	Interior Maintenance: Missing light shield

Bathroom

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

Hallway

105 CMR 451.353*	Interior Maintenance: Hall ventilation grille dusty

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.123	Maintenance: Ceiling paint peeling

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, missing drain cover in sink

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Kitchen

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, missing hot and cold faucets

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	the handwashing sink

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

105 CMR 451.350	Structural Maintenance: Windows cracked

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, hole on the side of the sink

Dining Area

105 CMR 451.350*	Structural Maintenance: Window panes cracked

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, freezer damaged

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

UNIT 6-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.130*	Hot Water: Shower water temperature 1300F

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

Slop Sink

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall damaged in cell # 302

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 304

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.123	Maintenance: Floor damaged

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks

Cells

No Violations Noted

1st Floor

Bathroom

105 CMR 451.140*		Adequate Ventilation: Inadequate ventilation, louvers don’t open completely

105 CMR 451.123		Maintenance: Soap scum on walls in showers

105 CMR 451.123		Maintenance: Floor damaged

Cells

No Violations Noted

Kitchen

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, louvers don’t open and close completely

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

FC 6-201.11*	Floors, Walls and Ceilings: Walls not easily cleanable, damaged

Dining Area

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Window panes cracked

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

FC 7-101.11			Poisonous or Toxic Materials; Original Containers: Original containers of poisonous 				or toxic materials and personal care items must bear the original manufacturers label

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

UNIT 6-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1200F

Cells

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 307

Slop Sink

105 CMR 451.353*	Interior Maintenance: Missing light shield

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Shower curtain dirty

105 CMR 451.123	Maintenance: Wall ventilation fan dusty

Slop Sink

No Violations Noted

Cells

No Violations Noted

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

Cells

No Violations Noted

Kitchen

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

Dining Area

No Violations Noted

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

UNIT 6-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1360F

105 CMR 451.123*	Maintenance: Wall paint peeling

105 CMR 451.123*	Maintenance: Floors cracked

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, louvers don’t open completely

Cells

No Violations Noted

2nd Floor

Bathroom

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Wall ventilation fan dusty

Cells

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 204

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Floors damaged

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Slop Sink

No Violations Noted

Cells

No Violations Noted

CPO Office

No Violations Noted

Kitchen

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, louvers don’t open and close completely

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

Dining Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged in refrigerator and freezer

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, shelves are not easily cleanable

Basement

105 CMR 451.353	Interior Maintenance: Missing light shields

UNIT 7-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.123*	Maintenance: Wall paint peeling

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1350F

Slop Sink

105 CMR 451.353	Interior Maintenance: Wall paint peeling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

105 CMR 451.353	Interior Maintenance: Missing light shield

Cells

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 301 and 308

Hallway

105 CMR 451.353*	Interior Maintenance: Hall ventilation grille dusty

2nd Floor

Bathroom

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Wall damaged behind radiator

105 CMR 451.123	Maintenance: Wall ventilation fan dusty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.350	Structural Maintenance: Wall damaged

Cells

105 CMR 451.141	Screens: Screen damaged in cell # 202

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 209, 212, 215 and 219

105 CMR 451.350	Structural Maintenance: Wall damaged around toilet in cell # 224

Hallway

105 CMR 451.353*	Interior Maintenance: Hall ventilation grille dusty

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.123	Maintenance: Ceiling paint peeling

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.123	Maintenance: Floor damaged in shower

105 CMR 451.123	Maintenance: Wall paint peeling

Cells

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 102

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ventilation grille dusty

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Kitchen

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, louvers don’t open and close completely

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, shelves dirty and peeling

Dining Area

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

FC 6-201.11*	Floors, Walls and Ceilings: Ceiling not easily cleanable, paint peeling

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, freezer gaskets damaged

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, louvers don’t open and close completely

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

Basement

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.350*	Structural Maintenance: Wall damaged

UNIT 7-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Door rusted

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, system not working

105 CMR 451.123	Maintenance: Hole in shower wall

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light shield

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

Cells

No Violations Noted

Hallway

105 CMR 451.353*	Interior Maintenance: Hall ventilation grille dusty

2nd Floor

Bathroom

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Mold in showers

105 CMR 451.123*	Maintenance: Wall paint peeling

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.123*	Maintenance: Floor worn

105 CMR 451.123*	Maintenance: Door damaged

Slop Sink

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

Cells

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 206 and 209

105 CMR 451.353*	Interior Maintenance: Wall paint peeling in cell # 212

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling in cell # 219

105 CMR 451.353	Interior Maintenance: Missing cover to junction box in cell # 212

105 CMR 451.103	Mattresses: Mattress damaged in cell # 202

Hallway

105 CMR 451.353*	Interior Maintenance: Hall ventilation grille dusty

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.123*	Maintenance: Shower floor cracked

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Missing light shield

105 CMR 451.353*	Interior Maintenance: Ventilation grille dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

Cells

No Violations Noted

Kitchen

FC 6-201.11*	Floors, Walls and Ceilings: Walls not easily cleanable, wall damaged near dishwasher

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

FC 5-204.11(A)	*		Plumbing System, Location and Placement: No conveniently located handwashing 				sink

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled food containers, spices not labeled

FC 4-101.16	Materials for Construction and Repair; Multiuse: Sponges used in kitchen

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, sink hose damaged and leaks

Dining Area

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Basement

105 CMR 451.353*	Interior Maintenance: Missing light shields

UNIT 7-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged in shower

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.123*	Maintenance: Paint peeling in shower

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

Cells

No Violations Noted

Hallway

105 CMR 451.353*	Interior Maintenance: Hall ventilation grille dusty

2nd Floor

105 CMR 451.353*	Interior Maintenance: Missing light shields

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

105 CMR 451.123*	Maintenance: Shower curtains dirty

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123	Maintenance: Counter top damaged

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1370F

Slop Sink

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.353	Interior Maintenance: Wall damaged

Cells

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 203 and 221

105 CMR 451.353	Interior Maintenance: Ceiling bubbling in cell # 205

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 205

Hallway

105 CMR 451.353*	Interior Maintenance: Hall ventilation grille dusty

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Shower floor and wall damaged

105 CMR 451.123*	Maintenance: Wall ventilation fan dusty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ventilation grille dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, missing drain cover

Cells

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 105 and 108

Kitchen

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, louvers don’t open and close completely

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in window dusty

FC 6-301.20*	Numbers and Capacity; Handwashing Facilities: No waste receptacle provided for 	disposable towel

FC 4-901.11(A)	Protection of Clean Items, Drying: Clean and sanitized trays not allowed to air dry fully

FC 4-501.18	Maintenance and Operation, Equipment: Sanitizing solution dirty

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than 	recommended concentration

Dining Area

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

FC 6-201.11*	Floors, Walls and Ceilings: Walls not easily cleanable, wall damaged near phone

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, freezer gaskets damaged

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Missing light shields

UNIT 8-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Staff Bathroom

No Violations Noted

1st Tier

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ventilation grille blocked in cell # 123

Toxic/Caustic Room

105 CMR 451.353	Interior Maintenance: Missing ceiling tiles

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, pipe over sink rusted

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Standing water in bucket

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Floor damaged in shower

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged outside of shower

105 CMR 451.123*	Maintenance: Wall damaged in all showers

105 CMR 451.123*	Maintenance: Ceiling unfinished in shower # 1 and 2

Kitchenette

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Kitchen

FC 4-904.13(A)	*		Protection of Clean Items, Handling: Utensils not protected from contamination, not 				stored in the inverted position

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans dusty

105 CMR 451.353*	Interior Maintenance: Missing light shields at slop sink

FC 4-501.114(C)	Maintenance and Operation; Equipment: Sanitizer solution is not being applied in accordance with manufacturer’s instruction

2nd Tier

105 CMR 451.330	Room Temperature: Room temperature 860F

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged outside of showers

105 CMR 451.123*	Maintenance: Paint peeling in showers

Cells

105 CMR 451.353	Interior Maintenance: Missing plate under window in cell # 214

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ventilation grille blocked in all cells

Storage Room

No Violations Noted

Slop Sink Room

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, drain cover not secured

105 CMR 451.353*	Interior Maintenance: Ventilation grille dusty

UNIT 8-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

1st Tier

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Shower floors damaged

105 CMR 451.123*	Maintenance: Standing water outside of showers

Toxic/Caustic Room

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Kitchenette

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.114(C)	Maintenance and Operation; Equipment: Sanitizer solution is not being applied in accordance with manufacturer’s instruction

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Ventilation grille dusty

105 CMR 451.353*	Interior Maintenance: Pipe above sink rusted

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 121

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 118

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ventilation grille blocked in cell # 104 and 105

2nd Tier

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Floors damaged in shower # 2

105 CMR 451.123*	Maintenance: Ceiling damaged in all showers

105 CMR 451.123*	Maintenance: Wall damaged in all showers

105 CMR 451.123	Maintenance: Floor tiles damaged outside of showers

Cells

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ventilation grille blocked in all cells

105 CMR 451.353	Interior Maintenance: Window crank missing in cell # 213 and 216

Storage Area

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

FC 4-904.13(A)			Protection of Clean Items, Handling: Tableware not protected from contamination, not 				stored in the inverted position

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ventilation grille dusty

Observations and Recommendations

- The inmate population was 1453 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Riordan, MPH

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Michael Berksza, EHSO

Betsy Fijol, Administrative Assistant, Norfolk Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea Cabral, Secretary, EOPS