The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph St., Canton, MA 02021

Phone: (781) 828-7700 Fax: (781) 774-6700

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

June 15, 2021

Nelson Alves, Superintendent

MCI Norfolk

2 Clark Street

Norfolk, MA 02056		(electronic copy)

Re: Facility Inspection – MCI Norfolk

Dear Superintendent Alves:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of MCI Norfolk on May 26, 27, 28, and June 1, 2021 accompanied by Sergeant Michael Berksza, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 455 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 		(electronic copy)

Sergeant Michael Berksza, EHSO						(electronic copy)

Betsy Fijol, Administrative Assistant, Norfolk Board of Health			(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Tower # 5

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 720F at handwash sink

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, excessive ice build-up observed in freezer

Tower # 4

No Violations Noted

Tower # 3

105 CMR 451.350*	Structural Maintenance: Hole in ceiling

Tower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water faucet damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water not working

Tower # 1

105 CMR 451.350*	Structural Maintenance: Window cracked

VEHICLE TRAP

105 CMR 451.353	Interior Maintenance: Floor tiles missing

Bathroom

No Violations Noted

POWER PLANT

105 CMR 451.353	Interior Maintenance: Floor surface damaged

Office

No Violations Noted

Bathroom

No Violations Noted

Break Area

No Violations Noted

GATE HOUSE

3rd Floor

105 CMR 451.353*	Interior Maintenance: Ceiling tiles loose in hallway

105 CMR 451.353*	Interior Maintenance: Floor surface damaged in hallway

Staff Bathroom # 301

No Violations Noted

Locker Rooms # 302-304

105 CMR 451.353*	Interior Maintenance: Floor damaged in locker room # 303 and 304

Bunk Room # 305

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Office # 306

No Violations Noted

Locker Room # 307

105 CMR 451.353*	Interior Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Storage Room # 308

Unable to Inspect – Locked

2nd Floor

Training Room # 212

No Violations Noted

Training Office

Unable to Inspect – Locked

Room # 201

Unable to Inspect – Locked

Female Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 2

105 CMR 451.141	 Screens: Screen damaged

Disciplinary Unit

No Violations Noted

Support Staff Room

No Violations Noted

1st Floor

Entrance

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 2 out-of-order

Visitor Processing

No Violations Noted

Control

105 CMR 451.350*	Structural Maintenance: Windows cracked

Staff Bathroom

No Violations Noted

Break Area

105 CMR 451.350*	Structural Maintenance: Windows cracked

105 CMR 451.353*	Interior Maintenance: Walls damaged

Cell

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353*	Interior Maintenance: Baseboard damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.350*	Structural Maintenance: Window cracked

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.123*		Maintenance: Ceiling paint damaged

Basement

105 CMR 451.353*	Interior Maintenance: Exterior of freezer rusted

Bathroom

105 CMR 451.350*	Structural Maintenance: Window cracked

Trap

No Violations Noted

Bathroom

No Violations Noted

VISITOR’S BUILDING

Staff Break Area

No Violations Noted

Search Room

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

Attorney Offices

No Violations Noted

Main Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles damaged and missing

Inmate Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

R.H.U. (Restrictive Housing Unit – Formerly S.M.U.)

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Control

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Rust around mirror in shower # 1

Dumb Waiter Room

105 CMR 451.350*	Structural Maintenance: Windows cracked

Storage Room

Unable to Inspect – Locked

Insulin Cage Room

No Violations Noted

Cells

Unable to Inspect – Not Used

2nd Floor

Staff Offices

No Violations Noted

Supply Closet

No Violations Noted

Medical Room

105 CMR 451.126		Hot Water: Hot water temperature recorded at 99°F at handwash sink

Large Bathroom

No Violations Noted

Staff Bathrooms

No Violations Noted

Shower

Unable to Inspect – Not Used

Cells

Unable to Inspect – Not Used

Insulin Cage Room

No Violations Noted

SMU Property

No Violations Noted

Holding Cell

No Violations Noted

1st Floor

Visiting Room Area

No Violations Noted

Laundry

No Violations Noted

Law Library

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Strip Area

No Violations Noted

Storage Room

No Violations Noted

Boss Chair Room

No Violations Noted

Shower

105 CMR 451.123*	Maintenance: Door paint damaged in shower # 1 and 2

105 CMR 451.123*		Maintenance: Soap scum on floor in shower # 1 and 2

105 CMR 451.123*		Maintenance: Floor surface damaged outside showers

105 CMR 451.123*	Maintenance: Walls rusted in shower # 1

105 CMR 451.123*	Maintenance: Ceiling rusted in shower # 1 and 2

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 111, 125, 128, 129, and 131

105 CMR 451.353	Interior Maintenance: Floor damaged in cell # 106, 113, 120, and 128

105 CMR 451.103		Mattresses: Mattress damaged in cell # 126

105 CMR 451.353		Interior Maintenance: Wall paint damaged in cell # 121

ADMINISTRATION OFFICES

3rd Floor

Female Bathroom

No Violations Noted

Offices

No Violations Noted

IPS

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single-use utensils left uncovered and open to contamination

2nd Floor

Female Bathroom # 205

No Violations Noted

Utility Closet # 210

No Violations Noted

Male Bathroom # 212

No Violations Noted

Room # 202

No Violations Noted

Break Room # 203

No Violations Noted

Offices

No Violations Noted

1st Floor

Female Bathroom # 103

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 850F at handwash sink

Male Bathroom # 102

No Violations Noted

Deputy’s Office # 101

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single-use utensils left uncovered and open to contamination

Office # 105

No Violations Noted

Captain’s Office

No Violations Noted

Room # 106

No Violations Noted

Holding Cell # 107

105 CMR 451.353*	Interior Maintenance: Ceiling tiles damaged

Utility Closet (In Holding Cell)

105 CMR 451.353*	Interior Maintenance: Ceiling surface damaged

Custodian # 109

No Violations Noted

Superintendent’s Office

No Violations Noted

Room # 111

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight

H.S.U.

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

4th Floor

Storage

No Violations Noted

3rd Floor

Slop Sink # 301

No Violations Noted

Records # 303

No Violations Noted

Bathroom # 303B

No Violations Noted

Offices

No Violations Noted

Room # 313

No Violations Noted

Room # 314

No Violations Noted

Holding Cell

No Violations Noted

Room # 318

No Violations Noted

Bathroom # 321

No Violations Noted

Janitor’s Closet # 320

No Violations Noted

Office # 323

No Violations Noted

2nd Floor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

in hallway

Back Cells

No Violations Noted

Shower # 220

No Violations Noted

Medical Storage # 204

No Violations Noted

Storage Room # 205

Unable to Inspect – Locked

Room # 206

No Violations Noted

Toxic/Caustic Closet # 207

No Violations Noted

Break Room # 208

105 CMR 451.141*	Screens: Screen missing

Room # 209

No Violations Noted

Room # 210

No Violations Noted

Room # 211

No Violations Noted

Treatment Room # 218

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain clogged at handwash sink

Laundry Room # 217

No Violations Noted

Bathroom # 216

105 CMR 451.123*	Maintenance: Floor surface damaged

105 CMR 451.123*	Maintenance: Wall paint damaged

Bathroom # 216(A)

105 CMR 451.123	Maintenance: Hand dryer out-of-order

Break Area

No Violations Noted

Shower # 212

105 CMR 451.123*	Maintenance: Window vent dusty

105 CMR 451.123	Maintenance: Floor surface damaged outside showers

Bathroom # 213

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.141*	Screens: Screen damaged

Nurse’s Station # 214

No Violations Noted

Ward # 215

105 CMR 451.353*	Interior Maintenance: Ceiling tiles damaged

Solarium

No Violations Noted

1st Floor

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing in hallway

Health Service Administration # 103

No Violations Noted

Room # 106

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Utility Closet # 125

No Violations Noted

Staff Bathroom # 124

No Violations Noted

Break Room # 119

No Violations Noted

Office # 121

No Violations Noted

Treatment Rooms

No Violations Noted

Dental # 117

No Violations Noted

Nurse’s Station # 116

No Violations Noted

Basement

B-05A Booking

No Violations Noted

Inmate Bathroom

No Violations Noted

Holding Cells

No Violations Noted

Search Room

No Violations Noted

Bathroom # B-03A

No Violations Noted

Holding Area

No Violations Noted

X-Ray Room # B-04

No Violations Noted

Slop Sink # B-06

No Violations Noted

CULINARY ARTS

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Hallway

Traulsen Freezer

No Violations Noted

Traulsen Refrigerator

No Violations Noted

Beverage Air Refrigerator

No Violations Noted

Bathroom # B-01

No Violations Noted

Inmate Bathroom # B-08

No Violations Noted

Storage # B-09

No Violations Noted

Supplies # B-10

No Violations Noted

Slop Sink # B-11

No Violations Noted

Beverage Room # B-12

No Violation Noted

Spice Room

No Violations Noted

Dining Room

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling water damaged

Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged throughout

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling tiles water stained

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, right side faucet leaking at 3-compartment sink

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, fryolator out-of-order

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, convection oven out-of-order

MAIN KITCHEN

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty throughout

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling paint damaged above hoods

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling paint damaged in skylight area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged throughout

Inmate Bathroom

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, floor drain cover missing

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, countertop damaged around handwash sinks

Chemical Closet

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor damaged

Fish Oven Area

No Violations Noted

Director’s Office

No Violations Noted

Dry Storage

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged throughout

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling paint damaged

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged

Spice Room

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed on floor

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, shelving dirty

Traulsen Freezer

No Violations Noted

Continental Warmer

No Violations Noted

Victory Warmer

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged

Diet Kitchen

No Violations Noted

Break Area

No Violations Noted

Dish Room

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling paint damaged

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Windows not weathertight and structurally sound, windows cracked

FC 5-501.16(C)*	Refuse, Recyclables, and Returnables; Facilities on the Premises: No trash provided at handwash sink

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, water pooling on floor

FC 4-901.11(A)	Protection of Clean Items; Drying: Cleaned, sanitized equipment and utensils not allowed to fully air dry before contact with food, wet pans and trays stacked on top of each other

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested lower than recommended concentration in warewash machine

Warming Units

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged on Continental warmer # F-016

Kettle Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor damaged throughout

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, pipes leaking above kettles

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, access door missing under kettles

Convection Ovens

No Violations Noted

Baking Area

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Windows not weathertight and structurally sound, window cracked

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

Handwash Sink

FC 6-301.14*	Numbers and Capacity; Handwashing Sinks: No handwashing signage located at handwashing sink

Staff Office

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor surface damaged

105 CMR 451.123*		Maintenance: Wall vent dusty

Tool Closet

No Violations Noted

Prep Area

No Violations Noted

Ice Machine

FC 4-602.11(E)(4)(b)*	Cleaning of Equipment and Utensils, Frequency: Accumulation of soil/mold observed on interior surfaces of ice machine

Produce Cooler # 1

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged

Cooler # 2

No Violations Noted

Mop Closet

No Violations Noted

Supply

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Exterior door not tight-fitting near entrance to kitchen

1st Floor

Butcher Shop

No Violations Noted

Freezer (inside Butcher Shop)

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, excessive ice build-up observed at entrance

Office

No Violations Noted

Loading Dock

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Exterior door not tight-fitting

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Back Hallway

Egg Room (Cooler # 2)

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, fans dusty

Cooler # 1

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged

Freezer # 1

No Violations Noted

Freezer # 2

No Violations Noted

Back Storage

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed on floor

Freezers

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, excessive ice build-up observed on ceiling in Jamison freezer

2nd Floor

Office

No Violations Noted

Chemical Room (Behind Office)

No Violations Noted

East Side

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Pipe insulation damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water faucet leaking at

handwash sink

West Side

No Violations Noted

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Ceiling water damaged

East Side

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

West Side

105 CMR 451.350*	Structural Maintenance: Exterior doors not weathertight

SOUTH YARD HOUSING UNIT

Office

No Violations Noted

Dorm D

105 CMR 451.353*	Interior Maintenance: Ceiling rusted

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

Bathroom

No Violations Noted

Shower Room

No Violations Noted

Dorm A

No Violations Noted

TV Room

No Violations Noted

Supply

No Violations Noted

Dining Hall

No Violations Noted

O.I.C. BUILDING

2nd Floor

Teacher’s Room # 204A

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, gaskets moldy on 2 refrigerators

Male Bathroom (In Teacher’s Room)

No Violations Noted

Female Bathroom (In Teacher’s Room)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, right side handwash sink out-of-order

Janitor’s Closet # 209

Unable to Inspect – Locked

Classrooms

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing in Classroom # 208

Educational Office # 201

No Violations Noted

Janitor’s Closet # 211

No Violations Noted

1st Floor

105 CMR 451.350*	Structural Maintenance: Exterior side door not rodent and weathertight

Break Room # 101D

No Violations Noted

Staff Bathroom (Inside Break Area, Room # 101D)

105 CMR 451.123	Maintenance: Door hardware damaged

Inmate Assignment Office # 109

No Violations Noted

Law Library

No Violations Noted

Library

No Violations Noted

Supply Closet (In Library)

Unable to Inspect – Locked

Property

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water faucet leaking at slop sink

Janitor’s Closet

No Violations Noted

Inmate Bathroom # 105

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123	Maintenance: Window damaged

Urine Room # 106

No Violations Noted

Room # 107

No Violations Noted

Staff Bathroom # 108

No Violations Noted

VOC EDUCATION BUILDING

2nd Floor

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

105 CMR 451.141*	Screens: Screen missing in hallway

Inmate Bathroom

No Violations Noted

Room # 202

No Violations Noted

Room # 203

No Violations Noted

Room # 204

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Room # 205

No Violations Noted

Room # 206

No Violations Noted

Room # 208

No Violations Noted

Room # 209

No Violations Noted

Room # 210

No Violations Noted

EHSO Office

No Violations Noted

Room # 212

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

1st Floor

Staff Bathroom

No Violations Noted

Room # 103

No Violations Noted

Room # 110

No Violations Noted

Room # 111

No Violations Noted

Inmate Bathroom

No Violations Noted

Inmate Bathroom Area

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Barber Shop

105 CMR 451.353*	Interior Maintenance: Chair damaged

Basement

Laundry

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Bathroom

105 CMR 451.123*	Maintenance: Floor damaged

Office

No Violations Noted

MAINTENANCE BUILDING

3rd Floor

Storage

No Violations Noted

Paint Shop

No Violations Noted

Staff Room

No Violations Noted

Office

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

Director of Engineering’s Office

No Violations Noted

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Break Room

No Violations Noted

Carpentry Shop

No Violations Noted

1st Floor

105 CMR 451.350*	Structural Maintenance: Back door not rodent and weathertight

Plumbing Shop

No Violations Noted

Staff Area

No Violations Noted

CANTEEN

105 CMR 451.350*	Structural Maintenance: Back door not rodent and weathertight

Staff Office

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles water stained

105 CMR 451.123*	Maintenance: Light shield missing

Chemical Closet

No Violations Noted

Main Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

Inmate Bathroom

No Violations Noted

Freezers

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, gaskets damaged on freezer # 8

C.S.D. BUILDING

Foyer Office

No Violations Noted

Inmate Clerk Office

No Violations Noted

Council Room

No Violations Noted

Auditorium

105 CMR 451.350*	Structural Maintenance: Ceiling water stained and damaged

Chemical Closet # 100A

No Violations Noted

Chapel

No Violations Noted

Chapel Instrument Room

No Violations Noted

Inmate Bathroom # 100B

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123*	Maintenance: Wall paint damaged

Basement – Religious Corridor

CSD – 09

No Violations Noted

Office # 2

No Violations Noted

CSD – 08A (Staff Bathroom)

105 CMR 451.123*	Maintenance: Floor paint damaged

Electric Room

105 CMR 451.353	Interior Maintenance: Wall paint damaged

CSD – 06 (Staff Bathroom)

105 CMR 451.123	Maintenance: Floor paint damaged

CSD – 05(Janitor’s Closet)

No Violations Noted

CSD – 01A

No Violations Noted

CSD – 01B

No Violations Noted

CSDB – 03

No Violations Noted

CSDB - 04

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator gaskets moldy

Utility Cage

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Inmate Bathroom (Next to Battle Room)

Unable to Inspect – Not Used

Battle Rooms

No Violations Noted

INDUSTRIES BUILDING

105 CMR 451.353	Interior Maintenance: Stair tread damaged on exterior staircase outside entrance

3rd Floor

105 CMR 451.350	Structural Maintenance: Ceiling leaking in hallway outside Bindery Shop

East Stairway

No Violations Noted

Janitor’s Closet (East Side)

No Violations Noted

Storage Area

Bathroom (In Storage Area)

No Violations Noted

Office

No Violations Noted

Bindery Shop

No Violations Noted

Upholstery Shop

Staff Bathroom

No Violations Noted

Inmate Bathroom (Near Tool Crib)

No Violations Noted

Office

No Violations Noted

2nd Floor

Metal 2

No Violations Noted

Office

No Violations Noted

Janitor’s Closet (Hallway)

No Violations Noted

Inmate Bathroom

No Violations Noted

Welding Shop

No Violations Noted

Inmate Bathroom (Near Paint Booths)

No Violations Noted

South End – Clothing

Office

No Violations Noted

Inmate Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

North End

Staff Bathroom

No Violations Noted

Office

No Violations Noted

Inmate Bathroom

No Violations Noted

1st Floor

Janitor’s Closet

No Violations Noted

Office

No Violations Noted

Staff Bathroom

No Violations Noted

Maintenance Department

No Violations Noted

Maintenance Office

No Violations Noted

Janitorial Shop

No Violations Noted

Janitorial Office

No Violations Noted

Inmate Bathroom

No Violations Noted

Chemical Closet (Hall)

No Violations Noted

Staff Break Area

No Violations Noted

Mop Closet (Hall)

No Violations Noted

Metal 1

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Inmate Bathroom

No Violations Noted

Office

No Violations Noted

GYM	
105 CMR 451.350*		Structural Maintenance: Door not rodent and weathertight

Basketball Court

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Handball Court

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Weight Room

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Game Room

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Female Staff Bathroom

No Violations Noted

Toxic Closet

No Violations Noted

Male Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Staff Break Room

No Violations Noted

Inmate Bathroom

No Violations Noted

Music Room

No Violations Noted

Control

105 CMR 451.350*	Structural Maintenance: Ceiling water stained and damaged

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.350*	Structural Maintenance: Window cracked

PROBATION UNITS

105 CMR 451.353	Interior Maintenance: Floor surface damaged throughout

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

UNIT 1-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, excessive ice build-up in freezer

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water faucet loose at

handwash sink # 3

105 CMR 451.123	Maintenance: Ceiling surface damaged

105 CMR 451.123	Maintenance: Ceiling dirty

Slop Sink

No Violations Noted

Cells

No Violations Noted

2nd Floor

Hallway

No Violations Noted

Slop Sink

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Window vent fan dusty

105 CMR 451.123	Maintenance: Ceiling surface damaged

105 CMR 451.130	Hot Water: Shower water temperature recorded at 94°F in shower # 2

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 207

105 CMR 451.353	Interior Maintenance: Wall surface damaged in cell # 219

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

Unable to Inspect – In Use

Slop Sink

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 108

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 108

Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, window frame damaged

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Windows not weathertight and structurally sound, window cracked

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

Dining Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling water damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, freezer damaged

Bathroom (Between Cell # 106 & 107)

105 CMR 451.123	Maintenance: Window vent fan dusty

105 CMR 451.123	Maintenance: Ceiling surface damaged

Basement

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at 3-compartment sink

UNIT 1-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, excessive ice build-up in freezer

3rd Floor

Hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Bathroom

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Fire Exit door dirty, possible mold/mildew

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Cells

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 324

2nd Floor

Hallway

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling damaged in cell # 209 and 223

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 204

Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal out-of-order

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water control damaged in shower # 1

105 CMR 451.123	Maintenance: Rear Fire Exit door not rodent and weathertight

105 CMR 451.123	Maintenance: Window vent fan dusty

Slop Sink

No Violations Noted

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water control loose in shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water control leaking in shower

Slop Sink

No Violations Noted

Cells

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 104

Kitchen

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, window frame damaged

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

Dining Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall damaged around radiator

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged

FC 6-202.15(A)(2)	Design, Construction, and Installation; Functionality: Windows not weathertight and structurally sound, window cracked

Sergeant’s Office

No Violations Noted

CPO’s Office

No Violations Noted

Bathroom (In CPO’s Office)

No Violations Noted

Basement

No Violations Noted

UNIT 1-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Screen damaged at entrance

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Handwash sink frames damaged

Slop Sink

105 CMR 451.353	Interior Maintenance: Light fixture damaged

Cells

No Violations Noted

2nd Floor

Hallway

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Bathroom	Unable to Inspect Shower # 2 – In Use

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1

105 CMR 451.123*	Maintenance: Wall damaged under handwash sinks

Slop Sink

No Violations Noted

Cells

No Violations Noted

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.123*	Maintenance: Floor paint damaged around toilet

Slop Sink

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 107

105 CMR 451.103	Mattresses: Mattress damaged in cell # 105

Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling paint damaged

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall damaged near handwash sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, handwash sink leaking

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested lower than recommended concentration in warewash machine

Dining Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

Bathroom (Between Cell # 106 & 107)

105 CMR 451.123*	Maintenance: Wall damaged around radiator

105 CMR 451.123	Maintenance: Floor surface damaged in shower

Basement

No Violations Noted

UNIT 2-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor surface rough throughout bathroom

105 CMR 451.123*	Maintenance: Window broken

105 CMR 451.123*	Maintenance: Wall paint damaged around handwash sink

Cells

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in cell # 307

105 CMR 451.103	Mattresses: Mattress damaged in cell # 305

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall paint damaged throughout bathroom

105 CMR 451.123*	Maintenance: Handwash sink rusted

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Cells

No Violations Noted

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.123*	Maintenance: Wall damaged next to handwash sink

105 CMR 451.123*	Maintenance: Wall damaged around radiator

105 CMR 451.123	Maintenance: Ceiling surface damaged

Cells

105 CMR 451.350*	Structural Maintenance: Window frame damaged in cell # 102

Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor left unfinished

Dining Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

CPO’s Office

105 CMR 451.200                 	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven damaged

Sergeant’s Office

No Violations Noted

Bathroom (In Sergeant’s & CPO’s Office)

No Violations Noted

Basement

No Violations Noted

UNIT 2-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

105 CMR 451.141	Screens: Screen damaged in Fire Room # 307 and 319

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1 and 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover loose in shower # 2

Cells

No Violations Noted

Slop Sink

No Violations Noted

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Wall damaged around sink

Cells

105 CMR 451.353*	Interior Maintenance: Door surface damaged in cell # 204

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 218

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 222

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1280F

105 CMR 451.123*	Maintenance: Wall paint damaged throughout

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Cells

105 CMR 451.353*	Interior Maintenance: Window frame paint damaged in cell # 107

Kitchen

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet leaking at handwash sink

Dining Area

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Window screen damaged

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, window vent fan dusty

Bathroom (Between cell # 106 & 107)

Unable to Inspect – In Use

Basement

No Violations Noted

UNIT 2-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

105 CMR 451.350	Structural Maintenance: Window damaged in Fire Room # 318

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Floor surface left unfinished

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 323

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 2

105 CMR 451.123*	Maintenance: Caulking moldy in shower # 1

105 CMR 451.123*	Maintenance: Wall paint damaged around handwash sink

105 CMR 451.123*	Maintenance: Wall surface damaged throughout

105 CMR 451.123	Maintenance: Ceiling surface damaged

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 211

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.123*	Maintenance: Floor paint damaged near sink

105 CMR 451.123	Maintenance: Floor surface left unfinished

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 108

105 CMR 451.103	Mattresses: Mattress damaged in cell # 108

Kitchen

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall damaged behind sprayer

Dining Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling water damaged

Bathroom (Between Cell # 106 & 107)

No Violations Noted

Basement

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

UNIT 3-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Bathroom

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1

105 CMR 451.123	Maintenance: Floor surface damaged in shower # 2

105 CMR 451.123	Maintenance Ceiling dirty, possible mold/mildew

Cells

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in cell # 322

105 CMR 451.103	Mattresses: Mattress damaged in cell # 321

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123*	Maintenance: Floor surface rough in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Wall surface not easily cleanable in shower # 3

105 CMR 451.123*	Maintenance: Mold observed on caulking in shower # 2

105 CMR 451.123	Maintenance: Window vent fan dusty

Cells

105 CMR 451.353	Interior Maintenance: Wall damaged around toilet in cell # 223

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor cracked

105 CMR 451.123*	Maintenance: Floor damaged in shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 107 and 108

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 107

Kitchen

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, hot water tank rusted at bottom

Dining Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, freezer gaskets damaged

Bathroom (Between Cell # 106 & 107)

105 CMR 451.123*	Maintenance: Shower floor damaged

105 CMR 451.123*	Maintenance: Wall vent dusty

Basement

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353	Interior Maintenance: Floor paint damaged

UNIT 3-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower control loose in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3

Slop Sink

No Violations Noted

Cells

No Violations Noted

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Walls dirty in shower # 1-3

105 CMR 451.123*	Maintenance: Floor dirty in shower # 1-3

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

Slop Sink

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 207 and 223

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower

105 CMR 451.123*	Maintenance: Soap scum on shower floor and walls

Cells

No Violations Noted

Kitchen

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, handwash sink leaking

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested lower than recommended concentration in warewash machine

Dining Area

No Violations Noted

CPO’s Office

No Violations Noted

Sergeant’s Office

No Violations Noted

Basement

No Violations Noted

UNIT 3-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Wall paint damaged

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 312

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall damaged around radiator

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 221

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 207

105 CMR 451.103	Mattresses: Mattress damaged in cell # 216

105 CMR 451.353	Interior Maintenance: Ceiling covered with plastic in cell # 217

1st Floor

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor damaged in shower

105 CMR 451.123*	Maintenance: Ceiling water damaged

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 107

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in cell # 105

Kitchen

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, window vent fan dusty

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged

Dining Area

No Violations Noted

Bathroom (Between Cell # 106 & 107)

105 CMR 451.123*	Maintenance: Floor damaged in shower

105 CMR 451.123*	Maintenance: Wall paint damaged

Basement

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, pipe leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at sink

UNIT 4-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.141	Screens: Screen damaged at entrance

Control

No Violations Noted

3rd Floor

Hallway

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Bathroom

105 CMR 451.123	Maintenance: Floor surface damaged

105 CMR 451.123	Maintenance: Wall surface damaged

Slop Sink

No Violations Noted

Cells

No Violations Noted

2nd Floor

Hallway

105 CMR 451.353	Interior Maintenance: Wall vent filter damaged

Bathroom

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Ceiling water damaged above showers

105 CMR 451.123	Maintenance: Floor surface left unfinished in shower # 1 and 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 2

Slop Sink

105 CMR 451.353	Interior Maintenance: Light out

Cells

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink in cell # 218

105 CMR 451.103	Mattresses: Mattress damaged in cell # 214 and 218

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor surface damaged in shower

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Ceiling water damaged

105 CMR 451.123	Maintenance: Wall water damaged

Slop Sink

No Violations Noted

Cells

No Violations Noted

Kitchen

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, window vent fan dusty

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, hot water tank rusted

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested lower than recommended concentration in warewash machine

Dining Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

Bathroom (Between Cell # 106 & 107)

105 CMR 451.123*	Maintenance: Floor surface damaged in shower

105 CMR 451.123*	Maintenance: Walls damaged above shower

105 CMR 451.123*	Maintenance: Door frame damaged in shower

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Basement

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

UNIT 4-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Bathroom

105 CMR 451.123*	Maintenance: Shower partitions damaged

105 CMR 451.123	Maintenance: Wall surface left unfinished

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover loose in shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 3 missing

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose

Cells

105 CMR 451.353	Interior Maintenance: Hole in wall in cell # 303

105 CMR 451.353	Interior Maintenance: Wall surface damaged in cell # 310, 311, and 312

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 2

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wall damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 206

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor damaged in shower

Slop Sink

105 CMR 451.353*	Interior Maintenance: Walls damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.350	Structural Maintenance: Ceiling surface damaged

Cells

No Violations Noted

Kitchen

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, cabinets rusted

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, filtered water tap leaking

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested lower than recommended concentration in warewash machine

Dining Area

No Violations Noted

CPO’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator damaged

Sergeant’s Office

No Violations Noted

Bathroom (In Sergeant’s & CPO’s Office)

No Violations Noted

Basement

No Violations Noted

UNIT 4-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Door damaged at entrance

Control

No Violations Noted

3rd Floor

Hallway

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Bathroom w/shower

105 CMR 451.123*	Maintenance: Wall damaged near showers

105 CMR 451.123*	Maintenance: Wall paint damaged throughout

105 CMR 451.123	Maintenance: Shower partition damaged

Bathroom # 305

105 CMR 451.123*	Maintenance: Floor tiles damaged

Cells

No Violations Noted

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

2nd Floor

Hallway

No Violations Noted

Bathroom w/shower

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, floor drain not secure in shower

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Wall paint damaged throughout

105 CMR 451.123	Maintenance: Wall surface damaged throughout

Cells

No Violations Noted

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Bathroom # 207

105 CMR 451.123	Maintenance: Window vent fan dusty

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Shower stall damaged

105 CMR 451.123	Maintenance: Floor surface damaged in shower

105 CMR 451.123	Maintenance: Ceiling surface water damaged

Slop Sink

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Cells

No Violations Noted

Kitchen

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, wall fan dusty

FC 4-501.114(A)*	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested lower than recommended concentration in warewash machine

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling vent dusty

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles missing

Dining Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, window vent fan dusty

Bathroom (Between Cell # 106 & 107)

Unable to Inspect – In Use

Basement

No Violations Noted

UNIT 6-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Stair treads damaged at entrance

Control

No Violations Noted

3rd Floor

Hallway

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Bathroom

105 CMR 451.123*	Maintenance: Access panel damaged under urinal

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

Slop Sink

No Violations Noted

Cells

No Violations Noted

Fireroom

No Violations Noted

2nd Floor

Hallway

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Bathroom

105 CMR 451.123*	Maintenance: Floor surface damaged

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Slop Sink

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # 211

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 204

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor surface damaged

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Cells

105 CMR 451.350*	Structural Maintenance: Window broken in cell # 102

Bathroom (Between cell # 105 & 106)

105 CMR 451.123*	Maintenance: Wall paint damaged in shower

105 CMR 451.123*	Maintenance: Wall vent damaged

105 CMR 451.123*	Maintenance: Sprinkler head rusted

Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged around windows

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, wall dirty around sink

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged around sink

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling damaged

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet leaking at handwash sink

Dining Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, tabletops damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

Basement

105 CMR 451.353		Interior Maintenance: Floor paint damaged

UNIT 6-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor surface damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet damaged at handwash sink

105 CMR 451.123*	Maintenance: Door rusted

Cells

No Violations Noted

Slop Sink

105 CMR 451.353		Interior Maintenance: Duct work damaged

2nd Floor

Hallway

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Bathroom

Unable to Inspect – In Use

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.353	Interior Maintenance: Wall surface damaged around sink

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # 214

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 220

1st Floor

Hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor tiles damaged

Cells

105 CMR 451.353*		Interior Maintenance: Wall cracked in cell # 103

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

in cell # 106

Kitchen

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, filtered water tap leaking

Dining Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, tabletops damaged

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged

Basement

No Violations Noted

UNIT 6-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

No Violations Noted

3rd Floor

Hallway

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor surface rough in shower # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Wall surface damaged around urinals

105 CMR 451.123	Maintenance: Window vent fan dusty

Cells

No Violations Noted

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123*	Maintenance: Ceiling water damaged

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor damaged in shower # 1 and 2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet damaged at handwash sink # 3

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking at shower # 1

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Window vent fan dusty

Cells

105 CMR 451.353*	Interior Maintenance: Floor surface damaged in cell # 201 and 203

105 CMR 451.353	Interior Maintenance: Window vent dusty in cell # 201

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Ceiling water damaged

105 CMR 451.123	Maintenance: Wall paint damaged in shower

105 CMR 451.123	Maintenance: Window vent fan dusty

Cells

No Violations Noted

Kitchen

No Violations Noted

Dining Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, tabletops damaged

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles missing

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, window vent fan dirty

CPO’s Office

No Violations Noted

Bathroom (In Sergeant’s & CPO’s Office)

No Violations Noted

Sergeant’s Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven damaged and rusted

Basement

No Violations Noted

UNIT 7-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Window cracked next to entrance

Control

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower #1 and 2

105 CMR 451.123*	Maintenance: Floor paint damaged throughout

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 2

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 1

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water control leaking in

shower # 2

Slop Sink

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 313

105 CMR 451.103	Mattresses: Mattress damaged in cell # 308

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*		Maintenance: Wall paint damaged

105 CMR 451.123		Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Walls dirty, possible mold/mildew

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water faucet leaking at

handwash sink # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower control damaged in

shower # 1

Slop Sink

105 CMR 451.353	Interior Maintenance: Light out

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 201

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor surface rough in shower

105 CMR 451.123*	Maintenance: Wall paint damaged throughout

Slop Sink

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 106

Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor left unfinished under dishwasher

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling paint damaged

FC 4-501.114(A)*	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested lower than recommended concentration in warewash machine

Dining Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, wall vent dusty

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged around phones

Bathroom (Between Cell # 106 & 107)

105 CMR 451.123*	Maintenance: Door frames rusted

105 CMR 451.123*	Maintenance: Shower floor damaged

105 CMR 451.123	Maintenance: Window vent fan dusty

Basement

No Violations Noted

UNIT 7-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Control

105 CMR 451.353	Interior Maintenance: Floor surface damaged

3rd Floor

Hallway

No Violations Noted

Bathroom	Unable to Inspect Shower # 1 and 2 – In Use

105 CMR 451.123*	Maintenance: Floor surface damaged throughout

105 CMR 451.123*	Maintenance: Mold observed on ceiling

105 CMR 451.123	Maintenance: Mold observed on walls

Slop Sink

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 316

105 CMR 451.353	Interior Maintenance: Wall water damaged in cell # 323

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Floor surface damaged

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 221

105 CMR 451.353	Interior Maintenance: Wall water damaged in cell # 221

1st Floor

Hallway

No Violations Noted

Housemen Bathroom

105 CMR 451.123*	Maintenance: Floor surface rough in shower

Slop Sink

No Violations Noted

Cells

No Violations Noted

Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, filtered water faucet leaking

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, sprayer head leaking

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface left unfinished

Dining Area

No Violations Noted

Office # 107

No Violations Noted

Office # 106

No Violations Noted

Bathroom (Between Office # 106 & 107)

No Violations Noted

Sergeant’s Office

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

Basement

No Violations Noted

UNIT 7-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Entrance door not weathertight

Control

No Violations Noted

3rd Floor

Hallway

105 CMR 451.353	Interior Maintenance: Wall surface damaged

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1 and 2

Slop Sink

No Violations Noted

Cells

No Violations Noted

2nd Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged outside showers

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 2 and 3 clogged

Slop Sink

No Violations Noted

Cells

No Violations Noted

1st Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Shower wall and floor paint damaged

105 CMR 451.123*	Maintenance: Shower stall paint damaged

105 CMR 451.123	Maintenance: Floor tiles damaged

105 CMR 451.123	Maintenance: Ceiling surface water damaged

Slop Sink

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Ceiling surface damaged in cell # 110

Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, hot water tank rusted at bottom

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

Dining Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair refrigerator gaskets damaged

Bathroom (Between Cell # 108 & 109)

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Basement

No Violations Noted

UNIT 8-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Floor tiles missing outside showers

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

105 CMR 451.353	Interior Maintenance: Door frame rotted at entrance

2nd Tier

Showers

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 4 and 6

105 CMR 451.123*	Maintenance: Baseboard paint damaged in shower # 5

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew in shower # 5

105 CMR 451.123	Maintenance: Baseboard paint damaged in shower # 4

105 CMR 451.123	Maintenance: Floor surface left unfinished in shower # 5

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # 203

105 CMR 451.141*	Screens: Screen damaged in cell # 216

105 CMR 451.353	Interior Maintenance: Door frame rusted in cell # 212

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 217

105 CMR 451.103	Mattresses: Mattress damaged in cell # 209

Storage Room

No Violations Noted

Slop Sink Room

No Violations Noted

1st Tier

CPO’s Office

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # 101, 103, and 109

105 CMR 451.353*	Interior Maintenance: Floor surface damaged in cell # 110

105 CMR 451.353*	Interior Maintenance: Window not functioning properly in cell # 117

105 CMR 451.350*	Structural Maintenance: Window cracked on door in cell # 114 and 122

Toxic/Caustic Room

No Violations Noted

Slop Sink

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Floor damaged in shower # 1, 2, and 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, floor drain missing in shower # 2

105 CMR 451.123	Maintenance: Walls dirty in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Wall vent dusty in shower # 1

105 CMR 451.123	Maintenance: Door frame rusted in shower # 2

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew in shower # 3

Kitchenette

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling water damaged

Unit 8-1/8-2 Kitchen & Staff Area

Staff Bathroom

No Violations Noted

Office

No Violations Noted

Staff Break Area

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator gaskets damaged

Kitchen

No Violations Noted

UNIT 8-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling tiles dusty around vent

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained by skylight

105 CMR 451.353*	Interior Maintenance: Wall return vent dusty behind control area

105 CMR 451.353*	Interior Maintenance: Floor tiles missing outside showers on floor # 1 and 2

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

2nd Tier

Showers

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 5 and 6

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 6

105 CMR 451.123*	Maintenance: Floor damaged around drain in shower # 6

105 CMR 451.123*	Maintenance: Door rusted in shower # 5 and 6

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 4, 5, and 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower control leaking in shower # 4

105 CMR 451.123	Maintenance: Floor damaged around drain in shower # 5

Storage Room

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # 201 and 210

Slop Sink

No Violations Noted

1st Tier

CPO’s Office

No Violations Noted

Showers	Unable to Inspect Shower # 3 – Under Construction

105 CMR 451.123*	Maintenance: Walls rusted in shower # 1

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 1 and 2

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 1

105 CMR 451.123*	Maintenance: Hole in wall in shower # 1

105 CMR 451.123	Maintenance: Ceiling rusted in shower # 1

Toxic/Caustic Room

No Violations Noted

Kitchenette

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet leaking at handwash sink # 2

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, sink unit damaged

Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover not secure in slop sink

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked on door to cell # 107

105 CMR 451.103	Mattresses: Mattress damaged in cell # 116

105 CMR 451.353	Interior Maintenance: Water leaking into cell # 111 from showers

Observations and Recommendations

- The inmate population was 1,147 at the time of inspection.

- The Probation Unit was undergoing renovations but was being used for medication distribution.

- The South Yard Housing Unit was closed due to the low population at the institution.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH