The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center

Northampton, MA 01060

Telephone 413 586-7525, ext. 3167

Facsimile 413 784-1037

TTY 800 769-9991

charlie.kaniecki@state.ma.us

DEVAL L. PATRICK GOVERNOR JOHN W. POLANOWICZ SECRETARY CHERYL BARTLETT ACTING COMMISSIONER

June 13, 2013

Kelly Ryan, Superintendent

MCI Shirley

P.O. Box 1218                                                                                                                                                               Shirley, MA 01464

Re: Facility Inspection MCI Shirley

Dear Superintendent Ryan:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of MCI Shirley on May 6, 7, and 8, 2013 accompanied by Robert Fournier, EHSO. Violations noted are listed below.

ADMINISTRATION BUILDING

(* indicates conditions documented on previous inspection reports).

Hallway

No Violations Noted

Male Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Bathroom

105 CMR 451.110(A)		Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Female Staff Locker Room

No Violations Noted

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Lockers support rusted at floor

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

No Violations Noted

Mail Room

105 CMR 451.350*	Structural Maintenance: Wall damaged

Male Bathroom 31

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cracked sink

Shift Commander

No Violations Noted

Role Call Room

No Violations Noted

Female Bathroom 48

Unable to Inspect – Occupied

Male Bathroom 47

No Violations Noted

Break Room 38

No Violations Noted

Janitor’s Closet 46

No Violations Noted

Vending Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.353*	Interior Maintenance: Floor dirty behind vending units

PROGRAMS BUILDING

Female Bathroom

105 CMR 451.126		Hot Water: Hot water temperature recorded at 95oF

Male Bathroom

No Violations Noted

Archive File Room

No Violations Noted

Break Room

No Violations Noted

Room 106

No Violations Noted

Mental Health Conference Room

No Violations Noted

Imam’s Office

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

Inmate Bathroom

No Violations Noted

Utility Room (C126)

No Violations Noted

Utility Closet

No Violations Noted

EDUCATION BUILDING

No Violations Noted

Supply Room

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions,

boxes stored within 18 inches of ceiling

Staff Break Room

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Inmate Bathroom

No Violations Noted

Mop Closet

No Violations Noted

Side Exit

No Violations Noted

Library

No Violations Noted

Staff Bathroom

Unable to Inspect – In Use

Classrooms 104

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

VOCATIONAL EDUCATION

Main Door

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

Canteen Storage

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, joins sealed

Classroom

No Violations Noted

Barber Shop

No Violations Noted

CRA Room

No Violations Noted

Chapel

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight, double doors

New Classrooms

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Sewing Shop

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Bathroom (sewing shop)

No Violations Noted

Canteen Processing Room

Unable to Inspect – Locked

Exterior Door

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight (under repair)

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged, some missing (under repair)

Sewing Shop Storage Door

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions,

boxes stored within 18 inches of ceiling

Class Room # 2

105 CMR 451.123*	Maintenance: Ceiling vent blocked

Staff Bathroom

No Violations Noted

OPERATIONS/VISITING ROOM

Visiting Room

Visiting Area

No Violations Noted

Inmate Bathroom

No Violations Noted

Men’s Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Operations

Female Bathroom

No Violations Noted

Men’s Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

GYM

105 CMR 451.350*	Structural Maintenance: Insulation falling from ceiling

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight, all doors

Weight Room

105 CMR 451.353*	Interior Maintenance: Ripped seats and cushions on equipment

105 CMR 451.350*	Structural Maintenance: Roof leaks

Office

105 CMR 451.350*	Structural Maintenance: Water leaking near light on ceiling

Utility Room

105 CMR 451.350*	Structural Maintenance: Ceiling water stained

105 CMR 451.353*	Interior Maintenance: Mold like substance on ceiling

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Water leaking on ceiling onto electrical panels

Janitor’s Closet

No Violations Noted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1070F

105 CMR 451.123*	Maintenance: Ceiling bubbling

105 CMR 451.123*	Maintenance: Wall opened from floor to ceiling

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

Storage Room

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Appearance of mold-like substance

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions,

boxes stored within 18 inches of ceiling

OUTSIDE RECREATIONAL AREA

No Violations Noted

FOOD SERVICE

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor has pulled away from the walls throughout the building

105 CMR 451.350*	Structural Maintenance: Floor not secured to the walls

Inmate Dining Area

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Floor damaged

Serving Area

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, door to kitchen damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hand sink faucets not secured to

sink

Dish Room

105 CMR 451.353	Interior Maintenance: Uncovered electrical box behind dryer rack

Grill Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, one lights not operating over grill

Mop Sink Area

No Violations Noted

Inmate Bathroom

No Violations Noted

FSDS Storage

Unable to Inspect – Locked

Mop/Barrel Room

No Violations Noted

Pig Cooler

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and vermin tight

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, damaged floor

Tool Crib

No Violations Noted

Diet Area

No Violations Noted

Walk in Freezer 2

No Violations Noted

Cooler

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant or protected by light shields

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, damaged door gasket

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, damaged door near floor

Kettle Area

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulb missing and no shield

Dry Storage

No Violations Noted

Rear Loading Dock

105 CMR 451.350*	Structural Maintenance: Floor damaged

Staff Bathroom – Left

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cracked sink

Staff Bathroom – Right

Unable to Inspect – Locked

Dumpster

No Violations Noted

CULINARY ARTS

Kitchen

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged behind ovens

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged near serving trays

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, near 3 bay sink

FC 6-101.11(A)(1)*	Materials for Construction and Repairs: Surface not easily cleanable; Lower counters rusted

Dry Storage

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions,

boxes stored within 18 inches of ceiling

Dining Area

No Violations Noted

PROPERTY

No Violations Noted

Bathroom

No Violations Noted

Laundry Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, missing back flow protection

SMU BUILDING

Visiting Room

105 CMR 451.350*	Structural Maintenance: Wall and tile damaged

Triage Room

105 CMR 480.300(A)*               Packaging, Labeling, and Shipping: Biohazard material not labeled

Capt. Office

Unable to Inspect – Locked

Lieutenant Office

No Violations Noted

Staff Bathroom

No Violations Noted

Kitchen Area

No Violations Noted

Sergeant’s Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wall damaged

Control

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.353*	Interior Maintenance: Missing light covers

Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles water stained

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

SMU 1

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained in block

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 18

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling in shower A, B & C

105 CMR 451.123*	Maintenance: Floor paint peeling in all showers

Showers Upper Level

105 CMR 451.123*	Maintenance: Shower dirty in shower D & E

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower D leaking

105 CMR 451.123*	Maintenance: Floor paint peeling in all showers

SMU 2

Law Library

No Violations Noted

Cells

No Violations Noted

Showers

105 CMR 451.353*	Interior Maintenance: Walls and ceilings dirty in shower A, B & C

105 CMR 451.123*	Maintenance: Soap scum on walls in shower A, B & C

105 CMR 451.123*	Maintenance: Paint peeling in shower A, C, D & E

HSU BUILDING

Booking

Cell 2

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

Cell 3

No Violations Noted

Holding Cell

No Violations Noted

Strip Room

No Violations Noted

Assisted Daily Living (ADL)

Trauma Room

No Violations Noted

Med Room – C110

No Violations Noted

Main Ward

No Violations Noted

Day Room

105 CMR 451.123*	Maintenance: Damaged chair, ripped

105 CMR 451.350	Structural Maintenance: Wall damaged, baseboard

Room 1

No Violations Noted

Room 2

No Violations Noted

Hallway

105 CMR 451.350	Structural Maintenance: Floor damaged

Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Bathroom in Room 3

No Violations Noted

Bathroom (across from Room 2)

No Violations Noted

Cell 7

No Violations Noted

Med Line

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Wall damaged need wall painted by AC unit

Men’s Staff Bathroom 124

No Violations Noted

Women’s Staff Bathroom

No Violations Noted

Office #136

No Violations Noted

Treatment 1

105 CMR 451.350*	Structural Maintenance: Wall damaged

Optical Room C 127

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No access to sink, blocked by

equipment

Staff Break Room

No Violations Noted

Room C115

105 CMR 451.103*	Mattresses: Mattress damaged on exam table

Inmate Bathroom 123

No Violations Noted

Hallway

No Violations Noted

Med Records - Front

105 CMR 451.350*	Structural Maintenance: Wall damaged

Med Records - Back

105 CMR 451.350*	Structural Maintenance: Floor damaged

Staff Room 103

No Violations Noted

Janitor’s Closet C114

105 CMR 451.350*	Structural Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Vent dusty

Dental Office

105 CMR 451.350	Structural Maintenance: Wall damaged

Medical Storage C118

105 CMR 451.123*	Maintenance: Vent blocked

Dorm 128

No Violations Noted

Dorm 127

105 CMR 451.123*	Maintenance: Soap dispenser broken

Janitor’s Closet C111

No Violations Noted

Dorm 129 Not in Use

No Violations Noted

Dorm 126

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Dorm 125

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Dialysis Unit (124)

105 CMR 451.130*	Plumbing: Pipes draining into toilet

Bubbles Room

No Violations Noted

PT Room

No Violations Noted

Staff Bathroom

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Holes in the wall in shower A

105 CMR 451.123*	Maintenance: Wall damaged in shower A

105 CMR 451.123*	Maintenance: Floor tile damaged in shower C

105 CMR 451.123*	Maintenance: Paint peeling in A, B & C

Kitchen (113)

No Violations Noted

Biohazard Storage

105 CMR 451.123	Maintenance: Wall damaged

MAINTENANCE/INDUSTRIES/LAUNDRY

Laundry

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight, exterior door damaged at

bottom

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Wall damaged behind dryers

Toxic/Caustic Room

No Violations Noted

Office

105 CMR 451.350*	Structural Maintenance: Wall damaged

Hazardous Storage

No Violations Noted

Hallway to Maintenance

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Ceiling not painted

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 850F

Inmate Bathroom

No Violations Noted

Utility Room

No Violations Noted

Loading Dock

No Violations Noted

Supply Crib (125)

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Missing light shield

Janitor’s Closet

No Violations Noted

Chemical Supply Crib

Unable to Inspect - Locked

Office 132

105 CMR 451.353*	Interior Maintenance: Ceiling wall not cleanable needs painting

Maintenance Shop

105 CMR 451.353*	Interior Maintenance: Ceiling not cleanable, not painted

105 CMR 451.353*	Interior Maintenance: Wall not cleanable, not painted

Tool Crib

105 CMR 451.350*	Structural Maintenance: Paint peeling

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Appearance of a mold like substance

Industries

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Ceiling damaged throughout

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.350*	Structural Maintenance: Appearance of mold growth in the corners of the building

Room 111

105 CMR 451.353*	Interior Maintenance: Exposed wiring

Storage Warehouse

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Janitor’s Closet

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Hole in ceiling

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 138oF

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Hole in ceiling and appearance of mold growth

Inmate Bathroom Area under Construction

105 CMR 451.350*	Structural Maintenance: Leak in Ceiling

105 CMR 451.350*	Structural Maintenance: Water damaged and appearance of mold

105 CMR 451.350*	Structural Maintenance: Missing tiles

TOWERS

Tower 1

105 CMR 451.353*	Interior Maintenance: Exposed wiring in electrical room

105 CMR 451.350*	Structural Maintenance: Paint peeling in weapons locker

105 CMR 451.350*	Structural Maintenance: Door damaged

105 CMR 451.141	Screens: Screen missing

105 CMR 451.353	Interior Maintenance: Damaged Air Conditioner front

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

Tower 2

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.350*	Structural Maintenance: Door sill damaged

105 CMR 451.350*	Structural Maintenance: Ceiling Damaged

105 CMR 451.353*	Interior Maintenance: Chair damaged, back support

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 100oF

Tower 3

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.350*	Structural Maintenance: Ceiling tile damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged next to toilet

105 CMR 451.350*	Structural Maintenance: Baseboards damaged

105 CMR 451.350*	Structural Maintenance: Roof leaking

105 CMR 451.350	Structural Maintenance: Paint peeling, lower level

WAREHOUSE

105 CMR 451.344*                Illumination in Habitable Areas: The side storage area lacks lighting

Medium Freezer

FC 6-501.11*	Maintenance and Operation; Repairing: Equipment not in good repair, ceiling damaged

105 CMR 451.353*	Interior Maintenance: Missing light shield

Medium Walk-In Cooler

No Violations Noted

Hot Water Heating Room

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Medium Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles water stained

105 CMR 451.126	Hot Water: Hot water temperature recorded at 100oF

A-1 HOUSING

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged, near cell # 37

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Control Area

105 CMR 451.123	Maintenance: Damaged chairs

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 17

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 23, 24, 25, 31, 32, 33 & 35

105 CMR 451.353	Interior Maintenance: Paint wall in cell # 17

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged in cell # 11, 17, 32, 35,

36, 38, 41, 45, 46, 48, 49, 50, 52, 56, 59 & 60

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in cell # 14, 33, 34 & 47

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in cell # 1, 2, 14, 18, 19, 20,

21, 23, 33, 34, 37, 39, 42, 47, 51, 53, 54, 55, 57 & 58

Janitor’s Closet (up)

No Violations Noted

Showers Upper level

105 CMR 451.123*	Maintenance: Paint peeling in shower A, B & C

105 CMR 451.123*	Maintenance: Soap scum on walls in showers A, B & C

105 CMR 451.123*	Maintenance: Uncovered vent in shower A, B & C

105 CMR 451.123*	Maintenance: Wall damaged in shower A & B

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower A, B & C

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling in shower D, E & F

105 CMR 451.123*	Maintenance: Soap scum on walls in shower D, E & F

105 CMR 451.123*	Maintenance: Door damaged in shower E

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower F, H, I & J

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

No Violations Noted

A-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Control Area

105 CMR 451.123	Maintenance: Damaged chairs

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 33, 34 & 48

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 10

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 3, 7, 20, 22, 37, 38, 40, 41, 43, 57,

58 & 59

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 2, 11, 13, 18, 23, 24 & 42

105 CMR 451.123	Maintenance: Uncovered electrical box in emergency stairway

Janitor’s Closet (up)

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Insulation damaged

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling in shower F & G

105 CMR 451.123*	Maintenance: Wall damaged in shower F & G

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling in shower H, I & J

105 CMR 451.123*	Maintenance: Wall damaged in shower H

105 CMR 451.123*	Maintenance: Ceiling damaged in shower H

105 CMR 451.123*	Maintenance: Light shield damaged in shower H

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Bubbler

105 CMR 451.123*	Maintenance: Bottom panel damaged

105 CMR 451.123*	Maintenance: In wall by bubbler

Janitor’s Closet (down)

105 CMR 451.350*	Structural Maintenance: Paint peeling

B-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged

105 CMR 451.350	Structural Maintenance: Floor damaged in entry area

Control Area

105 CMR 451.123	Maintenance: Damaged chairs

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # 12*

105 CMR 451.141	Screens: Screen damaged in cell # 34 & 46

105 CMR 451.350*	Structural Maintenance: Floor damage in cell # 2, 3, 4, 5, 6, 8, 9, 11, 12, 14, 25,

42 & 51

105 CMR 451.350	Structural Maintenance: Floor damage in cells # 13, 23, 45 & 46

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 19

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling in A, B & C

105 CMR 451.123	Maintenance: Paint peeling in D & E

Showers Lower Level

105 CMR 451.123	Maintenance: Paint peeling in F, G & H

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.123	Maintenance: Floor buffer missing ground wire connection

B-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Exterior of building damaged

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained in block

Control Area

105 CMR 451.123	Maintenance: Damaged chairs

105 CMR 451.350	Structural Maintenance: Floor damaged

Common area

105 CMR 451.350	Structural Maintenance: Floor seams not sealed.

Cells

105 CMR 451.353*	Interior Maintenance: Circuits overloaded in cell # 16 & 56

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 9

105 CMR 451.350*	Structural Maintenance: Floor damage in cell # 6 & 8

105 CMR 451.350	Structural Maintenance: Floor damage in cells # 15, 28, 37 & 55

105 CMR 451.350*	Structural Maintenance: Wall damaged in cells # 27

105 CMR 451.350	Structural Maintenance: Wall damaged in cells # 17, 18 & 26

105 CMR 451.350*	Structural Maintenance: Emergency exit door in stairway area not rodent and

weathertight

Janitor’s Closet (up)

105 CMR 451.123*	Maintenance: Insulation damaged

Showers Upper Level

105 CMR 451.123	Maintenance: Paint peeling in A, B, C & E

Showers Lower Level

105 CMR 451.123	Maintenance: Paint peeling in showers F, G, H, I & J

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

C-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained in block

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged

105 CMR 451.123	Maintenance: Emergency exit stairway peeling paint

Common Area

No Violations Noted

Control Area

No Violations Noted

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # 28

105 CMR 451.141	Screens: Screen damaged in cell # 1, 18, 26, 27, 37, 45, 48, 53 & 60

105 CMR 451.353*	Interior Maintenance: Circuits overloaded in cell # 16, 17, 59 & 60

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 4, 8, 12, 18, 20, 27, 35,

36, 42, 49, 56 & 57

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 10, 12, 24 & 28

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 8, 27, 40, 43 & 46

105 CMR 451.123	Maintenance: Paint peeling in cell # 16, 17, 23, 24, 31 & 36

Janitor’s Closet (up)

105 CMR 451.123*	Maintenance: Insulation damaged

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling in A, B, C & D

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Wall damaged in A, D & E

Showers Lower Level

105 CMR 451.123*	Maintenance: Wall damaged in F,G, H & I

105 CMR 451.123	Maintenance: Wall damaged in E

105 CMR 451.123	Maintenance: Paint peeling in all showers

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.123	Maintenance: Light Damaged

105 CMR 451.123	Maintenance: Ceiling paint peeling

C-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.350	Structural Maintenance: Exterior of building damaged near cell # C 36

105 CMR 451.350	Structural Maintenance: Floor damaged in entry area

Control Area

105 CMR 451.123	Maintenance: Damaged chairs

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 2, 4 & 8

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 6, 36, 44 & 56

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 2

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 6, 10 & 13

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 8 & 10

105 CMR 451.141	Screens: Screen damaged in cell # 1, 7, 26, 39, 54 & 58

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sewer smell in area of cell # 33

105 CMR 451.123	Maintenance: Uncovered electrical box in emergency stairway

Janitor’s Closet (up)

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers Upper Level

105 CMR 451.123	Maintenance: Paint peeling on walls and floors of all showers

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling in H, I & J

105 CMR 451.123*	Maintenance: Soap scum on walls in G

Staff Bathroom

No Violations Noted

Staff Office

FC 4-204.112(A)		Design and Construction, Functionality: Refrigerator needs defrosting

Janitor’s Closet (down)

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

D-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling

105 CMR 451.350	Structural Maintenance: Rear side of D exterior wall peeling, not weathertight

105 CMR 451.350	Structural Maintenance: Emergency exit door in stairway area not rodent and

weathertight

Control Area

105 CMR 451.123	Maintenance: Damaged chairs

Cells

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 58 & 59

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 60

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 1, 2, 3, 7, 10, 12, 20, 23, 31, 33, 34,

42, 46, 51 & 57

105 CMR 451.350	Structural Maintenance: Wall leaking rain water in cell # 37 & 38

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 4

105 CMR 451.141	Screens: Screen damaged in cell # 6, 8, 9, 11, 12, 14, 15, 17, 29, 30, 31, 34, 35, 39,

40, 43, 44, 46, 47, 49, 50, 52, 53, 55, 56, 57, 58, 59 & 60

Janitor’s Closet (up)

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

105 CMR 451.350	Structural Maintenance: Ceiling loose concrete block

105 CMR 451.350*	Structural Maintenance: Floor holes open around electrical piping

Showers Lower Level

105 CMR 451.123*	Maintenance: Soap scum on walls in shower A, B & C

105 CMR 451.123	Maintenance: Paint peeling in shower D

105 CMR 451.123	Maintenance: Paint peeling in shower A, B & C

105 CMR 451.123*	Maintenance: Wall damaged in shower C

Showers Upper Level

105 CMR 451.123*	Maintenance: Wall damaged in F & H

105 CMR 451.123	Maintenance: Paint peeling in all showers

Staff Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Staff Office

FC 4-204.112(A)		Design and Construction, Functionality: Refrigerator needs defrosting

Janitor’s Closet (down)

No Violations Noted

D-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.350	Structural Maintenance: Floor damaged in entry area

Control Area

105 CMR 451.123	Maintenance: Damaged chairs

Cells

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 2, 3, 10, 14, 17, 44, 46, 56 & 60

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 30

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 1, 3, 4, 5, 6, 8, 9, 11, 12, 13, 14, 15,

17, 19, 20, 22, 23, 25, 31, 37, 46, 52, 55, 58, 59 & 60

105 CMR 451.141	Screens: Screen damaged in cells # 2, 3, 4, 5, 9, 10, 11, 12, 14, 15, 20, 21, 25, 32, 36,

46, 48, 49, 50 & 57

Janitor’s Closet (up)

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Showers Lower Level

105 CMR 451.123	Maintenance: Floor not sealed in shower B

Showers Upper Level

105 CMR 451.123*	Maintenance: Floor not sealed in shower H, I & J

105 CMR 451.123	Maintenance: Floor not sealed in shower F & G

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Base Board by toilet damaged

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.353	Interior Maintenance: Light damaged

105 CMR 451.353	Interior Maintenance: Fan missing light shield

E-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Window damaged in entry area

105 CMR 451.123	Maintenance: Paint peeling from exterior wall

Cells

105 CMR 451.350*	Structural Maintenance: Paint peeling in cell # 3

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 25

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 11, 19, 21, 23 & 24

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 1, 2, 3, 6, 10, 12, 20, 22, 25, 26, 27,

28, 30, 32, 33, 36, 37, 38, 39, 40, 41, 42, 45, 48, 51, 52, 54, 56, 57 & 59

105 CMR 451.141	Screens: Screen damaged in cell # 4, 6, 9, 11, 14, 15, 16, 18, 21, 23, 24, 25, 26, 28,

29, 30, 31, 32, 33, 35, 37, 38, 39, 41, 42, 49, 50, 53, 56, 57 & 58

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

Unable to Inspect – Shower A Occupied

105 CMR 451.123*	Maintenance: Floor not sealed in shower B

105 CMR 451.123	Maintenance: Floor not sealed in shower C & D

Showers Lower Level

105 CMR 451.123*	Maintenance: Wall damaged in J

105 CMR 451.123	Maintenance: Wall damaged in G & I

105 CMR 451.123	Maintenance: Paint peeling from walls in showers F, G & H

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.123	Maintenance: Floor buffer missing ground wire connection

E-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Floor damaged in entry area

Control Area

105 CMR 451.123	Maintenance: Damaged chairs

105 CMR 451.350	Structural Maintenance: Damaged floor

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 40

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 49

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 7, 8, 9, 10, 14 & 15

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 16, 17, 21, 23, 27, 30, 31, 32, 33,

37, 38, 41, 42, 43, 46, 48 & 59

105 CMR 451.141	Screens: Screen damaged in cells # 4, 8, 9, 16, 36, 38, 40, 44, 47, 48, 54, 55, 59 & 60

105 CMR 451.123	Maintenance: Emergency exit stairway peeling paint

Janitor’s Closet (up)

105 CMR 451.353*	Interior Maintenance: Vent dusty

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Paint peeling upper areas

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling in showers A

105 CMR 451.123	Maintenance: Paint peeling in showers B, C & E

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, Handi-cap shower spray handle

damaged

Showers Lower Level

Unable to Inspect – Shower D Occupied

105 CMR 451.123*	Maintenance: Paint peeling in H, I & J

105 CMR 451.123	Maintenance: Paint peeling in E

105 CMR 451.123	Maintenance: Wall damaged in shower J

Staff Bathroom

No Violations Noted

Staff Office

FC 4-204.112(A)		Design and Construction, Functionality: Refrigerator needs defrosting

Janitor’s Closet (down)

No Violations Noted

F-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Damaged window at entry area

Control Area

105 CMR 451.123	Maintenance: Damaged chairs

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # 32

105 CMR 451.141	Screens: Screen damaged in cell # 10, 17, 23, 31, 36, 43, 50, 51 & 52

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 10 & 58

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 4, 23, 31, 35, 39, 50, 51, 52,

53, 54, 57 & 59

105 CMR 451.123	Maintenance: Paint peeling in cell # 33, 37 & 39

105 CMR 451.123	Maintenance: Rusted Vents in cell # 23 & 24

Janitor’s Closet (up)

105 CMR 451.123	Maintenance: Fan missing ground wire connection

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling in showers A, B & C

105 CMR 451.123	Maintenance: Paint peeling in showers D & E

Showers Lower Level

105 CMR 451.123	Maintenance: Paint peeling on floors in I, J, F, G & H

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1330F at hand sink

Staff Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Janitor’s Closet (down)

105 CMR 451.353	Interior Maintenance: Vent near ceiling missing cover

F-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in block

105 CMR 451.123	Maintenance: Fan missing ground wire connection

Control Area

105 CMR 451.123	Maintenance: Damaged chairs

Cells

105 CMR 451.350	Structural Maintenance: Wall leaking rain water in cell # 57

105 CMR 451.141*	Screens: Screen damaged in cell # 24

105 CMR 451.141	Screens: Screen damaged in cell # 2, 3, 6, 8, 9, 10, 15, 20, 21, 25, 31, 36, 39, 40,

42, 46 & 57

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 5, 6, 7, 13, 17, 20 & 24

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 2, 3, 4, 8, 9, 10, 11, 12,

14, 15, 19, 21, 22, 23, 25, 28, 36, 38, 43, 49, 50, 51, 56, 58 & 60

Janitor’s Closet (up)

105 CMR 451.350*	Structural Maintenance: Paint peeling

Showers Upper Level

Unable to Inspect – Shower H & J Occupied

105 CMR 451.123	Maintenance: Paint peeling in shower G & F

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling in shower D

105 CMR 451.123	Maintenance: Paint peeling in shower C, D & E

Staff Bathroom

No Violations Noted

Staff Office

FC 4-204.112(A)		Design and Construction, Functionality: Refrigerator needs defrosting

Janitor’s Closet (down)

105 CMR 451.353*	Interior Maintenance: Ceiling and wall paint peeling

105 CMR 451.123	Maintenance: Floor buffer missing ground wire connection

MODULAR A

Entry Area

105 CMR 451.350	Structural Maintenance: Side walk damaged

Central Area

No Violations Noted

Toxic/Caustic Room

No Violations Noted

Common Day Room

105 CMR 451.123	Maintenance: Fan center cover missing

Telephone Room

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not working properly

105 CMR 451.353	Interior Maintenance: Electric outlet cover missing

Staff Bathroom

105 CMR 451.123*	Maintenance: Missing vent cover

Offices A-E

No Violations Noted

Library

No Violations Noted

Rooms

Room 1

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.123*	Maintenance: Vent loose to ceiling

105 CMR 451.350	Structural Maintenance: Ceiling damaged, roof leaking

Room 2

105 CMR 451.123*	Maintenance: Ceiling tiles loose

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.350	Structural Maintenance: Wall damaged, outlet

Room 3

105 CMR 451.141	Screens: Screen damaged

Room 4

105 CMR 451.141*	Screens: Screen damaged

Room 5

No Violations Noted

Room 6

No Violations Noted

Room 7

No Violations Noted

Room 8

No Violations Noted

Room 9

No Violations Noted

Room 10

No Violations Noted

MODULAR B

C.O.’s Office

105 CMR 451.350	Structural Maintenance: Light loose from ceiling

Common/Day Room

No Violations Noted

Bathroom Area

No Violations Noted

Shower Area

105 CMR 451.350*	Structural Maintenance: Floor damaged near old washing machine area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, open sewer line

Shower Chase

No Violations Noted

Telephone Room

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

Law Library

No Violations Noted

Room 2 Barber

No Violations Noted

Room 3

No Violations Noted

Room 4 Parole Hearing

No Violations Noted

Room 5

No Violations Noted

Room 6

No Violations Noted

Room 7

No Violations Noted

Room 8

105 CMR 451.353	Interior Maintenance: Uncovered electrical box

Room 9

No Violations Noted

Room 10

No Violations Noted

COTTAGE 6

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

(Building not in use)

2nd Floor

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

Storage

No Violations Noted

Room 9

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.103	Mattresses: Mattress damaged, ripped cots C & I

Room 10

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.350*	Structural Maintenance: Window damaged

Room 11

No Violations Noted

1st Floor

Room 8

No Violations Noted

Room 7

No Violations Noted

Room 5

No Violations Noted

Room 6

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, secure piping in shower

105 CMR 451.353	Interior Maintenance: Gap between wall and sink cracked

Room 3

No Violations Noted

Room 4

No Violations Noted

Room 1

No Violations Noted

Room 2

No Violations Noted

Recreation Room

No Violations Noted

Bathroom

105 CMR 451.141*	Screens: Screen missing

Tool Crib

105 CMR 451.353*	Interior Maintenance: Missing light shield

Room 14

No Violations Noted

Kitchen Area

No Violations Noted

CO/CPO Office

No Violations Noted

Toxic/Caustic Closet

105 CMR 451.353*	Interior Maintenance: Light shield missing

Basement

No Violations Noted

Laundry

No Violations Noted

Recreation Area

No Violations Noted

Gym

No Violations Noted

Supply

No Violations Noted

Bathroom

No Violations Noted

Hallway

No Violations Noted

Property                                     Unable to access - Locked

COTTAGE 7

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Room 12

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

Room 4

No Violations Noted

Room 5

No Violations Noted

Room 6

105 CMR 451.353*	Interior Maintenance: Missing light cover

Room 7

105 CMR 451.353*	Interior Maintenance: Missing light cover in closet

Room 8

No Violations Noted

Room 9

No Violations Noted

Room 10

No Violations Noted

Bathroom (near room 10)

105 CMR 451.123*	Maintenance: Tiles damaged wall

105 CMR 451.123*	Maintenance: Ceiling paint peeling

105 CMR 451.350	Structural Maintenance: Floor damaged under toilet

1st Floor

Room 11

No Violations Noted

Tool Crib

No Violations Noted

Telephone Area

No Violations Noted

Bathroom (near room 4)

105 CMR 451.123*	Maintenance: Tiles damaged wall

105 CMR 451.353	Interior Maintenance: Uncovered electrical box

105 CMR 451.350	Structural Maintenance: Floor damaged under toilet

Entry

No Violations Noted

Recreation Room

No Violations Noted

Office

No Violations Noted

Room 1

No Violations Noted

Room 2

No Violations Noted

Room 3

No Violations Noted

Basement

No Violations Noted

Laundry

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, need back flow preventer on sink

Storage Room

105 CMR 451.350*	Structural Maintenance: Exposed electrical box

Recreation Area

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Toxic/Caustic Room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 95oF

Rear Foyer Exit

No Violations Noted

COTTAGE 8

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Room 14

105 CMR 451.353*	Interior Maintenance: Light Shield damaged

Room 13

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall damaged behind toilet

2nd Floor

Bathroom (near room 12)

No Violations Noted

Tool Crib

No Violations Noted

Toxic/Caustic Room

No Violations Noted

Room 10

105 CMR 451.123	Maintenance: Wall not painted

Room 11

No Violations Noted

Room 12

105 CMR 451.123	Maintenance: Wall not painted

Hallway

No Violations Noted

Room 8

No Violations Noted

Bathroom (near room 6)

No Violations Noted

Room 9

No Violations Noted

Room 7

No Violations Noted

Room 6

105 CMR 451.331*	Radiators and Heating Pipes: Rusted

1st Floor

Dining Room

No Violations Noted

Room 5

No Violations Noted

Room 3

No Violations Noted

Room 4

No Violations Noted

Hallway

No Violations Noted

Officer’s Bathroom

No Violations Noted

Basement

No Violations Noted

Gym

105 CMR 451.350*	Structural Maintenance: Hole in floor

Storage

105 CMR 451.353*	Interior Maintenance: Exposed wires

Laundry

No Violations Noted

Bathroom

No Violations Noted

Rear Foyer Exit

No Violations Noted

COTTAGE 9

105 CMR 451.350*	Structural Maintenance: Front steps have cracks

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Room 13

No Violations Noted

Room 12

No Violations Noted

Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1360F

2nd Floor

Room 7

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Room 4

No Violations Noted

Hallway (near room 5 & 6)

No Violations Noted

Room 6

No Violations Noted

Bathroom (near room 6)

No Violations Noted

Room 5

No Violations Noted

Room 8

No Violations Noted

Bathroom (near room 8)

105 CMR 451.353	Interior Maintenance: Light shield loose

Room 9

No Violations Noted

Room 10

No Violations Noted

Room 11

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

1st Floor

Staff Bathroom

No Violations Noted

C. O’s Office

105 CMR 451.350*	Structural Maintenance: Window cracked

Counselor’s Office

105 CMR 451.353	Interior Maintenance: Shade tattered

Day Room

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

Toxic/Caustic Room

No Violations Noted

Kitchen Area

105 CMR 451.353	Interior Maintenance: Wiring from floor taped to pipe to ceiling

Room 1

No Violations Noted

Room 2

No Violations Noted

Basement

No Violations Noted

Bathroom Area

No Violations Noted

Laundry Area

No Violations Noted

Pool Room

105 CMR 451.123	Maintenance: Open electric box

Supply/Janitor’s Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Weight Room

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

COTTAGE 10

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Side walk damaged

3rd Floor

Hallway

No Violations Noted

Room 15

No Violations Noted

Room 16

No Violations Noted

Bathroom (room 16)

105 CMR 451.123	Maintenance: Sink has opening between wall

2nd Floor

Room 9

No Violations Noted

Bathroom (room 9)

No Violations Noted

Room 10

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.141*	Screens: Screen doesn’t fit window

Bathroom (room 10)

No Violations Noted

Room 11

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Room 12

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Bathroom (room 12)

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.123	Maintenance: Sink damaged

Room 14

No Violations Noted

Bathroom (room 14)

No Violations Noted

Room 13

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

Bathroom (room 13)

No Violations Noted

1st Floor

Staff Bathroom

105 CMR 451.123*	Maintenance: Rusty locker

105 CMR 451.353*	Interior Maintenance: Light shield missing

Slop Sink Room

No Violations Noted

Toxic/Caustic Room

105 CMR 451.353*	Interior Maintenance: Missing light cover

Storage

No Violations Noted

Visiting/Eating Area

105 CMR 451.141*	Screens: Screen doesn’t fit frame

Visitor’s Bathroom

No Violations Noted

Kitchen

No Violations Noted

Health Services

Room 2

No Violations Noted

Room 3

No Violations Noted

Room 4

No Violations Noted

Room 5

No Violations Noted

Room 6

No Violations Noted

Room 7

No Violations Noted

Room 8

No Violations Noted

C. O.’s Office

FC 4-204.112(A)		Design and Construction, Functionality: Refrigerator needs defrosting

Basement

Rear Foyer Exit

105 CMR 451.350*	Structural Maintenance: Ceiling flaking

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Door damaged

105 CMR 451.353*	Interior Maintenance: Missing electrical cover

105 CMR 451.350*	Structural Maintenance: Transom damaged

105 CMR 451.350*	Structural Maintenance: Ceiling and wall damaged

Weight Room

105 CMR 451.350*	Structural Maintenance: Windows don’t stay open

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.353*	Interior Maintenance: Quad bench, Peck and hamstring machine padding damaged

Utility Room

105 CMR 451.350*	Structural Maintenance: Unfinished wall

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged in hallway

Laundry Area

No Violations Noted

Storage Room (old barber shop)

105 CMR 451.353*	Interior Maintenance: Missing vent cover

Utility Room (next to shower)

No Violations Noted

Hallway (next to shower)

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

COTTAGE 11

105 CMR 451.350*	Structural Maintenance: Entry way damaged

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

2nd Floor Stairway

No Violations Noted

Staff Office

No Violations Noted

Staff Bathroom

No Violations Noted

Laundry

No Violations Noted

Rooms 1 & 2

No Violations Noted

Bathroom 1 & 2

No Violations Noted

Rooms 3 & 4

105 CMR 451.141*	Screens: Screen damaged/missing in room # 3

105 CMR 451.123*	Maintenance: Ceiling damaged in room # 3

Bathroom 3 & 4

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Rooms 5 & 6

No Violations Noted

Bathroom 5 & 6

No Violations Noted

Rooms 7 & 8

No Violations Noted

Bathroom 7 & 8

No Violations Noted

Room 9 & 10

105 CMR 451.141	Screens: Screen doesn’t fit window in room # 9

Bathroom 9 & 10

No Violations Noted

Rooms 11 & 12

105 CMR 451.141*	Screens: Screen damaged in room # 12

Bathroom 11 & 12

No Violations Noted

Room 13 & 14

105 CMR 451.353*	Interior Maintenance: Uncovered electrical box

Bathroom 13 & 14

No Violations Noted

Janitor’s Closet

No Violations Noted

Day Room

No Violations Noted

KITCHEN/DINING AREA

Dishwasher Area

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screens don’t fit the windows

Main Kitchen

No Violations Noted

Kettles

105 CMR 451.353	Interior Maintenance: Floor damaged by mixer

Cooler 1

No Violations Noted

1199 Walk-In – Cooler 2

No Violations Noted

1194 Walk-In – Cooler 3

No Violations Noted

Slop Sink/Electrical Room

No Violations Noted

Dry Storage

No Violations Noted

Tool Crib

No Violations Noted

Storage

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Diet Area

No Violations Noted

Old Bakery

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling not

smooth

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wooden blocks used to lift pizza

oven 6 inches off floor

Dining Area

No Violations Noted

Janitor’s Closet

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Door damaged

Staff Bathroom

No Violations Noted

Storage Area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

Women’s Room

105 CMR 451.123	Maintenance: Wooden child changing table not easily sanitized

Strip Room

No Violations Noted

Basement

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Freezer 1

No Violations Noted

Freezer 2

105 CMR 451.123*	Maintenance: Ceiling paint peeling

Cooler 5 Garbage

105 CMR 451.123*	Maintenance: Ceiling paint peeling

Dry Storage

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screens not installed in exterior 	windows

105 CMR 451.123*	Maintenance: Emergency light damaged outside doorway

105 CMR 451.123*	Maintenance: Electric wires hanging from ceiling in many areas

105 CMR 451.123*	Maintenance: Floor expansion joins not sealed

Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint peeling

MEAT PLANT

105 CMR 451.126*	Water Supply: No hot water supplied to building

Basement

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Floor damaged

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 710F

105 CMR 451.350*	Structural Maintenance: Door rubbing floor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cracked sink

Office 2

105 CMR 451.123	Maintenance: Door knob missing

Staff Bathroom

105 CMR 451.126*	Water Supply: No hot water

Office 3

105 CMR 451.353*	Interior Maintenance: Missing electrical covers

Office 1

No Violations Noted

Office 4

No Violations Noted

Passage Area

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

Outside Cooler North

105 CMR 451.353*	Interior Maintenance: Some lights not working

Outside Cooler South

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Some lights not working

105 CMR 451.350	Structural Maintenance: Entry door damaged

Observations and Recommendations

- The inmate population was 1405 at the time of inspection.

- The Department recommends that all rooms have a number painted on the door frame for location purposes.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Charles Kaniecki

District Health Officer, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Robert Fournier, EHSO

James Garreffi, Director, Shirley Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea Cabral, Secretary, Executive Office of Public Safety