The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-695-7414

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Acting Commissioner

Tel: 617-624-6000

www.mass.gov/dph

CHARLES D. BAKER

Governor

KARYN E. POLITO

Lieutenant Governor

August 25, 2021

Michael Rodrigues, Superintendent

MCI Shirley

P.O. Box 1218

Shirley, MA 01464		(electronic copy)

Re: Facility Inspection – MCI Shirley

Dear Superintendent Rodrigues:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and          105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of MCI Shirley on August 18 and 19, 2021 accompanied by Officer Anthony Brooks. Violations noted during the inspection are listed below including 403 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Kerry Wagner, MPH

Environmental Analyst, CSP, BEH

cc: 	Margret R. Cooke, Acting Commissioner, DPH

Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Terrence Reidy, Acting Secretary, EOPSS					(electronic copy)

Timothy Gotovich, Acting Director, Policy Development and Compliance Unit 	(electronic copy)

Jessica Caffin, EHSO/FSO  							(electronic copy)

Anthony Brooks, EHSO/FSO							(electronic copy)

James Garreffi, RS, CHO, Director, Nashoba Associated Boards of Health	(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Administration Building

Main Entry

No Violations Noted

Visiting Male Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Visiting Female Bathroom

105 CMR 451.123*	Maintenance: Exterior of changing table dirty

105 CMR 451.123*	Maintenance: Top of heater rusted

Visiting Area/Vending Machine

No Violations Noted

Administration Area

Operations Rooms (2)

No Violations Noted

Shift Commander’s Office

No Violations Noted

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Female Staff Locker Room

No Violations Noted

Male Staff Locker Room

105 CMR 451.123*	Maintenance: Floor surface damaged near toilet stalls

105 CMR 451.123	Maintenance: Ceiling dirty around ceiling vents

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent damaged

Female Staff Bathroom

No Violations Noted

Roll Call Room

No Violations Noted

Male Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, mold observed on refrigerator gaskets

Offices

No Violations Noted

Front Control

No Violations Noted

Control Bathroom

No Violations Noted

Housing Units

A-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.350	Structural Maintenance: Roof leaking

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained and missing

105 CMR 451.353	Interior Maintenance: Ceiling dirty around ceiling vents

Cells

105 CMR 451.141	Screens: Screen damaged in cell # 23 and 56

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 4, 15, 16, 31, 36, and 40

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 2, 17, 18, 20, 22, 32, 35, 37, 47, and 60

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 19, 48, 49, 50, 53, and 55

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 5, 7, 23, 25, 34, 41, and 58

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 13, 42, 44, and 57

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 4, 5, 12, 16, 31, 33, 35, 36, 40, 45, 47, 49, 50, 54, 58, 59, and 60

105 CMR 451.353*	Interior Maintenance: Toilet paper holder missing on side of toilet in cell # 42

105 CMR 451.353	Interior Maintenance: Face plate missing for coaxial cable in cell # 24 and 38

Upper Level Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, C, D, and E

105 CMR 451.123	Maintenance: Debris on floor in shower B, D, and E

105 CMR 451.123*	Maintenance: Wall paint damaged in shower A, B, C, D, and E

105 CMR 451.123	Maintenance: Walls dirty in shower B

105 CMR 451.123*	Maintenance: Door paint damaged in shower A

105 CMR 451.123	Maintenance: Door paint damaged in shower E

105 CMR 451.123	Maintenance: Door frame rusted in shower C and E

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower A and B

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower D

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower A and B

Upper Janitor’s Closet

Unable to Inspect – Locked

Lower Level Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower F, H, and J

105 CMR 451.123	Maintenance: Wall paint damaged in shower G and I

105 CMR 451.123	Maintenance: Mold observed on wall in shower G

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, G, H, I, and J

105 CMR 451.123	Maintenance: Floor dirty in shower H and J

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower F

105 CMR 451.123	Maintenance: Ceiling damaged around light fixture in shower H

105 CMR 451.123*	Maintenance: Door frame rusted in shower J

105 CMR 451.123	Maintenance: Door frame rusted in shower I

105 CMR 451.123	Maintenance: Door paint damaged in shower F and I

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

Unable to Inspect – Locked

A-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 7 and 53

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 17, 21, 37, 41, 42, and 43

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 11, 42, 51, 52, and 57

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 15

Upper Level Showers

105 CMR 451.123*	Maintenance: Door frame rusted in shower A

105 CMR 451.123	Maintenance: Door frame rusted in shower B

105 CMR 451.123	Maintenance: Door paint damaged in shower A, B, C, and E

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower B leaking

Upper Janitor’s Closet

Unable to Inspect – Locked

Lower Level Showers	Unable to Inspect Shower F and G – Under Construction

105 CMR 451.123*	Maintenance: Door frame rusted in shower J

105 CMR 451.123	Maintenance: Door frame rusted in shower H and I

105 CMR 451.123	Maintenance: Door rusted in shower H, I, and J

Lower Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Standing water observed in bucket

105 CMR 451.353	Interior Maintenance: Sink basin cracked

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

Unable to Inspect – Locked

B-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Cells

105 CMR 451.353*	Interior Maintenance: Wall damaged around bed support in cell # 32

105 CMR 451.353	Interior Maintenance: Floor tile damaged in cell # 5 and 9

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 14

Upper Level Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower A, B, C, D, and E

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, C, D, and E

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower C and D

105 CMR 451.123*	Maintenance: Door paint damaged in shower A and C

105 CMR 451.123	Maintenance: Door paint damaged in shower E

105 CMR 451.123*	Maintenance: Door frame rusted in shower A

105 CMR 451.123	Maintenance: Door frame rusted in shower D

105 CMR 451.123*	Maintenance: Sprinkler shroud rusted in shower A and C

105 CMR 451.123	Maintenance: Sprinkler shroud rusted in shower E

105 CMR 451.123	Maintenance: Strong odor in shower B

Upper Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123*	Maintenance: Wall damaged in shower G and H

105 CMR 451.123	Maintenance: Wall damaged in shower F

105 CMR 451.123*	Maintenance: Wall paint damaged in shower I and J

105 CMR 451.123	Maintenance: Mold observed on walls in shower F

105 CMR 451.123*	Maintenance: Floor paint damaged in shower G, H, I, and J

105 CMR 451.123	Maintenance: Floor paint damaged in shower F

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower G and H

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower F

105 CMR 451.123	Maintenance: Bottom of door damaged in shower H

105 CMR 451.123*	Maintenance: Door frame rusted in shower J

105 CMR 451.123	Maintenance: Door frame rusted in shower F, G, and I

105 CMR 451.123	Maintenance: Door paint damaged in shower G

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower H leaking

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, refrigerator in bathroom

Staff Office

Unable to Inspect – Locked

B-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.350	Structural Maintenance: Roof leaking

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained and missing

Cells

105 CMR 451.353*	Interior Maintenance: Floor tile missing in cell # 18

105 CMR 451.353	Interior Maintenance: Floor tile damaged in cell # 6 and 7

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 10, 13, 14, and 16

105 CMR 451.353	Interior Maintenance: Pooling water on floor outside cell # 51

Upper Level Showers

105 CMR 451.123*	Maintenance: Ceiling paint damaged shower D

105 CMR 451.123	Maintenance: Ceiling paint damaged shower A

105 CMR 451.123*	Maintenance: Hole in wall board in shower B

105 CMR 451.123*	Maintenance: Screws missing from wall board in shower C

105 CMR 451.123	Maintenance: Screws missing from wall board in shower E

105 CMR 451.123	Maintenance: Wall paint damaged in shower A, D, and E

105 CMR 451.123*	Maintenance: Door paint damaged in shower C

105 CMR 451.123	Maintenance: Door paint damaged in shower B and E

105 CMR 451.123*	Maintenance: Door frame rusted in shower C

105 CMR 451.123	Maintenance: Door frame rusted in shower B and D

105 CMR 451.123	Maintenance: Bottom of door damaged in shower D

105 CMR 451.123*	Maintenance: Floor paint damaged in shower B

105 CMR 451.123	Maintenance: Floor paint damaged in shower A, C, D, and E

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower A, B, and E

105 CMR 451.123*	Maintenance: Sprinkler shroud rusted in shower C and D

105 CMR 451.353	Interior Maintenance: Floor dirty outside shower A and B

Upper Janitor’s Closet

Unable to Inspect – Locked

Lower Level Showers

105 CMR 451.123*	Maintenance: Ceiling leaking in shower F

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower H

105 CMR 451.123*	Maintenance: Wall paint damaged in shower F, G, H, I, and J

105 CMR 451.123*	Maintenance: Wall dirty in shower J

105 CMR 451.123	Maintenance: Wall dirty in shower H and I

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, G, H, I, and J

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower H

105 CMR 451.123	Maintenance: Door frame rusted in shower F, G, I, and J

105 CMR 451.123*	Maintenance: Sprinkler shroud rusted in shower I and J

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1270F in shower F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower I leaking

105 CMR 451.123	Maintenance: Strong odor present in shower H

105 CMR 451.123	Maintenance: Light out in shower H

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

Unable to Inspect – Locked

C-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 6, 31, and 41

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 4, 5, 7, 9, 11, 14, 15, 16, 18, 21, 23, 25, 26, 32, 36, 37, 42, 45, 55, 59, and 60

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 36 and 55

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 6 and 7

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 10, 11, 12, 13, 15, 16, 17, 19, 20, 21, 22, 25, 26, 27, 29, 30, 34, 53, 54, and 56

105 CMR 451.353*	Interior Maintenance: Toilet paper holder missing on side of toilet in cell # 38

Upper Level Showers	Unable to Inspect Shower D and E – Under Construction

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower A

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower C

105 CMR 451.123*	Maintenance: Sprinkler shroud rusted in shower B

105 CMR 451.123	Maintenance: Sprinkler shroud rusted in shower C

Upper Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1200F in shower J

105 CMR 451.123	Maintenance: Bottom of door damaged in shower J

105 CMR 451.123	Maintenance: Door rusted in shower F, G, H, and J

105 CMR 451.123	Maintenance: Door paint damaged in shower F

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

Unable to Inspect – Locked

C-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.350*	Structural Maintenance: Roof leaking

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

105 CMR 451.353	Interior Maintenance: Ceiling dirty around ceiling vents

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 13

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 9, 24, 56, and 60

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 3, 11, 14, 23, 26, 36, and 58

105 CMR 451.353	Interior Maintenance: Wall paint damaged above window in cell # 47

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 5 and 12

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 1, 6, 8, 14, 57, and 60

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 41

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 13

105 CMR 451.353	Interior Maintenance: Wall dirty outside cell # 40

Upper Level Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower A, B, and C

105 CMR 451.123	Maintenance: Wall paint damaged in shower D and E

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, and C

105 CMR 451.123	Maintenance: Floor paint damaged in shower D and E

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower B, C, and D

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower A and C

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower D and E

105 CMR 451.123*	Maintenance: Mold observed on ceiling in shower A, B, and C

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower D and E

105 CMR 451.123*	Maintenance: Bottom of door damaged in shower A and B

105 CMR 451.123	Maintenance: Bottom of door damaged in shower C and D

Upper Janitor’s Closet

No Violations Noted

Lower Level Shower

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, G, H, and I

105 CMR 451.123	Maintenance: Floor paint damaged in shower J

105 CMR 451.123*	Maintenance: Floor dirty in shower F

105 CMR 451.123*	Maintenance: Wall paint damaged in shower F, G, H, and I

105 CMR 451.123	Maintenance: Wall paint damaged in shower J

105 CMR 451.123	Maintenance: Wall rust stained in shower F

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower G, H, and I

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower J

105 CMR 451.123*	Maintenance: Mold observed on ceiling in shower I

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower J

105 CMR 451.123*	Maintenance: Door frame rusted in shower H

105 CMR 451.123	Maintenance: Door paint damaged in shower G, I, and J

105 CMR 451.123	Maintenance: Sprinkler shroud rusted in shower H

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1240F in shower F

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F

Staff Office

Unable to Inspect – Locked

D-1

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained and missing

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 17

105 CMR 451.350*	Structural Maintenance: Ceiling leaking in cell # 37

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 13 and 38

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 1, 13, and 31

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 41 and 56

Upper Level Showers

105 CMR 451.123	Maintenance: Wall epoxy damaged in shower B

105 CMR 451.123	Maintenance: Door damaged at bottom in shower A, B, and C

105 CMR 451.123	Maintenance: Floor dirty in shower C

Upper Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123*	Maintenance: Bottom of door damaged in shower G and J

105 CMR 451.123	Maintenance: Door paint damaged in shower I

105 CMR 451.123	Maintenance: Mold observed on door in shower I

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower F and G

Lower Level Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

Unable to Inspect – Locked

D-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained and missing

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 2, 4, 7, 24, and 43

105 CMR 451.353*	Interior Maintenance: Wall paint damaged above window in cell # 55

105 CMR 451.353*	Interior Maintenance: Crack in wall in cell # 18

105 CMR 451.353	Interior Maintenance: Floor tile damaged in cell # 2, 5, 25, and 26

Upper Level Showers	Unable to Inspect Shower E – In Use

105 CMR 451.123*	Maintenance: Wall paint damaged in shower A, B, C, and D

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, C, and D

105 CMR 451.123*	Maintenance: Door frame rusted in shower C

105 CMR 451.123	Maintenance: Door frame rusted in shower A

105 CMR 451.123	Maintenance: Bottom of door damaged in shower B

105 CMR 451.123*	Maintenance: Mold observed on ceiling in shower A and B

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower C and D

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower B and D

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower C leaking

Upper Janitor’s Closet

105 CMR 451.360	Protective Measures: Rodent droppings observed

Lower Level Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, G, H, I, and J

105 CMR 451.123	Maintenance: Floor dirty in shower I

105 CMR 451.123*	Maintenance: Wall paint damaged in shower G and J

105 CMR 451.123	Maintenance: Wall paint damaged in shower F

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower H and J

105 CMR 451.123*	Maintenance: Small hole in ceiling in shower I

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower G

105 CMR 451.123*	Maintenance: Door frame rusted in shower J

105 CMR 451.123	Maintenance: Door frame rusted in shower F and G

105 CMR 451.123	Maintenance: Bottom of door damaged in shower F

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

Unable to Inspect – Locked

E-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, double bunked cells

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 1, 8, 11, 13, 20, 26, 29, and 51

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 12, 15, 16, 17, 18, 28, 32, 33, 35, 40, and 46

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 29

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 6, 9, 10, and 24

Upper Level Shower	Unable to Inspect Shower D – In Use

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, and E

105 CMR 451.123	Maintenance: Floor paint damaged in shower C

105 CMR 451.123	Maintenance: Bottom of door damaged in shower B and E

105 CMR 451.123	Maintenance: Door frame rusted in shower E

105 CMR 451.123	Maintenance: Shower B generally dirty

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower C and E

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water leaking from handle in    shower E

Upper Janitor’s Closet

Unable to Inspect – Locked

Lower Level Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, G, H, and I

105 CMR 451.123	Maintenance: Wall paint damaged in shower F and G

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower F

105 CMR 451.123	Maintenance: Door rusted in shower F, H, and I

105 CMR 451.123	Maintenance: Door paint damaged in shower G

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower J leaking

105 CMR 451.123	Maintenance: Shower head missing in shower J

Lower Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water left in bucket

Staff Bathroom

105 CMR 451.123	Maintenance: Front cover missing on fan

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1350F

Staff Office

Unable to Inspect – Locked

E-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.350*	Structural Maintenance: Roof leaking

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing and water stained

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior and exterior of microwave oven dirty

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 1, 18, 19, and 60

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 2, 14, 32, 45, 49, 51, and 55

105 CMR 451.353	Interior Maintenance: Wall and ceiling paint damaged near window in cell # 41 and 43

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 8 and 10

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 3 and 39

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 49

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 51

Upper Level Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, D, and E

105 CMR 451.123	Maintenance: Floor paint damaged in shower C

105 CMR 451.123	Maintenance: Floor dirty in shower A, B, and C

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower B

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower C and E

105 CMR 451.123	Maintenance: Light shield missing in shower A

105 CMR 451.123	Maintenance: Wall paint damaged in shower C, D, and E

105 CMR 451.123	Maintenance: Walls dirty in shower B, C, and E

105 CMR 451.123	Maintenance: Bottom of door damaged in shower D and E

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower C leaking

Upper Janitor’s Closet

Unable to Inspect – Locked

Lower Level Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower G, H, I, and J

105 CMR 451.123	Maintenance: Floor dirty in shower F and I

105 CMR 451.123*	Maintenance: Wall paint damaged in shower F

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower G, H, and J

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower H and J

105 CMR 451.123	Maintenance: Shower hose damaged and shower head missing in shower F

105 CMR 451.123	Maintenance: Bottom of door damaged in shower J

Lower Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Standing water in bucket

105 CMR 451.353	Interior Maintenance: Strong odor present

Control Area

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Cover of fan missing

Staff Office

Unable to Inspect – Locked

F-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.350*	Structural Maintenance: Roof leaking

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained and missing

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 2 and 43

105 CMR 451.353	Interior Maintenance: Floor tile damaged in cell # 16, 22, 24, 28, and 38

105 CMR 451.353	Interior Maintenance: Wall paint damaged above window in cell # 41

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 11 and 21

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 15, 19, 24, 30, and 31

105 CMR 451.353	Interior Maintenance: Face plate for coaxial cable damaged in cell # 3

105 CMR 451.353	Interior Maintenance: Face plate for coaxial cable not secured to wall in cell # 60

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 48, 54, and 57

Upper Level Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower B, D, and E

105 CMR 451.123	Maintenance: Mold observed on wall in shower A

105 CMR 451.123*	Maintenance: Floor paint damaged in shower B, C, D, and E

105 CMR 451.123	Maintenance: Floor paint damaged in shower A

105 CMR 451.123	Maintenance: Floor dirty in shower E

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower D and E

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower B

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower B, C, and D

105 CMR 451.123*	Maintenance: Bottom of door damaged in shower B

105 CMR 451.123	Maintenance: Bottom of door damaged in shower A

105 CMR 451.123	Maintenance: Door frame rusted in shower A, C, D, and E

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover not secured in shower C

Upper Janitor’s Closet

Unable to Inspect – Locked

Lower Level Showers	Unable to Inspect Shower G and J – In Use

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, H, and I

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower H

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower F

105 CMR 451.123	Maintenance: Bottom of door damaged in shower H

Lower Janitor’s Closet

105 CMR 451.360	Protective Measures: Rodent droppings observed

Control Area

No Violations Noted

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1360F

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Staff Office

Unable to Inspect – Locked

F-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Cells

105 CMR 451.353	Interior Maintenance: Floor tile damaged in cell # 6, 15, and 16

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 4, 16, 28, and 37

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 15, 22, 42, 49, 50, and 54

105 CMR 451.353	Interior Maintenance: Face plate for coaxial cable damaged in cell # 31

105 CMR 451.353	Interior Maintenance: Face plate for coaxial cable missing in cell # 58

Upper Level Showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower E leaking

105 CMR 451.123*	Maintenance: Floor paint damaged in shower C and E

105 CMR 451.123	Maintenance: Floor paint damaged in shower A, B, and D

105 CMR 451.123	Maintenance: Wall paint damaged in shower A, B, and D

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower E

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower B, C, and D

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower D

105 CMR 451.123*	Maintenance: Door paint damaged in shower C

105 CMR 451.123	Maintenance: Door paint damaged in shower B and D

105 CMR 451.123	Maintenance: Bottom of door damaged in shower A and B

Upper Janitor’s Closet

Unable to Inspect – Locked

Lower Level Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower H and J

105 CMR 451.123	Maintenance: Floor paint damaged in shower I

105 CMR 451.123	Maintenance: Missing shower head in shower H

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower G

Lower Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Fan missing front cover

Control Area

No Violations Noted

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1380F

Staff Office

Unable to Inspect – Locked

RHU Building

105 CMR 451.350*	Structural Maintenance: Roof leaking throughout building

Entrance

No Violations Noted

Visiting Room

105 CMR 451.353	Interior Maintenance: Wall water stained in booth # 4

Medical Room # 901

105 CMR 451.360	Protective Measures: Rodent droppings observed in closet

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.353	Interior Maintenance: Pooling water on countertop

Staff Bathroom # 902

Unable to Inspect – In Use

Utility Storage # 903

No Violations Noted

Strip Search Room # 905

No Violations Noted

Captain’s Office # 906

No Violations Noted

Lieutenant’s Office # 908

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

Janitor’s Closet # 907

105 CMR 451.353	Interior Maintenance: Pooling water on floor

Move Team Room # 909

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

105 CMR 451.353*	Interior Maintenance: Back wall water damaged

105 CMR 451.353	Interior Maintenance: Pooling water on floor

Control # 904

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor tile damaged under toilet

RHU 1

105 CMR 451.350*	Structural Maintenance: Roof leaking

105 CMR 451.353*	Interior Maintenance: Ceiling tiles significantly water stained

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Pooling water on floor outside entrance to RHU 1

Sergeant’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave oven dirty

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 25

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 13

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in lower level cells

105 CMR 451.353*	Interior Maintenance: Toilet paper holder missing on side of toilet in cell # 25, 28, and 29

105 CMR 451.353	Interior Maintenance: Pooling water on floor outside cell # 3, 26, 27, and 30

105 CMR 451.353	Interior Maintenance: Ground water leaking into cell # 2

Upper Level Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower D and E

105 CMR 451.123	Maintenance: Mold observed on floor and wall in shower E

105 CMR 451.123	Maintenance: Floor and wall dirty in shower D

Upper Level Closet

105 CMR 451.360	Protective Measures: Rodent droppings observed

Lower Level Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower A

105 CMR 451.123	Maintenance: Wall paint damaged in shower C

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, and C

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower A

105 CMR 451.123	Maintenance: Mold observed on floor in shower B and C

105 CMR 451.123	Maintenance: Mold observed on walls in shower A and C

105 CMR 451.123	Maintenance: Soap scum observed on bench and grab bar in shower A

105 CMR 451.123*	Maintenance: Soap scum observed on floor in shower A

105 CMR 451.123	Maintenance: Door paint damaged in shower C

105 CMR 451.123	Maintenance: Door frame rusted in shower C

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1200F in shower A

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower C leaking

Back Stairwell to Recreation Deck

105 CMR 451.350	Structural Maintenance: Ceiling actively leaking

105 CMR 451.353	Interior Maintenance: Pooling water down the stairs and floor leading to recreation deck

105 CMR 451.353	Interior Maintenance: Rainwater leaking over conduit and emergency exit sign

RHU 2

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.353	Interior Maintenance: Pooling water on floor outside entrance to RHU 2

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

105 CMR 451.353*	Interior Maintenance: Wall separating RHU1 and RHU2 cracked

105 CMR 451.353	Interior Maintenance: Toilet paper observed on wall separating RHU1 and RHU2

Cells				Unable to Inspect Cell # 13 -15 – Under Construction

105 CMR 451.103	Mattresses: Mattress damaged in cell # 20 and 25

105 CMR 451.353*	Interior Maintenance: Towel holder missing on side of toilet in cell # 1, 3, 4, 17, 19, 20, and 25

105 CMR 451.353	Interior Maintenance: Towel holder missing on side of toilet in cell # 2

Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower E

105 CMR 451.123	Maintenance: Floor dirty in shower A, B, C, and E

105 CMR 451.123	Maintenance: Soap scum on walls in shower C

105 CMR 451.123	Maintenance: Pooling water on floor outside shower D

Law Library

No Violations Noted

Rec Cages # 1 and 2

105 CMR 451.360*	Protective Measures: Dead birds stuck in fencing for RHU 2

Nursing Care Unit

105 CMR 451.350*	Structural Maintenance: Exterior ramps near back loading dock damaged

105 CMR 451.350*	Structural Maintenance: Exterior black and tan side panels near back loading dock protruding out away from the building

Booking

Officer’s Area

No Violations Noted

Holding Cell # 1-3

105 CMR 451.126*	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink in holding cell # 1

Strip Room # 1053

No Violations Noted

Assisted Daily Living (ADL)

Laundry Room # 1048

105 CMR 451.360	Protective Measures: Rodent droppings observed

Staff Bathroom # 1049

Unable to Inspect – In Use

Holding/Interview Room

No Violations Noted

Day Room # 1044

105 CMR 451.353	Interior Maintenance: Ceiling damaged near ceiling vent

ADL Dorm

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

ADL Dorm Shower Rooms (2) 	Unable to Inspect Left Side Shower – In Use

No Violations Noted

ADL Officer’s Office # 1040

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Inmate Bathroom # 1041

105 CMR 451.123	Maintenance: Faucet corroded

105 CMR 451.123	Maintenance: Ceiling vent dusty

Janitor’s Closet # 1045

No Violations Noted

Cell # 2A

No Violations Noted

Cell # 1A

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Holding Cell

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Baseboard missing

Additional Holding Cell

No Violations Noted

Trauma Room # 1023

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.353	Interior Maintenance: Pooling water on bed and floor

Exterior Door near Trauma Room

105 CMR 451.350	Structural Maintenance: Exterior door not rodent and weathertight, bottom of door damaged

Medical Room/Med Line Room

Unable to Inspect – Locked

Holding Cages

No Violations Noted

Med Line

105 CMR 451.350*	Structural Maintenance: Door leading to exterior not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Exterior entrance ramp damaged

105 CMR 451.353*	Interior Maintenance: Door frame rusted

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Sink dirty

105 CMR 451.353	Interior Maintenance: Floor and walls dirty

HSO Staff Office

No Violations Noted

CO Out-Patient & Holding Cell

No Violations Noted

Treatment Room # 1028

No Violations Noted

Optical Room # 1029

105 CMR 451.340*	Illumination: Insufficient lighting, light out

Dental Office

105 CMR 451.126	Hot Water: Hot water temperature recorded at 790F

Sterilization Room # 1031A

Unable to Inspect – Locked

Office # 1030, 1032, 1033, 1035, and 1037

No Violations Noted

Male Staff Bathroom # 1034

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Staff Bathroom # 1036

105 CMR 451.123	Maintenance: Ceiling vent dusty

Health Services Administrator’s Office # 1037

No Violations Noted

Medical Records # 1038

No Violations Noted

Inmate Bathroom # 1020

No Violations Noted

Phlebotomy # 1018

No Violations Noted

PT Room # 1017

No Violations Noted

X-Ray Room # 1015

No Violations Noted

Med Storage Room # 1014

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions for fire safety, items stored within 18 inches of ceiling

Dialysis Unit # 124

105 CMR 451.353	Interior Maintenance: Wall water damaged

105 CMR 451.353	Interior Maintenance: Sink dirty

Staff Dining Room # 1013

No Violations Noted

Biohazard Storage # 1012

105 CMR 480.100(C)(1)	Storage Area: Storage area did not have prominent signage

Staff Break/Kitchen Area # 1011

105 CMR 451.353*	Interior Maintenance: Interior of sink cabinet water damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet corroded

Cell # 102 - 109

105 CMR 451.353*	Interior Maintenance: Ceiling tile supports rusted in cell # 108

105 CMR 451.353*	Interior Maintenance: Ceiling rusted in cell # 107

105 CMR 451.353	Interior Maintenance: Ceiling rusted in cell # 106

105 CMR 451.353*	Interior Maintenance: Ceiling vent rusted in cell # 109

105 CMR 451.353*	Interior Maintenance: Baseboard missing in cell # 108

105 CMR 451.353	Interior Maintenance: Baseboard damaged in cell # 103 and 106

105 CMR 451.353*	Interior Maintenance: Wall access panel rusted in cell # 106

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in cell # 109

105 CMR 451.353	Interior Maintenance: Floor damaged outside cell # 102 and 103

Showers (Left and Right)

105 CMR 451.123*	Maintenance: Grout missing between floor tiles in left and right shower

105 CMR 451.123	Maintenance: Ceiling vent dusty in left and right side shower

105 CMR 451.123	Maintenance: Ceiling vents not functioning properly

Staff Bathroom (Left and Right)	Unable to Inspect Left Side Bathroom – No Longer in Use

105 CMR 451.123	Maintenance: Ceiling vent dusty

Linen Storage Room # 1002

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions for fire safety, items stored within 18 inches of ceiling

Day Room # 129	Did Not Inspect Shower – No Longer In Use

No Violations Noted

Visiting Room # 1001

No Violations Noted

Room # 128

No Violations Noted

Dorm # 127

105 CMR 451.360	Protective Measures: Rodent droppings observed

105 CMR 451.123	Maintenance: Soap scum observed on shower walls

105 CMR 451.353	Interior Maintenance: Wall water damaged left of shower

Dorm # 126

105 CMR 451.353*	Interior Maintenance: Wall damaged by toilet

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Baseboard missing near toilet

Janitor’s Closet # 1009

No Violations Noted

Oxygen Storage Room # 1009A

105 CMR 451.360	Protective Measures: Rodent droppings observed

Janitor’s Closet # 1010

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

Dorm # 125

105 CMR 451.353	Interior Maintenance: Strong odor present

# Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

Food Service Building

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor has pulled away from the walls throughout the building

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor not secured

to walls

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, the outside wall near the Inmate entrance ramp is protruding out away from the building

Inmate Dining Area

FC 6-202.15(A)(3)	Design, Construction, and Installation; Functionality: Outer openings not protected against the entry of insects and rodents, entrance door not tight-fitting

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of rodents, rodent droppings observed on table storing dry goods

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Nonfood contact surfaces of equipment dirty, spilled food observed on tables storing dry goods

FC 3-302.11(A)(4)	Preventing Contamination after Receiving; Preventing Food and Ingredient Contamination: Food not appropriately covered, box of lentils left uncovered

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged throughout dining area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, unfinished wood exposed under damaged floor

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged throughout dining area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall board damaged throughout dining area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, window and window sill damaged

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions for fire safety, items stored within 18 inches of ceiling

Serving Area

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged in serving line and covered with metal plate

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on 2-door warmers on both serving lines

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Nonfood contact surfaces of equipment dirty, mold observed on gaskets of hot holding units

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Nonfood contact surfaces of equipment dirty, interior of stationary and mobile hot holding units dirty near second serving line

FC 4-901.11(A)	Protection of Clean Items; Drying: Cleaned, sanitized equipment and utensils not allowed to fully air dry before contact with food, trays wet

Dish Washing Area

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, food grinder out-of-order and corroded

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling panels rusted

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, window sill damaged near warewash machine

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged near     3-compartment sink

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall board damaged and warped under 3-compartment sink

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, wash basin of 3-compartment sink leaking

Diet Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall board near handwash sink damaged

FC 4-903.11(B)(2) 	Protection of Clean Items; Storing: Equipment and Utensils not stored covered or inverted, single use utensils not kept covered

FC 4-901.11(A)*	Protection of Clean Items; Drying: Cleaned, sanitized equipment and utensils not allowed to fully air dry before contact with food, trays wet

Oven Area

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirtyPf, lid for rice container dirty

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, bottom oven of oven # 2 out-of-order

Grill/Kettle Area

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor surface damaged in front of kettles

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, column near kettle # 1 significantly damaged and supported by rotted wood

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 2 grilles and 2 kettles out-of-order

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling tiles and supports rusted

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, faceplate missing for GFCI outlet near kettles

2-Compartment Sink and Prep Area

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed

FC 6-501.14(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Ventilation system dirty, wall fan dusty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, wall dirty near 2-compartment sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet broken at 2-compartment sink

Handwash Sink

No Violations Noted

Back Oven Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty behind ovens

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling tiles rusted

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 2 ovens out-of-order

Food Director’s Office

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of rodents, rodent droppings observed on floor

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling tiles damaged

C.O.’s Office

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, window into office broken

Dry Storage

FC 3-305.11(A)(3)	Preventing Contamination from the Premises; Food Storage: Food not stored at least 6" off the ground, food items being stored on the ground

Walk-in Freezer # 2

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, floor buckling and uneven

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, light out

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice build-up observed on walls

Cooler

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, cooler door damaged

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, cement floor damaged throughout cooler

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, floor and wall separating in back left corner

Tool Crib

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant or shielded

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, lights not working

Electrical Room

No Violations Noted

Mop Sink Area

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Nonfood contact surfaces of equipment dirty, food debris built up in barrel washer

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall board separating from wall near toilet

105 CMR 451.123*	Maintenance: Pooling water observed in gap between floor and wall

105 CMR 451.123*	Maintenance: Hole in floor near door

105 CMR 451.123*	Maintenance: Ceiling damaged around vent

105 CMR 451.123*	Maintenance: Doorknob missing

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123	Maintenance: Door damaged and difficult to open

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall covering missing and mold observed on exposed wood outside Inmate Bathroom

Pig Cooler

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed outside Pig Cooler

Mop/Barrel Room

Did Not Inspect – No Longer In Use

Hallway near Loading Dock

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling leaking

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged throughout hallway

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, unfinished wood exposed under damaged floor

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, walls damaged throughout hallway

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged

Rear Loading Dock

FC 6-202.15(A)(3)	Design, Construction, and Installation; Functionality: Outer openings not protected against the entry of insects and rodents, door not tight-fitting, doors left open

Staff Bathroom – Left

No Violations Noted

Staff Bathroom – Right

No Violations Noted

Janitor’s Closet/Chemical Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall and storage shelf paint damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with State Building Code provisions for fire safety, items stored within 18 inches of ceiling

Dumpster

No Violations Noted

Culinary Arts

Kitchen

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, freezer out-of-order

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Nonfood contact surfaces of equipment dirty, mold observed on cooler gaskets

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, walls dirty around 3-compartment sink

FC 3-501.16(A)(2) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Time/temperature control for safety food not held at 41°F or lessP, pasta salad recorded at 68°F

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface of cooking equipment not free of encrusted grease deposits or other soil, trays on drying rack dirty

Dry Storage

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions for fire safety, items stored within 18 inches of ceiling in office

Dining Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged near door leading to exterior

FC 6-202.15(A)(3)	Design, Construction, and Installation; Functionality: Outer openings not protected against the entry of insects and rodents, entrance door not tight-fitting

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, window screens damaged

Property

105 CMR 451.353	Interior Maintenance: Ceiling water stained

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions for fire safety, items stored within 18 inches of ceiling

Bathroom

No Violations Noted

Laundry Area

No Violations Noted

Operations/Visiting Room

105 CMR 451.350*	Structural Maintenance: Exterior ramp to visiting area damaged

Visiting Area

No Violations Noted

Lawyer Visiting Rooms

Unable to Inspect – In Use

Storage Closets (2)

No Violations Noted

Staff Break Area # 421

No Violations Noted

Chemical Closet # 425

No Violations Noted

Inmate Bathroom

No Violations Noted

Male Bathroom # 414

No Violations Noted

Female Bathroom # 415

No Violations Noted

Janitor’s Closet # 413

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

Non-Contact Inmate Visiting Side

No Violations Noted

Non-Contact Visitors Side

No Violations Noted

Strip Room

105 CMR 451.353*	Interior Maintenance: Wiring to old speaker exposed

Operations

Bathroom # 407

No Violations Noted

Bathroom # 410

No Violations Noted

Janitor’s Closet # 405

105 CMR 451.353	Interior Maintenance: Access panel not secured shut

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Offices

No Violations Noted

IPS Office

No Violations Noted

Gym

105 CMR 451.350	Structural Maintenance: Ceiling leaking at back corner of basketball court

105 CMR 451.353*                    Interior Maintenance: Ceiling insulation damaged

105 CMR 451.353*	Interior Maintenance: Floor surface cracked in back of gym

Office

No Violations Noted

Utility Room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent and area around vent dusty

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Partitions rusted

105 CMR 451.123	Maintenance: Handwash sink rusted

Weight Room

No Violations Noted

Storage Room

105 CMR 451.353	Interior Maintenance: Ceiling water damaged

105 CMR 451.353	Interior Maintenance: Hole in ceiling

105 CMR 451.353	Interior Maintenance: Mold observed on ceiling

Outside Recreational Area

No Violations Noted

Vocational Education

Main Door

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight

Canteen Storage

No Violations Noted

Spectrum Room # 702

No Violations Noted

CPO Office

No Violations Noted

M.A.P. # 704

Unable to Inspect – Under Construction

Chapel # 705

No Violations Noted

Office E1

No Violations Noted

Office # 718

No Violations Noted

Classroom # 1-8

105 CMR 451.353*	Interior Maintenance: Light shield water stained in classroom # 5

105 CMR 451.353	Interior Maintenance: Wall paint damaged in classroom # 5

E-2 Offices

No Violations Noted

Barber Shop

Unable to Inspect – Locked

Sewing Shop # 728/726

No Violations Noted

Sewing Shop Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water handle leaking

Inmate Bathroom # 725

No Violations Noted

Storage Closet # 720

No Violations Noted

Staff Bathroom # 724

No Violations Noted

Janitor’s Closet # 723

105 CMR 451.353	Interior Maintenance: Wet mop stored in slop sink

Canteen Processing Room

Unable to Inspect – No Longer In Use

Exterior Door

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Education Building

Storage Rooms # 605 and 606

105 CMR 451.353	Interior Maintenance: Baseboard missing in room # 605

Office # 607

No Violations Noted

Staff Break Room # 601

No Violations Noted

School Storage Room # 604

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions for fire safety, items stored within 18 inches of ceiling

Offices # 602 and 603

No Violations Noted

Mop Closet # 608

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Inmate Bathroom # 610

No Violations Noted

Staff Bathroom # 611

No Violations Noted

Library

105 CMR 451.353	Interior Maintenance: Ceiling damaged in storage room # 616

105 CMR 451.353	Interior Maintenance: Window frame water damaged

Law Library # 609

No Violations Noted

Classroom # 617 - 624

No Violations Noted

Programs Building

Native American Spiritual Room # 501

No Violations Noted

Storage Room # 502

No Violations Noted

Buffer Room # 511

No Violations Noted

Program Room # 504

No Violations Noted

Protestant Chaplain’s Office

No Violations Noted

Utility Closet # 508

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Offices

No Violations Noted

Masjid

No Violations Noted

Pump Room # 555

105 CMR 451.360	Protective Measures: Rodent droppings observed

Inmate Bathroom # 515

105 CMR 451.123	Maintenance: Ceiling vent dusty

Muslim Chaplain’s Office

No Violations Noted

Offices/Conference Rooms

No Violations Noted

Male Bathroom # 526

No Violations Noted

Female Bathroom # 528

No Violations Noted

Parole Offices

No Violations Noted

Conference Room # 534

No Violations Noted

CPO’s Office/Additional Offices

No Violations Noted

Break Room # 542

No Violations Noted

Archive File Room # 542A

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.353	Interior Maintenance: Light fixture rusted

Mental Health Conference Room # 553

No Violations Noted

Mental Health Office’s

No Violations Noted

Maintenance/Industries/Laundry

Laundry

105 CMR 451.353*	Interior Maintenance: Ceiling damaged above washer # 1

Chase Behind Dryers

105 CMR 451.353	Interior Maintenance: Ceiling water damaged behind dryer units

Toxic/Caustic Room # 202

Unable to Inspect – Locked

Office

Unable to Inspect – Locked

Hazardous Storage # 208A

Unable to Inspect – Locked

Back Storage Area

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

Hallway to Maintenance

Staff Bathroom

105 CMR 451.123*	Maintenance: Pooling water under left side toilet

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 900F at left side handwash sink

105 CMR 451.123	Maintenance: Ceiling vent dusty

Inmate Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F

Utility Room # 205

105 CMR 451.353*	Interior Maintenance: Ceiling access panel missing

Janitor’s Closet # 206

No Violations Noted

Chemical & Supply Crib # 125

No Violations Noted

Loading Dock

No Violations Noted

Maintenance Office # 132

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Maintenance Shop

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, freezer door broken in Electrician’s office

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave oven dirty

Tool Crib

Unable to Inspect – No Access

Industries
105 CMR 451.353*	Interior Maintenance: Ceiling insulation damaged throughout area

105 CMR 451.353*	Interior Maintenance: Wall water damaged

105 CMR 451.353	Interior Maintenance: Water bubbler rusted

Storage Closet # 109

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water left in bucket

Male Staff Bathroom # 218

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1020F

Female Staff Bathroom # 219

No Violations Noted

Inmate Bathroom # 220

105 CMR 451.123	Maintenance: Wall left unfinished in old toilet stall area

Offices

No Violations Noted

Inmate Break Area

No Violations Noted

Finishing Room

Unable to Inspect - Locked

Towers

Tower 1

Lower Level, Vehicle Trap

No Violations Noted

Upper Area

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink

Tower 2

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1400F at handwash sink

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.350*	Structural Maintenance: Wall supports cracked on all 4 support corners within stairwell

Tower 3

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, mold observed on refrigerator gasket

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, handle to microwave and refrigerator broken

105 CMR 451.350*	Structural Maintenance: Exterior door rusted out at the bottom

105 CMR 451.353*	Interior Maintenance: Central column damaged on all floors

105 CMR 451.353*	Interior Maintenance: Paint damaged on lower level

105 CMR 451.353*	Interior Maintenance: Ceiling vent exhaust duct disconnected from vent

105 CMR 451.353*	Interior Maintenance: Hole in wall to the left of toilet

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

Warehouse

Hot Water Heating Room

105 CMR 451.350	Structural Maintenance: Roof leaking

105 CMR 451.353	Interior Maintenance: Hole in ceiling

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Medium Freezer

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, freezer not functioning properly

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice protruding from damaged ceiling

FC 3-305.12(I)	Preventing Contamination from the Premises; Food Storage: Food stored under other sources of contamination, ice build-up observed on several boxes from leak in damaged ceiling

Medium Walk-In Cooler

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, bottom of wall covered with unfinished wood or spray foam

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Meat Plant/New Mail Processing Area

1st Floor

Mail Processing Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Handicap Bathroom/Closet

No Violations Noted

Break Rooms

No Violations Noted

Staff Bathroom

No Violations Noted

File Cabinet Storage Area

No Violations Noted

Ramp to Basement

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight, bottom of door damaged

105 CMR 451.353*	Interior Maintenance: Wall damaged near bait station

105 CMR 451.360*	Protective Measures: Rodent feces observed on floor

Basement/Old Equipment Storage

No Violations Noted

Outside Freezer # 1

Unable to Inspect – Not In Use

Outside Cooler # 2

Unable to Inspect – Not In Use

Outside Freezer # 2

Unable to Inspect – Not In Use

Minimum Administration Building

105 CMR 451.350	Structural Maintenance: Exterior stairs and walkway damaged

1st Floor

Entrance

No Violations Noted

Deputy Superintendent’s Office

Unable to Inspect – Locked

Deputy’s Bathroom

Unable to Inspect – Locked

Crew Deployment Room # 101

Unable to Inspect – Locked

Security Equipment Room

Unable to Inspect – Locked

Lieutenant’s Office # 107

Unable to Inspect – Locked

Captain/Lieutenant’s Office # 105

Unable to Inspect – Locked

Parole # 103

Unable to Inspect – Locked

Auditorium/Visiting Room

No Violations Noted

Closet (in Auditorium)

No Violations Noted

Women’s Visiting Bathroom

No Violations Noted

Strip Search Room

Unable to Inspect – Locked

Closet

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover not secured in place

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

105 CMR 451.344*	Illumination in Habitable Areas: Lights not functioning properly, light out

Men’s Visiting Bathroom

105 CMR 451.123	Maintenance: Screen missing

105 CMR 451.123	Maintenance: Toilet paper holder broken

Closet (in Bathroom)

Unable to Inspect – Locked

Gym

105 CMR 451.353*	Interior Maintenance: Doorknob missing

105 CMR 451.350	Structural Maintenance: Windowpanes broken

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.350	Structural Maintenance: Exterior door not rodent and weathertight

Inmate Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 1 handwash sink out-of-order

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink # 2

Classrooms

105 CMR 451.141*	Screens: Screen missing and damaged in classroom # 5

105 CMR 451.141*	Screens: Screen missing in classroom # 2

105 CMR 451.353	Interior Maintenance: Window shade damaged in classroom # 1

105 CMR 451.353	Interior Maintenance: Ceiling heavily water damaged in classroom # 1

Office

Unable to Inspect – Locked

Mosque

Unable to Inspect – Locked

Barber Shop

Unable to Inspect – Locked

Office # 114

Unable to Inspect – Locked

Computer Lab

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

105 CMR 451.141	Screens: Screen missing

Closet

Unable to Inspect – Locked

Office # 110

No Violations Noted

Library # 108

Unable to Inspect – Locked

Chapel

105 CMR 451.353	Interior Maintenance: Ceiling water damaged outside Chapel

Basement

Classrooms (# 1-4)

No Violations Noted

Inmate Bathroom

No Violations Noted

Inmate Clubhouse (B4)

Unable to Inspect – Not in Use

Engraving Shop

Unable to Inspect – Locked

Caustic/Supply Room

105 CMR 451.353*	Interior Maintenance: Three exhaust fans no longer functioning

Property

Unable to Inspect – Not in Use

2nd Floor

EHSO Office # 202

No Violations Noted

Male Staff Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, cold water handle leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water handle leaking

Female Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water handle leaking

Training Room # 203

Unable to Inspect – Locked

Closets (2)

Unable to Inspect – Locked

IPS Office # 201

Unable to Inspect – Locked

Training Office

No Violations Noted

C.R.A. Office # 205

Unable to Inspect – Locked

IPS Office # 207

Unable to Inspect – Locked

Attic/3rd Floor

Unable to Inspect – Not Used

Observations and Recommendations

- The inmate population was 771 at the time of inspection.

- The new Food Service Building is still under construction and had received a pre-opening inspection from CSP staff on May 24, 2021. The CSP stated their concerns for the continued deterioration of the current Food Service Building. The CSP requests to be kept apprised of the anticipated opening of the new Food Service Building.

- The Warehouse walk-in freezer was no longer functioning properly, and a mobile freezer unit had been delivered. It was stated by warehouse staff that all food items being transferred to the mobile freezer unit would be inspected for evidence of temperature abuse or damage from excessive ice build-up and if observed, these items would be discarded.

- The kitchen exhaust system was not in compliance with the provisions for inspection, cleaning and labeling required by 527 CMR 11.00 Commercial Cooking Operations. The CSP recommends you contact the Department of Fire Services for further information.

- The Minimum facility was closed, and no inmates were being housed in the cottages or modular units. Most of the Minimum Administration Building was no longer in use and several areas of the building were locked. The CSP requests to be kept apprised if inmates return to the Minimum facility.

- At the time of inspection, the CSP recommended numbering/labeling all showers. This will assist the CSP and Department of Correction employees to better recognize where issues exist.

- At the time of the inspection, the CSP observed building # 2 and 4 continuing to deteriorate. The current state of these buildings constitutes a public nuisance and provides harborage for rodents and insects. The CSP is concerned with the structural instability of both buildings and the risks associated to the public if the buildings continue to collapse.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kerry Wagner, MPH													Environmental Analyst, CSP, BEH