The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center

Northampton, MA 01060

Telephone 413 586-7525, ext. 3167

Facsimile 413 784-1037

TTY 800 769-9991

charlie.kaniecki@state.ma.us

DEVAL L. PATRICK GOVERNOR JOHN W. POLANOWICZ SECRETARY EILEEN M. SULLIVAN ACTING COMMISSIONER

December 23, 2014

Kelly Ryan, Superintendent

MCI Shirley

P.O. Box 1218                                                                                                                                                               Shirley, MA 01464

Re: Facility Inspection – MCI Shirley

Dear Superintendent Ryan:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities. I conducted an inspection of MCI Shirley on December 1, 2 & 3, 2014 accompanied by Corey Hopkins, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 296 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

ADMINISTRATION BUILDING

Main Entry

No Violations Noted

Hallway

No Violations Noted

Male Bathroom

105 CMR 451.123*	Maintenance: Privacy barriers rusted

105 CMR 451.123	Maintenance: Three wall tiles damaged

Female Bathroom

No Violations Noted

Female Staff Locker Room

No Violations Noted

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

No Violations Noted

Mail Room

No Violations Noted

Male Bathroom 31

No Violations Noted

Shift Commander

No Violations Noted

Role Call Room

No Violations Noted

Female Bathroom 48

No Violations Noted

Male Bathroom 47

No Violations Noted

Break Room 38

No Violations Noted

Janitor’s Closet 46

105 CMR 451.353	Interior Maintenance: Pedestal fan missing ground plug

Vending Area 3

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

PROGRAMS BUILDING

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Archive File Room

No Violations Noted

Break Room

No Violations Noted

Room 106

Unable to Inspect – Locked

Mental Health Conference Room

FC 4-501.11(A)	 		Maintenance and Operation, Equipment: Equipment not maintained in a state

of good repair, refrigerator not maintained, needs defrosting

Inmate Bathroom

Unable to Inspect – In Use

Utility Room (C126)

No Violations Noted

Utility Closet

Unable to Inspect – Locked

EDUCATION BUILDING

Supply Room

No Violations Noted

Staff Break Room

FC 4-501.11(A)	 		Maintenance and Operation, Equipment: Equipment not maintained in a state

of good repair, refrigerator not maintained, needs defrosting

Inmate Bathroom

No Violations Noted

Mop Closet

No Violations Noted

Side Exit

No Violations Noted

Library

No Violations Noted

Staff Bathroom

No Violations Noted

Classroom 104

No Violations Noted

VOCATIONAL EDUCATION

Main Door

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

Canteen Storage

Unable to Inspect – Locked

Classroom

No Violations Noted

Barber Shop

No Violations Noted

CRA Room

No Violations Noted

Chapel

105 CMR 451.350*	Structural Maintenance: Double doors, not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Ceiling water stained

Classrooms

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Sewing Shop

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Double doors not rodent and weathertight

Bathroom (sewing shop)

No Violations Noted

Canteen Processing Room

Unable to Inspect – Locked

Exterior Door

105 CMR 451.350*	Structural Maintenance: Double doors, not rodent and weathertight

105 CMR 451.353*                     Interior Maintenance: Floor tiles damaged, some missing

105 CMR 451.353*                     Interior Maintenance: Floor tiles missing

Sewing Shop Storage Door

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Classroom 2

No Violations Noted

Staff Bathroom

No Violations Noted

OPERATIONS/VISITING ROOM

Visiting Area

No Violations Noted

Inmate Bathroom

No Violations Noted

Male Bathroom

105 CMR 451.123	Maintenance: Ceiling vent loose

Female Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Operations

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with State Building Code provisions on, boxes stored within 18 inches of ceiling

GYM

105 CMR 451.353*                    Interior Maintenance: Insulation falling from ceiling

105 CMR 451.350*	Structural Maintenance: All doors, not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Roof leaks

Weight Room

No Violations Noted

Office

FC 4-501.11(A)	 		Maintenance and Operation, Equipment: Equipment not maintained in a state

of good repair, refrigerator not maintained, needs defrosting

Utility Room

No Violations Noted

Janitor’s Closet

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall damaged behind door

105 CMR 451.123	Maintenance: Ceiling vent dusty

Inmate Bathroom

No Violations Noted

Storage Room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Roof leaks

OUTSIDE RECREATIONAL AREA

No Violations Noted

FOOD SERVICE

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor has pulled away from the walls throughout the building

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor not secured

to the walls

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, the outside wall near the inmate entrance ramp is protruding out away from the building

Inmate Dining Area

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

105 CMR 451.350	Structural Maintenance: Baseboard damaged

Serving Area

No Violations Noted

Dish Room

No Violations Noted

Grill Area

No Violations Noted

Mop Sink Area

No Violations Noted

Inmate Bathroom

No Violations Noted

FSDS Storage

No Violations Noted

Mop/Barrel Room

No Violations Noted

Pig Cooler

No Violations Noted

Tool Crib

No Violations Noted

Diet Area

No Violations Noted

Walk-In Freezer 2

No Violations Noted

Cooler

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, missing light

cover

Kettle Area

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged

Dry Storage

No Violations Noted

Hallway near Loading Dock

105 CMR 451.350	Structural Maintenance: Roof leaks

Rear Loading Dock

105 CMR 451.350*	Structural Maintenance: Floor damaged

Staff Bathroom – Left

Unable to Inspect – Locked

Staff Bathroom – Right

No Violations Noted

Janitor’s Closet

No Violations Noted

Dumpster

No Violations Noted

CULINARY ARTS

Kitchen

No Violations Noted

Dry Storage

No Violations Noted

Dining Area

No Violations Noted

PROPERTY

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions on, boxes stored within 18 inches of ceiling

Bathroom

No Violations Noted

Laundry Area

No Violations Noted

SMU BUILDING

Visiting Room

No Violations Noted

Triage Room

105 CMR 480.500(B)(2)*          Record-Keeping Log; Missing for biohazard waste

Captain’s Office

Unable to Inspect – Locked

Office

No Violations Noted

Staff Bathroom

No Violations Noted

Sergeant’s Office

No Violations Noted

Janitor’s Closet

No Violations Noted

Control

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

105 CMR 451.353*	Interior Maintenance: Missing light covers

105 CMR 451.350*	Structural Maintenance: Window in area # 2 cracked

Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles water stained

SMU 1

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained in block

Cells

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 28

Showers Lower Level

105 CMR 451.123*	Maintenance: Wall paint peeling in shower A, B, & C

105 CMR 451.123*	Maintenance: Floor paint peeling in shower A, B, & C

Showers Upper Level

105 CMR 451.123*	Maintenance: Shower dirty in shower D & E

105 CMR 451.123*	Maintenance: Floor paint peeling shower D & E

SMU 2

Law Library

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Walls paint peeling in cell # 7, 23, 27, & 30

105 CMR 451.353	Interior Maintenance: Walls paint peeling in cell # 5, 6, 9, 11, 19, 21, 22, & 29

Showers

105 CMR 451.123*	Maintenance: Ceiling dirty in shower A, B, & C

105 CMR 451.123	Maintenance: Walls dirty in shower A, B, & C

105 CMR 451.123*	Maintenance: Soap scum on walls in shower A, B, & C

105 CMR 451.123*	Maintenance: Paint peeling in shower A, C, D, & E

105 CMR 451.123	Maintenance: Window damaged in shower B

HSU BUILDING

Booking

Cell 2

No Violations Noted

Cell 3

No Violations Noted

Holding Cell

No Violations Noted

Strip Room

No Violations Noted

Assisted Daily Living (ADL)

Trauma Room

No Violations Noted

Medical Room

No Violations Noted

Main Ward

No Violations Noted

Day Room

No Violations Noted

Room 1

No Violations Noted

Room 2

No Violations Noted

Hallway

No Violations Noted

Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Cell 7

No Violations Noted

Med Line

No Violations Noted

Male Staff Bathroom 124

No Violations Noted

Female Staff Bathroom

No Violations Noted

Office 136

No Violations Noted

Treatment 1

No Violations Noted

Optical Room C 127

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No access to sink, blocked by

equipment

Staff Break Room

No Violations Noted

Inmate Bathroom 123

No Violations Noted

Hallway

No Violations Noted

Medical Records - Front

No Violations Noted

Medical Records - Back

No Violations Noted

Staff Room 103

No Violations Noted

Janitor’s Closet C114

No Violations Noted

Dental Office

Unable to Inspect – Locked

Medical Storage C118

No Violations Noted

Dorm 128

No Violations Noted

Dorm 127

105 CMR 451.123*	Maintenance: Wall damaged by shower area

Janitor’s Closet C111

No Violations Noted

Dorm 129

No Violations Noted

Dorm 126

No Violations Noted

Dorm 125

No Violations Noted

Dialysis Unit (124)

No Violations Noted

PT Room

No Violations Noted

Staff Bathroom

No Violations Noted

Showers

No Violations Noted

Kitchen (113)

No Violations Noted

Biohazard Storage

105 CMR 480.500(B)(2)*          Record-Keeping Log; Missing for biohazard waste

MAINTENANCE/INDUSTRIES/LAUNDRY

Laundry

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight, exterior door damaged at

bottom

105 CMR 451.353*	Interior Maintenance: Fan missing center shield

Toxic/Caustic Room 128

No Violations Noted

Office

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

Hazardous Storage

No Violations Noted

Hallway to Maintenance

105 CMR 451.353*	Interior Maintenance: Floor paint peeling

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Utility Room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

Loading Dock

No Violations Noted

Chemical & Supply Crib (125)

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Light shield missing

Janitor’s Closet

No Violations Noted

Office 132

No Violations Noted

Maintenance Shop

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

105 CMR 451.353*	Interior Maintenance: Wall paint peeling

HVAC Area

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with State Building Code provisions on, boxes stored within 18 inches of ceiling

Tool Crib

105 CMR 451.353*	Interior Maintenance: Wall paint peeling

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Appearance of a mold like substance on wall

105 CMR 451.350*	Structural Maintenance: Roof leaks

Industries (not in use)

No Violations Noted

Room 111

No Violations Noted

Storage Warehouse

No Violations Noted

Janitor’s Closet

No Violations Noted

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 80oF

Inmate Bathroom

No Violations Noted

TOWERS

Tower 1

Lower Level, Vehicle Trap

No Violations Noted

Upper Area

No Violations Noted

Tower 2

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.350*	Structural Maintenance: Door frame damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Chair damaged, back support

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 100oF

105 CMR 451.350*	Structural Maintenance: Wall supports cracked on all four support corners

Tower 3

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.353*	Interior Maintenance: Ceiling tile damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged next to toilet

105 CMR 451.353*                     Interior Maintenance: Baseboards damaged

105 CMR 451.350*	Structural Maintenance: Roof leaking

105 CMR 451.353*                     Interior Maintenance: Paint peeling, lower level

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaks

WAREHOUSE

105 CMR 451.344*                     Illumination in Habitable Areas: The side storage area lacks lighting

Medium Freezer

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, missing light

shield

Medium Walk-In Cooler

No Violations Noted

Hot Water Heating Room

No Violations Noted

Medium Bathroom

No Violations Noted

A-1 HOUSING

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged, near cell # 37

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Main block ceiling vent dusty

Control Area

105 CMR 451.353*	Interior Maintenance: Chair damaged

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 36

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 34

105 CMR 451.353*	Interior Maintenance: Wall paint peeling in cell # 2

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in cell # 34, 35, & 36

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling on walls in shower A, B, & C

105 CMR 451.123*	Maintenance: Soap scum on walls in showers A, B, & C

105 CMR 451.123*	Maintenance: Wall damaged in shower A & B

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower A, B, & C

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling on walls in shower D, E, & F

105 CMR 451.123*	Maintenance: Soap scum on walls in shower D, E, & F

105 CMR 451.123*	Maintenance: Door damaged in shower E

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower F, H, I, & J

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

No Violations Noted

A-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Control Area

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 2 & 58

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in cell # 42

105 CMR 451.353*	Interior Maintenance: Wall paint peeling in cell # 3, 31, 38, 39, 41, 53, 54, 56, & 57

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 43, 52, & 58

Janitor’s Closet (up)

105 CMR 451.353*	Interior Maintenance: Wall paint peeling

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling on walls in shower F & G

105 CMR 451.123*	Maintenance: Wall damaged in shower F & G

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling on walls in shower H, I, & J

105 CMR 451.123*	Maintenance: Wall damaged in shower H

105 CMR 451.123*	Maintenance: Ceiling damaged in shower H

105 CMR 451.123*	Maintenance: Light shield damaged in shower H

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet missing in shower I

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Bubbler

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

B-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged cell # 34

Control Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Electric outlet cover missing by bubbler

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 11

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 37

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling on walls in A, B, & C

105 CMR 451.123*	Maintenance: Paint peeling on walls in D & E

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling on walls in F, G, H, I, & J

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

No Violations Noted

B-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Exterior of building damaged

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained in block

Control Area

105 CMR 451.353	Interior Maintenance: Chair damaged

Common Area

105 CMR 451.353*	Interior Maintenance: Floor seams not sealed

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 27

105 CMR 451.350*	Structural Maintenance: Emergency exit door in stairway area not rodent and

weathertight

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling walls in shower A, B, C, & E

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling walls in shower F, G, H, I, & J

Staff Bathroom

No Violations Noted

Staff Office

FC 4-501.11(A)	 		Maintenance and Operation, Equipment: Equipment not maintained in a state

of good repair, refrigerator not maintained, needs defrosting

Janitor’s Closet (down)

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

C-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained in block

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged

Common Area

No Violations Noted

Control Area

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 24

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 1, 2, 6, 9, 10, 11, 12, 15, 22, 25, 30, & 60

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling walls in shower A, B, C, & D

105 CMR 451.123*	Maintenance: Soap scum on walls in shower A, B, C, & D

105 CMR 451.123*	Maintenance: Wall damaged in shower A, D, & E

Showers Lower Level

105 CMR 451.123*	Maintenance: Wall damaged in shower F, G, H, & I

105 CMR 451.123	Maintenance: Wall damaged in shower E

105 CMR 451.123	Maintenance: Paint peeling walls in shower E, F, G, H, & I

Staff Bathroom

105 CMR 451.123	Maintenance: Toilet seat damaged

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

C-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged near cell # 36

105 CMR 451.350*	Structural Maintenance: Floor damaged in entry area

Control Area

No Violations Noted

Cells

No Violations Noted

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling on walls and floors of shower A, B, C, & D

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling walls in shower H, I, & J

105 CMR 451.123*	Maintenance: Soap scum on walls in shower G

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

D-1 HOUSING  (1 inmate per cell)

105 CMR 451.350*	Structural Maintenance: Rear side of D exterior wall peeling

105 CMR 451.350*	Structural Maintenance: Rear side of D exterior wall, not weathertight

Control Area

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 49

Janitor’s Closet (lower)

105 CMR 451.353*	Interior Maintenance: Wall paint peeling

105 CMR 451.350*	Structural Maintenance: Ceiling concrete block loose

105 CMR 451.350*	Structural Maintenance: Holes in floor around electrical piping

Showers Lower Level

105 CMR 451.123*	Maintenance: Soap scum on walls in shower A, B, & C

105 CMR 451.123*	Maintenance: Paint peeling on walls in shower D

105 CMR 451.123*	Maintenance: Paint peeling on walls in shower A, B, & C

105 CMR 451.123*	Maintenance: Wall damaged in shower C

Showers Upper Level

105 CMR 451.123*	Maintenance: Wall damaged in shower F & H

105 CMR 451.123*	Maintenance: Paint peeling walls in shower F & H

Staff Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Staff Office

FC 4-501.11(A)	* 		Maintenance and Operation, Equipment: Equipment not maintained in a state

of good repair, refrigerator not maintained, needs defrosting

Janitor’s Closet (down)

No Violations Noted

D-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.350*	Structural Maintenance: Floor damaged in entry area

Control Area

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 4, 22, 23, & 36

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 5, 9, & 17

Storage (up)

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Showers Lower Level

105 CMR 451.123*	Maintenance: Floor not sealed in shower B

Showers Upper Level

105 CMR 451.123*	Maintenance: Floor not sealed in shower H, I, & J

105 CMR 451.123	Maintenance: Floor not sealed in shower F & G

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

E-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Window damaged in entry area

105 CMR 451.353	Interior Maintenance Paint peeling on exterior wall

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 22 & 23

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 29

Janitor’s Closet (up)

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Showers Upper Level

105 CMR 451.123*	Maintenance: Floor not sealed in shower A, B, C, & D

Showers Lower Level

105 CMR 451.123*	Maintenance: Wall damaged in J, G, & I

105 CMR 451.123*	Maintenance: Wall paint peeling in shower F, G, & H

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

No Violations Noted

E-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Control Area

No Violations Noted

Cells

105 CMR 451.123	Maintenance: Wall paint peeling in cell # 1

Janitor’s Closet (up)

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling walls in shower A

105 CMR 451.123	Maintenance: Paint peeling on walls in showers B, C, & E

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handicap shower spray handle

damaged

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling walls in D, E, H, I, & J

105 CMR 451.123*	Maintenance: Wall damaged in shower J

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

No Violations Noted

F-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Floor damaged, in entry area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Control Area

105 CMR 451.353*	Interior Maintenance: Chair damaged

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint peeling in cell # 1

Janitor’s Closet (up)

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling on walls in shower A, B, & C

105 CMR 451.123*	Maintenance: Paint peeling on walls in shower D & E

Showers Lower Level

105 CMR 451.123*	Maintenance: Floor paint peeling in shower F, G, H, I, & J

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

No Violations Noted

F-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in block

Control Area

No Violations Noted

Cells

No Violations Noted

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling on walls in shower F, G, H, I, & J

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling on walls in shower A, B, C, & D

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

MODULAR A

Entry Area

No Violations Noted

Central Area

No Violations Noted

Toxic/Caustic Room

No Violations Noted

Common Day Room

105 CMR 451.350	Structural Maintenance: Roof leaks

Telephone Room

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Missing vent cover

Offices A-E

No Violations Noted

Landry Area

No Violations Noted

Library

No Violations Noted

Rooms

Room 1

No Violations Noted

Room 2 Weight Room

No Violations Noted

Room 3

No Violations Noted

Room 4

105 CMR 451.350	Structural Maintenance: Roof leaks

Room 5

No Violations Noted

Room 6

No Violations Noted

Room 7

105 CMR 451.350	Structural Maintenance: Roof leaks

Room 8

105 CMR 451.350	Structural Maintenance: Roof leaks

Room 9

No Violations Noted

Room 10

No Violations Noted

MODULAR B

C.O.’s Office

No Violations Noted

Common/Day Room

105 CMR 451.350*	Structural Maintenance: Eight floor tiles damaged

Bathroom Area

No Violations Noted

Shower Area

No Violations Noted

Shower Chase

No Violations Noted

Telephone Room

No Violations Noted

Library

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with State Building Code provisions on, boxes stored within 18 inches of ceiling

Room 2 Barber

105 CMR 451.353	Interior Maintenance: Damaged chair

105 CMR 451.346                      Safe Wiring: Use of extension cord as temporary wiring for damaged radio

Room 3

No Violations Noted

Room 4 Parole Hearing

No Violations Noted

Room 5

No Violations Noted

Room 6

No Violations Noted

Room 7 Chapel

No Violations Noted

Room 8 Storage

No Violations Noted

COTTAGE 6

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

2nd Floor

Bathroom

No Violations Noted

Storage & Tool Crib

Unable to Inspect - Locked

Room 9

No Violations Noted

Room 10

No Violations Noted

Room 11

No Violations Noted

1st Floor

Room 8

No Violations Noted

Room 7

No Violations Noted

Room 5

No Violations Noted

Room 6

No Violations Noted

Bathroom

No Violations Noted

Room 3

No Violations Noted

Room 4

No Violations Noted

Room 1

No Violations Noted

Room 2

No Violations Noted

Recreation Room

No Violations Noted

Bathroom

No Violations Noted

Tool Crib

No Violations Noted

Kitchen Area

No Violations Noted

C.O./C.P.O. Office

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Basement

105 CMR 451.353	Interior Maintenance: Emergency light damaged in stairway

Laundry

No Violations Noted

Recreation Area

No Violations Noted

Gym

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Common shower floor paint peeling

Supply

No Violations Noted

Bathroom

No Violations Noted

Hallway

No Violations Noted

Property

Unable to Inspect - Locked

COTTAGE 7

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Storage

No Violations Noted

Room 12

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

Room 4

No Violations Noted

Room 5

No Violations Noted

Room 6

No Violations Noted

Room 7

No Violations Noted

Room 8

No Violations Noted

Room 9

No Violations Noted

Room 10

No Violations Noted

Bathroom (near room 10)

Unable to Inspect – Occupied

1st Floor

Room 11

No Violations Noted

Tool Crib

No Violations Noted

Telephone Area

No Violations Noted

Bathroom (near Room 4)

No Violations Noted

Entry

No Violations Noted

Recreation Room

No Violations Noted

Office

No Violations Noted

Room 1

No Violations Noted

Room 2

No Violations Noted

Room 3

No Violations Noted

Basement

No Violations Noted

Laundry

No Violations Noted

Storage Room

No Violations Noted

Recreation Area

No Violations Noted

Toxic/Caustic Room

No Violations Noted

Bathroom

No Violations Noted

Rear Foyer Exit

No Violations Noted

COTTAGE 8

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Room 14

No Violations Noted

Room 13

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

Bathroom (near room 12)

No Violations Noted

Tool Crib

No Violations Noted

Toxic/Caustic Room

No Violations Noted

Hall Closet

105 CMR 451.353*	Interior Maintenance Door knob pushed through door

Room 10

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, no support holding the ceiling tiles in place

Room 11

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, no support holding the ceiling tiles in place

Room 12

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, no support holding the ceiling tiles in place

Hallway

No Violations Noted

Room 8

No Violations Noted

Bathroom (near Room 6)

Unable to Inspect – Occupied

Room 9

No Violations Noted

Room 7

No Violations Noted

Room 6

No Violations Noted

1st Floor

Dining Room

No Violations Noted

Room 5

No Violations Noted

Room 3

No Violations Noted

Room 4

No Violations Noted

Hallway

No Violations Noted

Officer’s Bathroom

No Violations Noted

Basement

No Violations Noted

Gym

No Violations Noted

Storage

No Violations Noted

Laundry

No Violations Noted

Bathroom

No Violations Noted

Rear Foyer Exit

No Violations Noted

COTTAGE 9

105 CMR 451.350*	Structural Maintenance: Front steps were cracked

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Room 13

No Violations Noted

Room 12

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

Room 7

No Violations Noted

Room 4

No Violations Noted

Hallway (near Room 5 & 6)

No Violations Noted

Room 6

No Violations Noted

Bathroom (near Room 6)

105 CMR 451.123*	Maintenance: Wall damaged by toilet

Room 5

No Violations Noted

Room 8

No Violations Noted

Bathroom (near Room 8)

105 CMR 451.353	Interior Maintenance: Uncovered electrical box

Room 9

No Violations Noted

Room 10

No Violations Noted

Room 11

No Violations Noted

1st Floor

Staff Bathroom

No Violations Noted

C. O.’s Office

No Violations Noted

Counselor’s Office

No Violations Noted

Day Room

No Violations Noted

Toxic/Caustic Room

No Violations Noted

Kitchen Area

No Violations Noted

Room 1

No Violations Noted

Room 2

No Violations Noted

Basement

Bathroom Area

No Violations Noted

Laundry Area

No Violations Noted

Pool Room

No Violations Noted

Supply/Janitor’s Room

No Violations Noted

Weight Room

No Violations Noted

COTTAGE 10

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Side walk damaged

3rd Floor

Hallway

No Violations Noted

Room 15

No Violations Noted

Room 16

No Violations Noted

Bathroom (Room 16)

No Violations Noted

2nd Floor

Room 9

No Violations Noted

Bathroom (Room 9)

No Violations Noted

Room 10

No Violations Noted

Bathroom (Room 10)

No Violations Noted

Room 11

No Violations Noted

Room 12

No Violations Noted

Bathroom (Room 12)

No Violations Noted

Room 14

No Violations Noted

Bathroom (Room 14)

No Violations Noted

Room 13

No Violations Noted

Bathroom (Room 13)

No Violations Noted

1st Floor

Staff Bathroom

No Violations Noted

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Light damaged

Toxic/Caustic Room

No Violations Noted

Storage

No Violations Noted

Day Room

No Violations Noted

Visitor’s Bathroom

No Violations Noted

Kitchen

No Violations Noted

Health Services

Room 2

No Violations Noted

Room 3

No Violations Noted

Room 4

No Violations Noted

Room 5

No Violations Noted

Room 6

No Violations Noted

Room 7

No Violations Noted

Room 8

No Violations Noted

C. O.’s Office

No Violations Noted

Basement

Rear Foyer Exit

Unable to Inspect – Locked

Weight Room

No Violations Noted

Utility Room

No Violations Noted

Laundry Area

No Violations Noted

Storage Room

No Violations Noted

Utility Room (next to shower)

No Violations Noted

Hallway (next to shower)

No Violations Noted

Bathroom

No Violations Noted

COTTAGE 11

105 CMR 451.350*	Structural Maintenance: Entry way damaged

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door area not rodent and weathertight

2nd Floor Stairway

No Violations Noted

Staff Office

FC 4-501.11(A)	 		Maintenance and Operation, Equipment: Equipment not maintained in a state

of good repair, refrigerator not maintained, needs defrosting

Staff Bathroom

No Violations Noted

Laundry

No Violations Noted

Rooms 1 & 2

No Violations Noted

Bathroom 1 & 2

105 CMR 451.123	Maintenance: Ceiling paint peeling

Rooms 3 & 4

No Violations Noted

Bathroom 3 & 4

No Violations Noted

Rooms 5 & 6

No Violations Noted

Bathroom 5 & 6

No Violations Noted

Rooms 7 & 8

No Violations Noted

Bathroom 7 & 8

No Violations Noted

Room 9 & 10

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

Bathroom 9 & 10

No Violations Noted

Rooms 11 & 12

No Violations Noted

Bathroom 11 & 12

No Violations Noted

Room 13 & 14

No Violations Noted

Bathroom 13 & 14

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Day Room

No Violations Noted

KITCHEN/DINING AREA

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight, exterior door damaged at

bottom

Dishwasher Area

No Violations Noted

Main Kitchen

No Violations Noted

Kettles

No Violations Noted

Cooler 1

No Violations Noted

1199 Walk-In – Cooler 2

No Violations Noted

1194 Walk-In – Cooler 3

No Violations Noted

Slop Sink/Electrical Room

No Violations Noted

Dry Storage

No Violations Noted

Tool Crib

No Violations Noted

Toxic Storage

No Violations Noted

Storage

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Diet Area

No Violations Noted

Old Bakery

No Violations Noted

Dining Area

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Inmate Bathroom

No Violations Noted

Staff Bathroom

105 CMR 451.350	Structural Maintenance: Roof leaks

Storage Area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, spoons and forks left uncovered

Strip Room

No Violations Noted

Basement

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight, exterior door damaged at

bottom

105 CMR 451.350	Structural Maintenance: No hand rail in stairway

Freezer 1

No Violations Noted

Freezer 2

Unable to Inspect – Locked

Freezer 3

Unable to Inspect – Locked

Garbage Cooler 5

No Violations Noted

Dry Storage

No Violations Noted

Bathroom

Unable to Inspect – Locked

MEAT PLANT

105 CMR 451.126*	Water Supply: No hot water supplied to building

105 CMR 451.350*	Structural Maintenance: Floor damaged in entry

Basement

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Floor damaged

Bathroom

No Violations Noted

Office 2

105 CMR 451.353	Interior Maintenance Door knob missing

Staff Bathroom

No Violations Noted

Office 3 EHSO

No Violations Noted

Office 1

No Violations Noted

Office 4

No Violations Noted

Passage Area

No Violations Noted

Outside Cooler North

FC 4-501.11(A)	 		Maintenance and Operation, Equipment: Equipment not maintained in a state

of good repair, lights working in cooler

Outside Cooler South

No Violations Noted

Observations and Recommendations

- The inmate population was 1441 at the time of inspection.

- The Department recommends that all rooms have a number painted on the door frame for location purposes.

- The Department recommends that the two structures, buildings # 2 & 4 be closed and secured from entry of rodents. Their roofs are collapsing into the structures and as such are a public nuisance to the general public and a harborage for rodents and insects.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Charles J. Kaniecki

District Health Officer, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Carol Higgins O’Brien, Commissioner, DOC

Officer Corey Hopkins, EHSO

James Garreffi RS, CHO, Director, Nashoba Associated Boards of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea Cabral, Secretary EOPS