The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-695-7414

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

December 19, 2019

Suzanne Thibault, Superintendent

MCI Shirley

P.O. Box 1218

Shirley, MA 01464		(electronic copy)

Re: Facility Inspection – MCI Shirley

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and           105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of MCI Shirley on December 4, 5, 6, and 9, 2019 accompanied by Alexcia Mauro, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 528 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Kerry Wagner, MPH

Environmental Health Inspector, CSP, BEH

cc: 	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Alexcia Mauro, EHSO  								(electronic copy)

James Garreffi RS, CHO, Director, Nashoba Associated Boards of Health 	(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Administration Building

Main Entry

No Violations Noted

Visiting Male Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty in stall # 2

Visiting Female Bathroom

105 CMR 451.123	Maintenance: Exterior of changing table dirty

105 CMR 451.123	Maintenance: Top of heater rusted

105 CMR 451.123	Maintenance: Unable to fully open door to stall # 3

105 CMR 451.330	Room Temperature: Bathroom temperature 540F

Visiting Area/Vending Machine

No Violations Noted

Administration Area

Operations Rooms (2)

No Violations Noted

Shift Commander’s Office

Unable to Inspect – Locked

Male Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Staff Locker Room

105 CMR 451.123	Maintenance: Floor dirty handicapped shower

Male Staff Locker Room

105 CMR 451.123*	Maintenance: Floor surface damaged near toilet stalls

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent damaged

Female Staff Bathroom

No Violations Noted

Roll Call Room

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

Male Bathroom

Unable to Inspect – In Use

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, disposable silverware left uncovered

Offices

No Violations Noted

Front Control

No Violations Noted

Control Bathroom

No Violations Noted

Housing Units

A-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained and missing

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

Cells

105 CMR 451.141	Screens: Screen damaged in cell # 22, 33, 52, and 53

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 4, 15, 16, 36, 40, 43, and 46

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 8 and 31

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 19, 45, 48, 50, and 53

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 21, 22, 49, and 55

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 1 and 57

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 13, 42, and 44

105 CMR 451.353*	Interior Maintenance: Toilet paper holder missing on side of toilet in cell # 42

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 43 and 46

Upper Level Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, C, and E

105 CMR 451.123	Maintenance: Floor paint damaged in shower D

105 CMR 451.123	Maintenance: Soap scum on floor in shower B, C, D, and E

105 CMR 451.123*	Maintenance: Wall paint damaged in shower A, C, and E

105 CMR 451.123	Maintenance: Wall paint damaged in shower B and D

105 CMR 451.123*	Maintenance: Door paint damaged in shower A

105 CMR 451.123*	Maintenance: Bottom of door damaged in shower C

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower A and B

Upper Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower F, H, and J

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, G, H, I, and J

105 CMR 451.123	Maintenance: Soap scum on floor in shower I

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower F

105 CMR 451.123*	Maintenance: Door frame rusted in shower J

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Staff Office

105 CMR 451.340	Illumination: Insufficient lighting, 1 light out

A-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave dirty

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 7, 22, 53, and 54

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 51

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 44, 52, and 55

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 15, 33, and 57

Upper Level Showers	Unable to Inspect Shower C – In Use

105 CMR 451.123*	Maintenance: Wall paint damaged in shower B, D, and E

105 CMR 451.123	Maintenance: Wall paint damaged in shower A

105 CMR 451.123*	Maintenance: Floor paint damaged in shower B, D, and E

105 CMR 451.123	Maintenance: Floor paint damaged in shower A

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower B, D, and E

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower A and E

105 CMR 451.123	Maintenance: Door frame rusted in shower A and D

105 CMR 451.123	Maintenance: Sprinkler shroud rusted in shower D

Upper Janitor’s Closet

No Violations Noted

Lower Level Showers	Unable to Inspect Shower H – In Use

105 CMR 451.123*	Maintenance: Wall paint damaged in shower G and J

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, G, and I

105 CMR 451.123*	Maintenance: Door frame rusted in shower J

105 CMR 451.123*	Maintenance: Bottom of door damaged in shower J

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower F and I

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower G

Lower Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Standing water observed in bucket

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

B-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Cells

105 CMR 451.353*	Interior Maintenance: Wall damaged around bed support in cell # 32

105 CMR 451.353	Interior Maintenance: Wall damaged around bed support in cell # 5

105 CMR 451.353	Interior Maintenance: Floor tile damaged in cell # 1

Upper Level Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower A, B, C, D, and E

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, C, D, and E

105 CMR 451.123*	Maintenance: Door paint damaged in shower A and C

105 CMR 451.123	Maintenance: Door frame rusted in shower A

105 CMR 451.123*	Maintenance: Sprinkler shroud rusted in shower C

105 CMR 451.123	Maintenance: Sprinkler shroud rusted in shower A

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water leaking from shower handle in shower E

Upper Janitor’s Closet

No Violations Noted

Lower Level Showers	Unable to Inspect Shower F – In Use

105 CMR 451.123*	Maintenance: Wall damaged in shower G and H

105 CMR 451.123*	Maintenance: Wall paint damaged in shower I and J

105 CMR 451.123*	Maintenance: Floor paint damaged in shower G, H, I, and J

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower G and H

105 CMR 451.123*	Maintenance: Bottom of door damaged in shower J

105 CMR 451.123*	Maintenance: Door frame rusted in shower J

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

B-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained and missing

Cells

105 CMR 451.141	Screens: Screen damaged in cell # 58

105 CMR 451.353*	Interior Maintenance: Floor tile missing in cell # 18

105 CMR 451.353	Interior Maintenance: Floor tile damaged in cell # 11, 21, and 57

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 10, 13, 14, 16, 17, 19, and 30

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 8, 9, and 20

105 CMR 451.353	Interior Maintenance: Face plate missing for coaxial cable in cell # 15

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 34

Upper Level Showers	Unable to Inspect Shower A – In Use

105 CMR 451.123	Maintenance: Shower E out-of-order, ceiling heavily water damaged

105 CMR 451.123	Maintenance: Ceiling damaged, dry wall exposed in shower C

105 CMR 451.123	Maintenance: Ceiling paint damaged shower D

105 CMR 451.123	Maintenance: Louver/grille missing in shower B

105 CMR 451.123	Maintenance: Light shield damaged in shower D

105 CMR 451.123	Maintenance: Hole in wall board in shower B

105 CMR 451.123	Maintenance: Screws missing from wall board in shower C

105 CMR 451.123	Maintenance: Door paint damaged in shower C

105 CMR 451.123	Maintenance: Door frame rusted in shower C

105 CMR 451.123	Maintenance: Floor paint damaged in shower B

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower B

105 CMR 451.123	Maintenance: Sprinkler shroud rusted in shower C and D

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in     shower C and D

Upper Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123*	Maintenance: Ceiling leaking in shower F

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower I

105 CMR 451.123*	Maintenance: Wall paint damaged in shower F, G, H, and J

105 CMR 451.123	Maintenance: Wall paint damaged in shower I

105 CMR 451.123*	Maintenance: Wall dirty in shower F

105 CMR 451.123	Maintenance: Wall dirty in shower J

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, G, H, and J

105 CMR 451.123	Maintenance: Floor paint damaged in shower I

105 CMR 451.123*	Maintenance: Mold observed on door in shower J and H

105 CMR 451.123	Maintenance: Mold observed on door in shower I

105 CMR 451.123	Maintenance: Bottom of door frame rusted in shower F

105 CMR 451.123	Maintenance: Bottom of door damaged in shower I

105 CMR 451.123	Maintenance: Sprinkler shroud rusted in shower I and J

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1220F in shower F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in     shower G

Lower Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Standing water observed in bucket

Control Area

No Violations Noted

Staff Bathroom

Unable to Inspect – In Use

Staff Office

No Violations Noted

C-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.350	Structural Maintenance: Roof leaking

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 10

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 31 and 41

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 6, 28, and 29

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 1, 3, 36, and 55

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 4

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 59

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 24

105 CMR 451.353	Interior Maintenance: Toilet paper holder missing on side of toilet in cell # 38

Upper Level Showers	Unable to Inspect Shower A and C – In Use

105 CMR 451.123*	Maintenance: Wall paint damaged in shower B, D, and E

105 CMR 451.123*	Maintenance: Floor paint damaged in shower B, D, and E

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower B

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower D and E

105 CMR 451.123*	Maintenance: Sprinkler shroud rusted in shower B

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in     shower E

Upper Janitor’s Closet

No Violations Noted

Lower Level Showers	Unable to Inspect Shower I – In Use

105 CMR 451.123*	Maintenance: Wall paint damaged in shower F, G, H, and J

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, G, H, and J

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower F, G, and H

105 CMR 451.123*	Maintenance: Mold observed on ceiling in shower F

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower H

105 CMR 451.123*	Maintenance: Sprinkler shroud rusted in shower F, G, and H

105 CMR 451.123	Maintenance: Door frame rusted in shower F

105 CMR 451.123	Maintenance: Door paint damaged in shower G

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in     shower F

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

C-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.350*	Structural Maintenance: Roof leaking

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 9, 24, and 60

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 56

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 10, 12, and 20

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 5

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 13

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 17

Upper Level Showers		Unable to Inspect Shower D and E – In Use

105 CMR 451.123*	Maintenance: Wall paint damaged in shower A, B, and C

105 CMR 451.123	Maintenance: Mold observed on walls in shower B

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, and C

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower C

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower C

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower A

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower A, B, and C

105 CMR 451.123*	Maintenance: Bottom of door damaged in shower A and B

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in     shower C

Upper Janitor’s Closet

No Violations Noted

Lower Level Shower	Unable to Inspect Shower J – In Use

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, G, H, and I

105 CMR 451.123	Maintenance: Floor dirty in shower F and I

105 CMR 451.123*	Maintenance: Wall paint damaged in shower F, G, H, and I

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower G, H, and I

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower I

105 CMR 451.123*	Maintenance: Door frame rusted in shower F

105 CMR 451.123	Maintenance: Door frame rusted in shower H

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

D-1

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained and missing

Cells

105 CMR 451.141	Screens: Screen damaged in cell # 28

105 CMR 451.350*	Structural Maintenance: Ceiling leaking in cell # 37

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 31 and 38

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 13

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 1, 8, 13, 24, 31, and 49

Upper Level Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower A, B, C, D, and E

105 CMR 451.123	Maintenance: Walls dirty in shower C

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, C, D, and E

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower D

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower handle leaking in shower E

Upper Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Dog food stored on ground

Lower Level Showers

105 CMR 451.123	Maintenance: Shower I out-of-order

105 CMR 451.123*	Maintenance: Wall paint damaged in shower F, G, and H

105 CMR 451.123	Maintenance: Wall paint damaged in shower J

105 CMR 451.123*	Maintenance: Mold observed on wall in shower H

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, G, H, and J

105 CMR 451.123	Maintenance: Soap scum on floor in shower H

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower F, G, and H

105 CMR 451.123*	Maintenance: Bottom of door damaged in shower G and J

105 CMR 451.123*	Maintenance: Door frame rusted in shower J

Lower Level Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Cap missing over old dryer vent

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

D-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.350*	Structural Maintenance: Roof leaking

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained and missing

Cells

105 CMR 451.113	Toilet and Handwashing Sink in Locked Cells: No working toilet in locked cell # 29, toilet clogged

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 24

105 CMR 451.353*	Interior Maintenance: Wall paint damaged above window in cell # 55

105 CMR 451.353*	Interior Maintenance: Crack in wall in cell # 18

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 5, 8, 39, and 40

Upper Level Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower A, B, C, D, and E

105 CMR 451.123	Maintenance: Walls dirty in shower D

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, C, D, and E

105 CMR 451.123	Maintenance: Door frame rusted in shower C and E

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower A and B

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in    shower D

Upper Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Dog food stored on floor

Lower Level Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, G, H, I, and J

105 CMR 451.123*	Maintenance: Wall paint damaged in shower G and J

105 CMR 451.123	Maintenance: Bottom of walls dirty in shower H

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower H and J

105 CMR 451.123	Maintenance: Small hole in ceiling in shower I

105 CMR 451.123	Maintenance: Door frame rusted in shower J

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave rusted

105 CMR 451.340*	Illumination: Insufficient lighting, light out

E-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, double bunked cells

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 13

105 CMR 451.141	Screens: Screen damaged in cell # 36

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 6 and 9

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 1, 8, 11, 13, 20, 26, 29, 42, and 51

Upper Level Shower

105 CMR 451.123	Maintenance: Shower C out-of-order, floor drain clogged and filled with standing water

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, D, and E

105 CMR 451.123	Maintenance: Soap scum on floor in shower D

105 CMR 451.123	Maintenance: Bottom of door damaged in shower A

Upper Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower F, G, I, and J

105 CMR 451.123	Maintenance: Floor paint damaged in shower H

105 CMR 451.123	Maintenance: Floor dirty in shower F and H

105 CMR 451.123	Maintenance: Used Band-Aid on wall in shower I

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower handle leaking in shower J

Lower Janitor’s Closet

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                  105 CMR 590.000, no functioning thermometer in refrigerator

E-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing and water stained

105 CMR 451.350*	Structural Maintenance: Roof leaking

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # 25

105 CMR 451.141	Screens: Screen damaged in cell # 56

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 1

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 18, 19, and 60

105 CMR 451.353	Interior Maintenance: Wall and ceiling paint damaged near window in cell # 43 and 53

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 10 and 56

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 8, 10, 28, 30, 36, and 37

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 49

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 18

Upper Level Showers	Unable to Inspect C – In Use

105 CMR 451.123*	Maintenance: Floor paint damaged in shower D and E

105 CMR 451.123	Maintenance: Floor paint damaged in shower A and B

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower B

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in     shower B

Upper Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower G

105 CMR 451.123	Maintenance: Floor paint damaged in shower H, I, and J

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower I

105 CMR 451.123*	Maintenance: Wall paint damaged in shower F

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower G

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower H and J

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

F-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.350*	Structural Maintenance: Roof leaking

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained and missing

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 53

105 CMR 451.353*	Interior Maintenance: Floor tile damaged in cell # 11 and 16

105 CMR 451.353	Interior Maintenance: Floor tile damaged in cell # 15

105 CMR 451.353*	Interior Maintenance: Wall damaged in cell # 13

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 11, 21, and 37

105 CMR 451.353	Interior Maintenance: Face plate for coaxial cable missing in cell # 18, 26, 27, 28, 33, and 60

105 CMR 451.353	Interior Maintenance: Face plate for coaxial cable not secured to wall in cell # 24

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 41, 54, 58, 59, and 60

Upper Level Showers	Unable to Inspect Shower A – In Use

105 CMR 451.123*	Maintenance: Wall paint damaged in shower B, D, and E

105 CMR 451.123*	Maintenance: Floor paint damaged in shower B, C, D, and E

105 CMR 451.123	Maintenance: Floor dirty in shower D

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower D and E

105 CMR 451.123	Maintenance: Ceiling dirty in shower C

105 CMR 451.123	Maintenance: Bottom of door damaged in shower B

Upper Janitor’s Closet

No Violations Noted

Lower Level Showers	Unable to Inspect Shower G – In Use

105 CMR 451.123	Maintenance: Floor paint damaged in shower F, H, and I

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower H

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

F-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Cells

105 CMR 451.353	Interior Maintenance: Floor tile damaged in cell # 20

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 4, 16, 28, and 37

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 17

Upper Level Showers	Unable to Inspect Shower A, B, and D – In Use

105 CMR 451.130	Hot Water: Shower water temperature recorded at 800F in shower E

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1300F in shower C

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in     shower C

105 CMR 451.123*	Maintenance: Floor paint damaged in shower C and E

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower E

105 CMR 451.123*	Maintenance: Ceiling dirty in shower E

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower C

105 CMR 451.123*	Maintenance: Door paint damaged in shower C

Upper Janitor’s Closet

No Violations Noted

Lower Level Showers	Unable to Inspect Shower I – In Use

105 CMR 451.123	Maintenance: Floor paint damaged in shower H and J

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower H

Lower Janitor’s Closet

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

105 CMR 451.353*	Interior Maintenance: Ceiling damaged near sprinkler head

RHU Building

105 CMR 451.350*	Structural Maintenance: Roof leaking throughout building

Entrance

No Violations Noted

Visiting Room

105 CMR 451.340	Illumination: Insufficient lighting, light out in Visitor’s booth # 1 and 2

Medical Room # 901

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Staff Bathroom # 902

105 CMR 451.123	Maintenance: Ceiling vent dusty

Utility Storage # 903

No Violations Noted

Strip Search Room # 905

No Violations Noted

Captain’s Office # 906

No Violations Noted

Lieutenant’s Office # 908

105 CMR 451.350	Structural Maintenance: Ceiling leaking

Janitor’s Closet # 907

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

Move Team Room # 909

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.353	Interior Maintenance: Back wall water damaged, water bubbling under paint

Control # 904

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained and damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor tiles damaged

RHU 1

105 CMR 451.350	Structural Maintenance: Ceiling actively leaking in common area and emergency exit

105 CMR 451.353*	Interior Maintenance: Ceiling tiles significantly water stained

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Sergeant’s Office

No Violations Noted

Cells

105 CMR 451.124	Water Supply: Discolored water observed at handwash sink in cell # 10 and 23

105 CMR 451.117*	Toilet Fixtures: Toilet fixture dirty in cell # 14

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 8, 21, and 30

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in all cells

105 CMR 451.353*	Interior Maintenance: Toilet paper holder missing on side of toilet in cell # 28 and 29

105 CMR 451.353	Interior Maintenance: Toilet paper holder missing on side of toilet in cell # 25

Upper Level Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower D and E

105 CMR 451.123*	Maintenance: Soap scum on floor in shower D and E

105 CMR 451.123	Maintenance: Door paint damaged in shower D

Lower Level Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower A

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, and C

105 CMR 451.123*	Maintenance: Soap scum observed on floor in shower A and C

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower A

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1200F in shower A

RHU 2

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

105 CMR 451.353*	Interior Maintenance: Light shields water damaged

105 CMR 451.353*	Interior Maintenance: Wall separating RHU1 and RHU2 cracked

Cells

105 CMR 451.102	Pillows and Linens: Pillow dirty in cell # 11

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in all cells

105 CMR 451.353*	Interior Maintenance: Towel holder missing on side of toilet in cell # 1, 14, 17, 19, and 25

105 CMR 451.353	Interior Maintenance: Towel holder missing on side of toilet in cell # 3, 4, and 20

105 CMR 451.353	Interior Maintenance: Face plate missing over junction box in cell # 18

Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower A, B, C, D, and E

105 CMR 451.123*	Maintenance: Soap scum on floor in shower A, B, and D

105 CMR 451.123	Maintenance: Floor dirty in shower C

105 CMR 451.123	Maintenance: Mold observed on walls in shower B and C

Law Library

No Violations Noted

Rec Cages # 1 and 2

105 CMR 451.360	Protective Measures: Dead birds stuck in fencing for RHU 2

Nursing Care Unit

105 CMR 451.350*	Structural Maintenance: Exterior ramps near back loading dock damaged

105 CMR 451.350*	Structural Maintenance: Exterior black and tan side panels near back loading dock protruding out away from the building

Booking

Officer’s Area

No Violations Noted

Holding Cell # 1-3

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink in holding cell # 1

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in holding cell # 2 and 3

105 CMR 451.353	Interior Maintenance: Wall paint damaged in holding cell # 3

Strip Room # 1053

No Violations Noted

Assisted Daily Living (ADL)

Laundry Room # 1048

No Violations Noted

Staff Bathroom # 1049

No Violations Noted

Holding/Interview Room

No Violations Noted

Day Room # 1044
	No Violations Noted

ADL Dorm

105 CMR 451.104	Beds: Bed not in good repair, bed # 5 broken and out-of-service

105 CMR 451.353	Interior Maintenance: Chair padding damaged

ADL Dorm Shower Rooms (2)

105 CMR 451.123*	Maintenance: Shower # 2 out-of-order

105 CMR 451.130	Hot Water: Shower water temperature recorded at 800F in shower # 1

ADL Officer’s Office # 1040

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Inmate Bathroom # 1041

No Violations Noted

Janitor’s Closet # 1045

No Violations Noted

Cell # 1

No Violations Noted

Cell # 2

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Dry Holding Cell

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Additional Holding Cell

No Violations Noted

Trauma Room # 1023

No Violations Noted

Medical Room/Med Line Room

Unable to Inspect – Locked

Holding Cages

No Violations Noted

Med Line

105 CMR 451.350*	Structural Maintenance: Door leading to exterior not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Door frame rusted

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

HSO Staff Office

No Violations Noted

CO Out-Patient & Holding Cell

No Violations Noted

Treatment Room # 1028

No Violations Noted

Optical Room # 1029

105 CMR 451.340*	Illumination: Insufficient lighting, light out

Dental Office

105 CMR 205.103(A)	Examinations to be Conducted in Privacy: Handwash sink not equipped with non-hand operable controls in sterilization room # 1031A

Office # 1030, 1032, 1033, 1035, and 1037

105 CMR 451.353*	Interior Maintenance: Exam table covering damaged in office # 1032

105 CMR 451.353	Interior Maintenance: Exam table covering damaged in office # 1033

Male Staff Bathroom # 1034

No Violations Noted

Female Staff Bathroom # 1036

No Violations Noted

Health Services Administrator’s Office # 1037

No Violations Noted

Medical Records # 1038

No Violations Noted

Inmate Bathroom # 1020

No Violations Noted

Phlebotomy # 1018

Unable to Inspect – In Use

PT Room # 1017

Unable to Inspect – In Use

X-Ray Room # 1015

No Violations Noted

Med Storage Room # 1014

No Violations Noted

Dialysis Unit # 124

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Staff Dining Room # 1013

No Violations Noted

Biohazard Storage # 1012

105 CMR 480.500(B)(2)(b)*	Procedures; Records; Record-Keeping Log: Generator did not maintain a record-keeping log for waste sent off-site for treatment, generator not documenting total amount of waste sent off-site on record-keeping log

105 CMR 480.400(C)	Shipping Papers: Generator was not maintaining copy of shipping papers with record-keeping log for at least 375 days

105 CMR 480.425(A)	Tracking Medical or Biological Waste for Treatment: Generator did not confirm the shipment was received by the treatment facility within 30 days on an approved tracking form

Staff Break/Kitchen Area # 1011

105 CMR 451.353*	Interior Maintenance: Interior of sink cabinet water damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking

Cell # 102 - 109

105 CMR 451.353*	Interior Maintenance: Ceiling tile supports rusted in cell # 108

105 CMR 451.353	Interior Maintenance: Ceiling rusted in cell # 107

105 CMR 451.353	Interior Maintenance: Ceiling vent rusted in cell # 109

105 CMR 451.353*	Interior Maintenance: Baseboard missing in cell # 108

105 CMR 451.353*	Interior Maintenance: Window cracked in cell # 105

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 102

105 CMR 451.353	Interior Maintenance: Wall access panel rusted in cell # 106

Showers (Left and Right)

105 CMR 451.123*	Maintenance: Grout missing between floor tiles in left side shower

105 CMR 451.123	Maintenance: Grout missing between floor tiles in right side shower

105 CMR 451.123	Maintenance: Ceiling vent dusty in left and right side shower

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1200F in left side shower

Staff Bathroom (Left and Right)	Unable to Inspect Right Side Bathroom – No Longer in Use

No Violations Noted

Linen Storage Room # 1002

No Violations Noted

Day Room # 129	Did Not Inspect Shower – No Longer In Use

No Violations Noted

Visiting Room # 1001

105 CMR 451.353	Interior Maintenance: Baseboard and wall paint damaged

Room # 128

No Violations Noted

Dorm # 127

No Violations Noted

Dorm # 126

105 CMR 451.353	Interior Maintenance: Wall damaged by toilet

Janitor’s Closet # 1009

No Violations Noted

Oxygen Storage Room # 1009A

No Violations Noted

Janitor’s Closet # 1010

No Violations Noted

Dorm # 125

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

# Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

Food Service Building

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor has pulled away from the walls throughout the building

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor not secured

to walls

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, the outside wall near the Inmate entrance ramp is protruding out away from the building

Inmate Dining Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged throughout dining area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, unfinished wood exposed under damaged floor

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged throughout dining area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall board damaged throughout dining area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, window and window sill damaged

Serving Area

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged in serving line and covered with metal plate

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, gap between floor and wall

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on 2-door warmers on both serving lines

FC 4-204.112(B)	Design and Construction, Functionality: Cold holding equipment not equipped with a permanently affixed temperature measuring device, special diets cold holding

Dish Washing Area

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, food grinder out-of-order and corroded

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling panels rusted

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, window sill damaged near warewash machine

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged near     3-compartment sink

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall board damaged and warped under 3-compartment sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, wash basin of 3-compartment sink leaking

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Nonfood contact surface dirty, tray drying racks dirty

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

Diet Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall board near handwash sink damaged

FC 4-901.11(A)	Protection of Clean Items; Drying: Cleaned, sanitized equipment and utensils not allowed to fully air dry, special diet trays

Oven Area

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, dust buildup observed on hood filters over ovens

Grill/Kettle Area

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor surface damaged in front of kettles

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, column near kettle # 1 significantly damaged and supported by rotted wood

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, drain cover missing in front of tilt skillet

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, drain cover missing in front of kettle

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, tilt skillet out-of-order

2-Compartment Sink and Prep Area

FC 5-205.11(B)	Plumbing System; Operations and Maintenance: Handwashing sink used for an unapproved purposePf, dishes observed in handwash sink

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions for fire safety, items stored within 18 inches of ceiling

Handwash Sink

No Violations Noted

Back Oven Area

FC 6-202.15(A)(1)	Design, Construction, and Installation; Functionality: Outer openings not protected against the entry of insects and rodents, ground visible through gaps in floor

Food Director’s Office

No Violations Noted

C.O.’s Office

No Violations Noted

Dry Storage

No Violations Noted

Walk-in Freezer # 2

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, floor buckling and uneven

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, light out

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice buildup observed on walls

Cooler

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, cooler door damaged

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, cement floor damaged throughout cooler

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, floor and wall separating in back left corner

Tool Crib

No Violations Noted

Electrical Room

No Violations Noted

Mop Sink Area

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall board separating from wall near toilet

105 CMR 451.123*	Maintenance: Pooling water observed in gap between floor and wall

105 CMR 451.123*	Maintenance: Hole in floor near door

105 CMR 451.123*	Maintenance: Ceiling damaged around vent

105 CMR 451.123*	Maintenance: Door knob missing

105 CMR 451.123*	Maintenance: Door paint damaged

Pig Cooler

No Violations Noted

Mop/Barrel Room

Did Not Inspect – No Longer In Use

Hallway near Loading Dock

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling leaking

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged throughout hallway

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, unfinished wood exposed under damaged floor

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, walls damaged throughout hallway

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged

Rear Loading Dock

No Violations Noted

Staff Bathroom – Left

No Violations Noted

Staff Bathroom – Right

No Violations Noted

Janitor’s Closet/Chemical Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall and storage shelf paint damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, window broken

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions for fire safety, items stored within 18 inches of ceiling

Dumpster

No Violations Noted

Culinary Arts

Kitchen

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

FC 3-302.12	Protection from Contamination After Receiving, Preventing Food and Ingredient Contamination: Food or food ingredients that have been removed from original packages not labeled with common name of food

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, hole between access panel and floor near handwash sink

Dry Storage

No Violations Noted

Dining Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged near door leading to exterior

Property

105 CMR 451.353	Interior Maintenance: Ceiling water stained

Bathroom

No Violations Noted

Laundry Area

No Violations Noted

Operations/Visiting Room

105 CMR 451.350	Structural Maintenance: Exterior ramp to visiting area damaged

Visiting Area

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Lawyer Visiting Rooms

Unable to Inspect - Locked

Storage Closets (2)

Unable to Inspect - Locked

Staff Break Area # 421

No Violations Noted

Chemical Closet # 425

Unable to Inspect - Locked

Inmate Bathroom

No Violations Noted

Male Bathroom # 414

No Violations Noted

Female Bathroom # 415

No Violations Noted

Janitor’s Closet # 413

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Non-Contact Inmate Visiting Side

No Violations Noted

Non-Contact Visitors Side

No Violations Noted

Strip Rooms

105 CMR 451.353	Interior Maintenance: Wiring to old speaker exposed

Operations

Female Bathroom # 407

No Violations Noted

Male Bathroom # 410

No Violations Noted

Janitor’s Closet # 405

No Violations Noted

Offices

No Violations Noted

IPS Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                   105 CMR 590.000, no functioning thermometer in refrigerator

105 CMR 451.353	Interior Maintenance: Wall water damaged in evidence room

Gym

105 CMR 451.350	Structural Maintenance: Ceiling leaking near storage room

105 CMR 451.353*                    Interior Maintenance: Ceiling insulation damaged

105 CMR 451.353*	Interior Maintenance: Floor surface cracked in back of gym

105 CMR 451.353*	Interior Maintenance: Ventilation duct work damaged/dented

Office

No Violations Noted

Utility Room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover not secured

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent and area around vent dusty

Inmate Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Weight Room

No Violations Noted

Storage Room

Unable to Inspect – Locked

Outside Recreational Area

No Violations Noted

Vocational Education

Main Door

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight

Canteen Storage

No Violations Noted

C.R.A. Room # 702

105 CMR 451.340	Illumination: Insufficient lighting, light out

CPO Office

Unable to Inspect – Locked

Sewing Shop Storage # 704

Unable to Inspect – Locked

Chapel # 705

No Violations Noted

Office E1

No Violations Noted

Office # 718

No Violations Noted

Classroom # 1-8

105 CMR 451.353*	Interior Maintenance: Light shield water stained in classroom # 5

105 CMR 451.340	Illumination: Insufficient lighting, light out in classroom # 5

105 CMR 451.353	Interior Maintenance: Wall paint damaged in classroom # 5

E-2 Offices

No Violations Noted

Barber Shop

Unable to Inspect – Locked

Sewing Shop # 728/726

Unable to Inspect – Locked

Sewing Shop Bathroom

Unable to Inspect – Locked

Inmate Bathroom # 725

No Violations Noted

Storage Closet # 720

No Violations Noted

Staff Bathroom # 724

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to left side handwash sink

Janitor’s Closet # 723

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Canteen Processing Room

Unable to Inspect – No Longer In Use

Exterior Door

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Education Building

Storage Rooms # 605 and 606

105 CMR 451.353	Interior Maintenance: Uncovered junction box in storage closet # 605

Office # 607

No Violations Noted

Staff Break Room # 601

No Violations Noted

School Storage Room

No Violations Noted

Offices # 602 and 603

105 CMR 451.330	Room Temperature: Room temperature 630F in room # 603

105 CMR 451.346	Safe Wiring: Inappropriate use of temporary wiring, several connected power strips running across doorways

Mop Closet # 608

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Inmate Bathroom # 610

No Violations Noted

Staff Bathroom # 611

No Violations Noted

Library

No Violations Noted

Law Library # 609

No Violations Noted

Classroom # 617-624

No Violations Noted

Programs Building

Native American Spiritual Room # 501

No Violations Noted

Storage Room # 502

Unable to Inspect – Locked

Program Room # 504

No Violations Noted

Protestant Chaplain’s Office

No Violations Noted

Utility Closet # 508

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Offices

No Violations Noted

Masjid

No Violations Noted

Pump Room # 555

No Violations Noted

Inmate Bathroom # 515

No Violations Noted

Muslim Chaplain’s Office

No Violations Noted

Offices/Conference Rooms

No Violations Noted

Male Bathroom # 526

No Violations Noted

Female Bathroom # 528

No Violations Noted

Parole Offices

No Violations Noted

Conference Room # 534

No Violations Noted

CPO’s Office/Additional Offices

No Violations Noted

Break Room # 542

No Violations Noted

Archive File Room # 542A

No Violations Noted

Mental Health Conference Room # 553

No Violations Noted

Mental Health Office’s

No Violations Noted

Maintenance/Industries/Laundry

Laundry

105 CMR 451.353*	Interior Maintenance: Ceiling damaged above washer # 1

Chase Behind Dryers

105 CMR 451.350	Structural Maintenance: Ceiling leaking onto back of dryer unit

Toxic/Caustic Room # 202

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Office

No Violations Noted

Hazardous Storage # 208A

No Violations Noted

Back Storage Area

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

Hallway to Maintenance

105 CMR 451.350	Structural Maintenance: Ceiling leaking near exterior door

Staff Bathroom

105 CMR 451.123	Maintenance: Pooling water under left side toilet

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F at left side handwash sink

Inmate Bathroom

No Violations Noted

Utility Room # 205

105 CMR 451.353*	Interior Maintenance: Ceiling access panel missing

Janitor’s Closet # 206

No Violations Noted

Chemical & Supply Crib # 125

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, no functioning thermometer in refrigerator

Loading Dock

No Violations Noted

Maintenance Office # 132	Unable to Inspect – Locked

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Maintenance Shop

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, interior of refrigerator dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave oven dirty

Tool Crib

Unable to Inspect – No Access

Industries
105 CMR 451.353*	Interior Maintenance: Ceiling insulation damaged throughout area

105 CMR 451.353*	Interior Maintenance: Wall water damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, disposable silverware left uncovered

Storage Closet # 109

No Violations Noted

Male Staff Bathroom # 218

No Violations Noted

Female Staff Bathroom # 219

No Violations Noted

Inmate Bathroom # 220

Unable to Inspect – In Use

Offices

No Violations Noted

Inmate Break Area

No Violations Noted

Finishing Room

Unable to Inspect - Locked

Towers

Tower 1

Lower Level, Vehicle Trap

No Violations Noted

Upper Area

105 CMR 451.350*	Structural Maintenance: Window pane broken

Tower 2

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F at handwash sink

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.350*	Structural Maintenance: Wall supports cracked on all 4 support corners within stairwell

105 CMR 451.350	Structural Maintenance: Exterior door not rodent and weathertight, weather stripping damaged

Tower 3

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, mold observed on refrigerator gasket

105 CMR 451.350*	Structural Maintenance: Exterior door rusted out at the bottom

105 CMR 451.353*	Interior Maintenance: Central column damaged on all floors

105 CMR 451.353*	Interior Maintenance: Mold observed at bottom of central column at entrance

105 CMR 451.353*	Interior Maintenance: Mold observed on pipe covering, visible through hole in central column

105 CMR 451.353*                    Interior Maintenance: Paint damaged on lower level

105 CMR 451.353*	Interior Maintenance: Ceiling vent exhaust duct disconnected from vent

105 CMR 451.353*	Interior Maintenance: Hole in wall to the left of toilet

105 CMR 451.370	Garbage Storage: Garbage stored in an unsanitary condition, trash observed around exterior of tower

Warehouse

Hot Water Heating Room

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water left in bucket

Staff Bathroom

No Violations Noted

Medium Freezer

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, right side exterior wall damaged and dirty

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice protruding from damaged ceiling on left side of freezer

Medium Walk-In Cooler

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, bottom of wall covering damaged

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Meat Plant/New Mail Processing Area

1st Floor

Mail Processing Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Handicap Bathroom/Closet

No Violations Noted

Break Rooms

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave oven dirty

Staff Bathroom

No Violations Noted

File Cabinet Storage Area

No Violations Noted

Ramp to Basement

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight, bottom of door damaged

105 CMR 451.353*	Interior Maintenance: Wall damaged near bait station

105 CMR 451.360*	Protective Measures: Rodent feces observed on floor

Basement/Old Equipment Storage

No Violations Noted

Outside Freezer # 1

Did Not Inspect – Not In Use

Outside Cooler # 2

Did Not Inspect – Not In Use

Outside Freezer # 2

Did Not Inspect – Not In Use

Minimum Security

Modular A

Entry Area

No Violations Noted

Officer’s Area/Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling tile missing in bathroom

Common Day Room

105 CMR 451.353*	Interior Maintenance: Ceiling tile supports rusted

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water bubbler push bar missing

Telephone Room

No Violations Noted

Landry Area

105 CMR 451.353*	Interior Maintenance: Floor damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, pipe leaking

Showers	Unable to Inspect Shower 6, 7, and 8 – In Use

105 CMR 451.123*	Maintenance: Shower # 5 out-of-order

105 CMR 451.123*	Maintenance: Shower floor damaged in shower # 1 and 3

105 CMR 451.123*	Maintenance: Ceiling grille rusted near urinals

Plumbing Chases (2)

105 CMR 451.353*	Interior Maintenance: Floor water damaged in chase behind showers

105 CMR 451.360*	Protective Measures: Rodent droppings observed

Bathroom	Unable to Inspect Handwash Sink # 1-5 and Toilet # 3-5 – In Use

105 CMR 451.123*	Maintenance: Ceiling tiles water stained outside bathroom area

105 CMR 451.123*	Maintenance: Bottom of toilet stall partitions rusted

105 CMR 451.123*	Maintenance: Wall louver damaged

Rooms

Room # 1

105 CMR 451.353*	Interior Maintenance: Ceiling tile supports rusted

105 CMR 451.353*	Interior Maintenance: Light shield water stained

105 CMR 451.353	Interior Maintenance: Baseboard missing

Room # 2 Weight Room

No Violations Noted

Room # 3

105 CMR 451.353*	Interior Maintenance: Ceiling tile and supports rusted

Room # 4

No Violations Noted

Room # 5

105 CMR 451.353*	Interior Maintenance: Light shield rust stained

105 CMR 451.353	Interior Maintenance: Window shade damaged

Room # 6

105 CMR 451.353*	Interior Maintenance: Ceiling tile supports rusted

Room # 7

105 CMR 451.353*	Interior Maintenance: Ceiling tile supports rusted

Room # 8

105 CMR 451.353*	Interior Maintenance: Ceiling tile supports rusted

Room # 9

No Violations Noted

Room # 10

105 CMR 451.353*	Interior Maintenance: Ceiling tile supports rusted

Modular B

Group Meeting Room

No Violations Noted

Offices

105 CMR 451.353	Interior Maintenance: Baseboard missing in office D

105 CMR 451.353	Interior Maintenance: Uncovered junction box in office D

Staff Bathroom

No Violation Noted

Toxic/Caustic Room

105 CMR 451.353	Interior Maintenance: Ceiling tile missing

Common/Day Room

Did Not Inspect – Not In Use

Bathroom Area

Did Not Inspect – Not In Use

Shower Area

Did Not Inspect – Not In Use

Laundry Area

Did Not Inspect – Not In Use

Library

Did Not Inspect – Not In Use

Computer Lab

Did Not Inspect – Not In Use

Classrooms

Did Not Inspect – Not In Use

Classroom Hallway

Did Not Inspect – Not In Use

Storage Room # 8

Did Not Inspect – Not In Use

Masjid

Did Not Inspect – Not In Use

Classroom # 3

Did Not Inspect – Not In Use

Law Library

Did Not Inspect – Not In Use

Barber Shop Room # 2

Did Not Inspect – Not In Use

Cottage # 6

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

2nd Floor

Bathroom

105 CMR 451.123	Maintenance: Light out

Storage & Tool Crib

No Violations Noted

Room # 9

105 CMR 451.141*	Screens: Screen damaged and missing

Room # 10

105 CMR 451.350	Structural Maintenance: Window pane broken

Room # 11

105 CMR 451.141	Screens: Screen damaged

1st Floor

Room # 8

No Violations Noted

Room # 7

No Violations Noted

Room # 6

No Violations Noted

Room # 5

105 CMR 451.141	Screens: Screen damaged

Bathroom

No Violations Noted

Room # 4

105 CMR 451.350	Structural Maintenance: Window pane broken

C.O.’s and C.R.A. Office

105 CMR 451.141*	Screens: Screen missing in C.R.A. Office

Room # 1

105 CMR 451.353	Interior Maintenance: Window shade damaged

Room # 2

No Violations Noted

Bathroom

No Violations Noted

Day Room

105 CMR 451.141	Screens: Screen missing

Room # 14

105 CMR 451.350	Structural Maintenance: Window pane missing

105 CMR 451.353	Interior Maintenance: Hole in wall

Room # 3

Unable to Inspect – Not Used

Tool Crib

No Violations Noted

Kitchen Area

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Basement

Laundry

No Violations Noted

Weight Room

105 CMR 451.141*	Screens: Screen damaged

Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in all showers

105 CMR 451.123*	Maintenance: Column between shower # 4 and 5 damaged at bottom

105 CMR 451.123	Maintenance: Column paint damaged at shower # 1

105 CMR 451.123*	Maintenance: Ceiling dirty/possible mold over showers

105 CMR 451.123	Maintenance: Walls dirty shower # 1 and 5

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 2

Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged throughout area

105 CMR 451.123*	Maintenance: Wall covering damaged in toilet stall # 3

105 CMR 451.123	Maintenance: Wall covering damaged in toilet stall # 1

105 CMR 451.123*	Maintenance: Column damaged outside stall # 4

105 CMR 451.123*	Maintenance: Counter top and wall under sink damaged

105 CMR 451.123*	Maintenance: Urinals dirty

COTTAGE # 7

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Storage

No Violations Noted

Room # 12

105 CMR 451.141	Screens: Screen damaged and missing

Bathroom

No Violations Noted

2nd Floor

Tool Crib

No Violations Noted

Bathroom near Room # 4

105 CMR 451.123	Maintenance: Screen damaged

Room # 4

No Violations Noted

Room # 5

No Violations Noted

Room # 6

No Violations Noted

Room # 7

No Violations Noted

Room # 8

105 CMR 451.340*	Illumination: Insufficient lighting, light out

Room # 9

No Violations Noted

Room # 10

No Violations Noted

Bathroom (near room # 10)

105 CMR 451.123	Maintenance: Screen damaged

1st Floor

Entry

No Violations Noted

Room # 11

No Violations Noted

Day Room

No Violations Noted

Office/Bathroom

No Violations Noted

Room # 1

No Violations Noted

Room # 2

105 CMR 451.353	Interior Maintenance: Wall cracked near bed

Room # 3

No Violations Noted

Basement

No Violations Noted

Laundry

No Violations Noted

Tool Crib

No Violations Noted

Weight Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, steam pipe leaking in corner near emergency exit

105 CMR 451.353	Interior Maintenance: Mold observed on ceiling and pipe coverings

105 CMR 451.353*	Interior Maintenance: Equipment padding damaged

Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty in stall # 1

105 CMR 451.123*	Maintenance: Urinal # 3 out-of-order

105 CMR 451.123	Maintenance: Urinal # 1 out-of-order

105 CMR 451.123*	Maintenance: Wall tiles damaged in all toilet stalls

105 CMR 451.123*	Maintenance: Column and door damaged in stall # 1

105 CMR 451.123	Maintenance: Floor dirty under toilet in stall # 3

105 CMR 451.123*	Maintenance: Mold observed on sign over handwash sinks

105 CMR 451.123*	Maintenance: Floor tiles missing at entrance

Showers

105 CMR 451.123*	Maintenance: Shower # 5 out-of-order

105 CMR 451.130	Hot Water: Shower water temperature recorded at 900F in shower # 1

Mechanical Room

Unable to Inspect – Locked

COTTAGE # 8

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Room # 14

No Violations Noted

Room # 13

No Violations Noted

Bathroom

Unable to Inspect – In Use

2nd Floor

Tool Crib

No Violations Noted

Toxic/Caustic Room

No Violations Noted

Bathroom (near room # 12)

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.123*	Maintenance: Door knob broken

105 CMR 451.350	Structural Maintenance: Bottom rail of window broken, unable to open and close window

Room # 12

105 CMR 451.353	Interior Maintenance: Wooden door damaged

Room # 11

105 CMR 451.353	Interior Maintenance: Uncovered junction box

Room # 10

No Violations Noted

Room # 9

No Violations Noted

Hall Closet

No Violations Noted

Bathroom (near room # 6)

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1020F at handwash sink

105 CMR 451.141*	Screens: Screen missing

Room # 6

105 CMR 451.350	Structural Maintenance: Window not opening and closing properly

Room # 7

No Violations Noted

Room # 8

No Violations Noted

1st Floor

C.O.’s Office/Bathroom

105 CMR 451.350*	Structural Maintenance: Window broken

Day Room

105 CMR 451.141*	Screens: Screen damaged

C.R.A.’s Office

Unable to Inspect – In Use

Room # 3

No Violations Noted

Room # 4

105 CMR 451.103	Mattresses: Mattress damaged

Basement

Gym

105 CMR 451.141*	Screens: Screen damaged

Storage

Unable to Inspect - Locked

Laundry

105 CMR 451.353	Interior Maintenance: Dryer not vented to the exterior

105 CMR 451.353	Interior Maintenance: Pooling water behind washers

Bathroom Area

Unable to Inspect – In Use

Showers

Unable to Inspect – In Use

COTTAGE # 9

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Roof leaking

3rd Floor

Room # 13

105 CMR 451.350*	Structural Maintenance: Ceiling actively leaking

105 CMR 451.353*	Interior Maintenance: Several holes in ceiling

105 CMR 451.353*	Interior Maintenance: GFCI outlet not secured to wall

105 CMR 451.353*	Interior Maintenance: Wall damaged

Room # 12

105 CMR 451.353*	Interior Maintenance: Junction box missing cover near bunk B

Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F at handwash sink

105 CMR 451.123	Maintenance: Light shield damaged

105 CMR 451.123	Maintenance: Hole in ceiling

2nd Floor

Room # 7

105 CMR 451.353	Interior Maintenance: Light shield damaged

Room # 4

No Violations Noted

Room # 6

No Violations Noted

Bathroom (near room # 6)

Unable to Inspect – In Use

Room # 5

No Violations Noted

Room # 8

No Violations Noted

Bathroom (near room # 8)

105 CMR 451.123	Maintenance: Ceiling leaking

Room # 9

No Violations Noted

Room # 10

No Violations Noted

Room # 11

105 CMR 451.350*	Structural Maintenance: Window cracked

1st Floor

Staff Bathroom

No Violations Noted

C. O.’s Office

No Violations Noted

Counselor’s Office

Unable to Inspect – Locked

CRA Program Room

105 CMR 451.350*	Structural Maintenance: Windows not opening and closing properly

Toxic/Caustic Room

No Violations Noted

Kitchen Area

105 CMR 451.353*	Interior Maintenance: Wall damaged around sink

105 CMR 451.353	Interior Maintenance: Counter top with microwave damaged

Room # 1

105 CMR 451.141	Screens: Screen damaged

Room # 2

No Violations Noted

Basement

Laundry Area/Pool Room

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.353	Interior Maintenance: One dryer out-of-order

Janitor’s Room

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Weight Room

105 CMR 451.331*	Radiators and Heating Pipes: Wall heater missing section of covering

105 CMR 451.141*	Screens: Screen damaged

Showers

105 CMR 451.123	Maintenance: Wall board damaged in shower # 4

105 CMR 451.123	Maintenance: Wall board damaged on column in shower # 5

105 CMR 451.123	Maintenance: Wall board separating on ceiling in shower # 1 and 3

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 1–5

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower # 4 and 5

105 CMR 451.123	Maintenance: Mold observed on ceiling above showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in         shower # 2

Bathroom

105 CMR 451.123	Maintenance: Wall vent damaged

105 CMR 451.123	Maintenance: Wall board separating from door in stall # 2 and ½ wall

COTTAGE # 10

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Exterior stairs leading to cottage damaged

3rd Floor

Hallway

No Violations Noted

Room # 15

No Violations Noted

Janitor’s Closet

No Violation Noted

Room # 16

105 CMR 451.141*	Screens: Screen damaged

Bathroom (room # 16)

105 CMR 451.350*	Structural Maintenance: Window pane missing

Mop Closet

No Violations Noted

2nd Floor

Room # 9

No Violations Noted

Bathroom (room # 9)

105 CMR 451.123*	Maintenance: Wall damaged around shower head

Room # 10

105 CMR 451.350*	Structural Maintenance: Roof leaking

105 CMR 451.353*	Interior Maintenance: Wall water damaged behind bed A

105 CMR 451.353	Interior Maintenance: Hole in wall

105 CMR 451.103	Mattresses: Mattress damaged

Bathroom (room # 10)

105 CMR 451.123	Maintenance: Ceiling damaged near window

105 CMR 451.123	Maintenance: Baseboard missing

Room # 11

No Violations Noted

Room # 12

105 CMR 451.141	Screens: Screen missing

Bathroom (room # 12)

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.141*	Screens: Screen missing

Room # 14

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

105 CMR 451.353	Interior Maintenance: Wall water damaged bunk N

Bathroom (room # 14)

No Violation Noted

Room # 13

105 CMR 451.353*	Interior Maintenance: Ceiling damaged above doorway

Bathroom (room # 13)

105 CMR 451.123*	Maintenance: Mold observed on caulking between tub and shower

1st Floor

Entrance

105 CMR 451.350*	Structural Maintenance: Exterior stairs and walkway damaged

Storage / Old Office

No Violations Noted

C. O.’s Office

No Violations Noted

Inmate Waiting Area

No Violations Noted

Health Services

Room # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water handle leaking

Room # 3

105 CMR 451.353*	Interior Maintenance: Window shade ripped

Room # 4

Unable to Inspect – In Use

Room # 5

105 CMR 451.353	Interior Maintenance: Window shade damaged

Room # 6

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, plate missing inside microwave

Room # 7

No Violations Noted

Room # 8

No Violations Noted

Inmate Bathroom (outside Health Services)

No Violations Noted

Storage Room (outside Health Services)

No Violations Noted

Kitchen

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Day Room

105 CMR 451.141*	Screens: Screen missing

Staff Bathroom

105 CMR 451.123*	Maintenance: Pipe rusted and wall water damaged around pipe

Tool Crib (near Staff Bathroom)

No Violations Noted

Slop Sink Room (near Staff Bathroom)

105 CMR 451.353*                    Interior Maintenance: Light shield missing

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, light out

Basement

105 CMR 451.353*	Interior Maintenance: Ceiling heavily water damaged outside bathroom area

Weight Room

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Equipment padding damaged

105 CMR 451.350*	Structural Maintenance: Window pane broken

Utility Room

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Laundry Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Dryer # 3 not vented to the exterior, missing dryer duct

Storage Room (near laundry)

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Column damaged, wood water damaged in toilet stall # 1

105 CMR 451.123*	Maintenance: Wall board damaged in toilet stall # 3

105 CMR 451.123	Maintenance: Pooling water on floor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 4 leaking from bottom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 3 continually running

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink basin for handwash sink # 1–3 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no back flow preventer on handwash sink # 1 and 3

Shower

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower # 3 and 4

105 CMR 451.123	Maintenance: Floor tiles damaged in shower # 1

105 CMR 451.123*	Maintenance: Grout missing from floor tiles in shower # 4

105 CMR 451.123	Maintenance: Grout missing from floor tiles in shower # 2 and 3

105 CMR 451.123*	Maintenance: Wall board under shower head dirty in shower # 3

105 CMR 451.123	Maintenance: Floor dirty/discolored throughout showers

COTTAGE # 11

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

2nd Floor Stairway

No Violations Noted

Staff Office

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall vent blocked

Laundry

105 CMR 451.141	Screens: Screen missing

Room # 1 & 2

105 CMR 451.141*	Screens: Screen damaged in room # 1

105 CMR 451.141*	Screens: Screen missing in room # 2

105 CMR 451.353	Interior Maintenance: Uncovered junction box

105 CMR 451.353*	Interior Maintenance: Wall damaged near window in room # 2

Bathroom # 1 & 2

105 CMR 451.123*	Maintenance: Missing vent fan cover

105 CMR 451.123*	Maintenance: Mold observed on grout between tub and wall tiles

Room # 3 & 4

105 CMR 451.350	Structural Maintenance: Window pane broken in room # 3

105 CMR 451.353	Interior Maintenance: Uncovered junction box in room # 4

Bathroom # 3 & 4

105 CMR 451.123	Maintenance: Wall vent not functioning

105 CMR 451.123	Maintenance: Mold observed on grout

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower

Room #5 & 6

105 CMR 451.141*	Screens: Screen damaged in room # 5 and 6

Bathroom # 5 & 6

105 CMR 451.123*	Maintenance: Wall vent not functioning

105 CMR 451.123*	Maintenance: Mold observed on tile grout in shower

Room # 7 & 8

105 CMR 451.141	Screens: Screen damaged in room # 7

Bathroom # 7 & 8

Unable to Inspect – In Use

Room # 9 & 10

105 CMR 451.141	Screens: Screen damaged in room # 9

105 CMR 451.141	Screens: Screen missing in room # 10

105 CMR 451.353	Interior Maintenance: Uncovered junction box in room # 10

Bathroom # 9 & 10

105 CMR 451.123	Maintenance: Wall vent not functioning

105 CMR 451.123	Maintenance: Cap missing in tub under downspout

Janitor’s Closet

No Violations Noted

Day Room

105 CMR 451.141	Screens: Screen missing

Room # 11 & 12

No Violations Noted

Bathroom # 11 & 12

105 CMR 451.123*	Maintenance: Mold observed on caulking between wall tiles and tub

105 CMR 451.123*	Maintenance: Wall vent not functioning

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1220F

Room # 13 & 14

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged at entrance to bathroom in room # 13

Bathroom # 13 & 14

105 CMR 451.123	Maintenance: Mold observed on ceiling and caulking between shower and tub

Kitchen/Dining Area

Entrance

No Violations Noted

Dining Area

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screens not installed in exterior, screens missing

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles water stained

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, uncovered junction box near juice containers

FC 4-602.13	Cleaning of Equipment and Utensils, Frequency: Nonfood contact surfaces of equipment not cleaned at a frequency necessary to preclude accumulation of soil residues, lip under juice dispensers dirty

Janitor’s Closet

FC 6-501.16	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Wet mop stored in bucket

Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 500F at handwash sink

Visitor’s Bathroom

No Violations Noted

Storage Room

No Violations Noted

Serving Line

No Violations Noted

Main Kitchen

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, handle missing on hot holding unit

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, 3-compartment sink leaking

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged

Dishwasher Area

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screen damaged behind warewash machine

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Windows not weathertight and structurally sound, window # 3 broken

Kettle Area

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, hood filters not properly in place

Old Bakery

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screens not installed in exterior, screens missing

Diet Area

FC 6-501.114(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Non-functional equipment not repaired or removed from premises, toaster broken

Walk-in Cooler # 3

FC 3-701.11(A) 	Contaminated Food; Disposition: Unsafe, adulterated, or not honestly presented food not properly discarded or reconditionedP, rotted onions observed

Walk-in Cooler # 2

No Violations Noted

Cooler # 1

No Violations Noted

Handwash Sink

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, backflow preventer leaking

FC 5-501.16(C)	Refuse, Recyclables, and Returnables; Facilities on the Premises: No trash provided at handwash sink

Dry Storage

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, windows broken

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, dead insects observed in light shields

Inmate Bathroom

105 CMR 451.123*	Maintenance: Light shield damaged

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Tool Crib

No Violations Noted

Toxic Storage

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling leaking

105 CMR 451.123*	Maintenance: Large hole in ceiling

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Light shield not secured to ceiling

105 CMR 451.123*	Maintenance: Light shield water damaged

Storage Room

No Violations Noted

Basement

No Violations Noted

Freezer # 1

No Violations Noted

Freezer # 2

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice buildup observed around fans

Garbage Cooler # 5

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, hole in ceiling

Paper Good Storage

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, water pipe leaking

Freezer # 3

No Violations Noted

Dumpster

FC 5-501.113(B)*	Refuse, Recyclables, and Returnables: Door not kept closed on dumpster

Dry Storage

No Violations Noted

Bathroom

Unable to Inspect – Locked

Minimum Administration Building

105 CMR 451.350	Structural Maintenance: Exterior stairs and walkway damaged

1st Floor

Entrance

No Violations Noted

Deputy Superintendent’s Office

No Violations Noted

Deputy’s Bathroom

No Violations Noted

Crew Deployment Room # 101

No Violations Noted

Security Equipment Room

No Violations Noted

Lieutenant’s Office # 107

No Violations Noted

Captain/Lieutenant’s Office # 105

No Violations Noted

Parole # 103

Unable to Inspect – Locked

Auditorium/Visiting Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                  105 CMR 590.000, disposable silverware left uncovered

Closet (in Auditorium)

No Violations Noted

Women’s Visiting Bathroom

No Violations Noted

Strip Search Room

No Violations Noted

Closet

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover not secured in place

105 CMR 451.344	Illumination in Habitable Areas: Light(s) not functioning properly, light out

Men’s Visiting Bathroom

105 CMR 451.123	Maintenance: Screen damaged

Closet (in Bathroom)

Unable to Inspect – Locked

Gym

105 CMR 451.353*	Interior Maintenance: Door knob missing

105 CMR 451.350	Structural Maintenance: Window panes broken

Inmate Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 1 handwash sink out-of-order

Classrooms	Unable to Inspect Classroom # 1 – In Use

105 CMR 451.141	Screens: Screen missing and damaged in classroom # 3 and 5

105 CMR 451.141	Screens: Screen missing in classroom # 2

Office

Unable to Inspect – In Use

Mosque

Unable to Inspect – Locked

Barber Shop

105 CMR 451.141	Screens: Screen damaged

Office # 114

Unable to Inspect – Locked

Computer Lab

Unable to Inspect – Locked

Closet

No Violations Noted

Office # 110

No Violations Noted

Library # 108

No Violations Noted

Chapel

No Violations Noted

Basement

Classrooms (# 1-4)

Unable to Inspect – Not in Use

Inmate Bathroom

Unable to Inspect – Not in Use

Inmate Clubhouse (B4)

Unable to Inspect – Not in Use

Engraving Shop

Unable to Inspect – Locked

Caustic/Supply Room

105 CMR 451.353	Interior Maintenance: Three exhaust fans no longer functioning

Property

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

2nd Floor

EHSO Office # 202

No Violations Noted

Male Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water handle leaking

Female Staff Bathroom

No Violations Noted

Training Room # 203

Unable to Inspect – In Use

Closets (2)

No Violations Noted

IPS Office # 201

No Violations Noted

Training Office

105 CMR 451.353*	Interior Maintenance: Panel missing next to AC window unit

C.R.A. Office # 205

No Violations Noted

IPS Office # 207

Unable to Inspect – Locked

Attic/3rd Floor

Unable to Inspect – Not Used

Observations and Recommendations

- The inmate population was 1,321 at the time of inspection.

- The Community Sanitation Program (CSP) requests to be notified once the construction of the new Food Service Building is completed.

- At the time of inspection, the CSP recommended numbering/labeling all showers. This will assist the CSP and Department of Correction employees to better recognize where issues exist.

- At the time of the inspection, the CSP observed building # 2 and 4 continuing to deteriorate. The current state of these buildings constitutes a public nuisance and provides harborage for rodents and insects. The CSP is concerned with the structural instability of both buildings and the risks associated to the public if the buildings continue to collapse.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kerry Wagner, MPH										Environmental Health Inspector, CSP, BEH