The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center

Northampton, MA 01060

Telephone 413 586-7525, ext. 3167

Facsimile 413 784-1037

TTY 800 769-9991

charlie.kaniecki@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

June 1, 2012

Kelly Ryan, Superintendent

MCI Shirley

P.O. Box 1218

Shirley, MA 01464

Re: Facility Inspection

Dear Superintendent Ryan:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of MCI Shirley on May 21, 22, 23 and 24, 2012 accompanied by Robert Fournier, EHSO. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

ADMINISTRATION BUILDING

Hallway

No Violations Noted

Male Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Female Staff Locker Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink cracked

Male Staff Bathroom

105 CMR 451.123	Maintenance: Lockers support rusted at floor

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

No Violations Noted

Mail Room

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Counter top and sides damaged

105 CMR 451.123	Maintenance: Chair damaged, ripped

Male Bathroom

No Violations Noted

Shift Commander

FC 4-204.112(A)	Design and Construction, Functionality: No thermometer in refrigerator

Role Call Room

No Violations Noted

Break Room

FC 4-204.112(A)	Design and Construction, Functionality: No thermometer in refrigerator

Janitor’s Closet 46

105 CMR 451.123	Maintenance: Ceiling vent dusty

Vending Area

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.353	Interior Maintenance: Floor dirty behind vending units

PROGRAMS BUILDING

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Archive File Room

105 CMR 451.353*	Interior Maintenance: Missing light shields

Break Room

No Violations Noted

Room 106

No Violations Noted

Mental Health Conference Room

No Violations Noted

Chapel

No Violations Noted

Imam’s Office

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

Inmate Bathroom

No Violations Noted

Utility Room (C126)

No Violations Noted

Utility Closet

No Violations Noted

EDUCATION BUILDING

No Violations Noted

Supply Room

No Violations Noted

Staff Break Room

No Violations Noted

Inmate Bathroom

105 CMR 451.111	Inmate Toilet Supplies: Inmates not supplied with sufficient supply of soap

Mop Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in wet bucket

105 CMR 451.350	Structural Maintenance: Floor damaged

Side Exit

No Violations Noted

Library

No Violations Noted

Staff Bathroom

Unable to Inspect – In Use

Classrooms

No Violations Noted

VOCATIONAL EDUCATION

Main Door

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

Canteen Storage

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, joins sealed

Classroom

No Violations Noted

Barber Shop

105 CMR 451.123	Maintenance: Two chairs damaged, ripped padding

CRA Room

No Violations Noted

New Classrooms

Unable to Inspect – In Use

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Sewing Shop

105 CMR 451.141*	Screens: Screen damaged

Bathroom (sewing shop)

No Violations Noted

Canteen Processing Room

Unable to Inspect – Locked

Exterior Door

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged, some missing

Sewing Shop Storage Door

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Class Room # 2

105 CMR 451.123*	Maintenance: Ceiling vent blocked

Staff Bathroom

No Violations Noted

OPERATIONS/VISITING ROOM

Visiting Room

Visiting Area

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, microwave broken

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, vending machine base storing cleaning chemicals and old food

Inmate Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Tiles missing near toilet

Men’s Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Operations

Female Bathroom

No Violations Noted

Men’s Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

GYM

105 CMR 451.350*	Structural Maintenance: Insulation falling from ceiling

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight, all doors

Weight Room

105 CMR 451.353	Interior Maintenance: Ripped seats and cushions on equipment

105 CMR 451.350*	Structural Maintenance: Roof leaks

Office

105 CMR 451.350	Structural Maintenance: Water leaking near light on ceiling

Utility Room

105 CMR 451.350*	Structural Maintenance: Ceiling water stained

105 CMR 451.353*	Interior Maintenance: Mold like substance on ceiling

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Water leaking on ceiling onto electrical panels

Janitor’s Closet

No Violations Noted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1070F

105 CMR 451.123*	Maintenance: Ceiling bubbling

105 CMR 451.123*	Maintenance: Tile damaged near toilet

105 CMR 451.123	Maintenance: Wall opened from floor to ceiling

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

Storage Room

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Appearance of mold-like substance

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

OUTSIDE RECREATIONAL AREA

105 CMR 451.112	Access to Toilet Facilities: Inmate/employee lacks constant access to toilet facilities

FOOD SERVICE

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor has pulled away from the walls throughout the building

105 CMR 451.350*	Structural Maintenance: Floor not secured to the walls

Inmate Dining Area

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Floor damaged

Serving Area

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, warmer gasket damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, steamer baskets damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, door to kitchen damaged

Dish Room

105 CMR 451.353	Interior Maintenance: Uncovered electrical box behind dryer rack

Grill Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, two lights not operating over grill

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, one missing light shield

Mop Sink Area

No Violations Noted

Inmate Bathroom

No Violations Noted

FSDS Storage

No Violations Noted

Mop/Barrel Room

105 CMR 451.123	Maintenance: Ceiling vent cover missing

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, ceiling damaged by water

Pig Cooler

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and vermin tight

Tool Crib

No Violations Noted

Diet Area

105 CMR 451.353	Interior Maintenance: End oven corner damaged

Walk in Freezer

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Rear light bulbs not working

Cooler

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant or protected by light shields

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, damaged door gasket

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, damaged door near floor

Kettle Area

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs missing and no shield

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Damaged wall outlet by mixer

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Damaged wall outlet behind kettle

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair: Damaged food holder unit gasket

Dry Storage

No Violations Noted

Rear Loading Dock

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Damaged wall outlet in hallway

105 CMR 451.350	Structural Maintenance: Floor damaged

Staff Bathroom – Left

105 CMR 451.123	Maintenance: Wall damaged under toilet and near door

105 CMR 451.123	Maintenance: Toilet paper holder damaged

Staff Bathroom – Right

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Dumpster

No Violations Noted

CULINARY ARTS

Kitchen

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged behind ovens

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged near serving trays

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, near 3 bay sink

FC 6-101.11(A)(1)	Materials for Construction and Repairs: Surface not easily cleanable; Lower counters rusted

Dry Storage

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged

Dining Area

No Violations Noted

PROPERTY

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Ceiling has water damaged

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions,

boxes stored within 18 inches of ceiling

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hose connected under handsink,

no back flow protection

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink, proper soap not supplied, bar soap

being used.

Laundry Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing back flow protection

A-1 HOUSING

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.380	Access to Exits: Egress obstructed with carts stairway near cell 12 & 13

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cell # 7, 12, 23, 24, 29,

31, 32, 40, 42, 47, 53 & 60

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 17 & 43

105 CMR 451.353	Interior Maintenance: Circuit outlets overloaded in cell # 26, 34, 52, 56*, 58 & 60*

105 CMR 451.141	Screens: Screen damaged in cell # 36*, 38*, 39, 40, 41, 43*, 45, 46*, 48, 49, 50, 52,

53, 55, 59, & 60

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in cell # 11*, 17*, 20, 21, 24, 25, 26, 27,

32, 35, 36, 38, 41, 43, 44, 45, 46, 48, 49, 50, 52, 56, 59 & 60*

Janitor’s Closet (up)

No Violations Noted

Showers Lower level

105 CMR 451.123	Maintenance: Paint peeling in shower A*, B* & C

105 CMR 451.123	Maintenance: Soap scum on walls in showers A*, B* & C

105 CMR 451.123	Maintenance: Uncovered vent in shower A, B & C

105 CMR 451.123	Maintenance: Wall damaged in shower A* & B*

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower A*, B* & C

Showers Upper Level

105 CMR 451.123	Maintenance: Paint peeling in shower D*, E* & F

105 CMR 451.123	Maintenance: Soap scum on walls in shower D*, E* & F

105 CMR 451.123	Maintenance: Door damaged in shower E

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower F*, H*, I* & J*

Staff Bathroom

No Violations Noted

Staff Office

105 CMR 451.123	Maintenance: Loose ceiling vent

Janitor’s Closet (down)

No Violations Noted

A-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.123	Maintenance: Floor fan A-2 missing center hand shield

Cells

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vents blocked in cell # 2, 3*, 4*, 5*, 6, 11, 12, 14, 17, 24, 25, 32*, 34, 35, 37, 38, 39, 43, 44, 46, 55, 56 & 58

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 3, 5*, 6, 12, 13, 18*, 25, 31*, 36, 38, 39*, 42, 43, 44, 46*, 51, 52, & 54*

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 1, 2*, 3, 4*, 5, 8, 9*, 11, 12, 17, 20, 24, 28, 31, 34, 36, 37, 38, 40, 41, 42, 43*, 44, 45, 46, 48*, 49*, 50*, & 54

105 CMR 451.141	Screens: Screen damaged in cell # 1*, 5, 7, 14, 19, 31, 33, 34, 35, 37, 38, 40, 43, 45,

47, 49 & 51

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 3, 7, 8, 12, 16, 20, 22, 27, 28, 32, 34,

36, 37, 38, 40, 41, 43, 44, 45, 46, 47, 49, 50, 54, 56, 57, 58, 59 & 60

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair: floor drain near cells # 31 & 40 damaged

Janitor’s Closet (up)

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Insulation damaged

Showers Lower Level

105 CMR 451.123	Maintenance: Paint peeling in shower F & G

105 CMR 451.123	Maintenance: Wall damaged in shower F & G

Showers Upper Level

105 CMR 451.123	Maintenance: Paint peeling in shower H*, I* & J

105 CMR 451.123	Maintenance: Wall damaged in shower H*

105 CMR 451.123	Maintenance: Ceiling damaged in shower H

105 CMR 451.123	Maintenance: Light shield damaged in shower H

Staff Bathroom

No Violations Noted

Staff Office

105 CMR 451.123	Maintenance: Ceiling damaged

Bubbler

105 CMR 451.123	Maintenance: Bottom panel damaged

105 CMR 451.123	Maintenance: In wall by bubbler

Janitor’s Closet (down)

105 CMR 451.350*	Structural Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Floor buffer missing ground wire connection

B-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged

Cells

105 CMR 451.141	Screens: Screen damaged in cell # 1, 12, 14, 16, 17, 19, 20,  22*, 26, 30 & 31

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cells # 5, 14, 19,

22 & 64

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 4*, 5*, 6*, 8, 13, 16, 18, 19, 20*, 21, 22, 24, 25, 26*, 27, 35, 39, 42, 46*, 54, 55, 56 & 60*

105 CMR 451.350	Structural Maintenance: Floor damage in cell # 1, 3, 5, 6, 7, 8, 9, 11, 12, 14, 16, 17, 19, 20, 22, 26, 27 & 41

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 2, 5, 13, 14, 15, 22, 27, 30 & 38

Janitor’s Closet (up)

No Violations Noted

Showers Lower Level

105 CMR 451.123	Maintenance: Paint peeling in A*, B, C

Unable to Inspect – Under repair D & E

Showers Upper Level

105 CMR 451.123	Maintenance: Paint peeling in I*

Unable to Inspect – Under repair F, G & H

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

105 CMR 451.123	Maintenance: Floor buffer missing ground wire connection

105 CMR 451.123	Maintenance: Electric box missing cover

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

B-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vents in the block are blocked

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty in the block

Common area

105 CMR 451.350	Structural Maintenance: Floor seams not sealed.

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cell #2*, 33, 51 & 59

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 8, 10*, 11, 18 & 49

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 1, 2*, 5*, 6, 7, 8*, 10*, 11, 12, 13, 14*, 15*, 16*, 17, 19, 20*, 23, 24, 33, 39, 49, 50*, 51, 56*, 59 & 60

105 CMR 451.350	Structural Maintenance: Floor damage in cell # 2, 3, 4, 5, 6, 8, 9, 11, 12, 13, 14, 23, 25, 42 & 51

Janitor’s Closet (up)

105 CMR 451.123	Maintenance: Insulation damaged

Showers Lower Level

Unable to Inspect – Under repair in shower G

105 CMR 451.123	Maintenance: Paint peeling in C, D*, E & F*

105 CMR 451.123	Maintenance: Missing ceiling vent cover F

105 CMR 451.123	Maintenance: Soap scum on walls in shower F*

105 CMR 451.123	Maintenance: Wall damaged in B*

Showers Upper Level

Unable to Inspect – Under repair in shower H, I & J

105 CMR 451.123	Maintenance: Floor damaged outside shower

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

C-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained in block

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged

Common Area

105 CMR 451.123	Maintenance: Floor fan A-2 missing center hand shield

Cells

105 CMR 451.141	Screens: Screen damaged in cell # 1, 20, 28, 29, 30 & 34*

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 4, 8, 12, 16*, 17*, 18, 20, 27,

38, 47*, 50, 52, 53*, 54, 59 & 60

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cell # 5*, 13 & 15       105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 9, 10, 13, 14, 15, 25, 29, 30, 31,

37, 44 & 53

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 7, 10, 11, 12, 13, 14, 16, 17, 23, 24,

28, 29, 30 & 34

Janitor’s Closet (up)

105 CMR 451.353*	Interior Maintenance: Cabinet lined with cardboard

105 CMR 451.123	Maintenance: Insulation damaged

105 CMR 451.123	Maintenance: Light damaged

105 CMR 451.353	Interior Maintenance: Chemicals stored on floor

Showers Lower Level

Unable to Inspect – Shower C Occupied

105 CMR 451.123	Maintenance: Paint peeling in A*, B & D*

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Wall damaged in A*, D* & E*

Showers Upper Level

Unable to Inspect – Shower E Occupied

105 CMR 451.123	Maintenance: Wall damaged in F*,G*, H* & I*

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Wall and baseboard damaged

Staff Office

No Violations Noted

Janitor’s Closet (down)

No Violations Noted

C-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.123	Maintenance: Floor fan missing center hand shield

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cell # 25, 33 & 40

105 CMR 451.141	Screens: Screen damaged in cell # 8*, 57 & 60

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 2, 4, 8, 11, 13, 14, 16, 18, 19, 22, 23,

24, 25, 28 & 46

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 2, 18, 24, 30 & 34

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 1*, 2, 4, 6*, 7, 9*, 12*, 14*, 15, 16, 17, 20, 23, 24*, 26*, 43, 53, 56, 58 & 60

Janitor’s Closet (up)

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers Lower Level

105 CMR 451.123	Maintenance: Soap scum on walls in A* & B*

Showers Upper Level

105 CMR 451.123	Maintenance: Paint peeling in H*, I* & J*

105 CMR 451.123	Maintenance: Soap scum on walls in F* & G*

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.353	Interior Maintenance: Missing shield on fan

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

D-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Roof leaks, ceiling tiles water stained

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 34

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 5*

105 CMR 451.350	Structural Maintenance: Floor damaged in cells # 28 & 30

Janitor’s Closet (up)

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

Showers Lower Level

105 CMR 451.123	Maintenance: Soap scum on walls in shower A, B* & C*

105 CMR 451.123	Maintenance: Paint peeling in shower D

105 CMR 451.123	Maintenance: Wall damaged in shower C*

Showers Upper Level

105 CMR 451.123	Maintenance: Wall damaged in F & H

105 CMR 451.123	Maintenance: Paint peeling in E

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 134oF

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.353	Interior Maintenance: Light damaged

105 CMR 451.353	Interior Maintenance: Vent cover missing

D-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Roof leaks

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 2, 8, 9, 10, 11, 18, 20, 22, 23, 24,

25, 30 & 47

105 CMR 451.141	Screens: Screen damaged in cell # 22

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cell # 53

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 13, 28 & 53

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 1, 2, 3, 4, 5, 7, 8, 9, 10, 11,12, 14, 15, 16, 17, 19, 20, 21, 22, 23, 24, 25 & 26

Janitor’s Closet (up)

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Showers Lower Level

Unable to Inspect – Shower A Occupied

105 CMR 451.123	Maintenance: Floor not sealed in shower B

Showers Upper Level

105 CMR 451.123	Maintenance: Floor not sealed in shower H, I & J

105 CMR 451.123	Maintenance: Walkway drain damaged

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.353	Interior Maintenance: Ceiling vent damaged

E-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Cells

105 CMR 451.350*	Structural Maintenance: Paint peeling in cell # 31

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell #14*, 15, 18*, 22*, 26, 29, 30*,

38, 39*, 40, 43, 47, 52, 54*, 58, 59 & 60

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 11, 19, 21, 23, 24 & 31

Janitor’s Closet (up)

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

105 CMR 451.353	Interior Maintenance: Missing knock out cap on electric box

105 CMR 451.353	Interior Maintenance: Damaged outlet plug on fan

Showers Lower Level

Unable to Inspect – Shower A Occupied

105 CMR 451.123	Maintenance: Floor not sealed in shower B

Showers Upper Level

Unable to Inspect – Shower D & E Occupied

105 CMR 451.123	Maintenance: Wall damaged in G, I & J*

105 CMR 451.123	Maintenance: Walkway drain damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Paint peeling near baseboards

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Wall paint peeling

105 CMR 451.353	Interior Maintenance: Missing knock out cap on 2 electric boxes

E-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 19 & 60*

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 2, 6, 7, 9, 11*, 13*, 14, 15, 17*, 21*, 29, 30, 36*, 42, 48, 51, 52*, 53*, 54, 55 & 56

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 7, 8, 9, 10, 14, 15 & 19

105 CMR 451.101	Blankets: Blanket damaged in 19

Janitor’s Closet (up)

105 CMR 451.353*	Interior Maintenance: Vent dusty

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Damaged light

Showers Lower Level

Unable to Inspect – Shower C & D Occupied

105 CMR 451.123	Maintenance: Paint peeling in shower A

Showers Upper Level

Unable to Inspect – Shower E Occupied

105 CMR 451.123	Maintenance: Paint peeling in H*, I* & J*

105 CMR 451.123	Maintenance: Wall damaged in shower J

105 CMR 451.123	Maintenance: Walkway drain damaged

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

No Violations Noted

F-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Damaged window at entry area

Cells

105 CMR 451.141	Screens: Screen damaged in cell # 18, 20, 22, 24, 28, 30*, 32 & 47

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell #1*, 2, 5, 10, 11*, 12, 14*, 15*, 16*, 18*, 21, 22-26*, 27, 28, 31, 33*, 34*, 35, 36*, 38*, 39, 40, 42*, 52*, 55* & 56*

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 6, 10, 11, 14, 16, 18, 20, 22,

25, 27 & 58

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 51

Janitor’s Closet (up)

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

Showers Lower Level

105 CMR 451.123	Maintenance: Paint peeling in A*, B* & C*

Showers Upper Level

Unable to Inspect – Shower E, F, & G Occupied

105 CMR 451.123	Maintenance: Paint peeling in D*

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.123	Maintenance: Floor buffer missing ground wire connection

F-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in block

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 17* & 54

105 CMR 451.141	Screens: Screen damaged in cell # 24

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 1, 15*, 17, 18, 19, 21*, 32, 41*, 44, 50*, 54*, 55*, 58 & 59

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 5, 7, 13, 16, 17, 20 & 24

Janitor’s Closet (up)

105 CMR 451.350*	Structural Maintenance: Paint peeling

105 CMR 451.353	Interior Maintenance: Chemicals stored on floor

Showers Lower Level

Unable to Inspect – Shower C, D, & E Occupied

105 CMR 451.123	Maintenance: Paint peeling in shower A* & B*

Showers Upper Level

Unable to Inspect – Shower F & G Occupied

105 CMR 451.123	Maintenance: Paint peeling in shower D*

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.353*	Interior Maintenance: Ceiling and wall paint peeling

SMU BUILDING

Visiting Room

105 CMR 451.350*	Structural Maintenance: Wall and tile damaged

Triage Room

105 CMR 480.300(A)                 Packaging, Labeling, and Shipping: Biohazard material not labeled

105 CMR 451.353	Interior Maintenance: Counter damaged

Capt. Office

Unable to Inspect – Locked

Lieutenant Office

FC 6-501.11	Maintenance and Operation; Repairing: Equipment not in good repair, microwave damaged

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Staff Bathroom

No Violations Noted

Kitchen Area

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions,

boxes stored within 18 inches of ceiling

Sergeant’s Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Missing drain cover in slop sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.353	Interior Maintenance: Light damaged

105 CMR 451.353	Interior Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Light shield missing

Control

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.353*	Interior Maintenance: Missing light covers

105 CMR 451.353*	Interior Maintenance: Missing cover on electrical box

105 CMR 451.123	Maintenance: Floor fan missing part of the hand shield

Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles water stained

105 CMR 451.123*	Maintenance: Ceiling tiles missing

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

SMU 1

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in copy room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained in block

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 2*, 3, 5*, 10, 12, 13, 23*, 27,

28 & 30

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 14

105 CMR 451.353	Interior Maintenance: Light blocked in cell # 13, 15, 18, 19, 20, 21, 22, 25 & 27

Showers Lower Level

105 CMR 451.123	Maintenance: Paint peeling in shower A, B & C

105 CMR 451.123	Maintenance: Floor paint peeling in all showers

Showers Upper Level

105 CMR 451.123	Maintenance: Shower dirty in shower D & E

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower D* leaking

105 CMR 451.123	Maintenance: Floor paint peeling in all showers

SMU 2

Law Library

105 CMR 451.353	Interior Maintenance: Ceiling damaged

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell #1*, 3*, 4*, 6, 7, 11*, 12, 14, 15, 18,

19, 20*, 21*, 23, 25*, 26* & 27*

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vents blocked in cell # 4, 6, 7, 9, 11, 24, 25, 26 & 29

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in cell # 21

105 CMR 451.103	Mattresses: Mattress damaged in cell # 28

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 13, 17, 18, 19, 26 & 29

Showers

105 CMR 451.353	Interior Maintenance: Walls and ceilings dirty in shower A, B & C

105 CMR 451.123	Maintenance: Soap scum on walls in shower A*, B* & C*

105 CMR 451.123	Maintenance: Paint peeling in shower A*, C*, D* & E*

HSU BUILDING

Booking

Cell 2

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

Cell 3

No Violations Noted

Holding Cell

No Violations Noted

Strip Room

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Assisted Daily Living (ADL)

Trauma Room

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 480.300(A)                 Packaging, Labeling, and Shipping: Biohazard material not labeled

Med Room – C110

No Violations Noted

Main Ward

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

105 CMR 451.103	Mattresses: Mattress damaged bed # 2

105 CMR 451.123	Maintenance: Damaged ceiling in shower across from bed 10 & 11

105 CMR 451.126	Hot Water: Hot water temperature recorded at 112oF at shower

Day Room

105 CMR 451.123	Maintenance: Light fixture loose from ceiling

105 CMR 451.123	Maintenance: Damaged chair, ripped

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350	Structural Maintenance: Wall damaged, baseboard

Room 1

No Violations Noted

Room 2

No Violations Noted

Hallway

105 CMR 451.350	Structural Maintenance: Floor damaged

Staff Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in wet bucket

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

105 CMR 451.123	Maintenance: Open chemical bottle

Bathroom in Room 3

No Violations Noted

Bathroom (across from Room 2)

No Violations Noted

Cell 7

No Violations Noted

Med Line

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Wall damaged need wall painted by AC unit

Men’s Staff Bathroom

No Violations Noted

Women’s Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Tile damaged behind toilet

Office #136

105 CMR 451.350*	Structural Maintenance: Wall damage

Treatment 1

105 CMR 451.350	Structural Maintenance: Wall damaged

Optical Room C 127

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.350	Structural Maintenance: Wall damaged

Staff Break Room

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, microwave broken

105 CMR 451.353		Interior Maintenance: Floor dirty

Bathroom C103

No Violations Noted

Room C115

105 CMR 451.103	Mattresses: Mattress damaged on exam table

Inmate Bathroom

105 CMR 451.350	Structural Maintenance: Wall damaged behind toilet

Hallway

105 CMR 451.350	Structural Maintenance: Floor damaged outside inmate bathroom

Med Records – Front

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Exposed wiring

Med Records - Back

105 CMR 451.350	Structural Maintenance: Floor damaged

Staff Room 103

No Violations Noted

Janitor’s Closet C114

105 CMR 451.350*	Structural Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Vent dusty

Dental

Unable to Access - Locked

Medical Storage C118

105 CMR 451.123	Maintenance: Vent blocked

105 CMR 451.123	Maintenance: Ceiling damaged

Dorm 128

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Dorm 127

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Soap dispenser broken

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Janitor’s Closet C111

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Dorm 126

105 CMR 451.350*	Structural Maintenance: Tiles damaged on wall

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper

105 CMR 451.103	Mattresses: Mattress damage, ripped

Dorm 125

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.350*	Structural Maintenance: Floor tile damaged

105 CMR 451.103	Mattresses: Mattress damaged, stained with a red substance

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper

105 CMR 451.123	Maintenance: Ceiling vent dusty

Dialysis Unit (124)

105 CMR 451.350*	Structural Maintenance: Wall paint damaged

105 CMR 451.130*	Plumbing: Pipes draining into toilet

Bubbles Room

105 CMR 451.103	Mattresses: Mattress damaged, ripped, bed 106

PT Room

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Holes in the wall in shower A

105 CMR 451.123*	Maintenance: Wall damaged in shower A

105 CMR 451.123*	Maintenance: Floor tile damaged in shower C

105 CMR 451.123	Maintenance: Paint peeling in A, B & C

Kitchen (113)

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a

state of good repair, refrigerator damaged

Biohazard Storage

105 CMR 480.500(B)(1)*	Procedures; Records; Record-Keeping Log: Improper record keeping

105 CMR 451.123	Maintenance: Wall damaged

MAINTENANCE/INDUSTRIES/LAUNDRY

Laundry

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight, exterior door damaged at

bottom

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Wall damaged behind dryers

Toxic/Caustic Room

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Office

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Light damaged

Hazardous Storage

No Violations Noted

Hallway to Maintenance

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Ceiling not painted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1350F

Inmate Bathroom

No Violations Noted

Utility Room

No Violations Noted

Supply Crib (125)

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions,

boxes stored within 18 inches of ceiling

Janitor’s Closet

No Violations Noted

Chemical Supply Crib

Unable to Access - Locked

Office 132

105 CMR 451.353	Interior Maintenance: Ceiling wall not cleanable needs painting

Maintenance Shop

105 CMR 451.353	Interior Maintenance: Ceiling not cleanable, not painted

105 CMR 451.353	Interior Maintenance: Wall not cleanable, not painted

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

Tool Crib

105 CMR 451.350*	Structural Maintenance: Paint peeling

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Appearance of a mold like substance

Industries

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Ceiling damaged throughout

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.350*	Structural Maintenance: Appearance of mold growth in the corners of the building

Room 111

105 CMR 451.353*	Interior Maintenance: Exposed wiring

Storage Warehouse

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Janitor’s Closet

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Hole in ceiling

105 CMR 451.126	Hot Water: Hot water temperature recorded at 138oF

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Hole in ceiling and appearance of mold growth

Inmate Bathroom

105 CMR 451.350*	Structural Maintenance: Ceiling leaks, holes in ceiling, ceiling peeling, floor cracked, portion of ceiling removed

105 CMR 451.350*	Structural Maintenance: Water damaged and appearance of mold

105 CMR 451.350*	Structural Maintenance: Missing tiles

TOWERS

Tower 1

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Exposed wiring in electrical room

105 CMR 451.350*	Structural Maintenance: Paint peeling in weapons locker

105 CMR 451.350*	Structural Maintenance: Door damaged

Tower 2

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Door sill damaged

105 CMR 451.350	Structural Maintenance: Ceiling Damaged

105 CMR 451.353	Interior Maintenance: Chair damaged, back support

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Tower 3

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.350*	Structural Maintenance: Ceiling tile damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged next to toilet

105 CMR 451.350*	Structural Maintenance: Baseboards damaged

105 CMR 451.350*	Structural Maintenance: Roof leaking

WAREHOUSE

105 CMR 451.344                  Illumination in Habitable Areas: The side storage area lacks lighting

Medium Freezer

FC 6-501.11*	Maintenance and Operation; Repairing: Equipment not in good repair, ceiling damaged

105 CMR 451.353	Interior Maintenance: Missing light shield

Medium Walk-In Cooler

No Violations Noted

Hot Water Heating Room

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Medium Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles water stained

105 CMR 451.126	Hot Water: Hot water temperature recorded at 100 oF

MODULAR A

Central Area

105 CMR 451.123	Maintenance: Vent dusty

Toxic/Caustic Room

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Missing vent cover

Offices A-E

No Violations Noted

Library

No Violations Noted

Rooms

Room 1

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.123	Maintenance: Vent loose to ceiling

Room 2

105 CMR 451.123	Maintenance: Ceiling tiles loose

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.123	Maintenance: Damaged chair, ripped

105 CMR 451.123	Maintenance: Damaged knee pad, ripped

Room 3

105 CMR 451.141	Screens: Screen damaged

Room 4

105 CMR 451.141	Screens: Screen damaged

Room 5

105 CMR 451.141	Screens: Screen damaged

Room 6

105 CMR 451.141	Screens: Screen damaged

Room 7

105 CMR 451.141	Screens: Screen damaged

Room 8

No Violations Noted

Room 9

No Violations Noted

Room 10

105 CMR 451.141	Screens: Screen damaged

MODULAR B

C.O.’s Office

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.123*	Maintenance: Missing vent cover in bathroom

105 CMR 451.350	Structural Maintenance: Floor tile damaged

Common/Day Room

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.123	Maintenance: Electric outlet 220v not secured

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Bathroom Area

105 CMR 451.123*	Maintenance: Missing tiles near toilets

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Floor damaged near old washing machine area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, open sewer line

Shower Chase

No Violations Noted

Phone Room

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.353	Interior Maintenance: Electric outlet cover missing and another one loose to wall

Law Library

105 CMR 451.350	Structural Maintenance: Baseboard damaged

Room 2 Barber

No Violations Noted

Room 3

Unable to Inspect – In use

Room 4 Parole Hearing

105 CMR 451.350	Structural Maintenance: Baseboard damaged

105 CMR 451.353	Interior Maintenance: Electric outlet loose to wall

105 CMR 451.123*	Maintenance: Light fixture taped

Room 5

No Violations Noted

Room 6

No Violations Noted

Room 7

No Violations Noted

Room 8

No Violations Noted

Room 9

Unable to Inspect – In use

Room 10

No Violations Noted

COTTAGE 6

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Roof shingles in disrepair

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Heater damaged

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.123	Maintenance: Light fixture loose on ceiling

Storage

105 CMR 451.123	Maintenance: Floor buffer missing ground wire connection

Room 9

No Violations Noted

Room 10

105 CMR 451.353	Interior Maintenance: Light shield damaged

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Window damaged

105 CMR 451.123	Maintenance: Ceiling not easily cleanable

Room 11

105 CMR 451.123	Maintenance: Floor fan missing ground wire connection

1st Floor

Room 8

105 CMR 451.353	Interior Maintenance: Light shield damaged

105 CMR 451.141	Screens: Screen damaged

Room 7

105 CMR 451.123	Maintenance: Wall not easily cleanable

Room 5

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.353	Interior Maintenance: Wiring to ceiling light exposed

Room 6

105 CMR 451.353	Interior Maintenance: Light damaged

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, pipes exposed by old tub

105 CMR 451.353	Interior Maintenance: Gap between wall and sink

Room 3

105 CMR 451.123	Maintenance: Wall not easily cleanable

105 CMR 451.123	Maintenance: Shower curtain not secured

Room 4

105 CMR 451.353*	Interior Maintenance: Wall outlet damaged

Room 1

105 CMR 451.141	Screens: Screen missing

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room 2

105 CMR 451.123*	Maintenance: Paint peeling

Recreation Room

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.350*	Structural Maintenance: Window doesn’t stay open

105 CMR 451.350	Structural Maintenance: Five damaged windows

Bathroom

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.123	Maintenance: Ceiling vent dusty

Tool Crib

105 CMR 451.353*	Interior Maintenance: Missing light shield

Room 14

105 CMR 451.123	Maintenance: Wall damaged

Kitchen Area

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	the handwashing sink

105 CMR 451.353*	Interior Maintenance: Cabinets damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1350F at hand sink

CO/CPO Office

No Violations Noted

Toxic/Caustic Closet

105 CMR 451.353*	Interior Maintenance: Light shield missing

Basement

105 CMR 451.350*	Structural Maintenance: Wall damaged by small door in stairway

105 CMR 451.123	Maintenance: Ceiling paint peeling in stairway

Laundry

105 CMR 451.350*	Structural Maintenance: Wall damaged

Recreation Area

105 CMR 451.353	Interior Maintenance: Exposed wiring in 3 areas of the ceiling

Gym

105 CMR 451.353	Interior Maintenance: Exposed wiring at box

105 CMR 451.353	Interior Maintenance: Damaged, ripped seats and cushions on 2 exercise machines

Supply

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Uncovered junction box

105 CMR 451.123*	Maintenance: Ceiling fan dusty

105 CMR 451.123	Maintenance: Fan wiring hung over sink

Hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Property                                     Unable to access - Locked

COTTAGE 7

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Room 12

105 CMR 451.141*	Screens: Screen damaged

Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

2nd Floor

Room 4

No Violations Noted

Room 5

105 CMR 451.353*	Interior Maintenance: Damaged light cover

Room 6

105 CMR 451.103*	Mattresses: Mattress damaged, ripped

105 CMR 451.353	Interior Maintenance: Missing light cover

Room 7

105 CMR 451.353	Interior Maintenance: Missing light cover in closet

105 CMR 451.353	Interior Maintenance: Wall not cleanable

Room 8

105 CMR 451.353	Interior Maintenance: Ceiling tiles loose

105 CMR 451.350	Structural Maintenance: Window cracked

Room 9

105 CMR 451.350*	Structural Maintenance: Ceiling tile damaged

Room 10

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.353	Interior Maintenance: Missing light shield

Bathroom (near room 10)

105 CMR 451.123*	Maintenance: Tiles damaged wall

105 CMR 451.123*	Maintenance: Ceiling paint peeling

105 CMR 451.123*	Maintenance: Paint peeling at window sill

105 CMR 451.350	Structural Maintenance: Floor damaged under toilet

105 CMR 451.350	Structural Maintenance: Entry door does not close properly

Room 11

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Three lights not working properly

Tool Crib

Unable to Access - Locked

Phone Area

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

Bathroom (near room 4)

No Violations Noted

1st Floor

Entry

No Violations Noted

Recreation Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Office

105 CMR 451.353*	Interior Maintenance: Exposed wires

Room 1

No Violations Noted

Room 2

No Violations Noted

Room 3

105 CMR 451.103*	Mattresses: Mattress damaged, ripped

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

Basement

No Violations Noted

Laundry

No Violations Noted

Storage Room

105 CMR 451.350*	Structural Maintenance: Paint peeling

105 CMR 451.353*	Interior Maintenance: Missing light covers

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Recreation Area

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Light cover missing

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Ripped seat and cushion on 1 exercise machines

Toxic/Caustic Room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.123*	Maintenance: Appearance of mold in showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.123*	Maintenance: Outlets are not GFI

105 CMR 451.350	Structural Maintenance: Ceiling peeling

105 CMR 451.350*	Structural Maintenance: Privacy barrier tied to electric piping

105 CMR 451.126	Hot Water: Hot water temperature recorded at 105oF

Rear Foyer Exit

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Door damaged

105 CMR 451.353*	Interior Maintenance: Uncovered junction box

105 CMR 451.353	Interior Maintenance: No working lights

COTTAGE 8

105 CMR 451.350*	Structural Maintenance: Peeling paint

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Room 14

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.353*	Interior Maintenance: Shades tattered

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Room 13

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Window damaged

Bathroom

105 CMR 451.123*	Maintenance: Wall damaged behind toilet

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

2nd Floor

Bathroom (near room 12)

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Paint peeling at window sill

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Tool Crib

105 CMR 451.353*	Interior Maintenance: Missing light shield

Toxic/Caustic Room

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Room 10

105 CMR 451.123	Maintenance: Wall damaged

Room 11

105 CMR 451.123*	Maintenance: Wall damaged

Room 12

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Hallway

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged

Room 8

105 CMR 451.350*	Structural Maintenance: Door jam damaged

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

Bathroom (near room 6)

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.141*	Screens: Screen doesn’t fit the window

105 CMR 451.123*	Maintenance: Radiator rusty

Room 9

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.353	Interior Maintenance: Missing light shields

Room 7

105 CMR 451.141*	Screens: Screen damaged

Room 6

105 CMR 451.350*	Structural Maintenance: Wall damaged

1st Floor

Dining Room

FC 6-202.11(A)*		Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 				or protected by light shields

105 CMR 451.141*	Screens: Screen doesn’t fit window

Room 5

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.141*	Screens: Screen doesn’t fit window

105 CMR 451.350*	Structural Maintenance: Ceiling blistering

Room 3

105 CMR 451.350*	Structural Maintenance: Paint peeling at window

105 CMR 451.141	Screens: Screen damaged

Room 4

105 CMR 451.141*	Screens: Screen doesn’t fit window

105 CMR 451.350	Structural Maintenance: Door doesn’t close

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.103	Mattresses: Mattress damaged, ripped on bed B

Hallway

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Wall damaged

Officer’s Bathroom

No Violations Noted

Basement

No Violations Noted

Gym

105 CMR 451.350*	Structural Maintenance: Hole in floor

105 CMR 451.353*	Interior Maintenance: Light not working properly

105 CMR 451.353	Interior Maintenance: Ripped seat and cushions on 2 exercise machines

Storage

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Exposed wires

105 CMR 451.123	Maintenance: Open paint cans on floor

Laundry

105 CMR 451.350*	Structural Maintenance: Ceiling peeling and damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

Bathroom

105 CMR 451.123*	Maintenance: Floor tiles missing

105 CMR 451.123*	Maintenance: Appearance of mold in showers

105 CMR 451.353	Interior Maintenance: Ceiling vent missing

105 CMR 451.353	Interior Maintenance: Floor drain loose to the floor

Rear Foyer Exit

105 CMR 451.350*	Structural Maintenance: Door damaged

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Floor peeling

COTTAGE 9

105 CMR 451.350*	Structural Maintenance: Front steps have cracks

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Room 13

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.344*	Illumination in Habitable Areas: Light fixture not shielded in closet

Room 12

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not shielded in closet

Bathroom

Unable to Inspect – In use

2nd Floor

Room 7

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Wall damaged by phone in hallway

105 CMR 451.350*	Structural Maintenance: Wall damaged

Room 4

105 CMR 451.353	Interior Maintenance: Circuits overloaded in room

Hallway (near room 5 & 6)

No Violations Noted

Room 6

105 CMR 451.353	Interior Maintenance: Window damaged

Bathroom (near room 6)

Unable to Inspect – In Use

Room 5

No Violations Noted

Room 8

No Violations Noted

Bathroom (near room 8)

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1330F

Room 9

105 CMR 451.353*	Interior Maintenance: Two windows damaged, cracked panes

105 CMR 451.141*	Screens: Screen damaged/missing

Room 10

No Violations Noted

Room 11

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

105 CMR 451.353	Interior Maintenance: Window damaged

105 CMR 451.103	Mattresses: Mattress ripped on bed D

1st Floor

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Shade damaged

105 CMR 451.353	Interior Maintenance: Rusted heater

C. O’s Office

105 CMR 451.353*	Interior Maintenance: Exposed wires

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Counselor’s Office

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

Day Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

105 CMR 451.353*	Interior Maintenance: Missing light cover

105 CMR 451.353	Interior Maintenance: Walls, paint peeling

Toxic/Caustic Room

Unable to Inspect – Locked

Kitchen Area

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily cleanable damaged

105 CMR 451.350	Structural Maintenance: Hole in floor by sink

105 CMR 451.353	Interior Maintenance: Wiring from floor taped to pipe to ceiling

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Room 1

105 CMR 451.141*	Screens: Screen damaged/missing

Room 2

No Violations Noted

Basement

105 CMR 451.123	Maintenance: Low hanging pipe over basement stairway. Needs padding and visibility

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not shielded by telephone area

Bathroom Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, showers leaking

105 CMR 451.123*	Maintenance: Tiles missing on wall and floor

105 CMR 451.123*	Maintenance: Tile damaged in showers

105 CMR 451.123*	Maintenance: Wall damaged in showers

105 CMR 451.123	Maintenance: GFI electric outlet blackened

105 CMR 451.123	Maintenance: Mop sink damaged

Laundry Area

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Uncovered electrical box

105 CMR 451.350*	Structural Maintenance: Ceiling paint flaking

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated “burn hazard”

105 CMR 451.353*	Interior Maintenance: Pipes covered with tape on ceiling

105 CMR 451.141	Screens: Screen missing

105 CMR 451.123	Maintenance: Electric wires hanging from ceiling

105 CMR 451.123	Maintenance: Electric wire at ceiling, damaged insulation

105 CMR 451.123	Maintenance: Window propped open

105 CMR 451.123	Maintenance: Center washing machine leaking from drain area

Pool Room

105 CMR 451.123	Maintenance: Open electric box

105 CMR 451.123	Maintenance: Ceiling paint peeling

Supply/Janitor’s Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Weight Room

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123	Maintenance: Heater cover missing

105 CMR 451.353	Interior Maintenance: Ripped seat and cushions on exercise machine

COTTAGE 10

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Hallway

No Violations Noted

Room 15

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.141	Screens: Screen damaged/missing

Room 16

105 CMR 451.141*	Screens: Screen damaged

Bathroom (room 16)

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Missing light covers

105 CMR 451.353	Interior Maintenance: Door Jam damaged

105 CMR 451.346	Safe Wiring: Inappropriate use of temporary wiring through doorway

105 CMR 451.123	Maintenance: Light damaged

2nd Floor

Room 9

No Violations Noted

Bathroom (room 9)

No Violations Noted

Room 10

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.141*	Screens: Screen doesn’t fit window

Bathroom (room 10)

105 CMR 451.123*	Maintenance: Ceiling cracked

105 CMR 451.141	Screens: Screen doesn’t fit window

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1330F

Room 11

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Room 12

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Bathroom (room 12)

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.141*	Screens: Screen, missing

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Sink damaged

Room 14

105 CMR 451.353*	Interior Maintenance: Shade tattered

105 CMR 451.350*	Structural Maintenance: Wall damage, plastic over wall

105 CMR 451.350*	Structural Maintenance: Ceiling leaks

Bathroom (room 14)

No Violations Noted

Room 13

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

Bathroom (room 13)

105 CMR 451.350*	Structural Maintenance: Tiles damaged by window

1st Floor

Staff Bathroom

105 CMR 451.123	Maintenance: Rusty locker

105 CMR 451.353	Interior Maintenance: Light shield missing

Slop Sink Room

No Violations Noted

Toxic/Caustic Room

105 CMR 451.353*	Interior Maintenance: Missing light cover

105 CMR 451.123	Maintenance: Chemical bottle stored on floor

Storage

No Violations Noted

Visiting/Eating Area

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.350*	Structural Maintenance: Window doesn’t stay open

105 CMR 451.141*	Screens: Screen doesn’t fit frame

Visitor’s Bathroom

No Violations Noted

Kitchen

FC 6-202.15(A)(3)*		Design, Construction, and Installation; Functionality: Outer door not insect and rodent 				tight, no screen

Health Services

Room 2

No Violations Noted

Room 3

No Violations Noted

Room 4

105 CMR 480.500(B)(2)*	Procedures; Records; Record-Keeping Log: Biohazard waste shipping papers not properly documented

Room 5

No Violations Noted

Room 6

No Violations Noted

Room 7

105 CMR 480.500(B)(2)*	Procedures; Records; Record-Keeping Log: Biohazard waste shipping papers not properly documented

Room 8

No Violations Noted

C. O.’s Office

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Basement

Rear Foyer Exit

105 CMR 451.350*	Structural Maintenance: Ceiling flaking

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Door damaged

105 CMR 451.353*	Interior Maintenance: Missing electrical cover

105 CMR 451.350*	Structural Maintenance: Transom damaged

105 CMR 451.350*	Structural Maintenance: Ceiling and wall damaged

Weight Room

105 CMR 451.350*	Structural Maintenance: Windows don’t stay open

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.353	Interior Maintenance: Peck and hamstring machine padding damaged, as well as the quad bench

Utility Room

105 CMR 451.350*	Structural Maintenance: Unfinished wall

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged in hallway

105 CMR 451.123	Maintenance: Floor buffer missing ground wire connection

Laundry Area

No Violations Noted

Storage Room (old barber shop)

105 CMR 451.353*	Interior Maintenance: Missing vent cover

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.123	Maintenance: Electric face plate missing on switch and outlet

Utility Room (next to shower)

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Wall tiles missing

Hallway (next to shower)

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Bathroom

105 CMR 451.123*	Maintenance: Missing floor tiles

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Exposed plywood in stalls

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

COTTAGE 11

105 CMR 451.350*	Structural Maintenance: Entry way damaged

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Window damaged

2nd Floor Stairway

105 CMR 451.141	Screens: Screen damaged

Staff Office

105 CMR 451.141	Screens: Screen missing

Staff Bathroom

105 CMR 451.123*	Maintenance: Unfinished ceiling

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, no hot water

105 CMR 451.126	Hot Water: Hot water temperature recorded at 870F

Laundry

105 CMR 451.353	Interior Maintenance: Window supported by stick

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

Rooms 1 & 2

105 CMR 451.141	Screens: Screen missing in room # 1

105 CMR 451.141*	Screens: Screen damaged room # 2

Bathroom 1 & 2

105 CMR 451.123*	Maintenance: Unfinished ceiling

Rooms 3 & 4

105 CMR 451.141*	Screens: Screen damaged/missing in room # 3

105 CMR 451.123	Maintenance: Ceiling damaged in room # 3

Bathroom 3 & 4

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Rooms 5 & 6

105 CMR 451.141	Screens: Screen in room # 5 doesn’t fit window

Bathroom 5 & 6

105 CMR 451.353	Interior Maintenance: Fan missing light shield

Rooms 7 & 8

105 CMR 451.141*	Screens: Screens don’t fit windows in room # 7

105 CMR 451.350	Structural Maintenance: Wall damaged in room # 7

Bathroom 7 & 8

105 CMR 451.353*	Interior Maintenance: Missing light shield

105 CMR 451.350	Structural Maintenance: Ceiling unfinished

Room 9 & 10

105 CMR 451.141*	Screens: Screen doesn’t fit window in room # 10

105 CMR 451.350	Structural Maintenance: Window damaged in room # 9

105 CMR 451.350	Structural Maintenance: Wall damaged in room # 9

Bathroom 9 & 10

105 CMR 451.123*	Maintenance: Fan cover missing

Rooms 11 & 12

No Violations Noted

Bathroom 11 & 12

105 CMR 451.123*	Maintenance: Vent dusty

Room 13 & 14

105 CMR 451.353*	Interior Maintenance: Uncovered electrical box

105 CMR 451.141*	Screens: Screen doesn’t fit window in room #14

105 CMR 451.350*	Structural Maintenance: Wall damaged in room #14

105 CMR 451.350*	Structural Maintenance: Floor damaged in room #14

Bathroom 13 & 14

105 CMR 451.353	Interior Maintenance: Ceiling not painted

Janitor’s Closet

105 CMR 451.350*	Structural Maintenance: Wall tiles damaged

105 CMR 451.353	Interior Maintenance: Electric box open

105 CMR 451.353	Interior Maintenance: Missing light shield

Day Room

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.353*	Interior Maintenance: Wall corner damaged

KITCHEN/DINING AREA

Dishwasher Area

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screens don’t fit the windows

105 CMR 451.350	Structural Maintenance: Window doesn’t stay open

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the	mechanical warewashing machine, tested 3 times over two day period

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, water leaking from dishwasher at electrical motor and other areas

Main Kitchen

105 CMR 451.126	Hot Water: Hot water temperature recorded at 88oF at hand wash sink

105 CMR 451.353	Interior Maintenance: End cap missing on wall heater

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a

state of good repair, 2 bay sink’s shower drops into sink water, concern of back flow

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, open sewer pipe at floor of

2 bay sink

FC 3-304.12(A)	Preventing Contamination from Utensils: Ice scoop not stored properly, was in ice

Kettles

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing or loose floor

drain covers

105 CMR 451.353	Interior Maintenance: Floor damaged by mixer

Cooler 1

FC 3-701.11(A)	Contaminated Food, Disposition: Unsafe, adulterated, or not honestly presented food	not properly reconditioned or discarded, large bag of decayed carrots

1199 Walk In – Cooler 2

105 CMR 451.353	Interior Maintenance: Missing light shield

1194 Walk In – Cooler 3

No Violations Noted

Slop Sink/Electrical Room

No Violations Noted

Dry Storage

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

Tool Crib

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screens not installed in exterior 	windows

Storage

105 CMR 451.350*	Structural Maintenance: Wall damaged

Inmate Bathroom

No Violations Noted

Diet Area

105 CMR 451.350	Structural Maintenance: Hole in sewer cap near potato peeler

Old Bakery

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling not

smooth

105 CMR 451.346                      Safe Wiring: Use of extension cord as temporary wiring, extension cord used to

operate Blodgett ovens

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wooden blocks used to lift pizza

oven 6 inches off floor

Dining Area

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens not properly installed in exterior	windows, screen damaged

Janitor’s Closet

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored on wall

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Door damaged

105 CMR 451.123	Maintenance: Rusty privacy divider

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 98oF at hand wash sink

105 CMR 451.123	Maintenance: Ceiling damaged

Storage Area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

Women’s Room

105 CMR 451.123*	Maintenance: Wall and baseboard damaged

105 CMR 451.141*	Screens: Screen doesn’t fit the window

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink drains slowly

105 CMR 451.350	Structural Maintenance: Window propped open

Strip Room

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screens not installed in exterior 	windows

105 CMR 451.360	Protective Measures: Insects/ insects observed, bee’s nest

Basement

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Freezer 1

No Violations Noted

Freezer 2

105 CMR 451.123	Maintenance: Ceiling paint peeling

Cooler 5

105 CMR 451.123	Maintenance: Ceiling paint peeling

Dry Storage

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screens not installed in exterior 	windows

105 CMR 451.123	Maintenance: Emergency light damaged outside doorway

105 CMR 451.123	Maintenance: Electric wires hanging from ceiling in many areas

105 CMR 451.123	Maintenance: Floor expansion joins not sealed

105 CMR 451.123	Maintenance: Large fan missing grounding plug

Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint peeling

MEAT PLANT

105 CMR 451.126*	Water Supply: No hot water supplied to building

Basement

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Floor damaged

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 710F

105 CMR 451.350	Structural Maintenance: Door rubbing floor to open

Office 2

105 CMR 451.123	Maintenance: Door knob missing

Staff Bathroom

105 CMR 451.126	Water Supply: No hot water

Office 3

105 CMR 451.353*	Interior Maintenance: Missing electrical covers

Office 1

No Violations Noted

Office 4

105 CMR 451.353*	Interior Maintenance: Missing light shields

Passage Area

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

Outside Cooler North

105 CMR 451.353*	Interior Maintenance: Some lights not working

Outside Cooler South

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Some lights not working

105 CMR 451.350	Structural Maintenance: Entry door damaged

COTTAGE 12 - STATE TRANS

105 CMR 451.353*	Interior Maintenance: Missing light covers in hallway

105 CMR 451.353*	Interior Maintenance: Missing electrical cover on D side

105 CMR 451.353*	Interior Maintenance: Strong musty odor throughout the entire building

1st Floor

Bathrooms

105 CMR 451.123*	Maintenance: Ceiling tiles damage

105 CMR 451.123*	Maintenance: Tub is dirty

Rear Office

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

Front Office

No Violations Noted

Storage Closet

No Violations Noted

Disciplinary Office – Rear Left

Unable to Access -Locked

Disciplinary Office – Front Left

Unable to Access - Locked

Telecommunications Room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Wall paint peeling

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353*	Interior Maintenance: Missing light cover

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Uncovered junction box

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: A lot of water damaged in this room

Basement

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Exposed wires

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Missing light covers

2nd Floor (not used)

105 CMR 451.353*	Interior Maintenance: Missing light covers

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.350*	Structural Maintenance: Paint peeling

105 CMR 451.353*	Interior Maintenance: Exposed wires

105 CMR 451.353*	Interior Maintenance: Missing outlet cover

105 CMR 451.353*	Interior Maintenance: Appearance of mold

105 CMR 451.350*	Structural Maintenance: Wall damaged

3rd Floor (not used)

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Missing light covers

JOSEPH RIBEIRO TRAINING BUILDING

105 CMR 451.141*	Screens: Screens missing throughout building

1st Floor

Room 105

No Violations Noted

Room 107

Unable to Access - Locked

Women’s Room

No Violations Noted

Men’s Room

105 CMR 451.350*	Structural Maintenance: Window damaged

105 CMR 451.141	Screens: Screen missing

105 CMR 451.123	Maintenance: Damaged shade

2nd Floor

Men’s Room

No Violations Noted

Women’s Room

No Violations Noted

Basement

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing

105 CMR 451.350*	Structural Maintenance: Water leaks in through walls during rain storms

105 CMR 451.350*	Structural Maintenance: Water damaged to pillars

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.350*	Structural Maintenance: Wall damaged

Men’s Room

105 CMR 451.123*	Maintenance: Ceiling tiles water stained

Women’s Room

105 CMR 451.123*	Maintenance: Soap dispenser is broken

105 CMR 451.123*	Maintenance: Stall door broken

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Elevator Room

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

105 CMR 451.353*	Interior Maintenance: Appearance of mold-like substance

BUILDING 19

105 CMR 451.350	Structural Maintenance: Many stair treads damaged

105 CMR 451.350	Structural Maintenance: Many damaged windows

Left Rear Office

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Electric outlet missing cover

Bathroom

105 CMR 451.350	Structural Maintenance: Wall tiles damaged

105 CMR 451.353	Interior Maintenance: Sink damaged

105 CMR 451.141	Screens: Screen missing

Right Kitchen Area

105 CMR 451.141	Screens: Screen missing

105 CMR 451.350	Structural Maintenance: Window damaged

105 CMR 451.353	Interior Maintenance: Ceiling tiles stained

2nd  Floor

Storage Area

105 CMR 451.123	Maintenance: Electric outlet missing cover

105 CMR 451.141	Screens: Screen missing

105 CMR 451.350	Structural Maintenance: Window damaged

BUILDING 20

1st Floor

Kitchen Area

FC 4-204.112(A)*		Design and Construction, Functionality: No functioning thermometer in refrigerator

Back Storage Area

105 CMR 451.350*	Structural Maintenance: Damaged window casings

105 CMR 451.353	Interior Maintenance: Chemical bottle on floor

105 CMR 451.353	Interior Maintenance: Door knob missing on back door

2nd Floor

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Office

105 CMR 451.353	Interior Maintenance: Wall damaged

105 CMR 451.141	Screens: Screen missing

Hallway

No Violations Noted

BUILDING 16

Hallway

No Violations Noted

Left Office

No Violations Noted

Right Office

105 CMR 451.353*	Interior Maintenance: Missing light cover

Mop Closet in Office

No Violations Noted

Kitchen Area

105 CMR 451.353	Interior Maintenance: Missing electrical cover

2nd Floor

Bathroom

No Violations Noted

Office

105 CMR 451.353*	Interior Maintenance: Missing electrical cover

Captain’s Office

No Violations Noted

Deputy’s Office

No Violations Noted

Observations and Recommendations

- The inmate population was 1493 at the time of inspection

- The Department recommends the old air handling system be removed from the dry storage area of the minimum kitchen to aid in keeping the area clean

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Charles Kaniecki

District Health Officer, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Robert Fournier, EHSO

Shirley Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS