The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-695-7414

CHARLES D. BAKER

Governor

KARYN E. POLITO

Lieutenant Governor

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Acting Commissioner

Tel: 617-624-6000

www.mass.gov/dph

October 14, 2021

Peter J. Koutoujian, Sheriff

Middlesex County Sheriff’s Office

400 Mystic Avenue

Medford, MA 02155		(electronic copy)

Re: Facility Inspection – Middlesex County Jail and House of Corrections, Billerica

Dear Sheriff Koutoujian:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Middlesex County Jail and House of Corrections on October 4, 5, and 6, 2021 accompanied by   Captain William Buckley and Sergeant Shane Cassidy, Environmental Health and Safety Officers. Violations noted during the inspection are listed below including 70 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Kerry Wagner, MPH

Environmental Analyst, CSP, BEH

cc: 	Margret R. Cooke, Acting Commissioner, DPH

Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 		(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Terrence Reidy, Acting Secretary, EOPSS						(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 		(electronic copy)

Osvaldo Vidal, Superintendent							(electronic copy)

Captain William Buckley, EHSO							(electronic copy)

Sergeant Shane Cassidy, EHSO							(electronic copy)

### Kristel Bennett, Director, Billerica Board of Health					(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# CHECKPOINT BUILDING

Janitor’s Closet

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

Control Desk

No Violations Noted

PODULAR BUILDING

# Lobby

# No Violations Noted

# Water Fountain

No Violations Noted

# Female Bathroom

No Violations Noted

# Male Bathroom

No Violations Noted

# Janitor’s Closet

# No Violations Noted

# Administration Wing

# Female Bathroom

No Violations Noted

# Male Bathroom

No Violations Noted

# Janitor’s Closet

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

# Kitchenette

No Violations Noted

Visiting Area

No Violations Noted

Visitor’s Side

No Violations Noted

# Central Control

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, disposable utensils left uncovered

# Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

# Attorney Visit Hallway

Janitor’s Closet

No Violations Noted

# Male Bathroom

No Violations Noted

# Female Bathroom

No Violations Noted

Visiting Control Room

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.353	Interior Maintenance: Hole in ceiling

# Inmate Bathroom

No Violation Noted

# Evidence Room

Unable to Inspect – Locked

Visiting Area – Inmate Side

No Violations Noted

# Entrance Hallway for Pod A & B

# Nurse’s Station

No Violations Noted

Female Bathroom

No Violations Noted

# Male Bathroom

No Violations Noted

# Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Caseworker’s Office

No Violations Noted

# Pod A

# Common Area

No Violations Noted

Storage Cage (Barber Shop)

No Violations Noted

# Janitor’s Closet

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, light out

105 CMR 451.353	Interior Maintenance: Standing water left in mop bucket

Counselor/Interview Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with            105 CMR 590.000, microwave broken

Pod Storage Room

No Violations Noted

# Lower Level Shower Area # 1-5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2 and 5

Lower Cells

105 CMR 451.126	Hot Water: Hot water temperature recorded at 700F in cell # 1-25

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water continually running in   cell # 1-27

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink not draining properly in cell # 1-20

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1-23

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 1-21 and 1-28

Upper Level Shower Area # 6-10

105 CMR 451.123*	Maintenance: Mold on ceiling outside shower # 6

105 CMR 451.123	Maintenance: Floor paint damaged outside showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 7, 8, and 10

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 10

# Upper Cells

No Violations Noted

# Pod B

# Common Area

No Violations Noted

Counselor’s Office

No Violations Noted

Storage Cage (Barber Shop)

No Violations Noted

# Janitor’s Closet

No Violations Noted

# Storage Room (Small)

No Violations Noted

Classroom/Storage Room (Large)

No Violations Noted

Lower Level Shower Area

No Violations Noted

# Lower Cells

No Violations Noted

# Upper Level Shower Area

No Violations Noted

# Upper Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink not draining in              cell # 2-02

# Entrance Hallway for Pod C & D

# Nurse’s Station

No Violations Noted

# Female Bathroom

No Violations Noted

# Male Bathroom

No Violations Noted

# Office

No Violations Noted

# Pod C

# Common Area

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

105 CMR 451.353	Interior Maintenance: Mold observed on ceiling near cell # 2-01

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Storage Cage (Barber Shop)

No Violations Noted

# Janitor’s Closet

No Violations Noted

# Pod Storage Room # 5-201

No Violations Noted

# Counselor/Interview Office #5-202

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, ice build-up observed in freezer

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with                 105 CMR 590.000, interior of microwave oven dirty

# Multi-Purpose Room

No Violations Noted

# Lower Level Shower Area

105 CMR 451.123*	Maintenance: Floor dirty outside shower # 5

Lower Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet out-of-order in cell # 1-32

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 1-04

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1-01

# Upper Level Shower Area

105 CMR 451.123*	Maintenance: Handwash sink dirty

105 CMR 451.123	Maintenance: Wall paint damaged outside shower # 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 6 out-of-order

# Upper Cells

No Violations Noted

# Pod D

# Common Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, right side bubbler clogged

Storage Cage (Barber Shop)

No Violations Noted

# Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Counselor/Interview Room

Unable to Inspect – In Use

Multi-Purpose Room

No Violations Noted

# Pod Storage Room

No Violations Noted

# Lower Level Shower Area

105 CMR 451.123*	Maintenance: Soap scum on bench in shower # 1

105 CMR 451.123*	Maintenance: Ceiling vents dusty outside showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 4 continually running

# Lower Cells

# 105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink not draining properly in cell # 1-19

# Upper Level Shower Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 4 out-of-order

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 3

105 CMR 451.123	Maintenance: Drain flies observed in shower # 2

105 CMR 451.123	Maintenance: Light out in shower # 2 and 3

# Upper Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 2-12

Pod F

Administration Area

No Violations Noted

Female Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Male Staff Bathroom

No Violations Noted

Medical Office

Unable to Inspect – Locked

Block

Janitor’s Closet # 6-207

No Violations Noted

Storage # 6-208

No Violations Noted

Lower Showers

No Violations Noted

Lower Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1-15 and 1-29

Laundry Room # 1-01

No Violations Noted

Music Room # 1-02

No Violations Noted

The Club House # 1-03

No Violations Noted

Kitchen # 1-04

No Violations Noted

Library # 1-05

No Violations Noted

Barber Shop # 1-06

No Violations Noted

Assessment Office # 6-211

Unable to Inspect – In Use

Library/Multi-Purpose Room # 6-210

No Violations Noted

Case Worker’s Office # 6-209

105 CMR 451.344	Illumination in Habitable Areas: Lights not functioning properly, lights out

Upper Cells

No Violations Noted

Upper Showers # 1-10

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower timers not functioning properly in shower # 1, 5, and 9

105 CMR 451.123	Maintenance: Floor dirty in shower # 1

105 CMR 451.123	Maintenance: Mold observed on walls in shower # 2

105 CMR 451.123	Maintenance: Light out in shower # 7

105 CMR 451.123	Maintenance: Towel holder broken in shower # 8 and 9

Common Area

No Violations Noted

Dorm # 3 and 4 Landing

Male Bathroom # 6-212

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Bathroom # 6-213

Unable to Inspect – Locked

Trash Room # 6-214

No Violations Noted

Janitor’s Closet # 6-215

No Violations Noted

Storage/Med Pass

No Violations Noted

Medical Office # 6-226

Unable to Inspect – Locked

Classroom # 2

No Violations Noted

Multi-Purpose Hallway

No Violations Noted

Storage Room # 1 and 2

No Violations Noted

Classroom A and B

No Violations Noted

Dorm # 3

Sleeping Area

No Violations Noted

Common Area

No Violations Noted

Toilet Area			Unable to Inspect Toilet # 1-7 – In Use

105 CMR 451.124*	Water Supply: Insufficient hot and cold water supply in quantity and pressure at handwash sink # 8

Sink Area

105 CMR 451.126	Hot Water: Hot water temperature recorded at 860F at handwash sink # 3

Shower Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain clogged in shower # 4

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Caulking under water control dirty in shower # 1

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 8

Janitor’s Closet

No Violations Noted

Case Worker’s Office

No Violations Noted

Barber Shop

No Violations Noted

Dorm # 4

Barber Shop

No Violations Noted

Case Worker’s Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Shower Area

105 CMR 451.123*	Maintenance: Soap scum observed on floor in shower # 6 and 7

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower # 3

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower # 7 and 8

105 CMR 451.123	Maintenance: Towel holder broken in shower # 7

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure from lower shower head in shower # 8

Toilet Area

105 CMR 451.124	Water Supply: Insufficient hot and cold water supply in quantity and pressure at handwash sink # 1

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink # 3

Sink Area

No Violations Noted

Common Area

No Violations Noted

Sleeping Area

No Violations Noted

Pod E

Administration Area

Female Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Male Staff Bathroom

No Violations Noted

Offices

No Violations Noted

Nurse’s Station

No Violations Noted

Block

Janitor’s Closet

No Violations Noted

Barber Shop

No Violations Noted

Storage Room

No Violations Noted

Lower Showers

105 CMR 451.123	Maintenance: Floor dirty in shower # 5 and 6

Lower Cells

105 CMR 451.353	Interior Maintenance: Walls dirty in cell # 1-30

Classroom/Assessment

No Violations Noted

Library

No Violations Noted

Caseworker’s Office

No Violations Noted

Upper Cells

No Violations Noted

Upper Showers

105 CMR 451.123	Maintenance: Light out in shower # 8

Outside Rec Area

No Violations Noted

Dorm # 1 and 2 Landing

Shift Administrator’s Office

No Violations Noted

Janitor’s Closet

No Violations Noted

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

Unable to Inspect - Locked

Storage/Med Pass

No Violations Noted

Medical Office

105 CMR 451.126	Hot Water: Hot water temperature recorded at 800F at handwash sink

Classroom # 1

No Violations Noted

Dorm # 1

Sleeping Area

No Violations Noted

Common Area

No Violations Noted

Toilet Area	Unable to Inspect Toilet # 1, 2, 3, and 4 – In Use

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash        sink # 5 and 8

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 3

Sink Area

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1000F at handwash sink # 1

Shower Area

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 3

Janitor’s Closet

No Violations Noted

Case Worker’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Barber Shop

No Violations Noted

Dorm # 2 (Unoccupied)

Barber Shop

No Violations Noted

Case Worker’s Office

No Violations Noted

Janitor’s Closet

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent rusted in shower # 8

105 CMR 451.123	Maintenance: Light out in shower # 2

Toilet Area

105 CMR 451.123	Maintenance: Floor dirty in stall # 8

105 CMR 451.124*	Water Supply: No cold water supplied to handwash sink # 1

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 5, 6, and 7 out-of-order

Sink Area

No Violations Noted

Common Area

No Violations Noted

Sleeping Area

No Violations Noted

# Intake and Discharge

# Transpo Office

No Violations Noted

# Janitor’s Closet

No Violations Noted

# Administrative Office

No Violations Noted

Holding Tank # 2

No Violations Noted

# Shake Room # 1 & 2

No Violations Noted

# Holding Cell # 1

105 CMR 451.353	Interior Maintenance: Bench surface damaged

# Institutional Property

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, interior surfaces of refrigerator rusted

# Desk Area

No Violations Noted

Sally Port

No Violations Noted

# Old Shower Room # 1

No Violations Noted

# Holding Cell # 1-6

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash sink in   cell # 1

105 CMR 451.113	Toilet and Handwashing Sink in Locked Cells: No hot and cold running water in holding cell # 5-008

105 CMR 451.353*	Interior Maintenance: Ceiling damaged around light fixture in cell # 4

105 CMR 451.353	Interior Maintenance: Toilet paper observed in wall vent in cell # 2

# Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

# Male Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 900F at handwash sink

# Female Bathroom

No Violations Noted

Inmate Property Room

No Violations Noted

Change Room # 1 and 2

No Violations Noted

# A & B Hall Entrance

# Janitor’s Closet

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, light out

# Storage Room # 5025C

No Violations Noted

# Teacher’s Office

No Violations Noted

# Hall A – Video Court

105 CMR 451.353	Interior Maintenance: Floor unfinished

Hall B

105 CMR 451.353		Interior Maintenance: Floor unfinished

# Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

# Staff Dining Room

No Violations Noted

# Male Bathroom

No Violations Noted

# Female Bathroom

No Violations Noted

Supply Dock

Loading Dock

No Violations Noted

Surplus Storage Room

No Violations Noted

Storage Room # 5-027

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of the ceiling

Back of Kitchen

Supply Room # 2 (Dry Storage)

No Violations Noted

Chemical Supply Closet

No Violations Noted

Daily Cleaning Cabinet

No Violations Noted

Kitchen Staff Break Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, excessive ice build-up in freezer

Supply Room # 1

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Rack Spray Area

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, backflow preventer leaking

Main Kitchen Area

Cooler # 1

No Violations Noted

Warmer # 1 & 2

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, gaskets damaged on warmer # 1

Serving Line

No Violations Noted

Handwash Sink – Near Pots and Pans Sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, insufficient hot water supply in quantity and pressure

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, handwash sink leaking at bottom

Pots and Pan Sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, rinse basin of 3-compartment sink leaking at bottom

Mechanical Warewash Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

Warewash Machine

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, warewash machine out-of-order

Inmate Coffee Area

FC 3-304.12(B)	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Utensil handle not stored above the food in the container, scoop stored in sugar container

Diet Area/Serving Line # 2

No Violations Noted

Warmer # 3 & 4

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, gaskets damaged on warmer # 3

Cooler # 2

No Violations Noted

McCall Proofer # 1

FC 6-501.114(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Non-functional equipment not repaired or removed from premises, proofer door broken and unable to fully close

3 Ovens (Under Hoods)

FC 4-903.11(B)(2)* 	Protection of Clean Items; Storing: Equipment and Utensils not stored covered or inverted, bowls and pans not stored in the inverted position

Prep Tables and Sinks

No Violations Noted

Ice Machines

No Violations Noted

Handwash Sink (After Ice Machine # 2)

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, handwash sink leaking

Kettle Area

FC 4-903.11(A)(3)	Protection of Clean Items, Storing: Single-Service Items not stored at least 6 inches above the floor, styrofoam trays stored on ground

FC 4-903-11(A)(2)	Protection of Clean Items, Storing: Single-Service Items not stored in an area where they are protected from contamination, single service utensils left uncovered

Walk-in Refrigerator # 2

No Violations Noted

Spice Cabinet

No Violations Noted

Walk-in Refrigerator # 1

No Violations Noted

Hood Area with Warmers

No Violations Noted

Walk-in Freezer

No Violations Noted

Sallyport/Changing Area

No Violations Noted

Janitor’s Closet

FC 6-501.14(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Ventilation system dirty, ceiling vent dusty

Handwash Sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, insufficient hot water supply in quantity and pressure

Officer’s Area/Office

No Violations Noted

Culinary Arts Program Kitchen

Classroom

No Violations Noted

True Refrigerator

No Violations Noted

Proofers

No Violations Noted

Walk-in Freezer

No Violations Noted

Hood Area

No Violations Noted

Handwash Sink

No Violations Noted

3-Compartment Sink

No Violations Noted

Prep Sink

No Violations Noted

Prep Tables

No Violations Noted

Walk-in Refrigerator

FC 3-305.11(A)(2)	Preventing Contamination from the Premises; Food Storage: Food exposed to splash, dust, or other contamination, ground beef stored above whole cut beef

# Health Service Unit

# ISO # 1 & 2

No Violations Noted

Nurse’s Pantry

No Violations Noted

# Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Risk Cell # 1 & 2

No Violations Noted

# Private Rooms # 1-4

No Violations Noted

# Ward A

No Violations Noted

Storage Room

No Violations Noted

# Handicapped Shower Room

105 CMR 451.130	Hot Water: Shower water temperature recorded at 720F

# Nurse’s Station and Bathroom

No Violations Noted

HSU Main Entrance

No Violations Noted

# Treatment Room # 1 (# 5-126)

No Violations Noted

# Inmate Bathroom # 5-124

No Violations Noted

# Treatment Room # 2

105 CMR 451.126	Hot Water: Hot water temperature recorded at 750F at handwash sink

Medical Waste Storage

No Violations Noted

# Treatment Room # 3 (# 5-120)

No Violations Noted

Coordinator’s Office # 5-118

No Violations Noted

Lab/Temporary Pharmacy # 5-117

No Violations Noted

Dental Room # 5-119

Unable to Inspect – Locked

Infectious Disease Office

No Violations Noted

Psychiatry Office # 5-123

No Violations Noted

# Exam Room # 2 (# 5-128)

Unable to Inspect – Locked

Exam Room # 1 (# 5-127)

105 CMR 451.126	Hot Water: Hot water temperature recorded at 720F at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink slow to drain

# Cleaning Utility Room (# 5-111)

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of the ceiling

# Storage Room # 1 (# 5-110)

No Violations Noted

Mental Health Office # 1 (# 5-115)

No Violations Noted

Physical Therapy (Treatment Room # 4)

No Violations Noted

# Pharmacy

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no thermometer in refrigerator

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Holding # 5-108

No Violations Noted

# Storage Room # 5-109

No Violations Noted

# Ward B

105 CMR 451.130	Hot Water: Shower water temperature recorded at 770F at right side shower

105 CMR 451.123	Maintenance: Soap scum on door in left side shower

105 CMR 451.123	Maintenance: Floor dirty in left side shower

105 CMR 451.123	Maintenance: Floor mat dirty outside left and right shower

HSU Administration Hallway

# Male Bathroom

Unable to Inspect – In Use

# Female Bathroom

No Violations Noted

Storage Room # 5-103

No Violations Noted

Health Service Administrator’s Office

No Violations Noted

# Billerica Control Building

# Main Level

# Lobby

105 CMR 451.350*	Structural Maintenance: Windowpanes broken at entrance

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

# Female Bathroom

# 105 CMR 451.123*	Maintenance: Toilet # 2 out-of-order

105 CMR 451.350*	Structural Maintenance: Window broken

# Male Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Strong odor present

105 CMR 451.130*	Plumbing: No backflow preventer on sink

Transpo-Hub Hallway

105 CMR 451.113	Toilet and Handwashing Sink in Locked Cells: No hot and cold running water in holding cell # 2-103, 2-107, and 2-109

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at handwash sink in holding cell # 2-105

# Control Area

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.350*	Structural Maintenance: Windows not weathertight and structurally sound

105 CMR 451.350*	Structural Maintenance: Several windowpanes broken

105 CMR 451.350*	Structural Maintenance: Windowsills and wall near windows damaged

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

# Roll Call Room

No Violations Noted

Motorcycle Unit Locker Room

Unable to Inspect – Locked

Administration Locker Room

No Violations Noted

Jail Visiting Hallway

Parole Office

No Violations Noted

Additional Offices

Unable to Inspect – Locked

# Old Administration Wing

First Floor

Offices

Unable to Inspect – Locked

Storage Closets	Unable to Inspect Left Side Closet – Locked

No Violations Noted

# Female Bathroom

# Unable to Inspect – In Use

Mail Room

Unable to Inspect – Locked

Tool Crib Area

No Violations Noted

Tool Crib Bathroom

No Violations Noted

Maintenance Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink clogged

Maintenance Break Room

No Violations Noted

Second Floor

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing throughout

105 CMR 451.353	Interior Maintenance: Mold observed on ceiling throughout hallway

Offices

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged/missing throughout offices

105 CMR 451.353	Interior Maintenance: Mold observed on ceiling in office # 2-28

Records Storage Rooms

No Violations Noted

New Male Locker Room

105 CMR 451.353*	Interior Maintenance: Floor dirty throughout locker room

105 CMR 451.353	Interior Maintenance: Windowsills dirty

105 CMR 451.353	Interior Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing or water damaged

Male Locker Room Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles water damaged

Male Shower Room

105 CMR 451.123	Maintenance: Floor dirty outside showers

# Male Bathroom # 2

Unable to Inspect – Locked

Classifications & Old Infirmary Hallway

Offices

No Violations Noted

Male Bathroom # 1

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1020F at handwash sink

Female Bathroom

No Violations Noted

Old Shower Room

Unable to Inspect – No Longer In Use

Staff Break Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, single service utensils left uncovered

Offices

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained in copy room

Third Floor

105 CMR 451.141*	Screens: Screens damaged throughout area

105 CMR 451.350*	Structural Maintenance: Several windowpanes broken throughout area

# Female Locker Room

Unable to Inspect – Locked

# Officer’s Weight Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink clogged

Male Locker Room

No Violations Noted

Male Locker Room Bathroom

105 CMR 451.123	Maintenance: Orange staining on walls of shower # 1 and 2

105 CMR 451.123	Maintenance: Ceiling vent dusty

# Lower Report

# A & B Side Cells

# Unable to Inspect – No longer in use due to lack of natural lighting

Training Center

First Floor

Male Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper in bathroom

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Barber Area

Unable to Inspect – Not Used

Library

105 CMR 451.350*	Structural Maintenance: Windowpane broken

Meeting Room

No Violations Noted

Offices and Classroom

No Violations Noted

Print Shop

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no thermometer in refrigerator

Chapel

105 CMR 451.350*	Structural Maintenance: Windowpanes broken

# Bathroom

105 CMR 451.350*	Structural Maintenance: Window broken

# Storage Room

# No Violations Noted

Second Floor

# Main Laundry

105 CMR 451.350*	Structural Maintenance: Window broken

Inmate Bathroom

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.123*	Maintenance: Wall paint damaged

Officer’s Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged on brick wall

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash sink

105 CMR 451.350*	Structural Maintenance: Window cracked

Laundry Storage

No Violations Noted

Canteen Storage

No Violations Noted

# Tier Dorm Room

Dorm Bathroom

105 CMR 451.123	Maintenance: Handwash sink # 6 dirty

105 CMR 451.123*	Maintenance: Soap scum on walls in handicapped shower

105 CMR 451.124	Water Supply: Insufficient hot and cold water supply in quantity and pressure at handwash sink # 7

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F at handwash sink # 1

# First Tier

Day Room

No Violations Noted

# Control

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Light shield not secured to ceiling

# A & B Side

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # A15

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # A6, A9, A16, A18, B7, B9, B16, and B20

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # B12

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # A23 and B8

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # A14 and B26

105 CMR 451.353	Interior Maintenance: Window covering damaged in cell # A20

Bathroom and Shower Area

105 CMR 451.123	Maintenance: Ceiling damaged in shower # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 3

105 CMR 451.123	Maintenance: Wall grout missing in shower # 4 and 5

105 CMR 451.123	Maintenance: Wall grout dirty in shower # 6

C & D Side

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # C3, D8, D10, and D11

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # C15

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # C20

105 CMR 451.353	Interior Maintenance: Wall damaged outside of cell # C5

# Shower Room # D23

Unable to Inspect – No Longer in Use

# Second Tier (Unoccupied)

105 CMR 451.353*	Interior Maintenance: Multiple windows painted

# Nurse’s Room

Unable to Inspect – Locked

# Control

Unable to Inspect – Locked

# E & F Side

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # E11, E16, and F18

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # F2

Bathroom and Shower Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, floor drain sealed off in shower # 3

105 CMR 451.123*	Maintenance: Ceiling damaged in shower # 1 and 9

Janitorial Cage

No Violations Noted

# G & H Side

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # G13 and H17

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # G10

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # H4, H19, and H25

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # H1, H8, and H12

# Gym

No Violations Noted

# Gym Office

No Violations Noted

# Staff Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

Stairway to Third Tier

No Violations Noted

Third Tier (Unoccupied)

105 CMR 451.353*	Interior Maintenance: Multiple windows painted

# Day Room

No Violations Noted

Control

No Violations Noted

Offices

# Unable to Inspect – Locked

I & J Side

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F in cell # J5

105 CMR 451.353*	Interior Maintenance: Wall damaged in cell # J26

Bathroom and Shower Area

105 CMR 451.360	Protective Measures: Bird droppings and feathers observed on floor

Janitor’s Closet

# Unable to Inspect – Locked

K & L Side

No Violations Noted

CWP Building

105 CMR 451.350	Structural Maintenance: Window frames left unfinished

Entrance

105 CMR 480.300(A)	Packaging, Labeling, and Shipping: Containers or bags of biological waste were not labeled or colored correctly, “biohazard” box being used for general storage of noninfectious items

Officer’s Station

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, no functioning thermometer in refrigerator

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, interior of refrigerator dirty

Staff Bathroom # 3-107

Unable to Inspect – Locked

Bathroom # 3-111

No Violations Noted

Shower Room # 3-113

105 CMR 451.123	Maintenance: Shower # 6 out-of-order

105 CMR 451.123	Maintenance: Mold observed on curtain in shower # 3

105 CMR 451.123	Maintenance: Curtain missing in shower # 4 and 6

105 CMR 451.123	Maintenance: Mold observed on walls in shower # 3 and 5

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower # 2, 4, 5, and 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 continually running

Day Area # 3-114

No Violations Noted

Laundry Area

No Violations Noted

Dining Area

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Vending machine drawer dirty

FC 4-602.12(B)	Cleaning of Equipment and Utensils, Frequency: Interior of microwave oven not cleaned every 24 hours

FC 3-304.12(B)	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Utensil handle not stored above the food in the container, scoop stored inside food storage containers

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Nonfood contact surfaces of equipment dirty, exterior of food storage containers dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, lids damaged on food storage containers

FC 3-302.12	Protection from Contamination After Receiving, Preventing Food and Ingredient Contamination: Food or food ingredients that have been removed from original packages not labeled with common name of food

FC 3-302.11(A)(4)	Preventing Contamination after Receiving; Preventing Food and Ingredient Contamination: Food not appropriately covered, bucket of sugar or salt left uncovered

Kitchen

Unable to Inspect – Under Construction

2nd Floor

Inmate Bathroom # 3-201

No Violations Noted

Dorm # 3-200

No Violations Noted

Janitor’s Closet # 3-204

No Violations Noted

Office # 3-205

No Violations Noted

Dorm # 3-203

No Violations Noted

Staff Bathroom

No Violations Noted

Basement

Property

No Violations Noted

# Work Release Building

# FC 5-501.113(B)	Refuse, Recyclables, and Returnables; Facilities on the Premises: Receptacles not kept covered with a tight-fitting lid/door

# House # 1

# First Floor

# Hallway

No Violations Noted

Infirmary

No Violations Noted

Control

No Violations Noted

Office

No Violations Noted

# Bathroom

105 CMR 451.123	Maintenance: Soap scum observed on shower curtain

# Bedrooms

No Violations Noted

# Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

# Dining Room

FC 4-101.16	Materials for Construction and Repair; Multiuse: Sponges used on cleaned, sanitized, or in use food contact surfaces

# Kitchen

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair refrigerator gaskets damaged on 2-door cooler

# Second Floor

# Stairway

No Violations Noted

# Hallway

No Violations Noted

# Bedrooms

No Violations Noted

# Bathroom

No Violations Noted

Stairway to Basement

No Violations Noted

# Basement

# Laundry Room

105 CMR 451.353*	Interior Maintenance: Washer out-of-order

105 CMR 451.350	Structural Maintenance: Water leaking in from exterior in back left corner of room

Boiler Room

Unable to Inspect – Locked

Chemical Storage Room

No Violations Noted

# Day Room between Houses

No Violations Noted

# House # 2

# First Floor

# Hallway

# No Violations Noted

# Strip Search Room

105 CMR 451.141	Screens: Screen damaged

Group Room

105 CMR 451.353	Interior Maintenance: Uncovered junction box

# Officer’s Bathroom

No Violations Noted

# Offices

No Violations Noted

Administration Office

No Violations Noted

Second Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.350*	Structural Maintenance: Windowpane broken

Bedrooms	Unable to Inspect Room # 4 – Under Construction

105 CMR 451.141*	Screens: Screen missing in bedroom # 3 and 6

Third Floor

Bedrooms

105 CMR 451.141*	Screens: Screen missing in room # 7 and 8

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in room # 7

# Basement

# Day Room

No Violations Noted

Property

Unable to Inspect – Locked

# Bathroom

105 CMR 451.123	Maintenance: Wall tiles damaged in shower # 3

Storage Room

Unable to Inspect – Locked

WAREHOUSE

No Violations Noted

Office

No Violations Noted

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Old Walk-in Freezer

No Violations Noted

Back Freezer and Refrigerator

No Violations Noted

Observations and Recommendations

- The inmate population was 595 at the time of inspection.

- The kitchen exhaust system was not in compliance with the provisions for inspection, cleaning and labeling required by 527 CMR 1.00, Chapter 50 Commercial Cooking Operations. The CSP recommends you contact the Department of Fire Services for further information.

- The warewash machine was out-of-order at the time of inspection. Kitchen staff were using styrofoam trays and manually washing and sanitizing any additional equipment until repairs can be made.

- During the inspection of the Work Release Kitchen and the CWP Building, the CSP observed no cleaning chemicals or sanitizing agents for food contact surfaces or for the 3-compartment sink. Although the Work Release and CWP food service areas were not in use at the time of inspection, the CSP stated their concerns with the lack of cleaning and sanitizing agents present and the inability for kitchen staff to properly clean and sanitize the food service areas.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kerry Wagner, MPH										Environmental Analyst, CSP, BEH