The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

180 Beaman Street, West Boylston, MA 01583

Phone: 508-792-7880 Fax: 508-792-7706

TTY: 508-835-9796

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

May 11, 2019

Peter J. Koutoujian, Sheriff

Middlesex County Sheriff’s Office

400 Mystic Avenue

Medford, MA 02155

Re: Facility Inspection – Middlesex County Jail and House of Corrections, Billerica

Dear Sheriff Koutoujian:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and          105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the     Middlesex County Jail and House of Corrections on May 4 and 6, 2019 accompanied by Captain William Buckley and Sergeant Shane Cassidy, Environmental Health and Safety Officers. Violations noted during the inspection are listed below including 101 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# CHECKPOINT BUILDING

Janitor’s Closet

Unable to Inspect – Locked

Male Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Female Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Control Desk

No Violations Noted

PODULAR BUILDING

# Lobby

# No Violations Noted

# Water Fountain

No Violations Noted

# Female Bathroom

No Violations Noted

# Male Bathroom

Unable to Inspect – In Use

# Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Administration Wing

# Female Bathroom

No Violations Noted

# Male Bathroom

Unable to Inspect – In Use

# Janitor’s Closet

No Violations Noted

# Kitchenette

No Violations Noted

Visiting Area

No Violations Noted

Visitor’s Side

No Violations Noted

# Central Control

No Violations Noted

# Bathroom

105 CMR 451.123*	Maintenance: Floor dirty

# Attorney Visit Hallway

Janitor’s Closet

No Violations Noted

# Male Bathroom

No Violations Noted

# Female Bathroom

No Violations Noted

Visiting Control Room

105 CMR 451.353	Interior Maintenance: Ceiling left unfinished

# Inmate Bathroom

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.123	Maintenance: Handwash sink dirty

# Evidence Room

Unable to Inspect – Locked

Visiting Area – Inmate Side

No Violations Noted

# Entrance Hallway for Pod A & B

# Nurse’s Station

No Violations Noted

Female Bathroom

No Violations Noted

# Male Bathroom

Unable to Inspect – In Use

# Janitor’s Closet

No Violations Noted

# Caseworker’s Office

No Violations Noted

# Pod A

# Common Area

105 CMR 451.353	Interior Maintenance: Vents and ceiling around vents dusty

Storage Cage (Barber Shop)

No Violations Noted

# Janitor’s Closet

No Violations Noted

Pod Storage Room

No Violations Noted

# Lower Level Shower Area # 1-5

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123*	Maintenance: Mold on ceiling outside shower # 2, 3, and 5

105 CMR 451.123	Maintenance: Ceiling water damaged outside shower # 1

105 CMR 451.123	Maintenance: Light out in shower # 4

105 CMR 451.123	Maintenance: Floor dirty outside shower # 4

Lower Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1-13 and 1-15

Upper Level Shower Area # 6-10

105 CMR 451.123*	Maintenance: Mold on ceiling outside shower # 6

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 6, 7, and 8

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 8

# Upper Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 2-01

# Pod B

# Common Area

No Violations Noted

Counselor’s Office

No Violations Noted

Storage Cage (Barber Shop)

105 CMR 451.124	Water Supply: No cold water supplied to left side handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet fixture not secured to left side handwash sink

# Janitor’s Closet

No Violations Noted

# Storage Room (Small)

No Violations Noted

Classroom/Storage Room (Large)

No Violations Noted

# Lower Level Shower Area	Unable to Inspect Shower # 1 – In Use

No Violations Noted

# Lower Cells

No Violations Noted

# Upper Level Shower Area

No Violations Noted

# Upper Cells

No Violations Noted

# Entrance Hallway for Pod C & D

# Nurse’s Station

Unable to Inspect – In Use

# Female Bathroom

No Violations Noted

# Male Bathroom

No Violations Noted

# Office

No Violations Noted

# Pod C

# Common Area

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Storage Cage (Barber Shop)

105 CMR 451.124	Water Supply: Insufficient hot and cold water supply in quantity and pressure at left side handwash sink

# Janitor’s Closet

No Violations Noted

# Storage Room

No Violations Noted

# Counselor/Interview Office

No Violations Noted

# Multi-Purpose Room

No Violations Noted

# Lower Level Shower Area	Unable to Inspect Shower # 3 – In Use

105 CMR 451.123	Maintenance: Light out in shower # 5

105 CMR 451.123	Maintenance: Mold on ceiling outside shower # 5

105 CMR 451.123	Maintenance: Ceiling paint damaged around light fixture in shower # 2

105 CMR 451.123	Maintenance: Floor dirty outside shower # 5

Lower Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaking in cell # 1-32

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1-20

# Upper Level Shower Area

105 CMR 451.123	Maintenance: Mold observed on ceiling outside shower # 6

# Upper Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 2-22 and 2-25

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 2-21

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water continually running in          cell # 2-03

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in          cell # 2-04

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink not draining properly in cell # 2-25

# Pod D

# Common Area

No Violations Noted

Storage Cage (Barber Shop)

105 CMR 451.124	Water Supply: Insufficient hot and cold water supply in quantity and pressure handwash sink

# Janitor’s Closet

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking on slop sink

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water left in bucket

Counselor/Interview Room

No Violations Noted

Multi-Purpose Room

No Violations Noted

# Pod Storage Room

No Violations Noted

# Lower Level Shower Area

105 CMR 451.123*	Maintenance: Mold observed on ceiling and wall outside shower # 1

105 CMR 451.123	Maintenance: Soap scum on bench in shower # 1

# Lower Cells

# 105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in          cell # 1-18 and 1-21

# 105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water continually running in          cell # 1-14

# Upper Level Shower Area

105 CMR 451.123*	Maintenance: Ceiling vents dusty outside showers

# Upper Cells

No Violations Noted

Pod F

Administration Area

No Violations Noted

Female Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Male Staff Bathroom

No Violations Noted

Medical Office

No Violations Noted

Block

Janitor’s Closet

No Violations Noted

Storage

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                  105 CMR 590.000, disposable silverware not stored to prevent contamination

Lower Showers

No Violations Noted

Lower Cells

No Violations Noted

Barber Shop # 1-06

No Violations Noted

Music Room # 1-05

No Violations Noted

Laundry Room # 1-04

No Violations Noted

The Club House # 1-03

No Violations Noted

Meditation Room # 1-02

No Violations Noted

Library # 1-01

No Violations Noted

Assessment Office

Unable to Inspect – In Use

Library/Multi-Purpose Room

No Violations Noted

Case Worker’s Office

No Violations Noted

Upper Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 2-23

Upper Showers # 1-10

105 CMR 451.123	Maintenance: Mold on corner of wall and caulking in shower # 1, 9, and 10

105 CMR 451.123	Maintenance: Mold on walls in shower # 7

Common Area

No Violations Noted

Dorm # 3 and 4 Landing

Male Bathroom

105 CMR 451.123	Maintenance: Floor dirty

Female Bathroom

Unable to Inspect – Locked

Trash Room

No Violations Noted

Janitor’s Closet

No Violations Noted

Storage/Med Pass

No Violations Noted

Medical Office

Unable to Inspect – Locked

Classroom # 2

No Violations Noted

Multi-Purpose Hallway

No Violations Noted

Storage Room # 1 and 2

No Violations Noted

Classroom A and B

No Violations Noted

Dorm # 3

Sleeping Area

No Violations Noted

Common Area

No Violations Noted

Toilet Area	Unable to Inspect Toilet Stall # 1-7 – In Use

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash           sink # 8

105 CMR 451.124*	Water Supply: Insufficient hot water supply in quantity and pressure at handwash        sink # 8

Sink Area

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, bubbler continually running

Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2, 3, 4, 5, and 7

105 CMR 451.123	Maintenance: Bench broken in shower # 1

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop not stored properly

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Case Worker’s Office

Unable to Inspect – In Use

Barber Shop

No Violations Noted

Dorm # 4

Barber Shop

No Violations Noted

Case Worker’s Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, gaskets damaged on refrigerator

Janitor’s Closet

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Floor dirty in shower # 1

Toilet Area

105 CMR 451.124*	Water Supply: Insufficient hot and cold water supply in quantity and pressure at handwash sink # 1

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash            sink # 2 and 7

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 6

Sink Area

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 3

Common Area

No Violations Noted

Sleeping Area

No Violations Noted

Pod E

Administration Area

Female Staff Bathroom

Unable to Inspect – Locked

Janitor’s Closet

No Violations Noted

Male Staff Bathroom

No Violations Noted

Offices

No Violations Noted

Nurse’s Station

Unable to Inspect – Locked

Block

Janitor’s Closet

No Violations Noted

Barber Shop

No Violations Noted

Storage Room

No Violations Noted

Segregation Showers

No Violations Noted

Segregation Cells

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 1-23

Classroom/Assessment

No Violations Noted

Library

No Violations Noted

Caseworker’s Office

No Violations Noted

Upper Cells

No Violations Noted

Upper Showers

105 CMR 451.123	Maintenance: Floor dirty in shower # 1 and 2

Dorm # 1 and 2 Landing

Shift Administrator’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, excessive ice buildup in freezer

Janitor’s Closet

No Violations Noted

Male Staff Bathroom

Unable to Inspect – In Use

Female Staff Bathroom

Unable to Inspect - Locked

Storage/Med Pass

Unable to Inspect - Locked

Medical Office

Unable to Inspect - Locked

Classroom # 1

No Violations Noted

Dorm # 1

Sleeping Area

No Violations Noted

Common Area

No Violations Noted

Toilet Area

105 CMR 451.124	Water Supply: Insufficient hot and cold water supply in quantity and pressure at handwash sink # 1

Sink Area

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at bubbler

105 CMR 451.123	Maintenance: Handwash sink # 3 out-of-order

Shower Area	Unable to Inspect Shower # 1 – In Use

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower # 3

Janitor’s Closet

No Violations Noted

Case Worker’s Office

Unable to Inspect – Locked

Barber Shop

No Violations Noted

Dorm # 2

Barber Shop

No Violations Noted

Case Worker’s Office

No Violations Noted

Janitor’s Closet

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent rusted in shower # 8

105 CMR 451.123	Maintenance: Soap scum on bench and wall in shower # 8

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 7

Toilet Area

105 CMR 451.123	Maintenance: Toilet # 2 out-of-order

Sink Area

105 CMR 451.123	Maintenance: Handwash sink # 3 dirty

Common Area

No Violations Noted

Sleeping Area

No Violations Noted

# Intake and Discharge

# Deputy’s Office

No Violations Noted

# Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Administrative Office

No Violations Noted

Holding Tank # 2

No Violations Noted

# Shake Room # 1 & 2

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink in room # 2

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink in room # 1

# Holding Cell # 1

No Violations Noted

# Institutional Property

No Violations Noted

# Desk Area

No Violations Noted

Sally Port

No Violations Noted

# Old Shower Room # 1

No Violations Noted

# Holding Cell # 1-6

105 CMR 451.353*	Interior Maintenance: Ceiling damaged around light fixture in cell # 4

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink in cell # 1, 4, and 5

105 CMR 451.124*	Water Supply: Insufficient cold water supply in quantity and pressure at handwash sink in cell # 2 and 3

# Break Room

No Violations Noted

# Male Bathroom

# No Violations Noted

# Female Bathroom

No Violations Noted

Inmate Property Room

No Violations Noted

Change Room # 1 and 2

No Violations Noted

# A & B Hall Entrance

# Janitor’s Closet

Unable to Inspect – Locked

# Teacher’s Office

No Violations Noted

# Hall A

No Violations Noted

Hall B

No Violations Noted

# Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

# Staff Dining Room

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gasket damaged on right side refrigerator

# Male Bathroom

No Violations Noted

# Female Bathroom

No Violations Noted

Supply Dock

Loading Dock

No Violations Noted

Surplus Storage Room

No Violations Noted

Storage Room

No Violations Noted

Back of Kitchen

Supply Room # 2 (Dry Storage)

No Violations Noted

Chemical Supply Closet

No Violations Noted

Daily Cleaning Cabinet

No Violations Noted

Kitchen Staff Break Room

No Violations Noted

Supply Room # 1

No Violations Noted

Inmate Bathroom

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink

Staff Bathroom

No Violations Noted

Rack Spray Area

No Violations Noted

Main Kitchen Area

Cooler # 1

No Violations Noted

Warmer # 1 & 2

No Violations Noted

Serving Line

No Violations Noted

Handwash Sink – Near Pots and Pans Sink

No Violations Noted

Pots and Pan Sink

No Violations Noted

Mechanical Warewash Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged to the left and in front of warewash machine

FC 5-205.15	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repairP, floor drain clogged under warewash machine

Warewash Machine

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, warewash machine leaking

Handwash Sink after Warewash Machine

No Violations Noted

Inmate Coffee Area

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface of cooking equipment not free of encrusted grease deposits or other soil, interior of microwave oven dirty

FC 3-302.11(A)(4)	Preventing Contamination after Receiving; Preventing Food and Ingredient Contamination: Food not appropriately covered, container of sugar left uncovered

FC 3-302.12	Protection from Contamination After Receiving, Preventing Food and Ingredient Contamination: Food or food ingredients that have been removed from original packages not labeled with common name of food, sugar container not labeled

Diet Area/Serving Line # 2

No Violations Noted

Warmer # 3 & 4

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on warmer # 3

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, unable to completely shut door on warmer # 4

New Refrigerator

No Violations Noted

McCall Proofer # 1

No Violations Noted

3 Warmers (Under Hoods)

No Violations Noted

Prep Tables and Sinks

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested lower than recommended concentration in several buckets throughout prep area

FC 3-304.12(B)	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Utensil handle not stored above the food in the container, scoop stored in oats container

Ice Machines

No Violations Noted

Handwash Sink (After Ice Machine # 2)

No Violations Noted

Kettle Area

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, lights not working under hood

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 2 kettles not reaching proper temperatures for cooking

Walk-in Refrigerator # 2

FC 3-501.17(A) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Refrigerated time/temperature control for safety food prepared on site not clearly marked indicating the date or day by which the food shall be consumed or discardedPf

Spice Cabinet

FC 3-302.12*	Protection from Contamination After Receiving: Food storage containers, Identified with Common Name of Food, mislabeled sugar container

FC 3-304.12(B)	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Utensil handle not stored above the food in the container

Walk-in Refrigerator # 1

FC 3-302.11(A)(4)	Preventing Contamination after Receiving; Preventing Food and Ingredient Contamination: Food not appropriately covered, corn left uncovered

Hood Area with Warmers

No Violations Noted

Walk-in Freezer

No Violations Noted

Sallyport/Changing Area

No Violations Noted

Janitor’s Closet

No Violations Noted

Officer’s Area/Office

105 CMR 590.011(C)(3)	Additional Requirements: Food Allergy Awareness Training, Food Protection Manager not certified in allergen awareness training

Culinary Arts Program Kitchen

Classroom

No Violations Noted

McCall Refrigerator

No Violations Noted

Proofers

No Violations Noted

Walk-in Freezer

No Violations Noted

Hood Area

No Violations Noted

Handwash Sink

No Violations Noted

3-Compartment Sink

No Violations Noted

Prep Sink

No Violations Noted

Prep Tables

No Violations Noted

Walk-in Refrigerator

No Violations Noted

# Health Service Unit

# ISO # 1 & 2

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.353	Interior Maintenance: Floor surface damaged in ISO # 1 and 2

Nurse’s Pantry

No Violations Noted

# Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing on slop sink

# Risk Cell # 1 & 2		Unable to Inspect Risk Cell # 2 – In Use

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in Risk Cell # 1

# Private Rooms # 1-4		Unable to Inspect Cell # 2 – In Use

No Violations Noted

# Ward A

No Violations Noted

Storage Room

No Violations Noted

# Handicap Shower Room

No Violations Noted

# Nurse’s Station and Bathroom

No Violations Noted

# Treatment Room # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water handle leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink slow to drain

# Inmate Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash sink

# Treatment Room # 2

No Violations Noted

Medical Waste Storage

No Violations Noted

# Treatment Room # 3

No Violations Noted

Coordinator’s Office

No Violations Noted

Lab

No Violations Noted

Dental Room

No Violations Noted

Infectious Disease Office

No Violations Noted

Psychiatry Office

No Violations Noted

# Exam Room # 2

No Violations Noted

Exam Room # 1

No Violations Noted

# Cleaning Utility Room

No Violations Noted

# Storage Room # 1

No Violations Noted

Mental Health Office

No Violations Noted

Physical Therapy (Treatment Room # 4)

No Violations Noted

# Pharmacy

No Violations Noted

Janitor’s Closet

No Violations Noted

Holding

No Violations Noted

# Storage Room # 2

No Violations Noted

# Ward B

No Violations Noted

HSU Administration Hallway

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, thermometer broken in refrigerator in office across from Medical Records

# Male Bathroom

No Violations Noted

# Female Bathroom

No Violations Noted

Medical Records

No Violations Noted

Health Service Administrator’s Office

No Violations Noted

# Billerica Control Building

# Main Level

# Lobby

105 CMR 451.350*	Structural Maintenance: Window panes broken at entrance

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

# Female Bathroom

# 105 CMR 451.123*	Maintenance: Toilet # 2 out-of-order

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

# Male Bathroom

105 CMR 451.130*	Plumbing: No backflow preventer on sink

105 CMR 451.123*	Maintenance: Urinal dirty

105 CMR 451.123	Maintenance: Handwash sink dirty

105 CMR 451.130	Plumbing: Handwash sink not draining properly

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.350	Structural Maintenance: Window panes missing

# Control Area

105 CMR 451.350*	Structural Maintenance: Windows not weathertight and structurally sound

105 CMR 451.350*	Structural Maintenance: Several window panes broken

105 CMR 451.350*	Structural Maintenance: Window sills and wall near windows damaged

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

# Roll Call Room

No Violations Noted

Jail Visiting Hallway

Parole Office

No Violations Noted

Additional Offices

No Violations Noted

# Old Administration Wing

First Floor

Offices

Unable to Inspect – Locked

Storage Closet

No Violations Noted

# Female Bathroom

# No Violations Noted

Mail Room

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Tool Crib Area

Unable to Inspect – Locked

Tool Crib Bathroom

No Violations Noted

Maintenance Area

No Violations Noted

Maintenance Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, thermometer in refrigerator broken

Second Floor

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing throughout

Offices

No Violations Noted

New Male Locker Room

Male Locker Room Bathroom

105 CMR 451.123*	Maintenance: Screen missing

105 CMR 451.123*	Maintenance: Ceiling tiles water damaged

Male Shower Room

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Shower curtain dirty in right side shower

# Male Bathroom # 2

Unable to Inspect – In Use

Classifications & Old Infirmary Hallway

Offices

No Violations Noted

Male Bathroom # 1

Unable to Inspect – In Use

Female Bathroom

No Violations Noted

Old Shower Room

Unable to Inspect – No Longer In Use

Staff Break Room

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, silverware left uncovered

Offices

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained in copy room

Third Floor

105 CMR 451.350*	Structural Maintenance: Several window panes broken throughout area

105 CMR 451.141*	Screens: Screens damaged throughout area

Male Locker Room

No Violations Noted

Male Locker Room Bathroom

Unable to Inspect – In Use

# Female Locker Room

Unable to Inspect – Locked

# Officer’s Weight Room

105 CMR 451.353*	Interior Maintenance: Gym equipment padding damaged

# Lower Report

# A & B Side Cells

# Unable to Inspect – No longer in use due to lack of natural lighting

Training Center

First Floor

Barber Area

No Violations Noted

Library

105 CMR 451.350*	Structural Maintenance: Window pane broken

Meeting Room

No Violations Noted

Offices and Classroom

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged in the classroom next to the library

105 CMR 451.350	Structural Maintenance: Ceiling leaking

Print Shop

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, handle missing on microwave

Chapel

105 CMR 451.350*	Structural Maintenance: Window panes broken

# Bathroom

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.123*	Maintenance: Ceiling tiles water stained

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 900F

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

# Storage Room

# No Violations Noted

Second Floor

# Main Laundry

105 CMR 451.350*	Structural Maintenance: Window broken

Inmate Bathroom

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.123	Maintenance: Wall paint damaged

Officer’s Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged on brick wall

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.124*	Water Supply: Insufficient cold water supply in quantity and pressure at handwash sink

Laundry Storage

No Violations Noted

# HUMV Dorm Room

105 CMR 451.103	Mattresses: Mattress damaged at bunk # 23 and 27

105 CMR 451.102	Pillows and Linens: Pillow damaged at bunk # 27

Dorm Bathroom	Unable to Inspect Handicap Shower – In Use

105 CMR 451.124*	Water Supply: Insufficient cold water supply in quantity and pressure at handwash          sink # 2

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash             sink # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water continually running at handwash sink # 4

# First Tier

Day Room

No Violations Noted

# Control

No Violations Noted

Janitor’s Closet

No Violations Noted

# A & B Side

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # A9

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # A12, B2, B17, and B25

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # B1

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # A15

105 CMR 451.353	Interior Maintenance: Area around window damaged in cell # B19

Bathroom and Shower Area

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 1, 2, and 4

105 CMR 451.124*	Water Supply: Insufficient cold water supply in quantity and pressure at handwash sink

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 7 and 10

C & D Side

105 CMR 451.113	Toilet and Handwashing Sink in Locked Cells: No working toilet in locked cell # C10, toilet clogged

105 CMR 451.353	Interior Maintenance: Wall damaged above handwash sink in cell # D16

105 CMR 451.353	Interior Maintenance: Debris stuck behind window in cell # D19

# Shower Room # D23

Unable to Inspect – Not Used

# Second Tier (Unoccupied)

105 CMR 451.353*	Interior Maintenance: Multiple cell windows painted

# Nurse’s Room

Unable to Inspect – Locked

# Control

No Violations Noted

# E & F Side

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # E11, E16, and F18

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # F1

Bathroom and Shower Area

105 CMR 451.123*	Maintenance: Floor drain sealed off in shower # 3

105 CMR 451.123*	Maintenance: Floor drain cover damaged in shower # 5

105 CMR 451.123	Maintenance: Floor drain cover damaged in shower # 7

105 CMR 451.123*	Maintenance: Ceiling damaged in shower # 1 and 9

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal and toilet out-of-order

Janitorial Cage

No Violations Noted

# G & H Side

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # H13

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # G14, H8, and H12

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # G5, H8, H11, H19, and H25

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # H13

105 CMR 451.350	Structural Maintenance: Window broken in cell # H26

105 CMR 451.104	Beds: Bed not in good repair in cell # G3, bed not assembled

# Gym

105 CMR 451.353*	Interior Maintenance: Wooden window coverings damaged

# Gym Office

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, light out

105 CMR 451.141	Screens: Screen damaged

# Staff Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty

105 CMR 451.123	Maintenance: Handwash sink dirty

Stairway to Third Tier

No Violations Noted

Third Tier (Unoccupied)

105 CMR 451.353*	Interior Maintenance: Multiple cell windows painted

# Day Room

No Violations Noted

Control

No Violations Noted

Offices

# No Violations Noted

I & J Side

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 700F in cell # J5

105 CMR 451.353*	Interior Maintenance: Window dirty in cell # J3

105 CMR 451.117*	Toilet Fixtures: Toilet fixture dirty in cell # J16

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # J26

105 CMR 451.353	Interior Maintenance: Floor dirty in cell # J26

Bathroom and Shower Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 3

Janitor’s Closet

No Violations Noted

K & L Side

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in          cell # K12

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink basin rusted in        cell # K12

# CWP Building

# Unable to Inspect – Closed

# Work Release Building

# House # 1

# First Floor

# Hallway

No Violations Noted

Infirmary

No Violations Noted

Control

No Violations Noted

Office

No Violations Noted

# Bathroom

105 CMR 451.123*	Maintenance: Screen missing

105 CMR 451.123	Maintenance: Soap scum on shower curtain

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal clogged

# Bedrooms

No Violations Noted

# Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

# Dining Room

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Doors kept open for ventilation not provided with screens to protect against the entry of insects and rodents

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed

FC 4-904.11(B)*	Protection of Clean Items, Preventing Contamination: Knives, forks, and spoons not presented to avoid contamination

# Kitchen

FC 2-402.11	Hygienic Practices; Hair Restraints: Food service personnel not wearing appropriate hair restraints, beard guards and hair nets not being worn

FC 3-501.16(A)(1) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Time/temperature control for safety food not held at 135°F or aboveP, beans recorded at 100°F

FC 4-303.11(B)*	Numbers and Capacities; Cleaning Agents and Sanitizers: Sanitizers used to sanitize equipment and utensils not available during all hours of operation

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets dirty

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, lights out

# Second Floor

# Stairway

105 CMR 451.353*                    Interior Maintenance: Light shield missing

# Hallway

No Violations Noted

# Bedrooms

105 CMR 451.350*	Structural Maintenance: Properly sized window missing in window in bedroom # 8

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in room # 7

# Bathroom

105 CMR 451.123*	Maintenance: Screen missing

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1 and 2

Stairway to Basement

No Violations Noted

# Basement

# Laundry Room

105 CMR 451.353	Interior Maintenance: Dryer out-of-order

Boiler Room

Unable to Inspect – Locked

Chemical Storage Room

No Violations Noted

# Day Room between Houses

No Violations Noted

# House # 2

# First Floor

# Hallway

# No Violations Noted

# Night Shift Office

No Violations Noted

# Officer’s Bathroom

No Violations Noted

# Bedrooms

105 CMR 451.141	Screens: Screen missing in bedroom # 1

Administration Office

No Violations Noted

Second Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Screen missing

105 CMR 451.350	Structural Maintenance: Window pane broken

Bedrooms

105 CMR 451.141*	Screens: Screen missing in bedroom # 5

105 CMR 451.141	Screens: Screen missing in bedroom # 3

Third Floor

Bedrooms

105 CMR 451.141	Screens: Screen damaged in room # 8

# Basement

# Day Room

105 CMR 451.200	Food Storage, Preparation and Service: Food service not in compliance with                105 CMR 590.000, water catch dirty

Property

Unable to Inspect – Locked

# Bathroom

Unable to Inspect – In Use

Storage Room

Unable to Inspect – Locked

WAREHOUSE

No Violations Noted

Office

No Violations Noted

Female Bathroom

Unable to Inspect – In Use

Male Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Old Walk-in Freezer

No Violations Noted

Back Freezer and Refrigerator

No Violations Noted

Observations and Recommendations

- The inmate population was 747 at the time of inspection.

- During the inspection, a large A/C installation project was underway in the Billerica Control Building.

- During the kitchen inspection it was stated that the hood cleaning/inspection would be conducted in June.         The CSP requests confirmation that the cleaning/inspections were conducted to maintain compliance with               527 CMR 1.00, Chapter 50 Commercial Cooking Operations.

- During the inspection of HSU, the CSP observed 2 copies of the Medical and Biological Waste policies and procedures. The CSP recommended adding all the information contained in the previous Medical and Biological Waste policies and procedures to the updated policies and procedures including location and duration of waste storage.

- During the inspection of the Work Release Kitchen, food employees were uncertain of proper hot holding temperatures of time/temperature control for safety food and temperature requirements for hot holding units.     The CSP recommended providing additional training to food employees in these areas. The CSP also recommended storing cleaning and sanitizing agents within the Work Release Buildings for increased ease of access for food employees.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kerry Wagner, MPH													Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Osvaldo Vidal, Superintendent							(electronic copy)

Captain William Buckley, EHSO						(electronic copy)

Sergeant Shane Cassidy, EHSO							(electronic copy)

Richard Berube, Director, Billerica Board of Health				(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate