The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-448-7410

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

Tel: 617-624-6000

www.mass.gov/dph

MAURA T. HEALEY

Governor

KIMBERLEY DRISCOLL

Lieutenant Governor

May 26, 2023

Peter J. Koutoujian, Sheriff

Middlesex County Sheriff’s Office

400 Mystic Avenue

Medford, MA 02155		(electronic copy)

Re: Facility Inspection – Middlesex County Jail and House of Corrections, Billerica

Dear Sheriff Koutoujian:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of Middlesex County Jail and House of Corrections on April 21 and 24, 2023 and May 16, 2023 accompanied by Captain William Buckley and Sergeant Shane Cassidy, Environmental Health and Safety Officers. Violations noted during the inspection are listed below including 83 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Kerry Wagner, MPH

Environmental Analyst, CSP, BEH

cc: 	Margret R. Cooke, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Kathleen E. Walsh, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Terrence Reidy, Secretary, EOPSS						(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 		(electronic copy)

Osvaldo Vidal, Superintendent							(electronic copy)

Captain William Buckley, EHSO						(electronic copy)

Sergeant Shane Cassidy, EHSO							(electronic copy)

### Kristel Bennett, Director, Billerica Board of Health				(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# CHECKPOINT BUILDING

Janitor’s Closet

No Violations Noted

Male Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1020F at handwash sink

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

105 CMR 451.123	Maintenance: Floor dirty throughout

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink slow to drain

Female Bathroom

No Violations Noted

Control Desk

No Violations Noted

PODULAR BUILDING

# Lobby

# No Violations Noted

# Water Fountain

No Violations Noted

# Female Bathroom

No Violations Noted

# Male Bathroom

No Violations Noted

# Janitor’s Closet

# No Violations Noted

# Administration Wing

# Offices

Unable to Inspect – Locked

# Female Bathroom

No Violations Noted

# Male Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1010F at handwash sink

# Janitor’s Closet

No Violations Noted

# Kitchenette

No Violations Noted

Conference Room

Unable to Inspect – In Use

Visiting Area

No Violations Noted

Visitor’s Side

No Violations Noted

# Central Control

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, single service utensils left uncovered

# Bathroom

105 CMR 451.123	Maintenance: Floor dirty

# Attorney Visit Hallway

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Male Bathroom

No Violations Noted

# Female Bathroom

No Violations Noted

Visiting Control Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                              105 CMR 590.000, single service utensils left uncovered

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                              105 CMR 590.000, drawer broken in large refrigerator

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                              105 CMR 590.000, excessive ice build-up in small refrigerator

105 CMR 451.353	Interior Maintenance: Strong odor present throughout room

# Inmate Bathroom # 5-145A

No Violations Noted

# Storage Room # 5-145B

Unable to Inspect – Locked

Visiting Area – Inmate Side

No Violations Noted

Family/Child Visiting Area

No Violations Noted

# Entrance Hallway for Pod A & B

# Nurse’s Station

Unable to Inspect – Locked

Female Bathroom

No Violations Noted

# Male Bathroom

No Violations Noted

# Janitor’s Closet

No Violations Noted

# Caseworker’s Office

No Violations Noted

# Pod A

# Common Area

105 CMR 451.353	Interior Maintenance: Seat damaged on left side exercise bike

Storage Cage (Barber Shop)

105 CMR 451.124	Water Supply: Excessive water supply in quantity and pressure at handwash sink

# Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Counselor/Interview Room # 5-062

No Violations Noted

Room # 5-063

No Violations Noted

Pod Storage Room # 5-061

No Violations Noted

# Lower Level Shower Area # 1-5

105 CMR 451.123*	Maintenance: Screws missing on wall in handicapped shower

Lower Cells

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 900F in cell # 1-25

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1-13, 1-15, and 1-23

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1-03, 1-05, 1-08, 1-10, 1-21, 1-22,       1-23, 1-30, 1-31, and 1-32

Upper Level Shower Area # 6-10

105 CMR 451.123*	Maintenance: Floor paint damaged outside showers

105 CMR 451.123	Maintenance: Ceiling vent duty outside shower # 7

105 CMR 451.123	Maintenance: Floor dirty outside shower # 9

# Upper Cells

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink slow to drain in       cell # 2-15

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash sink in cell # 2-15

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, combination toilet/handwash sink unit leaking in cell # 2-20

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 2-09

# Pod B

# Common Area

No Violations Noted

Storage Room # 5-085

No Violations Noted

Counselor’s Office # 5-084

No Violations Noted

Storage Cage (Barber Shop) # 5-081

No Violations Noted

# Janitor’s Closet # 5-080

105 CMR 451.353	Interior Maintenance: Wet mop stored in slop sink

# Storage Room (Small) # 5-082

No Violations Noted

Classroom/Storage Room (Large) # 5-083

No Violations Noted

Lower Level Shower Area

No Violations Noted

# Lower Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 1-20

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 1-15, 1-19, 1-25, and 1-29

# Upper Level Shower Area

105 CMR 451.123*	Maintenance: Soap scum observed on walls in shower # 10

105 CMR 451.123	Maintenance: Door surface dirty in shower # 9 and 10

# Upper Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 2-32

# Entrance Hallway for Pod C & D

# Nurse’s Station

Unable to Inspect – Locked

# Female Bathroom

No Violations Noted

# Male Bathroom

No Violations Noted

# Office

No Violations Noted

# Pod C

# Common Area

No Violations Noted

Storage Cage (Barber Shop) # 5-207

No Violations Noted

# Janitor’s Closet # 5-206

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing

105 CMR 451.353	Interior Maintenance: Wet mop stored on floor

# Pod Storage Room # 5-201

No Violations Noted

# Counselor/Interview Office #5-202

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave oven dirty

# Multi-Purpose Room # 5-203

No Violations Noted

# Lower Level Shower Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 1 leaking

105 CMR 451.123*	Maintenance: Soap scum observed on floor in shower # 2

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower # 1, 2, and 4

105 CMR 451.123	Maintenance: Light fixture rusted in shower # 1 and 4

Lower Cells

105 CMR 451.126	Hot Water: Hot water temperature recorded at 620F in cell # 1-09

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash        sink # 1-09

# Upper Level Shower Area 	Unable to Inspect Shower # 6 and 7 – In Use

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.123	Maintenance: Walls dirty in shower # 9

105 CMR 451.123	Maintenance: Handwash sink dirty

# Upper Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 2-13 and 2-29

# Pod D

# Common Area

No Violations Noted

Storage Cage (Barber Shop) # 5-214

No Violations Noted

# Janitor’s Closet # 5-213

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Counselor/Interview Room # 5-217

No Violations Noted

Multi-Purpose Room # 5-216

No Violations Noted

# Pod Storage Room # 5-218

No Violations Noted

# Lower Level Shower Area	Unable to Inspect Shower # 5 – In Use

105 CMR 451.123	Maintenance: Soap scum observed on walls in handicapped shower

# Lower Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink clogged in cell # 1-07 and 1-08

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 1-21

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1-09

# Upper Level Shower Area

105 CMR 451.123*	Maintenance: Soap scum observed on walls in shower # 5

105 CMR 451.123	Maintenance: Drain flies observed in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1 and 2 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head missing in shower # 4

# Upper Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in             cell # 2-18

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet push button leaking in           cell # 2-18

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 2-02, 2-04, 2-22, and 2-30

Pod F

Administration Area

No Violations Noted

Trash Storage Room # 6-200

No Violations Noted

Female Staff Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Male Staff Bathroom

No Violations Noted

Medical Office

Unable to Inspect – Locked

Block

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty near entrance

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at handwash sink near entrance

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink clogged near entrance

Janitor’s Closet # 6-207

No Violations Noted

Storage # 6-208

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, no functioning thermometer in refrigerator

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, microwave oven door broken

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Tabletop dirty

Lower Showers

105 CMR 451.123	Maintenance: Mold observed on caulking in shower # 6

105 CMR 451.123	Maintenance: Walls dirty in shower # 6

105 CMR 451.123	Maintenance: Door surface dirty in shower # 3

Lower Cells

No Violations Noted

Gym # 1-19

No Violations Noted

Laundry Room # 1-01

No Violations Noted

Music Room # 1-02

No Violations Noted

The Club House # 1-03

No Violations Noted

Kitchen # 1-04

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Tabletop dirty

105 CMR 451.353	Interior Maintenance: Walls dirty

Library # 1-05

No Violations Noted

Barber Shop # 1-06

No Violations Noted

Assessment Office # 6-211

Unable to Inspect – In Use

Library/Multi-Purpose Room # 6-210

No Violations Noted

Case Worker’s Office # 6-209

105 CMR 451.340	Illumination: Insufficient lighting, lights not working

Upper Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running in                cell # 2-03

Upper Showers # 1-10

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower # 8, 9, and 10

Common Area

No Violations Noted

Dorm # 3 and 4 Landing

Male Bathroom # 6-212

No Violations Noted

Female Bathroom # 6-213

Unable to Inspect – Locked

Trash Room # 6-214

No Violations Noted

Janitor’s Closet # 6-215

No Violations Noted

Storage/Med Pass # 6-221

No Violations Noted

Medical Office # 6-226

Unable to Inspect – In Use

Classroom # 2 (6-227)

No Violations Noted

Multi-Purpose Hallway

No Violations Noted

Storage Room # 6-217 and 6-218

No Violations Noted

Classroom A and B # 6-219 and 6-220

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                  105 CMR 590.000, no functioning thermometer in refrigerator in room # 6-219

Dorm # 3

Sleeping Area

No Violations Noted

Common Area

No Violations Noted

Toilet Area

Unable to Inspect – In Use

Handwash Sink Area

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F at handwash sink # 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink slow to drain at handwash sink # 3

Shower Area

105 CMR 451.123*	Maintenance: Caulking under water control dirty in shower # 1

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower # 1, 2, 4, and 7

105 CMR 451.123	Maintenance: Drain flies observed in shower # 4

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water left in mop bucket

Case Worker’s Office

No Violations Noted

Barber Shop

No Violations Noted

Dorm # 4

Barber Shop

No Violations Noted

Case Worker’s Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Standing water left in bucket

Shower Area

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower # 2 and 3

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower # 3 and 7

105 CMR 451.123	Maintenance: Strong odor throughout shower area

Toilet Area

105 CMR 451.124*	Water Supply: Insufficient hot water supply in quantity and pressure at handwash sink   in stall # 1

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash sink   in stall # 1

105 CMR 451.124*	Water Supply: No cold water supplied to handwash sink in stall # 3

Handwash Sink Area

No Violations Noted

Common Area

No Violations Noted

Sleeping Area

No Violations Noted

Pod E

Administration Area

Female Staff Bathroom # 6-101

No Violations Noted

Janitor’s Closet # 6-102

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink clogged with excessive amount of dirt

Male Staff Bathroom # 6-103

Unable to Inspect – In Use

Offices # 6-104 and 6-105

No Violations Noted

Nurse’s Station # 6-107

Unable to Inspect – Locked

Trash Storage Room # 6-100

No Violations Noted

Block

105 CMR 451.123	Maintenance: Handwash sink dirty near entrance

Janitor’s Closet # 6-106

No Violations Noted

Barber Shop

No Violations Noted

Storage Room # 6-108

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of the ceiling

Lower Showers

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower # 1 and 2

105 CMR 451.123	Maintenance: Debris observed in floor drain in shower # 1, 2, 3, 4, and 6

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 4 and 5

Lower Cells

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty in cell # 1-30

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1-05, 1-06, 1-08, 1-23, 1-26, 1-28, and 1-29

Classroom/Assessment # 6-111

No Violations Noted

Caseworker’s Office # 6-110

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                  105 CMR 590.000, interior of refrigerator dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with            105 CMR 590.000, interior of 2 microwave ovens dirty

105 CMR 451.340	Illumination: Insufficient lighting, lights out

Upper Cells

No Violations Noted

Upper Showers

105 CMR 451.123*	Maintenance: Soap scum observed on floor in shower # 2

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower # 3, 4, 5, 6, and 7

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower # 2, 3, 4, and 5

105 CMR 451.123	Maintenance: Debris observed in floor drain in shower # 2, 3, 4, and 5

Outside Rec Area

No Violations Noted

Dorm # 1 and 2 Landing

Shift Administrator’s Office # 6-112

No Violations Noted

Trash Storage Room # 6-113

No Violations Noted

Janitor’s Closet # 6-114

No Violations Noted

Male Staff Bathroom # 6-115

No Violations Noted

Female Staff Bathroom # 6-116

Unable to Inspect - Locked

Storage/Med Pass # 6-118

No Violations Noted

Medical Office # 6-122

No Violations Noted

Classroom # 6-123

No Violations Noted

Dorm # 1

Sleeping Area

No Violations Noted

Common Area

No Violations Noted

Toilet Area

Unable to Inspect – In Use

Handwash Sink Area

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 820F at handwash sink # 1

Shower Area

105 CMR 451.123*	Maintenance: Mold observed on caulking in shower # 1

105 CMR 451.123	Maintenance: Floor and walls dirty in shower # 1

Janitor’s Closet

No Violations Noted

Case Worker’s Office

Unable to Inspect – In Use

Barber Shop

No Violations Noted

Dorm # 2

Barber Shop

No Violations Noted

Case Worker’s Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, interior of refrigerator dirty

Janitor’s Closet

No Violations Noted

Shower Area	Unable to Inspect Shower # 6 and 7 – In Use

105 CMR 451.123	Maintenance: Mold observed on caulking in shower # 8

105 CMR 451.123	Maintenance: Soap scum observed on walls in shower # 8

105 CMR 451.123	Maintenance: Soap scum observed on floor in shower # 2

105 CMR 451.123	Maintenance: Floor tiles damaged outside of showers

Toilet Area

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash sink in stall # 1 and 8

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash sink in stall # 4, 7, and 8

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink clogged in stall # 5 and 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, combination toilet/handwash sink unit out-of-order in stall # 2

Handwash Sink Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 1 out-of-order

105 CMR 451.123	Maintenance: Handwash sink # 2 dirty

105 CMR 451.123	Maintenance: Floor dirty under water spigot

Common Area

No Violations Noted

Sleeping Area

105 CMR 451.103		Mattresses: Mattress damaged at bunk # 4

# Intake and Discharge

# Transportation Office # 5-017

No Violations Noted

# Janitor’s Closet # 5-016

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing

# Administrative Office # 5-015

No Violations Noted

Holding Tank # 2 # 5-014

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash sink

# Shake Room # 1 (5-011) & 2 (5-010)

No Violations Noted

# Holding Cell # 1 (# 5-013)

No Violations Noted

# Institutional Property

No Violations Noted

# Desk Area

No Violations Noted

Sally Port

No Violations Noted

# Old Shower Room # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink continually running

Cell # 5-008

No Violations Noted

# Holding Cell # 1-6

No Violations Noted

# Break Room # 5-018

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, single service cups stored on floor

# Male Bathroom # 5-018

Unable to Inspect – In Use

# Female Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink slow to drain

Inmate Property Room # 5-021

No Violations Noted

Change Room # 1 and 2 (# 5-022 and 5-023)

No Violations Noted

# A & B Hall Entrance

# Janitor’s Closet # 5-025A

# No Violations Noted

# Storage Room # 5025C

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of ceiling

# Teacher’s Office # 5-025B

No Violations Noted

# Hall A – Video Court # 5-024

No Violations Noted

Hall B # 5-026

No Violations Noted

# Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

# Staff Dining Room

FC 3-501.16(A)(2) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Time/temperature control for safety food not held at 41°F or lessP, pasta salad recorded at 73°F

# Male Bathroom

No Violations Noted

# Female Bathroom

No Violations Noted

Supply Dock

Loading Dock

No Violations Noted

Surplus Storage Room # 5-028

No Violations Noted

Storage Room # 5-027

No Violations Noted

Back of Kitchen

Supply Room # 2 (Dry Storage) # 5-029

No Violations Noted

Chemical Supply Closet

No Violations Noted

Daily Cleaning Cabinet

No Violations Noted

Kitchen Staff Break Area # 5-030

No Violations Noted

Supply Room # 1 (# 5-031)

No Violations Noted

Inmate Bathroom # 5-032

No Violations Noted

Staff Bathroom # 5-033

No Violations Noted

Rack Spray Area

No Violations Noted

Main Kitchen Area

Cooler # 1

No Violations Noted

Warmer # 1 & 2

No Violations Noted

Serving Line

FC 7-204.11(A)	Operational Supplies and Applications, Chemicals: Sanitizer for food-contact surface does not meet the requirements specified in 40 CFR 180.940P, sanitizing concentration too strong

Handwash Sink – Near Pots and Pans Sink

No Violations Noted

Pots and Pan Sink

FC 7-204.11(A)	Operational Supplies and Applications, Chemicals: Sanitizer for food-contact surface does not meet the requirements specified in 40 CFR 180.940P, sanitizing concentration too strong

Mechanical Warewash Area

Warewash Machine

FC 4-501.15	Maintenance and Operation; Equipment: Warewashing machine not operating in accordance with manufacturer's instructions

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the mechanical warewashing machinePf, final rinse cycle not reaching 180°F

Inmate Coffee Area

FC 3-302.12	Protection from Contamination After Receiving, Preventing Food and Ingredient Contamination: Food or food ingredients that have been removed from original packages not labeled with common name of food, sugar container missing label

Diet Area/Serving Line # 2

No Violations Noted

Warmer # 3 & 4

No Violations Noted

Cooler # 2

No Violations Noted

3 Ovens (Under Hoods)

FC 3-304.12(B)	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Utensil handle not stored above the food in the container, scoops stored in flour and oats containers

Prep Tables and Sinks

No Violations Noted

Ice Machines

No Violations Noted

Handwash Sink (After Ice Machine # 2)

No Violations Noted

Kettle Area

No Violations Noted

Walk-in Refrigerator # 2

No Violations Noted

Spice Cabinet

No Violations Noted

Walk-in Refrigerator # 1

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, door frame damaged

Hood Area with Warmers

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, 1 light not working over grille top

Walk-in Freezer

No Violations Noted

Sallyport/Changing Area

No Violations Noted

Janitor’s Closet

No Violations Noted

Handwash Sink

No Violations Noted

Officer’s Area/Office

No Violations Noted

Culinary Arts Program Kitchen

Classroom

No Violations Noted

True Refrigerator

No Violations Noted

Proofers

No Violations Noted

Walk-in Freezer

No Violations Noted

Hood Area

No Violations Noted

Handwash Sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, discolored water observed at handwash sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, no hot water supplied to handwash sink

3-Compartment Sink

FC 7-204.11(A)	Operational Supplies and Applications, Chemicals: Sanitizer for food-contact surface does not meet the requirements specified in 40 CFR 180.940P, sanitizing concentration too strong

Prep Sink

No Violations Noted

Prep Tables

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirtyPf, can opener dirty

Walk-in Refrigerator

No Violations Noted

# Health Service Unit

# ISO # 1 & 2

No Violations Noted

Nurse’s Pantry

No Violations Noted

# Janitor’s Closet

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, sprinkler head recessed into ceiling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Risk Cell # 1 & 2

No Violations Noted

# Patient Rooms # 1-4

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 3

# Ward A # 5-130

No Violations Noted

Storage Room # 5-131

No Violations Noted

# Handicapped Shower Room

105 CMR 451.123	Maintenance: Caulking damaged near water push button

105 CMR 451.130	Hot Water: Shower water temperature recorded at 820F

# Nurse’s Station and Bathroom

105 CMR 451.123	Maintenance: Cabinet countertop near sink damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 800F at handwash sink

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, handwash sink slow to drain

HSU Main Entrance

No Violations Noted

# Treatment Room # 1 (# 5-126)

No Violations Noted

# Inmate Bathroom # 5-124

105 CMR 451.123	Maintenance: Handwash dirty

# Treatment Room # 2 (# 5-122)

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F at handwash sink

Medical Waste Storage

No Violations Noted

# Treatment Room # 3 (# 5-120)

No Violations Noted

Coordinator’s Office # 5-118

No Violations Noted

Lab/Temporary Pharmacy # 5-117

No Violations Noted

Dental Room # 5-119

105 CMR 451.353	Interior Maintenance: Countertop dirty

Infectious Disease Office

105 CMR 480.500(A)(3)	Procedures; Records; Record-Keeping Log: Generator had no written documentation for blood borne pathogen training, some individuals who may potentially handle medical or biological waste not providing training on an annual basis

Psychiatry Office # 5-123

No Violations Noted

# Exam Room # 2 (# 5-125)

No Violations Noted

Exam Room # 1 (# 5-127)

No Violations Noted

# Cleaning Utility Room (# 5-111)

No Violations Noted

# Storage Room # 1 (# 5-110)

No Violations Noted

Mental Health Office # 1 (# 5-115)

No Violations Noted

Physical Therapy # 5-113 (Treatment Room # 4)

No Violations Noted

Office # 5-114

No Violations Noted

# Pharmacy # 5-112

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, interior of refrigerator and freezer dirty

Janitor’s Closet # 5-106

No Violations Noted

Office # 5-108

No Violations Noted

Office # 5-107

No Violations Noted

# Storage Room # 5-109

No Violations Noted

# Ward B # 5-102

105 CMR 451.123*	Maintenance: Floor mat dirty outside showers

105 CMR 451.123	Maintenance: Left and right handwash sink dirty

HSU Administration Hallway

# Male Bathroom

No Violations Noted

# Female Bathroom # 5-104

No Violations Noted

Storage Room # 5-103

No Violations Noted

Office # 5-100

No Violations Noted

Health Service Administrator’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, single service utensils left uncovered

# Billerica Control Building

# Main Level

# Lobby

105 CMR 451.350*	Structural Maintenance: Window broken at entrance

105 CMR 451.350*	Structural Maintenance: Wall damaged at entrance

Janitor’s Closet

No Violations Noted

# Female Bathroom

105 CMR 451.350*	Structural Maintenance: Window broken

# Male Bathroom

No Violations Noted

Transportation-Hub Hallway

Unable to Inspect Cells – Not Used

Office # 2-111

No Violations Noted

Office # 2-108

Unable to Inspect – Locked

IT Office # 2-101

105 CMR 451.350*	Structural Maintenance: Hole in ceiling in back storage area

# Control Area

105 CMR 451.350*	Structural Maintenance: Windows not weathertight and structurally sound

105 CMR 451.350*	Structural Maintenance: Several windows broken

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.141	Screens: Screen damaged

# Roll Call Room

No Violations Noted

Motorcycle Unit Locker Room # 2-116

Unable to Inspect – Locked

Administration Locker Room # 2-117

Unable to Inspect – In Use

Jail Visiting Hallway

Parole Office # 2-125

No Violations Noted

Religious Services Office # 2-119

Unable to Inspect – Locked

Additional Offices

No Violations Noted

# Old Administration Wing

First Floor

Office # 2-131

Unable to Inspect – Locked

Storage Closets

Unable to Inspect – Locked

# Female Bathroom # 2-136

No Violations Noted

Mail Room # 2-138

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Tool Crib Area

No Violations Noted

Tool Crib Bathroom

No Violations Noted

Maintenance Area

No Violations Noted

Maintenance Break Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                  105 CMR 590.000, single service cups and bowls stored on floor

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with             105 CMR 590.000, sponges observed

105 CMR 451.346*	Safe Wiring: Inappropriate use of temporary wiring, cord running through doorway

Second Floor

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing throughout

Offices

No Violations Noted

Nursing Mother’s Room

Unable to Inspect – Locked

Records Storage Rooms

No Violations Noted

New Male Locker Room

Unable to Inspect – In Use

Classifications & Old Infirmary Hallway

Offices

105 CMR 451.353	Interior Maintenance: Ceiling tile missing in office # 2-200

Male Bathroom # 2-214

Unable to Inspect – In Use

Female Bathroom # 2-208

No Violations Noted

Old Shower Room

Unable to Inspect – Not Used

Staff Break Room # 2-206

No Violations Noted

Additional Offices

No Violations Noted

Janitor’s Closet # 2-205

No Violations Noted

Third Floor

105 CMR 451.141*	Screens: Screens damaged throughout area

105 CMR 451.350*	Structural Maintenance: Several windows broken throughout area

# Female Locker Room

No Violations Noted

# Officer’s Weight Room

105 CMR 451.353	Interior Maintenance: Equipment padding damaged

105 CMR 451.353	Interior Maintenance: Ceiling tile water damaged

Male Locker Room

No Violations Noted

Male Locker Room Bathroom # 2-308

105 CMR 451.123*	Maintenance: Floor paint damaged throughout

# Lower Report

# A & B Side Cells

# Unable to Inspect – Not Used

Training Center

First Floor

Male Bathroom # 4-123

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Medical Triage

Unable to Inspect – Locked

Library # 4-122

105 CMR 451.353	Interior Maintenance: Ceiling tile missing

Meeting Room # 4-120

105 CMR 451.350	Structural Maintenance: Active leak observed from ceiling

105 CMR 451.353	Interior Maintenance: Ceiling tile water damaged

Offices and Classroom # 4-118 – 4-121

No Violations Noted

Print Shop # 4-115

No Violations Noted

Chapel # 4-116

105 CMR 451.350*	Structural Maintenance: Windows broken

Offices # 4-112 – 4-114

105 CMR 451.350	Structural Maintenance: Window not weathertight in office # 4-112 and 4-114

# Bathroom # 4-110

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 950F at handwash sink

# Storage Room # 4-111

# No Violations Noted

Second Floor

# Main Laundry

105 CMR 451.350*	Structural Maintenance: Windows broken

Inmate Bathroom # 4-201

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.123*	Maintenance: Wall paint damaged

Officer’s Bathroom

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink

Laundry Storage # 4-213

No Violations Noted

Canteen Storage # 4-215

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, bags of food stored on floor

Canteen Office # 4-216

Unable to Inspect – Locked

# Tier Dorm Room

105 CMR 451.353	Interior Maintenance: Table dirty at far end of dorm

Dorm Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 820F at handwash sink # 1

105 CMR 451.124*	Water Supply: Insufficient hot and cold water supply in quantity and pressure at handwash sink # 3

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash          sink # 2 and 6

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash        sink # 2, 6, and 8

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 8

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 6

105 CMR 451.123	Maintenance: Floor paint damaged outside showers

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1

# First Tier (Unoccupied)

Day Room

No Violations Noted

# Control # 4-100

No Violations Noted

Staff Room # 4-102

No Violations Noted

Janitor’s Closet

Unable to Inspect - Locked

# A & B Side

105 CMR 451.353*	Interior Maintenance: Wall damaged near light in cell # B3 and B13

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # B4

Bathroom and Shower Area

105 CMR 451.123*	Maintenance: Wall grout missing in shower # 4 and 5

105 CMR 451.123	Maintenance: Wall grout missing in shower # 3 and 6

C & D Side

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # D7 and D14

# Shower Room # D23

Unable to Inspect – Not Used

# Second Tier (Unoccupied)

105 CMR 451.353*	Interior Maintenance: Multiple windows painted

# Nurse’s Room

Unable to Inspect – Locked

# Control

Unable to Inspect – Locked

# E & F Side

105 CMR 451.117*	Toilet Fixtures: Toilet fixture not easily cleanable, interior of toilet bowl rusted in            cell # F25

105 CMR 451.353*	Interior Maintenance: Ceiling damaged at end of hallway

Bathroom and Shower Area

105 CMR 451.123	Maintenance: Ceiling damaged in shower # 1 and 9

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain sealed off in shower # 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 10 leaking

Janitorial Cage

No Violations Noted

# G & H Side

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # G20

# Gym

105 CMR 451.353*	Interior Maintenance: Wooden window coverings damaged

# Gym Office

105 CMR 451.353*	Interior Maintenance: Uncovered junction box, exposed wires observed

# Staff Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

Stairway to Third Tier

No Violations Noted

Third Tier (Unoccupied)

105 CMR 451.353*	Interior Maintenance: Multiple windows painted

Control

No Violations Noted

Offices

# Unable to Inspect – Locked

I & J Side

105 CMR 451.353*	Interior Maintenance: Wall damaged in cell # J26

Bathroom and Shower Area

No Violations Noted

Janitor’s Closet

No Violations Noted

K & L Side

105 CMR 451.353*	Interior Maintenance: Ceiling damaged in cell # K3 and K16

105 CMR 451.353		Interior Maintenance: Ceiling damaged in cell # L19

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # L19

CWP Building

Entrance

No Violations Noted

Officer’s Station

No Violations Noted

Storage # 3-107

No Violations Noted

Bathroom # 3-111

105 CMR 451.123	Maintenance: Ceiling vent dusty

Shower Room # 3-113

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet fixture not secured at handwash sink # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet fixture not secured at handwash sink # 1, 3, and 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink slow to drain at handwash       sink # 3

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink # 6

105 CMR 451.123	Maintenance: Wall board damaged in stall # 5

Med Room # 3-112

Unable to Inspect – Locked

Day Area # 3-114

No Violations Noted

Laundry Area

No Violations Noted

Dining Area

FC 4-903-11(A)(2)*	Protection of Clean Items, Storing: Single-Use items not stored in an area where they are protected from contamination, single service utensils left uncovered

FC 4-903.11(B)(2) 	Protection of Clean Items; Storing: Equipment and Utensils not stored covered or inverted, cups not stored covered or inverted

Offices # 3-103 – 3-105

Unable to Inspect – Locked

Kitchen

Unable to Inspect – Under Construction

2nd Floor

Inmate Bathroom # 3-201

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Dorm # 3-200

No Violations Noted

Janitor’s Closet # 3-204

No Violations Noted

Office # 3-205

No Violations Noted

Dorm # 3-203

No Violations Noted

Staff Bathroom # 3-202

No Violations Noted

Basement

Property # 3-B04

105 CMR 451.360	Protective Measures: Dead insects observed throughout room

Storage Closet # 3-B 02 and 3-B03

Unable to Inspect – Locked

# Work Release Building

# House # 1

# First Floor

# Hallway

No Violations Noted

Infirmary

No Violations Noted

Control

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                  105 CMR 590.000, single service utensils not stored in the inverted position

Office

No Violations Noted

# Bathroom

105 CMR 451.123	Maintenance: Bench and area around bench dirty in shower

# Bedrooms

105 CMR 451.141*	Screens: Screen not properly sized for window in bedroom # 2

# Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

# Dining Room

No Violations Noted

# Kitchen

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1020F at handwash sink

FC 6-202.15(A)(3)	Design, Construction, and Installation; Functionality: Exterior door not tight-fitting, screen door not tight-fitting at bottom

# Second Floor

# Stairway

No Violations Noted

# Hallway

No Violations Noted

# Bedrooms

105 CMR 451.141	Screens: Screen missing in room # 6

105 CMR 451.320	Cell Size: Inadequate floor space in cells, double bunked in room # 4, 6, 8, and 9

# Bathroom

105 CMR 451.123	Maintenance: Screen missing

Stairway to Basement

No Violations Noted

# Basement

# Laundry Room

105 CMR 451.350*	Structural Maintenance: Water leaking in from exterior in back left corner of room

105 CMR 451.350*	Structural Maintenance: Door leading to exterior not rodent and weathertight

Janitor’s Closet

No Violations Noted

Boiler Room

Unable to Inspect – Locked

Storage Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, single service cups stored on floor

# Day Room between Houses

105 CMR 451.141*	Screens: Screen missing

# House # 2 (Unoccupied)

# First Floor

# Hallway

# No Violations Noted

# Strip Search Room

No Violations Noted

Staff Bathroom

Unable to Inspect – Under Construction

Group Room

105 CMR 451.141	Screens: Screen not tight-fitting

# Officer’s Bathroom

No Violations Noted

# Offices

Unable to Inspect – Locked

Administration Office

105 CMR 451.353*	Interior Maintenance: Ceiling damaged in back left office

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged in right office

105 CMR 451.353	Interior Maintenance: Conduit not secured to wall in right office

Second Floor

Hallway

No Violations Noted

Bathroom

Unable to Inspect – Under Construction

Bedrooms

Unable to Inspect – Under Construction

Third Floor (unoccupied)

105 CMR 451.350	Structural Maintenance: Emergency exit door not rodent and weathertight

Bedrooms

105 CMR 451.141*	Screens: Screen not properly sized for window in bedroom # 5 and 6

105 CMR 451.350	Structural Maintenance: Floor significantly water damaged and weak near radiator

# Basement

# Day Room

Unable to Inspect – Under Construction

Property

105 CMR 451.353*	Interior Maintenance: Mold observed on walls

# Bathroom

105 CMR 451.123*	Maintenance: Wall tiles missing in shower # 3

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking on       slop sink

105 CMR 451.124	Water Supply: Discolored water observed at handwash sink

Storage Room

No Violations Noted

WAREHOUSE

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, beef patties stored above ready-to-eat food

Office # 9-101

No Violations Noted

Female Bathroom # 9-102

105 CMR 451.123	Maintenance: Ceiling vent dusty

Male Bathroom # 9-103

No Violations Noted

Janitor’s Closet # 9-104

No Violations Noted

Old Walk-in Freezer # 9-105

No Violations Noted

Back Freezer and Refrigerator

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, ice buildup observed on wall

Observations and Recommendations

- The inmate population was 615 at the time of inspection.

- At the time of the kitchen inspection the CSP recommended:

  - Clear instructions on how to prepare and test the sanitizing solution be developed and posted within the main kitchen and work release kitchen;

  - Train additional staff members on how to properly prepare the sanitizing solution in the main kitchen and work release kitchen; and

  - Develop procedures to test the concentration of the sanitizing solution at an increased frequency.

- During the main kitchen inspection, the warewash machine was not operating in accordance with the manufacturer’s instructions found on the data plate. Kitchen staff stated a service order was immediately placed to repair the warewash machine and staff would utilize interim measures such as manually sanitizing dishes or using Styrofoam trays until repairs could be made.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kerry Wagner, MPH

Environmental Analyst, CSP, BEH