The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Climate and Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-448-7410

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

Tel: 617-624-6000

www.mass.gov/dph

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

Tel: 617-624-6000

www.mass.gov/dph

MAURA T. HEALEY

Governor

KIMBERLEY DRISCOLL

Lieutenant Governor

MAURA T. HEALEY

Governor

KIMBERLEY DRISCOLL

Lieutenant Governor

May 23, 2024

Peter J. Koutoujian, Sheriff

Middlesex County Sheriff’s Office

400 Mystic Avenue

Medford, MA 02155		(electronic copy)

Re: Facility Inspection – Middlesex County Jail and House of Corrections, Billerica

Dear Sheriff Koutoujian:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of Middlesex County Jail and House of Corrections on May 8, 9, and 10, 2024 accompanied by Deputy Dan Finn, Captain Kara Turco, and Captain Shane Cassidy, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 154 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Kerry Wagner, MPH

Field Supervisor, EA III, CSP, BCEH

cc: 	Robert Goldstein, MD, PhD, Commissioner, DPH

Nalina Narain, Director, BCEH

Steven Hughes, Director, CSP, BCEH

Kathleen E. Walsh, Secretary, Executive Office of Health and Human Services	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Terrence Reidy, Secretary, EOPSS						(electronic copy)

Brianna Arruda, Director, Policy Development and Compliance Unit 		(electronic copy)

Osvaldo Vidal, Superintendent							(electronic copy)

Captain Shane Cassidy, EHSO							(electronic copy)

### Kristel Bennett, Director, Billerica Board of Health				(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# CHECKPOINT BUILDING

Janitor’s Closet

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Control Desk

No Violations Noted

PODULAR BUILDING

# Lobby

# No Violations Noted

# Water Fountain

No Violations Noted

# Female Bathroom

Unable to Inspect – In Use

# Male Bathroom # 5-164

No Violations Noted

# Janitor’s Closet

No Violations Noted

# Administration Wing

# Offices

Unable to Inspect – Locked

# Female Bathroom # 5-183

105 CMR 451.126		Hot Water for Bathing and Hygiene: Hot water temperature 1000F at handwash sink

# Male Bathroom # 5-180

No Violations Noted

# Janitor’s Closet # 5-181

No Violations Noted

# Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, single service utensils left uncovered

Conference Room

No Violations Noted

Visiting Area

No Violations Noted

Visitor’s Side

No Violations Noted

# Central Control

No Violations Noted

# Bathroom

No Violations Noted

# Attorney Visit Hallway

Janitor’s Closet

No Violations Noted

Visiting Rooms

No Violations Noted

# Male Bathroom # 5-148

No Violations Noted

# Female Bathroom # 5-146

No Violations Noted

Visiting Control Room # 5-144

105 CMR 451.350*	Structural Maintenance: Ceiling heavily damaged

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                              105 CMR 590.000, single service utensils left uncovered

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                              105 CMR 590.000, drawer broken in white refrigerator

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                           105 CMR 590.000, interior of large white refrigerator dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with                           105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Floor dirty throughout Control Room

# Inmate Bathroom # 5-145A

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

# Storage Room # 5-145B

Unable to Inspect – Locked

Visiting Area – Inmate Side

No Violations Noted

Family/Child Visiting Area

No Violations Noted

# Entrance Hallway for Pod A & B

# Nurse’s Station

No Violations Noted

Female Bathroom

No Violations Noted

# Male Bathroom

105 CMR 451.126		Hot Water for Bathing and Hygiene: Hot water temperature 900F at handwash sink

# Janitor’s Closet

No Violations Noted

# Caseworker’s Office

No Violations Noted

# Pod A

# Common Area

105 CMR 451.353	Interior Maintenance: Padding damaged on exercise equipment

Storage Cage (Barber Shop)

Unable to Inspect – Under Construction

# Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventer rusted

Counselor/Interview Room # 5-062

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

Room # 5-063

No Violations Noted

Pod Storage Room # 5-061

No Violations Noted

# Lower Level Shower Area # 1-5

105 CMR 451.123*	Maintenance: Screws missing on wall in handicapped shower

105 CMR 451.123*	Maintenance: Ceiling damaged outside shower # 1 and 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and handicapped shower

105 CMR 451.123	Maintenance: Soap scum on bench in handicapped shower

105 CMR 451.123	Maintenance: Wall dirty outside shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in handicapped shower

Lower Cells

No Violations Noted

Upper Level Shower Area # 6-10

105 CMR 451.123	Maintenance: Mold on walls in shower # 9

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 9

# Upper Cells

No Violations Noted

# Pod B

# Common Area

No Violations Noted

Storage Room # 5-085

No Violations Noted

Counselor’s Office # 5-084

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Storage Cage (Barber Shop) # 5-081

No Violations Noted

# Janitor’s Closet # 5-080

No Violations Noted

# Storage Room # 5-082

No Violations Noted

Classroom/Storage Room # 5-083

No Violations Noted

Lower Level Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2 and handicapped shower

105 CMR 451.123	Maintenance: Debris on floor in handicapped shower

# Lower Cells

No Violations Noted

# Upper Level Shower Area

105 CMR 451.123	Maintenance: Ceiling damaged outside shower # 9 and 10

105 CMR 451.123	Maintenance: Mold on ceiling outside shower # 10

105 CMR 451.123	Maintenance: Debris on floor in shower # 7, 8, and 10

# Upper Cells

No Violations Noted

# Entrance Hallway for Pod C & D

# Nurse’s Station # 5-212

No Violations Noted

# Female Bathroom # 5-215

No Violations Noted

# Male Bathroom # 5-204

No Violations Noted

# Offices

No Violations Noted

# Pod C

# Common Area

105 CMR 451.353*	Interior Maintenance: Mold on ceiling and ceiling tile near cell # 2-01

Storage Cage (Barber Shop) # 5-207

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal clogged

# Janitor’s Closet # 5-206

No Violations Noted

# Pod Storage Room # 5-201

No Violations Noted

# Counselor/Interview Office #5-202

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                   105 CMR 590.000, interior of refrigerator dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with               105 CMR 590.000, interior of microwave oven dirty

# Multi-Purpose Room # 5-203

105 CMR 451.353	Interior Maintenance: Chair seat damaged

# Lower Level Shower Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 3

105 CMR 451.123*	Maintenance: Light fixture rusted in shower # 1

105 CMR 451.123	Maintenance: Light fixture rusted in shower # 3

105 CMR 451.123*	Maintenance: Screws missing on wall in handicapped shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Wall dirty outside shower # 3

Lower Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 1-13 and 1-22

105 CMR 451.353	Interior Maintenance: Wall vent clogged in cell # 1-13

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water push button not secured to handwash sink in cell # 1-13

# Upper Level Shower Area

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123*	Maintenance: Handwash sink dirty

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 6, 7, and 8

105 CMR 451.123	Maintenance: Ceiling vents outside showers dusty

# Upper Cells

105 CMR 451.353	Interior Maintenance: Wall vent clogged in cell # 2-26

# Pod D

# Common Area

No Violations Noted

Storage Cage (Barber Shop) # 5-214

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal clogged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaking at bottom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Janitor’s Closet # 5-213

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing

Counselor/Interview Room # 5-217

No Violations Noted

Multi-Purpose Room # 5-216

No Violations Noted

# Pod Storage Room # 5-218

No Violations Noted

# Lower Level Shower Area

105 CMR 451.123*	Maintenance: Debris on floor in shower # 1

105 CMR 451.123	Maintenance: Ceiling damaged outside shower # 1

105 CMR 451.123	Maintenance: Mold on ceiling outside shower # 5

105 CMR 451.123	Maintenance: Ceiling vents dusty outside showers

# Lower Cells

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, toilet leaking in cell # 1-17

105 CMR 451.353	Interior Maintenance: Pooling water on floor in cell # 1-17

# Upper Level Shower Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 1 and 2

105 CMR 451.123	Maintenance: Floor damaged outside shower # 3

105 CMR 451.123	Maintenance: Debris on floor in shower # 4 and 5

105 CMR 451.123	Maintenance: Wall dirty outside shower # 5

105 CMR 451.123	Maintenance: Ceiling vents dusty outside showers

# Upper Cells

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water continually running in           cell # 2-31

105 CMR 451.353	Interior Maintenance: Floor dirty in cell # 2-01

Pod F

Administration Area

No Violations Noted

Trash Storage Room # 6-200

No Violations Noted

Female Staff Bathroom # 6-201

No Violations Noted

Janitor’s Closet # 6-202

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Male Staff Bathroom # 6-203

No Violations Noted

Medical Office # 6-206

105 CMR 451.353	Interior Maintenance: Ceiling damaged near light fixture

Block

Janitor’s Closet # 6-207

No Violations Noted

Storage # 6-208

No Violations Noted

Lower Showers

105 CMR 451.123*	Maintenance: Mold on caulking in shower # 6

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 800F in shower # 6

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 6

Lower Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet push button leaking in

cell # 1-24

Gym # 1-19

No Violations Noted

Laundry Room # 1-01

No Violations Noted

Music Room # 1-02

No Violations Noted

The Club House # 1-03

No Violations Noted

Kitchen # 1-04

No Violations Noted

Library # 1-05

No Violations Noted

Barber Shop # 1-06

105 CMR 451.124*	Water Supply: Insufficient hot and cold water supply in quantity and pressure at handwash sink

Assessment Office # 6-211

No Violations Noted

Library/Multi-Purpose Room # 6-210

No Violations Noted

Case Worker’s Office # 6-209

No Violations Noted

Upper Cells

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, toilet/handwash sink combination unit out-of-order in cell # 2-02

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet push button not working in    cell # 2-16

105 CMR 451.346*	Safe Wiring: Inappropriate use of temporary wiring, extension cord running across top tier walkway

Upper Showers # 1-10

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 9 and 10

105 CMR 451.123	Maintenance: Floor dirty in shower # 7, 9, and 10

Common Area

105 CMR 451.123	Maintenance: Pooling water at base of toilet near entrance

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash sink near entrance

Dorm # 3 and 4 Landing

Male Bathroom # 6-212

No Violations Noted

Female Bathroom # 6-213

Unable to Inspect – Locked

Trash Room # 6-214

No Violations Noted

Janitor’s Closet # 6-215

No Violations Noted

Storage/Med Pass # 6-221

No Violations Noted

Medical Office # 6-226

Unable to Inspect – In Use

Classroom # 2 (6-227)

No Violations Noted

Multi-Purpose Hallway

No Violations Noted

Storage Room # 6-217

Unable to Inspect – Locked

Storage Room # 6-218

No Violations Noted

Classroom A and B # 6-219 and 6-220

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, interior of refrigerator dirty in Classroom B

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave oven dirty in Classroom B

Dorm # 3

Sleeping Area

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Standing fan dusty

Toilet Area

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty in stall # 3

105 CMR 451.123*	Maintenance: Handwash sink dirty in stall # 7

105 CMR 451.123	Maintenance: Floor dirty in stall # 1, 2, and 3

105 CMR 451.123	Maintenance: Hot and cold water push buttons corroded in stall # 8

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash        sink # 2

Handwash Sink Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink # 3 slow to drain

Shower Area

105 CMR 451.123	Maintenance: Mold on caulking in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 4 and 5

105 CMR 451.123	Maintenance: Floor dirty in shower # 8

105 CMR 451.123	Maintenance: Soap scum on bench in shower # 1

Janitor’s Closet

No Violations Noted

Case Worker’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave oven dirty

Barber Shop

No Violations Noted

Dorm # 4

Barber Shop

No Violations Noted

Case Worker’s Office

No Violations Noted

Janitor’s Closet

No Violations Noted

Shower Area	Unable to Inspect Shower # 7 – In Use

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3 and 6

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 2 and 3

105 CMR 451.123	Maintenance: Floor dirty in shower # 1

105 CMR 451.123*	Maintenance: Soap scum on bench in shower # 8

Toilet Area

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash sink in stall # 3 and 4

105 CMR 451.124*	Water Supply: No cold water supplied to handwash sink in stall # 3

Handwash Sink Area

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 2

105 CMR 451.124	Water Supply: Discolored water observed at handwash sink # 1

Common Area

105 CMR 451.353	Interior Maintenance: Padding damaged on exercise equipment

Sleeping Area

No Violations Noted

Pod E

Administration Area

Female Staff Bathroom # 6-101

No Violations Noted

Janitor’s Closet # 6-102

No Violations Noted

Male Staff Bathroom # 6-103

No Violations Noted

Offices # 6-104 and 6-105

No Violations Noted

Nurse’s Station # 6-107

Unable to Inspect – Locked

Trash Storage Room # 6-100

No Violations Noted

Block

Janitor’s Closet # 6-106

No Violations Noted

Barber Shop

No Violations Noted

Storage Room # 6-108

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of the ceiling

Lower Showers

105 CMR 451.123	Maintenance: Floor drain damaged in shower # 2

Lower Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet clogged in cell # 1-12

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1-19 and 1-31

Classroom/Assessment # 6-111

No Violations Noted

Caseworker’s Office # 6-110

105 CMR 451.340*	Illumination: Insufficient lighting, lights out

Office # 6-109

No Violations Noted

Upper Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 2-16

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 2-19, 2-25, 2-27, 2-29, 2-30, and 2-31

Upper Showers

105 CMR 451.123*	Maintenance: Debris observed in floor drain in shower # 2

105 CMR 451.123	Maintenance: Floor dirty in shower # 4 and 5

105 CMR 451.123	Maintenance: Mold on ceiling in shower # 5

Outside Rec Area

No Violations Noted

Dorm # 1 and 2 Landing

Shift Administrator’s Office # 6-112

No Violations Noted

Trash Storage Room # 6-113

No Violations Noted

Janitor’s Closet # 6-114

No Violations Noted

Male Staff Bathroom # 6-115

No Violations Noted

Female Staff Bathroom # 6-116

Unable to Inspect – Locked

Storage/Med Pass # 6-118

No Violations Noted

Medical Office # 6-122

Unable to Inspect – Locked

Classroom # 6-123

No Violations Noted

Dorm # 1

Sleeping Area

No Violations Noted

Common Area

No Violations Noted

Toilet Area

105 CMR 451.126*	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 5 out-of-order

Handwash Sink Area

105 CMR 451.124	Water Supply: Discolored water observed at handwash sink # 3

Shower Area

105 CMR 451.123*	Maintenance: Mold on caulking in shower # 2 and 3

105 CMR 451.123*	Maintenance: Floor and walls dirty in shower # 1

105 CMR 451.123	Maintenance: Floor and walls dirty in shower # 3

105 CMR 451.123*	Maintenance: Ceiling water damaged in shower # 4, 5, 6, and 8

105 CMR 451.123	Maintenance: Ceiling water damaged in shower # 7

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 2

105 CMR 451.123	Maintenance: Debris on floor drain in shower # 4

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at lower shower head in handicapped shower

105 CMR 451.130	Hot Water: Shower water temperature recorded at 800F in shower # 1

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Case Worker’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with              105 CMR 590.000, interior of microwave oven dirty

Barber Shop

No Violations Noted

Dorm # 2

Barber Shop

No Violations Noted

Case Worker’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with             105 CMR 590.000, interior of microwave oven dirty

Janitor’s Closet

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Mold on caulking in shower # 6

105 CMR 451.123*	Maintenance: Floor tiles damaged outside of showers

Toilet Area

105 CMR 451.124*	Water Supply: Insufficient hot and cold water supply in quantity and pressure at handwash sink in stall # 4

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash sink in stall # 6

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash sink in stall # 1

105 CMR 451.123	Maintenance: Hot and cold water push button corroded at handwash sink in stall # 1

Handwash Sink Area

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 1

Common Area

No Violations Noted

Sleeping Area

No Violations Noted

# Intake and Discharge

# Transportation Office # 5-017

No Violations Noted

# Janitor’s Closet # 5-016

No Violations Noted

# Administrative Office # 5-015

No Violations Noted

Holding Tank # 2 # 5-014

105 CMR 451.124*	Water Supply: Insufficient hot and cold water supply in quantity and pressure at handwash sink

# Shake Room # 1 (5-011) & 2 (5-010)

No Violations Noted

# Holding Cell # 1 (# 5-013)

No Violations Noted

# Institutional Property (# 5-009)

No Violations Noted

# Desk Area

No Violations Noted

Sally Port

No Violations Noted

# Old Shower Room # 1 (# 5-07)

No Violations Noted

Cell # 5-008

No Violations Noted

# Holding Cell # 1-6

105 CMR 451.124	Water Supply: Insufficient hot and cold water supply in quantity and pressure at handwash sink in cell # 5

105 CMR 451.353	Interior Maintenance: Wall vent dusty in cell # 4

# Break Room # 5-018

No Violations Noted

# Male Bathroom # 5-018

105 CMR 451.124	Water Supply: Discolored water observed at handwash sink

# Female Bathroom # 5-020

No Violations Noted

Inmate Property Room # 5-021

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of ceiling

Change Room # 1 and 2 (# 5-022 and 5-023)

No Violations Noted

# A & B Hall Entrance

# Janitor’s Closet # 5-025A

Unable to Inspect – Locked

# Storage Room # 5025C

No Violations Noted

# Teacher’s Office # 5-025B

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

# Hall A

No Violations Noted

Hall B # 5-026

No Violations Noted

# Housekeeping Hallway

No Violations Noted

# Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

# Staff Dining Room

105 CMR 451.126		Hot Water for Bathing and Hygiene: Hot water temperature 1000F at handwash sink

FC 3-302.11(A)(4)	Preventing Contamination after Receiving; Preventing Food and Ingredient Contamination: Food not appropriately covered, sugar left uncovered

FC 3-304.12(B)	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Utensil handle not stored above the food in the container, scoop left in sugar

# Male Bathroom

No Violations Noted

# Female Bathroom

No Violations Noted

Supply Dock

Loading Dock

No Violations Noted

Surplus Storage Room # 5-028

No Violations Noted

Storage Room # 5-027

No Violations Noted

Back of Kitchen

Supply Room # 2 (Dry Storage) # 5-029

FC 4-903.11(A)(3)	Protection of Clean Items, Storing: Single-Service items not stored at least 6 inches above the floor, food container lids stored on ground

Chemical Supply Closet

No Violations Noted

Daily Cleaning Cabinet

No Violations Noted

Kitchen Staff Break Area # 5-030

No Violations Noted

Supply Room # 1 (# 5-031)

FC 6-404.11	Location and Placement; Distressed Merchandise: Dented cans not properly segregatedPf, dented can observed

Inmate Bathroom # 5-032

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1000F at handwash sink

Staff Bathroom # 5-033

No Violations Noted

Rack Spray Area

No Violations Noted

Main Kitchen Area

Cooler # 1

No Violations Noted

Warmer # 1 & 2

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged on warmer # 1

Serving Line

No Violations Noted

Handwash Sink – Near Pots and Pans Sink

No Violations Noted

Pots and Pan Sink

FC 4-702.11	Sanitization of Equipment and Utensils; Frequency: Utensils and food contact surfaces not sanitized before use and after cleaningP, no sanitizing solution in 3-compartment sink while in use

Mechanical Warewash Area

Warewash Machine

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, soap dispenser out-of-order on warewash machine

Inmate Coffee Area

No Violations Noted

Diet Area/Serving Line # 2

No Violations Noted

Warmer # 3 & 4

No Violations Noted

Cooler # 2

FC 3-305.11(A)(3)	Preventing Contamination from the Premises; Food Storage: Food not stored at least 6" off the ground, milk container on ground in cooler

3 Ovens (Under Hoods)

No Violations Noted

Pots and Pans Storage

FC 4-903.11(B)(2)*	Protection of Clean Items; Storing: Equipment and Utensils not stored covered or inverted, pots and pans not covered or inverted

Prep Tables and Sinks

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1000F at handwash sink near

3-compartment sink

Ice Machines

No Violations Noted

Handwash Sink (After Ice Machine # 2)

No Violations Noted

Kettle Area

No Violations Noted

Walk-in Refrigerator # 2

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, door frame damaged at bottom

FC 3-302.11(A)(1)(b)  	Preventing Contamination after Receiving; Preventing Food and Ingredient Contamination: Raw animal food not stored separate from cooked ready-to-eat foodP, beef stored above sandwiches

Spice Cabinet

No Violations Noted

Walk-in Refrigerator # 1

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, door frame damaged at bottom

Hood Area with Warmers

No Violations Noted

Walk-in Freezer

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, door frame damaged at bottom

Sallyport/Changing Area

No Violations Noted

Janitor’s Closet

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, drain cover missing on slop sink

Handwash Sink

No Violations Noted

Officer’s Area/Office

No Violations Noted

Culinary Arts Program Kitchen

Classroom

No Violations Noted

True Refrigerator

No Violations Noted

Proofers

No Violations Noted

Walk-in Freezer

No Violations Noted

Hood Area

FC 3-302.12	Protection from Contamination After Receiving, Preventing Food and Ingredient Contamination: Food or food ingredients that have been removed from original packages not labeled with common name of food, bottles unlabeled near stove top

Handwash Sink

No Violations Noted

3-Compartment Sink

No Violations Noted

Prep Sink

No Violations Noted

Prep Tables

No Violations Noted

Walk-in Refrigerator

No Violations Noted

# Reach-in Refrigerators

No Violations Noted

# Health Service Unit

# ISO # 1 & 2

105 CMR 451.353	Interior Maintenance: Wall vent blocked in ISO # 1

Nurse’s Pantry

No Violations Noted

# Janitor’s Closet

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing

# Risk Cell # 1 & 2

105 CMR 451.353	Interior Maintenance: Wall paint damaged in Risk Cell # 2

# Patient Rooms # 1-4

105 CMR 451.353	Interior Maintenance: Floor paint damage in cell # 3

# Ward A # 5-130

105 CMR 451.103	Mattresses: Mattress damaged

Storage Room # 5-131

No Violations Noted

# Handicapped Shower Room

105 CMR 451.123*	Maintenance: Soap scum on floor and walls of shower

105 CMR 451.123	Maintenance: Soap scum on bench

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 900F

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Debris on floor outside of shower

# Nurse’s Station and Bathroom

105 CMR 451.123*	Maintenance: Cabinet countertop near sink damaged

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 950F at handwash sink

HSU Main Entrance

No Violations Noted

# Treatment Room # 1 (# 5-126)

105 CMR 451.126		Hot Water for Bathing and Hygiene: Hot water temperature 1020F at handwash sink

# Inmate Bathroom # 5-124

No Violations Noted

# Treatment Room # 2 (# 5-122)

No Violations Noted

Medical Waste Storage

No Violations Noted

# Treatment Room # 3 (# 5-120)

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                      105 CMR 590.000, excessive ice build-up in freezer

Coordinator’s Office # 5-118

No Violations Noted

Lab/Temporary Pharmacy # 5-117

No Violations Noted

Dental Room # 5-119

No Violations Noted

Infectious Disease Office

No Violations Noted

Psychiatry Office # 5-123

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

# Exam Room # 2 (# 5-125)

No Violations Noted

Exam Room # 1 (# 5-127)

No Violations Noted

# Cleaning Utility Room (# 5-111)

No Violations Noted

# Storage Room # 1 (# 5-110)

No Violations Noted

Mental Health Office # 1 (# 5-115)

No Violations Noted

Physical Therapy # 5-113 (Treatment Room # 4)

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Office # 5-114

No Violations Noted

# Pharmacy # 5-112

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.353*	Interior Maintenance: Floor dirty under handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Janitor’s Closet # 5-106

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing

Office # 5-108

No Violations Noted

Office # 5-107

No Violations Noted

# Storage Room # 5-109

No Violations Noted

# Ward B # 5-102

105 CMR 451.123*	Maintenance: Soap scum on walls in left and right shower

105 CMR 451.123	Maintenance: Soap scum on door in left and right shower

105 CMR 451.123	Maintenance: Soap scum on floor in left shower

105 CMR 451.123	Maintenance: Floor and floor mat dirty outside showers

105 CMR 451.103	Mattresses: Mattress damaged

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

HSU Administration Hallway

# Male Bathroom

No Violations Noted

# Female Bathroom # 5-104

No Violations Noted

MAT Room # 5-103

Unable to Inspect – Locked

Office # 5-100

No Violations Noted

Health Service Administrator’s Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, single service utensils left uncovered

# Billerica Control Building

# Main Level

# Lobby

105 CMR 451.350*	Structural Maintenance: Window broken at entrance

105 CMR 451.350*	Structural Maintenance: Wall damaged at entrance

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Female Bathroom

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.123	Maintenance: Wall left unfinished in stall # 2

# Male Bathroom

No Violations Noted

Transportation-Hub Hallway

Unable to Inspect Cells – Not Used

Office # 2-111

No Violations Noted

Office # 2-108

No Violations Noted

IT Office # 2-101

105 CMR 451.350*	Structural Maintenance: Hole in ceiling in back storage area

# Control Area

105 CMR 451.350*	Structural Maintenance: Several windows broken

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.141*	Screens: Screen damaged

# Roll Call Room

No Violations Noted

Motorcycle Unit Locker Room # 2-116

Unable to Inspect – Locked

Administration Locker Room # 2-117

Unable to Inspect – Locked

Jail Visiting Hallway

Parole Office # 2-125

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, single service utensils left uncovered

Religious Services Offices

Unable to Inspect – Locked

Additional Offices

No Violations Noted

# Old Administration Wing

First Floor

Office # 2-131

Unable to Inspect – Locked

Storage Closets

No Violations Noted

# Female Bathroom # 2-136

No Violations Noted

Mail Room # 2-138

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Tool Crib Area

No Violations Noted

Tool Crib Bathroom

No Violations Noted

Maintenance Area

No Violations Noted

Maintenance Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                  105 CMR 590.000, single service plates stored on floor

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with             105 CMR 590.000, multi-use sponges observed

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with             105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.346*	Safe Wiring: Inappropriate use of temporary wiring, cord running through doorway

# Chemical Room # 2-139

Unable to Inspect – Locked

Inventory Control Area

Unable to Inspect – Locked

Second Floor

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing throughout

105 CMR 451.353	Interior Maintenance: Floor tiles missing throughout

Offices

105 CMR 451.350	Structural Maintenance: Window pane broken in office # 2-222

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                  105 CMR 590.000, no functioning thermometer in refrigerator in office # 2-222

Bathroom # 2-232

Unable to Inspect – In Use

Nursing Mother’s Room # 2-227

No Violations Noted

Records Storage Rooms # 2-231

Unable to Inspect – Locked

New Male Locker Room

Unable to Inspect – In Use

Classifications & Old Infirmary Hallway

Offices

105 CMR 451.353*	Interior Maintenance: Ceiling tile missing in office # 2-200

105 CMR 451.350	Structural Maintenance: Window pane broken in office # 2-220

Storage Room # 2-207 and 2-111

No Violations Noted

Male Bathroom # 2-214

No Violations Noted

Female Bathroom # 2-208

105 CMR 451.126		Hot Water for Bathing and Hygiene: Hot water temperature 650F at handwash sink

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, hot water handle leaking

Old Shower Room

Unable to Inspect – Not Used

Staff Break Room # 2-206

No Violations Noted

Additional Offices

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                       105 CMR 590.000, no functioning thermometer in refrigerator in office # 2-202

Janitor’s Closet # 2-205

No Violations Noted

Third Floor

105 CMR 451.141*	Screens: Screens damaged throughout area

105 CMR 451.350*	Structural Maintenance: Several windows broken throughout area

Female Weight Room

Unable to Inspect – Under Construction

# Female Locker Room

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 2

105 CMR 451.123	Maintenance: Ceiling tile water damaged in shower # 2

105 CMR 451.141	Screens: Screen damaged in work out area

# Officer’s Weight Room

No Violations Noted

Male Locker Room

No Violations Noted

Male Locker Room Bathroom # 2-308

Unable to Inspect – In Use

# Lower Report

# A & B Side Cells

# Unable to Inspect – Not Used

Training Center

First Floor

Male Bathroom # 4-123

No Violations Noted

Medical Triage

Unable to Inspect – Locked

Video Court Area # 4-122

No Violations Noted

Meeting Room # 4-120

105 CMR 451.350*	Structural Maintenance: Ceiling actively leaking

105 CMR 451.353*	Interior Maintenance: Ceiling tile water damaged

Offices and Classroom # 4-118 – 4-121

No Violations Noted

Print Shop # 4-115

No Violations Noted

Library # 4-116

No Violations Noted

Offices # 4-112 – 4-114

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged in office # 4-112 and 4-114

# Bathroom # 4-110

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1000F at handwash sink

105 CMR 451.123*	Maintenance: Ceiling tile water damaged

105 CMR 451.350*	Structural Maintenance: Window broken

# Storage Room # 4-111

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Ceiling tile missing

Second Floor

# Main Laundry

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with                    105 CMR 590.000, water catch on water dispenser dirty

105 CMR 451.350*	Structural Maintenance: Windows broken

Inmate Bathroom # 4-201

105 CMR 451.350*	Structural Maintenance: Window broken

Officer’s Bathroom

Unable to Inspect – Locked

Officer’s Office # 4-213

No Violations Noted

Canteen Storage # 4-215

105 CMR 451.350*	Structural Maintenance: Window broken

Canteen Office # 4-216

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, interior of refrigerator dirty

105 CMR 451.353	Interior Maintenance: Chair damaged

# Tier Dorm Room (Unoccupied)

105 CMR 451.350	Structural Maintenance: Main entrance door not rodent and weathertight

Sleeping Area

Unable to Inspect – Under Construction

Dorm Bathroom

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 3 and 8

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash sink # 2 and 6

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash sink # 3 and 6

# First Tier

Recreational Area(s)

105 CMR 451.370	Garbage Storage: Garbage stored in an unsanitary condition, garbage observed on ground around telephones

Day Room

105 CMR 451.353	Interior Maintenance: Wall vents dusty

# Control # 4-100

No Violations Noted

Staff Room # 4-102

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                   105 CMR 590.000, single service utensils left uncovered

Storage Cage # 4-103

105 CMR 451.353	Interior Maintenance: Standing water in bucket

Janitor’s Closet # 4-103B

No Violations Noted

# A & B Side

105 CMR 451.353*	Interior Maintenance: Wall damaged in cell # B4

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # A6 and A14

105 CMR 451.353*	Interior Maintenance: Wall damaged outside cell # A21

105 CMR 451.353*	Interior Maintenance: Ceiling damaged in cell # A15 and B4

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # B10 and B12

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # A11, B10, B11, B15, and B16

Bathroom and Shower Area

105 CMR 451.123*	Maintenance: Wall grout missing in shower # 3, 4, 5, and 6

105 CMR 451.123	Maintenance: Wall grout missing in shower # 1

105 CMR 451.123*	Maintenance: Screw missing from wall in shower # 8

105 CMR 451.123	Maintenance: Wall tile damaged in shower # 1

105 CMR 451.123	Maintenance: Ceiling water damaged near shower # 9

105 CMR 451.123	Maintenance: Mold on ceiling outside showers

105 CMR 451.123	Maintenance: Walls dirty in shower # 2, 5, and 6

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 8, 9, and 10

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 1 and 3

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty, urinal dirty

C & D Side

105 CMR 451.353*	Interior Maintenance: Wall damaged in cell # C21 and D14

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # D2 and D16

105 CMR 451.353	Interior Maintenance: Wall damaged near window in cell # D20

105 CMR 451.353*	Interior Maintenance: Ceiling damaged in cell # C19, C24, D13, and D16

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # C14

# Shower Room # D23

Unable to Inspect – Not Used

# Second Tier (Unoccupied)

105 CMR 451.353*	Interior Maintenance: Multiple windows painted

# Nurse’s Room

Unable to Inspect – Locked

# Control

No Violations Noted

# E & F Side

105 CMR 451.117*	Toilet Fixtures: Toilet fixture not easily cleanable, interior of toilet bowl rusted in            cell # F25

105 CMR 451.353*	Interior Maintenance: Ceiling damaged at end of hallway

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # E23

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # F9

Bathroom and Shower Area

105 CMR 451.123*	Maintenance: Ceiling damaged in shower # 1, 6, and 9

105 CMR 451.123	Maintenance: Wall grout damaged in shower # 2

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 900F at handwash sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, floor drain sealed off in shower # 3

105 CMR 451.123	Maintenance: Pooling dirty water on floor in shower # 3

105 CMR 451.123	Maintenance: Floor dirty outside showers and in shower # 9

Janitorial Cage

No Violations Noted

# G & H Side

105 CMR 451.353*	Interior Maintenance: Wall damaged in cell # G7

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # H16, H18, H21, and H24

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged throughout tier

# Gym

105 CMR 451.353*	Interior Maintenance: Wooden window coverings damaged

# Gym Office

No Violations Noted

# Staff Bathroom

No Violations Noted

Stairway to Third Tier

No Violations Noted

Third Tier (Unoccupied)

105 CMR 451.353*	Interior Maintenance: Multiple windows painted

Control

No Violations Noted

Offices

# Unable to Inspect – Locked

I & J Side

105 CMR 451.353*	Interior Maintenance: Wall damaged in cell # J26

105 CMR 451.353	Interior Maintenance: Floor dirty at end of tier

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # J18

Bathroom and Shower Area

105 CMR 451.126*	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, pipe damaged near shower # 1

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

105 CMR 451.123	Maintenance: Door missing to shower # 4

Janitor’s Closet

Unable to Inspect – Locked

K & L Side

105 CMR 451.141	Screens: Screen missing in cell # K7 and K9

105 CMR 451.360	Protective Measures: Birds observed nesting in window in cell # K7

105 CMR 451.360	Protective Measures: Dead bird observed at end of tier

105 CMR 451.353*	Interior Maintenance: Ceiling damaged in cell # K3, K16, L13, and L19

105 CMR 451.353		Interior Maintenance: Ceiling damaged in cell # K5 and K16

105 CMR 451.353*	Interior Maintenance: Wall damaged in cell # K24 and L19

105 CMR 451.353	Interior Maintenance: Window frame damaged in cell # L23

CWP Building

Entrance

No Violations Noted

Officer’s Station

No Violations Noted

Storage # 3-107

No Violations Noted

Bathroom # 3-111

No Violations Noted

Shower Room # 3-113

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 2, 4, and 6

Med Room # 3-112

Unable to Inspect – Locked

Day Area # 3-114

105 CMR 451.350	Structural Maintenance: Window left unfinished in the Day Area cell

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Laundry Area

105 CMR 451.353	Interior Maintenance: Dryer exhaust disconnected

Dining Area

FC 4-903-11(A)(2)*	Protection of Clean Items, Storing: Single-Use items not stored in an area where they are protected from contamination, single service utensils left uncovered

FC 3-304.12(B)	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Utensil handle not stored above the food in the container, scoop stored in cereal

FC 3-302.11(A)(4)	Preventing Contamination after Receiving; Preventing Food and Ingredient Contamination: Food not appropriately covered, cereal left uncovered

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Vending machine drawer dirty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, old lunches left on table tops

Offices # 3-103 – 3-105

No Violations Noted

Kitchen

Unable to Inspect – Under Construction

2nd Floor

Inmate Bathroom # 3-201

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty in stall # 1 and 2

Dorm # 3-200

No Violations Noted

Janitor’s Closet # 3-204

No Violations Noted

Office # 3-205

No Violations Noted

Dorm # 3-203

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

Staff Bathroom # 3-202

No Violations Noted

Basement

Property # 3-B04

No Violations Noted

Storage Closet # 3-B 02 and 3-B03

No Violations Noted

# Work Release Building

# House # 1

# First Floor

# Hallway

No Violations Noted

Infirmary

No Violations Noted

Control

No Violations Noted

Office

No Violations Noted

# Bathroom

No Violations Noted

# Bedrooms

105 CMR 451.141*	Screens: Screen not properly sized for window in bedroom # 2

105 CMR 451.141*	Screens: Screen missing in bedroom # 3

# Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

# Dining Room

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Exterior door not tight-fitting, weather stripping damaged on left side door

# Kitchen

FC 3-501.16(A)(2) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Time/temperature control for safety food not held at 41°F or lessP, margarine labeled “keep refrigerated” not kept under refrigeration

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Nonfood contact surfaces of equipment dirty, grease buildup observed on wire storage rack

# Second Floor

# Stairway

No Violations Noted

# Hallway

No Violations Noted

# Bedrooms

105 CMR 451.141*	Screens: Screen not properly sized for window in bedroom # 5, 7, and 8

105 CMR 451.141	Screens: Screen not properly sized for window in bedroom # 4 and 6

# Bathroom

105 CMR 451.123*	Maintenance: Screen not tight-fitting

105 CMR 451.123*	Maintenance: Dead bugs accumulating in window

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 2

Stairway to Basement

No Violations Noted

# Basement

# Laundry Room

105 CMR 451.350*	Structural Maintenance: Water leaking in from exterior in back left corner of room

105 CMR 451.350*	Structural Maintenance: Door leading to exterior not rodent and weathertight

Janitor’s Closet

Unable to Inspect – Locked

Boiler Room

Unable to Inspect – Locked

Storage Room

Unable to Inspect – Locked

# Day Room between Houses

105 CMR 451.141	Screens: Screen missing

# House # 2 (Unoccupied)

# First Floor

105 CMR 451.353	Interior Maintenance: Pooling water on floor at front entrance to House # 2

# Hallway

105 CMR 451.141	Screens: Screen missing

# Strip Search Room

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Screen not tight-fitting

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F at handwash sink

Group Room

No Violations Noted

# Officer’s Bathroom

No Violations Noted

# Offices

No Violations Noted

Administration Office

No Violations Noted

Second Floor

Hallway

105 CMR 451.141	Screens: Screen not tight-fitting in hallway

Bathroom

105 CMR 451.123*	Maintenance: Screen missing

105 CMR 451.126		Hot Water for Bathing and Hygiene: Hot water temperature 800F at handwash sink

105 CMR 451.350	Structural Maintenance: Window broken

Bedrooms

105 CMR 451.141*	Screens: Screen missing in bedroom # 267-2-202

105 CMR 451.141*	Screens: Screen not properly sized for window in bedroom # 267-2-201 and 267-2-205

105 CMR 451.141	Screens: Screen not properly sized for window in bedroom # 267-2-204

Third Floor

105 CMR 451.350*	Structural Maintenance: Emergency exit door not rodent and weathertight

Bedrooms

105 CMR 451.141*	Screens: Screen not properly sized for window in bedroom # 267-2-301 and 267-2-303

# Basement

# Day Room

105 CMR 451.353*	Interior Maintenance: Mold on walls

105 CMR 451.353*	Interior Maintenance: Floor water stained

Property

105 CMR 451.353	Interior Maintenance: Mold on walls

# Bathroom

105 CMR 451.123*	Maintenance: Wall tiles missing in shower # 3

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 3

105 CMR 451.123	Maintenance: Curtain missing at shower # 1 and 3

105 CMR 451.123	Maintenance: Mold on curtain in shower # 2

105 CMR 451.123	Maintenance: Toilet partitions rusted

Storage Room

Unable to Inspect – Locked

WAREHOUSE

Office # 9-101

No Violations Noted

Female Bathroom # 9-102

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water handle leaking at handwash sink

Male Bathroom # 9-103

No Violations Noted

Janitor’s Closet # 9-104

No Violations Noted

Old Walk-in Freezer # 9-105

No Violations Noted

Back Freezer and Refrigerator

No Violations Noted

Observations and Recommendations

- The inmate population was 677 at the time of inspection.

- During the main kitchen inspection, the warewash machine was not in operation. Kitchen staff stated a service order was already placed to repair the warewash machine and staff had already started utilizing interim measures such as manually sanitizing dishes or using Styrofoam trays until repairs could be made. By the completion of the inspection, the warewash machine was repaired and working in accordance with the manufacturer's instructions.

- The CSP recommends:

  - Installing a shower curtain at the toilet stall in the 2nd floor bathroom of Work Release House # 1; and

  - Utilizing a dehumidifier in the basement of Work Release House # 1 and 2.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kerry Wagner, MPH													Field Supervisor, EA III, CSP, BCEH