## Class I, SREC I, and SREC II
Revised |  | 2022-12-01
RPS Class I, Solar Carve-out I, and Solar Carve-out II Minimum Standards*
| Year | RPS Class I (including Solar Carve-outs) |  | Solar Carve-out I |  | Solar Carve-out II |  | RPS Class I (net)
|  | Exemptions for Load Under Contract** | Minimum Standard | Exemptions for Load Under Contract | Minimum Standard | Exemptions for Load Under Contract | Minimum Standard | Minimum Standard
| 2003 | N/A | 1% | N/A | N/A | N/A | N/A | 1%
| 2004 | N/A | 1.5% | N/A | N/A | N/A | N/A | 1.5%
| 2005 | N/A | 2% | N/A | N/A | N/A | N/A | 2%
| 2006 | N/A | 2.5% | N/A | N/A | N/A | N/A | 2.5%
| 2007 | N/A | 3% | N/A | N/A | N/A | N/A | 3%
| 2008 | N/A | 3.5% | N/A | N/A | N/A | N/A | 3.5%
| 2009 | N/A | 4% | N/A | N/A | N/A | N/A | 4%
| 2010 | N/A | 5% | N/A | 0.0679% | N/A | N/A | 4.932%
| 2011 | N/A | 6% | N/A | 0.1627% | N/A | N/A | 5.837%
| 2012 | N/A | 7% | N/A | 0.163% | N/A | N/A | 6.837%
| 2013 | N/A | 8% | On or before 6/7/2013 | 0.2744% | N/A | N/A | 7.726%
|  |  |  | After 6/7/2013 | 0.3833% |  |  | 7.617%
| 2014 | N/A | 9% |  | 0.9481% | Before 4/25/2014 | 0% | 8.052%
[6 empty] | On or after 4/25/2014 | 0.0843% | 7.968%
| 2015 | N/A | 10% | Before 6/28/2013 | 1.536% | Before 4/25/2014 | 0% | 8.464%
|  |  |  | On or after 6/28/2013 | 2.144% |  | 0% | 7.856%
[6 empty] | On or after 4/25/2014 | 0.3288% | 7.527%
| 2016 | N/A | 11% | Before 6/28/2013 | 0.9801% | Before 4/25/2014 | 0% | 10.02%
|  |  |  | On or after 6/28/2013 | 1.757% |  | 0% | 9.243%
[6 empty] | On or after 4/25/2014 | 0.7851% | 8.458%
| 2017 | N/A | 12% | Before 6/28/2013 | 0.9861% | Before 4/25/2014 | 0% | 11.01%
|  |  |  | On or after 6/28/2013 | 1.631% | On or after 4/25/2014, and on or before 5/8/2016 | 2.02% | 8.349%
[6 empty] | After 5/8/2016 | 2.863% | 7.506%
| 2018 | N/A | 13% | Before 6/28/2013 | 1.141% | Before 4/25/2014 | 0% | 11.86%
|  |  |  | On or after 6/28/2013 | 1.79% | On or after 4/25/2014, and on or before 5/8/2016 | 2.682% | 8.527%
[6 empty] | After 5/8/2016 | 4.068% | 7.141%
| 2019 | N/A | 14% | Before 6/28/2013 | 1.098% | Before 4/25/2014 | 0% | 12.9%
|  |  |  | On or after 6/28/2013 | 1.746% | On or after 4/25/2014, and on or before 5/8/2016 | 2.32% | 9.935%
[6 empty] | After 5/8/2016 | 3.914% | 8.34%
| 2020 | Before 1/1/2019 | 15% | Before 6/28/2013 | 0.9867% | Before 4/25/2014 | 0% | 14.01%
|  |  |  | On or after 6/28/2013 | 1.612% | On or after 4/25/2014, and on or before 5/8/2016 | 2.204% | 11.18%
[6 empty] | After 5/8/2016 | 3.801% | 9.587%
|  | On or after 1/1/2019 | 16% |  |  |  |  | 10.59%
| 2021 | Before 1/1/2019 | 16% | Before 6/28/2013 | 1.018% | Before 4/25/2014 | 0% | 14.98%
|  |  |  | On or after 6/28/2013 | 1.663% | On or after 4/25/2014, and on or before 5/8/2016 | 2.267% | 12.07%
[6 empty] | After 5/8/2016 | 3.928% | 10.41%
|  | On or after 1/1/2019 | 18% |  |  |  |  | 12.41%
| 2022 | Before 1/1/2019 | 17% | Before 6/28/2013 | 0.8801% | Before 4/25/2014 | 0% | 16.12%
|  |  |  | On or after 6/28/2013 | 1.543% | On or after 4/25/2014, and on or before 5/8/2016 | 2.387% | 13.07%
[6 empty] | After 5/8/2016 | 4.086% | 11.37%
|  | On or after 1/1/2019 | 20% |  |  |  |  | 14.37%
| 2023 | Before 1/1/2019 | 18% | Before 6/28/2013 | 0.2752% | Before 4/25/2014 | 0% | 17.72%
|  |  |  | On or after 6/28/2013 | 0.9254% | On or after 4/25/2014, and on or before 5/8/2016 | 2.256% | 14.82%
[6 empty] | After 5/8/2016 | 3.923% | 13.15%
|  | On or after 1/1/2019 | 22% |  |  |  |  | 17.15%
| 2024 | Before 1/1/2019 | 19% | Before 6/28/2013 | TBD | Before 4/25/2014 | TBD | TBD
|  |  |  | On or after 6/28/2013 | TBD | On or after 4/25/2014, and on or before 5/8/2016 | TBD | TBD
[6 empty] | After 5/8/2016 | TBD | TBD
|  | On or after 1/1/2019 | 24% |  |  |  |  | TBD
| 2025 | Before 1/1/2019 | 20% | N/A | N/A | Before 4/25/2014 | TBD | TBD
[6 empty] | On or after 4/25/2014, and on or before 5/8/2016 | TBD | TBD
[6 empty] | After 5/8/2016 | TBD | TBD
|  | On or after 1/1/2019 | 27% |  |  |  |  | TBD
| 2026 | Before 1/1/2019 | 21% | N/A | N/A | Before 4/25/2014 | TBD | TBD
[6 empty] | On or after 4/25/2014, and on or before 5/8/2016 | TBD | TBD
[6 empty] | After 5/8/2016 | TBD | TBD
|  | On or after 1/1/2019 | 30% |  |  |  |  | TBD
| 2027 | Before 1/1/2019 | 22% | N/A | N/A | Before 4/25/2014 | TBD | TBD
[6 empty] | On or after 4/25/2014, and on or before 5/8/2016 | TBD | TBD
[6 empty] | After 5/8/2016 | TBD | TBD
|  | On or after 1/1/2019 | 33% |  |  |  |  | TBD
| 2028 | Before 1/1/2019 | 23% | N/A | N/A | Before 4/25/2014 | TBD | TBD
[6 empty] | On or after 4/25/2014, and on or before 5/8/2016 | TBD | TBD
[6 empty] | After 5/8/2016 | TBD | TBD
|  | On or after 1/1/2019 | 36% |  |  |  |  | TBD
| 2029 | Before 1/1/2019 | 24% | N/A | N/A | N/A | N/A | TBD
|  | On or after 1/1/2019 | 39% |  |  |  |  | TBD
| 2030 | Before 1/1/2019 | 25% | N/A | N/A | N/A | N/A | TBD
|  | On or after 1/1/2019 | 40% |  |  |  |  | TBD
*Class II, APS, CPS, CES, and CES-E Minimum Standards on separate worksheets
**Pursuant to M.G.L. Chapter 25A Section 11F: Any electric load served under a retail electricity supply contract executed or extended not later than December 31, 2018, shall be exempt from any incremental compliance obligation under this section that occurs as a result of an increase or a new requirement imposed on or after January 1, 2019 on the minimum percentage of kilowatt-hour sales to end-use customers that must be derived from Class I RPS eligible resources.

## Class II, APS, and CPS
Revised |  | 2022-12-01
RPS Class II, APS, and CPS Minimum Standards
| Year | Exemptions for Load Under Contract | RPS Class II Renewables | RPS Class II Waste Energy | APS | CPS*
|  |  | Minimum Standard | Minimum Standard | Minimum Standard | Minimum Standard
| 2009 | Before 1/1/2009 | 0% | 0% | 0% | N/A
|  | After 1/1/2009 | 3.6% | 3.5% | 1%
| 2010 | Before 1/1/2009 | 0% | 0% | 0% | N/A
|  | After 1/1/2009 | 3.6% | 3.5% | 1.5%
| 2011 | Before 1/1/2009 | 0% | 0% | 0% | N/A
|  | After 1/1/2009 | 3.6% | 3.5% | 2%
| 2012 | Before 1/1/2009 | 0% | 0% | 0% | N/A
|  | After 1/1/2009 | 3.6% | 3.5% | 2.5%
| 2013 | Before 1/1/2009 | 0% | 0% | 0% | N/A
|  | After 1/1/2009 | 1.5% | 3.5% | 3%
| 2014 | Before 1/1/2009 | 0% | 0% | 0% | N/A
|  | After 1/1/2009 | 1.75% | 3.5% | 3.5%
| 2015 | Before 1/1/2009 | 0% | 0% | 0% | N/A
|  | After 1/1/2009 | 2% | 3.5% | 3.75%
| 2016 | Before 1/1/2009 | 0% | 0% | 0% | N/A
|  | After 1/1/2009 | 2.532% | 3.5% | 4% | N/A
| 2017 | N/A | 2.591% | 3.5% | 4.25% | N/A
| 2018 | N/A | 2.615% | 3.5% | 4.5% | N/A
| 2019 | N/A | 2.688% | 3.5% | 4.75% | 0%
| 2020 | N/A | 3.206% | 3.5% | 5% | 1.5%
| 2021 | N/A | 3.563% | 3.7% | 5.25% | 3%
| 2022 | N/A | 3.6% | 3.7% | 5.5% | 4.5%
| 2023 | N/A | 3.472% | 3.7% | 5.75% | 6%
| 2024 | N/A | 3.6% | 3.7% | 6% | 7.5%
| 2025 | N/A | TBD | 3.7% | 6.25% | 9%
| 2026 | N/A | TBD | 3.5% | 6.5% | 10.5%
| 2027 | N/A | TBD | 3.5% | 6.75% | 12%
| 2028 | N/A | TBD | 3.5% | 7% | 13.5%
| 2029 | N/A | TBD | 3.5% | 7.25% | 15%
| 2030 | N/A | TBD | 3.5% | 7.5% | 16.5%
* Contracts executed or extended before 1/1/2020 are exempt.

## CES and CES-E
Revised |  | 2022-12-01
Clean Energy Standard Minimum Standards*
| Year | CES | CES-E
|  | Minimum Standard | Minimum Standard
| 2018 | 16% | N/A
| 2019 | 18% | N/A
| 2020 | 20% | N/A
| 2021 | 22% | 20%
| 2022 | 24% | 20%
| 2023 | 26% | 26%
| 2024 | 28% | 27%
| 2025 | 30% | 26%
| 2026 | 36% | TBD
| 2027 | 42% | TBD
| 2028 | 48% | TBD
| 2029 | 54% | TBD
| 2030 | 60% | TBD
*The Clean Energy Standard is overseen by the Massachusetts
Department of Environmental Protection. Please refer to:
https://www.mass.gov/guides/clean-energy-standard-310-cmr-775