Inspection Form

Agency Name, Address, Phone

105 Code of Massachusetts Regulations (CMR) 410.000: Minimum Standards of Fitness for Human Habitation, State Sanitary Code, Chapter II

Address			 			Unit #  			 City/Town

Date: _________ Time: _________ Total # Unit Occupants:____ Total Unit Occupants <6 Yrs. Old: ____

Occupant Name:  						 Occupant Phone #:

Owner Name:  							 Owner Phone #:

Owner Address: 					 	City/Town:       		 Zip Code:

# Dwelling/ Rooming Units in Dwelling:    			# Stories:  		Floor Level of Unit:

# Sleeping Rooms:  						# Habitable Rooms:

Homeless Shelter? 			Yes  		No

Inspector							Title

If violations are observed and checked, describe them fully on Page 3.

|  | Type of Violation Use blank boxes for violations not listed | Possible Code Section(s) | Violation Observed | Responsible Party |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Owner | Occupant 410.240 |
| Exterior, Yard & Porch | Locks | 270 |  |  |  |
|  | Posting, ID, Exit signs/emergency lights | 310, 400, 410 |  |  |  |
|  | Handrails, steps, doors windows, roof | 500, 510, 520, 500, 530 |  |  |  |
|  | Rubbish—storage and collection | 560 |  |  |  |
|  | Maintenance of Area | 570 |  |  |  |
| Common Areas & Entry | Illumination, windows | 220, 300, 530, |  |  |  |
|  | Egress | 260 |  |  |  |
|  | Handrails | 520 |  |  |  |
| Interior Halls & Stairs | Floors, walls ceilings | 500 |  |  |  |
|  | Hallways, railings, stairs | 520 |  |  |  |
|  | Light, windows | 220, 300, 530, 540 |  |  |  |
| Bedroom 1 | Location (circle): Front Rear Middle Left Middle Right Floor Level of Unit |  |  |  |  |
|  | Ventilation | 220 |  |  |  |
|  | Ceiling height/Minimum Square Footage | 420 |  |  |  |
|  | Windows, screen | 530, 540 |  |  |  |
|  | Lights/Outlets | 140, 300 |  |  |  |
| Bedroom 2 | Location (circle): Front Rear Middle Left Middle Right Floor Level of Unit |  |  |  |  |
|  | Ventilation | 220 |  |  |  |
|  | Ceiling height/Minimum Square Footage | 420 |  |  |  |
|  | Windows, screen | 530, 540 |  |  |  |
|  | Lights/Outlets | 140, 300 |  |  |  |
| Bathroom | Toilet, sink, shower, tub, door | 110, 120, 140 |  |  |  |
|  | Smooth, impervious surfaces | 110 |  |  |  |
|  | Lights, outlets, ventilation | 140, 220, 300 |  |  |  |
|  | Floors/walls | 110 |  |  |  |
| Kitchen | Sink, stove, oven; good repair, cabinets, shelving, countertops impervious and smooth, space for a refrigerator | 100 |  |  |  |
|  | Lights, outlets, ventilation, windows, screens | 220, 430, 530, 540 |  |  |  |
|  | Ceiling height | 420 |  |  |  |
|  | Floor | 100 |  |  |  |
| Living room and Dining Room | Lights, outlets, ventilation | 220, 235, 300, |  |  |  |
|  | Ceiling height | 420 |  |  |  |
|  | Windows/screens | 530, 540 |  |  |  |
| Basement | Maintenance | 500 |  |  |  |
|  | Watertight | 500 |  |  |  |
|  | Illumination | 300 |  |  |  |
| Water | Source (circle): Public Private |  |  |  |  |
|  | Not Potable | 130 |  |  |  |
|  | Quantity, pressure | 130 |  |  |  |
|  | Responsible for paying MGL ch 186 s 22, metering | 130 |  |  |  |
| Hot Water | Fuel Type (circle): Natural Gas Oil Electric Other Temp.: ____ of Location taken: |  |  |  |  |
|  | Quantity and/or pressure insufficient or temperature above or below required temps Sinks - 110 F min, 130 F max Bath/shower 110 F min – 120 F max | 150 |  |  |  |
|  | Venting of water heater | 170 |  |  |  |
| Heating | Type (circle): Forced Hot Water Forced Hot Air Steam Electric Other:____________ Temp.: ____ of Location taken: |  |  |  |  |
|  | Impermissible portable units or space heaters (e.g. fuel supply located less than 42 inches from burner, unvented gas burning units) | 160 |  |  |  |
|  | Minimum temperatures not maintained in every Habitable room and every bathroom during heating season (5/31 – 9/15) 7 am to 11 pm: 68 F Note: measure 5 feet from wall, 5 feet from floor | 180 |  |  |  |
|  | Venting, metering | 170, 200, 210 |  |  |  |
| Electrical | Type (circle): 110 220 Amp: |  |  |  |  |
|  | Metering and access | 200 |  |  |  |
|  | Insufficient amperage, temporary wiring, | 320 |  |  |  |
| Drainage, Plumbing | Type (circle): Public Private |  |  |  |  |
|  | Insufficient or unmaintained Sanitary drainage system | 130, 235, 300 |  |  |  |
| Smoke & CO Detectors | Not in required locations or operational | 330 |  |  |  |
| Pests | Pests (rodents, skunks, cockroaches, insects) | 550, 570 |  |  |  |
|  | Structural maintenance and elimination of harborage | 500, 540 |  |  |  |
| Asbestos | Damaged, friable, holes, cracks, tears | 250 |  |  |  |
| Lead Paint | Licensed Code Enforcement Lead Determinators offer determination for pre-’78 unit with a child < 6 | 410.470 105 CMR 460.00 |  |  |  |
| Curtailment | Curtailment without reasonable notice or temporary emergency | 003 |  |  |  |
| Access | Less than 48 hours’ notice to the occupant for non-emergency repairs | 003 |  |  |  |
| Laundering | Laundering between individuals (Bed linens/towels/blankets) | 230 |  |  |  |
|  | Laundering frequency (Bed linens/towels/blankets/pillow & mattress covers) |  |  |  |  |
|  | Mattress not cleaned or replaced when not in good condition. |  |  |  |  |
| Other |  |  |  |  |  |

Reinspection Form

Agency Name, Address, Phone

105 Code of Massachusetts Regulations (CMR) 410.000: Minimum Standards of Fitness for Human Habitation, State Sanitary Code, Chapter II

Address			 			Unit #  			 City/Town

Referral: 	 ¨  Electric  	¨  Fire  	¨  Plumbing  	¨  Building  	¨  Other

This inspection report is signed and certified under the pains and penalties of perjury.

Inspector Signature

Occupant or Occupant’s Representative Signature

Reinspection Date						Time

Written description of any violation(s) checked above

Include Area or Element, code citation and a description of the condition(s) that constitute the violation.

| Area/Element, Code Citation and Description of Violation | Condition Deemed to Endanger or Materially Impair Health or Safety? Yes/No (105 CMR 410.630 (A)) | Timeframe to Comply | Reinspection Date |
| --- | --- | --- | --- |