| Monthly UST Inspection Log |  | Staple Relevant Documentation Here |
| --- | --- | --- |
| Inspector Name: | Operator ID#: | Inspection Date/Time: |
| Inspector Type: Class A Operator Class B Operator Class A/B Operator Inspector under direction of Owner, Operator, or Class A, B or A/B Operator Name of that Owner, Operator, or Class A, B, or A/B Operator: |  |  |

| Inspection Item | Result | If “No,” explain why/describe corrective actions taken | Date resolved |
| --- | --- | --- | --- |
| - Leak Detection **If UST(s) utilize(s) continuous monitoring, attach the liquid status report to the top right corner. |  |  |  |
| - Is all leak detection equipment “on,” and operating as usual with no alarms? | Yes No |  |  |
| - Were all indications of leakage or release responded to in accordance with 310 CMR 80.26? | Yes No NA |  |  |
| - Are all leak detection records complete, accurate, and current? | Yes No |  |  |
| - Spill Buckets, Covers, and Sensors |  |  |  |
| - Are all spill buckets clean and free of solid and liquid material? | Yes No |  |  |
| - Are all spill buckets free from signs of corrosion, deterioration, cracks, and holes? | Yes No |  |  |
| - Are all spill bucket sensors positioned in accordance with manufacturer’s specifications? | Yes No NA |  |  |
| - If no manufacturer’s specifications exist, are the spill bucket sensors placed at the lowest possible location in the spill buckets? | Yes No NA |  |  |
| - Are all fill pipes free of obstructions and secured with a cap? | Yes No |  |  |
| - For double-walled spill buckets with interstitial monitoring, is the interstitial space free of liquids? | Yes No NA |  |  |
| - Fill Cover Color-Coding |  |  |  |
| - Are all grade level fill covers color-coded in accordance with API RP 1637? | Yes No |  |  |