## Instructions
Instructions
What is this worksheet and why is it helpful? This worksheet is a tool to map out building life-cycle events that offer opportunity to enable a deep retrofit as a result of major building investments, changes in use, or other events. By using this worksheet, communities can map out and plan for net zero activities to coincide with already existing building life-cycle events. Adapting this to an organization’s building portfolio can be useful for sustainability professionals, energy managers, and facilities administrators and managers to develop a shared understanding of energy reduction opportunities and planning timelines. There may also be potential building upgrades that sit in an “unknown” space on the timeline. Documenting these can be useful for organizational internal planning and clarity with stakeholders. Having identified viable points within the building management cycle, organizations can adopt green building standards that establish technical specifications and design requirements that must be met when the next “calendar trigger point” occurs – whether a building project, roof or equipment replacement, or major renovations/new construction project. Adopting a green building policy and associated standards assures ongoing institutional commitment and progress towards net zero, creates consistency and predictability across projects for facilities development and maintenance staff, and streamlines design and procurement processes.
Who should I engage to complete the worksheet? To complete this worksheet, you will need to engage facility managers with knowledge of both building maintence and development needs. Depending on your organization's structure, there could be a single facility administrator to engage, or you may need to engage with colleagues across multiple departments. These individuals will be able to identify when and which building upgrades and projects are anticipated. This information may already be captured in detailed facility development, improvement, and maintenance plans with near term projects represented in recent Capital Improvement Program documents. Sustainability and energy managers should also be engaged. There may be smaller improvements and new projects that they are anticipating which can be added to this worksheet. Additionally, as "trigger events" are identified, they can help list associated energy and carbon outcomes that the building improvement should aim to achieve.
How do I use this worksheet? This form has four tabs. The gray tabs are tabs that do not require data entry. The green tab, "Building Trigger Event Entry", is where you will input data about the trigger events for your buildings. This tab has instructions on how to enter the data. The "Trigger Event Actions" tab has more information about actions to consider when each trigger event occurs. The "Building Trigger Event Example" tab has an example of what entered data should look like.
When should I use this worksheet? This tool can serve multiple purposes within your organization. Supporting interdepartmental coordination: Completing this worksheet can help establish relationships and points of collaboration between energy/sustainability managers and facilities managers. By reviewing and discussing these opportunity points, staff can increase understanding of each others' workflows, operational constraints, needed resources, project prioritization, and strategic times to collaborate. This worksheet can also be used as part of the onboarding process to increase awareness amongst new staff in relevant positions. Informing Budget Requests and Project Planning: This worksheet is useful to review at least twice annually. Once, after the annual budget is adopted to review funded opportunities for the coming year and begin project preparation (including desired procurement specifications and requirements). Second, review this worksheet before capital improvement projects are proposed for the coming year's budget to ensure proposals reflect building needs as well as carbon and energy reduction measures. It can also be useful to reference this tool as part of regular energy management review meetings, incorporating relevant updates and notes into the worksheet as needed. Long range planning and executive briefings: Share the high-level map from this tool in briefing with your organization's senior level management, including budget and finance office representatives, to show points of project efficiency, anticipated timing for long range investments, and the importance of sequencing certain projects (such as rooftop solar and rooftop replacements). Noting any projects that sit in the "unknown" area of the timeline - where staff are unsure when or how those projects could occur - is also useful to note, particularly if they are priority interests for community stakeholders.
How should I integrate this worksheet into my organization's processes? Once specific types of building improvements and energy/carbon reduction measures are identified, staff across departments can work together to gather site information, research market-available equipment, and develop project design and building specification standards prior to initiating procurement processes. Examples of these could include: - identifying the current electrical capacity in locations tagged for EV charging, renewable energy systems, and equipment electrification, - completing structural engineering assessments for rooftops intended for future solar PV systems, - adopting building operational and design standards and equipment performance specifications. In addition to being integrated into regular energy management meetings and budget proposal processes, as noted above, this worksheet can also be used to inform long range and strategic planning exercises. The project "trigger" timelines within this worksheet can be compared to adopted emissions reduction goals and dates. Opportunities could be identified for project streamlining by combining development and maintenance projects that overlap within the same building area or could share efficiencies. For example, improving building weatherization can result in the ability to downsize an HVAC replacement, furthering reductions in costs and ongoing energy use. Anticipating staff and funding capacity needs across projects can also inform project planning and procurement strategies. Energy Savings Performance Contracts (ESPCs), for example, are able to address a range of building upgrades within a single project without the same impacts on staff workloads and upfront funding as when the projects are all completed in-house.

## Trigger Event Actions
Trigger Event Actions
Description: This key lists the six types of trigger events and net zero actions to consider performing alongside that trigger event. Trigger events are building life-cycle events that could enable a deep retrofit.
Trigger Event Types | Net Zero Actions to Consider
New Building Entering Portfolio | • Standardize property condition report to include energy audit and funcional performance tests • Evaluate all "actions to consider" for lease turnover and major equipment replacement trigger events
Lease Turnover or Renewal | • Green lease language • Adjust energy chart based on lease structure • Plug load budget • Tenant energy feedback • Low/no-cost ECMs • HVAC reconfiguration or envelope upgrades
Major Equipment Replacement | • Replace major HVAC or water heating equipment • Add roof and insulation • High-performance windows • Replace fossil fuel gensets with electric and thermal storage • Fuel switching from gas to electric
Building Leaving Portfolio | • Include energy information in statement of value • Standardize property conditions report to include energy audit and functional performance tests • Provide energy one-page summary to agents and prospective buyers
New Construction or Major Renovation Project | • Design all new construction to net-zero energy (or NZE-ready) • Consider systems like ground source heat pumps • Design roofs to handle on-site solar PV
Regular Energy Checkups | • Continuously: Tenant engagement; Commissioning • Every three years: Assess new utility rates; Reconsider solar PV and energy storage

## Building Trigger Event Example
Building Trigger Events
Instructions: 1. Enter the building name in the column "Building Name" (e.g., Department of Environment, Police Department). 2. In the Trigger Event column, select the relevant trigger event from the drop down list. To see more information about the different types of trigger events, go to the tab titled "Trigger Event Key" 3. Use the dropdown list in each relevant year to insert the icon when the trigger event is occurring. To remove an icon from a year, click delete. 4. You can filter and sort the data using the arrow boxes on each of the headers. To show what is happening in a certain year, click on the arrow in the year of interest and click the box next to "Blanks" and click "Ok". To clear this filter and see all the data again, click again on the arrow and click "Clear Filter from [year]". You can also do this in the Building Name and Trigger Event columns to see only data about certain buildings or trigger events. Please note: If you need to add more rows or columns, simply start typing text in the next row or column and the table will update automatically.
Building Trigger Events
Building Name | Trigger Event | TriggerRange | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
Building 1 | Regular Energy Checkups | RegEnergy | 2023: — ⚡ —; 2026: — ⚡ —; 2029: — ⚡ —
Building 5 | Regular Energy Checkups | RegEnergy | 2024: — ⚡ —; 2027: — ⚡ —; 2030: — ⚡ —; 2033: — ⚡ —; 2036: — ⚡ —
Building 2 | Regular Energy Checkups | RegEnergy | 2024: — ⚡ —; 2027: — ⚡ —; 2030: — ⚡ —; 2033: — ⚡ —; 2036: — ⚡ —
Building 3 | Regular Energy Checkups | RegEnergy | 2023: — ⚡ —; 2026: — ⚡ —; 2029: — ⚡ —; 2032: — ⚡ —; 2035: — ⚡ —
Building 4 | Building Leaving Portfolio | BldgLeaving | 2028: — ↗️ —
Building 1 | Lease Turnover or Renewal | Lease | 2026: — 🧑‍🤝‍🧑 —; 2036: — 🧑‍🤝‍🧑 —
Building 2 | New Construction or Major Renovation Project | NewConstruction | 2033: — 🏗️ —; 2034: — 🏗️ —; 2035: — 🏗️ —; 2036: — 🏗️ —; 2037: — 🏗️ —
Building 5 | New Building Entering Portfolio | NewBldg | 2024: — 🔑 —; 2037: — ↗️ —
Building 3 | Lease Turnover or Renewal | Lease | 2023: — 🧑‍🤝‍🧑 —
Building 4 | Regular Energy Checkups | RegEnergy | 2023: — ⚡ —; 2025: — ⚡ —; 2027: — ⚡ —
Building 3 | Major Equipment Replacement | EquipReplace | 2027: — 🏢 —; 2038: — 🏢 —

## Building Trigger Event Entry
Building Trigger Events
Instructions: 1. Enter the building name in the column "Building Name" (e.g., Department of Environment, Police Department). 2. In the Trigger Event column, select the relevant trigger event from the drop down list. To see more information about the different types of trigger events, go to the tab titled "Trigger Event Key" 3. Use the dropdown list in each relevant year to insert the icon when the trigger event is occurring. To remove an icon from a year, click delete. 4. You can filter and sort the data using the arrow boxes on each of the headers. To show what is happening in a certain year, click on the arrow in the year of interest and click the box next to "Blanks" and click "Ok". To clear this filter and see all the data again, click again on the arrow and click "Clear Filter from [year]". You can also do this in the Building Name and Trigger Event columns to see only data about certain buildings or trigger events. Please note: If you need to add more rows or columns, simply start typing text in the next row or column and the table will update automatically.
Building Trigger Events
Building Name | Trigger Event | TriggerRange | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039

## PivotTable (hidden)
Trigger Event | Icon
New Building Entering Portfolio | — 🔑 —
Lease Turnover or Renewal | — 🧑‍🤝‍🧑 —
Major Equipment Replacement | — 🏢 —
Building Leaving Portfolio | — ↗️ —
New Construction or Major Renovation Project | — 🏗️ —
Regular Energy Checkups | — ⚡ —
None | —————
|  | New Building Entering Portfolio | Lease Turnover or Renewal | Major Equipment Replacement | Building Leaving Portfolio | New Construction or Major Renovation Project | Regular Energy Checkups
|  | — 🔑 — | — 🧑‍🤝‍🧑 — | — 🏢 — | — ↗️ — | — 🏗️ — | — ⚡ —