## Profile
Facility Profile
Facility Username(case sensitive login name)
SSEIS #:
Reporting Period: | year
Reporting Period Year YYYY:
Rules
1) Do not alter rows/columns/text or change the spreadsheets in any way. Doing so will result in upload failures.
2) Light Blue color cells indicate alpha-numeric entries
3) Yellow color cells indicate numeric only entries
4) Light Brown color cells indicate drop down boxes
5) If an item is Not Applicable please enter 0 in that cell
6) Only enter data in colored cells. All other cells are NOT to be changed.
7) The following list indicates pollutant/parameters. You have a number of pulldown menus available in the workbook to select them.
Pollutant / Parameter List
CO
NOx
OPACITY
SO2
CADMIUM
LEAD
MERCURY
HYDROGEN CHLORIDE
PCDD/PCDF
PMCD inlet T
UNIT LOAD
PARTICULATE MATTER
CARBON FEEDRATE
Opacity-M9
Fugitive Ash

## Questions
Questions
| Units: | 1 | 2 | 3
During the calendar year if any of the CEMS were required to be certified as meeting the requirements of APPENDIX B OF 40 CFR PART 60, "HAS THE REQUIRED PERFORMANCE EVALUATION BEEN SUBMITTED TO THE DEPARTMENT?" | (Y / N / NA)
Do you intend to conduct dioxin/furan compliance testing on a reduced schedule during the following year pursuant to 7.08(2)(g)1.b.? | (Y / N / NA)
Use CO2 Dilutent Monitor? :(IF yes CO2 is measured at 12%) | (Y / N)
Particulate Matter Control Device:
Method for Determining Carbon Feedrate (Describe parameter being measured):
Optimization test approved Carbon Feedrate: | lbs/hr

## AnnualEmissions
AnnualEmissions!A1 |  | ANNUAL EMISSIONS SUMMARY
|  |  | COMPLIANCE | COMPLIANCE | COMPLIANCE | COMPLIANCE
MWC UNIT #: | 1 |  | TEST | TEST | TEST | TEST
|  |  | DATE | DATE | DATE | DATE
Pollutant/Parameter | UNITS | LIMIT | CONCENTRATION/VALUE | CONCENTRATION/VALUE | CONCENTRATION/VALUE | CONCENTRATION/VALUE
Particulate Matter | mg/dscm @ 7% O2
Cadmium | mg/dscm @ 7% O2
Lead | mg/dscm @ 7% O2
Hydrogen Chloride - SDA Inlet | ppmv,d @ 7% O2
Hydrogen Chloride - PMCD Outlet | ppmv,d @ 7% O2
Hydrogen Chloride- Percent Removal | Percent (%)
Total PCDD/PCDFs (Tetra-Octa) | ng/dscm @ 7% O2
Unit Load | Klbs/hr
PMCD Inlet Temperature | oF
Carbon feedrate during dioxin/furan test | lbs/hr
Fugitive Ash | Percent (%)
Opacity | Percent (%)
|  |  | COMPLIANCE | COMPLIANCE | COMPLIANCE | COMPLIANCE
MWC UNIT #: | 2 |  | TEST | TEST | TEST | TEST
|  |  | DATE | DATE | DATE | DATE
Pollutant/Parameter | UNITS | LIMIT | CONCENTRATION/VALUE | CONCENTRATION/VALUE | CONCENTRATION/VALUE | CONCENTRATION/VALUE
Particulate Matter | mg/dscm @ 7% O2
Cadmium | mg/dscm @ 7% O2
Lead | mg/dscm @ 7% O2
Hydrogen Chloride - SDA Inlet | ppmv,d @ 7% O2
Hydrogen Chloride - PMCD Outlet | ppmv,d @ 7% O2
Hydrogen Chloride- Percent Removal | Percent (%)
Total PCDD/PCDFs (Tetra-Octa) | ng/dscm @ 7% O2
Unit Load | Klbs/hr
PMCD Inlet Temperature | oF
Carbon feedrate during dioxin/furan test | lbs/hr
Fugitive Ash | Percent (%)
Opacity | Percent (%)
|  |  | COMPLIANCE | COMPLIANCE | COMPLIANCE | COMPLIANCE
MWC UNIT #: | 3 |  | TEST | TEST | TEST | TEST
|  |  | DATE | DATE | DATE | DATE
Pollutant/Parameter | UNITS | LIMIT | CONCENTRATION/VALUE | CONCENTRATION/VALUE | CONCENTRATION/VALUE | CONCENTRATION/VALUE
Particulate Matter | mg/dscm @ 7% O2
Cadmium | mg/dscm @ 7% O2
Lead | mg/dscm @ 7% O2
Hydrogen Chloride - SDA Inlet | ppmv,d @ 7% O2
Hydrogen Chloride - PMCD Outlet | ppmv,d @ 7% O2
Hydrogen Chloride- Percent Removal | Percent (%)
Total PCDD/PCDFs (Tetra-Octa) | ng/dscm @ 7% O2
Unit Load | Klbs/hr
PMCD Inlet Temperature | oF
Carbon feedrate during dioxin/furan test | lbs/hr
Fugitive Ash | Percent (%)
Opacity | Percent (%)

## HighLevel
HIGHEST LEVELS OF POLLUTANTS/PARAMETERS RECORDED FROM CONTINUOUS MONITORING SYSTEM FOR THE YEAR
Unit #: | 1
REGULATORY
| POLLUTANT | STANDARD; | REGULATORY
DATE | or | NUMERICAL | STANDARD; | AVERAGING | RECORDED
mm/dd/yyyy | PARAMETER | VALUE | UNITS | TIME PERIOD | HIGHEST LEVEL
| OPACITY | 10 | percent | 6-MINUTE
| SO2 |  | ppm @ 7%O2 | 24-hr geo. Mean
| NOx |  | ppm @ 7%O2 | 24-hr block
| CO |  | ppm @ 7%O2
| UNIT LOAD |  | k-lbs/hour | 4-hr block
| PMCD INLET TEMP |  | oF | 4-hr block
Unit #: | 2
REGULATORY
| POLLUTANT | STANDARD; | REGULATORY
DATE | or | NUMERICAL | STANDARD; | AVERAGING | RECORDED
mm/dd/yyyy | PARAMETER | VALUE | UNITS | TIME PERIOD | HIGHEST LEVEL
| OPACITY | 10 | percent | 6-MINUTE
| SO2 |  | ppm @ 7%O2 | 24-hr geo. Mean
| NOx |  | ppm @ 7%O2 | 24-hr block
| CO |  | ppm @ 7%O2
| UNIT LOAD |  | k-lbs/hour | 4-hr block
| PMCD INLET TEMP |  | oF | 4-hr block
Unit #: | 3
REGULATORY
| POLLUTANT | STANDARD; | REGULATORY
DATE | or | NUMERICAL | STANDARD; | AVERAGING | RECORDED
mm/dd/yyyy | PARAMETER | VALUE | UNITS | TIME PERIOD | HIGHEST LEVEL
| OPACITY | 10 | percent | 6-MINUTE
| SO2 |  | ppm @ 7%O2 | 24-hr geo. Mean
| NOx |  | ppm @ 7%O2 | 24-hr block
| CO |  | ppm @ 7%O2
| UNIT LOAD |  | k-lbs/hour | 4-hr block
| PMCD INLET TEMP |  | oF | 4-hr block

## CMS
DATA REPORTING REQUIREMENTS FOR CONTINUOUS MONITORING SYSTEMS
Unit #: | 1
|  | Number of Operating Days |  |  |  |  | Percent Valid Data |  |  |  |  | Was Sufficient Data
| Operating | in which 75% Daily |  |  |  |  | Capture for Days per |  |  |  |  | Collected for the Month
| Time | Availability was Achieved |  |  |  |  | Month |  |  |  |  | (Y/N)
Month | (days/month) | CO | SO2 | NOx | PMCDT | UL | CO | SO2 | NOx | PMCDT | UL | CO | SO2 | NOx | PMCDT | UL
January
February
March
April
May
June
July
August
September
October
November
December
|  | Number of Operating Hours |  |  |  |  | Percent Valid Data |  |  |  |  | Was Sufficient Data
| Operating | with Valid Data Capture |  |  |  |  | Capture for Hours per |  |  |  |  | Collected for the Quarter
| Time | (hours/quarter) |  |  |  |  | Quarter |  |  |  |  | (Y/N)
Quarter | (hrs/quarter) | CO | SO2 | NOx | PMCDT | UL | CO | SO2 | NOx | PMCDT | UL | CO | SO2 | NOx | PMCDT | UL
Jan-Mar
Apr-Jun
Jul-Sept
Oct-Dec
Unit #: | 2
|  | Number of Operating Days |  |  |  |  | Percent Valid Data |  |  |  |  | Was Sufficient Data
| Operating | in which 75% Daily |  |  |  |  | Capture for Days per |  |  |  |  | Collected for the Month
| Time | Availability was Achieved |  |  |  |  | Month |  |  |  |  | (Y/N)
Month | (days/month) | CO | SO2 | NOx | PMCDT | UL | CO | SO2 | NOx | PMCDT | UL | CO | SO2 | NOx | PMCDT | UL
January
February
March
April
May
June
July
August
September
October
November
December
|  | Number of Operating Hours |  |  |  |  | Percent Valid Data |  |  |  |  | Was Sufficient Data
| Operating | with Valid Data Capture |  |  |  |  | Capture for Hours per |  |  |  |  | Collected for the Quarter
| Time | (hours/quarter) |  |  |  |  | Quarter |  |  |  |  | (Y/N)
Quarter | (hrs/quarter) | CO | SO2 | NOx | PMCDT | UL | CO | SO2 | NOx | PMCDT | UL | CO | SO2 | NOx | PMCDT | UL
Jan-Mar
Apr-Jun
Jul-Sept
Oct-Dec
Unit #: | 3
|  | Number of Operating Days |  |  |  |  | Percent Valid Data |  |  |  |  | Was Sufficient Data
| Operating | in which 75% Daily |  |  |  |  | Capture for Days per |  |  |  |  | Collected for the Month
| Time | Availability was Achieved |  |  |  |  | Month |  |  |  |  | (Y/N)
Month | (days/month) | CO | SO2 | NOx | PMCDT | UL | CO | SO2 | NOx | PMCDT | UL | CO | SO2 | NOx | PMCDT | UL
January
February
March
April
May
June
July
August
September
October
November
December
|  | Number of Operating Hours |  |  |  |  | Percent Valid Data |  |  |  |  | Was Sufficient Data
| Operating | with Valid Data Capture |  |  |  |  | Capture for Hours per |  |  |  |  | Collected for the Quarter
| Time | (hours/quarter) |  |  |  |  | Quarter |  |  |  |  | (Y/N)
Quarter | (hrs/quarter) | CO | SO2 | NOx | PMCDT | UL | CO | SO2 | NOx | PMCDT | UL | CO | SO2 | NOx | PMCDT | UL
Jan-Mar
Apr-Jun
Jul-Sept
Oct-Dec
PLEASE DO NOT CHANGE THESE ITEMS BELOW
Y
N

## DataExclusion
DataExclusion!A1 |  |  | EXCLUSION OF DATA
Fill out this Corrective Action Taken column if the reason contributed to not collecting sufficient valid data of the pollutant / parameter described.
| POLLUTANT | DATE |  | TIME |  | Reason for not Obtaining Sufficient Data
MWC | or | Start | Finish | From | To | or
UNIT # | PARAMETER | (mm/dd/yyyy) | (mm/dd/yyyy) | (hh:mm) | (hh:mm) | Excluding Data | Corrective Actions Taken
PLEASE DO NOT CHANGE THESE ITEMS BELOW
CO
NOx
SO2
PMCD inlet T
UNIT LOAD

## SSM
SSM!A1 | REPORTING OF START-UP, SHUT-DOWN OR MALFUNCTION
EMISSION CONCENTRATIONS DURING
START-UP, SHUT-DOWN OR MALFUNCTION
|  |  | TIME |  | STARTUP | [5 empty] | K-lbs/hr | oF
MWC | START DATE | END DATE | Start | Finish | SHUTDOWN |  | % | ppmv,d @ 7% O2 or 12% CO2 |  |  | UNIT | PMCD
UNIT # | (mm/dd/yyyy) | (mm/dd/yyyy) | hh:mm | hh:mm | MALFUNCTION | SPECIFIC REASON FOR OCCURRENCE | OPACITY | SO2 | NOx | CO | LOAD | TEMP
PLEASE DO NOT CHANGE THESE ITEMS BELOW
Startup
Shutdown
Malfunction

## Mercury
MERCURY ANNUAL EMISSIONS SUMMARY
Applicable rolling annual average standard: | .028 mg/dscm @7% O2
Quarterly stack test standard: | .050 mg/dscm @7%O2
Quarterly alternative stack test standard: | 85% reduction not to exceed .080 mg/dscm @7%O2
|  | QUARTER 1 | QUARTER 2 | QUARTER 3 | QUARTER 4
MWC UNIT #: | 1
COMPLIANCE TEST DATE (MM/DD/YYYY)
QUARTERLY STACK TEST RESULTS (mg/dscm@7%O2)
ROLLING 12 MONTH AVERAGE (mg/dscm@7%O2)
CARBON FEEDRATE DURING COMPLIANCE TEST (lbs/hr)
|  | QUARTER 1 | QUARTER 2 | QUARTER 3 | QUARTER 4
MWC UNIT #: | 2
COMPLIANCE TEST DATE (MM/DD/YYYY)
QUARTERLY STACK TEST RESULTS (mg/dscm@7%O2)
ROLLING 12 MONTH AVERAGE (mg/dscm@7%O2)
CARBON FEEDRATE DURING COMPLIANCE TEST (lbs/hr)
|  | QUARTER 1 | QUARTER 2 | QUARTER 3 | QUARTER 4
MWC UNIT #: | 3
COMPLIANCE TEST DATE (MM/DD/YYYY)
QUARTERLY STACK TEST RESULTS (mg/dscm@7%O2)
ROLLING 12 MONTH AVERAGE (mg/dscm@7%O2)
CARBON FEEDRATE DURING COMPLIANCE TEST (lbs/hr)