The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Commissioner

Tel: 617-624-6000

www.mass.gov/dph

CHARLES D. BAKER

Governor

KARYN E. POLITO

Lieutenant Governor

April 4, 2022

Matthew Divris, Superintendent

NCCI Gardner

500 Old Colony Road

Gardner, MA 01440			(electronic copy)

Re: Facility Inspection – NCCI Gardner

Dear Superintendent Divris:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of NCCI Gardner on March 15, 16, and 17, 2022 accompanied by Mike Gallagher and Maurice Campbell, Environmental Health and Safety Officers. Violations noted during the inspection are listed below including 208 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Kelli Poulin

Environmental Health Inspector, CSP, BEH

cc: 	Margret R. Cooke, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 		(electronic copy)

Carol A. Mici, Commissioner, DOC   							(electronic copy)

Terrence Reidy, Secretary, EOPSS 							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit			(electronic copy)

Mike Gallagher, EHSO									(electronic copy)

Maurice Campbell, EHSO								(electronic copy)

Lauren Saunders, Director of Public Health, Gardner Health Department			(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

C BUILDING

Lobby

Female Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F at handwash sink

Male Bathroom

105 CMR 451.123*		Maintenance: Ceiling vent dusty

105 CMR 451.123		Maintenance: Paper towel holder damaged

105 CMR 451.123		Maintenance: Interior of paper towel holder dirty

Vending Machine Area

No Violations Noted

Basement – Outside

Storage Area (near elevator)

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Treasurer’s Office

No Violations Noted

2nd Floor – Outside

Conference Room

No Violations Noted

Break Area (near elevator)

No Violations Noted

Female Bathroom

No Violations Noted

Male Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F at handwash sink

Administration

No Violations Noted

Superintendent’s Office

No Violations Noted

Superintendent’s Conference Room

No Violations Noted

Superintendent’s Bathroom

No Violations Noted

Control

105 CMR 451.353	Interior Maintenance: Ceiling damaged near armory key room

Break Area

No Violations Noted

Bathroom

105 CMR 451.123*		Maintenance: Wall damaged near toilet

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 900F at handwash sink

Trap – Inside

No Violations Noted

Staff Area

No Violations Noted

Basement – Inside

Break Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single service utensils not stored in the inverted position

Cell # 1

No Violations Noted

Cell # 2

No Violations Noted

Booking

105 CMR 451.126	Hot Water: Hot water temperature recorded at 520F at handwash sink

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 800F at handwash sink

Slop Sink/Urinal

No Violations Noted

Training Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single service utensils not stored in the inverted position

Inmate Changing Room

No Violations Noted

1st Floor

Roll Call Room

No Violations Noted

Offices

No Violations Noted

Records Room

No Violations Noted

Records Break Room

No Violations Noted

File Room

No Violations Noted

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

CPO Offices

No Violations Noted

Staff Bathroom (in CPO Office)

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

2nd Floor

105 CMR 451.141	Screens: Screen damaged in window at end of hallway

Offices

No Violations Noted

Deputy Superintendent’s Office

No Violations Noted

Conference Room

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mislabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Bathroom # 26

No Violations Noted

Deputy’s Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single serve utensils not stored in the inverted position

Offices

No Violations Noted

THOMPSON HALL

Basement

Property

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling tile missing

105 CMR 451.123	Maintenance: Ceiling tiles water stained

Slop Sink Room

No Violations Noted

Long Term Storage

No Violations Noted

Legal Storage Area

No Violations Noted

Annex Storage Area

No Violations Noted

Hallway

No Violations Noted

Inmate Bathroom

105 CMR 451.124*	Water Supply: No cold water supplied to handwash sink

Mop Room

No Violations Noted

Medical Storage Rooms (Left and Right)

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Biohazard Storage

No Violations Noted

Recycling Storage Room

No Violations Noted

1st Floor

Staff Area

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Slop Sink Room # 26

No Violations Noted

Storage # 21 (formally Ice Machine Room)

No Violations Noted

Medline Room (medication room)

No Violations Noted

South Wing

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 145

Showers

Unable to Inspect – In Use

Day Room

No Violations Noted

North Wing

Mop Closet # 29

105 CMR 451.353	Interior Maintenance: Standing water in mop bucket

Buffer Room # 27

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 113

Showers

Unable to Inspect - In Use

Day Room and Offices

No Violations Noted

T-R.H.U. – 1st Floor – Unoccupied

Control

105 CMR 451.353*	Interior Maintenance: Staff chair damaged

Control Bathroom

No Violations Noted

Cells

No Violations Noted

Shower

105 CMR 451.123*	Maintenance: Floor paint damaged outside shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Slop Sink

105 CMR 451.353	Interior Maintenance: Drain cover missing

T-R.H.U. – 2nd Floor– Unoccupied

Control

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

Control Bathroom

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 7

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor paint damaged outside shower

105 CMR 451.123*	Maintenance: Wall tiles missing

105 CMR 451.123	Maintenance: Wall damaged above shower

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

H.S.U.

Slop Sink Room # 23

No Violations Noted

Maintenance Closet # 26

No Violations Noted

Exam Room # 1 (X-Ray Processing)

105 CMR 451.353	Interior Maintenance: Ceiling tile missing

Interview Room (located within Exam Room # 1)

No Violations Noted

Male Inmate Bathroom

No Violations Noted

Exam Room # 2

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink

Male Bathroom (located within Exam Room # 2)

No Violations Noted

Exam Room # 3 (Trauma/Treatment Room)

No Violations Noted

Exam Room # 4

No Violations Noted

Exam Room # 5

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Cell A and B

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell B

Medical Records (Medical Waste Log Book)

105 CMR 480.500(A)	Procedures; Records; Record-Keeping Log: Generator had no written procedures for maintaining compliance with 105 CMR 480.000

Ward

No Violations Noted

Ward Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.123	Maintenance: Floor paint damaged

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

105 CMR 451.123	Maintenance: Mold observed on bottom of walls in shower

105 CMR 451.123	Maintenance: Shroud loose around water control in shower

Sharps Room

105 CMR 451.200	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single serve utensils not stored in the inverted position

Break Room # 23

No Violations Noted

Dentist’s Office

No Violations Noted

Ambulance Hallway

No Violations Noted

Exam Room # 7

No Violations Noted

Female Staff Bathroom

No Violations Noted

Office Room # 30

No Violations Noted

Slop Sink Closet

No Violations Noted

Thompson Hall – 2nd Floor

Staff Area

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Mental Health Office

No Violations Noted

Conference Room

Unable to Inspect – In Use

Mental Health Staff Bathroom

Unable to Inspect – In Use

South Wing

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Showers

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 2, 3, and 4

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1, 2, and 5

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1, 2, 4, and 5

105 CMR 451.123	Maintenance: Window vent dusty

Day Room

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

East Wing

Hallway

No Violations Noted

Slop Sink # 11

No Violations Noted

Slop Sink # 14

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 264

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 273 and 276

Day Room

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Wall tiles damaged in shower # 1-4

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 1-4

105 CMR 451.123	Maintenance: Mold observed on curtain in shower # 1 and 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1-4

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1-4

105 CMR 451.123*	Maintenance: Window vent dusty

105 CMR 451.123	Maintenance: Mold observed on ceiling throughout

North Wing

Janitor’s Closet # 2-15

105 CMR 451.353*	Interior Maintenance: Wall tiles damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 211

Shower

105 CMR 451.123*	Maintenance: Floor drain covers not secure near toilet

105 CMR 451.123*	Maintenance: Window vent dusty

105 CMR 451.123*		Maintenance: Wall tile damaged near entrance

105 CMR 451.123*	Maintenance: Wall damaged in shower # 1, 2, and 5

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1-5

105 CMR 451.123	Maintenance: Curtain missing in shower # 4

Day Room

No Violations Noted

Thompson Hall – 3rd Floor

Staff Area

No Violations Noted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1420F at handwash sink

Dorm Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Inmate Bathroom

105 CMR 451.121(A)*	Privacy: No privacy partition between toilets and handwash sink

105 CMR 451.123	Maintenance: Floor drain cover not secured

South Wing

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Showers	Unable to Inspect – In Use

105 CMR 451.123*	Maintenance: Floor tiles damaged outside shower room

Day Room

No Violations Noted

East Wing

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 363

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 365

Slop Sink Room # 12

No Violations Noted

Hallway

No Violations Noted

Mop Room # 15

No Violations Noted

Buffer Room # 14

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Floor tiles damaged outside shower # 4

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Wall tiles damaged in shower # 1-4

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 4

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 4

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1, 2, and 4

Day Room

No Violations Noted

Office # 2

No Violations Noted

North Wing

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in hallway

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 319

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 321

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 323

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 321

Showers

Unable to Inspect – In Use

Janitor’s Closet # 11

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Day Room

No Violations Noted

D Building

2nd Floor

Storage Closet

No Violations Noted

DOS Office

Unable to Inspect – Locked

Operations Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single serve utensils not stored in the inverted position

Male Staff Bathroom

105 CMR 451.123	Maintenance: Floor paint damaged near toilet

Mop Closet

No Violations Noted

Administrative Assistant’s Office

No Violations Noted

Deputy Superintendent’s Office

No Violations Noted

Female Bathroom

No Violations Noted

Holding Cell

No Violations Noted

IPS Office

105 CMR 451.350	Structural Maintenance: Window damaged

Urine Analysis Room

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

1st Floor

Bathroom

No Violations Noted

Strip Room

105 CMR 451.353	Interior Maintenance: Floor damaged in strip cage # 2

Non-Contact Inmate Side

No Violations Noted

Inner-Control Room

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, smoke detector missing in office

Inner-Control Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 830F at handwash sink

Visiting Room

No Violations Noted

Vending

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged near vending machine

105 CMR 451.353	Interior Maintenance: Vending machine out-of-order

105 CMR 451.200	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, items in vending machine not discarded after use by date

Non-Contact Visitor’s Side

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single service utensils not stored in the inverted position

Male Visiting Bathroom

No Violations Noted

Female Visiting Bathroom

No Violations Noted

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Zoom Conference Room # 116

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Staff Bathroom

No Violations Noted

Basement

Inmate Bathroom

105 CMR 451.123*	Maintenance: Floor damaged

Break Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Staff Bathroom (located within Break Room)

No Violations Noted

Tool Crib

No Violations Noted

Plumbing Shop

No Violations Noted

Electrical Shop

No Violations Noted

Shop Area

No Violations Noted

Paint Room

No Violations Noted

HAUL Room

No Violations Noted

E Building

2nd Floor

Classrooms

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in Classroom # 317

105 CMR 451.353	Interior Maintenance: Ceiling water stained in Classroom # 315

Offices

No Violations Noted

Offices # 311

No Violations Noted

Room # 313

105 CMR 451.200	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, ice buildup in freezer

Room # 308

No Violations Noted

Room # 309

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

Room # 310

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

Staff Bathroom # 305

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 680F at handwash sink

Slop Sink Room # 303

No Violations Noted

1st Floor

Staff Bathroom # 204

105 CMR 451.350	Structural Maintenance: Window not weathertight, unable to fully close

105 CMR 451.350*	Structural Maintenance: Window pane damaged

Classrooms

No Violations Noted

Slop sink # 203

105 CMR 451.353	Interior Maintenance: Floor drain clogged

Offices

No Violations Noted

Inmate Bathroom # 205

105 CMR 451.123	Maintenance: Ceiling vent dusty

Officer’s Station/Staff Area # 213

No Violations Noted

Janitor’s Closet # 214

No Violations Noted

Parole Office

No Violations Noted

Barber Shop Office

No Violations Noted

Barber Shop

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F

105 CMR 451.350	Structural Maintenance: Window sill damaged

Basement

Religious Chapels

No Violations Noted

Slop Sink # 108

No Violations Noted

Classroom # 101

No Violations Noted

Room # 104

105 CMR 451.353	Interior Maintenance: Floor paint damaged in office

Office # 115

No Violations Noted

Clerks Office

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

F Building

2nd Floor

Office

No Violations Noted

Auxiliary Bathroom # 204

105 CMR 451.353	Interior Maintenance: Ceiling ventilation ductwork rusted outside bathroom

105 CMR 451.123	Maintenance: Ceiling vent rusted

105 CMR 451.123	Maintenance: Mold observed on ceiling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continuously running

at slop sink

Staff Bathroom # 224

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

A Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

B Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

C Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

D Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

Showers

105 CMR 451.123*	Maintenance: Mold observed on walls in shower

105 CMR 451.123*	Maintenance: Walls damaged

105 CMR 451.123*	Maintenance: Floor damaged

Bathroom

105 CMR 451.123*		Maintenance: Wall damaged

105 CMR 451.123*		Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

Day Room

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

1st Floor

Office

No Violations Noted

Day Room

105 CMR 451.350	Structural Maintenance: Ceiling leaking near wall mountain phones

105 CMR 451.360	Protective Measures: Hornets observed

Shower

Unable to Inspect – In Use

Bathroom

Unable to Inspect – In Use

Auxiliary Bathroom # 204

105 CMR 451.123	Maintenance: Walls dirty

105 CMR 451.123*	Maintenance: Floor paint damaged

A Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

B Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353	Interior Maintenance: Junction box uncovered near bunk # 10

C Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

D Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

Staff Bathroom # 127

105 CMR 451.350*	Structural Maintenance: Exterior concrete ramp damaged near Staff Bathroom entrance door

Basement

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, ceiling pipes

leaking

Dog Bathroom

105 CMR 451.123	Maintenance: Wet mop stored in bucket

Bathroom # F-B05

No Violations Noted

NEADS Storage

No Violations Noted

Food Service Building

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Inmate Dining Hall

No Violations Noted

East Bathroom # 13

105 CMR 451.123*		Maintenance: Ceiling vent dusty

West Bathroom # 15

No Violations Noted

Main Kitchen

Serving Line

FC 3-501.16(A)(2) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Time/temperature control for safety food not held at 41°F or lessP, ham salad temperature recorded at 70°F

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

West Tray Room

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, warewashing machine out-of-order

East Tray Room

FC 4-703.11(B)	Sanitization of Equipment and Utensils; Methods: Mechanical warewash machine does not achieve a utensil surface temperature of 160°F as measured by an irreversible registering temperature indicatorP, temperature recorded at 1490F

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, warewashing machine leaking at bottom

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirtyPf, food debris observed on clean baking sheet pans on drying rack

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, hose with red knob leaking

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, wall dirty underneath prep table

Handwash Sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, water slow to drain at handwash sink

Slop Sink

No Violations Noted

Hot and Cold Holding Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets dirty

Single Compartment Sink (right)

No Violations Noted

Single Compartment Sink (left)

No Violations Noted

Grille Area & Hoods

No Violations Noted

3-Compartment Sink

No Violations Noted

Pot/Tray Rack

FC 4-903.11(B)(2)*	Protection of Clean Items; Storing: Equipment and Utensils not stored covered or inverted

Kettle Area

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor tiles damaged under kettle

FC 3-304.14(D)	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Chemical sanitizing solution not free from food and visible soil

Food Prep Area/2-Compartment Sink

No Violations Noted

Food Prep Area

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling actively leaking on food prep tables

Single Compartment Sink (left)

No Violations Noted

2-Compartment Sink (right)

No Violations Noted

Dry Goods Storage

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling leaking by gate entrance

Ice machine

No Violations Noted

Freezer # F-1 (located within Dry Goods Storage Area)

No Violations Noted

Locked Storage (located within Dry Goods Storage Area)

No Violations Noted

Halal Cooler

No Violations Noted

Cooler # C1

No Violations Noted

Cooler # C2

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, cooler out-of-order

Cooler # C3

No Violations Noted

Freezer # 1

No Violations Noted

Staff Office

No Violations Noted

Hallway/Stairway

No Violations Noted

Inmate Bathroom (rear of kitchen)

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 600F at handwash sink

105 CMR 451.123*		Maintenance: Floor tiles damaged

Loading Dock

No Violations Noted

Pig Cooler

FC 6-201.11*	Design, Construction, and Installation; Cleanability: Walls not smooth and

easily cleanable

Staff Bathroom # 133

No Violations Noted

Staff Bathroom # 134

105 CMR 451.123	Maintenance: Smoke detector not secured to ceiling

Janitors Closet # 135

No Violations Noted

Barrel Washing Room

No Violations Noted

Electrical Room

No Violations Noted

Food Manager’s Office

No Violations Noted

Tool Room

No Violations Noted

Handwash Sink

No Violations Noted

Bakery

No Violations Noted

Dry Storage

No Violations Noted

Slop Sink (located within Dry Storage)

No Violations Noted

Cooler # 4

No Violations Noted

Culinary

FC 2-402.11	Hygienic Practices; Hair Restraints: Food service personnel not wearing appropriate hair restraints, hair nets

Dry Goods

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty under food storage racks

Handwash Sink

No Violations Noted

Dishwashing Station

No Violations Noted

Refrigerator

No Violations Noted

Handwash Sink

No Violations Noted

3-Compartment Sink

No Violations Noted

Stove Area

No Violations Noted

Mop Closet

No Violations Noted

Serving Line

FC 3-501.16(A)(2) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Time/temperature control for safety food not held at 41°F or lessP, potato salad temperature recorded at 80°F

Dining Line

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom\

No Violations Noted

Tool Room # 8

No Violations Noted

Wheel Chair Shop

Unable to Inspect – Closed

Voc Ed Building

Main Area

No Violations Noted

Bathroom (in Main Area)

Unable to Inspect – In Use

Office

No Violations Noted

Small Engine Repair Room

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight, weather strip missing

Inmate Bathroom

Unable to Inspect – In Use

Staff Bathroom

No Violations Noted

Welding Shop

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, no hot water at utility sink

Laundry Building

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged throughout laundry area

Compressor Room

No Violations Noted

Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, utensils not stored in the inverted position

Bathroom

No Violations Noted

Mattress Room

No Violations Noted

Linen Closet

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of ceiling

Staff Bathroom

No Violations Noted

Optical (within laundry building)

105 CMR 451.350	Structural Maintenance: Windows damaged throughout

Inmate Bathroom

Unable to Inspect – In Use

Work Area

No Violations Noted

Staff Bathroom

No Violations Noted

Office

No Violations Noted

Music Bunker

Unable to Inspect – Closed

G Building

Unable to Inspect – Under Construction

2nd Floor

Control

Unable to Inspect – Under Construction

Dorm

Unable to Inspect – Under Construction

Inmate Bathroom

Unable to Inspect – Under Construction

1st Floor

Control

Unable to Inspect – Under Construction

Staff Bathroom

Unable to Inspect – Under Construction

Inmate Bathroom

Unable to Inspect – Under Construction

Dorm

Unable to Inspect – Under Construction

Basement

Telephone Area

Unable to Inspect – Under Construction

Tool Chest

Unable to Inspect – Under Construction

Office

Unable to Inspect – Under Construction

Showers

Unable to Inspect – Under Construction

I Building

East Side

Staff Bathroom

No Violations Noted

Hallway (near staff bathroom)

No Violations Noted

CPO Office

No Violations Noted

Bathroom (in CPO Office)

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Bottom of partitions rusted

Showers

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 800F

105 CMR 451.123	Maintenance: Curtain missing in shower # 2

Dorm

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked near bunk # 29 and 37

Storage Closet

105 CMR 451.331		Radiators and Heating Pipes: Pipes not properly insulated

West Side

105 CMR 451.353	Interior Maintenance: Floor damaged at entrance

Control Office

No Violations Noted

Control Bathroom

105 CMR 451.123*		Maintenance: Ceiling vent dusty

Sergeant’s Office

No Violations Noted

Bathroom (in Sergeant’s Office)

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1350F at handwash sink # 1

Showers

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 5

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 2 and 7

105 CMR 451.123*		Maintenance: Mold observed on ceiling outside of showers

105 CMR 451.123*		Maintenance: Floor damaged near drain outside showers

Dorm

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked near bunk # 2, 5, and 8

Storage Closet

No Violations Noted

H Building

105 CMR 451.353	Interior Maintenance: Floor tiles damaged at entrance

105 CMR 451.141	Screens: Screens damaged and missing throughout

105 CMR 451.353*	Interior Maintenance: Window balances damaged throughout

Basement

105 CMR 451.353*	Interior Maintenance: Metal stair nosing damaged and loose

Telephone Room

No Violations Noted

Day Room

105 CMR 451.353*	Interior Maintenance: Wall damaged near heater

105 CMR 451.353	Interior Maintenance: Wall fan dusty

Office

No Violations Noted

Mop Room

No Violations Noted

Showers

105 CMR 451.123*		Maintenance: Floor tiles damaged outside showers

105 CMR 451.123*		Maintenance: Sink counter top damaged throughout

105 CMR 451.123*		Maintenance: Walls damaged behind handwash sinks

105 CMR 451.123*		Maintenance: Walls damaged in showers

105 CMR 451.123*	Maintenance: Mold observed on shower walls

105 CMR 451.123*		Maintenance: Soap scum on shower curtains throughout

105 CMR 451.123*	Maintenance: Mold observed on ceiling

105 CMR 451.123*		Maintenance: Ceiling vent rusted

105 CMR 451.123		Maintenance: Ceiling paint damaged

1st Floor

Officer’s Station

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Staff Bathroom

105 CMR 451.123*		Maintenance: Wall damaged behind sink

Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

Inmate Bathroom

105 CMR 451.123	Maintenance: Partition damaged in toilet stall # 2

105 CMR 451.123	Maintenance: Wet mop stored in bucket

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

2nd Floor

Officer’s Station

No Violations Noted

Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

105 CMR 451.350*	Structural Maintenance: Ceiling damaged near bunk # 36 and 37

Inmate Bathroom

Unable to Inspect – In Use

New Gym

2nd Floor

Mezzanine

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Chemical Storage Room

Unable to Inspect - Locked

1st Floor

Mezzanine

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Gym

105 CMR 451.353	Interior Maintenance: Bench broken on Bleacher # 2

Inmate Bathroom

105 CMR 451.123	Maintenance: Handwash sink dirty

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 2

105 CMR 451.123	Maintenance: Cold water control stopper broken at handwash sink

105 CMR 451.123	Maintenance: Partitions rusted

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Canteen Storage

Unable to Inspect – Locked

C.O.’s Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Basement

Office

No Violations Noted

Optical Area

No Violations Noted

Inmate Bathroom

Unable to Inspect – In Use

Staff Bathroom

105 CMR 451.123	Maintenance: Paper towel holder cover missing

Janitor’s Closet

No Violations Noted

Tool Area # B-21

No Violations Noted

A Building

2nd Floor

CPO’s Office

No Violations Noted

Officer’s Station

No Violations Noted

South Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

South Showers

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

105 CMR 451.123	Maintenance: Ceiling light fixture rusted above showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 3 leaking

105 CMR 451.123	Maintenance: Walls dirty in shower # 3

Day Room

No Violations Noted

Slop Sink Room # 209

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Buffer Room # 212

No Violations Noted

Bathroom/Mop Room # 210

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, toilet out-of-order

Staff Bathroom # 211

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, single-use items stored on bathroom floor

West Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.350	Structural Maintenance: Window not weathertight, unable to fully close

105 CMR 451.103	Mattresses: Mattress damaged on bunk # 2

North Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked near bunk # 29 and 30

North Showers

105 CMR 451.123	Maintenance: Bottom of door rusted at entrance

105 CMR 451.123	Maintenance: Wall paint damaged in showers

105 CMR 451.123	Maintenance: Ceiling paint damaged above showers

1st Floor

Officer’s Area

No Violations Noted

Control Office

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

South Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

South Shower

105 CMR 451.123*	Maintenance: Countertop damaged at handwash sink

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Mold observed on walls in shower

105 CMR 451.123*	Maintenance: Mold observed on ceiling in shower

105 CMR 451.123*	Maintenance: Wall fan dusty in shower

105 CMR 451.123	Maintenance: Ceiling light fixture rusted

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1 leaking

Day Room

No Violations Noted

Slop Sink Closet # 110

No Violations Noted

Mop Closet # 111

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Staff Bathroom # 112

No Violations Noted

Tool Room # 113

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of ceiling

North Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.101	Blankets: Blanket damaged on bunk # 30

North Showers

Unable to Inspect – In Use

Basement (Unoccupied)

Unable to Inspect – Closed

B Building

105 CMR 451.360	Protective Measures: Bird droppings observed near entrance

1st Floor (Unoccupied)

Officer’s Area

No Violations Noted

Day Room

No Violations Noted

Staff Bathroom # 111

Unable to Inspect – In Use

Slop Sink Closet # 110

No Violations Noted

Tool Room # 113

No Violations Noted

Old Bathroom # 112

No Violations Noted

South Dorm

Unable to Inspect – Under Construction

South Showers

Unable to Inspect – Under Construction

2nd Floor (Unoccupied)

CPO’s Office

No Violations Noted

Officer’s Area

No Violations Noted

CO’s Office

No Violations Noted

Slop Sink Room # 210

105 CMR 451.353*	Interior Maintenance: Floor tiles missing

Staff Bathroom # 211

No Violations Noted

Slop Sink Closet # 212

No Violations Noted

Buffer Room # 213

No Violations Noted

Day Room

No Violations Noted

East Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

South Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

South Bathroom

Unable to Inspect – Under Construction

North Dorm

Unable to Inspect – Locked

North Bathroom

Unable to Inspect – Locked

Basement

Library

No Violations Noted

Law Library

105 CMR 451.353*	Interior Maintenance: Wall damaged

Inmate Bathroom

No Violations Noted

Storage Closets

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, no light in closet # B-23 and B-24

Mop Closet # B-26

105 CMR 451.353	Interior Maintenance: Handle broken on door

Staff Bathroom

No Violations Noted

B.S.M.U.

105 CMR 451.360		Protective Measures: Bird droppings observed near entrance

Control

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, utensils not stored in the inverted position

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F

105 CMR 451.123*		Maintenance: Ceiling vent dusty

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Floor tiles damaged near drain

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 leaking

105 CMR 451.123	Maintenance: Ceiling paint damaged

Storage Room

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of ceiling

Day Room

No Violations Noted

Triage Room

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Weight Room Building

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor damaged around toilet

Laurel Building

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

Basement

No Violations Noted

Dry Goods Storage

Unable to Inspect – Locked

Medication Room

Unable to Inspect – Locked

1st Floor

Offices # 113

No Violations Noted

Offices

No Violations Noted

Recreation Office # 108

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Bathroom # 109 (inside Recreation Office # 108)

No Violations Noted

Staff Bathroom # 107

No Violations Noted

Bathroom # 119

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

2nd Floor

Storage Rooms

No Violations Noted

Meeting Rooms

105 CMR 451.353	Interior Maintenance: Ceiling water stained in room # 4

3rd Floor

Unable to Inspect – Decommissioned

Juniper Building

1st Floor

Lock Shop

Unable to Inspect – Locked

Bathroom

No Violations Noted

Office and Storage

Unable to Inspect – Locked

Hallway

No Violations Noted

2nd Floor

Break Area

No Violations Noted

Armory Office

No Violations Noted

Locust Building

3rd Floor

Unable to Inspect – Locked

2nd Floor

Unable to Inspect – Locked

1st Floor

Day Room

No Violations Noted

Office

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Break Room

No Violations Noted

Bathroom (inside Break Room)

105 CMR 451.123	Maintenance: Baseboard damaged near handwash sink

Mop Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Bathroom

No Violations Noted

Kitchen

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

Main Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets dirty

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

Handwash Sink

FC 6-301.11*	Numbers and Capacity; Handwashing Sinks: No soap at handwash sinkPf

3-Compartment Sink

No Violations Noted

Dry Storage

No Violations Noted

Tool Storage

No Violations Noted

Basement

Storage Area

No Violations Noted

Assembly Building

Entrance

No Violations Noted

Auditorium

No Violations Noted

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Basement

Front Entrance

No Violations Noted

Rear Entrance

No Violations Noted

Bathroom

No Violations Noted

Mail Room

No Violations Noted

Mail Filing/Storage Room

105 CMR 451.353	Interior Maintenance: Floor damaged

Weight Room

105 CMR 451.353	Interior Maintenance: Padding damaged on equipment

Cedar Building (C.T.U.)

1st Floor

Kitchenette

No Violations Noted

Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling damaged

CTU Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, no functioning thermometer in refrigerator

Training Room

Unable to Inspect – Locked

Bathroom

No Violations Noted

2nd Floor

Hallway

No Violations Noted

EHSO Office

No Violations Noted

Bathroom

No Violations Noted

Offices

Unable to Inspect – Locked

Store House

2nd Floor

No Violations Noted

1st Floor

Inmate Bathroom

No Violations Noted

Receiving Area

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Loading dock damaged

Cooler # 1

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

PPE Storage (formally Locust Dry Storage)

No Violations Noted

Dry Storage

FC 6-101.11(A)(1)*	Materials for Construction and Repair; Indoor Areas: Floor surface not smooth and easily cleanable, floor paint damaged

FC 6-101.11(A)(1)*	Materials for Construction and Repair; Indoor Areas: Ceiling surface not smooth and easily cleanable, ceiling damaged

FC 6-101.11(A)(1)*	Materials for Construction and Repair; Indoor Areas: Wall surface not smooth and easily cleanable, wall paint damaged

Freezer # 1

No Violations Noted

Inmate Break Room

No Violations Noted

Freezer # 2

No Violations Noted

Freezer # 3

No Violations Noted

Staff Bathroom

No Violations Noted

Break Area

No Violations Noted

Basement

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Floor damaged

Bathroom

105 CMR 451.123*	Maintenance: Door glass damaged

Freezer # 4

No Violations Noted

Carpenter Shop

105 CMR 451.350*	Structural Maintenance: Windows damaged throughout

Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

Break Area

No Violations Noted

2nd Floor

Staff Gym

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Male Shower

105 CMR 451.123	Maintenance: Handicap showerhead attachment damaged

Female Shower

No Violations Noted

Power Plant

Back Room/Chemical Storage

No Violations Noted

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 900F at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.123	Maintenance: Urinal dirty

Water Sampling Sink (outside bathroom)

No Violations Noted

Break Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, small refrigerator door gasket damaged

Generator Room

105 CMR 451.130*	Plumbing: No backflow preventer on slop sink

Garage

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Shower

No Violations Noted

“Pig” Cooler

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, mold observed throughout area

105 CMR 451.353	Interior Maintenance: Lock broken on door

Tower # 1

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 780F at handwash sink

105 CMR 451.353*	Interior Maintenance: Baseboard heater damaged

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single service utensils not stored in the inverted position

Tower # 5

105 CMR 451.350*	Structural Maintenance: Window glass damaged

105 CMR 451.353	Interior Maintenance: Chair surface damaged

Post # 6

Unable to Inspect – Decommissioned

Vehicle Trap Tower

1st Floor

No Violations Noted

Bathroom

105 CMR 451.350	Structural Maintenance: Window damaged

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink

2nd Floor

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

3rd Floor

105 CMR 451.350*	Structural Maintenance: Windows damaged throughout

105 CMR 451.350*	Structural Maintenance: Door glass damaged

105 CMR 451.350	Structural Maintenance: Floor tiles damaged throughout

Vehicle Trap Gate House

No Violations Noted

Observations and Recommendations

- The inmate population was 663 at the time of inspection.

- During the kitchen inspection, the warewash machine did not reach the appropriate temperature to properly sanitize trays. As an interim measure, it was stated that the Kitchen staff would be manually sanitizing dishes/trays after they have been washed in the warewash machine.

- The CSP observed a meal cart being wrapped in plastic prior to distribution from the main kitchen to inmate workers in the Optical Shop located within the Laundry Building. The CSP recommends obtaining insulated food transportation carts to ensure all meals are protected from contamination during transportation around the premises and assist in maintaining proper holding temperatures for time/temperature control for safety foods.

- T-R.H.U Building 1st and 2nd floors were unoccupied at the time of inspection.

- B Building 1st and 2nd floors were undergoing renovations and were unoccupied at the time of inspection.

- G Building was closed and under renovation.

- The 2nd and 3rd floor minimum security housing units located in the Locust Building are temporarily closed. Inmates have been relocated to another facility.

- The Kitchen located in the Locust Building was closed at the time of the inspection.

- The Wheel Chair Shop was closed at the time of the inspection while repairs were being made to its roof.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kelli Poulin

Environmental Health Inspector, CSP, BEH