The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Climate and Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 508-665-3251

MAURA T. HEALEY

Governor

KIMBERLEY L. DRISCOLL

Lieutenant Governor

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

Tel: 617-624-6000

www.mass.gov/dph

September 26, 2023

Matthew Divris, Superintendent

NCCI Gardner

500 Old Colony Road

Gardner, MA 01440		(electronic copy)

Re: Facility Inspection – NCCI Gardner

Dear Superintendent Divris:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of NCCI Gardner on              September 11, 12, and 13, 2023 accompanied by Sergeant Mike Gallagher and Paul Trainque, Environmental Health and Safety Officers. Violations noted during the inspection are listed below including 150 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Sara Wolanski

Environmental Health Inspector, CSP, BCEH

cc: 	Robert Goldstein, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Kathleen E. Walsh, Secretary, Executive Office of Health and Human Services 		(electronic copy)

Carol A. Mici, Commissioner, DOC   							(electronic copy)

Terrence Reidy, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

Sergeant Mike Gallagher, EHSO/FSO							(electronic copy)

Paul Trainque, EHSO/FSO								(electronic copy)

Micah Blondeau, Director of Public Health, Gardner Health Department 			(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

C BUILDING

105 CMR 451.350	Structural Maintenance: Exterior entrance ramp and stairway damaged

Lobby

No Violations Noted

Female Bathroom

105 CMR 451.123	Maintenance: Baseboard lifting in stall #1

Male Bathroom

105 CMR 451.123*		Maintenance: Ceiling vent dusty

105 CMR 451.123		Maintenance: Ceiling vent paint peeling

105 CMR 451.123		Maintenance: Floor tiles damaged

Vending Machine Area

No Violations Noted

Basement – Outside

Storage Area (near elevator)

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Treasurer’s Office

No Violations Noted

2nd Floor – Outside

Break Area (near elevator)

No Violations Noted

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Administration

Unable to Inspect – In Use

Superintendent’s Office

Unable to Inspect – In Use

Superintendent’s Conference Room

Unable to Inspect – In Use

Superintendent’s Bathroom

Unable to Inspect – In Use

Control

Unable to Inspect – Locked

Break Area

Unable to Inspect – Locked

Bathroom

Unable to Inspect – Locked

Trap – Inside

No Violations Noted

Staff Area

No Violations Noted

Basement – Inside

Break Area

No Violations Noted

Cell # 1

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Cell # 2

No Violations Noted

Booking

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Male Staff Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Slop Sink/Urinal

No Violations Noted

Zoom Meeting Area (previously Training Area)

No Violations Noted

Offices

No Violations Noted

Inmate Clothing Storage Area

No Violations Noted

1st Floor

Roll Call Room

No Violations Noted

Offices

No Violations Noted

CPO Offices

No Violations Noted

Staff Bathroom (in CPO Office)

No Violations Noted

Slop Sink Closet

No Violations Noted

C Gate Records Area

Records Room

No Violations Noted

Records Break Room

No Violations Noted

File Room

No Violations Noted

Female Staff Bathroom

Unable to Inspect – Locked

2nd Floor

Offices

No Violations Noted

Deputy Superintendent’s Office

No Violations Noted

Conference Room

No Violations Noted

Janitor’s Closet

No Violations Noted

Bathroom # 26

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink drain not draining properly

Deputy’s Break Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single serve utensils not stored in the inverted position

Offices

No Violations Noted

THOMPSON HALL

Basement

Property

No Violations Noted

Staff Bathroom

No Violations Noted

Slop Sink Closet

No Violations Noted

Long Term Storage

No Violations Noted

Legal Storage Area

No Violations Noted

Annex Storage Area

105 CMR 451.353	Interior Maintenance: Ceiling leaking

Hallway

105 CMR 451.353	Interior Maintenance: Standing water on floor near biohazard room

Inmate Bathroom

No Violations Noted

Mop Room

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Medical Storage Rooms (Left and Right)

Unable to Inspect – Locked

Recycling Storage Area

No Violations Noted

Biohazard Storage

No Violations Noted

Move Team Room

Unable to Inspect – Locked

1st Floor

Staff Area

No Violations Noted

Staff Bathroom

No Violations Noted

Slop Sink Closet # 26

No Violations Noted

Buffer Room # 27

No Violations Noted

Mop Closet # 29

No Violations Noted

Storage # 21 (formally Ice Machine Room)

No Violations Noted

Med Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, excessive ice in freezer

South Wing

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 136, 140

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 136

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 158

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at handwash sink in

cell # 146

105 CMR 451.360	Protective Measures: Ants observed in cell # 136

Showers

105 CMR 451.123	Maintenance: Door paint damaged

105 CMR 451.123		Maintenance: Wall tiles damaged near toilet

105 CMR 451.123	Maintenance: shower curtains too short in all showers

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at handwash sink

105 CMR 451.123		Maintenance: Wall epoxy damaged in shower # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Floor damaged in shower # 5

105 CMR 451.123	Maintenance: Wall dirty in showers # 1, 2, 3, 4, and 5

105 CMR 451.123	Maintenance: Paint damaged on radiator cover

105 CMR 451.123	Maintenance: Window sill rusted

105 CMR 451.123	Maintenance: Standing water on floor

Day Room

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

North Wing

Hallway

105 CMR 451.353*	Interior Maintenance: Ceiling tile missing outside of cell # 107

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 113

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 112

105 CMR 451.353*	Interior Maintenance: Plastic observed on ceiling in cell # 113

105 CMR 451.350	Structural Maintenance: Leaking ceiling in cell # 113

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 103

Showers Shower # 5 Not in Use

105 CMR 451.123*	Maintenance: Floor tile damaged in shower # 1, 2, and 4

105 CMR 451.123*	Maintenance: Wall tile damaged in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Wall grout damaged in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Floor grout damaged in shower # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 1 and 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain damaged in shower # 1

105 CMR 451.123	Maintenance: Door damaged

105 CMR 451.123	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Radiator rusted

105 CMR 451.123	Maintenance: Tiles missing near radiator

Boss Chair Room

Unable to Inspect – Locked

Day Room and Offices

105 CMR 451.353*	Interior Maintenance: Chair damaged in Day Room

T-R.H.U. – 1st Floor – Unoccupied

Control

No Violations Noted

Control Bathroom

No Violations Noted

Cells

105 CMR 451.123	Maintenance: Toilet rusted

Shower

105 CMR 451.123*	Maintenance: Wall surface damaged outside shower

Slop Sink Closet

No Violations Noted

Recreation Deck

Unable to Inspect – Locked

T-R.H.U. – 2nd Floor– Unoccupied

Unable to Inspect – Locked

H.S.U.

Slop Sink Closet # 23

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Maintenance Closet # 26

No Violations Noted

Exam Room # 1 (X-Ray Processing)

105 CMR 451.353	Interior Maintenance: Floor tile damaged

105 CMR 451.353	Interior Maintenance: Chair damaged

Interview Room (located in Exam Room # 1)

No Violations Noted

Male Inmate Bathroom

No Violations Noted

Exam Room # 2

105 CMR 451.353	Interior Maintenance: Foot pedal broken on biohazard container

Male Bathroom (located in Exam Room # 2)

No Violations Noted

Exam Room # 3 (Trauma/Treatment Room)

No Violations Noted

Exam Room # 4

105 CMR 451.353	Interior Maintenance: Chair damaged

Exam Room # 5

No Violations Noted

Cell # A and B

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # A

Medical Records

No Violations Noted

Ward

No Violations Noted

Ward Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No cover on hand soap dispenser

Shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover not secure in shower # 1 and 2

Sharps Room

No Violations Noted

Break Room # 23

No Violations Noted

Dentist’s Office

No Violations Noted

Ambulance Hallway

No Violations Noted

Exam Room # 7

No Violations Noted

Female Staff Bathroom

No Violations Noted

Office Room # 30

Unable to Inspect – Locked

Slop Sink Closet # 31

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing in slop sink

Waiting Area

No Violations Noted

Thompson Hall – 2nd Floor

Staff Area

No Violations Noted

Staff Bathroom

No Violations Noted

Mental Health Office

No Violations Noted

RTU Group Room

105 CMR 451.353	Interior Maintenance: Ceiling tiles damaged

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Staff Bathroom

No Violations Noted

Janitors Closet # 2-11

No Violations Noted

Slop Sink Closet # 2-14

105 CMR 451.353*	Interior Maintenance: Ceiling tiles damaged outside of slop sink closet

South Wing

Hallway

Unable to Inspect –Under Construction

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 239

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 232, 241, and 245

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 233

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 249

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 236 and 252

105 CMR 451.353	Interior Maintenance: Baseboard damaged in cell # 238

Showers

105 CMR 451.123	Maintenance: Floor tiles damaged

105 CMR 451.123	Maintenance: Wall tile damaged throughout

105 CMR 451.123	Maintenance: Access panel rusted

105 CMR 451.123	Maintenance: Wall paint damaged in showers # 1, 2, 3, 4, and 5

105 CMR 451.123	Maintenance: Floor dirty in shower # 1 and 5

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 1

105 CMR 451.123	Maintenance: Ceiling damaged in shower # 4 and 5

Day Room

Unable to Inspect –Under Construction

Kitchenette

Unable to Inspect –Under Construction

East Wing

Hallway

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 263

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 268

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 269

Day Room

105-CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, food employee not wearing clean outer clothing

Showers

105 CMR 451.123*	Maintenance: Wall grout damaged in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Floor grout damaged in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Floor tile damaged in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Wall tile damaged in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Radiator cover rusted and damaged

105 CMR 451.123*	Maintenance: Window fan dusty

105 CMR 451.123	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Threshold damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Entrance to shower damaged at shower # 1

105 CMR 451.123	Maintenance: Wall dirty in shower # 2, 3, and 4

105 CMR 451.123	Maintenance: Drain flies outside shower # 4

105 CMR 451.123	Maintenance: Floor tile damaged throughout

North Wing

Hallway

No Violations Noted

Cells

105 CMR 451.320	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Baseboard damaged in cell # 203

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 212

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 211

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 207 and 211

105 CMR 451.123	Maintenance: Handwash sink dirty in cell # 215

Dayroom

No Violations Noted

Back Office

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Wall dirty in all showers

105 CMR 451.123	Maintenance: Floor dirty in all showers

105 CMR 451.123	Maintenance: Wall damaged in shower # 1, 2, 3, and 5

105 CMR 451.123	Maintenance: Mold on ceiling outside shower # 1, 2, and 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 3

105 CMR 451.123	Maintenance: Ceiling damaged in shower # 2, 3, 4, and 5

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 4

105 CMR 451.123	Maintenance: Floor dirty throughout

105 CMR 451.123	Maintenance: Standing water on floor

105 CMR 451.123	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Wall vent rusted

105 CMR 451.123	Maintenance: Window sill rusted

105 CMR 451.123	Maintenance: Radiator cover rusted

105 CMR 451.123	Maintenance: Wall tile damaged by door

Thompson Hall – 3rd Floor

Staff Area

No Violations Noted

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Buffer Room # 11

No Violations Noted

Dorm Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.353	Interior Maintenance: Wall damaged

Inmate Bathroom

105 CMR 451.121(A)*	Privacy: No privacy partition between toilets and handwash sink

South Wing

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 348

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 331 and 352

Showers

105 CMR 451.123	Maintenance: Wall tile damaged by door

105 CMR 451.123	Maintenance: Window fan dusty

105 CMR 451.123	Maintenance: Paint damaged on radiator

105 CMR 451.123	Maintenance: Paint damaged under window

105 CMR 451.123	Maintenance: Window sill rusted

105 CMR 451.123	Maintenance: Toilet dirty

105 CMR 451.123	Maintenance: Handwash sink dirty

105 CMR 451.123	Maintenance: Floor dirty throughout

105 CMR 451.123	Maintenance: Standing water on floor

105 CMR 451.123	Maintenance: Soap scum on floor in showers # 1, 2, 3, 4, and 5

105 CMR 451.123	Maintenance: No shower curtain in shower # 3

105 CMR 451.123	Maintenance: Floor dirty in shower # 5

105 CMR 451.123	Maintenance: Wall dirty in shower # 5

Day Room

No Violations Noted

Room # 3-04

No Violations Noted

East Wing

Hallway

105 CMR 451.353*	Interior Maintenance: Ceiling tiles surface damaged

Slop Sink Closet # 12

No Violations Noted

Mop Room # 15

Unable to Inspect – Locked

Buffer Room # 14

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 361 and 368

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 373, 374, and 377

Showers

105 CMR 451.123	Maintenance: Ceiling damaged throughout

105 CMR 451.123	Maintenance: Ceiling moldy throughout

105 CMR 451.123	Maintenance: Standing water on floor

105 CMR 451.123	Maintenance: Wall tile missing throughout

105 CMR 451.123	Maintenance: Floor tile missing throughout

105 CMR 451.123	Maintenance: Window sill paint damaged

105 CMR 451.123	Maintenance: Floor tile damaged in shower # 1, 2, and 4

105 CMR 451.123	Maintenance: Wall tile damaged in shower # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Wall grout damaged in shower # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Floor grout damaged in shower # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Soap scum on shower curtain in showers # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Shower curtain damaged in shower # 3

Day Room

No Violations Noted

Office # 2

No Violations Noted

North Wing

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in hallway

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 304 and 320

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 316

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 305, 308, 309, 313, and 325

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 305

Showers

105 CMR 451.123		Maintenance: Standing water on floor

105 CMR 451.123		Maintenance: Window fan dusty

105 CMR 451.123		Maintenance: Wall paint damaged by toilet

105 CMR 451.123		Maintenance: Radiator paint damaged

105 CMR 451.123		Maintenance: Floor dirty throughout

105 CMR 451.340	Illumination: Insufficient lighting, ceiling light out

105 CMR 451.123		Maintenance: Wall damaged in showers # 1, 2, 3, 4, and 5

105 CMR 451.123		Maintenance: Wall dirty in shower #1 and 5

105 CMR 451.123		Maintenance: Floor dirty in all showers

105 CMR 451.123		Maintenance: Curtain dirty in shower # 1

Day Room

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

D Building

2nd Floor

Storage Closet

No Violations Noted

DOS Office

Unable to Inspect – Locked

Offices

Unable to Inspect – Locked

Operations Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single serve utensils not stored in the inverted position

105 CMR 451.141	Screens: Screens damaged and missing in window # 2

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged near toilet

Janitor’s Closet

No Violations Noted

Administrative Assistant’s Office

Unable to Inspect – Locked

Deputy Superintendent’s Office

Unable to Inspect – Locked

Female Bathroom

No Violations Noted

Holding Cell

105 CMR 451.124	Water Supply: Excessive water pressure in handwash sink

IPS Office

Unable to Inspect – Locked

Urine Analysis Room (inside IPS Office)

Unable to Inspect – Locked

1st Floor

Inmate Bathroom

No Violations Noted

Strip Room

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No hand soap at handwash sink

Non-Contact Inmate Side

No Violations Noted

Inner-Control Room

Unable to Inspect – Locked

Inner-Control Bathroom

Unable to Inspect – Locked

Visiting Room

No Violations Noted

Vending Machine Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single service utensils not stored in the inverted position

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, exterior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Ice cream vending machine out-of-order

Non-Contact Visitor’s Side

No Violations Noted

Male Visiting Bathroom

No Violations Noted

Female Visiting Bathroom

105 CMR 451.1232	Maintenance: Baseboard damaged

105 CMR 451.123	Maintenance: Laminate damaged on side of countertop

Slop Sink Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Zoom Conference Room # 116

No Violations Noted

D Office

No Violations Noted

Bathroom

No Violations Noted

Basement

Inmate Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, mold observed in coffee pot

Staff Bathroom (inside Break Room)

No Violations Noted

Tool Crib

No Violations Noted

Plumbing Shop

No Violations Noted

Electrical Shop

No Violations Noted

Shop Area

No Violations Noted

Paint Room

No Violations Noted

General Maintenance Office

No Violations Noted

E Building

3rd Floor

Classrooms

No Violations Noted

Offices

No Violations Noted

Offices # 311

105 CMR 451.353	Interior Maintenance: Ceiling damaged above vent

Room # 313

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, freezer door broken inside refrigerator

Room # 308

No Violations Noted

Room # 309

No Violations Noted

Room # 310

No Violations Noted

Staff Bathroom # 305

105 CMR 451.123	Maintenance: Paper towel holder cover broken

Slop Sink Closet # 303

No Violations Noted

2nd Floor

Inmate Bathroom

No Violations Noted

Classroom

No Violations Noted

Slop Sink Closet # 26

No Violations Noted

Offices

No Violations Noted

Staff Bathroom

No Violations Noted

Officer’s Station/Staff Area # 213

105 CMR 451.353*	Interior Maintenance: Upholstery damaged on staff chair

Janitor’s Closet # 214

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Parole Office # 215

No Violations Noted

Barber Shop Office # 216

No Violations Noted

Barber Shop # 217

No Violations Noted

Waiting Area

No Violations Noted

Basement

Religious Chapels

105 CMR 451.350	Structural Maintenance: Windows broken in room # 115

Slop Sink Closet # 108

No Violations Noted

Classroom # 101

No Violations Noted

Room # 104

No Violations Noted

Room # 107

105 CMR 451.340	Illumination: Insufficient lighting, 3 lights out in the back

Office # 115

No Violations Noted

F Building

2nd Floor

Office

No Violations Noted

Showers

Unable to Inspect – In Use

Staff Bathroom # 224

105 CMR 451.123		Maintenance: Paper towel holder cover broken

A Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

B Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

C Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

D Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

Auxiliary Bathroom # 204

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123	Maintenance: Light fixture rusted

Bathroom

Unable to Inspect – In Use

Day Room

105 CMR 451.353	Interior Maintenance: Light shield missing

1st Floor

Office

No Violations Noted

Day Room

No Violations Noted

Shower

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Floor paint damaged throughout

Bathroom

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Ceiling vent loose

105 CMR 451.123	Maintenance: Sink leaking in handwash sink # 2, 3, and 5

105 CMR 451.123	Maintenance: Handwash sink # 1 damaged

105 CMR 451.123	Maintenance: Wet mop stored in bucket

Auxiliary Bathroom # 204

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink leaking

A Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

B Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

C Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

D Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

Staff Bathroom # 127

No Violations Noted

Basement

No Violations Noted

Dog Bathroom

105 CMR 451.123	Maintenance: Wall damaged in corner storage area

105 CMR 451.123	Maintenance: Ceiling damaged

Bathroom # F-B05

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1030F

105 CMR 451.110(A)		Hygiene Supplies at Toilet and Handwash Sink: No paper towel at handwash sink

NEADS Storage

No Violations Noted

Food Service Building

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Inmate Dining Hall

No Violations Noted

East Bathroom # 13

No Violations Noted

West Bathroom # 15

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Main Kitchen

Handwash Sink

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1350F at handwash sink

Slop Sink

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, cracked basin in slop sink

Serving Line

No Violations Noted

West Tray Room

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tile missing

FC 6-501.16*	Maintenance and Operation: Premises, Structure, Attachments, and Fixtures – Methods: Wet mop stored in bucket

East Tray Room

FC 4-703.11(B)*	Sanitization of Equipment and Utensils; Methods: Mechanical warewash machine does not achieve a utensil surface temperature of 160°F as measured by an irreversible registering temperature indicatorP, temperature recorded at 1440F

FC 4-501.15	Maintenance and Operation; Equipment: Warewashing machine not operating in accordance with manufacturer's instructions, wash and rinse gauge not in accordance with the data plate

FC 4-501.15	Maintenance and Operation; Equipment: Warewashing machine not operating in accordance with manufacturer's instructions, temperature gauge not labeled

Hot and Cold Holding Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair warmer gaskets dirty

Single Compartment Sink (right)

No Violations Noted

Single Compartment Sink (left)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Grille Area & Hoods

No Violations Noted

3-Compartment Sink

No Violations Noted

Pot/Tray Rack

No Violations Noted

Kettle Area

No Violations Noted

Food Prep Area/2-Compartment Sink

No Violations Noted

Food Prep Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling paint damaged above food prep tables

Single Compartment Sink (left)

No Violations Noted

2-Compartment Sink (right)

No Violations Noted

Dry Goods Storage

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged

Ice Machine

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice machine leaking

Reach-in Coolers (in Hallway)

No Violations Noted

Locked Storage (located in Dry Goods Storage Area)

No Violations Noted

Culinary Freezer

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, excessive ice build-up on floor and vent

Halal Cooler

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, cooler leaking

FC 6-201.11	Design, Construction, and Installation; Cleanability: Floors not smooth and easily cleanable

Cooler # C1

No Violations Noted

Cooler # C2

No Violations Noted

Cooler # C3

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rotten produce under shelves

Freezer # F-1 (near Staff Office)

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty under food storage racks

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, excessive ice build-up on floor

Staff Office

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Hallway/Stairway

No Violations Noted

Inmate Bathroom (rear of kitchen)

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Loading Dock

No Violations Noted

Pig Cooler

No Violations Noted

Staff Bathroom # 133

No Violations Noted

Staff Bathroom # 134

No Violations Noted

Janitors Closet # 135

No Violations Noted

Barrel Washing Room

No Violations Noted

Electrical Room

No Violations Noted

Food Manager’s Office

No Violations Noted

Tool Room

No Violations Noted

Handwash Sink

No Violations Noted

Bakery

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, wall fan dusty

Dry Storage

No Violations Noted

Slop Sink (located in Dry Storage)

No Violations Noted

Cooler # 4

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair refrigerator gaskets dirty

FC 3-501.17(A) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Refrigerated time/temperature control for safety food prepared on site not clearly marked indicating the date or day by which the food shall be consumed or discardedPf

FC 3-305.11(A)(2)	Preventing Contamination from the Premises; Food Storage: Food exposed to splash, dust, or other contamination, fans in cooler dusty

Culinary

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly; interior top of coffee maker dirty

Dry Goods Storage

No Violations Noted

Handwash Sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

FC 3-304.14(B)(1) 	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Wet cloth not stored in sanitizer solution

Dishwashing Station

No Violations Noted

Refrigerator

No Violations Noted

Handwash Sink

No Violations Noted

3-Compartment Sink

No Violations Noted

Stove Area

No Violations Noted

Mop Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Dining Area

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens missing from windows

Staff Bathroom

No Violations Noted

Inmate Bathroom\

No Violations Noted

Tool Room # 8

Unable to Inspect – Locked

Wheel Chair Shop

Unable to Inspect – Closed

Voc Ed Building

Main Area

No Violations Noted

Office

No Violations Noted

Small Engine Repair Room

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight, weather strip missing

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Welding Shop

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight, weather strip missing

Utility Room/Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored upside down

105 CMR 451.350	Structural Maintenance: Standing water on floor

Laundry Building

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged throughout laundry area

Compressor/Mattress Room

105 CMR 451.350*	Structural Maintenance: Several windows broken

Office

No Violations Noted

Inmate Bathroom

105 CMR 451.123		Maintenance: Floor damaged

Staff Bathroom (located inside Inmate Bathroom Area)

No Violations Noted

Linen Closet

No Violations Noted

Optical (in Laundry Building)

105 CMR 451.350*	Structural Maintenance: Windows damaged throughout

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight

Inmate Bathroom

105 CMR 451.123		Maintenance: Floor paint damaged

105 CMR 451.123		Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Wet mop stored in bucket

Work Area

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Toilet out-of-order

Office

No Violations Noted

Music Bunker

Unable to Inspect – Closed

G Building

105 CMR 451.353	Interior Maintenance: Wall damaged at top of stairwell

2nd Floor

Control

No Violations Noted

Dorm

No Violations Noted

Inmate Bathroom

Unable to Inspect – In Use

1st Floor

Control

No Violations Noted

Staff Bathroom

105 CMR 451.123		Maintenance: Floor damaged by toilet

Inmate Bathroom

Unable to Inspect –In Use

Dorm

No Violations Noted

Basement

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight

Telephone Area

No Violations Noted

CPO Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Floor tile damaged

Showers

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1270F at shower # 9

105 CMR 451.124	Water Supply: No water supplied to shower # 10

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 4, 8, and 9

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Wall damaged in shower # 1, 8, and 9

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 6, 7, and 10

105 CMR 451.123	Maintenance: Shower # 7 out-of-order

105 CMR 451.123	Maintenance: Floor damaged in shower # 8 and 10

105 CMR 451.123	Maintenance: Floor dirty in shower # 2 and 4

105 CMR 451.123	Maintenance: Wall damaged on far left

I Building

105 CMR 451.350	Structural Maintenance: Building exterior damaged

Control

No Violations Noted

Control Bathroom

105 CMR 451.123*		Maintenance: Ceiling vent dusty

East Side

Staff Bathroom (in Control)

No Violations Noted

Hallway (near Staff Bathroom)

No Violations Noted

CPO Office

No Violations Noted

Bathroom (in CPO Office)

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Floor damaged throughout

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 4

Showers

Unable to Inspect –In Use

Dorm

No Violations Noted

Storage Closet

105 CMR 451.353	Interior Maintenance: Ceiling tiles damaged

West Side

Sergeant’s Office

No Violations Noted

Bathroom (in Sergeant’s Office)

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover not secure in slop sink

Showers

105 CMR 451.123		Maintenance: Ceiling outside showers dirty

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Light fixtures rusted

105 CMR 451.123	Maintenance: Ceiling tile supports rusted

105 CMR 451.123	Maintenance: Floor damaged near floor drain

105 CMR 451.123	Maintenance: Shower # 4 out-of-order

Dorm

105 CMR 451.353                      Interior Maintenance: Ceiling vent blocked

Storage Closet

105 CMR 451.350	Structural Maintenance: Standing water on floor

H Building - Unoccupied

Basement

No Violations Noted

Telephone Room

No Violations Noted

Day Room

No Violations Noted

Office

No Violations Noted

Mop Room

No Violations Noted

Showers

No Violations Noted

1st Floor

Officer’s Station

No Violations Noted

Staff Bathroom

No Violations Noted

Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

Inmate Bathroom

Unable to Inspect –Under Construction

2nd Floor

Officer’s Station

No Violations Noted

Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

Inmate Bathroom

Unable to Inspect –Under Construction

New Gym

2nd Floor

Mezzanine

No Violations Noted

Chemical Storage Room

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

1st Floor

Entrance

No Violations Noted

Gym

No Violations Noted

Inmate Bathroom

105 CMR 451.117*	Toilet Fixtures: Toilet dirty in stall # 1

105 CMR 451.117	Toilet Fixtures: Toilet dirty in stall # 5

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1040F at handwash sink

105 CMR 451.110(A)		Hygiene Supplies at Toilet and Handwash Sink: No toilet paper

Staff Bathroom

105 CMR 451.110(A)		Hygiene Supplies at Toilet and Handwash Sink: No paper towel at handwash sink

Janitor’s Closet (in Staff Bathroom)

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Storage Room (previously Canteen)

Unable to Inspect – Locked

C.O.’s Office

No Violations Noted

Basement

Office

No Violations Noted

Optical Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with                105 CMR 590.000, microwave plate missing

Inmate Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F at handwash sink

Staff Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Basin cracked in slop sink

105 CMR 451.353	Interior Maintenance: Floor tile missing

Tool Area # B-21

No Violations Noted

A Building

2nd Floor

CPO’s Office

Unable to Inspect – Locked

Officer’s Station

No Violations Noted

South Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353                      Interior Maintenance: Ceiling vent blocked

South Showers

105 CMR 451.123	Maintenance: Wall paint damaged in showers

105 CMR 451.123		Maintenance: Wall damaged under sinks

105 CMR 451.123		Maintenance: Floor tile missing by floor drain

Day Room

No Violations Noted

Slop Sink Closet # 209

No Violations Noted

Buffer Room # 212

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

Bathroom/Mop Room # 210

105 CMR 451.123		Maintenance: Toilet moldy

105 CMR 451.123		Maintenance: Toilet out-of-order

Staff Bathroom # 211

No Violations Noted

West Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

North Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged in shower

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Bottom of partition damaged in toilet stall # 2 and 3

1st Floor

105 CMR 451.141	Screens: Screen damaged in stairwell

105 CMR 451.350	Structural Maintenance: Floor damaged outside room # 111, 112, and 113

Officer’s Station

No Violations Noted

Control Office

105 CMR 451.350	Structural Maintenance: Wall unfinished

South Dorm

105 CMR 451.320	Cell Size: Inadequate floor space in sleeping area

Inmate Bathroom

105 CMR 451.123	Maintenance: Wall damaged in shower area

105 CMR 451.123	Maintenance: Light frame rusted

105 CMR 451.123	Maintenance: Light out in shower area

105 CMR 451.123	Maintenance: Handwash sink damaged

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Ceiling vent rusted

105 CMR 451.123	Maintenance: Bottom of partition damaged in toilet stall # 1 and 2

105 CMR 451.123	Maintenance: Wet mop stored in bucket

Day Room

No Violations Noted

Slop Sink Closet # 110

105 CMR 451.353*	Interior Maintenance: Mold observed on wall

105 CMR 451.350	Structural Maintenance: Wall damaged

Mop Closet # 111

No Violations Noted

Staff Bathroom # 112

105 CMR 451.141	Screens: Screen damaged

Tool Room # 113

No Violations Noted

North Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353                      Interior Maintenance: Ceiling vent blocked

Inmate Bathroom

105 CMR 451.123	Maintenance: Handwash sink basin damaged

Basement (Unoccupied) – Future M.A.T. Program

Unable to Inspect – Under Construction

B Building - Unoccupied

1st Floor

CO’s Office

No Violations Noted

Officer’s Station

No Violations Noted

Lieutenant’s Office

No Violations Noted

Day Room

No Violations Noted

Staff Bathroom # 1-11

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1070F at handwash sink

Slop Sink Closet # 1-10

No Violations Noted

Bathroom # 1-12

No Violations Noted

Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

Inmate Bathroom

105 CMR 451.123	Maintenance: Light shield missing

105 CMR 451.123	Maintenance: Toilet # 2 out-of-order

2nd Floor

CO’s Office

Unable to Inspect – Locked

Officer’s Station

No Violations Noted

CPO’s Office

Unable to Inspect – Locked

Day Room

No Violations Noted

Slop Sink Closet # 2-10

No Violations Noted

Staff Bathroom # 2-11

No Violations Noted

Slop Sink Area # 2-12 (previously a Bathroom)

No Violations Noted

Buffer Room # 2-13

No Violations Noted

East Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

South Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353                      Interior Maintenance: Ceiling vent blocked

South Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

North Dorm

105 CMR 451.320*		Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353                      Interior Maintenance: Ceiling vent blocked

105 CMR 451.350	Structural Maintenance: Pooled standing water on floor

North Bathroom

No Violations Noted

Basement

105 CMR 451.353*	Interior Maintenance: Floor paint damaged throughout

Library

No Violations Noted

Law Library

105 CMR 451.353*	Interior Maintenance: Wall damaged

Inmate Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water control leaking at handwash sink

Storage Closets # B-23 and B-24

Unable to Inspect – Locked

Mop Closet # B-26

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Staff Bathroom

No Violations Noted

B.A.U.

Control

No Violations Noted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 870F

105 CMR 451.123	Maintenance: Paper towel dispenser broken

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Floor tiles damaged on step

Storage Room

No Violations Noted

Day Room

No Violations Noted

Triage Room

105 CMR 451.353	Interior Maintenance: Handwash sink beginning to rust

Rec Cages

No Violations Noted

Weight Room Building

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, spigot next to toilet leaking

105 CMR 451.353	Interior Maintenance: Padding damaged on machine # 20, 23, 29, 40, 41, 42, and 43

105 CMR 451.353	Interior Maintenance: Some machines out-of-order

Bathroom

No Violations Noted

Laurel Building

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

Basement

No Violations Noted

Storage Room

105 CMR 451.353	Interior Maintenance: Wall paint damaged

105 CMR 451.350	Structural Maintenance: Standing water on floor

Bathroom (in Dry Goods Storage)

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Medication Room

No Violations Noted

Triage Room

Unable to Inspect –Not Used

1st Floor

Offices

No Violations Noted

Recreation Office # 108

No Violations Noted

Bathroom # 109 (in Recreation Office # 108)

Unable to Inspect – Locked

Staff Bathroom # 107

No Violations Noted

Bathroom # 119

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

2nd Floor-Closed

Unable to Inspect – Decommissioned

3rd Floor-Closed

Unable to Inspect – Decommissioned

Juniper Building

1st Floor

Lock Shop

Unable to Inspect – Locked

Bathroom

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

Office and Storage

Unable to Inspect – Locked

Hallway

No Violations Noted

2nd Floor

Break Area

No Violations Noted

Armory Office

No Violations Noted

Hallway

105 CMR 451.353*	Interior Maintenance: Mold observed on wall

105 CMR 451.353*	Interior Maintenance: Mold observed on ceiling

Locust Building

3rd Floor

Unable to Inspect – Not in Use

2nd Floor

Unable to Inspect – Not in Use

1st Floor

Day Room

Unable to Inspect – Locked

Office

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Light shield damaged

Break Room

No Violations Noted

Bathroom (inside Break Room)

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Mop Closet

105 CMR 451.353*		Interior Maintenance: Wet mop stored upside down

Bathroom

No Violations Noted

Kitchen

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

Main Area

No Violations Noted

Handwash Sink

FC 6-301.11*	Numbers and Capacity; Handwashing Sinks: No soap at handwash sinkPf

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at handwashing sink, no paper towels

3-Compartment Sink

No Violations Noted

Dry Storage

No Violations Noted

Tool Storage

No Violations Noted

Basement

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair refrigerator gaskets dirty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, refrigerator floor dirty

Ice Machine

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Accumulation of soil/mold observed on interior surfaces of ice machine

Storage Area

No Violations Noted

Assembly Building

Entrance

No Violations Noted

Auditorium

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Basement

Front Entrance

No Violations Noted

Rear Entrance

No Violations Noted

Bathroom

No Violations Noted

Mail Room

Unable to Inspect – Locked

Mail Filing/Storage Room

Unable to Inspect – Locked

Weight Room

105 CMR 451.350	Structural Maintenance: Several windows broken

Cedar Building (C.T.U.)

1st Floor

Kitchenette

No Violations Noted

Bathroom (in Kitchenette)

No Violations Noted

CTU Office

Unable to Inspect – Locked

Training Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single service utensils not stored in the inverted position

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet fixture leaking

105 CMR 451.123	Maintenance: Paper towel holder broken

2nd Floor

Hallway

No Violations Noted

EHSO Office

No Violations Noted

Bathroom

No Violations Noted

Offices

Unable to Inspect – Locked

Store House

2nd Floor

105 CMR 451.350	Structural Maintenance: Standing water on floor by air compressors

FC 3-202.15	Sources, Specifications; Specifications for Receiving: Food packages not in good conditionPf, signs of rodent activity on cereal box

1st Floor

Inmate Bathroom

No Violations Noted

Receiving Area

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Loading dock damaged

Staff Break Area

No Violations Noted

Staff Bathroom

No Violations Noted

Cooler # 1

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, cooler unable to maintain proper temperature

Dry Storage

No Violations Noted

PPE Storage (formally Locust Dry Storage)

No Violations Noted

Freezer # 1

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, excessive ice in freezer on floor and food

Inmate Break Area

No Violations Noted

Freezer # 2

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, excessive ice in freezer on fan and food

Freezer # 3

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, excessive ice in freezer on wall

Basement

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350	Structural Maintenance: Exterior door not rodent and weathertight, weather strip missing

105 CMR 451.350	Structural Maintenance: Standing water on floor

Bathroom

105 CMR 451.126	Hot Water for Bathing and Hygiene: No water supplied to handwash sink

Freezer # 4

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, excessive ice build-up in freezer

Carpenter Shop

105 CMR 451.350	Structural Maintenance: Standing water on floor

105 CMR 451.350	Structural Maintenance: Exterior door not rodent and weathertight, weather strip missing

Bathroom

No Violations Noted

Break Area

No Violations Noted

Power Plant Maintenance Shop (next to Carpentry Shop)

105 CMR 451.124	Water Supply: No cold water supplied to utility sink

2nd Floor

Power Plant Engineering Office

No Violations Noted

Staff Bathroom (in Power Plant Engineering Office)

105 CMR 451.353	Interior Maintenance: Outlet covers missing

Carpentry Shop Storage Room

No Violations Noted

Staff Gym

No Violations Noted

Male Bathroom

105 CMR 451.123	Maintenance: Paper towel dispenser broken

Female Bathroom

No Violations Noted

Slop Sink Closet

No Violations Noted

Female Shower

105 CMR 451.123	Maintenance: Floor dirty in shower # 1 and 2

105 CMR 451.123	Maintenance: Curtain missing in shower # 2

Male Shower

105 CMR 451.123	Maintenance: Curtain missing in shower # 2

Power Plant

Back Room/Chemical Storage

No Violations Noted

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 920F at handwash sink

105 CMR 451.123*	Maintenance: Access panel not secured outside shower

105 CMR 451.123*	Maintenance: Urinal dirty

Water Sampling Sink (outside Bathroom)

No Violations Noted

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, sponges used on cleaned, sanitized, or in use food contact surfaces

Generator Room

No Violations Noted

Garage

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Shower

Unable to Inspect –Not Used

“Pig” Cooler

No Violations Noted

Tower # 1

105 CMR 451.353	Interior Maintenance: Walls unfinished on first floor

Tower # 5

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single service utensils not stored in the inverted position

Vehicle Trap Tower

1st Floor

No Violations Noted

Bathroom

105 CMR 451.350*	Structural Maintenance: Window damaged

2nd Floor

105 CMR 451.353	Interior Maintenance: Ceiling beams corroded

Bathroom

No Violations Noted

3rd Floor

105 CMR 451.350*	Structural Maintenance: Windows damaged

105 CMR 451.350*	Structural Maintenance: Door glass damaged

Vehicle Trap Gate House

No Violations Noted

Observations and Recommendations

- The inmate population was 708 at the time of inspection.

- The kitchen exhaust system was not in compliance with the provisions for inspection, cleaning and labeling required by 527 CMR 11.00 Commercial Cooking Operations. The CSP recommends you contact the Department of Fire Services for further information.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Sara Wolanski

Environmental Health Inspector, CSP, BCEH