The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-695-7446

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Acting Commissioner

Tel: 617-624-6000

www.mass.gov/dph

October 13, 2021

Matthew Divris, Superintendent

NCCI Gardner

500 Old Colony Road

Gardner, MA 01440			(electronic copy)

Re: Facility Inspection – NCCI Gardner

Dear Superintendent Divris:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and

105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of NCCI Gardner on September 21, 24, 27, and 30th 2021, accompanied by Mike Gallagher and Maurice Campbell, Environmental Health and Safety Officers. Violations noted during the inspection are listed below including 210 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Kelli Poulin

Environmental Health Inspector, CSP, BEH

cc:	Margret R. Cooke, Acting Commissioner, DPH

Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 			(electronic copy)

Carol A. Mici, Commissioner, DOC							(electronic copy)

Terrence Reidy, Acting Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

Mike Gallagher, EHSO									(electronic copy)

Maurice Campbell, EHSO									(electronic copy)

Jennifer Susen-Roy, Health Director, Gardner Health Department				(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

C BUILDING

Lobby

Female Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 940F at handwash sink

Male Bathroom

105 CMR 451.123*		Maintenance: Ceiling vent dusty

Vending Machine Area

No Violations Noted

Basement – Outside

Storage Area (near elevator)

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Male Bathroom

105 CMR 451.123		Interior Maintenance: Light shield(s) missing

Female Bathroom

No Violations Noted

Treasurer’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

2nd Floor – Outside

Conference Room

No Violations Noted

Break Area (near elevator)

No Violations Noted

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Administration

No Violations Noted

Superintendent’s Office

No Violations Noted

Superintendent’s Conference Room

No Violations Noted

Superintendent’s Bathroom

105 CMR 451.123*		Maintenance: Ceiling vent dusty

Control

Break Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Bathroom

105 CMR 451.123*		Maintenance: Wall damaged near toilet

105 CMR 451.126	Hot Water: Hot water temperature recorded at 980F at handwash sink

Trap – Inside

No Violations Noted

Staff Area

No Violations Noted

Basement – Inside

Break Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single service utensils not stored in the inverted position

Cell # 1

No Violations Noted

Cell # 2

No Violations Noted

Booking

No Violations Noted

Male Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 940F at handwash sink

Slop Sink/Urinal

No Violations Noted

Training Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single service utensils not stored in the inverted position

Property # 52A

Unable to Inspect – Locked

1st Floor

Roll Call Room

No Violations Noted

Offices

No Violations Noted

Records Room

Unable to Inspect – Locked

Records Break Room

No Violations Noted

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Male Staff Bathroom (located in Hallway)

No Violations Noted

CPO Offices

No Violations Noted

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

2nd Floor

Offices

No Violations Noted

Deputy Superintendent’s Office

No Violations Noted

Conference Room

No Violations Noted

Janitor’s Closet

No Violations Noted

Bathroom # 26

Unable to Inspect – In Use

Break Room

No Violations Noted

Offices

No Violations Noted

THOMPSON HALL

Basement

Property

No Violations Noted

Staff Bathroom

No Violations Noted

Slop Sink Room

No Violations Noted

Long Term Storage

No Violations Noted

Legal Storage Area

No Violations Noted

Hallway

No Violations Noted

Inmate Bathroom

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink

Mop Room

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water in mop bucket

Biohazard Storage

No Violations Noted

Recycling Storage Room

No Violations Noted

1st Floor

Staff Area

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Staff Bathroom

No Violations Noted

Slop Sink Room # 26

No Violations Noted

Storage # 21 (formally Ice Machine Room)

No Violations Noted

Medline Room (medication room)

No Violations Noted

South Wing

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 141, 143, and 145

Bathroom

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1, 2, 3, and 5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1-5

105 CMR 451.123	Maintenance: Wall damaged in shower # 1-5

105 CMR 451.123	Maintenance: Wall damaged above heater

105 CMR 451.123	Maintenance: Wall tiles damaged near toilet

105 CMR 451.123	Maintenance: Window vent dusty

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1210F in shower # 4

Day Room

No Violations Noted

North Wing

Mop Closet # 29

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Buffer Room # 27

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 113, 115, and 121

Bathroom

Unable to Inspect - In Use

Day Room and Offices

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

T-R.H.U. – 1st Floor –

Unable to Inspect – Quarantine Area

T-R.H.U. – 2nd Floor

Unable to Inspect – Quarantine Area

H.S.U.

Unable to Inspect – Quarantine Area

Waste Shipping Logs

105 CMR 480.500(H)	Procedures; Records; Record-Keeping Log: Generator did not maintain copies of shipping papers and tracking forms with record keeping log for at least 375 days, incomplete waste shipping documents

Thompson Hall – 2nd Floor

Staff Area

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Mental Health Office

No Violations Noted

Mental Health Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling light shield missing

105 CMR 451.123*	Maintenance: Sink vanity damaged

South Wing

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Showers

Unable to Inspect – In Use

Day Room

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

105 CMR 451.353                      Interior Maintenance: Light shield damaged

East Wing

Hallway

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Slop Sink # 11

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Slop Sink # 14

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 264

Day Room

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Wall tiles damaged in shower # 1-4

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1-4

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1-4

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1-4

105 CMR 451.123	Maintenance: Window vent dusty

North Wing

Janitor’s Closet # 2-15

105 CMR 451.353*	Interior Maintenance: Wall tiles damaged

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Shower

105 CMR 451.123	Maintenance: Floor drain covers not secure near toilet

105 CMR 451.123	Maintenance: Window vent dusty

105 CMR 451.123*		Maintenance: Wall tile damaged near entrance

105 CMR 451.123	Maintenance: Wall damaged in shower # 1, 2, and 5

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1-5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1-5

Day Room

No Violations Noted

Thompson Hall – 3rd Floor

Staff Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, damaged thermometer in refrigerator

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1340F at handwash sink

Dorm Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Inmate Bathroom

105 CMR 451.121(A)*	Privacy: No privacy partition between toilets and handwash sink

105 CMR 451.123	Maintenance: Handwash sink # 2 dirty

105 CMR 451.123	Maintenance: Ceiling vent damaged

South Wing

Cells

105 CMR 451.320	Cell Size: Inadequate floor space in all cells

Showers

105 CMR 451.123	Maintenance: Floor damaged outside shower

105 CMR 451.123	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Floor drain cover not secured in shower # 1-5

105 CMR 451.123	Maintenance: Window vent dusty

105 CMR 451.123		Maintenance: Wall tile damaged near door

105 CMR 451.123	Maintenance: Wall damaged in shower # 1-5

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1-5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1-5

Day Room

No Violations Noted

East Wing

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 362 and 363

105 CMR 451.353	Interior Maintenance: Ceiling tiles damaged outside cell # 371

Slop Sink Room # 12

No Violations Noted

Hallway

No Violations Noted

Mop Room # 15

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Buffer Room # 14

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Floor tiles damaged outside shower # 4

105 CMR 451.123	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Wall tiles damaged in shower # 1-4

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 4

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 4

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1, 2, and 4

Day Room

No Violations Noted

Office # 2

No Violations Noted

North Wing

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 319

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 321

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Showers

105 CMR 451.123*	Maintenance: Walls damaged in shower # 1-5

105 CMR 451.123	Maintenance: Floor drain covers not secure in shower # 2, 3, 4, and 5

105 CMR 451.123	Maintenance water on floor outside showers

105 CMR 451.123	Maintenance: Window vent dusty

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1-5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1-5

Janitor’s Closet # 11

No Violations Noted

Day Room

No Violations Noted

D Building

2nd Floor

Storage Closet

No Violations Noted

DOS Office

Unable to Inspect – Locked

Operations Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single serve utensils not stored in the inverted position

Male Staff Bathroom

105 CMR 451.123*		Maintenance: Wall damaged behind sink

105 CMR 451.123	Maintenance: Window vent dusty

Mop Closet

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Administrative Assistant’s Office

Unable to Inspect – Locked

Deputy Superintendent’s Office

Unable to Inspect – Locked

Female Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 880F at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink not draining

Holding Cell

No Violations Noted

IPS Office

No Violations Noted

1st Floor

Bathroom

No Violations Noted

Strip Room

No Violations Noted

Non-Contact Inmate Side

105 CMR 451.353*                    Interior Maintenance: Light shield missing

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Inner-Control Room

No Violations Noted

Inner-Control Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 740F at handwash sink

Visiting Room

No Violations Noted

Vending

105 CMR 451.353	Interior Maintenance: Floor tiles damaged near vending machine

Non-Contact Visitor’s Side

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single service utensils not stored in the inverted position

Male Visiting Bathroom

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash sink

Female Visiting Bathroom

No Violations Noted

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

D Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Staff Bathroom (near D Office)

No Violations Noted

Basement

Inmate Bathroom

105 CMR 451.123	Maintenance: Floor damaged

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of refrigerator dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Staff Bathroom (located within Break Room)

No Violations Noted

Tool Crib

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Plumbing Shop

No Violations Noted

Electrical Shop

No Violations Noted

Shop Area

No Violations Noted

Paint Room

No Violations Noted

E Building

2nd Floor

Classroom

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in Classroom # 302

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in Classroom # 315, and 317

Offices

No Violations Noted

Offices # 311

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single service utensils not stored in the inverted position

Room # 313

No Violations Noted

Room # 308

No Violations Noted

Room # 309

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

Staff Bathroom # 305

105 CMR 451.123*		Maintenance: Ceiling vent dusty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 720F at handwash sink

Slop Sink Room # 303

No Violations Noted

1st Floor

Staff Bathroom # 204

105 CMR 451.123*	Maintenance: Window pane broken

Classrooms

No Violations Noted

Janitor’s Closet # 203

No Violations Noted

Offices

No Violations Noted

Inmate Bathroom # 205

105 CMR 451.123*	Maintenance: Floor paint damaged throughout

105 CMR 451.123*	Structural Maintenance: Window sill damaged

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 720F at handwash sink

Officer’s Station/Staff Area # 213

No Violations Noted

Janitor’s Closet # 214

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Barber Shop Waiting Room

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Barber Shop

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 780F

Basement

Religious Chapels

No Violations Noted

Slop Sink # 108

No Violations Noted

Classroom # 101

No Violations Noted

Job Assignment Office

Unable to Inspect - In Use

Office # 115

No Violations Noted

F Building

2nd Floor

Office

No Violations Noted

Auxiliary Bathroom # 204

Unable to Inspect – In Use

Staff Bathroom # 224

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

A Dorm

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

B Dorm

105 CMR 451.353*	Interior Maintenance: Window damaged near bunk # 6

105 CMR 451.353*	Interior Maintenance: Window damaged near bunk # 8

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

C Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

D Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

Showers

105 CMR 451.123	Maintenance: Mold observed on walls in shower

105 CMR 451.123*	Maintenance: Walls damaged

105 CMR 451.123*	Maintenance: Floor damaged

Bathroom

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, sink # 5 out of service

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, urinal # 3 out of service

105 CMR 451.123		Maintenance: Wall damaged

105 CMR 451.123		Maintenance: Ceiling damaged

105 CMR 451.123	Interior Maintenance: Wet mop stored in bucket

Day Room

105 CMR 451.350*		Structural Maintenance: Ceiling water damaged

1st Floor

Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Day Room

105 CMR 451.353                      Interior Maintenance: Light shield(s) missing

Shower

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Walls damaged

105 CMR 451.123*	Maintenance: Floor drain cover not secured

Bathroom

105 CMR 451.123	Maintenance: Counter top damaged near sink #1

Auxiliary Bathroom # 204

105 CMR 451.123*	Maintenance: Mold observed on walls

105 CMR 451.123*	Maintenance: Floor paint damaged

A Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

B Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

C Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

D Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353                      Interior Maintenance: Light shield(s) missing near cell # 5

Staff Bathroom # 127

105 CMR 451.350*	Structural Maintenance: Exterior concrete ramp damaged near Staff Bathroom entrance door

105 CMR 451.123	Maintenance: Wet mop stored in bucket

Basement

Dog Bathroom

No Violations Noted

Bathroom # F-B05

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

NEADS Storage

No Violations Noted

Food Service Building

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Inmate Dining Hall

No Violations Noted

East Bathroom # 13

105 CMR 451.123*		Maintenance: Ceiling vent dusty

West Bathroom # 15

No Violations Noted

Main Kitchen

Serving Line

FC 4-901.11(A)	Protection of Clean Items; Drying: Cleaned, sanitized serving trays stored wet and not allowed to fully air dry

West Tray Room

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the mechanical warewashing machine, temperature recorded at 1530F

East Tray Room

No Violations Noted

Handwash Sink

FC 5-202.12(A)	Plumbing System; Design, Construction and Installation: Insufficient hot water temperature at handwashing sink, temperature recorded at 820F

Hot and Cold Holding Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair refrigerator gaskets dirty

Single Compartment Sink (right)

No Violations Noted

Single Compartment Sink (left)

FC 3-304.14(B)(1) 	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Wet cloth not stored in sanitizer solution

Grille Area & Hoods

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than the manufacturers recommended concentration

3-Compartment Sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair: Faucet fixture leaking

Pot/Tray Rack

FC 4-903.11(B)(2) 	Protection of Clean Items; Storing: Equipment and Utensils not stored covered or inverted

Kettle Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles water damaged

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, Floor tiles damaged under kettle

Food Prep Area/2-Compartment Sink

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, hot water valve leaking

Food Prep Area

No Violations Noted

Single Compartment Sink (left)

No Violations Noted

2-Compartment Sink (right)

No Violations Noted

Dry Goods Storage

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty under food storage racks

Ice machine

No Violations Noted

Freezer # F-1 (located within Dry Goods Storage Area)

FC 4-602.13	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces dirty, floor dirty under racks

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly: Ice buildup on ceiling

Locked Storage (located within Dry Goods Storage Area)

No Violations Noted

Halal Cooler

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty under food storage racks

Cooler # C1

No Violations Noted

Cooler # C2

No Violations Noted

Cooler # C3

No Violations Noted

Freezer # 1

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty under food storage racks

Staff Office

FC 4-903.11(B)(2)* 	Protection of Clean Items; Storing: Equipment and Utensils not stored covered or inverted

Hallway/Stairway

No Violations Noted

Inmate Bathroom (rear of kitchen)

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 870F at handwash sink

105 CMR 451.123		Maintenance: Floor tiles damaged

105 CMR 451.123		Maintenance: Ceiling vent dusty

Loading Dock

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Exterior door not

tight-fitting

Pig Cooler

FC 6-201.11*	Design, Construction, and Installation; Cleanability: Walls not smooth and

easily cleanable

Staff Bathroom # 133

No Violations Noted

Staff Bathroom # 134

No Violations Noted

Janitors Closet # 135

105 CMR 451.353		Interior Maintenance: Unlabeled chemical bottle

Barrel Washing Room

FC 5-205.15(B)			Plumbing System, Operations and Maintenance: Plumbing system not maintained in 					good repair, drain cover loose in slop sink

Electrical Room

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

FC 3-305.12	Preventing Contamination from the Premises; Food Storage: Food stored in mechanical room

Food Manager’s Office

No Violations Noted

Tool Room

No Violations Noted

Handwash Sink

No Violations Noted

Bakery

FC 6-501.14	Maintenance and Operation; Cleaning: Floor fan dusty

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than the manufacturers recommended concentration

FC 6-501.16	Maintenance and Operation: Premises, Structure, Attachments, and Fixtures - Methods; wet mop stored in bucket

Dry Storage

FC 7-101.11 	Labeling and Identification, Original Containers: Container of poisonous/toxic materials missing legible manufacturer's label

Slop Sink (located within Dry Storage)

No Violations Noted

Cooler # 4

No Violations Noted

Culinary

Dry Goods

No Violations Noted

Handwash Sink

No Violations Noted

Dishwashing Station

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the mechanical warewashing machine, temperature recorded at 1520F

Refrigerator

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair refrigerator gaskets dirty

Handwash Sink

No Violations Noted

3-Compartment Sink

No Violations Noted

Stove Area

No Violations Noted

Mop Closet

105 CMR 451.353		Interior Maintenance: Light shield(s) missing

Serving Line

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution lesser than the manufacturers recommended concentration

Dining Line

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom\

No Violations Noted

Tool Room # 8

No Violations Noted

Wheel Chair Shop

Unable to Inspect – Closed

Voc Ed Building

Main Area

105 CMR 451.350		Structural Maintenance: Ceiling tiles damaged

Office

No Violations Noted

Garage

No Violations Noted

Inmate Bathroom

105 CMR 451.353                      Interior Maintenance: Light shield(s) missing

Staff Bathroom

No Violations Noted

Welding Shop

105 CMR 451.353                      Interior Maintenance: Light shield(s) missing

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, hot water leaking at utility sink

Laundry Building

105 CMR 451.350*	Structural Maintenance: Ceiling damaged throughout laundry area

Compressor Room

No Violations Noted

Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, utensils not stored in the inverted position

Bathroom

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

Mattress Room

No Violations Noted

Linen Closet

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of ceiling

Staff Bathroom

105 CMR 451.123	Maintenance: Wet mop stored in bucket

Optical (within laundry building)

Inmate Bathroom

Unable to Inspect – In Use

Work Area

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Wet mop stored in bucket

105 CMR 451.123	Maintenance: Light shield(s) missing outside bathroom

Office

No Violations Noted

Music Bunker

Unable to Inspect – Closed

G Building

2nd Floor

Control

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Dorm

105 CMR 451.141*	Screens: Screens damaged throughout

105 CMR 451.353*	Interior Maintenance: Window balances damaged throughout

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353*	Interior Maintenance: Floor tile damaged throughout

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123*	Maintenance: Sink counter top damaged

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink # 3

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, water runs continuously at sink # 1

105 CMR 451.123	Maintenance: Wet mop heads stored under handwash sink

105 CMR 451.123*	Maintenance: Ceiling damaged

1st Floor

Control

105 CMR 451.353*	Interior Maintenance: Countertop damaged

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 870F at handwash sink

Inmate Bathroom

Unable to Inspect – In Use

Dorm

105 CMR 451.353*	Interior Maintenance: Window balances damaged throughout

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.141*	Screens: Screens damaged throughout

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

Basement

Telephone Area

105 CMR 451.353*	Interior Maintenance: Metal stair edging damaged and loose

Tool Chest

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Office

No Violations Noted

Showers

Unable to Inspect Shower - In Use

I Building

East Side

Staff Bathroom

No Violations Noted

Hallway (near staff bathroom)

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Office

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Drain cover not secure in slop sink

105 CMR 451.123	Maintenance: Floor damaged outside showers near drain

105 CMR 451.123	Maintenance: Sink counter top damaged

105 CMR 451.121(A)		Privacy: No privacy curtain in shower # 1

Showers

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 920F

105 CMR 451.123*	Maintenance: Ceiling light fixture rusted

105 CMR 451.123*	Maintenance: Floor damaged outside showers near drain

Dorm

No Violations Noted

Storage Closet

105 CMR 451.353	Interior Maintenance: Wet mop hung upside down

West Side

Control Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Control Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1370F at handwash sink

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

105 CMR 451.123		Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Wet mop hung improperly to dry

Sergeant’s Office

No Violations Noted

Staff Bathroom

105 CMR 451.123		Maintenance: Missing light switch cover

105 CMR 451.123	Maintenance: Wall damaged near slop sink

Inmate Bathroom

105 CMR 451.123*	Maintenance: Floor damaged near urinals

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1540F at handwash sink # 1

Showers

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 3, 4, 5, and 6

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3, 4, 5, 6, and 7

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 2, 3, 4, 5, 6, and 7

105 CMR 451.123*	Maintenance: Curtain missing in shower # 2

105 CMR 451.123		Maintenance: Mold observed on ceiling outside of showers

105 CMR 451.123		Maintenance: Floor damaged near drain outside showers

Dorm

105 CMR 451.353*	Interior Maintenance: Wall damaged near bunk # 12

Storage Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

H Building

Basement

105 CMR 451.353*	Interior Maintenance: Metal stair nosing damaged and loose

Telephone Room

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Day Room

105 CMR 451.353*	Interior Maintenance: Wall damaged near heater

Office

No Violations Noted

Mop Room

No Violations Noted

Showers

105 CMR 451.123		Maintenance: Floor tiles damaged outside showers

105 CMR 451.123		Maintenance: Sink counter top damaged throughout

105 CMR 451.123		Maintenance: Walls damaged behind handwash sinks

105 CMR 451.123		Maintenance: Walls damaged in showers

105 CMR 451.123	Maintenance: Mold observed on shower walls

105 CMR 451.123		Maintenance: Soap scum on shower curtains throughout

105 CMR 451.123	Maintenance: Mold observed on ceiling

105 CMR 451.123		Maintenance: Ceiling vent rusted

1st Floor

Officer’s Station

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Staff Bathroom

105 CMR 451.123		Maintenance: Ceiling vent dusty

105 CMR 451.123		Maintenance: Wall damaged behind sink

Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

105 CMR 451.353*	Interior Maintenance: Window balances damaged throughout

105 CMR 451.141*	Screens: Screens missing near bunk # 11 and 30

Inmate Bathroom

Unable to Inspect – In Use

2nd Floor

Officer’s Station

No Violations Noted

Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

105 CMR 451.141*	Screens: Screens damaged throughout

105 CMR 451.353*	Interior Maintenance: Window balances damaged throughout

105 CMR 451.350	Structural Maintenance: Ceiling damaged near bunk # 36 and 37

Inmate Bathroom

105 CMR 451.123*	Maintenance: Entrance door rotted

105 CMR 451.123*	Maintenance: Floor damaged outside Inmate Bathroom

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Sink counter top damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 3

New Gym

2nd Floor

Loft

105 CMR 451.350*	Structural Maintenance: Ceiling and walls water damaged

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Chemical Storage Room

Unable to Inspect - Locked

1st Floor

Mezzanine

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Gym

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Canteen Storage

Unable to Inspect – Locked

C.O.’s Office

No Violations Noted

Basement

Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Optical Area

No Violations Noted

Inmate Bathroom

105 CMR 451.350*	Structural Maintenance: Ceiling damaged over toilets

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Floor damaged

Staff Bathroom

105 CMR 451.123		Maintenance: Ceiling vent dusty

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wall damaged behind sink basin

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Tool Area # B-21

No Violations Noted

A Building

2nd Floor

CPO’s Office

No Violations Noted

CO’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Officer’s Station

No Violations Noted

South Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

South Showers

Unable to Inspect – In Use

Day Room

No Violations Noted

Slop Sink Room # 209

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Buffer Room # 212

No Violations Noted

Bathroom/Mop Room # 210

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, toilet out of order

Staff Bathroom # 211

No Violations Noted

West Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

North Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

North Showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink # 4 damaged

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

105 CMR 451.123	Maintenance: Ceiling vent dusty above toilet

105 CMR 451.123*	Maintenance: Floor drain cover not secure outside of shower

1st Floor (Unoccupied)

Officer’s Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, utensils not stored in the inverted position

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Control Office

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

South Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, standing water on floor

South Shower

105 CMR 451.123*	Maintenance: Sink countertop damaged

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Mold observed on walls in shower

105 CMR 451.123*	Maintenance: Mold observed on ceiling in shower

105 CMR 451.123*	Maintenance: Wall fan dusty in shower

105 CMR 451.123	Maintenance: Ceiling light fixture rusted

Day Room

No Violations Noted

Slop Sink Closet # 110

No Violations Noted

Mop Closet # 111

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Staff Bathroom # 112

105 CMR 451.123*	Maintenance: Unlabeled chemical bottle

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Tool Room # 113

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

North Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

North Showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink # 3 damaged

105 CMR 451.123	Maintenance: Mold observed on walls in all showers

105 CMR 451.123	Maintenance: Mold observed on ceiling throughout

105 CMR 451.123	Maintenance: Wall paint damaged in all showers

105 CMR 451.123	Maintenance: Shower facilities dirty in all showers

Basement (Unoccupied)

Unable to Inspect – Closed

B Building

1st Floor (Unoccupied)

Officer’s Area

No Violations Noted

Day Room

No Violations Noted

Staff Bathroom # 111

No Violations Noted

Slop Sink Closet # 110

No Violations Noted

Tool Room # 113

No Violations Noted

Old Bathroom # 112

No Violations Noted

South Dorm

Unable to Inspect - Locked

South Showers

Unable to Inspect – Locked

2nd Floor (Unoccupied)

CPO’s Office

No Violations Noted

Officer’s Area

No Violations Noted

CO’s Office

No Violations Noted

Slop Sink Room # 210

105 CMR 451.353*	Interior Maintenance: Floor tiles missing

105 CMR 451.353*	Interior Maintenance: Incomplete wall repairs

Staff Bathroom # 211

No Violations Noted

Slop Sink Closet # 212

No Violations Noted

Buffer Room # 213

No Violations Noted

Day Room

No Violations Noted

East Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

South Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

South Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, basin damaged

at handwash sink # 1 and 4

105 CMR 451.123	Maintenance: Wet mop stored in bucket

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower #1, 2, and 5 out-of-order

105 CMR 451.123*	Maintenance: Mold observed on ceiling throughout

105 CMR 451.123	Maintenance: Wall ventilation fan dusty

105 CMR 451.123	Maintenance: Floor dirty

North Dorm

105 CMR 451.353	Interior Maintenance: Floor dirty at entrance

105 CMR 451.353*                    Interior Maintenance: Ceiling vents blocked

105 CMR 451.320*		Cell Size: Inadequate floor space in sleeping area

North Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower fixture # 4 damaged

105 CMR 451.123*	Maintenance: Ceiling paint damaged in all showers

105 CMR 451.123*	Maintenance: Ceiling light fixture rusted

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1160F

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

Basement

Library

No Violations Noted

Law Library

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Inmate Bathroom

No Violations Noted

Mop Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Staff Bathroom

No Violations Noted

B.S.M.U.

Control

No Violations Noted

Staff Bathroom

105 CMR 451.123*		Maintenance: Ceiling vent dusty

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Floor tiles damaged near drain

Storage Room

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of ceiling

Day Room

No Violations Noted

Triage Room

No Violations Noted

Weight Room Building

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Padding damaged on several weight machines

Bathroom

105 CMR 451.123*	Maintenance: Floor damaged around toilet

Laurel Building

Basement

No Violations Noted

Dry Goods Storage

Unable to Inspect – Locked

Medication Room

Unable to Inspect – Locked

Bulk Chemical Storage

No Violations Noted

1st Floor

Offices # 113

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Offices

105 CMR 451.353*	Interior Maintenance: Wall plaster damaged

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Recreation Office # 108

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Bathroom # 109 (inside Recreation Office # 108)

105 CMR 451.3123	Maintenance: Light shield(s) missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink fixture loose

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Staff Bathroom # 107

No Violations Noted

Hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Bathroom # 119

105 CMR 451.123*	Maintenance: Floor tiles damaged

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

2nd and 3rd Floor

Unable to Inspect – Decommissioned

Juniper Building

1st Floor

Lock Shop

Unable to Inspect – Locked

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, water bubbler tray dirty outside lock shop

Bathroom

105 CMR 451.123*	Maintenance: Wall damaged behind sink

Office and Storage

Unable to Inspect – Locked

Hallway

105 CMR 451.351	Handrails: Handrail loose

2nd Floor

Break Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Armory Office

No Violations Noted

Locust Building

3rd Floor

Unable to Inspect – Locked

2nd Floor

Unable to Inspect – Locked

1st Floor

Day Room

No Violations Noted

Office

No Violations Noted

Break Room

No Violations Noted

Bathroom (inside Break Room)

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1350F at handwash sink

Mop Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 770F at handwash sink

105 CMR 451.123*	Maintenance: Window crank handle missing

Kitchen

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

Main Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair refrigerator gaskets dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

Handwash Sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

3-Compartment Sink

No Violations Noted

Dry Storage

No Violations Noted

Tool Storage

No Violations Noted

Basement

Storage Area

No Violations Noted

Assembly Building

Entrance

No Violations Noted

Auditorium

No Violations Noted

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Basement

Front Entrance

No Violations Noted

Rear Entrance

No Violations Noted

Bathroom

No Violations Noted

Mail Room

No Violations Noted

Mail Room Bathroom

105 CMR 451.109	Toilet and Handwash Facilities: No handwash sink located near toilet facilities

Weight Room

No Violations Noted

Cedar Building (C.T.U.)

1st Floor

Kitchenette

No Violations Noted

Bathroom

No Violations Noted

CTU Office

Unable to Inspect – Locked

Training Room

No Violations Noted

Bathroom

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink

2nd Floor

Hallway

No Violations Noted

EHSO Office

No Violations Noted

Bathroom

No Violations Noted

Offices

Unable to Inspect – Locked

Store House

2nd Floor

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, bean sack damaged

1st Floor

Inmate Bathroom

No Violations Noted

Receiving Area

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Loading dock damaged

Cooler # 1

105 CMR 451.353	Interior Maintenance: Walls damaged

105 CMR 451.353	Interior Maintenance: Ceiling damaged

Storage (formally Locust Dry Storage)

No Violations Noted

Dry Storage

FC 6-101.11(A)(1)*	Materials for Construction and Repair; Indoor Areas: Floor surface not smooth and easily cleanable, floor paint damaged

FC 6-101.11(A)(1)*	Materials for Construction and Repair; Indoor Areas: Ceiling surface not smooth and easily cleanable, ceiling damaged

FC 6-101.11(A)(1)*	Materials for Construction and Repair; Indoor Areas: Wall surface not smooth and easily cleanable, wall paint damaged

Freezer # 1

No Violations Noted

Inmate Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Freezer # 2

No Violations Noted

Freezer # 3

No Violations Noted

Staff Bathroom

No Violations Noted

Break Area

No Violations Noted

Basement

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Floor damaged

Bathroom

105 CMR 451.123	Maintenance: Door glass damaged

Freezer # 4

No Violations Noted

Carpenter Shop

105 CMR 451.350*	Structural Maintenance: Windows damaged throughout

Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Break Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

2nd Floor

Staff Gym

105 CMR 451.353*	Interior Maintenance: Padding damaged on bench press

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Male Shower

No Violations Noted

Female Shower

No Violations Noted

Power Plant

Back Room/Chemical Storage

No Violations Noted

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 730F at handwash sink

Water Sampling Sink (outside bathroom)

No Violations Noted

Break Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, small refrigerator door gasket damaged

Generator Room

105 CMR 451.130*	Plumbing: No backflow preventer on slop sink

Garage

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, water bubbler tray dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Shower

105 CMR 451.123*	Maintenance: Floor tiles damaged

“Pig” Cooler

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, mold observed throughout area

Tower # 1

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 960F at handwash sink

105 CMR 451.353*	Interior Maintenance: Baseboard heater damaged

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single service utensils not stored in the inverted position

Tower # 5

105 CMR 451.350	Structural Maintenance: Window glass damaged

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Post # 6

Unable to Inspect – Decommissioned

Vehicle Trap Tower

1st Floor

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

105 CMR 451.123*	Maintenance: Basin cracked at handwash sink

105 CMR 451.123*	Maintenance: Ceiling paint peeling

105 CMR 451.123	Maintenance: Light shield missing

3rd Floor

105 CMR 451.350*	Structural Maintenance: Windows damaged throughout

105 CMR 451.350	Structural Maintenance: Door glass damaged

Vehicle Trap Gate House

No Violations Noted

Observations and Recommendations

- The inmate population was 702 at the time of inspection.

- The T-RHU and Health Services Unit (H.S.U.) housed COVID-19 positive patients as well those exhibiting symptoms of COVID-19.

- The 2nd and 3rd floor minimum security housing units located in the Locust Building are temporarily closed. Inmates have been relocated to another facility.

- The Kitchen located in the Locust Building was closed at the time of the inspection.

- A Building 1st floor and basement were unoccupied at the time of inspection.

- B Building 1st and 2nd floors were unoccupied at the time of inspection.

- The Wheel Chair Shop was closed at the time of the inspection while repairs were being made to its roof.

- CSP recommends the use of plastic pallets for cooler and freezer storage in the Store House.

- The main kitchen exhaust system in the Food Service Building is not in compliance with the provisions for inspection, cleaning, and labeling required by 527 CMR 1.00, Chapter 50 Commercial Cooking Operations. The Department recommends you contact the Department of Fire Services for further information.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kelli Poulin

Environmental Health Inspector, CSP, BEH