| ##### I. PWS INFORMATION: Please refer to your DEP Water Quality Sampling Schedule (WQSS) to help complete this form |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PWS ID #: |  |  |  |  |  |  |  |  |  | City / Town: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PWS Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PWS Class: |  |  |  | COM NTNC TNC |  |  |  |  |  |
| DEP LOCATION (LOC) ID# |  |  | DEP Location Name |  |  |  |  |  |  |  |  |  |  | # Sample Information |  |  |  |  |  |  | Sample Acidified? |  |  |  | Date Collected |  | Collected By |  |
| A |  |  |  |  |  |  |  |  |  |  |  |  |  | (M)ultiple (S)ingle |  |  | (R)aw (F)inished |  |  |  | Yes |  |  |  |  |  |  |  |
| B |  |  |  |  |  |  |  |  |  |  |  |  |  | (M)ultiple (S)ingle |  |  | (R)aw (F)inished |  |  |  | Yes |  |  |  |  |  |  |  |
| C |  |  |  |  |  |  |  |  |  |  |  |  |  | (M)ultiple (S)ingle |  |  | (R)aw (F)inished |  |  |  | Yes |  |  |  |  |  |  |  |
| D |  |  |  |  |  |  |  |  |  |  |  |  |  | (M)ultiple (S)ingle |  |  | (R)aw (F)inished |  |  |  | Yes |  |  |  |  |  |  |  |
|  | Routine or Special Sample |  | Original, Resubmitted or Confirmation Report |  |  |  |  |  |  |  |  | If Resubmitted Report, list below: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | (1) Reason for Resubmission |  |  |  |  |  |  |  |  |  | (2) Collection Date of Original Sample |  |  |  |  |  |  |
| A | RS SS |  | Original Resubmitted Confirmation |  |  |  |  |  |  |  |  | Resample Reanalysis Report Correction |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B | RS SS |  | Original Resubmitted Confirmation |  |  |  |  |  |  |  |  | Resample Reanalysis Report Correction |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| C | RS SS |  | Original Resubmitted Confirmation |  |  |  |  |  |  |  |  | Resample Reanalysis Report Correction |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D | RS SS |  | Original Resubmitted Confirmation |  |  |  |  |  |  |  |  | Resample Reanalysis Report Correction |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | SAMPLE COMMENTS – (Such as, if a Manifold/Multiple sample, list the sources that were on-line during sample collection). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| C |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| II. ANALYTICAL LABORATORY INFORMATION: Attach copy of subcontracted analysis report (as applicable) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Primary Lab MA Cert. #: |  |  |  |  |  |  |  | Primary Lab Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Subcontracted? (Y/N) |  |  |  |  |
| Analysis Lab MA Cert. #: |  |  |  |  |  |  |  | Analysis Lab Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ##### NITRATE ##### Result (mg/L) |  | Result Qualifier |  |  | MCL (mg/L) |  | MDL (mg/L) |  | MRL (mg/L) |  |  |  | Dilution Factor |  | Lab Method |  |  |  |  | Date Analyzed |  |  |  |  |  | Primary Lab Sample ID# |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Analysis Lab Sample ID# |  |  |
| A |  |  |  |  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B |  |  |  |  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| C |  |  |  |  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D |  |  |  |  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Finished water results equal to or exceeding ½ of the MCL (5 mg/L) triggers quarterly monitoring. Finished water results exceeding the MCL of 10 mg/L requires confirmation sampling within 24 hours. Notify MassDEP of any MCL exceedances. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ##### LAB ANALYSIS COMMENTS |  |  |  |  |  |  |  |  |  | ##### Result Qualifier |  |  |  |  | ##### Result Qualifier Description |  |  |  |  |  |  |  |  |  |  |  |  |
| A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| C |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I certify under penalties of law that I am the person authorized to fill out this form and the information contained herein is true, accurate and complete to the best extent of my knowledge. |  |  |  |  |  |  |  |  |  |  | Primary Lab Director Signature: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| In accordance with 310 CMR 22.15(2), if mailing paper reports, TWO copies of this report must be received by your MassDEP Regional Office no later than 10 days after the end of the month in which the results are received or no later than 10 days after the end of the monitoring period, whichever is sooner. Please note: Electronic reporting (eDEP) deadline is the same as above. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DEP REVIEW STATUS (Initial & Date) Accepted ___________ Disapproved ___________ |  |  |  |  |  |  |  |  |  | Review Comments |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | WQTS Data Entered |  |